## Overview
Gas Statement of Opportunities (GSOO) Update supply-demand modelling results
Low Scenario base case 1-in-20 demand condition
This data file contains the supply-demand modelling output from the Low Scenario base case 1-in-20 demand condition.
* Potential shortfalls observed in each modelling year by location
* Remaining reserves
* Pipeline utilisation and capacity
* Processing utilisation and capacity of each facility
* Demand at each location by year
The nodal topology of the model is included at right for reference.

## Link Pipeline Details
While modelling, it is often necessary to split pipelines into smaller segmets, referred to here as links.
The table below contains each link used within the model, the pipeline related to that link and the nodal locations the link connects.
Link | Pipeline | Pipeline description | From Node | To Node
APLNG | APLNG | APLNG main line | APLNG Hub | AP LNG
APLNGSpringGully | FRCP | Fairview-Reedy Creek Pipeline | Spring Gully | AP Woleebee
APWoleebee | APWoleebee | APLNG Combabula lateral | AP Woleebee | APLNG Hub
BellevueQCLNG | QCLNG | QCLNG main line | Bellevue | QC LNG
CGP | CGP | Carpentaria Gas Pipeline | Ballera | Mount Isa
CometRidge | CometRidge | Comet Ridge Pipeline | Fairview | Wallumbilla
Condabri | Condabri | APLNG Condabri lateral | Condabri | APLNG Hub
DaltonCan | DaltonCan | Dalton to Canberra Pipeline | Dalton | Canberra
EGPNorth | EGP | Eastern Gas Pipeline | Hoskintown | Sydney
EGPSouth | EGP | Eastern Gas Pipeline | Gippsland | Hoskintown
GLNG | GLNG | GLNG main line | Fairview | G LNG
Gloucester | Gloucester | Stratford to Hexham pipeline (proposed) | Stratford | Newcastle
HoskinCan | HoskinCan | Hoskintown to Canberra lateral | Hoskintown | Canberra
ICNorth | IC | NSW-Vic Interconnect | Young | Wagga
ICSouth | IC | NSW-Vic Interconnect | Wagga | Melbourne
JordanBellevue | QCLNG | QCLNG main line | Jordan | Bellevue
KenyaKogan | Windibri South | Windibri pipeline | Kenya | Kogan
KenyaRuby | Windibri North | Windibri pipeline | Kenya | Ruby
LMPEast | LMP | Longford to Melbourne Pipeline | Gippsland | Bass
LMPWest | LMP | Longford to Melbourne Pipeline | Bass | Melbourne
MAPSNorth | MAPS | Moomba to Adelaide Pipeline System | Moomba | Hallett
MAPSSouth | MAPS | Moomba to Adelaide Pipeline System | Hallett | Adelaide
MSPCentral | MSP | Moomba to Sydney Pipeline | Young | Dalton
MSPEast | MSP | Moomba to Sydney Pipeline | Dalton | Sydney
MSPWest | MSP | Moomba to Sydney Pipeline | Moomba | Young
NarrabriMSPLink | Narrabri | Narrabri to MSP pipeline (proposed) | Narrabri | Young
NQGP | NQGP | North Queensland Gas Pipeline | Moranbah | Townsville
QCWoleebeeBellevue | QCLNG | QCLNG Woleebee Creek lateral | QC Woleebee | Bellevue
QGPEast | QGP | Queensland Gas Pipeline | Gooimbah | Gladstone
QGPSouth | QGP | Queensland Gas Pipeline | Wallumbilla | Gooimbah
RBPEast | RBP | Roma-Brisbane Pipeline | Kogan | Brisbane
RBPWest | RBP | Roma-Brisbane Pipeline | Wallumbilla | Kogan
RubyJordan | QCLNG | QCLNG main line | Ruby | Jordan
SEAGasEast | SEAGas | South East Australia Gas Pipeline | Port Campbell | Penola
SEAGasWest | SEAGas | South East Australia Gas Pipeline | Penola | Adelaide
SGFairview | SGFV | Spring Gully to Fairview Pipeline | Spring Gully | Fairview
SNP | SNP | Sydny to Newcastle Pipeline | Sydney | Newcastle
SWP | SWP | South West Pipeline | Port Campbell | Melbourne
SWQPEast | SWQP | South West Queensland Pipeline | Wallumbilla | Ballera
SWQPWest | SWQP | South West Queensland Pipeline | Ballera | Moomba
TGP | TGP | Tasmanian Gas Pipeline | Gippsland | Tasmania
Walloons | Walloons | Walloons Pipeline | Condabri | Wallumbilla

## Potential shortfalls
TJ/annum
Year | Townsville
2015 | 7.7435
2016 | 0
2017 | 0
2018 | 0
2019 | 0
2020 | 0
2021 | 0
2022 | 0
2023 | 0
2024 | 3.6951
2025 | 0
2026 | 0
2027 | 2.2991
2028 | 28.1733
2029 | 13.9857
2030 | 32.0957
2031 | 33.6559
2032 | 45.464
2033 | 77.6792
2034 | 57.8962

## 2P Reserves
PJ/annum
Year | APLNG 2P | Arrow Surat 2P | Bass 2P | Camden 2P | Casino Henry Netherby 2P | Cooper Conventional 2P | Gippsland 2P | GLNG Surat 2P | Longtom 2P | Minerva 2P | Moranbah 2P | Otway GP 2P | QCLNG 2P | Qld Conventional 2P | Qld CSG 2P | Santos Surat 2P
2015 | 14091 | 7605.789 | 221.176 | 45 | 225.66 | 1792.804 | 3415.402 | 5391 | 113.032 | 82.809 | 570 | 410.531 | 10028 | 41.53 | 2549.688 | 38.3
2016 | 13949.2415 | 7605.789 | 196.721 | 39.525 | 196.46 | 1761.1752 | 3254.4912 | 5288.4097 | 108.382 | 0 | 553.8684 | 335.706 | 9844.9186 | 41.53 | 2544.213 | 38.3
2017 | 13608.7939 | 7599.6547 | 172.199 | 34.035 | 167.18 | 1724.9324 | 3039.8318 | 5086.3777 | 91.35 | 0 | 538.5184 | 260.676 | 9487.133 | 36.822 | 2538.723 | 30.95
2018 | 13092.3423 | 7586.6394 | 147.744 | 28.56 | 137.98 | 1656.1735 | 2830.7414 | 4884.8977 | 89.025 | 0 | 523.7394 | 185.851 | 9046.7395 | 28.792 | 2533.248 | 20
2019 | 12513.6272 | 7577.0943 | 123.289 | 23.085 | 108.78 | 1535.3223 | 2631.3006 | 4683.4177 | 82.35 | 0 | 509.1022 | 111.026 | 8609.4604 | 20.762 | 2527.773 | 9.05
2020 | 11933.9557 | 7567.5823 | 98.834 | 17.61 | 79.58 | 1397.4757 | 2534.5045 | 4481.9377 | 77.775 | 0 | 494.7193 | 36.201 | 8172.2221 | 12.732 | 2522.298 | 2.48e-09
2021 | 11352.2656 | 7557.9322 | 74.312 | 12.12 | 50.3 | 1261.2313 | 2394.3848 | 4279.9057 | 75.525 | 0 | 479.4466 | 0 | 7733.4424 | 4.68 | 2516.808 | 0
2022 | 10791.1264 | 7542.186 | 49.857 | 6.645 | 21.1 | 1112.4594 | 2228.2556 | 4078.4257 | 70.875 | 0 | 463.238 | 0 | 7291.4032 | 0 | 2511.333 | 0
2023 | 10230.0224 | 7525.78 | 25.402 | 1.17 | 4.4784e-07 | 966.2876 | 2008.8672 | 3876.9457 | 70.875 | 0 | 446.7368 | 0 | 6846.7176 | 0 | 2505.858 | 0
2024 | 9669.454 | 7509.9983 | 0.947 | 0 | 0 | 823.2366 | 1789.291 | 3675.4657 | 70.875 | 0 | 430.4325 | 0 | 6395.1061 | 0 | 2500.383 | 0
2025 | 9106.2326 | 7494.5002 | 0 | 0 | 0 | 680.0352 | 1579.8825 | 3473.4337 | 59.325 | 0 | 413.7711 | 0 | 5942.5115 | 0 | 2494.893 | 0
2026 | 8544.8537 | 7476.3888 | 0 | 0 | 0 | 537.3801 | 1363.4396 | 3271.9537 | 57 | 0 | 396.9655 | 0 | 5494.6021 | 0 | 2489.418 | 0
2027 | 7982.7818 | 7457.8858 | 0 | 0 | 0 | 394.9574 | 1160.6143 | 3070.4737 | 40.8693 | 0 | 379.805 | 0 | 5045.0947 | 0 | 2483.943 | 0
2028 | 7419.5901 | 7440.2136 | 0 | 0 | 0 | 252.6916 | 925.2858 | 2868.9044 | 38.6193 | 0 | 361.888 | 0 | 4594.0938 | 0 | 2478.468 | 0
2029 | 6854.31 | 7421.4541 | 0 | 0 | 0 | 94.6956 | 673.17 | 2666.0212 | 38.6193 | 0 | 343.5514 | 0 | 4140.1093 | 0 | 2472.978 | 0
2030 | 6290.1832 | 7401.7225 | 0 | 0 | 0 | 0 | 421.9174 | 2462.7908 | 31.6443 | 0 | 324.7209 | 0 | 3686.6733 | 0 | 2467.503 | 0
2031 | 5726.0665 | 7387.5302 | 0 | 0 | 0 | 0 | 175.7702 | 2260.1634 | 20.0164 | 0 | 305.9187 | 0 | 3232.7262 | 0 | 2462.028 | 0
2032 | 5161.4357 | 7371.873 | 0 | 0 | 0 | 0 | 16.1396 | 2056.7563 | 4.1914 | 0 | 286.4318 | 0 | 2772.7056 | 0 | 2456.553 | 0
2033 | 4593.3573 | 7358.9024 | 0 | 0 | 0 | 0 | 16.1396 | 1849.9679 | 4.1914 | 0 | 266.6675 | 0 | 2307.1784 | 0 | 2451.063 | 0
2034 | 4026.8649 | 7344.8652 | 0 | 0 | 0 | 0 | 16.1396 | 1642.606 | 4.1914 | 0 | 246.5038 | 0 | 1848.0435 | 0 | 2445.588 | 0
2035 | 3460.1696 | 7327.6304 | 0 | 0 | 0 | 0 | 16.1396 | 1435.5444 | 4.1914 | 0 | 226.2113 | 0 | 1395.6734 | 0 | 2440.113 | 0

## 2C3P Reserves
PJ/annum
Year | Bass 2C3P | Camden 2C3P | Casino Henry Netherby 2C3P | Cooper Conventional 2C3P | Cooper Shale 2C3P | Gippsland 2C3P | Halladale 2C3P | La Bella 2C3P | Longtom 2C3P | Minerva 2C3P | Otway GP 2C3P | QCLNG 2C3P | Qld Conventional 2C3P | Santos Surat 2C3P
2015 | 409.522 | 36 | 273.008 | 3883.683 | 54170.916 | 4777.394 | 44 | 126.4 | 208.266 | 66.247 | 328.425 | 14279 | 88.984 | 30.64
2016 | 409.522 | 36 | 273.008 | 3883.683 | 54170.916 | 4777.394 | 44 | 126.4 | 208.266 | 66.247 | 328.425 | 14279 | 88.984 | 30.64
2017 | 409.522 | 36 | 273.008 | 3883.683 | 54170.916 | 4777.394 | 44 | 126.4 | 208.266 | 66.247 | 328.425 | 14279 | 88.984 | 30.64
2018 | 409.522 | 36 | 273.008 | 3883.683 | 54170.916 | 4777.394 | 44 | 126.4 | 208.266 | 66.247 | 328.425 | 14279 | 88.984 | 30.64
2019 | 409.522 | 36 | 273.008 | 3883.683 | 54170.916 | 4777.394 | 44 | 126.4 | 208.266 | 66.247 | 328.425 | 14279 | 88.984 | 30.64
2020 | 409.522 | 36 | 273.008 | 3883.683 | 54170.916 | 4777.394 | 44 | 90.868 | 208.266 | 0 | 328.425 | 14279 | 88.984 | 28.74
2021 | 409.522 | 36 | 273.008 | 3883.683 | 54170.916 | 4777.394 | 37.645 | 31.7198 | 208.266 | 0 | 295.951 | 14279 | 88.984 | 17.76
2022 | 409.522 | 36 | 273.008 | 3883.683 | 54170.916 | 4777.394 | 18.785 | 3.188 | 208.266 | 0 | 239.986 | 14279 | 85.634 | 6.81
2023 | 409.522 | 36 | 264.908 | 3882.7747 | 54170.916 | 4777.394 | 11.4841 | 0.67705 | 207.9698 | 0 | 202.7075 | 14279 | 77.604 | 0
2024 | 409.522 | 31.695 | 235.708 | 3882.2091 | 54170.3332 | 4777.394 | 11.4841 | 0 | 207.7986 | 0 | 156.2235 | 14279 | 69.574 | 0
2025 | 385.947 | 26.205 | 206.428 | 3880.9954 | 54169.7495 | 4777.394 | 3.3184 | 0 | 207.7986 | 0 | 117.0372 | 14279 | 61.522 | 0
2026 | 361.492 | 20.73 | 177.228 | 3880.7506 | 54169.1647 | 4777.394 | 0.63647 | 0 | 207.7986 | 0 | 73.3588 | 14279 | 53.492 | 0
2027 | 337.037 | 15.255 | 148.028 | 3879.7431 | 54168.3019 | 4777.394 | 0 | 0 | 207.7986 | 0 | 27.7644 | 14279 | 45.462 | 0
2028 | 312.582 | 9.78 | 118.828 | 3878.9633 | 54167.1527 | 4777.394 | 0 | 0 | 207.7986 | 0 | 0 | 14279 | 37.432 | 0
2029 | 288.06 | 4.29 | 89.548 | 3878.764 | 54166.7627 | 4777.394 | 0 | 0 | 206.3057 | 0 | 0 | 14279 | 29.38 | 0
2030 | 263.605 | 2.709 | 60.348 | 3830.1171 | 54150.6368 | 4777.394 | 0 | 0 | 206.3057 | 0 | 0 | 14279 | 21.35 | 0
2031 | 239.15 | 1.2949 | 31.148 | 3711.6813 | 54107.6282 | 4777.394 | 0 | 0 | 206.3057 | 0 | 0 | 14279 | 13.32 | 0
2032 | 214.695 | 0.19135 | 17.6377 | 3581.2533 | 54061.1512 | 4693.7338 | 0 | 0 | 205.1573 | 0 | 0 | 14279 | 11.506 | 0
2033 | 190.173 | 0 | 12.4397 | 3448.1198 | 54015.7385 | 4443.0917 | 0 | 0 | 191.0887 | 0 | 0 | 14279 | 7.066 | 0
2034 | 165.718 | 0 | 6.2049 | 3310.7869 | 53974.8269 | 4188.7842 | 0 | 0 | 178.792 | 0 | 0 | 14279 | 2.024 | 0
2035 | 141.263 | 0 | 5.2736e-07 | 3177.8599 | 53929.3609 | 3930.5071 | 0 | 0 | 164.2185 | 0 | 0 | 14279 | 6.6832e-07 | 0

## Pipeline Utilisation
Year | APLNG | APLNGSpringGully | APWoleebee | BellevueQCLNG | CGP | CometRidge | CometRidge rev | Condabri | DaltonCan | EGPNorth | EGPSouth | GLNG | HoskinCan | ICNorth | ICNorth rev | ICSouth | ICSouth rev | JordanBellevue | KenyaKogan | KenyaRuby | LMPEast | LMPWest | MAPSNorth | MAPSNorth rev | MAPSSouth | MAPSSouth rev | MSPCentral | MSPCentral rev | MSPEast | MSPEast rev | MSPWest | MSPWest rev | NQGP | QCWoleebeeBellevue | QGPEast | QGPSouth | RBPEast | RBPWest | RBPWest rev | RubyJordan | SEAGasEast | SEAGasWest | SGFairview | SNP | SNP rev | SWP | SWP rev | SWQPEast | SWQPEast rev | SWQPWest | SWQPWest rev | TGP | Walloons
2015 | 6.071% | 14.94% | 10.21% | 35.29% | 66.67% | 100% | 0% | 0.971% | 0% | 64.75% | 86.11% | 12.65% | 27.15% | 0% | -32.52% | 0% | -32.63% | 11.7% | 1.314% | 46.69% | 14.01% | 16.57% | 12.04% | 0% | 0.5294% | -1.261% | 2.949% | 0% | 2.949% | 0% | 1.078% | 0% | 24.89% | 8.658% | 83.21% | 83.21% | 39.5% | 71.48% | 0% | 9.933% | 56.38% | 53.67% | 96.05% | 0.005871% | 0% | 59.05% | 0% | 6.524% | 0% | 0% | 0% | 11.67% | 99.94%
2016 | 39.14% | 94.13% | 44.43% | 64.8% | 60.16% | 29.04% | -1.501% | 28.4% | 0% | 64.16% | 83.87% | 46.8% | 27.33% | 0% | -33.89% | 0% | -33.92% | 29.73% | 21.31% | 46.71% | 27.73% | 30.49% | 12.94% | 0% | 0.3937% | -0.8419% | 2.577% | 0% | 2.577% | 0% | 0.246% | 0% | 22.42% | 19.46% | 82.39% | 73.93% | 34.6% | 14.92% | -1.4% | 10% | 50.72% | 47.92% | 99.31% | 0% | 0% | 23.74% | 0% | 1.805% | -0.7235% | 0% | 0% | 11.48% | 83.67%
2017 | 69.95% | 98.57% | 65.03% | 83.26% | 37.56% | 0% | -26.42% | 65.67% | 0% | 63.38% | 80.71% | 59.75% | 27.96% | 0% | -32.28% | 0% | -32.43% | 46.38% | 10.88% | 97.12% | 23.43% | 27.06% | 11.75% | 0% | 0.1038% | -0.3645% | 1.978% | 0% | 1.978% | 0% | 0.1431% | 0% | 21.1% | 21.28% | 82.32% | 67.85% | 30.32% | 0.7834% | -1.396% | 25.1% | 43.56% | 40.71% | 100% | 0% | 0% | 32.03% | 0% | 0% | -33.75% | 0% | -18.53% | 11.35% | 99.04%
2018 | 81.56% | 98.57% | 84.18% | 83.26% | 36.33% | 0% | -59.79% | 67.9% | 0% | 64.15% | 81.49% | 71.43% | 28.4% | 0% | -34.51% | 0% | -35.38% | 46.38% | 8.037% | 99.96% | 22.09% | 26.27% | 10.96% | 0% | 0.005313% | -1.114% | 2.738% | 0% | 2.738% | 0% | 0.3459% | 0% | 20.78% | 21.28% | 82.99% | 68.51% | 18% | 0% | -22.67% | 25.1% | 42.48% | 39.59% | 100% | 0% | 0% | 34.51% | 0% | 0% | -76.45% | 0% | -59.75% | 8.083% | 95.88%
2019 | 81.56% | 98.57% | 84.49% | 83.26% | 36.1% | 0% | -72.22% | 67.58% | 0% | 64.2% | 81.87% | 75.78% | 28.68% | 0% | -35.35% | 0% | -37.57% | 46.38% | 8% | 100% | 21.21% | 25.44% | 10.15% | 0% | 0% | -1.742% | 3.156% | 0% | 3.156% | 0% | 0.5338% | 0% | 20.19% | 21.28% | 81.82% | 67.35% | 17.67% | 0% | -28.9% | 25.1% | 41.69% | 38.82% | 100% | 0% | 0% | 36.09% | 0% | 0% | -90.55% | 0% | -73.78% | 8.057% | 100%
2020 | 81.56% | 98.57% | 84.63% | 83.26% | 33.75% | 0% | -72.22% | 67.43% | 0% | 64.09% | 82.13% | 75.78% | 28.78% | 0% | -35.43% | 0% | -37.6% | 46.38% | 8.313% | 99.69% | 20.52% | 24.8% | 9.851% | 0% | 0.00223% | -2.005% | 3.445% | 0% | 3.445% | 0% | 0.7399% | 0% | 21.97% | 21.28% | 79.52% | 65.04% | 17.22% | 0% | -28.29% | 25.1% | 41.67% | 38.82% | 100% | 0% | 0% | 36.37% | 0% | 0% | -89.73% | 0% | -72.14% | 8.092% | 100%
2021 | 81.56% | 98.57% | 84.98% | 83.26% | 32.74% | 0% | -83.44% | 67.06% | 0% | 61.38% | 80.38% | 75.78% | 29.06% | 0% | -34.43% | 0% | -37.41% | 46.38% | 12.38% | 95.62% | 20.79% | 25.09% | 10.56% | 0% | 0% | -1.317% | 3.369% | 0% | 3.369% | 0% | 0.9112% | 0% | 24.01% | 21.28% | 81.91% | 67.44% | 17.34% | 0% | -52.98% | 25.1% | 41.98% | 39.11% | 100% | 0% | 0% | 35.25% | 0% | 0% | -99.76% | 0% | -81.8% | 8.062% | 100%
2022 | 81.56% | 98.57% | 84.97% | 83.26% | 27.08% | 0% | -83.44% | 67.07% | 0% | 58.22% | 77.39% | 75.78% | 29.24% | 0% | -31.17% | 0% | -33.46% | 46.38% | 14.8% | 93.2% | 34.73% | 39.05% | 11.87% | 0% | 0% | 0% | 2.187% | 0% | 2.187% | 0% | 0.558% | 0% | 24.41% | 21.28% | 81.88% | 67.41% | 17.16% | 0% | -52.39% | 25.1% | 40.78% | 37.91% | 100% | 0% | 0% | 0.07381% | -0.3442% | 0% | -99.9% | 0% | -79.97% | 8.009% | 100%
2023 | 81.56% | 98.57% | 84.8% | 83.26% | 19.69% | 0% | -83.44% | 67.25% | 0.002127% | 59.04% | 78.45% | 75.78% | 29.49% | 0% | -31.42% | 0% | -33.92% | 46.38% | 21.13% | 86.87% | 34.44% | 38.78% | 11.82% | 0% | 0% | 0% | 2.475% | 0% | 2.474% | 0% | 0.7734% | 0% | 23.96% | 21.28% | 81.84% | 67.37% | 16.79% | 0% | -52.17% | 25.1% | 40.45% | 37.59% | 100% | 0% | 0% | 0.1405% | -0.655% | 0% | -99.93% | 0% | -77.41% | 7.964% | 100%
2024 | 81.56% | 98.57% | 85.16% | 83.26% | 19.18% | 0% | -83.44% | 66.88% | 0.0055% | 59.14% | 79.24% | 75.78% | 29.73% | 0% | -31.93% | 0% | -36.04% | 46.38% | 20.89% | 87.11% | 34.36% | 38.72% | 11.64% | 0% | 0% | -0.1608% | 3.138% | 0% | 3.138% | 0% | 1.296% | 0% | 24.81% | 21.28% | 81.61% | 67.13% | 16.54% | 0% | -51.86% | 25.1% | 41.16% | 38.28% | 100% | 0% | 0% | 0.0337% | -0.5783% | 0% | -99.88% | 0% | -77.19% | 7.897% | 99.99%
2025 | 81.56% | 98.57% | 85.06% | 83.26% | 18.76% | 0% | -83.44% | 66.98% | 0.0108% | 58.94% | 79.24% | 75.78% | 30.11% | 0% | -33.11% | 0% | -35.94% | 46.38% | 17.75% | 90.25% | 33.98% | 38.36% | 11.53% | 0% | 0% | -0.2936% | 2.887% | 0% | 2.886% | 0% | 0.7598% | 0% | 25.28% | 21.28% | 79.64% | 65.17% | 16.21% | 0% | -48.83% | 25.1% | 40.56% | 37.7% | 100% | 0% | 0% | 0.04287% | -0.9691% | 0% | -99.9% | 0% | -77.05% | 7.904% | 100%
2026 | 81.56% | 98.57% | 85.29% | 83.26% | 18.32% | 0% | -83.44% | 66.75% | 0.01483% | 59.53% | 80.31% | 75.78% | 30.39% | 0% | -33.96% | 0% | -37.56% | 46.38% | 19.2% | 88.8% | 33.77% | 38.16% | 11.78% | 0% | 0% | 0% | 3.603% | 0% | 3.601% | 0% | 1.26% | 0% | 26.2% | 21.28% | 81.82% | 67.34% | 16.33% | 0% | -52.18% | 25.1% | 40.51% | 37.65% | 100% | 0% | 0% | 0.1311% | -0.6114% | 0% | -99.88% | 0% | -76.88% | 7.603% | 100%
2027 | 81.56% | 98.57% | 85.65% | 83.26% | 17.88% | 0% | -83.39% | 66.38% | 0.003478% | 59.05% | 80.49% | 75.78% | 30.68% | 0% | -33.6% | 0% | -37.47% | 46.38% | 20.57% | 87.43% | 38.66% | 43.05% | 11.82% | 0% | 0% | 0% | 3.561% | 0% | 3.561% | 0% | 1.327% | 0% | 28.12% | 21.28% | 81.83% | 67.35% | 16.14% | 0% | -52.1% | 25.1% | 41.56% | 38.7% | 100% | 0% | 0% | 0.06358% | -56.68% | 0% | -99.84% | 0% | -76.69% | 7.341% | 99.99%
2028 | 81.56% | 98.57% | 85.82% | 83.26% | 17.39% | 0% | -82.97% | 66.2% | 0.0226% | 59.48% | 81.35% | 75.78% | 30.94% | 0% | -34.05% | 0% | -38.38% | 46.38% | 22.16% | 85.84% | 42.48% | 46.87% | 29.95% | 0% | 18.14% | 0% | 4.067% | 0% | 4.064% | 0% | 1.72% | 0% | 29.12% | 21.28% | 81.62% | 67.14% | 16.28% | 0% | -56.31% | 25.1% | 28.92% | 26.49% | 100% | 0% | 0% | 0% | -97.74% | 0% | -97.91% | 0% | -74.58% | 7.302% | 99.96%
2029 | 81.56% | 98.57% | 85.95% | 83.26% | 16.98% | 0% | -82.46% | 66.06% | 0.02865% | 62.36% | 84.75% | 75.78% | 31.38% | 0% | -35.42% | 0% | -39.98% | 46.38% | 22.79% | 85.21% | 42.85% | 47.24% | 33.49% | 0% | 21.56% | 0% | 4.65% | 0% | 4.646% | 0% | 2.011% | -0.138% | 30.47% | 21.28% | 81.25% | 66.78% | 16.35% | 0% | -58.83% | 25.1% | 28.7% | 26.15% | 100% | 0% | 0% | 0% | -98.04% | 0% | -96.27% | 0% | -72.8% | 7.283% | 99.98%
2030 | 81.56% | 98.57% | 85.94% | 83.26% | 16.49% | 0% | -82.8% | 66.07% | 0.03344% | 62.67% | 84.68% | 75.78% | 31.72% | 0% | -36.19% | 0% | -39.31% | 46.38% | 23.26% | 84.74% | 42.83% | 47.21% | 36.63% | 0% | 24.71% | 0% | 3.869% | 0% | 3.865% | 0% | 1.181% | -0.6423% | 30.43% | 21.28% | 78.46% | 63.98% | 15.81% | 0% | -53.61% | 25.1% | 28.98% | 26.42% | 100% | 0% | 0% | 0% | -98.33% | 0% | -97.05% | 0% | -73.42% | 7.159% | 99.94%
2031 | 81.56% | 98.57% | 86.11% | 83.26% | 10.06% | 0% | -82.37% | 65.9% | 0.0369% | 62.19% | 85.01% | 75.78% | 31.96% | 0% | -38.06% | 0% | -41.86% | 46.38% | 28.81% | 79.19% | 43.4% | 47.76% | 59.13% | 0% | 47.3% | 0% | 4.932% | 0% | 4.927% | 0% | 1.725% | -0.5887% | 32.17% | 21.28% | 80.58% | 77.31% | 15.95% | 0% | -78.44% | 25.1% | 15.3% | 13.27% | 100% | 0% | 0% | 0% | -99.42% | 0% | -95.1% | 0% | -69.21% | 7.122% | 99.91%
2032 | 81.56% | 98.57% | 86.72% | 83.26% | 10.04% | 0% | -80.79% | 65.26% | 0.02214% | 61.68% | 84.99% | 75.78% | 32.07% | 0.07397% | -44.24% | 0.04583% | -47.94% | 46.38% | 32.67% | 75.33% | 44.33% | 48.68% | 71.81% | 0% | 59.84% | 0% | 5.296% | 0% | 5.293% | 0% | 2.12% | -6.842% | 32.81% | 21.28% | 80.36% | 72.38% | 15.59% | 0% | -84.86% | 25.1% | 8.121% | 6.146% | 100% | 0% | 0% | 0% | -99.83% | 0% | -88.74% | 0% | -62.84% | 7.065% | 99.88%
2033 | 81.56% | 98.57% | 86.71% | 83.26% | 10.05% | 0% | -80.15% | 65.27% | 0.04245% | 62.16% | 86.03% | 75.78% | 32.32% | 0% | -44.75% | 0% | -47.49% | 46.38% | 28% | 80% | 44.72% | 49.05% | 73.61% | 0% | 61.5% | 0% | 5.658% | 0% | 5.653% | 0% | 2.413% | -7.142% | 33.93% | 21.28% | 80.54% | 71.45% | 15.46% | 0% | -85.14% | 25.1% | 8.089% | 6.078% | 100% | 0% | 0% | 0% | -99.78% | 0% | -87.34% | 0% | -61.44% | 7.044% | 99.85%
2034 | 81.56% | 98.57% | 86.78% | 83.26% | 10.01% | 0% | -80.32% | 65.21% | 0.04515% | 62.42% | 86.38% | 75.78% | 32.5% | 0.02542% | -53.89% | 0.02522% | -54.22% | 46.38% | 21.82% | 86.18% | 46.1% | 50.42% | 76.84% | 0% | 64.54% | 0% | 5.959% | 0% | 5.953% | 0% | 2.086% | -13.87% | 34.25% | 21.28% | 80.49% | 76.84% | 15.31% | 0% | -92.01% | 25.1% | 7.452% | 4.871% | 100% | 0% | 0% | 0% | -100% | 0% | -87.98% | 0% | -62.08% | 7% | 99.81%

## Pipeline Capacity
Note that nominal capacities were used for APWoleebee, Comet Ridge, Condabri, FRCP, Gloucester, SGFV, SNP, Walloons and Windibri because the true capacities are unknown.
Reverse capacities for MAPS, MSP and RBP are not currently publically available
TJ/d
Forward Capacity
Year | APLNG | APLNGSpringGully | APWoleebee | CGP | CometRidge | Condabri | DaltonCan | EGP | GLNG | HoskinCan | IC | LMP | MAPS | MSP | NQGP | QCLNG | QGP | RBP | SEAGas | SGFV | SNP | SWP | SWQP | TGP | Walloons | Windibri North | Windibri South
2015 | 1560 | 210 | 850 | 119 | 200 | 820 | 56 | 298 | 1400 | 77 | 120 | 1030 | 241 | 439 | 110 | 1410 | 152 | 233 | 314 | 100 | 700 | 429 | 404 | 130 | 120 | 300 | 300
2016 | 1560 | 210 | 850 | 119 | 200 | 820 | 56 | 298 | 1400 | 77 | 120 | 1030 | 241 | 439 | 110 | 1410 | 152 | 233 | 314 | 155 | 700 | 429 | 404 | 130 | 120 | 300 | 300
2017 | 1560 | 210 | 850 | 119 | 200 | 820 | 56 | 298 | 1400 | 77 | 120 | 1030 | 241 | 439 | 110 | 1410 | 152 | 233 | 314 | 155 | 700 | 429 | 404 | 130 | 120 | 300 | 300
2018 | 1560 | 210 | 850 | 119 | 200 | 820 | 56 | 298 | 1400 | 77 | 120 | 1030 | 241 | 439 | 110 | 1410 | 152 | 233 | 314 | 155 | 700 | 429 | 404 | 130 | 120 | 300 | 300
2019 | 1560 | 210 | 850 | 119 | 200 | 820 | 56 | 298 | 1400 | 77 | 120 | 1030 | 241 | 439 | 110 | 1410 | 152 | 233 | 314 | 155 | 700 | 429 | 404 | 130 | 120 | 300 | 300
2020 | 1560 | 210 | 850 | 119 | 200 | 820 | 56 | 298 | 1400 | 77 | 120 | 1030 | 241 | 439 | 110 | 1410 | 152 | 233 | 314 | 155 | 700 | 429 | 404 | 130 | 120 | 300 | 300
2021 | 1560 | 210 | 850 | 119 | 200 | 820 | 56 | 298 | 1400 | 77 | 120 | 1030 | 241 | 439 | 110 | 1410 | 152 | 233 | 314 | 100 | 700 | 429 | 404 | 130 | 120 | 300 | 300
2022 | 1560 | 210 | 850 | 119 | 200 | 820 | 56 | 298 | 1400 | 77 | 120 | 1030 | 241 | 439 | 110 | 1410 | 152 | 233 | 314 | 100 | 700 | 429 | 404 | 130 | 120 | 300 | 300
2023 | 1560 | 210 | 850 | 119 | 200 | 820 | 56 | 298 | 1400 | 77 | 120 | 1030 | 241 | 439 | 110 | 1410 | 152 | 233 | 314 | 100 | 700 | 429 | 404 | 130 | 120 | 300 | 300
2024 | 1560 | 210 | 850 | 119 | 200 | 820 | 56 | 298 | 1400 | 77 | 120 | 1030 | 241 | 439 | 110 | 1410 | 152 | 233 | 314 | 100 | 700 | 429 | 404 | 130 | 120 | 300 | 300
2025 | 1560 | 210 | 850 | 119 | 200 | 820 | 56 | 298 | 1400 | 77 | 120 | 1030 | 241 | 439 | 110 | 1410 | 152 | 233 | 314 | 100 | 700 | 429 | 404 | 130 | 120 | 300 | 300
2026 | 1560 | 210 | 850 | 119 | 200 | 820 | 56 | 298 | 1400 | 77 | 120 | 1030 | 241 | 439 | 110 | 1410 | 152 | 233 | 314 | 100 | 700 | 429 | 404 | 130 | 120 | 300 | 300
2027 | 1560 | 210 | 850 | 119 | 200 | 820 | 56 | 298 | 1400 | 77 | 120 | 1030 | 241 | 439 | 110 | 1410 | 152 | 233 | 314 | 100 | 700 | 429 | 404 | 130 | 120 | 300 | 300
2028 | 1560 | 210 | 850 | 119 | 200 | 820 | 56 | 298 | 1400 | 77 | 120 | 1030 | 241 | 439 | 110 | 1410 | 152 | 233 | 314 | 100 | 700 | 429 | 404 | 130 | 120 | 300 | 300
2029 | 1560 | 210 | 850 | 119 | 200 | 820 | 56 | 298 | 1400 | 77 | 120 | 1030 | 241 | 439 | 110 | 1410 | 152 | 233 | 314 | 100 | 700 | 429 | 404 | 130 | 120 | 300 | 300
2030 | 1560 | 210 | 850 | 119 | 200 | 820 | 56 | 298 | 1400 | 77 | 120 | 1030 | 241 | 439 | 110 | 1410 | 152 | 233 | 314 | 100 | 700 | 429 | 404 | 130 | 120 | 300 | 300
2031 | 1560 | 210 | 850 | 119 | 200 | 820 | 56 | 298 | 1400 | 77 | 120 | 1030 | 241 | 439 | 110 | 1410 | 152 | 233 | 314 | 100 | 700 | 429 | 404 | 130 | 120 | 300 | 300
2032 | 1560 | 210 | 850 | 119 | 200 | 820 | 56 | 298 | 1400 | 77 | 120 | 1030 | 241 | 439 | 110 | 1410 | 152 | 233 | 314 | 100 | 700 | 429 | 404 | 130 | 120 | 300 | 300
2033 | 1560 | 210 | 850 | 119 | 200 | 820 | 56 | 298 | 1400 | 77 | 120 | 1030 | 241 | 439 | 110 | 1410 | 152 | 233 | 314 | 100 | 700 | 429 | 404 | 130 | 120 | 300 | 300
2034 | 1560 | 210 | 850 | 119 | 200 | 820 | 56 | 298 | 1400 | 77 | 120 | 1030 | 241 | 439 | 110 | 1410 | 152 | 233 | 314 | 100 | 700 | 429 | 404 | 130 | 120 | 300 | 300
Reverse Capacity
Year | APLNG | APLNGSpringGully | APWoleebee | CGP | CometRidge | Condabri | DaltonCan | EGP | GLNG | HoskinCan | IC | LMP | MAPS | MSP | NQGP | QCLNG | QGP | RBP | SEAGas | SGFV | SNP | SWP | SWQP | TGP | Walloons | Windibri North | Windibri South
2015 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 118 | 0 | N/A | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 700 | 92 | 340 | 0 | 0 | 300 | 0
2016 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 118 | 0 | N/A | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 700 | 92 | 340 | 0 | 0 | 300 | 0
2017 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 118 | 0 | N/A | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 700 | 92 | 340 | 0 | 0 | 300 | 0
2018 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 118 | 0 | N/A | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 700 | 92 | 340 | 0 | 0 | 300 | 0
2019 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 118 | 0 | N/A | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 700 | 92 | 340 | 0 | 0 | 300 | 0
2020 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 118 | 0 | N/A | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 700 | 92 | 340 | 0 | 0 | 300 | 0
2021 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 118 | 0 | N/A | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 700 | 92 | 340 | 0 | 0 | 300 | 0
2022 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 118 | 0 | N/A | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 700 | 92 | 340 | 0 | 0 | 300 | 0
2023 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 118 | 0 | N/A | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 700 | 92 | 340 | 0 | 0 | 300 | 0
2024 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 118 | 0 | N/A | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 700 | 92 | 340 | 0 | 0 | 300 | 0
2025 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 118 | 0 | N/A | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 700 | 92 | 340 | 0 | 0 | 300 | 0
2026 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 118 | 0 | N/A | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 700 | 92 | 340 | 0 | 0 | 300 | 0
2027 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 118 | 0 | N/A | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 700 | 92 | 340 | 0 | 0 | 300 | 0
2028 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 118 | 0 | N/A | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 700 | 92 | 340 | 0 | 0 | 300 | 0
2029 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 118 | 0 | N/A | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 700 | 92 | 340 | 0 | 0 | 300 | 0
2030 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 118 | 0 | N/A | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 700 | 92 | 340 | 0 | 0 | 300 | 0
2031 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 118 | 0 | N/A | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 700 | 92 | 340 | 0 | 0 | 300 | 0
2032 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 118 | 0 | N/A | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 700 | 92 | 340 | 0 | 0 | 300 | 0
2033 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 118 | 0 | N/A | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 700 | 92 | 340 | 0 | 0 | 300 | 0
2034 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 118 | 0 | N/A | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 700 | 92 | 340 | 0 | 0 | 300 | 0

## Processing Utilisation
Year | AP Woleebee | Ballera | Bass | Bellevue | Condabri | Fairview | Gippsland | Gooimbah | Jordan | Kenya | Kogan | Moomba | Moranbah | Port Campbell | QC Woleebee | Ruby | Spring Gully | Sydney
2015 | 9.977% | 52.9% | 100% | 95.71% | 28.75% | 50.92% | 34.26% | 0% | 8.317% | 44.44% | 10.87% | 8.654% | 64.99% | 149.6% | 40.69% | 0% | 41.51% | 100%
2016 | 32.43% | 66.76% | 100% | 100% | 55.75% | 79.2% | 45.25% | 58.47% | 92.75% | 62.99% | 37.57% | 8.272% | 61.68% | 100% | 91.45% | 0.1975% | 97.13% | 100%
2017 | 62.29% | 96.41% | 100% | 100% | 98.91% | 79.2% | 40.84% | 100% | 100% | 100% | 58.45% | 23.58% | 59.54% | 100% | 100% | 14.22% | 100% | 100%
2018 | 91.63% | 100% | 100% | 100% | 100% | 79.2% | 39.65% | 100% | 100% | 100% | 51.56% | 59.26% | 58.97% | 100% | 100% | 12.28% | 100% | 100%
2019 | 92.1% | 100% | 100% | 100% | 100% | 79.2% | 38.98% | 100% | 100% | 100% | 51.49% | 71.2% | 57.95% | 100% | 100% | 12.25% | 100% | 100%
2020 | 92.31% | 100% | 100% | 100% | 100% | 79.2% | 38.51% | 100% | 100% | 100% | 51.71% | 69.81% | 61.37% | 99.95% | 100% | 12.47% | 100% | 100%
2021 | 92.86% | 100% | 100% | 100% | 100% | 79.2% | 38.35% | 100% | 100% | 100% | 63.87% | 78.87% | 65.3% | 99.23% | 100% | 15.24% | 100% | 100%
2022 | 92.84% | 100% | 100% | 100% | 100% | 79.2% | 49.33% | 100% | 100% | 100% | 56.96% | 77.68% | 66.48% | 57.11% | 100% | 16.89% | 100% | 100%
2023 | 92.58% | 100% | 100% | 100% | 100% | 79.2% | 49.35% | 100% | 100% | 100% | 42.2% | 75.66% | 65.69% | 56.65% | 100% | 21.2% | 100% | 100%
2024 | 93.13% | 100% | 100% | 100% | 100% | 79.2% | 49.48% | 100% | 100% | 100% | 41.55% | 75.94% | 66.95% | 57.21% | 100% | 21.04% | 100% | 100%
2025 | 92.98% | 100% | 100% | 100% | 100% | 79.2% | 49.13% | 100% | 100% | 100% | 46.83% | 75.16% | 67.71% | 56.56% | 100% | 18.9% | 100% | 100%
2026 | 93.32% | 100% | 100% | 100% | 100% | 79.2% | 49.17% | 100% | 100% | 100% | 47.6% | 75.72% | 69.14% | 56.49% | 100% | 19.89% | 100% | 100%
2027 | 93.87% | 100% | 100% | 100% | 100% | 79.23% | 53.35% | 100% | 100% | 100% | 45.95% | 75.65% | 72.19% | 43.12% | 100% | 20.82% | 100% | 100%
2028 | 94.14% | 100% | 100% | 100% | 100% | 79.53% | 56.8% | 100% | 100% | 100% | 48.01% | 85.46% | 73.68% | 21.86% | 100% | 21.91% | 100% | 100%
2029 | 94.33% | 100% | 100% | 100% | 100% | 79.88% | 57.99% | 100% | 100% | 100% | 50.04% | 86.38% | 75.87% | 21.86% | 100% | 22.34% | 100% | 28.88%
2030 | 94.33% | 100% | 100% | 100% | 100% | 79.65% | 57.89% | 100% | 100% | 100% | 39.05% | 87.77% | 75.75% | 21.86% | 100% | 22.66% | 100% | 25.83%
2031 | 94.58% | 100% | 100% | 100% | 100% | 79.95% | 58.45% | 22.59% | 100% | 100% | 41.95% | 98.63% | 78.51% | 10.11% | 100% | 26.44% | 100% | 20.16%
2032 | 95.52% | 100% | 100% | 100% | 100% | 81.06% | 59.28% | 55.14% | 100% | 100% | 36.55% | 99.44% | 79.41% | 3.88% | 100% | 29.08% | 100% | 0%
2033 | 95.5% | 100% | 100% | 100% | 100% | 81.51% | 59.87% | 62.79% | 100% | 100% | 38.74% | 99.57% | 81.24% | 4.667% | 100% | 25.89% | 100% | 3.495%
2034 | 95.6% | 100% | 100% | 100% | 100% | 81.39% | 61.27% | 25.21% | 100% | 100% | 45.09% | 99.68% | 81.76% | 4.645% | 100% | 21.68% | 100% | 0%

## Processing Capacity
TJ/day
Year | AP Woleebee | Ballera | Bass | Bellevue | Condabri | Fairview | Gippsland | Gooimbah | Jordan | Kenya | Kogan | Moomba | Moranbah | Port Campbell | QC Woleebee | Ruby | Spring Gully | Sydney
2015 | 555 | 100 | 67 | 220 | 715 | 552 | 1220 | 22 | 300 | 324 | 138 | 390 | 68 | 366 | 300 | 440 | 307 | 15
2016 | 555 | 100 | 67 | 220 | 715 | 697 | 1220 | 22 | 300 | 324 | 138 | 390 | 68 | 366 | 300 | 440 | 362 | 15
2017 | 555 | 100 | 67 | 220 | 715 | 697 | 1220 | 22 | 300 | 324 | 138 | 390 | 68 | 366 | 300 | 440 | 362 | 15
2018 | 555 | 100 | 67 | 220 | 715 | 697 | 1220 | 22 | 300 | 324 | 138 | 390 | 68 | 366 | 300 | 440 | 362 | 15
2019 | 555 | 100 | 67 | 220 | 715 | 697 | 1220 | 22 | 300 | 324 | 138 | 390 | 68 | 366 | 300 | 440 | 362 | 15
2020 | 555 | 100 | 67 | 220 | 715 | 697 | 1220 | 22 | 300 | 324 | 138 | 390 | 68 | 366 | 300 | 440 | 362 | 15
2021 | 555 | 100 | 67 | 220 | 715 | 697 | 1220 | 22 | 300 | 324 | 138 | 390 | 68 | 366 | 300 | 440 | 307 | 15
2022 | 555 | 100 | 67 | 220 | 715 | 697 | 1220 | 22 | 300 | 324 | 138 | 390 | 68 | 366 | 300 | 440 | 307 | 15
2023 | 555 | 100 | 67 | 220 | 715 | 697 | 1220 | 22 | 300 | 324 | 138 | 390 | 68 | 366 | 300 | 440 | 307 | 15
2024 | 555 | 100 | 67 | 220 | 715 | 697 | 1220 | 22 | 300 | 324 | 138 | 390 | 68 | 366 | 300 | 440 | 307 | 15
2025 | 555 | 100 | 67 | 220 | 715 | 697 | 1220 | 22 | 300 | 324 | 138 | 390 | 68 | 366 | 300 | 440 | 307 | 15
2026 | 555 | 100 | 67 | 220 | 715 | 697 | 1220 | 22 | 300 | 324 | 138 | 390 | 68 | 366 | 300 | 440 | 307 | 15
2027 | 555 | 100 | 67 | 220 | 715 | 697 | 1220 | 22 | 300 | 324 | 138 | 390 | 68 | 366 | 300 | 440 | 307 | 15
2028 | 555 | 100 | 67 | 220 | 715 | 697 | 1220 | 22 | 300 | 324 | 138 | 390 | 68 | 366 | 300 | 440 | 307 | 15
2029 | 555 | 100 | 67 | 220 | 715 | 697 | 1220 | 22 | 300 | 324 | 138 | 390 | 68 | 366 | 300 | 440 | 307 | 15
2030 | 555 | 100 | 67 | 220 | 715 | 697 | 1220 | 22 | 300 | 324 | 138 | 390 | 68 | 366 | 300 | 440 | 307 | 15
2031 | 555 | 100 | 67 | 220 | 715 | 697 | 1220 | 22 | 300 | 324 | 138 | 390 | 68 | 366 | 300 | 440 | 307 | 15
2032 | 555 | 100 | 67 | 220 | 715 | 697 | 1220 | 22 | 300 | 324 | 138 | 390 | 68 | 366 | 300 | 440 | 307 | 15
2033 | 555 | 100 | 67 | 220 | 715 | 697 | 1220 | 22 | 300 | 324 | 138 | 390 | 68 | 366 | 300 | 440 | 307 | 15
2034 | 555 | 100 | 67 | 220 | 715 | 697 | 1220 | 22 | 300 | 324 | 138 | 390 | 68 | 366 | 300 | 440 | 307 | 15

## Demand
Note: Demand at Wallumbilla has been aggregated with Demand at Kogan to protect confidentiality.
PJ/annum
Year | Adelaide | AP LNG | Ballera | Bass | Brisbane | Canberra | Condabri | G LNG | Gippsland | Gladstone | Hallett | Hoskintown | Kogan | Melbourne | Moranbah | Mount Isa | Penola | Port Campbell | QC LNG | Sydney | Tasmania | Townsville | Wagga | Young
2015 | 60.8705 | 34.57 | 0 | 14.8053 | 33.5913 | 7.6312 | 28.355 | 64.65 | 0.69531 | 46.1654 | 11.2351 | 15.6058 | 34.3108 | 140.6966 | 6.1374 | 28.959 | 3.2082 | 42.8573 | 181.643 | 80.6097 | 5.5364 | 10.0019 | 0.051239 | 11.0064
2016 | 54.6767 | 223.4567 | 0 | 14.0954 | 29.5079 | 7.7016 | 23.9045 | 239.8074 | 0.57865 | 45.8367 | 11.8079 | 13.7968 | 25.2828 | 137.5731 | 6.3245 | 26.2039 | 3.2152 | 38.3977 | 334.3826 | 79.6094 | 5.4624 | 9.0255 | 0.015149 | 10.8913
2017 | 46.4295 | 398.3049 | 0 | 10.8084 | 25.7879 | 7.858 | 18.1909 | 305.3148 | 0.60264 | 45.6729 | 10.5661 | 10.9866 | 15.9236 | 137.9077 | 6.3091 | 16.315 | 3.2602 | 33.5191 | 428.4783 | 77.5832 | 5.3874 | 8.4698 | 0.066023 | 10.9615
2018 | 44.4042 | 464.3832 | 0.0004915 | 8.7566 | 15.3071 | 7.9815 | 15.763 | 364.9843 | 1.0261 | 46.0413 | 10.6192 | 10.8792 | 11.3904 | 137.563 | 6.2938 | 15.7794 | 3.3013 | 30.8653 | 428.4783 | 79.6336 | 3.8352 | 8.3434 | 0.37508 | 11.0286
2019 | 42.9546 | 464.3832 | 0.00061428 | 8.5254 | 15.0251 | 8.0613 | 14.9134 | 387.2174 | 0.99067 | 45.3956 | 10.4642 | 11.1591 | 9.3221 | 135.9869 | 6.2785 | 15.6807 | 3.2921 | 29.2945 | 428.4783 | 80.3596 | 3.8229 | 8.1044 | 0.95964 | 11.0212
2020 | 42.8486 | 465.6554 | 0.0013389 | 8.3907 | 14.6858 | 8.1103 | 15.3846 | 388.2783 | 1.1462 | 44.2374 | 10.4551 | 11.5606 | 10.4459 | 134.358 | 6.4273 | 14.6997 | 3.2776 | 28.8991 | 429.6522 | 80.9292 | 3.85 | 8.8454 | 0.93535 | 10.9567
2021 | 43.6684 | 464.3832 | 0 | 8.2733 | 14.7468 | 8.1678 | 16.4561 | 387.2174 | 1.3774 | 45.4458 | 10.4514 | 12.4979 | 11.9309 | 133.4067 | 6.5678 | 14.2205 | 3.2875 | 29.2501 | 428.4783 | 77.64 | 3.8255 | 9.6408 | 1.2809 | 10.8917
2022 | 43.4466 | 464.3832 | 0 | 8.2052 | 14.5931 | 8.2193 | 16.4209 | 387.2174 | 1.1444 | 45.4276 | 10.4458 | 12.64 | 11.4477 | 132.3972 | 6.7013 | 11.7627 | 3.2971 | 29.5468 | 428.4783 | 72.3019 | 3.8002 | 9.7999 | 0.98321 | 10.8173
2023 | 43.0767 | 464.3832 | 0 | 8.1336 | 14.2765 | 8.2898 | 15.8852 | 387.2174 | 1.1779 | 45.4065 | 10.3978 | 12.8246 | 11.3085 | 131.1777 | 6.6858 | 8.5532 | 3.2784 | 29.3288 | 428.4783 | 73.6521 | 3.7791 | 9.6185 | 1.0732 | 10.8087
2024 | 43.8564 | 465.6554 | 0 | 8.0634 | 14.1088 | 8.379 | 17.0496 | 388.2783 | 1.2627 | 45.3992 | 10.4079 | 13.5383 | 11.0414 | 130.2704 | 6.671 | 8.3535 | 3.2988 | 29.4768 | 429.6522 | 75.0355 | 3.7573 | 9.9941 | 1.7744 | 10.8301
2025 | 42.9491 | 464.3832 | 0 | 7.9975 | 13.7888 | 8.464 | 16.6966 | 387.2174 | 1.0721 | 44.1865 | 10.405 | 13.6159 | 11.6045 | 128.4768 | 6.6562 | 8.15 | 3.2787 | 29.3325 | 428.4783 | 74.2096 | 3.7506 | 10.1494 | 1.2206 | 10.85
2026 | 43.1489 | 464.3832 | 0 | 7.9537 | 13.8884 | 8.5449 | 17.3888 | 387.2174 | 1.0422 | 45.3915 | 10.3647 | 14.0664 | 12.271 | 127.2755 | 6.6415 | 7.9581 | 3.2745 | 29.0481 | 428.4783 | 75.991 | 3.6075 | 10.5189 | 1.5523 | 10.8718
2027 | 44.3507 | 464.3832 | 0 | 7.9444 | 13.7223 | 8.6236 | 18.5118 | 387.2174 | 1.2135 | 45.3973 | 10.4006 | 14.7011 | 13.1308 | 126.7718 | 6.6269 | 7.7651 | 3.2838 | 28.9001 | 428.4783 | 75.4052 | 3.4832 | 11.2924 | 1.6689 | 10.89
2028 | 45.9348 | 465.6554 | 0 | 7.9643 | 13.88 | 8.7253 | 19.1231 | 388.2783 | 1.2712 | 45.4048 | 10.4172 | 15.1319 | 14.2915 | 127.2072 | 6.6123 | 7.5719 | 3.3028 | 28.9485 | 429.6522 | 76.8954 | 3.4742 | 11.7524 | 1.8711 | 10.9341
2029 | 48.5189 | 464.3832 | 0 | 7.9844 | 13.9014 | 8.8243 | 19.4545 | 387.2174 | 1.4757 | 45.0776 | 10.4932 | 15.5348 | 14.9886 | 127.4391 | 6.5978 | 7.3753 | 3.3395 | 29.2315 | 428.4783 | 76.8565 | 3.4559 | 12.2467 | 1.9656 | 10.9662
2030 | 51.5965 | 464.3832 | 0 | 8.015 | 13.4468 | 8.9211 | 19.459 | 387.2174 | 1.246 | 43.5283 | 10.4868 | 15.0269 | 12.3205 | 127.5172 | 6.5834 | 7.1641 | 3.3571 | 29.0031 | 428.4783 | 75.7702 | 3.397 | 12.2509 | 1.343 | 10.9999
2031 | 55.7663 | 464.3832 | 0 | 8.063 | 13.5633 | 8.9887 | 19.9883 | 387.2174 | 1.27 | 44.7083 | 10.5066 | 15.8434 | 10.6812 | 128.1246 | 6.569 | 4.3695 | 3.3517 | 29.3837 | 428.4783 | 76.6427 | 3.3795 | 12.9515 | 1.6377 | 10.9954
2032 | 58.6676 | 465.6554 | 0 | 8.1225 | 13.2947 | 9.0412 | 21.955 | 388.2783 | 1.5273 | 44.7058 | 10.56 | 16.3814 | 10.18 | 129.2299 | 6.5547 | 4.3737 | 3.3735 | 29.5553 | 429.6522 | 75.7816 | 3.3614 | 13.2551 | 1.6074 | 10.9672
2033 | 59.8194 | 464.3832 | 0 | 8.183 | 13.1516 | 9.0925 | 21.8771 | 387.2174 | 1.5477 | 44.6834 | 10.6557 | 16.8795 | 6.1402 | 130.4483 | 6.5404 | 4.3635 | 3.4069 | 30.6142 | 428.4783 | 76.8619 | 3.3422 | 13.701 | 1.1833 | 10.944
2034 | 61.7615 | 464.3832 | 0 | 8.2362 | 13.0189 | 9.143 | 22.0943 | 387.2174 | 2.2515 | 44.6566 | 10.8158 | 16.9251 | 0.199 | 132.6204 | 6.5404 | 4.3494 | 3.4794 | 31.3175 | 428.4783 | 77.4346 | 3.3214 | 13.81 | 0.14099 | 10.9199