## All Regions Summary
All Regions Summary
There are currently over 600 MW of committed projects across the NEM, including the Mortons Lane wind farm (20.3 MW), the Macarthur Wind Farm (420 MW) and the Qenos Cogeneration Facility (21 MW) in Victoria, the Eraring Power Station Upgrade (60 MW) in New South Wales, and Musselroe Wind Farm (168 MW) in Tasmania.
Gas projects represent the highest technology interest (by capacity), with nearly 15,000 MW proposed across the NEM that AEMO is aware of, with more than half of the gas projects proposed from Queensland. Wind powered generation developments represent the second highest investment interest with over 14,000 MW across the NEM. Publicly announced proposals totalled over 34,500 MW spread across all regions.
In this report, references to winter indicate the period 1 June–31 August, and references to summer indicate the period 1 November–31 March. In Tasmania the summer period covers 1 December–28 February.
The table below summarises the projected available scheduled and semi-scheduled generation capacity in each region to meet the projected maximum demand in summer 2012–13 and winter 2013.
Available capacities for 2012–13
Region | Summer (MW) | Winter (MW)
| 2012–13 | 2013
Queensland | 12209 | 12495
New South Wales | 16327 | 16388
Victoria | 11311 | 11738
South Australia | 4091 | 4433.1
Tasmania | 2601 | 2682
NEM Total | 46539 | 47736.1
Generation Projects - completed new developments since 2011
Registered Participant | Power Station | Project Capacity (MW) | Fuel/Technology | Commissioning Date
Victoria
Oaklands Hill Wind Farm Pty Ltd | Oaklands Hill | 67.2 | Wind | 2012-02-01
Origin Energy Power Limited | Mortlake Stage 1 | 566 | Gas - OCGT | 2011-07-01
South Australia
Eurus Energy | Hallett 5 (The Bluff) | 52.5 | Wind | 2011-12-01
Generation Projects - completed upgrades since 2011
Registered Participant | Power Station | Project Capacity (MW) | Fuel/Technology | Commissioning Date
New South Wales
Eraring Energy | Eraring - Upgrade (Unit 1) | 60 | Steam Turbine - Black Coal | 2012
Generation Projects - committed new developments since 2011
Registered Participant | Power Station | Project Capacity (MW) | Fuel/Technology | Commissioning Date
Victoria
Macarthur Wind Farm Unincorporated Joint Venture | Macarthur | 420 | Wind | 2013-01-01
Mortons Lane Wind Farm Pty Ltd | Mortons Lane | 19.5 | Wind | TBA
AGL | Qenos Cogeneration Facility | 21 | Gas - CCGT | 2012-10-01
Tasmania
Hydro Tasmania Wind Operations Pty Ltd | Musselroe | 168 | Wind | 2013-06-01
Generation Projects - committed upgrades since 2011
Registered Participant | Power Station | Project Capacity (MW) | Fuel/Technology | Commissioning Date
New South Wales
Eraring Energy | Eraring - Upgrade (Unit 4) | 60 | Steam Turbine - Black Coal | 2012-10-01

## Victoria Summary
Victoria Summary
Committed project developments
Macarthur Wind Farm: AGL Energy advises that Macarthur is a committed project. The 420 MW wind farm is currently under construction with completion expected in January 2013.
Mortons Lane Wind Farm: Goldwind Australia advises that Mortons Lane is a committed project. The 19.5 MW wind farm is currently under construction.
Qenos Cogeneration Facility: AGL Energy advises that Qenos Cogeneration Facility is a committed project. The 21 MW combined-cycle gas turbine (CCGT) is currently under construction with completion expected in October 2012.
Plant retirements
AEMO has not been advised of any plant retirements in Victoria within the 10-year planning outlook.
Changes since the 2011 ESOO (existing generation)
Hume Power Station: Hume has two units located near the Victoria and New South Wales border, which can be dispatched to either region. Eraring Energy has requested that Hume be treated as two separate generators, where half the capacity is being dispatched to Victoria and the other half to New South Wales.
Morwell Power Station: Energy Brix Australia advises that Morwell's available capacity has been revised from 174 MW to 104 MW (-70 MW) in summer and winter, due to the MOR3 generating unit only being available on a recall time of 2 days.
Plant limitations
Dartmouth Power Station: AGL Energy advises that Dartmouth's available capacity will be limited to 130 MW for summer 2012-13 and winter 2013, 160 MW for summer 2013-14 and winter 2014 and 180 MW for summer 2014-15 and winter 2015.
Laverton North Power Station: Snowy Hydro advises that Laverton North will be limited to 170 MW during winter 2016 due to rescheduled maintenance.
Murray 1 Power Station: Snowy Hydro advises that Murray 1 will undergo the following outages:
· 855 MW during summer 2014-15 due to an outage of Unit 1
· 855 MW during summer 2015-16 due to an outage of Unit 9
· 855 MW during winter 2017 due to an outage of Unit 3
· 855 MW during winter 2018 due to an outage of Unit 4
· 855 MW during winter 2019 due to an outage of Unit 5
· 855 MW during winter 2020 due to an outage of Unit 6
· 855 MW during winter 2021 due to an outage of Unit 7
· 855 MW during winter 2022 due to an outage of Unit 8
Murray 2 Power Station: Snowy Hydro advises that Murray 1 will undergo the following outages:
· 425 MW during summer 2019-20 due to an outage of Unit 1
· 425 MW during summer 2020-21 due to an outage of Unit 2

## Background Information
Generation capacity in the NEM
Any person who owns, controls, or operates a generating system connected to a transmission or distribution network must register as a generator. A generating system’s registered capacity is the nominal megawatt (MW) capacity registered with AEMO.
The registered capacity is often the same as a generating system’s nameplate capacity. The nameplate capacity represents the maximum continuous output or consumption in MW, as specified by the manufacturer, or as subsequently modified. The nameplate capacity can change for a number of reasons, such as upgrade projects, age or a review of performance.
Under the National Electricity Rules (NER), generating systems are classified as scheduled, semi-scheduled, or non-scheduled.
Scheduled (S) generation refers to any generating system with an aggregate nameplate capacity of 30 MW or more, unless classified as semi-scheduled, or AEMO is permitted to classify it as non-scheduled.
Semi-scheduled (SS) generation refers to any generating system with intermittent output (such as wind or run-of-river hydro) with an aggregate nameplate capacity of 30 MW or more. A semi-scheduled classification gives AEMO the power to limit generation output that may exceed network capabilities, but reduces the participating generator’s requirement to provide information.
Non-scheduled (NS) generation refers to generating systems with an aggregate nameplate capacity of less than 30 MW and equal to or greater than 5 MW.
Generating systems greater than 30 MW may be classified as non-scheduled if:
· the primary purpose of the generating unit is for local use and the aggregate sent-out generation rarely exceeds 30 MW, or
· it is not practicable for the generating unit to participate in central dispatch.
A generating unit that has a nameplate rating less than 30 MW may also be exempted by AEMO if it exports less than 20 GWh into the grid in a year or extenuating circumstances apply.
Measuring generation capacity
Generation capacity can be measured as either:
· as-generated capacity, representing the output measured at a generating unit’s terminals, or
· sent-out capacity, representing the output after allowing for the consumption of some energy by auxiliary equipment (used to help produce and transmit the electricity).
For more information about the basis for measuring generation.
For the purposes of the ESOO and consistent with market systems, AEMO measures scheduled and semi-scheduled generation capacity on an as-generated basis. Non-scheduled generation is measured as sent-out because it can include co-generation plants, where the bulk of the capacity is consumed by the local process.
Temperature effects on generation
The actual level of generation available at any particular time will depend on the condition of the generating plant, which includes factors such as age, outages, and wear. Another important factor with respect to output is the reduction in thermal efficiency with increasing temperature.
Temperature can affect plant generation capacities in different ways. Basing generation capacities on a region-specific reference temperature facilitates a more effective assessment of the capability of the available generation under weather conditions frequently associated with high demand.
To produce the supply-demand outlook, AEMO in consultation with the Jurisdictional Planning Bodies (JPBs):
· uses historical data to estimate the typical weather conditions, and to determine reference temperatures that are frequently associated with times of 10% probability of exceedence (POE) maximum demand in the major load centres for each region, and
· asks generators to provide generating unit capacities for summer and winter using these common reference temperatures. The table below lists the common reference temperatures AEMO applies for each region. In general, annual maximum demands occur during summer, with the exception of Tasmania, where the maximum demand periods occur during winter. The summer maximum demands in Tasmania occur during colder temperatures, resulting in a relatively low summer reference temperature.
Generation capacity reference temperatures
Region | Summer (°C) | Winter (°C)
Queensland | 37 | 15
New South Wales | 42 | 9
Victoria | 41 | 8
South Australia | 43 | 11
Tasmania | 7.7 | 1.2
Maximum capacity
Some thermal (generation that burns fuel) and non-thermal (renewable generation) generating systems can provide additional, short-term capacity that exceeds the registered capacity. This is known as maximum capacity.
Proposed generation in the NEM
In addition to capacity forecasts, generation plant owners advise AEMO about the status of generation projects currently under development in each region.
Project proposals involve a range of projects at different stages of development.
Generation is categorised as:
· existing generation, representing generation that is commissioned and operating and requires that the operator be a registered market participant
· committed projects, representing generation that is considered to be proceeding, or
· proposed projects, which are further identified as either:
- advanced proposals, representing generation at an intermediate stage of development, or
- publicly announced proposals, representing generation at an early stage of development.
Projects are categorised based on AEMO’s commitment criteria, which cover site acquisition, contracts for major components, planning approval, financing, and the date set for construction. Committed projects meet all five of the commitment criteria, advanced proposals meet at least three, and publicly announced proposals meet less than three.
Generation project commitment criteria
Category | Criteria
Site | The project proponent has purchased/settled/acquired (or commenced legal proceedings to purchase/settle/acquire) land for the construction of the project.
Major components | Contracts for the supply and construction of the major components of plant or equipment (such as generating units, turbines, boilers, transmission towers, conductors, and terminal station equipment) have been finalised and executed, including any provisions for cancellation payments.
Planning consents/construction approvals/EIS | The proponent has obtained all required planning consents, construction approvals, and licences, including completion and acceptance of any necessary environmental impact statements.
Finance | The financing arrangements for the proposal, including any debt plans, must have been concluded and contracts executed.
Final construction date set | Construction of the proposal must either have commenced or a firm commencement date must have been set.

## Existing S & SS Generation
Existing & committed scheduled and semi-scheduled generation
Power Station | Owner | Unit Numbers and Nameplate Capacity (MW) | Installed | Plant Type | Fuel | Dispatch Type
Capacity (MW)
Bairnsdale | Alinta DEBO | 2 x 47 | 94 | OCGT | Natural Gas Pipeline | S
Bogong / Mckay | AGL | 2 x 70 6 x 26.5 | 300 | Hydro - Gravity | Water | S
Dartmouth | AGL | 1 x 185 | 185 | Hydro - Gravity | Water | S
Eildon | AGL | 2 x 7.5 2 x 60 | 135 | Hydro - Gravity | Water | S
Hazelwood | Hazelwood Power | 8 x 200 | 1600 | Steam Sub Critical | Brown Coal | S
Hume VIC | Eraring Energy | 1 x 29 | 29 | Hydro - Gravity | Water | S
Jeeralang A | Industry Funds Management Nominees Ltd Ecogen Holdings | 4 x 53 | 212 | OCGT | Natural Gas Pipeline | S
Jeeralang B | Industry Funds Management Nominees Ltd | 3 x 76 | 228 | OCGT | Natural Gas Pipeline | S
Laverton North | Snowy Hydro Ltd | 2 x 156 | 312 | OCGT | Natural Gas Pipeline | S
Loy Yang A | GEAC Great Energy Alliance Corporation | 3 x 560 1 x 500 | 2180 | Steam Sub Critical | Brown Coal | S
Loy Yang B | IPM Australia Limited | 2 x 500 | 1000 | Steam Sub Critical | Brown Coal | S
Mortlake Stage 1 | Origin Energy Power Limited | 2 x 283 | 566 | OCGT | Natural Gas Pipeline | S
Morwell/Energy Brix | Energy Brix Australia Corporation Pty Ltd | 1 x 84 1 x 75 1 x 30 | 189 | Steam Sub Critical | Brown Coal | S
Murray 1 | Snowy Hydro Ltd | 10 x 95 | 950 | Hydro - Gravity | Water | S
Murray 2 | Snowy Hydro Ltd | 4 x 138 | 552 | Hydro - Gravity | Water | S
Newport | Industry Funds Manaegment Nominees Ltd | 1 x 500 | 500 | Steam Sub Critical | Natural Gas Pipeline | S
Oaklands Hill | Oaklands Hill Wind farm pty ltd | 32 x 2.1 | 67.2 | Wind | Wind | SS
Somerton | AGL Energy | 4 x 40 | 160 | OCGT | Natural Gas Pipeline | S
Valley Power | Snowy Hydro Ltd | 6 x 50 | 300 | OCGT | Natural Gas Pipeline | S
West Kiewa | AGL | 4 x 15 | 60 | Hydro - Gravity | Water | S
Yallourn W | TRUenergy Holdings Pty Ltd | 2 x 380 2 x 360 | 1480 | Steam Sub Critical | Brown Coal | S
Committed
Macarthur | Macarthur Wind Farm Unincorporated Joint Venture | 140 x 3 | 420 | Wind | Wind | SS
Total |  |  | 11519.2

## Existing Wind Generation
Existing & committed wind generation
Power Station | Owner | Unit Numbers and Nameplate Capacity (MW) | Installed | Plant Type | Fuel | Dispatch Type
Capacity (MW)
Oaklands Hill | Oaklands Hill Wind farm pty ltd | 32 x 2.1 | 67.2 | Wind | Wind | SS
Challicum Hills | Pacific Hydro Challicum Hills Pty Ltd | 35 x 1.5 | 52.5 | Wind | Wind | NS
Codrington | Energy Pacific Vic Pty Ltd | 14 x 1.3 | 18.2 | Wind | Wind | NS
Leonards Hill | Hepburn Community Wind Park Co-operative Limited | 2 x 2.05 | 4.1 | Wind | Wind | NS
Portland Stage 2-3 Cape Bridgewater and Cape Nelson South | Pacific Hydro Portland Wind Farm Pty Ltd | 29x2 22x2 | 102 | Wind | Wind | NS
Toora | Ratch Australia | 12 x 1.75 | 21 | Wind | Wind | NS
Waubra | Pyrenees Wind Energy Developments | 128 x 1.5 | 192 | Wind | Wind | NS
Wonthaggi | Regional Wind Farms | 6 x 2 | 12 | Wind | Wind | NS
Yambuk | Energy Pacific Vic Pty Ltd | 20 x 1.5 | 30 | Wind | Wind | NS
Committed
Macarthur | Macarthur Wind Farm Unincorporated Joint Venture | 140 x 3 | 420 | Wind | Wind | SS
Total |  |  | 919

## Summer Scheduled Capacities
Summer aggregate available scheduled and semi-scheduled generation – Victoria (MW)
Power Station | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Dispatch Type
Barcaldine | –13 | –14 | –15 | –16 | –17 | –18 | –19 | –20 | –21 | -22 | S
Angleseaa | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | NS
Bairnsdale | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | S
Bogong / Mackay | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | S
Dartmouth | 130 | 160 | 180 | 185 | 185 | 185 | 185 | 185 | 185 | 185 | S
Eildon | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | S
Hazelwood | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | S
Hume VIC | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | S
Jeeralang A | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | S
Jeeralang B | 216 | 216 | 216 | 216 | 216 | 216 | 216 | 216 | 216 | 216 | S
Laverton North | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | S
Loy Yang A | 2190 | 2190 | 2190 | 2190 | 2190 | 2190 | 2190 | 2190 | 2190 | 2190 | S
Loy Yang B | 965 | 965 | 965 | 965 | 965 | 965 | 965 | 965 | 965 | 965 | S
Mortlake Stage 1 | 518 | 518 | 518 | 518 | 518 | 518 | 518 | 518 | 518 | 518 | S
Morwell/Energy Brix | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | S
Murray 1 | 950 | 950 | 855 | 855 | 950 | 950 | 950 | 950 | 950 | 950 | S
Murray 2 | 562.5 | 562.5 | 562.5 | 562.5 | 562.5 | 562.5 | 562.5 | 562.5 | 424.5 | 424.5 | S
Oaklands Hill | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | SS
Newport | 475 | 475 | 475 | 475 | 475 | 475 | 475 | 475 | 475 | 475 | S
Somerton | 131.7 | 134 | 132.5 | 132.5 | 132.5 | 132.5 | 132.5 | 132.5 | 132.5 | 132.5 | S
Valley Power | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | S
West Kiewa | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | S
Yallourn W | 1480 | 1480 | 1480 | 1480 | 1480 | 1480 | 1480 | 1480 | 1480 | 1480 | S
Committed Projects
Macarthur | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | SS
Total | 11311.2 | 11343.5 | 11267 | 11272 | 11367 | 11367 | 11367 | 11367 | 11229 | 11229
a. Anglesea is registered as non-scheduled, but is included as a scheduled generator in the supply-demand outlook.
The table above list the latest summer capacities for Victorian generation. Summer conditions relate to statistically predicted contribution under 10% POE maximum conditions.
Due to the intermittent nature of wind, wind generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. AEMO refers to this as the firm contribution from wind generators during peak periods. For 2011-12 these figures have been updated to 6.5% of the installed capacity during summer, and 7.2% during winter.
The two tables below have been included to better represent the supply availability in Victoria by taking into account the firm contribution by wind. The Summer aggregate scheduled and firm semi-scheduled generation table presents scheduled generation and aggregated firm wind generation. The Summer total available semi-scheduled capacity by power station table lists the total available capacity for semi-scheduled wind generation for the summer period. The total available refers to the maximum amount that can be generated from the wind farms at the summer reference temperatures.
Summer aggregate scheduled and firm semi-scheduled generation – Victoria (MW)
Power Station | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Dispatch Type
Barcaldine | –13 | –14 | –15 | –16 | –17 | –18 | –19 | –20 | –21 | -22 | S
Angleseaa | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | NS
Bairnsdale | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | S
Bogong / Mackay | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | S
Dartmouth | 130 | 160 | 180 | 185 | 185 | 185 | 185 | 185 | 185 | 185 | S
Eildon | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | S
Hazelwood | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | S
Hume VIC | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | S
Jeeralang A | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | S
Jeeralang B | 216 | 216 | 216 | 216 | 216 | 216 | 216 | 216 | 216 | 216 | S
Laverton North | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | S
Loy Yang A | 2190 | 2190 | 2190 | 2190 | 2190 | 2190 | 2190 | 2190 | 2190 | 2190 | S
Loy Yang B | 965 | 965 | 965 | 965 | 965 | 965 | 965 | 965 | 965 | 965 | S
Mortlake Stage 1 | 518 | 518 | 518 | 518 | 518 | 518 | 518 | 518 | 518 | 518 | S
Morwell/Energy Brix | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | S
Murray 1 | 950 | 950 | 855 | 855 | 950 | 950 | 950 | 950 | 950 | 950 | S
Murray 2 | 562.5 | 562.5 | 562.5 | 562.5 | 562.5 | 562.5 | 562.5 | 562.5 | 424.5 | 424.5 | S
Newport | 475 | 475 | 475 | 475 | 475 | 475 | 475 | 475 | 475 | 475 | S
Somerton | 131.7 | 134 | 132.5 | 132.5 | 132.5 | 132.5 | 132.5 | 132.5 | 132.5 | 132.5 | S
Valley Power | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | S
West Kiewa | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | S
Yallourn W | 1480 | 1480 | 1480 | 1480 | 1480 | 1480 | 1480 | 1480 | 1480 | 1480 | S
Firm Wind Capacity | 4.368 | 4.368 | 4.368 | 4.368 | 4.368 | 4.368 | 4.368 | 4.368 | 4.368 | 4.368 | SS
Total | 12844.568 | 12877.868 | 12802.368 | 12808.368 | 12904.368 | 12905.368 | 12906.368 | 12907.368 | 12770.368 | 12749.368
Summer aggregate available semi-scheduled capacity by power station
Power Station | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Dispatch Type
Barcaldine | –13 | –14 | –15 | –16 | –17 | –18 | –19 | –20 | –21 | -22 | S
Oaklands Hill | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | SS
Committed Projects
Macarthur | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | SS
Total | 483 | 483 | 483 | 483 | 483 | 483 | 483 | 483 | 483 | 483

## Winter Scheduled Capacities
Winter aggregate scheduled and semi-scheduled generation – Victoria (MW)
Project Station | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | Dispatch Type
Angleseaa | 158 | 158 | 158 | 158 | 158 | 158 | 158 | 158 | 158 | 158 | NS
Bairnsdale | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | S
Bogong / Mackay | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | S
Dartmouth | 130 | 160 | 180 | 185 | 185 | 185 | 185 | 185 | 185 | 185 | S
Eildon | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | S
Hazelwood | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | S
Hume VIC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S
Jeeralang A | 232 | 232 | 232 | 232 | 232 | 232 | 232 | 232 | 232 | 232 | S
Jeeralang B | 255 | 255 | 255 | 255 | 255 | 255 | 255 | 255 | 255 | 255 | S
Laverton North | 340 | 340 | 340 | 170 | 340 | 340 | 340 | 340 | 340 | 340 | S
Loy Yang A | 2270 | 2270 | 2270 | 2270 | 2270 | 2270 | 2270 | 2270 | 2270 | 2270 | S
Loy Yang B | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | S
Mortlake Stage 1 | 553 | 553 | 553 | 553 | 553 | 553 | 553 | 553 | 553 | 553 | S
Morwell/Energy Brix | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | S
Murray 1 | 950 | 950 | 950 | 950 | 855 | 855 | 855 | 855 | 855 | 855 | S
Murray 2 | 562.5 | 562.5 | 562.5 | 562.5 | 562.5 | 562.5 | 562.5 | 562.5 | 562.5 | 562.5 | S
Newport | 510 | 510 | 510 | 510 | 510 | 510 | 510 | 510 | 510 | 510 | S
Oaklands Hill | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | SS
Somerton | 160 | 162.5 | 161 | 161 | 161 | 161 | 161 | 161 | 161 | 161 | S
Valley Power | 336 | 336 | 336 | 336 | 336 | 336 | 336 | 336 | 336 | 336 | S
West Kiewa | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | S
Yallourn W | 1480 | 1480 | 1480 | 1480 | 1480 | 1480 | 1480 | 1480 | 1480 | 1480 | S
Committed Projects
Macarthur | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | SS
Total | 11737.5 | 11770 | 11788.5 | 11623.5 | 11698.5 | 11698.5 | 11698.5 | 11698.5 | 11698.5 | 11698.5
a. Anglesea is registered as non-scheduled, but is included as a scheduled generator in the supply-demand outlook.
The table above list the latest winter capacities for Victorian generation. Winter conditions relate to statistically predicted contribution under 10% POE maximum conditions.
Due to the intermittent nature of wind, wind generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. AEMO refers to this as the firm contribution from wind generators during peak periods. For 2011-12 these figures have been updated to 6.5% of the installed capacity during summer, and 7.2% during winter.
The two tables below have been included to better represent the supply availability in Victoria, by taking into account the firm contribution by wind. The Winter aggregate scheduled and firm semi-scheduled generation table presents scheduled generation and aggregated firm wind generation. The Winter total available semi-scheduled capacity by power station table lists the total available capacity for semi-scheduled wind generation for the summer period. The total available refers to the maximum amount that can be generated from the wind farms at the summer reference temperatures.
Summer aggregate scheduled and firm semi-scheduled generation – Victoria (MW)
Project Station | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | Dispatch Type
Angleseaa | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | NS
Bairnsdale | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | S
Bogong / Mackay | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | S
Dartmouth | 130 | 160 | 180 | 185 | 185 | 185 | 185 | 185 | 185 | 185 | S
Eildon | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | S
Hazelwood | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | S
Hume VIC | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | S
Jeeralang A | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | S
Jeeralang B | 216 | 216 | 216 | 216 | 216 | 216 | 216 | 216 | 216 | 216 | S
Laverton North | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | S
Loy Yang A | 2190 | 2190 | 2190 | 2190 | 2190 | 2190 | 2190 | 2190 | 2190 | 2190 | S
Loy Yang B | 965 | 965 | 965 | 965 | 965 | 965 | 965 | 965 | 965 | 965 | S
Mortlake Stage 1 | 518 | 518 | 518 | 518 | 518 | 518 | 518 | 518 | 518 | 518 | S
Morwell/Energy Brix | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | S
Murray 1 | 950 | 950 | 855 | 855 | 950 | 950 | 950 | 950 | 950 | 950 | S
Murray 2 | 562.5 | 562.5 | 562.5 | 562.5 | 562.5 | 562.5 | 562.5 | 562.5 | 424.5 | 424.5 | S
Newport | 475 | 475 | 475 | 475 | 475 | 475 | 475 | 475 | 475 | 475 | S
Somerton | 131.7 | 134 | 132.5 | 132.5 | 132.5 | 132.5 | 132.5 | 132.5 | 132.5 | 132.5 | S
Valley Power | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | S
West Kiewa | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | S
Yallourn W | 1480 | 1480 | 1480 | 1480 | 1480 | 1480 | 1480 | 1480 | 1480 | 1480 | S
Firm Wind Capacity | 4.8384 | 4.8384 | 4.8384 | 4.8384 | 4.8384 | 4.8384 | 4.8384 | 4.8384 | 4.8384 | 4.8384 | SS
Total | 12846.0384 | 12879.3384 | 12803.8384 | 12809.8384 | 12905.8384 | 12906.8384 | 12907.8384 | 12908.8384 | 12771.8384 | 12772.8384
Summer aggregate available semi-scheduled capacity by power station
Project Station | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | Dispatch Type
Oaklands Hill | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | SS
Committed Projects
Macarthur | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | SS
Total | 483 | 483 | 483 | 483 | 483 | 483 | 483 | 483 | 483 | 483

## New Developments
Projects under development – Victoria
Project | Owner | Unit ID | Fuel Type | Generation Type | Land | Equip | Plan | Finance | Date | Unit Status | Nameplate Capacity (MW) | Dispatch Type | Commissioning Start Date
Ararat | RES Australia Pty Ltd | 1-75 | Wind | Wind | [5 empty] | Pub An | 247.5 | SS | 2014-06-30
Bald Hills | Mitsui and Co. Australia Ltd | 1-52 | Wind | Wind | ü |  |  |  |  | Pub An | 106.6 | SS | TBA
Ben More | Ratch Australia | 1-50/70 | Wind | Wind | [5 empty] | Pub An | 50-70 | SS | TBA
Berrimal | ACCIONA Energy | 1-14 | Wind | Wind | [5 empty] | Pub An | 42 | SS | TBA
Berrybank | Berrybank Development Pty Ltd | Units 1-99 | Wind | Wind | [5 empty] | Pub An | 247.5 | SS | 2016-07-01
Cherry Tree Wind Farm | Infigen Energy | All Units | Wind | Wind | [5 empty] | Pub An | TBA | SS | TBA
Crowlands | Energy Pacific Vic Pty Ltd | 1-63 | Wind | Wind | [5 empty] | Pub An | TBA | SS | TBA
Darlington | Union Fenosa Wind Australia | Units 1-150 | Wind | Wind | [5 empty] | Pub An | 345 | SS | TBA
Hallam Road | LMS Generation PTY LTD | 7-8 | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | [5 empty] | Pub An | 2.2 | NS | TBA
Hawkesdale | Hawkesdale Development Pty Ltd | Units 1-31 | Wind | Wind |  |  |  |  | ü | Pub An | 62 | SS | TBA
Lal Lal (Elaine end) | Elaine Wind Farm Pty. Ltd. | 41-64 | Wind | Wind | ü |  |  |  |  | Pub An | 48 - 78 | SS | TBA
Lal Lal (Yendon end) | Yendon Wind Farm Pty. Ltd. | 1-40 | Wind | Wind | ü |  |  |  |  | Pub An | 80 - 136 | SS | 2013-11-30
Lexton - Victoria | Origin Energy | All Units | Wind | Wind | [5 empty] | Pub An | 38 | SS | TBA
Macarthur | Macarthur Wind Farm Unincorporated Joint Venture | 1-140 | Wind | Wind | ü | ü | ü | ü | ü | Com | 420 | SS | 2013-01-29
Mallee Solar Park | TRUenergy | All Units | Solar | PV panels | [5 empty] | Pub An | 180 | SS | TBA
Mildura Power Station | Solar Systems | All Units | Solar | PV-Concentrator | ü |  |  |  |  | Pub An | 154 | SS | TBA
Moorabool | Moorabool Wind Farm Pty Ltd | 1-50 | Wind | Wind | ü |  |  |  |  | Pub An | 100 | SS | 2014-04-30
|  | 51-110 | Wind | Wind | ü |  |  |  |  | Pub An | 114 | SS | 2014-04-30
Mortlake South | ACCIONA Energy | 1-51 | Wind | Wind | [5 empty] | Pub An | 76.5 | SS | TBA
Mortlake Stage 2 | Origin Energy Electricity Limited | All Units | Natural Gas Pipeline | OCGT | ü | ü |  |  |  | Pub An | 550 | S | TBA
Mortons Lane | Mortons Lane Wind Farm Pty Ltd | 1-13 | Wind | Wind | ü | ü | ü | ü | ü | Com | 19.5 | NS | TBA
Mt Gellibrand | ACCIONA Energy | 1-63 | Wind | Wind | ü |  |  |  | ü | Pub An | 189 | SS | 2014-12-31
Mt Mercer | Mt Mercer Wind Farm Pty Ltd | All Units | Wind | Wind | [5 empty] | Pub An | 131.2 | SS | TBA
Naroghid | Naroghid Wind Farm Pty Ltd | 21 | Wind | Wind | [5 empty] | Pub An | 42 | SS | TBA
Penshurst | RES Australia Pty Ltd | 1-200 | Wind | Wind | [5 empty] | Pub An | 600 | SS | TBA
Portland Stage 4 Cape Nelson North and Cape Sir William Grant | Pacific Hydro Portland Wind Farm Pty Ltd | 1-27 | Wind | Wind | [5 empty] | Pub An | 47.15 | NS | TBA
Qenos Cogeneration Facility | AGL | All Units | Natural Gas Pipeline | CCGT | ü | ü | ü | ü | ü | Com | 21 | NS | 2012-10-15
Ryan Corner | Ryan Corner Development Pty Ltd | Units 1-67 | Wind | Wind | [5 empty] | Pub An | 134 | SS | TBA
Shaw River Power Station | Santos TGR Pty Ltd | Shaw River 1 | Natural Gas Pipeline | CCGT | [5 empty] | Pub An | 500 | S | TBA
Stockyard | Origin Energy | 1-157 | Wind | Wind | [5 empty] | Pub An | 392 | SS | TBA
Tarrone GT | AGL Energy Limited | 1-2 | Natural Gas Pipeline | OCGT | [5 empty] | Pub An | 500-600 | S | TBA
Tarrone WF | Union Fenosa Wind Australia | Units 1-20 | Wind | Wind | [5 empty] | Pub An | 60 | SS | TBA
The Sisters | The Sisters Wind Farm Pty Ltd | 1-12 | Wind | Wind | ü |  |  |  |  | Pub An | 29.9 | NS | TBA
Willatook | Wind Prospect WA Pty Ltd | 1-145 | Wind | Wind | [5 empty] | Pub An | 261 | SS | TBA
Woolsthorpe | Woolsthorpe Wind Farm Pty. Ltd. | 1-20 | Wind | Wind | [5 empty] | Pub An | 46 approx | SS | 2012-06-01
Yallourn CCGT | TRUenergy | All Units | Natural Gas Pipeline | CCGT | ü |  |  |  |  | Pub An | 1000 | S | TBA
Yaloak South | Energy Pacific Vic Pty Ltd | 1-14 | Wind | Wind | [5 empty] | Pub An | 28.7 | NS | TBA

## Existing NS Generation
Existing non-scheduled generation – Victoria
Power Station | Owner | Fuel Type | Technology Type | Nameplate Capacity (MW)
200 Victoria Street | Cogent Energy | Natural Gas Pipeline | Compression Reciprocating Engine | 0.4
321 Exhibition Street Trigen | Cogent Energy | Natural Gas Pipeline | Spark Ignition Reciprocating Engine | 1.2
Anglesea Power Station 2012 | Alcoa of Australia Limited | Brown Coal | Steam Sub Critical | 150
Ballarat Base Hospital | Ballarat Base Hospital | Natural Gas Pipeline | Spark Ignition Reciprocating Engine | 2.04
Banimboola | AGL | Water | Hydro - Gravity | 12.5
Berwick | EDL LFG Vic Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 4.6
Broadmeadows | EDL LFG Vic Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 6.18
Brooklyn | EDL LFG Vic Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 2.83
Challicum Hills | Pacific Hydro Challicum Hills Pty Ltd | Wind | Wind | 52.5
Clayton | EDL LFG Vic Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 11
Clover | AGL | Water | Hydro - Gravity | 29
Codrington | Energy Pacific Vic Pty Ltd | Wind | Wind | 18.2
Corio | EDL LFG Vic Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 1
Diamond Energy Shepparton | Diamond Energy Pty Ltd | Sewerage / Waste Water | Spark Ignition Reciprocating Engine | 1.1
Diamond Energy Tatura | Diamond Energy Pty Ltd | Sewerage / Waste Water | Spark Ignition Reciprocating Engine | 1.1
Eildon Small Hydro | Pacific Hydro Investments Pty Ltd | Water | Hydro - Gravity | 4.5
Glenmaggie Hydro | Pacific Hydro Investments Pty Ltd | Water | Hydro - Gravity | 3.8
Hallam Road | LMS Generation PTY LTD | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 6.738
Leonards Hill | Hepburn Community Wind Park Co-operative Limited | Wind | Wind | 4.1
Longford | Longford Gas Plant | Natural Gas Pipeline | OCGT | 31.8
Mornington Waste Disposal Facility | LMS Generation Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 0.77
Portland Stage 2-3 Cape Bridgewater and Cape Nelson South | Pacific Hydro Portland Wind Farm Pty Ltd | Wind | Wind | 102
Rubicon Mountain Streams | AGL | Water | Hydro - Gravity | 13.5
Shepparton Wastewater Treatment Facility | Diamond Energy Pty Ltd | Sewerage / Waste Water | Spark Ignition Reciprocating Engine | 1.084
South East Water - Hallam Plant | South East Water | Water | Hydro - Gravity | 0.25
Springvale | EDL LFG Vic Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 4.12
Symex | Symex Holding Ltd | Natural Gas Pipeline | OCGT | 5.9
Tatura Biomass Generator | Diamond Energy Pty Ltd | Sewerage / Waste Water | Spark Ignition Reciprocating Engine | 1.084
Toora | Ratch Australia | Wind | Wind | 21
Waubra | Pyrenees Wind Energy Developments | Wind | Wind | 192
William Hovel | Pacific Hydro Investments Pty Ltd | Water | Hydro - Gravity | 1.8
Wollert | LMS Generation PTY LTD | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 4.4
Wonthaggi | Regional Wind Farms | Wind | Wind | 12
Wyndham Waste Disposal Facility | LMS ENERGY | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 1
Yambuk | Energy Pacific Vic Pty Ltd | Wind | Wind | 30
Yarrawonga | AGL | Water | Hydro - Gravity | 9.5
Total |  |  |  | 744.996