## South Australia Summary
SA
Disclaimer
This document is subject to an important disclaimer that limits or excludes AEMO's liability.
Please read the full disclaimer at
http://www.aemo.com.au/Electricity/National-Electricity-Market-NEM/Planning-and-forecasting/Generation-information
Data presented is current as at 1 July 2018
South Australia Summary
Changes since last update
Tailem Bend - Solar : Vena Energy advises that Tailem Bend - Solar (108 MW) is now a committed project.
Generation withdrawals
Withdrawn
AEMO has not been advised of any plant that are currently withdrawn from this region.
Announced withdrawals (i.e. Mothballed, Seasonal Shut down etc.)
Gas other: Torrens Island A Power Station (480 MW) will be progressively mothballed between 2019 and 2021. Two units (240 MW) will be mothballed after winter 2019, one unit (120 MW) after winter 2020 and the final unit (120 MW) after winter 2021.
Committed projects
Coal, CCGT, OCGT, Gas other, Water, Biomass, Geo-thermal, Other : None to report.
Gas other: Barker Inlet Power Station (210 MW)
Solar: Bungala Two Solar Power Project (110 MW), Tailem Bend - Solar (108 MW)
Wind: Lincoln Gap Wind Farm Stage 1 (126 MW), Willogoleche Wind Farm (125 MW)
Storage: ESCRI Dalrymple Battery Storage (30 MW)
Proposed projects
Please refer to information presented in the worksheet titled 'New Developments'.
Plant limitations
AEMO has not been advised of any plant limitations for this region.
South Australia existing and potential new developments by generation type (MW)
| Status | Coal | CCGT | OCGT | Gas other | Solar* | Wind | Water | Biomass | Storage | Other | Total
| Existing | 0 | 662.5 | 1198.04 | 1280 | 121.6178 | 1809.45 | 3.85 | 20.473 | 100 | 144.698 | 5340.6288
| Announced Withdrawal | 0 | 0 | 0 | 480 | 0 | 0 | 0 | 0 | 0 | 0 | 480
| Existing less Announced Withdrawal | 0 | 662.5 | 1198.04 | 800 | 121.6178 | 1809.45 | 3.85 | 20.473 | 100 | 144.698 | 4860.6288
| Committed | 0 | 0 | 0 | 210 | 218 | 251 | 0 | 0 | 30 | 0 | 709
| Proposed | 0 | 45 | 624 | 0 | 2387.5 | 3329.8 | 755 | 15 | 488 | 30 | 7674.3
| Withdrawn | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note: Existing includes Announced Withdrawal
* Solar excludes rooftop PV installations

## Change Log
South Australia Change Log
Lists all key updates to new development projects and existing generation information between publication dates since the 2012 ESOO.
Publication date: | 2012-12-20
Snowtown S2: TrustPower advises that the Snowtown 2 project is now in a Committed status. Snowtown Stage 2 project will consist of two separately
metered wind farms, Snowtown 2 North (144 MW) and Snowtown 2 South (126 MW), sharing a single transmission line owned by TrustPower.
Publication date: | 2013-06-30
Playford B Power Station: Alinta energy advises that Playford B power station will be available with a recall time of around 90 days.
Alinta Energy have also revised the output from last year's in summer and winter from 200 MW to 180 MW (-20 MW) due to Turbine 2 being out of service.
However should AEMO require it, Turbine 2 can be brought back into service, taking the longer-term availability of Playford B Power Station up to 200 MW.
Hallett 4 North Brown Hill: AGL advises that Hallett 4 North Brown Hill's available capacity has been revised from 81.9 MW to 99.2 MW (+17.3 MW) in summer,
due to de-rating applied to all Suzlon S88/S97 machines.
Hallett Stage 1 Brown Hill: AGL advises that Hallett Stage 1 Brown Hill's available capacity has been revised from 58.5 MW to 70.9 MW (+12.4 MW) in summer,
due to de-rating applied to all Suzlon S88/S97 machines.
Publication date: | 2013-11-15
Palmer Wind Farm: TrustPower Australia advises that Palmer Wind Farm (up to 390 MW) has been newly announced. At this stage there has been no advice on construction and commissioning dates.
Port Macdonnell: Oceanlinx Limited advises that the status of the Port Macdonnell (1 MW) wave energy project is now Committed, with full commissioning in December 2013.
Publication date: | 2014-02-28
Port Macdonnell: Oceanlinx Limited advises that the Port Macdonnell (1 MW) wave energy project commissioning date was revised to March 2014.
Publication date: | 2014-05-30
Port Macdonnell: Oceanlinx Limited advises that the future of the Port Macdonnell (1 MW) wave energy project is uncertain and rests with company receivers. This project remains as a committed project with a commissioning date to be advised.
Publication date: | 2014-08-07
Paralana Project: Pertatherm Limited advises that Paralana project capacity has been revised to 3.5 MW.
Paralana Stage 2: Pertatherm Limited advises that Paralana Stage 2 capacity has been revised to 3.5 MW.
Publication date: | 2014-12-10
Northern Power Station: Alinta Energy advises that Northern Power Station Returned back to normal service in October 2014.
Snowtown S2: TrustPower advises that the Snowtown 2 wind farm (270 MW) project is now completed and in full commercial operation since November 2014.
Publication date: | 2015-04-15
Pelican Point Power Station: Pelican Point Power Limited advises that Pelican Point Power Station is to reduce the stations capacity to half from 1 April 2015 with unit 2 only being available on a 48 hour recall.
Torrens Island Power Station A: AGL Energy advises that Torrens Island Power Station is to be taken out of service in 2017.
Hornsdale Wind Farm (Stage 1): Hornsdale Wind Farm Pty Ltd advises construction to start in October 2015 and full commercial operation expected in November 2017.
Publication date: | 2015-08-13
Northern Power Station: Alinta Energy advised in June 2015 that Northern Power Station would retire by March 2018 at the latest, but not before March 2016. In late July Alinta Energy advised that Northern Power Station will retire by March 2017.
Playford B Power Station: Alinta energy advises that Playford B power station (240 MW) will retire by April 2017.
Publication date: | 2015-10-23
Northern Power Station: Alinta Energy advises that Northern Power Station (546 MW) is planned to cease generation around 31 March 2016.
Playford B Power Station: Alinta Energy advises that Playford B Power Station (240 MW) is planned to cease generation around 31 March 2016.
Pelican Point Power Station: Pelican Point Power Limited advises Pelican Point Power Station’s available capacity has been reduced to 0 MW (-239 MW) in winter 2016 given the current dynamics and outlook in the electricity and gas markets.
Hornsdale Wind Farm (Stage 1): Hornsdale Wind Farm Pty Ltd advises that Stage 1 of Hornsdale Wind Farm (102.4 MW) is a committed project. Full commercial operation is expected in November 2016.
Port Augusta Renewable Energy Park: DP Energy advises of the Port Augusta Renewable Energy Park wind and solar project totalling 375 MW.
Point Paterson Project: Acquasol Infrastructure Pty Ltd advises that the proposed Point Paterson Projects has been put on hold.
Publication date: | 2016-03-03
Hornsdale Wind Farm (Stage 1): HWF 1 Pty Ltd advises that Stage 1 of Hornsdale Wind Farm (102.4 MW) is a committed project. Full commercial operation is expected in November 2016.
Northern Power Station: Alinta Energy advises that Northern Power Station (546 MW) is planned to cease generation around March – May 2016.
New Development: Leigh Creek Energy Project, Lincoln Gap Wind Farm, Mount Hill, Palmer Wind Farm, Pelican Point S2, Port Augusta Renewable Energy Park, Stony Gap, Waterloo, Willogoleche, Woakwine Wind Farm, Kingfisher solar storage project, Roxby Downs Solar Farm, Yorke Peninsula Biomass Energy, Infratech’s floating PV plant, Epuron Uluru PV plant are added to the list.
Publication date: | 2016-04-15
Hornsdale Wind Farm (Stage 1): HWF 1 Pty Ltd advises that Stage 1 of Hornsdale Wind Farm (102.4 MW) is a committed project. Full commercial operation is expected in November 2016.
Northern Power Station: Alinta Energy advises that Northern Power Station (546 MW) is planned to cease generation around March – May 2016.
Playford B Power Station: Alinta Energy advises that Playford B Power Station (240 MW) is planned to will retire around March - May 2016.
New Development: Leigh Creek Energy Project, Lincoln Gap Wind Farm, Mount Hill, Palmer Wind Farm, Pelican Point S2, Port Augusta Renewable Energy Park, Stony Gap, Waterloo, Willogoleche, Woakwine Wind Farm, Kingfisher solar storage project, Roxby Downs Solar Farm, Yorke Peninsula Biomass Energy, Infratech’s floating PV plant, are added to the list.
Publication date: | 2016-08-11
Northern Power Station: Alinta Energy advises that Northern Power Station (546 MW) has closed operations in May 2016.
Playford B Power Station: Alinta Energy advises that Playford B Power Station (240 MW) has closed operations in May 2016.
Torrens Island Power Station A: AGL Energy advises that it will defer the previously planned mothballing of four generating units from its Torrens Island A Power Station (480 MW) in June 2016.
Hornsdale Wind Farm (Stage 2): HWF 2 advises that Stage 2 of Hornsdale Wind Farm (102.4 MW) is a committed project.
Waterloo Expansion: Waterloo Windfarm Ptd Ltd. advises that Waterloo Expansion Wind Farm (19.8 MW) is a committed project.
Angaston: Lumo Generation SA Pty Ltd. advises that Angaston Power Station (50 MW) has changed registration status from Non-Scheduled to Scheduled.
New Development: Aurora Solar Energy Project, Bungala Solar Power Project, Port Augusta Solar, Yorke Peninsula Biomass.
Publication date: | 2016-11-18
Hornsdale Wind Farm Stage 1: HWF1 Pty Ltd advises that Hornsdale Wind Farm Stage 1 (102.4 MW) is now completed and undergoing commissioning tests.
Waterloo: Waterloo Windfarm Pty Ltd advises that the Waterloo Wind Farm expansion (+19.8 MW) is now completed and undergoing commissioning tests.
Publication date: | 2017-02-27
Hornsdale Wind Farm Stage 2: HWF2 Pty Ltd advises that Hornsdale Wind Farm Stage 2 is undergoing construction and first/early generation happened on the 21st of February of 2017. Practical Completion under the EPC Contract is expected on 08/06/17 and Full Commercial Operation (FiT ACT Government) will commence on 01/12/18.
Publication date: | 2017-06-05
Bungala Solar Power Project: Reach Solar Management Co advises that Bungala Solar Power Project (220 MW) is now a committed project.
Hornsdale Wind Farm Stage 3: HWF 3 Pty Ltd advises that Hornsdale Wind Farm Stage 3 (109 MW) is now a committed project.
Pelican Point: Pelican Point Power Limited advises that Pelican Point (478 MW) is currently operating at half capacity (239 MW), but will make the full capacity available to market as of July 1 2017.
Publication date: | 2017-12-22
Hornsdale Wind Farm Stage 2: HWF2 Pty Ltd advises that Hornsdale Wind Farm Stage 2 (102 MW) is operational.
Hornsdale Wind Farm Stage 3: HWF3 Pty Ltd advises that Hornsdale Wind Farm Stage 3 (109 MW) is operational.
Hornsdale Power Reserve: Hornsdale Power Reserve Pty Ltd advises that Hornsdale Power Reserve Unit 1 (100 MW / 129 MWh) battery storage is operational.
Lincoln Gap Wind Farm Stage 1: Lincoln Gap Wind Farm Pty Ltd advises that Lincoln Gap Wind Farm Stage 1 (126 MW) is now a committed project.
Willogoleche Wind Farm: Willogoleche Power Pty Ltd advises that Willogoleche Wind Farm (119 MW) is now a committed project.
Publication date: | 2018-03-16
Barker Inlet Power Station: Barker Inlet Power Station (210 MW) is now reported as a committed project since AGL advises that it has commenced construction.
Dalrymple Battery storage: Dalrymple Battery storage (30 MW) is now reported as a committed project since ElectraNet advises that it has commenced construction.
Torrens Island A Power Station: AGL Energy advises that the four units of Torrens Island A Power Station (480 MW) will be progressively mothballed between 2019 and 2021. Two units (240 MW) will be mothballed after winter 2019, one unit (120 MW) after winter 2020 and the final unit (120 MW) after winter 2021.
Publication date: | 2018-07-31
Tailem Bend - Solar : Vena Energy advises that Tailem Bend - Solar (108 MW) is now a committed project.
Note: Updated “Background Information” with changes to categories of proposed generation in the NEM.

## Existing S & SS Generation
Existing & committed scheduled and semi-scheduled generation
Power Station | Owner | Unit Number and Nameplate Capacity (MW) | Nameplate Capacity (MW) | Technology Type | Fuel Type | Dispatch Type | Service Status | Region | summary_status | summary_bucket
Angaston | Lumo Generation SA Pty Ltd | 12 x 1.66 18 x 1.66 | 50 | Compression Reciprocating Engine | Diesel | S | In Service | SA | Existing less Announced Withdrawal | Other
Bungala One Solar Farm | Enel Green Power | 54 x 2.5 | 110 | PV-Tracking Flat panel | Solar | SS | In Service | SA | Existing less Announced Withdrawal | Solar
Clements Gap Wind Farm | Pacific Hydro Clements Gap Pty Ltd | 27 x 2.1 | 56.7 | Wind - Onshore | Wind | SS | In Service | SA | Existing less Announced Withdrawal | Wind
Dry Creek GT | Synergen Power Pty Ltd | 3 x 52 | 156 | OCGT | Natural Gas Pipeline | S | In Service | SA | Existing less Announced Withdrawal | OCGT
Hallett 4 North Brown Hill | Brown Hill North Pty Ltd | 63 x 2.1 | 132.3 | Wind - Onshore | Wind | SS | In Service | SA | Existing less Announced Withdrawal | Wind
Hallett 5 The Bluff WF | Eurus Energy | 25 x 2.1 | 52.5 | Wind - Onshore | Wind | SS | In Service | SA | Existing less Announced Withdrawal | Wind
Hallett GT | EnergyAustralia | 2 x 16.24 4 x 17 2 x 20.75 1 x 18 1 x 21.76 1 x 25.6 1 x 27 | 234.34 | OCGT | Natural Gas Pipeline | S | In Service | SA | Existing less Announced Withdrawal | OCGT
Hallett Stage 1 Brown Hill | Palisade Investment Partner Limited | 45 x 2.1 | 94.5 | Wind - Onshore | Wind | SS | In Service | SA | Existing less Announced Withdrawal | Wind
Hallett Stage 2 Hallett Hill | Infrastructure Capital Group Limited | 34 x 2.1 | 71.4 | Wind - Onshore | Wind | SS | In Service | SA | Existing less Announced Withdrawal | Wind
Hornsdale Power Reserve Unit 1 | Hornsdale Power Reserve Pty Ltd | 100 MW / 129 MWh | 100 | Battery Storage | Storage | S | In Service | SA | Existing less Announced Withdrawal | Storage
Hornsdale Wind Farm Stage 1 | HWF 1 Pty Ltd | 32 x 3.2 | 102.4 | Wind - Onshore | Wind | SS | In Service | SA | Existing less Announced Withdrawal | Wind
Hornsdale Wind Farm Stage 2 | HWF 2 Pty Ltd | 32 x 3.2 | 102.4 | Wind - Onshore | Wind | SS | In Service | SA | Existing less Announced Withdrawal | Wind
Hornsdale Wind Farm Stage 3 | HWF 3 Pty Ltd | 35 x 3.2 | 112 | Wind - Onshore | Wind | SS | In Service | SA | Existing less Announced Withdrawal | Wind
Ladbroke Grove | Origin Energy Power Limited | 2 x 40 | 80 | OCGT | Natural Gas Pipeline | S | In Service | SA | Existing less Announced Withdrawal | OCGT
Lake Bonney 2 Wind Farm | Lake Bonney Wind Power Pty Ltd | 53 x 3 | 159 | Wind - Onshore | Wind | SS | In Service | SA | Existing less Announced Withdrawal | Wind
Lake Bonney 3 Wind Farm | Lake Bonney Wind Power Pty Ltd | 13 x 3 | 39 | Wind - Onshore | Wind | SS | In Service | SA | Existing less Announced Withdrawal | Wind
Lonsdale | Lumo Generation SA Pty Ltd | 18 x 1.15 | 20.7 | Compression Reciprocating Engine | Diesel | S | In Service | SA | Existing less Announced Withdrawal | Other
Mintaro GT | Synergen Power Pty Ltd | 1 x 90 | 90 | OCGT | Natural Gas Pipeline | S | In Service | SA | Existing less Announced Withdrawal | OCGT
Osborne | Osborne Cogeneration Pty Ltd | 1 x 118 1 x 62 | 180 | CCGT | Natural Gas Pipeline | S | In Service | SA | Existing less Announced Withdrawal | CCGT
Pelican Point | Pelican Point Power Limited | 2 x 239 | 478 | CCGT | Natural Gas Pipeline | S | In Service | SA | Existing less Announced Withdrawal | CCGT
Port Lincoln GT | Synergen Power Pty Ltd | 2 x 25 1 x 23.5 | 73.5 | OCGT | Diesel | S | In Service | SA | Existing less Announced Withdrawal | OCGT
Port Stanvac 1 | Lumo Generation SA Pty Ltd | 36 x 1.6 | 57.6 | Compression Reciprocating Engine | Diesel | S | In Service | SA | Existing less Announced Withdrawal | Other
Quarantine | Origin Energy Power Limited | 4 x 24 1 x 128 | 224 | OCGT | Natural Gas Pipeline | S | In Service | SA | Existing less Announced Withdrawal | OCGT
Snowtown S2 Wind Farm | Snowtown Wind Farm Stage 2 Pty Ltd | 90 x 3 | 270 | Wind - Onshore | Wind | SS | In Service | SA | Existing less Announced Withdrawal | Wind
Snowtown Wind Farm | Snowtown Wind Farm Pty Ltd | 47 x 2.1 | 98.7 | Wind - Onshore | Wind | SS | In Service | SA | Existing less Announced Withdrawal | Wind
Snuggery | Synergen Power Pty Ltd | 3 x 21 | 63 | OCGT | Diesel | S | In Service | SA | Existing less Announced Withdrawal | OCGT
Temporary Generation North | SA Power Networks | 5 x 30.8 | 154 | OCGT | Diesel | S | In Service | SA | Existing less Announced Withdrawal | OCGT
Temporary Generation South | SA Power Networks | 4 x 30.8 | 123.2 | OCGT | Diesel | S | In Service | SA | Existing less Announced Withdrawal | OCGT
Torrens Island A | AGL Energy | 4 x 120 | 480 | Steam Sub Critical | Natural Gas Pipeline | S | Announced Withdrawal | SA | Announced Withdrawal | Gas other
Torrens Island B | AGL Energy | 4 x 200 | 800 | Steam Sub Critical | Natural Gas Pipeline | S | In Service | SA | Existing less Announced Withdrawal | Gas other
Waterloo Wind Farm | Waterloo Windfarm Pty Ltd | 6 x 3.3 37 x 3 | 130.8 | Wind - Onshore | Wind | SS | In Service | SA | Existing less Announced Withdrawal | Wind
Total |  |  | 4896.04

## Summer Scheduled Capacities
Summer aggregate available scheduled and semi-scheduled generation
Power Station | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | Dispatch Type | FuelType | Region | Season
Angaston | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | S | Fossil | SA | summer
Barker Inlet Power Station | 0 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | S | Fossil | SA | summer
Bungala One Solar Farm | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | SS | Solar | SA | summer
Bungala Two Solar Farm | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | SS | Solar | SA | summer
Clements Gap Wind Farm | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | SS | Wind | SA | summer
Dry Creek GT | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | S | Fossil | SA | summer
ESCRI Dalrymple | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | S | Wind | SA | summer
Hallett 4 North Brown Hill | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | SS | Wind | SA | summer
Hallett 5 The Bluff WF | 32.5 | 32.5 | 32.5 | 32.5 | 32.5 | 32.5 | 32.5 | 32.5 | 32.5 | 32.5 | SS | Wind | SA | summer
Hallett GT | 193 | 193 | 193 | 193 | 193 | 193 | 193 | 193 | 193 | 193 | S | Fossil | SA | summer
Hallett Repower | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | SA | summer
Hallett Stage 1 Brown Hill | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | SS | Wind | SA | summer
Hallett Stage 2 Hallett Hill | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | SS | Wind | SA | summer
Hornsdale Power Reserve Unit 1 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | S | Hydro | SA | summer
Hornsdale Wind Farm Stage 1 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | SS | Wind | SA | summer
Hornsdale Wind Farm Stage 2 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | SS | Wind | SA | summer
Hornsdale Wind Farm Stage 3 | 109 | 109 | 109 | 109 | 109 | 109 | 109 | 109 | 109 | 109 | SS | Wind | SA | summer
Ladbroke Grove | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | S | Fossil | SA | summer
Lake Bonney 2 Wind Farm | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | SS | Wind | SA | summer
Lake Bonney 3 Wind Farm | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | SS | Wind | SA | summer
Lincoln Gap Wind Farm - stage 1 | 0 | 126 | 126 | 126 | 126 | 126 | 126 | 126 | 126 | 126 | SS | Wind | SA | summer
Lonsdale | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | S | Fossil | SA | summer
Mintaro GT | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | S | Fossil | SA | summer
Osborne | 172 | 172 | 172 | 172 | 172 | 172 | 172 | 172 | 172 | 172 | S | Fossil | SA | summer
Pelican Point | 458 | 458 | 458 | 458 | 458 | 458 | 458 | 458 | 458 | 458 | S | Fossil | SA | summer
Port Lincoln GT | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | S | Fossil | SA | summer
Port Stanvac 1 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | S | Fossil | SA | summer
Quarantine | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | S | Fossil | SA | summer
Snowtown S2 Wind Farm | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | SS | Wind | SA | summer
Snowtown Wind Farm | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | SS | Wind | SA | summer
Snuggery | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | S | Fossil | SA | summer
Tailem Bend - Solar | 0 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | SS | Solar | SA | summer
Temporary Generation North | 118.635 | 118.635 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | SA | summer
Temporary Generation South | 96.14 | 96.14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | SA | summer
Torrens Island A | 480 | 240 | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | SA | summer
Torrens Island B | 780 | 780 | 780 | 780 | 780 | 780 | 780 | 780 | 780 | 780 | S | Fossil | SA | summer
Waterloo Wind Farm | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | SS | Wind | SA | summer
Willogoleche | 119 | 119 | 119 | 119 | 119 | 119 | 119 | 119 | 119 | 119 | SS | Wind | SA | summer
Total | 4722.375 | 4913.375 | 4578.6 | 4458.6 | 4458.6 | 4458.6 | 4458.6 | 4458.6 | 4458.6 | 4458.6
The table above lists the latest Summer capacities for South Australian generation. Summer conditions relate to statistically predicted contribution under 10% POE maximum demand conditions.
Due to the intermittent nature of wind, wind generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. AEMO refers to this as the "firm contribution" from wind generators during peak periods. These figures are 9.4% of the installed capacity during summer, and 6.7% during winter, based on AEMO's analysis of historical wind output over summer 2012-13 to 2016-17, and winter 2013 to 2017.
Due to the intermittent nature of sunlight, solar generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. However, AEMO has not yet calculated contribution factors for solar, due to there being insufficient historical data to analyse for semi-scheduled solar generation in South Australia. Thus the Firm Solar Capacity values in the table below are shown as NA, and do not contribute to the total capacity in that table.
The two tables below have been included to better represent the supply availability in South Australia, by taking into account the firm contribution by semi-scheduled generation. The Summer aggregate scheduled and firm semi-scheduled generation table presents scheduled generation and aggregated firm semi-scheduled generation. The Summer aggregate available semi-scheduled generation table lists the total available capacity for semi-scheduled generation for the Summer period. The total refers to the maximum amount that can be generated from the semi-scheduled generation at the Summer reference temperatures.
Summer aggregate scheduled and firm semi-scheduled generation
Power Station | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | Dispatch Type | FuelType | Region | Season
Angaston | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | S | Fossil | SA | summer
Barker Inlet Power Station | 0 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | S | Fossil | SA | summer
Dry Creek GT | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | S | Fossil | SA | summer
ESCRI Dalrymple | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | S | Wind | SA | summer
Hallett GT | 193 | 193 | 193 | 193 | 193 | 193 | 193 | 193 | 193 | 193 | S | Fossil | SA | summer
Hallett Repower | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | SA | summer
Hornsdale Power Reserve Unit 1 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | S | Hydro | SA | summer
Ladbroke Grove | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | S | Fossil | SA | summer
Lonsdale | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | S | Fossil | SA | summer
Mintaro GT | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | S | Fossil | SA | summer
Osborne | 172 | 172 | 172 | 172 | 172 | 172 | 172 | 172 | 172 | 172 | S | Fossil | SA | summer
Pelican Point | 458 | 458 | 458 | 458 | 458 | 458 | 458 | 458 | 458 | 458 | S | Fossil | SA | summer
Port Lincoln GT | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | S | Fossil | SA | summer
Port Stanvac 1 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | S | Fossil | SA | summer
Quarantine | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | S | Fossil | SA | summer
Snuggery | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | S | Fossil | SA | summer
Temporary Generation North | 118.635 | 118.635 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | SA | summer
Temporary Generation South | 96.14 | 96.14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | SA | summer
Torrens Island A | 480 | 240 | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | SA | summer
Torrens Island B | 780 | 780 | 780 | 780 | 780 | 780 | 780 | 780 | 780 | 780 | S | Fossil | SA | summer
Firm Wind Capacity | 131.5342 | 143.3782 | 143.3782 | 143.3782 | 143.3782 | 143.3782 | 143.3782 | 143.3782 | 143.3782 | 143.3782 | SS
Firm Solar Capacity | [10 empty] | SS | bar: 2018-19 to 2027-28
Total | 3234.6092 | 3216.4532 | 2881.6782 | 2761.6782 | 2761.6782 | 2761.6782 | 2761.6782 | 2761.6782 | 2761.6782 | 2761.6782
Summer aggregate available semi-scheduled generation
Power Station | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | Dispatch Type | FuelType | Region | Season
Bungala One Solar Farm | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | SS | Solar | SA | summer
Bungala Two Solar Farm | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | SS | Solar | SA | summer
Clements Gap Wind Farm | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | SS | Wind | SA | summer
Hallett 4 North Brown Hill | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | 81.9 | SS | Wind | SA | summer
Hallett 5 The Bluff WF | 32.5 | 32.5 | 32.5 | 32.5 | 32.5 | 32.5 | 32.5 | 32.5 | 32.5 | 32.5 | SS | Wind | SA | summer
Hallett Stage 1 Brown Hill | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | 58.5 | SS | Wind | SA | summer
Hallett Stage 2 Hallett Hill | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | SS | Wind | SA | summer
Hornsdale Wind Farm Stage 1 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | SS | Wind | SA | summer
Hornsdale Wind Farm Stage 2 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | SS | Wind | SA | summer
Hornsdale Wind Farm Stage 3 | 109 | 109 | 109 | 109 | 109 | 109 | 109 | 109 | 109 | 109 | SS | Wind | SA | summer
Lake Bonney 2 Wind Farm | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | SS | Wind | SA | summer
Lake Bonney 3 Wind Farm | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | SS | Wind | SA | summer
Lincoln Gap Wind Farm - stage 1 | 0 | 126 | 126 | 126 | 126 | 126 | 126 | 126 | 126 | 126 | SS | Wind | SA | summer
Snowtown S2 Wind Farm | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | SS | Wind | SA | summer
Snowtown Wind Farm | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | SS | Wind | SA | summer
Tailem Bend - Solar | 0 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | SS | Solar | SA | summer
Waterloo Wind Farm | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | SS | Wind | SA | summer
Willogoleche | 119 | 119 | 119 | 119 | 119 | 119 | 119 | 119 | 119 | 119 | SS | Wind | SA | summer
Total (Wind) | 1399.3 | 1525.3 | 1525.3 | 1525.3 | 1525.3 | 1525.3 | 1525.3 | 1525.3 | 1525.3 | 1525.3
Total (Solar) | 220 | 315 | 315 | 315 | 315 | 315 | 315 | 315 | 315 | 315

## Winter Scheduled Capacities
Winter aggregate available scheduled and semi-scheduled generation
PowerStation | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | DispatchType | FuelType | Region | Season
Angaston | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | S | Fossil | SA | winter
Barker Inlet Power Station | 0 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | S | Fossil | SA | winter
Bungala One Solar Farm | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | SS | Solar | SA | winter
Bungala Two Solar Farm | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | SS | Solar | SA | winter
Clements Gap Wind Farm | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | SS | Wind | SA | winter
Dry Creek GT | 143 | 143 | 143 | 143 | 143 | 143 | 143 | 143 | 143 | 143 | S | Fossil | SA | winter
ESCRI Dalrymple | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | S | Wind | SA | winter
Hallett 4 North Brown Hill | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | SS | Wind | SA | winter
Hallett 5 The Bluff WF | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | SS | Wind | SA | winter
Hallett GT | 216 | 216 | 216 | 216 | 216 | 216 | 216 | 216 | 216 | 216 | S | Fossil | SA | winter
Hallett Repower | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | SA | winter
Hallett Stage 1 Brown Hill | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | SS | Wind | SA | winter
Hallett Stage 2 Hallett Hill | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | SS | Wind | SA | winter
Hornsdale Power Reserve Unit 1 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | S | Hydro | SA | winter
Hornsdale Wind Farm Stage 1 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | SS | Wind | SA | winter
Hornsdale Wind Farm Stage 2 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | SS | Wind | SA | winter
Hornsdale Wind Farm Stage 3 | 109 | 109 | 109 | 109 | 109 | 109 | 109 | 109 | 109 | 109 | SS | Wind | SA | winter
Ladbroke Grove | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | S | Fossil | SA | winter
Lake Bonney 2 Wind Farm | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | SS | Wind | SA | winter
Lake Bonney 3 Wind Farm | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | SS | Wind | SA | winter
Lincoln Gap Wind Farm - stage 1 | 126 | 126 | 126 | 126 | 126 | 126 | 126 | 126 | 126 | 126 | SS | Wind | SA | winter
Lonsdale | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | S | Fossil | SA | winter
Mintaro GT | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | S | Fossil | SA | winter
Osborne | 188 | 188 | 188 | 188 | 188 | 188 | 188 | 188 | 188 | 188 | S | Fossil | SA | winter
Pelican Point | 474 | 474 | 474 | 474 | 474 | 474 | 474 | 474 | 474 | 474 | S | Fossil | SA | winter
Port Lincoln GT | 73.5 | 73.5 | 73.5 | 73.5 | 73.5 | 73.5 | 73.5 | 73.5 | 73.5 | 73.5 | S | Fossil | SA | winter
Port Stanvac 1 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | S | Fossil | SA | winter
Quarantine | 221 | 221 | 221 | 221 | 221 | 221 | 221 | 221 | 221 | 221 | S | Fossil | SA | winter
Snowtown S2 Wind Farm | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | SS | Wind | SA | winter
Snowtown Wind Farm | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | SS | Wind | SA | winter
Snuggery | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | S | Fossil | SA | winter
Tailem Bend - Solar | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | SS | Solar | SA | winter
Temporary Generation North | 123.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | SA | winter
Temporary Generation South | 123.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | SA | winter
Torrens Island A | 480 | 240 | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | SA | winter
Torrens Island B | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | S | Fossil | SA | winter
Waterloo Wind Farm | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | SS | Wind | SA | winter
Willogoleche | 119 | 119 | 119 | 119 | 119 | 119 | 119 | 119 | 119 | 119 | SS | Wind | SA | winter
Total | 5311.2 | 5034.7 | 4914.7 | 4794.7 | 4794.7 | 4794.7 | 4794.7 | 4794.7 | 4794.7 | 4794.7
The table above lists the latest Winter capacities for South Australian generation. Winter conditions relate to statistically predicted contribution under 10% POE maximum demand conditions.
Due to the intermittent nature of wind, wind generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. AEMO refers to this as the "firm contribution" from wind generators during peak periods. These figures are 9.4% of the installed capacity during summer, and 6.7% during winter, based on AEMO's analysis of historical wind output over summer 2012-13 to 2016-17, and winter 2013 to 2017.
Due to the intermittent nature of sunlight, solar generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. However, AEMO has not yet calculated contribution factors for solar, due to there being insufficient historical data to analyse for semi-scheduled solar generation in South Australia. Thus the Firm Solar Capacity values in the table below are shown as NA, and do not contribute to the total capacity in that table.
The two tables below have been included to better represent the supply availability in South Australia, by taking into account the firm contribution by semi-scheduled generation. The Winter aggregate scheduled and firm semi-scheduled generation table presents scheduled generation and aggregated firm semi-scheduled generation. The Winter aggregate available semi-scheduled generation table lists the total available capacity for semi-scheduled generation for the Winter period. The total refers to the maximum amount that can be generated from the semi-scheduled generation at the Winter reference temperatures.
Winter aggregate scheduled and firm semi-scheduled generation
PowerStation | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | DispatchType | FuelType | Region | Season
Angaston | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | S | Fossil | SA | winter
Barker Inlet Power Station | 0 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | S | Fossil | SA | winter
Dry Creek GT | 143 | 143 | 143 | 143 | 143 | 143 | 143 | 143 | 143 | 143 | S | Fossil | SA | winter
ESCRI Dalrymple | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | S | Wind | SA | winter
Hallett GT | 216 | 216 | 216 | 216 | 216 | 216 | 216 | 216 | 216 | 216 | S | Fossil | SA | winter
Hallett Repower | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | SA | winter
Hornsdale Power Reserve Unit 1 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | S | Hydro | SA | winter
Ladbroke Grove | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | S | Fossil | SA | winter
Lonsdale | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | 20.7 | S | Fossil | SA | winter
Mintaro GT | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | S | Fossil | SA | winter
Osborne | 188 | 188 | 188 | 188 | 188 | 188 | 188 | 188 | 188 | 188 | S | Fossil | SA | winter
Pelican Point | 474 | 474 | 474 | 474 | 474 | 474 | 474 | 474 | 474 | 474 | S | Fossil | SA | winter
Port Lincoln GT | 73.5 | 73.5 | 73.5 | 73.5 | 73.5 | 73.5 | 73.5 | 73.5 | 73.5 | 73.5 | S | Fossil | SA | winter
Port Stanvac 1 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | S | Fossil | SA | winter
Quarantine | 221 | 221 | 221 | 221 | 221 | 221 | 221 | 221 | 221 | 221 | S | Fossil | SA | winter
Snuggery | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | S | Fossil | SA | winter
Temporary Generation North | 123.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | SA | winter
Temporary Generation South | 123.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | SA | winter
Torrens Island A | 480 | 240 | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | SA | winter
Torrens Island B | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | S | Fossil | SA | winter
Firm Wind Capacity | 111.1463 | 111.1463 | 111.1463 | 111.1463 | 111.1463 | 111.1463 | 111.1463 | 111.1463 | 111.1463 | 111.1463 | SS
Firm Solar Capacity | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | SS
Total | 3448.4463 | 3171.9463 | 3051.9463 | 2931.9463 | 2931.9463 | 2931.9463 | 2931.9463 | 2931.9463 | 2931.9463 | 2931.9463
Winter aggregate available semi-scheduled generation
PowerStation | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | DispatchType | FuelType | Region | Season
Bungala One Solar Farm | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | SS | Solar | SA | winter
Bungala Two Solar Farm | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | SS | Solar | SA | winter
Clements Gap Wind Farm | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | SS | Wind | SA | winter
Hallett 4 North Brown Hill | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | 132.3 | SS | Wind | SA | winter
Hallett 5 The Bluff WF | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | SS | Wind | SA | winter
Hallett Stage 1 Brown Hill | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | SS | Wind | SA | winter
Hallett Stage 2 Hallett Hill | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | SS | Wind | SA | winter
Hornsdale Wind Farm Stage 1 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | SS | Wind | SA | winter
Hornsdale Wind Farm Stage 2 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | SS | Wind | SA | winter
Hornsdale Wind Farm Stage 3 | 109 | 109 | 109 | 109 | 109 | 109 | 109 | 109 | 109 | 109 | SS | Wind | SA | winter
Lake Bonney 2 Wind Farm | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | SS | Wind | SA | winter
Lake Bonney 3 Wind Farm | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | SS | Wind | SA | winter
Lincoln Gap Wind Farm - stage 1 | 126 | 126 | 126 | 126 | 126 | 126 | 126 | 126 | 126 | 126 | SS | Wind | SA | winter
Snowtown S2 Wind Farm | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | SS | Wind | SA | winter
Snowtown Wind Farm | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | SS | Wind | SA | winter
Tailem Bend - Solar | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | SS | Solar | SA | winter
Waterloo Wind Farm | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | 130.8 | SS | Wind | SA | winter
Willogoleche | 119 | 119 | 119 | 119 | 119 | 119 | 119 | 119 | 119 | 119 | SS | Wind | SA | winter
Total (Wind) | 1658.9 | 1658.9 | 1658.9 | 1658.9 | 1658.9 | 1658.9 | 1658.9 | 1658.9 | 1658.9 | 1658.9
Total (Solar) | 315 | 315 | 315 | 315 | 315 | 315 | 315 | 315 | 315 | 315

## Existing NS Generation
Existing non-scheduled generation
Power Station | Owner | Nameplate Capacity (MW) | Technology Type | Fuel Type | Service Status | Region | summary_bucket | summary_status
Adelaide Airport | Adelaide Airport Ltd | 1 | PV panels | Solar | In service | SA | Solar | Existing less Announced Withdrawal
Adelaide Zoo Solar System | TBA | 0.1508 | PV Panels | Solar | In service | SA | Solar | Existing less Announced Withdrawal
Blue Lake Milling Power Plant | Vibe Energy Pty Ltd | 0.505 | Compression Reciprocating Engine | Diesel | In service | SA | Other | Existing less Announced Withdrawal
Bolivar Waste Water Treatment | South Australian Water Corporation | 10 | Spark Ignition Reciprocating Engine | Sewerage / Waste Water | In service | SA | Biomass | Existing less Announced Withdrawal
Bordertown Power Station Gen | Vibe Energy | 5 | Compression Reciprocating Engine | Diesel | In service | SA | Other | Existing less Announced Withdrawal
Canunda | Canunda Power Pty Ltd | 46 | Wind - Onshore | Wind | In service | SA | Wind | Existing less Announced Withdrawal
Cathedral Rocks | JV Cathedral Rock Investments Pty Ltd and Acciona Energy Oceania Pty Ltd | 66 | Wind - Onshore | Wind | In service | SA | Wind | Existing less Announced Withdrawal
Coopers Co-gen | AGL | 4.5 | CCGT | Natural Gas Pipeline | In service | SA | CCGT | Existing less Announced Withdrawal
Kingscote Power Station | SA Power Networks | 8 | Compression Reciprocating Engine | Diesel | In service | SA | Other | Existing less Announced Withdrawal
Lake Bonney 1 Wind Farm | Lake Bonney Wind Power Pty Ltd | 80.5 | Wind - Onshore | Wind | In service | SA | Wind | Existing less Announced Withdrawal
Mt Millar | Mount Millar Wind Farm Pty Ltd | 70 | Wind - Onshore | Wind | In service | SA | Wind | Existing less Announced Withdrawal
NAWMA - LFG - SOLAR | Northern Adelaide Waste Management Authority | 2.393 | Solar + methane | Other | In service | SA | Other | Existing less Announced Withdrawal
NAWMA Balefill Site Uleybury | LMS Energy | 2.273 | Compression Reciprocating Engine | Landfill Methane / Landfill Gas | In service | SA | Biomass | Existing less Announced Withdrawal
Peterborough Solar Farm | Renew Power Group Pty Ltd | 4.895 | PV-Tracking Flat panel | Solar | In service | SA | Solar | Existing less Announced Withdrawal
Redmud Green Energy 10 | TBA | 0.212 | PV Panels | Solar | In service | SA | Solar | Existing less Announced Withdrawal
Redmud Green Energy 11 | TBA | 0.212 | PV Panels | Solar | In service | SA | Solar | Existing less Announced Withdrawal
Redmud Green Energy 12 | TBA | 0.212 | PV Panels | Solar | In service | SA | Solar | Existing less Announced Withdrawal
Redmud Green Energy 13 | TBA | 0.212 | PV Panels | Solar | In service | SA | Solar | Existing less Announced Withdrawal
Redmud Green Energy 14 | TBA | 0.212 | PV Panels | Solar | In service | SA | Solar | Existing less Announced Withdrawal
Redmud Green Energy 4 | TBA | 0.6 | PV Panels | Solar | In service | SA | Solar | Existing less Announced Withdrawal
Redmud Green Energy 5 | TBA | 0.212 | PV Panels | Solar | In service | SA | Solar | Existing less Announced Withdrawal
Redmud Green Energy 6 | TBA | 0.212 | PV Panels | Solar | In service | SA | Solar | Existing less Announced Withdrawal
Redmud Green Energy 7 | TBA | 0.212 | PV Panels | Solar | In service | SA | Solar | Existing less Announced Withdrawal
Redmud Green Energy 8 | TBA | 0.212 | PV Panels | Solar | In service | SA | Solar | Existing less Announced Withdrawal
Redmud Green Energy 9 | TBA | 0.212 | PV Panels | Solar | In service | SA | Solar | Existing less Announced Withdrawal
SA Aquatic & Leasure Centre | TBA | 0.512 | PV Panels | Solar | In service | SA | Solar | Existing less Announced Withdrawal
Seacliff Mini Hydro | SA Water | 1.35 | Hydro - Gravity | Water | In service | SA | Water | Existing less Announced Withdrawal
Starfish Hill | Ratch Australia | 34.5 | Wind - Onshore | Wind | In service | SA | Wind | Existing less Announced Withdrawal
Tatiara Meats | Vibe Energy Pty Ltd | 0.5 | Compression Reciprocating Engine | Diesel | In service | SA | Other | Existing less Announced Withdrawal
Terminal Storage Mini Hydro | Lofty Ranges Power Pty Ltd | 2.5 | Hydro - Gravity | Water | In service | SA | Water | Existing less Announced Withdrawal
Wattle Point | Infrastructure Capital Group | 90.75 | Wind - Onshore | Wind | In service | SA | Wind | Existing less Announced Withdrawal
Wingfield 1 | EDL LFG SA Pty Ltd | 4.1 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | SA | Biomass | Existing less Announced Withdrawal
Wingfield 2 | EDL LFG SA Pty Ltd | 4.1 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | SA | Biomass | Existing less Announced Withdrawal
Yalumba Winery Solar system (Angaston) | TBA | 1.14 | PV Panels | Solar | In service | SA | Solar | Existing less Announced Withdrawal
Yalumba Winery Solar system (Oxford Landing) | TBA | 0.2 | PV Panels | Solar | In service | SA | Solar | Existing less Announced Withdrawal
YES Sunlands | Yates Electrical Services | 1 | PV panels | Solar | In service | SA | Solar | Existing less Announced Withdrawal
Total |  | 444.5888

## New Developments
Projects under development
Project | Owner | Unit ID | Technology Type | Fuel Type | Unit Status | Nameplate Capacity (MW) | Dispatch Type | Full Commercial Use Date | Source | summary_status | nameplatecapacity_mw_max | capacity_empty | region | summary_bucket
AGL VPP | AGL | TBA | Virtual Power Plant | Solar | Publicly Announced | 5 | TBA |  | https://arena.gov.au/projects/agl-virtual-power-plant/ | Proposed | 5 | No | SA | Solar
Aurora Solar Energy Project - Phase 1 | SolarReserve Australia II Pty Ltd | ASEP1 | Solar Thml + Stg | Solar | Emerging | 150 | S |  | https://aurorasolarthermal.com.au/ | Proposed | 150 | No | SA | Solar
Aurora Solar Energy Project - Phase 2 | SolarReserve Australia II Pty Ltd | ASEP2 | PV-Tracking Flat panel | Solar | Publicly Announced | 68 | S |  | https://aurorasolarthermal.com.au/ | Proposed | 68 | No | SA | Solar
Barker Inlet Power Station | AGL | 1-12 | Spark Ignition Reciprocating Engine | Natural Gas Pipeline | Committed | 210 | S | Aug 2019 |  | Committed | 210 | No | SA | Gas other
Barn Hill | Barn HIll Wind Farm Pty Ltd | 1-62 | Wind - Onshore | Wind | Publicly Announced | 124 - 187 | SS |  |  | Proposed | 187 | No | SA | Wind
BHP Olympic Dam Backup Generation | BHP Billiton | 1 | Compression Reciprocating Engine | Diesel | Publicly Announced | 30 | S |  |  | Proposed | 30 | No | SA | Other
Bungala Three Solar Power Plant | Reach Solar Management Co | Bungala Three | TBA | Solar | Publicly Announced | 80 | SS |  |  | Proposed | 80 | No | SA | Solar
Bungala Two Solar Farm | Enel Green Power | Bungala Solar Two | PV-Tracking Flat panel | Solar | Com* | 110 | SS | Nov 2018 |  | Committed | 110 | No | SA | Solar
Bungama Solar | EPS Energy | TBA | PV-Tracking Flat panel | Solar | Publicly Announced | 280 | SS |  | https://www.bungamasolar.com.au/ | Proposed | 280 | No | SA | Solar
Carmody's Hill | Greenfield - need to secure land agreements | 1-35 | Wind - Onshore | Wind | Publicly Announced | 140 - 175 | SS |  |  | Proposed | 175 | No | SA | Wind
Ceres Project | Senvion formely REpower | NES 3.4M | Wind - Onshore | Wind | Publicly Announced | 636 | SS |  |  | Proposed | 636 | No | SA | Wind
ESCRI Dalrymple | ElectraNet | BESS Modules 1-12 | Battery Storage | Storage | Com* | 30 MW / 8 MWh | S | Winter 2018 | http://www.escri-sa.com.au/ | Committed | 30 | No | SA | Storage
Exmoor | Acciona Energy | 1-48 | Wind - Onshore | Wind | Publicly Announced | 144 | SS |  |  | Proposed | 144 | No | SA | Wind
Goat Hill Pumped Hydro | Altura Group | Goat Hill Unit 1 | Pump Storage | Water | Publicly Announced | 230 | S | Dec 2020 | http://www.alturagroup.com.au/our-projects-goat-hill/ | Proposed | 230 | No | SA | Water
Heathgate Resources Beverley mine - BESS | SunSHIFT | TBA | Battery Storage | Storage | Publicly Announced | 1 MW / 0.5 MWh | TBA |  | http://www.laingorourke.com/media/news-releases/2017/sunshift-welcomes-government-funding-for-innovative-energy-storage-solutions.aspx | Proposed | 1 | No | SA | Storage
Highbury Pumped Hydro Energy Storage | Tilt Renewables | 1 and 2 | Pump Storage | Water | Publicly Announced | 300 | S |  | https://www.tiltrenewables.com/assets-and-projects/highbury-pumped-hydro-energy-storage/ | Proposed | 300 | No | SA | Water
Keyneton | Pacific Hydro Developments Australia | Units 1-42 | Wind - Onshore | Wind | Publicly Announced | 105 - 176 | SS | Aug 2021 |  | Proposed | 176 | No | SA | Wind
Kingfisher Solar Storage - Solar | Lyon Solar | Solar Panels | PV-Tracking Flat panel | Solar | Publicly Announced | 120 - 120 | SS |  |  | Proposed | 120 | No | SA | Solar
Kingfisher Solar Storage - Storage | Lyon Solar | TBA | Battery Storage | Storage | Publicly Announced | 100 MW / 400 MWh | S |  | http://www.lyoninfrastructure.com.au/projects/kingfisher-solar-storage/ | Proposed | 100 | No | SA | Storage
Leigh Creek Energy Project | Leigh Creek Energy | 1 | Steam Sub Critical | Gaseous fossil fuels - other | Publicly Announced | 45 | NS |  | http://www.lcke.com.au/ | Proposed | 45 | No | SA | CCGT
Lincoln Gap Wind Farm - BESS | Lincoln Gap Wind Farm Pty Ltd | BESS | Battery Storage | Storage | Emerging | 10 | S |  | http://lincolngapwindfarm.com.au/about-the-project/ | Proposed | 10 | No | SA | Storage
Lincoln Gap Wind Farm - stage 1 | Lincoln Gap Wind Farm Pty Ltd | LGWT01-35 | Wind - Onshore | Wind | Committed | 126 | SS | Apr 2019 | http://lincolngapwindfarm.com.au/about-the-project/ | Committed | 126 | No | SA | Wind
Lincoln Gap Wind Farm - stage 2 | Lincoln Gap Wind Farm Pty Ltd | 36 - 59 | Wind - Onshore | Wind | Maturing | 86 | SS |  | http://lincolngapwindfarm.com.au/about-the-project/ | Proposed | 86 | No | SA | Wind
Pallamana Solar Farm | RES Australia Pty Ltd | TBA | PV panels | Solar | Publicly Announced | 176 | SS |  | http://www.pallamana-solarfarm.com/ | Proposed | 176 | No | SA | Solar
Palmer Wind Farm | Tilt Renewables Australia | 1-103 | Wind - Onshore | Wind | Publicly Announced | 375 | SS | Aug 2021 |  | Proposed | 375 | No | SA | Wind
Pelican Point S2 | Pelican Point Power Limited | 1 2 | OCGT | Natural Gas Pipeline | Publicly Announced | 320 | S |  |  | Proposed | 320 | No | SA | OCGT
Planet Ark Power and Schneider Electric - PV and Battery Microgrid | Planet Ark Power and Schneider Electric | Solar | PV panels | Solar | Publicly Announced | 5.7 | NS |  |  | Proposed | 5.7 | No | SA | Solar
Port Augusta Graphite Energy - CST | Solastor Pty Ltd | Concentrated Solar Thermal | Solar Thml + Stg | Solar | Publicly Announced | 60 | SS | Mar 2021 |  | Proposed | 60 | No | SA | Solar
Port Augusta Graphite Energy - PV | Solastor Pty Ltd | Solar PV | PV-Tracking Flat panel | Solar | Publicly Announced | 140 | SS | Mar 2021 |  | Proposed | 140 | No | SA | Solar
Port Augusta Renewable Energy Park - Solar | PAREP 1 Pty Ltd | Central Inverters | PV panels | Solar | Maturing | 150 | SS |  | http://www.dpenergy.com/hybrid/port-augusta-renewable-energy-park/ | Proposed | 150 | No | SA | Solar
Port Augusta Renewable Energy Park - Wind | PAREP 1 Pty Ltd | Turbine 1-59 | Wind - Onshore | Wind | Maturing | 212.4 | SS |  | http://www.dpenergy.com/hybrid/port-augusta-renewable-energy-park/ | Proposed | 212.4 | No | SA | Wind
Quarantine (repower) | Origin Energy Power Limited | 1 | OGCT | Natural Gas Pipeline | Maturing | 4 | S | Dec-2018 |  | Proposed | 4 | No | SA | OCGT
Quarantine Expansion | Origin Energy | QPS6-8 | TBA | TBA | Publicly Announced | TBA | S |  |  | Proposed | 0 | Yes | SA | OCGT
Reeves Plains OCGT - stage 1 | Alinta Energy Reeves Plains Pty Ltd | 1-3 | OCGT | Natural Gas Pipeline | Publicly Announced | 150 | S |  | https://www.alintaenergy.com.au/about-us/power-generation/reeves-plains-power-station-proposal | Proposed | 150 | No | SA | OCGT
Reeves Plains OCGT - stage 2 | Alinta Energy Reeves Plains Pty Ltd | 4-6 | OCGT | Natural Gas Pipeline | Publicly Announced | 150 | S |  | https://www.alintaenergy.com.au/about-us/power-generation/reeves-plains-power-station-proposal | Proposed | 150 | No | SA | OCGT
Riverland Solar Storage - Solar | Lyon Solar | Solar Panels | PV-Tracking Flat panel | Solar | Publicly Announced | 330 | SS |  |  | Proposed | 330 | No | SA | Solar
Riverland Solar Storage - Storage | Lyon Solar | TBA | Battery Storage | Storage | Publicly Announced | 100 MW / 400 MWh | S |  | http://www.lyoninfrastructure.com.au/projects/riverland-solar-storage/ | Proposed | 100 | No | SA | Storage
SA Government Virtual Power Plant - stage 1 | Government of South Australia | 1 - 100 | Battery Storage | Storage | Publicly Announced | 0.5 | S |  |  | Proposed | 0.5 | No | SA | Storage
SA Government Virtual Power Plant - stage 2 | Government of South Australia | 101 - 1000 | Battery Storage | Storage | Publicly Announced | 4.5 | S |  |  | Proposed | 4.5 | No | SA | Storage
SA Government Virtual Power Plant - stage 3 | Government of South Australia | 1001 - 50000 | Battery Storage | Storage | Publicly Announced | 245 | S |  |  | Proposed | 245 | No | SA | Storage
SA Water PV Plant | SA Water | TBA | PV panels | Solar | Publicly Announced | 152 | SS |  | https://www.sawater.com.au/news/solar-to-generate-water-savings | Proposed | 152 | No | SA | Solar
Simply Energy VPP | Simply Energy | TBA | Virtual Power Plant | Storage | Publicly Announced | 6 | TBA |  | https://arena.gov.au/projects/simply-energy-virtual-power-plant-vpp/ | Proposed | 6 | No | SA | Storage
Snowtown North Solar Farm | Tilt Renewables | 1 to 11 | PV panels | Solar | Publicly Announced | 44 | SS |  |  | Proposed | 44 | No | SA | Solar
Snowtown North Solar Farm - BESS | Tilt Renewables | BESS | Battery Storage | Storage | Publicly Announced | 21 | S |  |  | Proposed | 21 | No | SA | Storage
Spencer Gulf Pumped Storage Hydro | EnergyAustralia | to be determined | TBA | Water | Publicly Announced | 225 | S |  |  | Proposed | 225 | No | SA | Water
SSE Whyalla Solar Farm | SSE Australia Pty Ltd | Inverters 1-180 | TBA | TBA | Emerging | TBA | NS |  |  | Proposed | 0 | Yes | SA | Solar
Stony Gap | EnergyAustralia | 1-35 | Wind - Onshore | Wind | Publicly Announced | 119 | SS |  |  | Proposed | 119 | No | SA | Wind
Tailem Bend - Solar | Vena Energy | 1 | PV panels | Solar | Committed | 108 | SS | Winter 2019 |  | Committed | 108 | No | SA | Solar
Tailem Bend Stage 2 Solar Project | Vena Energy | Units 1 to x | PV panels | Solar | Publicly Announced | 85 | SS |  |  | Proposed | 85 | No | SA | Solar
The Solar River Project - Stage 1 | The Solar River Project Pty Ltd | TBA | PV panels | Solar | Publicly Announced | 200 | SS |  | http://www.srproject.com.au/ | Proposed | 200 | No | SA | Solar
The Solar River Project - Stage 2 | The Solar River Project Pty Ltd | TBA | PV panels | Solar | Publicly Announced | 200 | SS |  | http://www.srproject.com.au/ | Proposed | 200 | No | SA | Solar
Twin Creek Wind Farm | RES Australia Pty Ltd | TBA | Wind - Onshore | Wind | Publicly Announced | 183.6 | SS |  | http://www.twincreek-windfarm.com/ | Proposed | 183.6 | No | SA | Wind
UniSA Solar project | University of South Australia | Solar | PV panels | Solar | Publicly Announced | 1.8 | NS |  |  | Proposed | 1.8 | No | SA | Solar
Whyalla | Adani | Solar Panels | PV panels | Solar | Publicly Announced | 140 | SS |  |  | Proposed | 140 | No | SA | Solar
Willogoleche | Willogoleche Power Pty Ltd | Station | Wind - Onshore | Wind | Committed | 95 - 125 | SS | October 2018 |  | Committed | 125 | No | SA | Wind
Woakwine Wind Farm | Infigen Energy | Turbines 1-124 | Wind - Onshore | Wind | Publicly Announced | 400 | SS |  | https://www.infigenenergy.com/about-us/news/woakwine-wind-farm-development-approval/ | Proposed | 400 | No | SA | Wind
Yorke Peninsula Biomass | Kallis Family Trust | 1 | Steam Sub Critical | Wood Waste | Publicly Announced | 15 | S |  |  | Proposed | 15 | No | SA | Biomass
Yorke Peninsula Wind Farm | Senvion Australia | 187 | Wind - Onshore | Wind | Publicly Announced | 635.8 | SS | Jun 2020 |  | Proposed | 635.8 | No | SA | Wind

## Background Information
Generation capacity in the NEM
Any person who owns, controls, or operates a generating system connected to a transmission or distribution network must register with AEMO as a generator unless it has the benefit of an exemption from that requirement. A generating system’s registered capacity is the aggregate megawatt (MW) capacity of all its component generation units, as registered with AEMO.
The registered capacity should be the same as a generating system’s nameplate capacity. Nameplate capacity represents the maximum continuous output or consumption in MW, as specified by the manufacturer, or as subsequently modified. Nameplate capacity can change for a number of reasons, such as upgrade projects, age or a review of performance.
Under the National Electricity Rules (NER), generating units are classified as scheduled (S), semi-scheduled (SS), or non-scheduled (NS).
For further information about generation classification guide, please refer to the AEMO Generation Exemption and Classification Guide on the AEMO website: http://aemo.com.au/-/media/Files/Electricity/NEM/Participant_Information/New-Participants/Generator-Exemption-and-Classification-Guide.pdf
For the purposes of reliability assessments, and consistent with market systems, AEMO measures scheduled and semi-scheduled generation capacity on an as-generated basis, noting that for semi-scheduled systems the generating unit terminals are taken to be at the connection point. Non-scheduled generation is measured as sent-out (at the connection point) because it can include co-generation plants (that usually produce both heat and electricity), where the bulk of the capacity is consumed locally.
Temperature effects on generation
The actual level of generation available at any particular time will depend on the condition of the generating plant. This includes factors such as age, outages, and wear. Another important factor with respect to output is the reduction in thermal efficiency as the temperature increases.
Because temperature can affect plant generation capacities in different ways, basing generation capacities on region-specific reference temperatures facilitates more effective assessment of available generation capacity under weather conditions frequently associated with high demand.
To produce the supply-demand outlook, AEMO — in consultation with the Jurisdictional Planning Bodies (JPBs) — undertakes the following:
· Uses historical data to estimate typical weather conditions, and to determine reference temperatures frequently associated with times of 10% probability of exceedance (POE) maximum demand in the major load centres for each region.
· Asks generators to provide generating unit capacities for summer and winter using these common reference temperatures. The table below lists the common reference temperatures AEMO applies for each region. In general, annual maximum demands occur during summer; the exception is Tasmania, where maximum demand occurs during winter. Summer maximum demand in Tasmania occurs during colder temperatures, resulting in a relatively low summer reference temperature.
Generation capacity reference temperatures
Region | Summer (°C) | Winter (°C)
Queensland | 37 | 15
New South Wales | 42 | 9
Victoria | 41 | 8
South Australia | 43 | 11
Tasmania | 7.7 | 1.2
Maximum capacity
Some thermal (generation that burns fuel) and non-thermal (renewable generation) generating systems can provide additional, short-term capacity that exceeds the registered capacity. This is known as maximum capacity.
Proposed generation in the NEM
In addition to capacity forecasts, generation plant owners advise AEMO about the status of generation projects currently under development in each region.
Generation projects can be at different stages of development, which are assessed using AEMO’s five (5) commitment criteria, covering site acquisition, contracts for major components, planning and other approvals, financing, and date (see table below for a description of the criteria).
Projects are categorised as follows:
· Committed projects, representing generation and storage for which formal commitment has been made for construction or installation. These are further identified as:
- Committed proposals, representing projects that have satisfied all five (5) of AEMO's commitment criteria.
- Committed* proposals, representing projects that don't satisfy all five (5) of AEMO's commitment criteria, but construction or installation has commenced.
· Proposed projects, which are further identified as:
- Advanced proposals, representing projects that are highly likely to proceed, satisfying Site and Finance criteria plus either Planning and approvals or Major components criteria, and have notified AEMO of a scheduled commercial operation date. Typically included in sensitivity analysis for MLF.
- Maturing proposals, representing projects that have progressed with site, planning applications, and finance arrangements, but not to the point that they can be classified as advanced. Maturing projects may be explicitly included in scenario analysis to assess future reliability or market impacts and are tested for economic efficiency in capacity outlook modelling.
- Emerging proposals, representing projects where sites have been identified, planning applications lodged and the development is considered financially and technically viable. However, planning approvals/construction is uncertain, and development maybe subject to changes in policy or commercial environment. These projects may be explicitly included in scenario analysis to assess future market impacts, and are tested for economic efficiency in capacity outlook modelling. However, a higher weighted average cost of capital will be assumed to reflect greater development uncertainty compared to maturing projects.
- Publicly Announced proposals, representing projects that have been announced publicly, but may not yet meet all or any of the commitment criteria. Costs and capabilities of these projects are developed using recently-completed projects and projections of cost components such as raw material supply and labour.
Generation project commitment criteria
Category | Criteria
Site | The project proponent has purchased/settled/acquired (or commenced legal proceedings to purchase/settle/acquire) land for the construction of the project.
Major components | Contracts for the supply and construction of major plant or equipment components (such as generating units, turbines, boilers, transmission towers, conductors, and terminal station equipment) have been finalised and executed, including any provisions for cancellation payments.
Planning and Approvals | The proponent has obtained all required planning consents, construction approvals, connection contracts (including approval of proposed negotiated Generator Performance Standards from AEMO under clause 5.3.4A of the National Electricity Rules), and licences, including completion and acceptance of any necessary environmental impact statements.
Finance | The financing arrangements for the proposal, including any debt plans, must have been concluded and contracts executed.
Date | Construction of the proposal must either have commenced or a firm commencement date must have been set. Commercial use date for full operation must have been set.