## 1 Storage_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Large Scale Storage VIC | Capacity Factor | % | 6.753 | 9.083 | 10.8947 | 12.1475 | 15.1569 | 14.3699 | 13.7093 | 13.9857 | 14.776 | 14.829 | 16.3062 | 16.0503 | 15.8747 | 14.7433 | 13.9566
Large Scale Storage SA | Capacity Factor | % | 6.4046 | 6.5164 | 6.4586 | 7.7549 | 8.3225 | 6.6791 | 6.3702 | 6.422 | 6.2251 | 7.2205 | 6.7463 | 7.3649 | 7.2003 | 5.8659 | 6.3449
Large Scale Storage QLD | Capacity Factor | % | 11.1135 | 9.8947 | 10.5135 | 10.8468 | 10.8283 | 11.2829 | 11.1917 | 11.4372 | 12.4204 | 13.5142 | 12.6492 | 12.5506 | 12.8592 | 12.883 | 13.0978

## 2 Generator_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Capacity Factor | % | 61.367 | 59.9489 | 55.5371 | 63.7323 | 63.3051 | 58.7913 | 62.7958 | 63.131 | 64.1081 | 68.8565 | 67.7298 | 68.3041 | 69.4436 | 64.3864 | 69.6652
Black Coal QLD | Capacity Factor | % | 51.7524 | 52.065 | 56.6208 | 61.2581 | 60.7585 | 62.9902 | 59.7095 | 55.8802 | 55.0236 | 58.3955 | 65.1314 | 62.9276 | 63.3001 | 65.141 | 66.7242
Brown Coal VIC | Capacity Factor | % | 74.2816 | 71.5728 | 64.6032 | 63.6098 | 68.1977 | 68.3091 | 63.0875 | 68.2044 | 61.5705 | 61.998 | 65.7109 | 65.7311 | 60.4959 | 71.5425 | 71.4624
Natural Gas NSW | Capacity Factor | % | 0.10993 | 0.19454 | 1.6432 | 3.139 | 2.6273 | 3.6575 | 4.2175 | 2.0011 | 2.2014 | 7.1269 | 6.4677 | 6.3285 | 7.993 | 13.9226 | 10.168
Natural Gas QLD | Capacity Factor | % | 6.8319 | 6.828 | 6.0511 | 5.6479 | 5.6901 | 6.2315 | 9.0555 | 7.4551 | 7.0496 | 7.2197 | 10.3845 | 11.756 | 12.8445 | 15.4676 | 13.4075
Natural Gas VIC | Capacity Factor | % | 0.16202 | 0.099781 | 0.21935 | 0.20048 | 0.12703 | 0.11512 | 0.24018 | 0.044653 | 0.097904 | 0.24161 | 0.049534 | 0.1175 | 0.22443 | 1.018 | 0.86602
Natural Gas SA | Capacity Factor | % | 11.7317 | 11.6166 | 12.5829 | 13.4056 | 11.1619 | 8.5865 | 8.3202 | 8.0159 | 8.0638 | 7.4597 | 7.3743 | 3.0941 | 3.2968 | 3.0154 | 2.9585
Natural Gas TAS | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0.022603 | 0 | 0 | 0 | 0.033904 | 0.011301 | 0.011301 | 0 | 0 | 0
Liquid Fuel QLD | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Capacity Factor | % | 0 | 0 | 0 | 0.62797 | 0.34039 | 0.0048385 | 0 | 0 | 0.0089765 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Capacity Factor | % | 32.555 | 32.5114 | 32.1766 | 32.9326 | 32.6921 | 32.0775 | 32.4962 | 32.4616 | 32.2179 | 32.2101 | 31.9508 | 32.3383 | 32.5628 | 32.0509 | 32.7791
Wind QLD | Capacity Factor | % | 33.1924 | 33.1945 | 32.9196 | 33.7699 | 33.3914 | 32.7044 | 33.1595 | 32.7713 | 31.474 | 30.4523 | 30.8797 | 31.6089 | 31.7463 | 31.0339 | 31.9687
Wind VIC | Capacity Factor | % | 33.4836 | 32.9873 | 32.1423 | 31.7473 | 31.7618 | 31.651 | 31.8388 | 31.5 | 31.5137 | 31.2346 | 30.1983 | 30.1905 | 30.4536 | 30.7948 | 31.0393
Wind SA | Capacity Factor | % | 31.8832 | 31.7993 | 31.1813 | 30.6487 | 30.6031 | 30.8701 | 31.1388 | 31.1035 | 30.7833 | 31.0053 | 30.6556 | 30.7444 | 30.6138 | 29.551 | 29.8445
Wind TAS | Capacity Factor | % | 36.3609 | 36.1338 | 36.313 | 36.4653 | 35.5374 | 36.0528 | 36.1363 | 36.1272 | 36.4884 | 35.0027 | 35.9461 | 36.1697 | 36.3001 | 36.2701 | 36.6261
Solar NSW | Capacity Factor | % | 28.4044 | 28.3895 | 28.5404 | 28.3055 | 28.4228 | 28.4568 | 28.2684 | 28.1943 | 28.1531 | 28.3294 | 28.2757 | 28.1801 | 28.2134 | 28.3219 | 27.9684
Solar QLD | Capacity Factor | % | 30.4689 | 30.4381 | 30.5234 | 30.4061 | 30.5373 | 30.5094 | 30.4104 | 29.5392 | 26.5504 | 23.0211 | 26.9346 | 27.4389 | 26.8517 | 27.2485 | 26.7336
Solar VIC | Capacity Factor | % | 29.0817 | 29.3426 | 29.3991 | 29.1306 | 25.9205 | 25.033 | 24.6258 | 24.8492 | 24.713 | 24.1107 | 23.0478 | 22.7266 | 22.7961 | 22.1462 | 22.7696
Solar SA | Capacity Factor | % | 30.5475 | 30.1327 | 30.231 | 29.1472 | 27.9297 | 29.2139 | 29.3877 | 29.1005 | 28.8955 | 27.6058 | 28.0107 | 27.9206 | 27.965 | 27.9662 | 28.1614
REZ Solar NSW | Capacity Factor | % | 30.6171 | 30.5974 | 30.7662 | 30.6121 | 30.6427 | 30.5934 | 30.4781 | 30.3149 | 30.3325 | 30.4619 | 30.4109 | 30.3192 | 30.372 | 30.0133 | 29.5955
REZ Wind NSW | Capacity Factor | % | 40.5736 | 40.7275 | 40.6946 | 41.3618 | 40.3057 | 39.9875 | 40.5011 | 40.6384 | 40.6253 | 39.6148 | 39.6903 | 40.3237 | 40.8329 | 40.5545 | 41.1222
REZ Solar QLD | Capacity Factor | % | 30.6636 | 30.6608 | 30.7959 | 30.4647 | 30.8296 | 30.7249 | 30.6138 | 30.504 | 29.4022 | 29.3698 | 30.0498 | 30.0273 | 30.0289 | 29.8844 | 29.4179
REZ Wind QLD | Capacity Factor | % | 2027: 44.1912; 2028: 43.5007; 2029: 41.5468; 2030: 44.5774; 2031: 44.4572; 2032: 44.0721; 2033: 43.7044; 2034: 43.4512
REZ Solar SA | Capacity Factor | % | 30.8143 | 30.4772 | 30.6155 | 30.0591 | 30.502 | 30.3766 | 30.3554 | 30.119 | 30.3279 | 30.0416 | 29.9555 | 29.7948 | 29.8772 | 26.1783 | 26.0686
REZ Wind TAS | Capacity Factor | % | 51.6813 | 51.6441 | 51.5326 | 51.727 | 50.5567 | 51.0763 | 51.3501 | 51.6441 | 51.6416 | 49.9247 | 50.9968 | 51.5014 | 51.7702 | 51.5326 | 51.9386
Hydro NSW | Capacity Factor | % | 19.6379 | 19.6826 | 20.3508 | 21.2973 | 21.1722 | 21.0917 | 21.367 | 21.175 | 21.5809 | 22.3412 | 21.8149 | 22.5188 | 22.8597 | 24.193 | 24.3495
Hydro QLD | Capacity Factor | % | 38.1428 | 38.2345 | 38.6806 | 39.4161 | 39.5066 | 39.6045 | 40.7473 | 40.7933 | 41.2251 | 41.6668 | 41.81 | 42.3735 | 42.4441 | 42.3521 | 42.3856
Hydro VIC | Capacity Factor | % | 15.3526 | 15.2788 | 15.3308 | 15.353 | 15.4549 | 15.5057 | 15.5943 | 15.3729 | 15.5342 | 15.5994 | 15.9157 | 15.6073 | 15.4272 | 15.3684 | 15.428
Hydro TAS | Capacity Factor | % | 52.7381 | 51.0795 | 52.3117 | 52.1283 | 52.2731 | 51.9243 | 52.1541 | 52.4115 | 52.4919 | 51.9828 | 52.1463 | 52.1053 | 51.9786 | 51.4879 | 51.9084
Large Scale Storage SA | Capacity Factor | % | 6.4046 | 6.5164 | 6.4586 | 7.7549 | 8.3225 | 6.6791 | 6.3702 | 6.422 | 6.2251 | 7.2205 | 6.7463 | 7.3649 | 7.2003 | 5.8659 | 6.3449
Large Scale Storage QLD | Capacity Factor | % | 11.1135 | 9.8947 | 10.5135 | 10.8468 | 10.8283 | 11.2829 | 11.1917 | 11.4372 | 12.4204 | 13.5142 | 12.6492 | 12.5506 | 12.8592 | 12.883 | 13.0978
Large Scale Storage VIC | Capacity Factor | % | 6.753 | 9.083 | 10.8947 | 12.1475 | 15.1569 | 14.3699 | 13.7093 | 13.9857 | 14.776 | 14.829 | 16.3062 | 16.0503 | 15.8747 | 14.7433 | 13.9566
Distributed Storage NSW | Capacity Factor | % | 0.38969 | 0.45506 | 0.50183 | 0.71466 | 0.23852 | 0.89326 | 0.47874 | 0.21243 | 0.22836 | 0.22892 | 0.21328 | 0.17268 | 0.26126 | 0.38351 | 0.53391
Distributed Storage QLD | Capacity Factor | % | 9.6817 | 9.735 | 9.4779 | 9.3162 | 9.5493 | 9.6064 | 9.6564 | 9.8639 | 11.0676 | 12.5514 | 11.3832 | 11.0971 | 11.3694 | 11.4462 | 11.0662
Distributed Storage SA | Capacity Factor | % | 15.6745 | 15.8303 | 15.8129 | 17.2015 | 16.7249 | 13.297 | 12.8389 | 12.5866 | 12.488 | 13.046 | 12.8662 | 12.8075 | 12.526 | 11.3051 | 10.8448
Distributed Storage TAS | Capacity Factor | % | 0.38356 | 0.45508 | 0.6276 | 0.79366 | 0.34602 | 1.1753 | 0.89498 | 0.35498 | 0.32028 | 0.4482 | 0.51949 | 0.47129 | 0.54442 | 1.0879 | 1.2646
Distributed Storage VIC | Capacity Factor | % | 13.7679 | 13.8839 | 13.7993 | 15.065 | 17.1339 | 14.6461 | 13.653 | 13.9749 | 15.1193 | 14.4951 | 16.5677 | 16.1722 | 15.7694 | 13.2978 | 13.7486
New Natural Gas NSW | Capacity Factor | % |  |  |  | 1.3625 | 0.62083 | 1.2408 | 1.0227 | 0.46806 | 0.57007 | 2.0752 | 1.5949 | 3.7473 | 5.0866 | 12.0057 | 6.712
New Natural Gas VIC | Capacity Factor | % |  |  |  | 1.3035 | 0.66309 | 0.56735 | 1.2172 | 0.81097 | 1.3259 | 1.3006 | 0.54933 | 0.59515 | 1.1394 | 5.7914 | 5.0614
New Natural Gas SA | Capacity Factor | % |  |  |  |  | 15.4742 | 8.5566 | 8.5165 | 8.7971 | 8.9222 | 9.0231 | 8.0596 | 17.614 | 18.3229 | 15.4414 | 15.2599
Pumped Hydro SA | Capacity Factor | % | [5 empty] | 16.3434 | 15.5955 | 15.1395 | 15.7242 | 16.962 | 16.6464 | 16.9215 | 17.2039 | 16.0859 | 16.3951
Pumped Hydro NSW | Capacity Factor | % | [5 empty] | 18.61 | 19.5338 | 17.8741 | 18.4894 | 20.9891 | 20.0403 | 21.5235 | 22.1878 | 23.1545 | 23.5338
Pumped Hydro QLD | Capacity Factor | % | 2029: 23.9696; 2030: 24.157; 2031: 24.4892; 2032: 24.4473; 2033: 24.6699; 2034: 24.6162
Pumped Hydro VIC | Capacity Factor | % | 2033: 20.6671; 2034: 20.9734

## 3 Generator_GenerationCost
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation Cost | $000 | 1133375.1582 | 1132871.3183 | 1130131.3915 | 1167545.0988 | 1160624.9861 | 1170450.9722 | 1313681.4239 | 1306414.8097 | 1436241.6428 | 1343524.9181 | 1373782.1816 | 1428363.2275 | 1475232.5412 | 1391674.721 | 1528562.7474
Black Coal QLD | Black Coal | QLD | Generation Cost | $000 | 919049.7661 | 942245.9662 | 1034780.7043 | 1139138.0376 | 1142413.5762 | 1199889.5458 | 1145565.248 | 1087007.2577 | 1118959.5303 | 1198546.4314 | 1000872.7769 | 982602.1235 | 1044183.1566 | 1073552.2782 | 1108701.0485
Brown Coal VIC | Brown Coal | VIC | Generation Cost | $000 | 319825.9477 | 309951.9328 | 283817.705 | 280325.5498 | 298773.5043 | 300056.1871 | 274525.711 | 301059.4659 | 271718.2817 | 272389.362 | 293969.4856 | 296544.5875 | 277076.7802 | 213764.1888 | 213527.1212
Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 1788.8472 | 3241.904 | 28156.5126 | 52404.3789 | 43233.7121 | 57553.561 | 66299.5567 | 31518.0819 | 34191.5386 | 108067.7517 | 103243.9388 | 96948.519 | 122426.7842 | 196246.9486 | 148520.9246
Natural Gas QLD | Natural Gas | QLD | Generation Cost | $000 | 206182.7024 | 206240.3343 | 176723.8649 | 144144.4096 | 130064.419 | 124416.6555 | 154788.4152 | 129559.8949 | 122260.1333 | 123577.0671 | 210149.257 | 252546.4703 | 275162.0604 | 334329.0147 | 286945.2431
Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 6809.1715 | 4738.184 | 10439.458 | 6908.7804 | 3059.8477 | 2634.1512 | 5224.0287 | 1593.8259 | 3853.3162 | 5743.6643 | 1995.484 | 2414.5769 | 3569.7975 | 18299.2016 | 14821.857
Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 436832.6498 | 432957.2984 | 441843.4535 | 400572.8317 | 175639.4668 | 141291.7681 | 131467.2785 | 123237.8953 | 129827.011 | 121234.5755 | 119206.0261 | 80973.6067 | 83396.0885 | 76534.4928 | 74361.8293
Natural Gas TAS | Natural Gas | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 43.1303 | 0 | 0 | 0 | 61.8925 | 20.4236 | 20.2321 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation Cost | $000 | 0 | 0 | 0 | 7008.2828 | 3681.5 | 51.6799 | 0 | 0 | 85.4862 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | Generation Cost | $000 | 24056.5387 | 24588.7768 | 27690.654 | 33398.3078 | 31262.1672 | 32008.5951 | 33999.0099 | 32743.4476 | 35682.9036 | 43314.4256 | 38431.4325 | 42606.198 | 43892.4609 | 57230.1736 | 58355.8359
Hydro QLD | Hydro | QLD | Generation Cost | $000 | 6783.0639 | 7107.5446 | 8512.788 | 10989.784 | 10855.5761 | 11532.0068 | 14965.7277 | 15079.4619 | 16212.5445 | 17689.1475 | 18078.8804 | 20136.355 | 20066.4604 | 19974.1634 | 19749.0234
Hydro VIC | Hydro | VIC | Generation Cost | $000 | 22583.4846 | 22425.5273 | 22466.4558 | 22661.6303 | 22752.7947 | 23046.3892 | 23131.3033 | 22668.5349 | 22897.0784 | 23141.5988 | 23810.9978 | 23297.2949 | 22796.9208 | 22546.4228 | 22657.844
Hydro TAS | Hydro | TAS | Generation Cost | $000 | 62323.9046 | 62348.5947 | 62423.3592 | 62272.1803 | 62369.1158 | 62242.4835 | 62244.0674 | 62313.8374 | 62426.0852 | 62276.2423 | 62290.6722 | 62204.4655 | 62261.1556 | 62155.4592 | 62513.6361
Large Scale Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 0 | 0 | 0 | 10913.1661 | 11583.8939 | 22525.9599 | 18067.0383 | 8032.8423 | 9783.4522 | 35615.1109 | 27371.6058 | 64311.6579 | 90305.8995 | 213145.3802 | 119162.1829
New Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 0 | 0 | 0 | 3805.6545 | 4925.5921 | 4106.5929 | 8586.6767 | 5572.1913 | 9110.5583 | 9021.7045 | 3810.4654 | 4159.4779 | 7963.4063 | 40475.7581 | 35374.2801
New Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 112871.2871 | 68601.6093 | 66156.5823 | 66143.1208 | 67083.8132 | 69107.9273 | 61728.288 | 134905.1585 | 145045.8577 | 122235.3321 | 120798.6529
Pumped Hydro SA | Hydro | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 10567.0421 | 12523.2727 | 12153.4228 | 12610.5501 | 13606.5056 | 14444.5309 | 14701.014 | 15205.5203 | 22134.7618 | 22580.342
Pumped Hydro NSW | Hydro | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 3318.4585 | 3481.1204 | 3184.756 | 3294.6193 | 3740.9851 | 11115.9892 | 11940.2463 | 16197.8109 | 26651.5169 | 27089.752
Pumped Hydro QLD | Hydro | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6385.7642 | 21436.4869 | 21731.7042 | 21694.4948 | 21894.088 | 21844.6409
Pumped Hydro VIC | Hydro | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8856.9029 | 8988.4041

## 4 Installed Capacity
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Installed Capacity | MW | 10040 | 10040 | 10040 | 8240 | 8240 | 8240 | 8240 | 8240 | 8240 | 6920 | 6920 | 6920 | 6920 | 6920 | 6920
Black Coal QLD | Black Coal | QLD | Installed Capacity | MW | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 6499 | 6499 | 6499 | 6499 | 6499
Brown Coal VIC | Brown Coal | VIC | Installed Capacity | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006
Natural Gas QLD | Natural Gas | QLD | Installed Capacity | MW | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039
Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 1985 | 1985 | 1985
Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 2671.1 | 2671.1 | 2431.1 | 2431.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1
Natural Gas TAS | Natural Gas | TAS | Installed Capacity | MW | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163
Liquid Fuel NSW | Liquid Fuel | NSW | Installed Capacity | MW | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Liquid Fuel QLD | Liquid Fuel | QLD | Installed Capacity | MW | 457.5 | 457.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5
Liquid Fuel SA | Liquid Fuel | SA | Installed Capacity | MW | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2
Wind NSW | Wind | NSW | Installed Capacity | MW | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500
Wind QLD | Wind | QLD | Installed Capacity | MW | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676
Wind VIC | Wind | VIC | Installed Capacity | MW | 2914 | 3730 | 4240 | 4690 | 5190 | 5280 | 5280 | 5280 | 5580 | 5580 | 5980 | 5980 | 5980 | 5980 | 5980
Wind SA | Wind | SA | Installed Capacity | MW | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052
Wind TAS | Wind | TAS | Installed Capacity | MW | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420
Solar NSW | Solar | NSW | Installed Capacity | MW | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446
Solar QLD | Solar | QLD | Installed Capacity | MW | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5
Solar VIC | Solar | VIC | Installed Capacity | MW | 702 | 702 | 702 | 702 | 997 | 1407 | 1407 | 1407 | 1507 | 1507 | 1707 | 1707 | 1707 | 1707 | 1707
Solar SA | Solar | SA | Installed Capacity | MW | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320
REZ Solar NSW | Solar | NSW | Installed Capacity | MW | 1232 | 1232 | 1232 | 1232 | 1232 | 1352 | 1352 | 1352 | 1352 | 1352 | 1432 | 1432 | 1432 | 3051 | 3051
REZ Wind NSW | Wind | NSW | Installed Capacity | MW | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135
REZ Solar QLD | Solar | QLD | Installed Capacity | MW | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 1511.7 | 2246.7 | 2913.7 | 3678.7 | 4363.7 | 4363.7 | 4363.7 | 4363.7 | 4363.7
REZ Wind QLD | Wind | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 276 | 503 | 631 | 631 | 631 | 631 | 631
REZ Solar SA | Solar | SA | Installed Capacity | MW | 166 | 166 | 166 | 446 | 446 | 781 | 846 | 846 | 846 | 972 | 972 | 972 | 972 | 1852 | 1852
REZ Wind TAS | Wind | TAS | Installed Capacity | MW | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 190 | 190 | 190 | 331 | 331
Hydro NSW | Hydro | NSW | Installed Capacity | MW | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862
Hydro QLD | Hydro | QLD | Installed Capacity | MW | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4
Hydro VIC | Hydro | VIC | Installed Capacity | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219
Hydro TAS | Hydro | TAS | Installed Capacity | MW | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7
Large Scale Storage SA | Battery | SA | Installed Capacity | MW | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
Large Scale Storage QLD | Battery | QLD | Installed Capacity | MW | 3.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4
Large Scale Storage VIC | Battery | VIC | Installed Capacity | MW | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
Distributed Storage NSW | Battery | NSW | Installed Capacity | MW | 25.1568 | 56.0691 | 95.8798 | 142.8159 | 196.0542 | 253.9814 | 314.6069 | 377.6072 | 442.051 | 507.2804 | 573.3688 | 634.0407 | 687.346 | 739.0638 | 803.9992
Distributed Storage QLD | Battery | QLD | Installed Capacity | MW | 13.6923 | 30.9345 | 51.8416 | 75.3569 | 100.2728 | 126.2546 | 152.7033 | 179.8653 | 207.739 | 236.1665 | 265.0381 | 294.2611 | 323.755 | 353.0294 | 397.184
Distributed Storage SA | Battery | SA | Installed Capacity | MW | 4.6986 | 10.6141 | 18.2709 | 27.3616 | 37.6467 | 49.2016 | 61.6345 | 74.7964 | 88.5706 | 102.8717 | 117.6225 | 132.3793 | 146.6603 | 160.356 | 183.121
Distributed Storage TAS | Battery | TAS | Installed Capacity | MW | 1.1074 | 2.4017 | 3.9644 | 5.8927 | 7.4173 | 8.7301 | 9.7122 | 10.6559 | 11.4994 | 12.2389 | 12.9664 | 13.6654 | 14.3392 | 14.99 | 15.7718
Distributed Storage VIC | Battery | VIC | Installed Capacity | MW | 15.5741 | 34.1933 | 54.664 | 76.9652 | 100.4807 | 125.6983 | 151.7562 | 178.5289 | 205.3924 | 232.5471 | 260.3066 | 288.6046 | 317.3904 | 346.1144 | 386.7479
New Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 0 | 0 | 0 | 810 | 1938 | 1938 | 1938 | 1938 | 1938 | 1938 | 1938 | 1938 | 1938 | 1938 | 1938
New Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 0 | 0 | 0 | 280 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730
New Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 750 | 850 | 850 | 850 | 850 | 850 | 850 | 850 | 850 | 850 | 850
Pumped Hydro SA | Hydro | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 645 | 801 | 801 | 801 | 801 | 867 | 867 | 882 | 1375 | 1375
Pumped Hydro NSW | Hydro | NSW | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 178 | 178 | 178 | 178 | 178 | 554 | 554 | 729 | 1149 | 1149
Pumped Hydro QLD | Hydro | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 266 | 886 | 886 | 886 | 886 | 886
Pumped Hydro VIC | Hydro | VIC | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 428 | 428

## 5 Generator_SRMC
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | SRMC | $/MWh | 20.1176 | 20.8684 | 21.2403 | 23.3948 | 24.029 | 25.1858 | 25.9795 | 26.8147 | 28.7876 | 29.5429 | 30.791 | 31.7357 | 32.2089 | 32.7015 | 33.2508
Black Coal QLD | Black Coal | QLD | SRMC | $/MWh | 21.7667 | 22.3234 | 22.5691 | 22.8742 | 23.1876 | 23.6416 | 24.0684 | 24.4436 | 25.2255 | 25.9959 | 23.8432 | 24.2534 | 24.9436 | 25.5992 | 25.8737
Brown Coal VIC | Brown Coal | VIC | SRMC | $/MWh | 8.2968 | 8.3525 | 8.3525 | 8.4082 | 8.4819 | 8.4819 | 8.4819 | 8.5376 | 8.6112 | 8.6112 | 8.6669 | 8.7405 | 8.7405 | 8.4674 | 8.4674
Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh | 99.7281 | 99.7281 | 99.7281 | 96.6123 | 93.4965 | 90.4065 | 87.2564 | 87.2564 | 87.2907 | 87.2907 | 87.2907 | 91.6272 | 91.6272 | 91.6272 | 91.6272
Natural Gas QLD | Natural Gas | QLD | SRMC | $/MWh | 85.8312 | 83.2559 | 90.6957 | 68.9617 | 73.1145 | 67.6428 | 62.1571 | 64.9283 | 63.5192 | 53.4295 | 74.5506 | 77.7474 | 79.0123 | 80.144 | 70.7418
Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh | 145.6956 | 121.7153 | 136.1238 | 113.2925 | 117.6567 | 118.1456 | 112.326 | 103.5562 | 104.519 | 124.7737 | 105.3938 | 105.3938 | 121.2583 | 130.7567 | 126.4507
Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | 115.6488 | 113.9409 | 116.0839 | 113.1906 | 123.5368 | 120.492 | 117.5568 | 117.563 | 117.8069 | 117.8069 | 117.8069 | 121.0926 | 121.0926 | 121.0926 | 120.4299
Natural Gas TAS | Natural Gas | TAS | SRMC | $/MWh
Liquid Fuel NSW | Liquid Fuel | NSW | SRMC | $/MWh | 2025: 420.6241; 2029: 401.9371; 2030: 397.7918; 2031: 393.9627
Liquid Fuel QLD | Liquid Fuel | QLD | SRMC | $/MWh
Liquid Fuel SA | Liquid Fuel | SA | SRMC | $/MWh | 2023: 444.6359; 2024: 438.1292; 2025: 428.3564; 2028: 412.9058
Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | SRMC | $/MWh | 2027: 0; 2028: 0; 2029: 0; 2030: 0; 2031: 0; 2032: 0; 2033: 0; 2034: 0
REZ Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | SRMC | $/MWh | 0.0093315 | 0.009435 | 0.0097983 | 0.010331 | 0.010106 | 0.010229 | 0.010351 | 0.01024 | 0.010471 | 0.010832 | 0.010623 | 0.010807 | 0.010815 | 0.01118 | 0.011194
Hydro QLD | Hydro | QLD | SRMC | $/MWh | 0.0098374 | 0.0098429 | 0.0098527 | 0.009851 | 0.0098601 | 0.0098578 | 0.0098568 | 0.0098531 | 0.0098558 | 0.0098544 | 0.0098596 | 0.0098613 | 0.009854 | 0.0098534 | 0.0098556
Hydro VIC | Hydro | VIC | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Hydro TAS | Hydro | TAS | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Large Scale Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh |  |  |  | 101.6118 | 98.6683 | 95.7248 | 92.8828 | 89.9393 | 89.9393 | 89.9393 | 89.9393 | 89.9393 | 93.3903 | 93.3903 | 93.3903
New Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh |  |  |  | 107.7018 | 104.8598 | 101.9163 | 99.0743 | 96.2323 | 96.2323 | 97.2473 | 97.2473 | 98.0593 | 98.0593 | 98.0593 | 98.0593
New Natural Gas SA | Natural Gas | SA | SRMC | $/MWh |  |  |  |  | 97.552 | 94.304 | 91.056 | 87.808 | 87.808 | 89.635 | 89.635 | 89.635 | 92.9845 | 92.9845 | 92.9845
Pumped Hydro SA | Hydro | SA | SRMC | $/MWh | [5 empty] | 0.011443 | 0.011444 | 0.011441 | 0.01143 | 0.011432 | 0.011425 | 0.011439 | 0.011439 | 0.011424 | 0.011434
Pumped Hydro NSW | Hydro | NSW | SRMC | $/MWh | [5 empty] | 0.011436 | 0.011429 | 0.011427 | 0.011428 | 0.011431 | 0.01143 | 0.011431 | 0.011432 | 0.011436 | 0.011436
Pumped Hydro QLD | Hydro | QLD | SRMC | $/MWh | 2029: 0.011433; 2030: 0.011433; 2031: 0.011434; 2032: 0.011434; 2033: 0.011435; 2034: 0.011434
Pumped Hydro VIC | Hydro | VIC | SRMC | $/MWh | 2033: 0.01143; 2034: 0.011431

## 6 Generator_Generation
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation | GWh | 52511.0037 | 51183.47 | 49144.2773 | 45833.8663 | 45400.1806 | 42350.8466 | 45393.2474 | 45416.5439 | 46142.8165 | 41617.5195 | 40923.4007 | 41279.3729 | 41982.5251 | 38896.8817 | 42131.6776
Black Coal QLD | Black Coal | QLD | Generation | GWh | 39554.8164 | 39769.8037 | 42652.1624 | 45837.2314 | 45548.2224 | 46957.502 | 44418.623 | 41830.3657 | 41198.6011 | 43015.1653 | 37508.4229 | 35923.0803 | 36229.7327 | 37263.8339 | 38282.1118
Brown Coal VIC | Brown Coal | VIC | Generation | GWh | 31432.8504 | 30337.008 | 27954.0576 | 27497.0566 | 28821.7452 | 28978.6096 | 26424.5824 | 28951.5271 | 25758.7445 | 25805.6695 | 27893.3554 | 27882.6694 | 26226.1811 | 20567.2568 | 20544.4666
Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 18.884 | 35.221 | 290.6662 | 567.522 | 494.1211 | 665.5845 | 797.9457 | 381.0715 | 413.0333 | 1276.7314 | 1246.8668 | 1236.0824 | 1553.1042 | 2403.1807 | 1865.0241
Natural Gas QLD | Natural Gas | QLD | Generation | GWh | 2014.2099 | 2016.3044 | 1794.8021 | 1684.6343 | 1663.3322 | 1776.3458 | 2504.5274 | 2091.2646 | 1975.0082 | 2008.7272 | 2850.4199 | 3409.344 | 3749.9673 | 4589.0526 | 3926.4806
Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 51.5914 | 35.2424 | 80.3306 | 55.0888 | 25.1469 | 21.888 | 45.0208 | 13.6802 | 32.9186 | 49.1985 | 16.8884 | 20.6529 | 30.7761 | 156.5534 | 127.2129
Natural Gas SA | Natural Gas | SA | Generation | GWh | 5453.5093 | 5403.1789 | 5503.7494 | 4808.3898 | 1843.9864 | 1579.8309 | 1515.6406 | 1409.544 | 1427.7354 | 1338.263 | 1315.9619 | 935.248 | 959.5799 | 883.0407 | 856.0719
Natural Gas TAS | Natural Gas | TAS | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0.099 | 0 | 0 | 0 | 0.1485 | 0.0495 | 0.0495 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation | GWh | 0 | 0 | 0 | 14.84 | 7.8943 | 0.11337 | 0 | 0 | 0.19357 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation | GWh | 4266.9116 | 4261.3847 | 4215.353 | 4311.6696 | 4285.7246 | 4205.1103 | 4259.3594 | 4255.961 | 4226.7254 | 4229.7772 | 4193.2871 | 4243.6343 | 4267.7689 | 4201.507 | 4295.3347
Wind QLD | Wind | QLD | Generation | GWh | 1965.575 | 1965.6988 | 1949.4327 | 1999.7754 | 1977.3603 | 1936.6756 | 1964.0433 | 1949.0317 | 1876.5367 | 1825.0714 | 1829.0288 | 1867.8231 | 1878.5224 | 1836.333 | 1889.1747
Wind VIC | Wind | VIC | Generation | GWh | 8448.8787 | 10621.0576 | 11746.686 | 12818.4569 | 14153.9331 | 14418.8028 | 14544.7227 | 14344.3541 | 15222.6349 | 15039.1007 | 15443.8121 | 15465.1537 | 15628.0284 | 15969.6068 | 16090.0489
Wind SA | Wind | SA | Generation | GWh | 5835.4977 | 5815.3054 | 5699.2827 | 5609.8979 | 5594.8424 | 5643.4814 | 5694.2444 | 5685.2605 | 5628.754 | 5671.3081 | 5606.9542 | 5624.5376 | 5603.2319 | 5398.6963 | 5458.2849
Wind TAS | Wind | TAS | Generation | GWh | 1337.7631 | 1329.3809 | 1335.9291 | 1341.3379 | 1307.4041 | 1326.3158 | 1329.3628 | 1329.0887 | 1342.4008 | 1287.7226 | 1322.2365 | 1330.4322 | 1335.4203 | 1334.0337 | 1347.0181
Solar NSW | Solar | NSW | Generation | GWh | 1094.5214 | 1093.82 | 1099.9014 | 1090.813 | 1095.3409 | 1096.8977 | 1089.4553 | 1085.3847 | 1082.9204 | 1090.6625 | 1088.9586 | 1085.3696 | 1086.8235 | 1090.9575 | 1076.4926
Solar QLD | Solar | QLD | Generation | GWh | 3245.097 | 3242.2924 | 3250.8227 | 3240.0081 | 3252.5148 | 3249.4527 | 3239.6688 | 3160.774 | 2861.9419 | 2492.3281 | 2872.9196 | 2927.2638 | 2863.4785 | 2902.2378 | 2851.5359
Solar VIC | Solar | VIC | Generation | GWh | 1801.9949 | 1812.5286 | 1810.18 | 1787.2276 | 2164.9276 | 3055.4256 | 3038.3132 | 3044.3777 | 3277.7391 | 3192.0734 | 3408.594 | 3360.325 | 3384.2473 | 3358.6507 | 3448.6505
Solar SA | Solar | SA | Generation | GWh | 855.651 | 845.0724 | 848.9139 | 816.521 | 807.996 | 828.0984 | 828.2216 | 821.7306 | 818.473 | 782.1826 | 794.2859 | 791.356 | 791.2931 | 768.7743 | 776.0209
REZ Solar NSW | Solar | NSW | Generation | GWh | 3308.873 | 3309.2204 | 3326.1999 | 3315.4604 | 3313.9921 | 3630.8591 | 3622.2227 | 3605.4446 | 3615.8581 | 3630.5112 | 3824.7787 | 3814.8701 | 3822.3579 | 8011.4669 | 7942.7192
REZ Wind NSW | Wind | NSW | Generation | GWh | 479.8232 | 481.6438 | 481.254 | 489.1452 | 476.6551 | 472.8926 | 478.966 | 480.5899 | 480.4346 | 468.4847 | 469.377 | 476.8679 | 482.8897 | 479.5969 | 486.3109
REZ Solar QLD | Solar | QLD | Generation | GWh | 1797.1432 | 1797.3783 | 1803.9259 | 1785.8335 | 1806.5204 | 1800.4 | 4059.4343 | 6033.5986 | 7786.9327 | 9617.0672 | 11460.4111 | 11462.6062 | 11462.0902 | 11414.8434 | 11218.0208
REZ Wind QLD | Wind | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 352.2748 | 1051.7427 | 1841.075 | 2471.1175 | 2463.81 | 2441.7334 | 2431.7085 | 2414.4606
REZ Solar SA | Solar | SA | Generation | GWh | 445.8931 | 441.2262 | 442.6742 | 1181.8909 | 1212.2087 | 2125.4645 | 2298.0574 | 2284.4769 | 2296.9747 | 2574.6306 | 2583.179 | 2573.4096 | 2571.4877 | 3788.0399 | 3760.7621
REZ Wind TAS | Wind | TAS | Generation | GWh | 651.9291 | 651.4599 | 650.0528 | 652.5051 | 637.7429 | 644.297 | 647.7505 | 651.4599 | 651.4275 | 629.7705 | 848.7903 | 857.1901 | 861.6638 | 1494.2186 | 1505.9916
Hydro NSW | Hydro | NSW | Generation | GWh | 3171.0456 | 3199.2712 | 3378.1273 | 3708.1835 | 3591.3998 | 3622.1782 | 3737.4931 | 3663.9218 | 3834.0732 | 4264.8302 | 3986.5304 | 4217.0101 | 4298.1381 | 5048.7494 | 5118.8846
Hydro QLD | Hydro | QLD | Generation | GWh | 758.9753 | 777.4736 | 856.7209 | 996.7686 | 990.0845 | 1026.9001 | 1222.5876 | 1229.1485 | 1294.1339 | 1377.3999 | 1399.1973 | 1514.1148 | 1512.4057 | 1506.435 | 1494.6381
Hydro VIC | Hydro | VIC | Generation | GWh | 3109.548 | 3087.7986 | 3093.4341 | 3120.3079 | 3132.8605 | 3173.2859 | 3184.9778 | 3121.2586 | 3152.7271 | 3186.3954 | 3278.5658 | 3207.8334 | 3138.9362 | 3104.4449 | 3119.7866
Hydro TAS | Hydro | TAS | Generation | GWh | 8581.4556 | 8584.8552 | 8595.1496 | 8574.3336 | 8587.6808 | 8570.2446 | 8570.4627 | 8580.0694 | 8595.5249 | 8574.8929 | 8576.8798 | 8565.0098 | 8572.8156 | 8558.2621 | 8607.5799
Large Scale Storage SA | Battery | SA | Generation | GWh | 89.4661 | 91.2472 | 90.5749 | 104.6137 | 110.5711 | 89.0438 | 85.2312 | 85.9046 | 84.0795 | 93.8004 | 89.5046 | 94.661 | 92.9395 | 79.0047 | 83.8096
Large Scale Storage QLD | Battery | QLD | Generation | GWh | 3.1438 | 71.4137 | 75.4312 | 78.4906 | 78.1844 | 81.1854 | 80.1614 | 82.901 | 95.0417 | 106.9959 | 98.1189 | 96.9423 | 99.9577 | 100.4126 | 102.666
Large Scale Storage VIC | Battery | VIC | Generation | GWh | 60.1231 | 76.956 | 91.337 | 103.117 | 130.644 | 122.4409 | 116.0079 | 119.1623 | 126.5368 | 126.6968 | 141.4351 | 139.1533 | 137.2054 | 125.835 | 120.3124
Distributed Storage NSW | Battery | NSW | Generation | GWh | 0.85878 | 2.2351 | 4.2149 | 8.9408 | 4.0965 | 19.874 | 13.1938 | 7.0268 | 8.8429 | 10.1726 | 10.7125 | 9.5912 | 15.7307 | 24.8293 | 37.6031
Distributed Storage QLD | Battery | QLD | Generation | GWh | 11.6127 | 26.3805 | 43.0424 | 61.4989 | 83.8804 | 106.2453 | 129.1718 | 155.4168 | 201.4081 | 259.6647 | 264.287 | 286.0519 | 322.4477 | 353.9784 | 385.0284
Distributed Storage SA | Battery | SA | Generation | GWh | 6.4516 | 14.719 | 25.3091 | 41.2299 | 55.1564 | 57.3109 | 69.3194 | 82.4693 | 96.8916 | 117.565 | 132.5694 | 148.5207 | 160.9272 | 158.8054 | 173.9651
Distributed Storage TAS | Battery | TAS | Generation | GWh | 0.037208 | 0.095745 | 0.21795 | 0.40969 | 0.22483 | 0.8988 | 0.76144 | 0.33136 | 0.32263 | 0.48053 | 0.59006 | 0.56418 | 0.68385 | 1.4286 | 1.7471
Distributed Storage VIC | Battery | VIC | Generation | GWh | 18.7833 | 41.5869 | 66.0788 | 101.5703 | 150.8141 | 161.2703 | 181.5014 | 218.5554 | 272.0322 | 295.2822 | 377.7907 | 408.8609 | 438.4416 | 403.1836 | 465.789
New Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 0 | 0 | 0 | 96.6791 | 105.3972 | 210.6532 | 173.6161 | 79.4624 | 96.7797 | 352.3113 | 270.765 | 636.1828 | 863.5453 | 2038.1911 | 1139.4819
New Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 0 | 0 | 0 | 31.9717 | 42.4031 | 36.2812 | 77.8363 | 51.8602 | 84.7916 | 83.171 | 35.1287 | 38.0584 | 72.8636 | 370.3454 | 323.6678
New Natural Gas SA | Natural Gas | SA | Generation | GWh | 0 | 0 | 0 | 0 | 1016.6554 | 637.125 | 634.1377 | 655.0328 | 664.3487 | 671.8619 | 600.1177 | 1311.5376 | 1364.3234 | 1149.7641 | 1136.2505
Pumped Hydro SA | Hydro | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 923.4327 | 1094.2995 | 1062.3027 | 1103.3318 | 1190.1832 | 1264.2841 | 1285.1758 | 1329.2322 | 1937.5426 | 1974.7894
Pumped Hydro NSW | Hydro | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 290.182 | 304.5869 | 278.7072 | 288.3009 | 327.2793 | 972.5646 | 1044.542 | 1416.9209 | 2330.5522 | 2368.7332
Pumped Hydro QLD | Hydro | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 558.5293 | 1874.9115 | 1900.693 | 1897.4438 | 1914.719 | 1910.5551
Pumped Hydro VIC | Hydro | VIC | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 774.8665 | 786.3497

## 7 REZ_CapacityBuilt
REZ | Category | Property | Units | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
REZ Solar NSW | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 120 | 0 | 0 | 0 | 0 | 80 | 0 | 0 | 1619 | 0
REZ Wind NSW | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 842 | 735 | 667 | 765 | 685 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 185 | 227 | 128 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | Capacity Change | MW | 0 | 0 | 280 | 0 | 335 | 65 | 0 | 0 | 126 | 0 | 0 | 0 | 880 | 0
REZ Wind TAS | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | 0 | 0 | 141 | 0
REZ Wind VIC | Wind | Capacity Change | MW | 816 | 510 | 450 | 500 | 90 | 0 | 0 | 300 | 0 | 400 | 0 | 0 | 0 | 0
REZ Solar VIC | Solar | Capacity Change | MW | 0 | 0 | 0 | 295 | 410 | 0 | 0 | 100 | 0 | 200 | 0 | 0 | 0 | 0

## 8 Generator_VOM
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Biomass NSW | Biomass | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Black Coal NSW | Black Coal | NSW | VO&M Cost | $000 | 57240.439 | 55793.2652 | 53619.0494 | 50085.634 | 49562.5846 | 46219.0402 | 49553.6316 | 49594.8507 | 50387.35 | 45501.5131 | 44741.8802 | 45131.6774 | 45900.642 | 42566.6975 | 46064.046
Black Coal QLD | Black Coal | QLD | VO&M Cost | $000 | 79985.582 | 80858.5161 | 87445.5718 | 96674.7582 | 96259.9991 | 99981.3526 | 89900.06 | 84976.1113 | 89754.572 | 89535.6294 | 86486.9686 | 86607.0244 | 81756.3326 | 88795.662 | 89656.1818
Brown Coal VIC | Brown Coal | VIC | VO&M Cost | $000 | 35613.052 | 34370.2003 | 31646.4264 | 31130.9129 | 32660.653 | 32832.2292 | 29980.2305 | 32800.2056 | 29186.0952 | 29241.5678 | 31602.6517 | 31591.1951 | 29689.6563 | 23200.0605 | 23174.3665
Hydro NSW | Hydro | NSW | VO&M Cost | $000 | 24056.5387 | 24588.7768 | 27690.654 | 33398.3078 | 31262.1672 | 32008.5951 | 33999.0099 | 32743.4476 | 35682.9036 | 43314.4256 | 38431.4325 | 42606.198 | 43892.4609 | 57230.1736 | 58355.8359
Hydro QLD | Hydro | QLD | VO&M Cost | $000 | 6783.0639 | 7107.5446 | 8512.788 | 10989.784 | 10855.5761 | 11532.0068 | 14965.7277 | 15079.4619 | 16212.5445 | 17689.1475 | 18078.8804 | 20136.355 | 20066.4604 | 19974.1634 | 19749.0234
Hydro TAS | Hydro | TAS | VO&M Cost | $000 | 62323.9046 | 62348.5947 | 62423.3592 | 62272.1803 | 62369.1158 | 62242.4835 | 62244.0674 | 62313.8374 | 62426.0852 | 62276.2423 | 62290.6722 | 62204.4655 | 62261.1556 | 62155.4592 | 62513.6361
Hydro VIC | Hydro | VIC | VO&M Cost | $000 | 22583.4846 | 22425.5273 | 22466.4558 | 22661.6303 | 22752.7947 | 23046.3892 | 23131.3033 | 22668.5349 | 22897.0784 | 23141.5988 | 23810.9978 | 23297.2949 | 22796.9208 | 22546.4228 | 22657.844
Large Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar QLD | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar SA | Solar | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar VIC | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 1.069 | 0 | 0 | 0 | 1.6035 | 0.5345 | 0.5345 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | VO&M Cost | $000 | 0 | 0 | 0 | 169.8109 | 90.2398 | 1.3034 | 0 | 0 | 2.2268 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 155.2022 | 282.9831 | 2420.4469 | 4739.0003 | 4070.5691 | 5531.3085 | 6606.9226 | 3147.1647 | 3420.1716 | 10812.2916 | 10290.3485 | 9368.9641 | 11812.915 | 18706.4038 | 14300.3644
Natural Gas QLD | Gas | QLD | VO&M Cost | $000 | 16856.7871 | 16881.3562 | 14241.1364 | 12432.3724 | 12271.4062 | 13121.3381 | 18604.2095 | 15491.0504 | 14609.0628 | 14852.4321 | 21243.4542 | 25374.386 | 27927.7957 | 34278.6877 | 29241.5641
Natural Gas SA | Gas | SA | VO&M Cost | $000 | 35087.9157 | 34790.5048 | 35664.1154 | 34340.766 | 20975.3013 | 18023.0005 | 17286.1721 | 16068.215 | 16276.3806 | 15262.5353 | 15009.7628 | 10730.2744 | 11006.037 | 10131.6161 | 9821.2963
Natural Gas TAS | Gas | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 618.4659 | 438.7021 | 983.1957 | 673.7634 | 298.0914 | 255.03 | 497.5684 | 151.6027 | 371.3672 | 556.8922 | 192.535 | 230.2376 | 332.5805 | 1692.5033 | 1375.3498
New Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 991.2049 | 1080.5871 | 2159.7277 | 1780.0038 | 814.6899 | 992.2365 | 3612.0802 | 2776.0249 | 6522.4805 | 8853.5196 | 20896.6059 | 11682.5669
New Natural Gas SA | Gas | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 10638.1986 | 6666.8231 | 6635.5649 | 6854.2094 | 6951.6905 | 7030.308 | 6279.5817 | 13723.8208 | 14276.1671 | 12031.0366 | 11889.6312
New Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 327.7911 | 434.7389 | 371.974 | 798.0183 | 531.6976 | 869.3281 | 852.7131 | 360.1574 | 390.1949 | 747.0362 | 3796.9754 | 3318.4128
REZ Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Qld | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Vic | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Qld | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Vic | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 9 VIC_Firm Capacity
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Brown Coal | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas | MW | 2495 | 2495 | 2495 | 2775 | 3225 | 3225 | 3225 | 3225 | 3225 | 3225 | 3225 | 3225 | 2715 | 2715 | 2715
Wind | MW | 218.55 | 279.75 | 318 | 351.75 | 389.25 | 396 | 396 | 396 | 418.5 | 418.5 | 448.5 | 448.5 | 448.5 | 448.5 | 448.5
Solar | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2647 | 2647
Battery | MW | 120.5741 | 139.1933 | 159.664 | 181.9652 | 205.4807 | 230.6983 | 256.7562 | 283.5289 | 310.3924 | 337.5471 | 365.3066 | 393.6046 | 422.3904 | 451.1144 | 491.7479
Curtailable Load | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Capacity Interchange | MW | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878
Peak Load | MW | 9611.02 | 9519.17 | 9340.28 | 9045.48 | 9245.18 | 9219.72 | 9211.17 | 9329.81 | 9261.36 | 9323.11 | 9263.07 | 9277.7 | 9392.05 | 9332.86 | 9143.54
Peak Load + Min Capacity Reserves | MW | 10109.02 | 10017.17 | 9838.28 | 9543.48 | 9743.18 | 9717.72 | 9709.17 | 9827.81 | 9759.36 | 9821.11 | 9761.07 | 9775.7 | 9890.05 | 9830.86 | 9641.54

## 10 VRET
| Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
% of Renewable Generation in VIC | % | 33.143 | 37.2822 | 40.9662 | 42.9701 | 44.0391 | 45.467 | 48.0447 | 45.8165 | 49.9618 | 49.8674 | 48.7976 | 48.8557 | 50.5618 | 57.068 | 57.4461
Wind | GWh | 8448.8787 | 10621.0576 | 11746.686 | 12818.4569 | 14153.9331 | 14418.8028 | 14544.7227 | 14344.3541 | 15222.6349 | 15039.1007 | 15443.8121 | 15465.1537 | 15628.0284 | 15969.6068 | 16090.0489
Solar | GWh | 1801.9949 | 1812.5286 | 1810.18 | 1787.2276 | 2164.9276 | 3055.4256 | 3038.3132 | 3044.3777 | 3277.7391 | 3192.0734 | 3408.594 | 3360.325 | 3384.2473 | 3358.6507 | 3448.6505
Hydro | GWh | 3109.548 | 3087.7986 | 3093.4341 | 3120.3079 | 3132.8605 | 3173.2859 | 3184.9778 | 3121.2586 | 3152.7271 | 3186.3954 | 3278.5658 | 3207.8334 | 3138.9362 | 3879.3113 | 3906.1362
Rooftop PV | GWh | 2286.4802 | 2603.6883 | 2913.2601 | 3211.9298 | 3504.5176 | 3798.5476 | 4056.3601 | 4311.8059 | 4581.8446 | 4802.9877 | 4996.7772 | 5181.2241 | 5365.7008 | 5535.3927 | 5689.3255
Total Generation | GWh | 47210.2499 | 48615.8664 | 47755.3642 | 48726.7268 | 52126.9919 | 53766.5519 | 51669.3226 | 54176.5816 | 52509.9694 | 52580.5753 | 55592.3474 | 55703.9309 | 54422.3806 | 50366.1358 | 50715.6098

## 11 Constraint Binding Hours
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Avoid overload of Ararat - Waubra transmission line | Annual hours | 38 | 72 | 421 | 224 | 98 | 192 | 197 | 164 | 125 | 127 | 114 | 139 | 103 | 94 | 41
Avoid overload of Ballarat - Bendigo transmission line | Annual hours | 0 | 4 | 16 | 104 | 333 | 635 | 438 | 676 | 408 | 408 | 597 | 650 | 493 | 142 | 120
Avoid overload of Ballarat - Elaine transmission line | Annual hours | 0 | 11 | 4 | 5 | 10 | 9 | 6 | 5 | 3 | 7 | 14 | 13 | 14 | 6 | 5
Avoid overload of Ballarat - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Terang transmission line | Annual hours | 0 | 0 | 589 | 455 | 158 | 278 | 323 | 251 | 160 | 149 | 94 | 101 | 83 | 112 | 62
Avoid overload of Ballarat - Waubra transmission line | Annual hours | 2283 | 2108 | 2800 | 2368 | 1891 | 1901 | 2174 | 2019 | 1935 | 1954 | 1524 | 1543 | 1632 | 1990 | 1510
Avoid overload of Bendigo - Fosterville - Shepparton transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Kerang transmission line | Annual hours | 681 | 692 | 921 | 1045 | 1441 | 2185 | 2262 | 2104 | 2016 | 2248 | 2264 | 2255 | 2359 | 2730 | 2184
Avoid overload of Bulgana - Horsham transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Elaine - Moorabool transmission line | Annual hours | 0 | 111 | 557 | 441 | 248 | 340 | 365 | 297 | 183 | 204 | 181 | 199 | 176 | 199 | 108
Avoid overload of Horsham - Red Cliffs transmission line | Annual hours | 0 | 0 | 5 | 9 | 0 | 27 | 17 | 21 | 4 | 8 | 31 | 36 | 25 | 3 | 3
Avoid overload of Kerang - Wemen - Red Cliffs transmission line | Annual hours | 61 | 74 | 124 | 201 | 212 | 489 | 503 | 459 | 398 | 503 | 529 | 537 | 514 | 668 | 686
Avoid overload of Moorabool - Terang transmission line | Annual hours | 0 | 0 | 1 | 0 | 2 | 2 | 2 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0
Victoria to New South Wales export stability constraint | Annual hours | 2302 | 3343 | 3675 | 4621 | 5621 | 4562 | 3362 | 4245 | 3781 | 3615 | 5140 | 5092 | 4536 | 3131 | 2981