## 1 Storage_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Large Scale Storage VIC | Capacity Factor | % | 6.753 | 9.083 | 10.8947 | 11.5675 | 10.786 | 11.4015 | 10.1764 | 10.9099 | 11.2453 | 11.1973 | 14.1801 | 14.2949 | 13.628 | 11.7588 | 11.7196
Large Scale Storage SA | Capacity Factor | % | 6.4046 | 6.5164 | 6.4586 | 7.9586 | 8.1083 | 6.7885 | 7.0689 | 7.117 | 7.5924 | 8.3712 | 8.1543 | 8.3847 | 8.238 | 11.5457 | 12.2876
Large Scale Storage QLD | Capacity Factor | % | 11.1135 | 9.8947 | 10.5135 | 10.8866 | 10.8631 | 11.2246 | 11.2384 | 11.4616 | 12.4415 | 13.5127 | 12.6436 | 12.4946 | 12.7765 | 12.9078 | 13.1555

## 2 Generator_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Capacity Factor | % | 61.367 | 59.9489 | 55.5371 | 64.0059 | 63.2423 | 58.7298 | 62.6553 | 63.0158 | 63.5742 | 68.2665 | 67.1006 | 67.7424 | 68.8202 | 63.7788 | 69.0539
Black Coal QLD | Capacity Factor | % | 51.7524 | 52.065 | 56.6208 | 61.523 | 60.9311 | 63.04 | 59.6983 | 55.8416 | 54.9252 | 58.2764 | 64.888 | 62.7528 | 63.1188 | 65.0003 | 66.537
Brown Coal VIC | Capacity Factor | % | 74.2816 | 71.5728 | 64.6032 | 65.0894 | 69.1456 | 68.208 | 62.841 | 68.1394 | 62.0272 | 62.3732 | 66.0977 | 65.9327 | 60.6716 | 71.6684 | 71.9296
Natural Gas NSW | Capacity Factor | % | 0.10993 | 0.19454 | 1.6432 | 3.2828 | 2.6104 | 3.7278 | 4.3263 | 2.0041 | 2.1561 | 6.9239 | 6.1897 | 6.0304 | 7.6825 | 13.1462 | 9.955
Natural Gas QLD | Capacity Factor | % | 6.8319 | 6.828 | 6.0511 | 5.6691 | 5.6849 | 6.2747 | 9.0935 | 7.454 | 7.0155 | 7.2074 | 10.1606 | 11.45 | 12.5181 | 15.1267 | 13.1502
Natural Gas VIC | Capacity Factor | % | 0.16202 | 0.099781 | 0.21935 | 0.22484 | 0.080612 | 0.064527 | 0.14206 | 0.01352 | 0.040071 | 0.13574 | 0.024399 | 0.069933 | 0.158 | 0.836 | 0.6748
Natural Gas SA | Capacity Factor | % | 11.7317 | 11.6166 | 12.5829 | 13.4038 | 11.0239 | 8.294 | 7.8709 | 7.6454 | 7.7049 | 7.239 | 6.9811 | 2.8084 | 2.9714 | 2.3243 | 2.2458
Natural Gas TAS | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0.011301 | 0 | 0 | 0 | 0.022603 | 0 | 0.0048488 | 0 | 0 | 0
Liquid Fuel QLD | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Capacity Factor | % | 0 | 0 | 0 | 0.6311 | 0.31825 | 0.0048385 | 0.00021183 | 0 | 0.015488 | 0 | 0.0010139 | 0 | 0 | 0 | 0
Wind NSW | Capacity Factor | % | 32.555 | 32.5114 | 32.1766 | 32.9203 | 32.6963 | 32.0669 | 32.4792 | 32.3683 | 32.1812 | 32.1844 | 31.9708 | 32.2957 | 32.4954 | 32.012 | 32.6041
Wind QLD | Capacity Factor | % | 33.1924 | 33.1945 | 32.9196 | 33.7699 | 33.3914 | 32.7044 | 33.1487 | 32.8459 | 31.5846 | 30.4848 | 31.4213 | 32.104 | 32.0147 | 31.3029 | 32.3224
Wind VIC | Capacity Factor | % | 33.4836 | 32.9873 | 32.1423 | 31.9935 | 32.7589 | 32.4843 | 32.8237 | 32.3364 | 32.1593 | 32.0005 | 30.7341 | 30.8166 | 31.08 | 31.6371 | 31.756
Wind SA | Capacity Factor | % | 31.8832 | 31.7993 | 31.1813 | 30.5057 | 30.841 | 30.9405 | 31.0056 | 30.8555 | 30.5419 | 30.5563 | 30.392 | 30.3749 | 30.2819 | 28.0803 | 28.2248
Wind TAS | Capacity Factor | % | 36.3609 | 36.1338 | 36.313 | 36.4644 | 35.5495 | 36.0581 | 36.1498 | 36.1254 | 36.4805 | 35.0054 | 35.9598 | 36.1918 | 36.2866 | 36.251 | 36.5989
Solar NSW | Capacity Factor | % | 28.4044 | 28.3895 | 28.5404 | 28.304 | 28.4331 | 28.4533 | 28.2113 | 28.0384 | 28.1509 | 28.2671 | 28.2755 | 28.0054 | 28.0792 | 28.1479 | 27.6387
Solar QLD | Capacity Factor | % | 30.4689 | 30.4381 | 30.5234 | 30.4061 | 30.5373 | 30.5094 | 30.4012 | 29.6482 | 26.6743 | 22.9274 | 26.0399 | 27.0328 | 26.2686 | 26.6235 | 26.0981
Solar VIC | Capacity Factor | % | 29.0817 | 29.3426 | 29.3991 | 29.0476 | 27.8979 | 27.5362 | 27.4244 | 27.301 | 27.4108 | 26.9751 | 25.0431 | 24.8122 | 25.0203 | 25.0321 | 24.962
Solar SA | Capacity Factor | % | 30.5475 | 30.1327 | 30.231 | 28.657 | 27.9543 | 29.1338 | 28.818 | 28.6315 | 28.6219 | 27.653 | 27.7702 | 27.4684 | 27.453 | 22.3266 | 21.9554
REZ Solar NSW | Capacity Factor | % | 30.6171 | 30.5974 | 30.7662 | 30.6133 | 30.6158 | 30.589 | 30.4703 | 30.238 | 30.3659 | 30.4219 | 30.3858 | 30.2656 | 30.3741 | 29.9532 | 29.5856
REZ Wind NSW | Capacity Factor | % | 40.5736 | 40.7275 | 40.6946 | 41.3523 | 40.3241 | 40.0145 | 40.4661 | 40.6027 | 40.6254 | 39.6532 | 39.7028 | 40.3097 | 40.7787 | 40.4965 | 40.9484
REZ Solar QLD | Capacity Factor | % | 30.6636 | 30.6608 | 30.7959 | 30.4647 | 30.8296 | 30.7249 | 30.6035 | 30.5217 | 29.4775 | 29.3678 | 30.1511 | 29.9616 | 30.0674 | 29.8796 | 29.2935
REZ Wind QLD | Capacity Factor | % | 2027: 44.2394; 2028: 43.4283; 2029: 41.3838; 2030: 43.477; 2031: 43.6892; 2032: 43.2521; 2033: 42.946; 2034: 42.5312
REZ Solar SA | Capacity Factor | % | 30.8143 | 30.4772 | 30.6155 | 29.9648 | 28.5516 | 29.781 | 28.8445 | 28.6854 | 28.7431 | 28.5965 | 28.7187 | 28.5791 | 28.3957 | 25.871 | 25.832
REZ Wind TAS | Capacity Factor | % | 51.6813 | 51.6441 | 51.5326 | 51.727 | 50.5567 | 51.0763 | 51.3501 | 51.6441 | 51.6416 | 49.9247 | 50.9968 | 51.5014 | 51.7702 | 51.5326 | 51.9386
Hydro NSW | Capacity Factor | % | 19.6379 | 19.6826 | 20.3508 | 21.3947 | 21.2622 | 21.2305 | 21.5699 | 21.2281 | 21.7466 | 22.5387 | 21.9772 | 22.6336 | 22.8339 | 24.2589 | 24.3274
Hydro QLD | Capacity Factor | % | 38.1428 | 38.2345 | 38.6806 | 39.4722 | 39.5668 | 39.6329 | 40.8091 | 40.8393 | 41.2679 | 41.6744 | 41.7438 | 42.4115 | 42.4626 | 42.3661 | 42.3439
Hydro VIC | Capacity Factor | % | 15.3526 | 15.2788 | 15.3308 | 15.3863 | 15.4462 | 15.5321 | 15.5669 | 15.3783 | 15.5373 | 15.54 | 15.7944 | 15.5062 | 15.4099 | 15.3563 | 15.4294
Hydro TAS | Capacity Factor | % | 52.7381 | 51.0795 | 52.3117 | 52.1446 | 52.3836 | 52.0294 | 52.2063 | 52.421 | 52.6221 | 51.9772 | 52.3204 | 52.3595 | 52.1919 | 51.7442 | 52.0063
Large Scale Storage SA | Capacity Factor | % | 6.4046 | 6.5164 | 6.4586 | 7.9586 | 8.1083 | 6.7885 | 7.0689 | 7.117 | 7.5924 | 8.3712 | 8.1543 | 8.3847 | 8.238 | 11.5457 | 12.2876
Large Scale Storage QLD | Capacity Factor | % | 11.1135 | 9.8947 | 10.5135 | 10.8866 | 10.8631 | 11.2246 | 11.2384 | 11.4616 | 12.4415 | 13.5127 | 12.6436 | 12.4946 | 12.7765 | 12.9078 | 13.1555
Large Scale Storage VIC | Capacity Factor | % | 6.753 | 9.083 | 10.8947 | 11.5675 | 10.786 | 11.4015 | 10.1764 | 10.9099 | 11.2453 | 11.1973 | 14.1801 | 14.2949 | 13.628 | 11.7588 | 11.7196
Distributed Storage NSW | Capacity Factor | % | 0.38969 | 0.45506 | 0.50183 | 0.44062 | 0.073174 | 0.2658 | 0.31066 | 0.093032 | 0.072537 | 0.055445 | 0.049896 | 0.060467 | 0.080749 | 0.19684 | 0.24498
Distributed Storage QLD | Capacity Factor | % | 9.6817 | 9.735 | 9.4779 | 9.3596 | 9.5648 | 9.6505 | 9.6891 | 9.9081 | 10.8624 | 12.3657 | 11.4317 | 11.2241 | 11.3971 | 11.5321 | 11.1114
Distributed Storage SA | Capacity Factor | % | 15.6745 | 15.8303 | 15.8129 | 17.2152 | 16.4028 | 13.5864 | 13.5734 | 13.2791 | 13.6896 | 14.4309 | 13.7024 | 13.7666 | 13.8171 | 16.7346 | 15.9182
Distributed Storage TAS | Capacity Factor | % | 0.38356 | 0.45508 | 0.6276 | 0.5776 | 0.10731 | 0.45877 | 0.43362 | 0.16831 | 0.18553 | 0.15228 | 0.13631 | 0.23115 | 0.23981 | 0.74662 | 0.79844
Distributed Storage VIC | Capacity Factor | % | 13.7679 | 13.8839 | 13.7993 | 14.1683 | 16.4031 | 15.3249 | 14.4021 | 14.4728 | 14.4841 | 14.0983 | 16.7001 | 16.6985 | 15.6833 | 13.362 | 12.7874
New Natural Gas NSW | Capacity Factor | % |  |  |  | 1.4427 | 0.48931 | 0.99033 | 0.99811 | 0.46803 | 0.57759 | 1.7838 | 1.3082 | 3.3117 | 4.8837 | 11.3419 | 6.3223
New Natural Gas VIC | Capacity Factor | % |  |  |  | 1.4338 | 0.39591 | 0.259 | 0.68772 | 0.42504 | 0.73863 | 0.69195 | 0.22773 | 0.32067 | 0.79093 | 5.1242 | 4.2186
New Natural Gas SA | Capacity Factor | % |  |  |  |  | 15.4486 | 7.9514 | 7.638 | 7.7811 | 7.9763 | 8.043 | 7.3201 | 16.3659 | 17.0326 | 12.2448 | 12.2848
Pumped Hydro SA | Capacity Factor | % | [5 empty] | 17.6512 | 17.8716 | 17.4889 | 17.9528 | 18.8451 | 18.7011 | 18.8693 | 19.0763 | 19.9891 | 20.2199
Pumped Hydro NSW | Capacity Factor | % | [5 empty] | 18.6054 | 19.971 | 18.5089 | 18.9505 | 21.2681 | 20.3161 | 21.6539 | 22.3284 | 23.2771 | 23.571
Pumped Hydro QLD | Capacity Factor | % | 2029: 23.8921; 2030: 24.2252; 2031: 24.4789; 2032: 24.5058; 2033: 24.6934; 2034: 24.6614
Pumped Hydro VIC | Capacity Factor | % | 2033: 21.2377; 2034: 21.6872

## 3 Generator_GenerationCost
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation Cost | $000 | 1133375.1582 | 1132871.3183 | 1130131.3915 | 1173687.3677 | 1159533.1396 | 1169404.4132 | 1310597.6704 | 1304007.1012 | 1423077.2633 | 1331044.3988 | 1360011.8309 | 1415550.199 | 1461305.1962 | 1377812.6755 | 1513821.5414
Black Coal QLD | Black Coal | QLD | Generation Cost | $000 | 919049.7661 | 942245.9662 | 1034780.7043 | 1144170.2475 | 1145587.7448 | 1200914.0715 | 1145349.3494 | 1086242.9494 | 1116822.0746 | 1196146.2543 | 996747.6903 | 979435.4244 | 1041042.0053 | 1070964.6644 | 1105344.4839
Brown Coal VIC | Brown Coal | VIC | Generation Cost | $000 | 319825.9477 | 309951.9328 | 283817.705 | 286793.6646 | 302838.0553 | 299622.8818 | 273528.5424 | 300815.6927 | 273658.253 | 273941.1531 | 295668.223 | 297575.915 | 277921.0869 | 214136.725 | 214920.7065
Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 1788.8472 | 3241.904 | 28156.5126 | 55390.7714 | 44412.1285 | 59490.2659 | 68772.3974 | 31592.8861 | 34347.985 | 105124.4356 | 100793.9104 | 92832.9182 | 116482.2573 | 185433.8027 | 144868.4262
Natural Gas QLD | Natural Gas | QLD | Generation Cost | $000 | 206182.7024 | 206240.3343 | 176723.8649 | 144768.4512 | 130091.4694 | 125397.6585 | 155463.6293 | 129487.147 | 121649.8954 | 123687.2497 | 206679.2203 | 246215.5534 | 268826.5128 | 326273.9883 | 281674.0343
Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 6809.1715 | 4738.184 | 10439.458 | 7524.9712 | 1547.31 | 1210.5904 | 2441.2522 | 344.935 | 1167.3579 | 2706.9441 | 1037.5507 | 1157.8569 | 1684.0156 | 12397.4883 | 9058.3449
Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 436832.6498 | 432957.2984 | 441843.4535 | 401432.9234 | 171197.6511 | 135029.5216 | 123452.4461 | 116423.6893 | 123134.753 | 116278.1014 | 112886.4441 | 76215.9154 | 78513.0763 | 63865.4849 | 61882.0797
Natural Gas TAS | Natural Gas | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 21.5652 | 0 | 0 | 0 | 41.2616 | 0 | 8.6805 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation Cost | $000 | 0 | 0 | 0 | 7048.347 | 3455.7956 | 51.6799 | 1.6564 | 0 | 160.8655 | 0 | 11.4071 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | Generation Cost | $000 | 24056.5387 | 24588.7768 | 27690.654 | 34255.7375 | 32515.156 | 33059.705 | 35061.6497 | 33702.4509 | 37459.7276 | 44765.6889 | 39879.8349 | 44157.229 | 44581.5973 | 58244.1144 | 58838.7019
Hydro QLD | Hydro | QLD | Generation Cost | $000 | 6783.0639 | 7107.5446 | 8512.788 | 11163.1252 | 11042.3325 | 11611.8711 | 15156.8012 | 15252.3562 | 16336.6757 | 17689.9062 | 17960.0542 | 20236.4179 | 20095.9745 | 20003.3303 | 19663.3151
Hydro VIC | Hydro | VIC | Generation Cost | $000 | 22583.4846 | 22425.5273 | 22466.4558 | 22713.6819 | 22722.6361 | 23077.7554 | 23082.0234 | 22691.001 | 22909.4997 | 23009.9822 | 23544.1044 | 23050.5721 | 22747.9807 | 22523.8978 | 22653.3067
Hydro TAS | Hydro | TAS | Generation Cost | $000 | 62323.9046 | 62348.5947 | 62423.3592 | 62236.1348 | 62377.9041 | 62308.7792 | 62281.0055 | 62339.4356 | 62444.789 | 62301.1532 | 62346.7979 | 62310.1409 | 62338.1568 | 62227.5908 | 62488.1141
Large Scale Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 0 | 0 | 0 | 12268.8607 | 9365.5619 | 18442.4083 | 18088.1591 | 8239.4985 | 10168.3466 | 31403.3507 | 23030.595 | 58301.7684 | 88940.6786 | 206555.9953 | 115140.0669
New Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 0 | 0 | 0 | 4784.2828 | 3102.1021 | 1977.3848 | 5117.3698 | 3080.4723 | 5353.1966 | 5062.731 | 1666.2034 | 2363.9462 | 5830.6867 | 37775.1782 | 31099.6703
New Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 112684.4666 | 67499.5476 | 62822.9184 | 61945.2912 | 63499.6506 | 65224.9299 | 59362.4837 | 132719.1647 | 142763.1439 | 102633.196 | 102968.5035
Pumped Hydro SA | Hydro | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 10993.4404 | 13407.8355 | 13112.0688 | 13448.8297 | 14124.5849 | 15257.9006 | 15399.304 | 15846.8607 | 26457.8943 | 26789.363
Pumped Hydro NSW | Hydro | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 2870.3081 | 3079.2961 | 2853.4136 | 2921.6472 | 3513.9429 | 11004.7865 | 11730.8733 | 16010.3612 | 26488.978 | 26830.3422
Pumped Hydro QLD | Hydro | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6365.0819 | 21497.1102 | 21722.5556 | 21746.4499 | 21913.2001 | 21884.7625
Pumped Hydro VIC | Hydro | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9101.91 | 9294.9076

## 4 Installed Capacity
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Installed Capacity | MW | 10040 | 10040 | 10040 | 8240 | 8240 | 8240 | 8240 | 8240 | 8240 | 6920 | 6920 | 6920 | 6920 | 6920 | 6920
Black Coal QLD | Black Coal | QLD | Installed Capacity | MW | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 6499 | 6499 | 6499 | 6499 | 6499
Brown Coal VIC | Brown Coal | VIC | Installed Capacity | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006
Natural Gas QLD | Natural Gas | QLD | Installed Capacity | MW | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039
Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 1985 | 1985 | 1985
Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 2671.1 | 2671.1 | 2431.1 | 2431.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1
Natural Gas TAS | Natural Gas | TAS | Installed Capacity | MW | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163
Liquid Fuel NSW | Liquid Fuel | NSW | Installed Capacity | MW | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Liquid Fuel QLD | Liquid Fuel | QLD | Installed Capacity | MW | 457.5 | 457.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5
Liquid Fuel SA | Liquid Fuel | SA | Installed Capacity | MW | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2
Wind NSW | Wind | NSW | Installed Capacity | MW | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500
Wind QLD | Wind | QLD | Installed Capacity | MW | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676
Wind VIC | Wind | VIC | Installed Capacity | MW | 2914 | 3730 | 4240 | 4240 | 4640 | 5040 | 5040 | 5040 | 5340 | 5340 | 5740 | 5740 | 5740 | 5740 | 5740
Wind SA | Wind | SA | Installed Capacity | MW | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052
Wind TAS | Wind | TAS | Installed Capacity | MW | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420
Solar NSW | Solar | NSW | Installed Capacity | MW | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446
Solar QLD | Solar | QLD | Installed Capacity | MW | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5
Solar VIC | Solar | VIC | Installed Capacity | MW | 702 | 702 | 702 | 702 | 997 | 1407 | 1407 | 1407 | 1507 | 1507 | 1707 | 1707 | 1707 | 1707 | 1707
Solar SA | Solar | SA | Installed Capacity | MW | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320
REZ Solar NSW | Solar | NSW | Installed Capacity | MW | 1232 | 1232 | 1232 | 1232 | 1314 | 1314 | 1314 | 1314 | 1314 | 1314 | 1414 | 1414 | 1414 | 3033 | 3033
REZ Wind NSW | Wind | NSW | Installed Capacity | MW | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135
REZ Solar QLD | Solar | QLD | Installed Capacity | MW | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 1535.7 | 2270.7 | 2947.7 | 3767.7 | 4452.7 | 4452.7 | 4452.7 | 4452.7 | 4452.7
REZ Wind QLD | Wind | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 276 | 503 | 631 | 631 | 631 | 631 | 631
REZ Solar SA | Solar | SA | Installed Capacity | MW | 166 | 166 | 166 | 490 | 490 | 842 | 970 | 970 | 970 | 1096 | 1096 | 1096 | 1096 | 2056 | 2056
REZ Wind TAS | Wind | TAS | Installed Capacity | MW | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 190 | 190 | 190 | 331 | 331
Hydro NSW | Hydro | NSW | Installed Capacity | MW | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862
Hydro QLD | Hydro | QLD | Installed Capacity | MW | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4
Hydro VIC | Hydro | VIC | Installed Capacity | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219
Hydro TAS | Hydro | TAS | Installed Capacity | MW | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7
Large Scale Storage SA | Battery | SA | Installed Capacity | MW | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
Large Scale Storage QLD | Battery | QLD | Installed Capacity | MW | 3.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4
Large Scale Storage VIC | Battery | VIC | Installed Capacity | MW | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
Distributed Storage NSW | Battery | NSW | Installed Capacity | MW | 25.1568 | 56.0691 | 95.8798 | 142.8159 | 196.0542 | 253.9814 | 314.6069 | 377.6072 | 442.051 | 507.2804 | 573.3688 | 634.0407 | 687.346 | 739.0638 | 803.9992
Distributed Storage QLD | Battery | QLD | Installed Capacity | MW | 13.6923 | 30.9345 | 51.8416 | 75.3569 | 100.2728 | 126.2546 | 152.7033 | 179.8653 | 207.739 | 236.1665 | 265.0381 | 294.2611 | 323.755 | 353.0294 | 397.184
Distributed Storage SA | Battery | SA | Installed Capacity | MW | 4.6986 | 10.6141 | 18.2709 | 27.3616 | 37.6467 | 49.2016 | 61.6345 | 74.7964 | 88.5706 | 102.8717 | 117.6225 | 132.3793 | 146.6603 | 160.356 | 183.121
Distributed Storage TAS | Battery | TAS | Installed Capacity | MW | 1.1074 | 2.4017 | 3.9644 | 5.8927 | 7.4173 | 8.7301 | 9.7122 | 10.6559 | 11.4994 | 12.2389 | 12.9664 | 13.6654 | 14.3392 | 14.99 | 15.7718
Distributed Storage VIC | Battery | VIC | Installed Capacity | MW | 15.5741 | 34.1933 | 54.664 | 76.9652 | 100.4807 | 125.6983 | 151.7562 | 178.5289 | 205.3924 | 232.5471 | 260.3066 | 288.6046 | 317.3904 | 346.1144 | 386.7479
New Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 0 | 0 | 0 | 860 | 1988 | 1988 | 1988 | 1988 | 1988 | 1988 | 1988 | 1988 | 1988 | 1988 | 1988
New Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 0 | 0 | 0 | 320 | 770 | 770 | 770 | 770 | 770 | 770 | 770 | 770 | 770 | 770 | 770
New Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 750 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900
Pumped Hydro SA | Hydro | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 621 | 748 | 748 | 748 | 748 | 814 | 814 | 829 | 1322 | 1322
Pumped Hydro NSW | Hydro | NSW | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 154 | 154 | 154 | 154 | 165 | 541 | 541 | 716 | 1136 | 1136
Pumped Hydro QLD | Hydro | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 266 | 886 | 886 | 886 | 886 | 886
Pumped Hydro VIC | Hydro | VIC | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 428 | 428

## 5 Generator_SRMC
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | SRMC | $/MWh | 20.1176 | 20.8684 | 21.2403 | 23.3948 | 24.029 | 25.1858 | 25.9795 | 26.8147 | 28.7876 | 29.5429 | 30.791 | 31.7357 | 32.2089 | 32.7015 | 33.2508
Black Coal QLD | Black Coal | QLD | SRMC | $/MWh | 21.7667 | 22.3234 | 22.5691 | 22.8742 | 23.1876 | 23.6416 | 24.0684 | 24.4436 | 25.2255 | 25.9959 | 23.8432 | 24.2534 | 24.9436 | 25.5992 | 25.8737
Brown Coal VIC | Brown Coal | VIC | SRMC | $/MWh | 8.2968 | 8.3525 | 8.3525 | 8.4082 | 8.4819 | 8.4819 | 8.4819 | 8.5376 | 8.6112 | 8.6112 | 8.6669 | 8.7405 | 8.7405 | 8.4674 | 8.4674
Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh | 99.7281 | 99.7281 | 99.7281 | 96.6123 | 93.4965 | 90.4065 | 87.2564 | 87.2564 | 87.2907 | 87.2907 | 87.2907 | 91.6272 | 91.6272 | 91.6272 | 91.6272
Natural Gas QLD | Natural Gas | QLD | SRMC | $/MWh | 85.8312 | 83.2559 | 90.6957 | 68.9617 | 73.1145 | 67.6428 | 62.1571 | 64.9283 | 63.5192 | 53.4295 | 71.0886 | 70.7418 | 80.144 | 79.0123 | 68.9303
Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh | 145.6956 | 121.7153 | 136.1238 | 113.2925 | 108.2817 | 118.1456 | 104.519 | 103.0627 | 102.2083 | 104.519 | 105.3938 | 104.4234 | 105.3852 | 106.357 | 106.357
Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | 115.6488 | 113.9409 | 116.0839 | 113.1939 | 123.5368 | 120.492 | 117.5568 | 117.563 | 117.8069 | 117.8069 | 117.8069 | 118.9152 | 121.0926 | 121.0926 | 119.707
Natural Gas TAS | Natural Gas | TAS | SRMC | $/MWh
Liquid Fuel NSW | Liquid Fuel | NSW | SRMC | $/MWh | 2025: 420.6241; 2029: 401.9371; 2031: 393.9627
Liquid Fuel QLD | Liquid Fuel | QLD | SRMC | $/MWh
Liquid Fuel SA | Liquid Fuel | SA | SRMC | $/MWh | 2023: 444.6359; 2024: 438.1292; 2025: 428.3564; 2026: 424.0014; 2028: 413.6716; 2030: 406.2293
Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | SRMC | $/MWh | 2027: 0; 2028: 0; 2029: 0; 2030: 0; 2031: 0; 2032: 0; 2033: 0; 2034: 0
REZ Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | SRMC | $/MWh | 0.0093315 | 0.009435 | 0.0097983 | 0.010385 | 0.010221 | 0.010294 | 0.010418 | 0.010341 | 0.010578 | 0.010866 | 0.010678 | 0.01085 | 0.010837 | 0.011206 | 0.011202
Hydro QLD | Hydro | QLD | SRMC | $/MWh | 0.0098374 | 0.0098429 | 0.0098527 | 0.00985 | 0.0098631 | 0.0098566 | 0.0098535 | 0.0098555 | 0.0098558 | 0.0098571 | 0.0098559 | 0.0098612 | 0.0098565 | 0.0098542 | 0.0098559
Hydro VIC | Hydro | VIC | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Hydro TAS | Hydro | TAS | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Large Scale Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh |  |  |  | 101.6118 | 98.6683 | 95.7248 | 92.8828 | 89.9393 | 89.9393 | 89.9393 | 89.9393 | 89.9393 | 93.3903 | 93.3903 | 93.3903
New Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh |  |  |  | 107.7018 | 104.8598 | 101.9163 | 99.0743 | 96.2323 | 96.2323 | 97.2473 | 97.2473 | 98.0593 | 98.0593 | 98.0593 | 98.0593
New Natural Gas SA | Natural Gas | SA | SRMC | $/MWh |  |  |  |  | 97.552 | 94.304 | 91.056 | 87.808 | 87.808 | 89.635 | 89.635 | 89.635 | 92.9845 | 92.9845 | 92.9845
Pumped Hydro SA | Hydro | SA | SRMC | $/MWh | [5 empty] | 0.011449 | 0.01145 | 0.011442 | 0.011433 | 0.011439 | 0.011442 | 0.011445 | 0.011439 | 0.01143 | 0.011441
Pumped Hydro NSW | Hydro | NSW | SRMC | $/MWh | [5 empty] | 0.011436 | 0.011429 | 0.011428 | 0.011428 | 0.011431 | 0.01143 | 0.011431 | 0.011432 | 0.011435 | 0.011438
Pumped Hydro QLD | Hydro | QLD | SRMC | $/MWh | 2029: 0.011433; 2030: 0.011433; 2031: 0.011434; 2032: 0.011434; 2033: 0.011434; 2034: 0.011434
Pumped Hydro VIC | Hydro | VIC | SRMC | $/MWh | 2033: 0.011431; 2034: 0.011431

## 6 Generator_Generation
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation | GWh | 52511.0037 | 51183.47 | 49144.2773 | 46033.5353 | 45355.717 | 42306.4974 | 45291.0234 | 45335.1938 | 45753.4474 | 41254.6494 | 40536.6148 | 40933.1151 | 41601.0676 | 38524.9115 | 41753.7293
Black Coal QLD | Black Coal | QLD | Generation | GWh | 39554.8164 | 39769.8037 | 42652.1624 | 45999.9739 | 45644.6889 | 46983.2101 | 44399.9417 | 41804.0172 | 41140.5533 | 42942.0302 | 37380.7232 | 35827.8284 | 36133.062 | 37185.3319 | 38180.8921
Brown Coal VIC | Brown Coal | VIC | Generation | GWh | 31432.8504 | 30337.008 | 27954.0576 | 28128.6085 | 29209.8621 | 28937.494 | 26331.985 | 28930.5257 | 25939.476 | 25948.6462 | 28053.377 | 27985.1917 | 26308.0086 | 20603.0945 | 20678.4163
Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 18.884 | 35.221 | 290.6662 | 597.9372 | 502.9091 | 684.3208 | 824.1584 | 381.2358 | 412.4457 | 1238.3113 | 1215.412 | 1184.5793 | 1477.7336 | 2276.3284 | 1812.3624
Natural Gas QLD | Natural Gas | QLD | Generation | GWh | 2014.2099 | 2016.3044 | 1794.8021 | 1692.8122 | 1663.6351 | 1791.22 | 2515.3842 | 2090.3409 | 1966.0346 | 2009.068 | 2793.3968 | 3315.6022 | 3654.5948 | 4475.9486 | 3849.3144
Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 51.5914 | 35.2424 | 80.3306 | 60.0516 | 12.8474 | 10.1536 | 21.1884 | 2.9768 | 10.0499 | 23.4586 | 8.7409 | 9.9958 | 14.7876 | 107.4765 | 78.7833
Natural Gas SA | Natural Gas | SA | Generation | GWh | 5453.5093 | 5403.1789 | 5503.7494 | 4816.653 | 1793.4787 | 1510.8821 | 1424.4265 | 1331.7822 | 1355.6335 | 1284.4855 | 1249.9441 | 887.5745 | 910.547 | 750.8265 | 725.5703
Natural Gas TAS | Natural Gas | TAS | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0.0495 | 0 | 0 | 0 | 0.099 | 0 | 0.021238 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation | GWh | 0 | 0 | 0 | 14.9258 | 7.4152 | 0.11337 | 0.0037112 | 0 | 0.36532 | 0 | 0.026646 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation | GWh | 4266.9116 | 4261.3847 | 4215.353 | 4310.8659 | 4286.3097 | 4203.5426 | 4257.3335 | 4243.2461 | 4219.4299 | 4225.0346 | 4194.1705 | 4236.2831 | 4259.6892 | 4195.9847 | 4274.9993
Wind QLD | Wind | QLD | Generation | GWh | 1965.575 | 1965.6988 | 1949.4327 | 1999.7754 | 1977.3603 | 1936.6756 | 1963.5087 | 1952.2752 | 1887.1023 | 1822.4047 | 1869.0023 | 1910.4314 | 1903.859 | 1859.8896 | 1925.1426
Wind VIC | Wind | VIC | Generation | GWh | 8448.8787 | 10621.0576 | 11746.686 | 11667.0335 | 13355.1522 | 14375.4709 | 14511.5467 | 14281.8382 | 15281.6152 | 15155.0669 | 15631.3397 | 15700.1908 | 15822.7665 | 16134.9976 | 16179.8249
Wind SA | Wind | SA | Generation | GWh | 5835.4977 | 5815.3054 | 5699.2827 | 5585.753 | 5662.4266 | 5671.5306 | 5685.72 | 5654.2779 | 5599.4137 | 5604.1469 | 5574.5983 | 5573.4198 | 5557.6017 | 5157.689 | 5189.4371
Wind TAS | Wind | TAS | Generation | GWh | 1337.7631 | 1329.3809 | 1335.9291 | 1341.2977 | 1307.9383 | 1326.5478 | 1329.9556 | 1329.0078 | 1342.0512 | 1287.8418 | 1322.8426 | 1331.4079 | 1334.822 | 1333.1909 | 1345.8183
Solar NSW | Solar | NSW | Generation | GWh | 1094.5214 | 1093.82 | 1099.9014 | 1090.7931 | 1095.8462 | 1096.7156 | 1087.145 | 1080.3096 | 1083.0079 | 1088.2234 | 1089.0571 | 1078.685 | 1081.407 | 1083.5771 | 1063.6384
Solar QLD | Solar | QLD | Generation | GWh | 3245.097 | 3242.2924 | 3250.8227 | 3240.0081 | 3252.5148 | 3249.4527 | 3238.4022 | 3169.9682 | 2872.1321 | 2484.3174 | 2786.876 | 2882.2688 | 2809.8067 | 2835.3095 | 2788.4624
Solar VIC | Solar | VIC | Generation | GWh | 1801.9949 | 1812.5286 | 1810.18 | 1788.5438 | 2368.3445 | 3318.2339 | 3311.8139 | 3287.6923 | 3552.9388 | 3474.9339 | 3653.8646 | 3617.3842 | 3665.167 | 3753.1264 | 3750.3445
Solar SA | Solar | SA | Generation | GWh | 855.651 | 845.0724 | 848.9139 | 805.2991 | 788.375 | 818.8305 | 809.6619 | 805.9866 | 806.5164 | 777.6894 | 780.4742 | 772.9556 | 773.0211 | 631.6401 | 623.0703
REZ Solar NSW | Solar | NSW | Generation | GWh | 3308.873 | 3309.2204 | 3326.1999 | 3315.5585 | 3533.4735 | 3529.8785 | 3521.7158 | 3495.831 | 3523.5849 | 3528.5373 | 3773.0719 | 3760.3502 | 3775.1614 | 7957.6121 | 7893.1807
REZ Wind NSW | Wind | NSW | Generation | GWh | 479.8232 | 481.6438 | 481.254 | 489.0318 | 476.8733 | 473.212 | 478.5516 | 480.1672 | 480.4355 | 468.9386 | 469.5255 | 476.7027 | 482.2486 | 478.9113 | 484.2557
REZ Solar QLD | Solar | QLD | Generation | GWh | 1797.1432 | 1797.3783 | 1803.9259 | 1785.8335 | 1806.5204 | 1800.4 | 4123.2378 | 6101.163 | 7878.3596 | 9857.6886 | 11796.2636 | 11731.9383 | 11766.396 | 11715.2991 | 11500.0828
REZ Wind QLD | Wind | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 352.6591 | 1049.9912 | 1834.4995 | 2414.5667 | 2427.1074 | 2400.8077 | 2395.2315 | 2371.6235
REZ Solar SA | Solar | SA | Generation | GWh | 445.8931 | 441.2262 | 442.6742 | 1299.995 | 1261.0299 | 2277.2212 | 2618.4454 | 2620.6815 | 2621.7202 | 2887.7492 | 2882.4767 | 2878.1149 | 2867.6553 | 4892.8815 | 4863.1133
REZ Wind TAS | Wind | TAS | Generation | GWh | 651.9291 | 651.4599 | 650.0528 | 652.5051 | 637.7429 | 644.297 | 647.7505 | 651.4599 | 651.4275 | 629.7705 | 848.7903 | 857.1901 | 861.6638 | 1494.2186 | 1505.9916
Hydro NSW | Hydro | NSW | Generation | GWh | 3171.0456 | 3199.2712 | 3378.1273 | 3757.0145 | 3661.889 | 3679.3389 | 3797.4642 | 3717.556 | 3934.722 | 4346.1719 | 4067.7579 | 4304.6683 | 4336.8496 | 5105.4645 | 5145.1971
Hydro QLD | Hydro | QLD | Generation | GWh | 758.9753 | 777.4736 | 856.7209 | 1006.5964 | 1000.6684 | 1031.4901 | 1233.4208 | 1238.8592 | 1301.1668 | 1377.507 | 1392.3894 | 1519.848 | 1514.2074 | 1508.1549 | 1489.7535
Hydro VIC | Hydro | VIC | Generation | GWh | 3109.548 | 3087.7986 | 3093.4341 | 3127.475 | 3128.7079 | 3177.6047 | 3178.1924 | 3124.352 | 3154.4374 | 3168.2729 | 3241.8169 | 3173.8618 | 3132.1976 | 3101.3434 | 3119.1618
Hydro TAS | Hydro | TAS | Generation | GWh | 8581.4556 | 8584.8552 | 8595.1496 | 8569.3704 | 8588.8908 | 8579.3729 | 8575.5487 | 8583.5941 | 8598.1003 | 8578.3229 | 8584.6078 | 8579.5604 | 8583.418 | 8568.194 | 8604.0658
Large Scale Storage SA | Battery | SA | Generation | GWh | 89.4661 | 91.2472 | 90.5749 | 107.2683 | 109.0589 | 91.5998 | 94.1658 | 93.6036 | 98.796 | 107.2009 | 105.9627 | 107.5317 | 106.1222 | 143.2825 | 151.2773
Large Scale Storage QLD | Battery | QLD | Generation | GWh | 3.1438 | 71.4137 | 75.4312 | 78.6674 | 78.0311 | 80.7765 | 80.8851 | 83.3706 | 95.899 | 106.2195 | 97.4968 | 95.9893 | 99.3517 | 100.691 | 102.6194
Large Scale Storage VIC | Battery | VIC | Generation | GWh | 60.1231 | 76.956 | 91.337 | 97.2514 | 96.8737 | 101.9697 | 90.8889 | 97.782 | 100.553 | 100.199 | 127.7198 | 128.8305 | 122.5798 | 105.2978 | 104.9262
Distributed Storage NSW | Battery | NSW | Generation | GWh | 0.85878 | 2.2351 | 4.2149 | 5.5125 | 1.2567 | 5.9137 | 8.5615 | 3.0773 | 2.8089 | 2.4639 | 2.5061 | 3.3584 | 4.862 | 12.7436 | 17.2543
Distributed Storage QLD | Battery | QLD | Generation | GWh | 11.6127 | 26.3805 | 43.0424 | 61.7852 | 84.0162 | 106.734 | 129.6093 | 156.1144 | 197.673 | 255.824 | 265.4142 | 289.326 | 323.2334 | 356.6341 | 386.6008
Distributed Storage SA | Battery | SA | Generation | GWh | 6.4516 | 14.719 | 25.3091 | 41.2628 | 54.0941 | 58.5584 | 73.2854 | 87.0069 | 106.2148 | 130.0446 | 141.1862 | 159.6439 | 177.5142 | 235.0739 | 255.3503
Distributed Storage TAS | Battery | TAS | Generation | GWh | 0.037208 | 0.095745 | 0.21795 | 0.29816 | 0.069723 | 0.35084 | 0.36892 | 0.15711 | 0.1869 | 0.16326 | 0.15482 | 0.27671 | 0.30123 | 0.9804 | 1.1031
Distributed Storage VIC | Battery | VIC | Generation | GWh | 18.7833 | 41.5869 | 66.0788 | 95.5248 | 144.3818 | 168.7451 | 191.4594 | 226.3425 | 260.6033 | 287.1983 | 380.8107 | 422.1677 | 436.0492 | 405.13 | 433.2254
New Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 0 | 0 | 0 | 108.6891 | 85.2135 | 172.4656 | 173.8191 | 81.5066 | 100.5872 | 310.6478 | 227.8229 | 576.7319 | 850.4904 | 1975.1805 | 1101.0206
New Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 0 | 0 | 0 | 40.1933 | 26.7052 | 17.4699 | 46.3878 | 28.6698 | 49.822 | 46.6733 | 15.3607 | 21.6297 | 53.3497 | 345.6356 | 284.556
New Natural Gas SA | Natural Gas | SA | Generation | GWh | 0 | 0 | 0 | 0 | 1014.9727 | 626.8898 | 602.1832 | 613.4606 | 628.8538 | 634.1117 | 577.1175 | 1290.2855 | 1342.8518 | 965.3834 | 968.5374
Pumped Hydro SA | Hydro | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 960.2165 | 1171.0351 | 1145.9571 | 1176.3548 | 1234.8193 | 1333.5051 | 1345.5042 | 1385.3254 | 2314.8764 | 2341.6104
Pumped Hydro NSW | Hydro | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 250.9937 | 269.4168 | 249.6918 | 255.6503 | 307.4091 | 962.8102 | 1026.2149 | 1400.4709 | 2316.3929 | 2345.6304
Pumped Hydro QLD | Hydro | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 556.7232 | 1880.2074 | 1899.8942 | 1901.9807 | 1916.542 | 1914.0587
Pumped Hydro VIC | Hydro | VIC | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 796.2614 | 813.1148

## 7 REZ_CapacityBuilt
REZ | Category | Property | Units | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
REZ Solar NSW | Solar | Capacity Change | MW | 0 | 0 | 0 | 82 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 1619 | 0
REZ Wind NSW | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 866 | 735 | 677 | 820 | 685 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 185 | 227 | 128 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | Capacity Change | MW | 0 | 0 | 324 | 0 | 352 | 128 | 0 | 0 | 126 | 0 | 0 | 0 | 960 | 0
REZ Wind TAS | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | 0 | 0 | 141 | 0
REZ Wind VIC | Wind | Capacity Change | MW | 816 | 510 | 0 | 400 | 400 | 0 | 0 | 300 | 0 | 400 | 0 | 0 | 0 | 0
REZ Solar VIC | Solar | Capacity Change | MW | 0 | 0 | 0 | 295 | 410 | 0 | 0 | 100 | 0 | 200 | 0 | 0 | 0 | 0

## 8 Generator_VOM
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Biomass NSW | Biomass | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Black Coal NSW | Black Coal | NSW | VO&M Cost | $000 | 57240.439 | 55793.2652 | 53619.0494 | 50303.5347 | 49513.9285 | 46170.4388 | 49442.0352 | 49506.1295 | 49962.0259 | 45104.3474 | 44318.6264 | 44752.5221 | 45483.4811 | 42159.5742 | 45650.372
Black Coal QLD | Black Coal | QLD | VO&M Cost | $000 | 79985.582 | 80858.5161 | 87445.5718 | 97052.7495 | 96461.3694 | 100043.0918 | 89822.9546 | 84938.5642 | 89624.0463 | 89402.703 | 86107.9141 | 86343.2859 | 81500.6771 | 88604.7125 | 89384.1932
Brown Coal VIC | Brown Coal | VIC | VO&M Cost | $000 | 35613.052 | 34370.2003 | 31646.4264 | 31845.5455 | 33100.5866 | 32785.8004 | 29874.7892 | 32776.2739 | 29391.2589 | 29404.2601 | 31784.4083 | 31706.9696 | 29782.2529 | 23240.4816 | 23325.3682
Hydro NSW | Hydro | NSW | VO&M Cost | $000 | 24056.5387 | 24588.7768 | 27690.654 | 34255.7375 | 32515.156 | 33059.705 | 35061.6497 | 33702.4509 | 37459.7276 | 44765.6889 | 39879.8349 | 44157.229 | 44581.5973 | 58244.1144 | 58838.7019
Hydro QLD | Hydro | QLD | VO&M Cost | $000 | 6783.0639 | 7107.5446 | 8512.788 | 11163.1252 | 11042.3325 | 11611.8711 | 15156.8012 | 15252.3562 | 16336.6757 | 17689.9062 | 17960.0542 | 20236.4179 | 20095.9745 | 20003.3303 | 19663.3151
Hydro TAS | Hydro | TAS | VO&M Cost | $000 | 62323.9046 | 62348.5947 | 62423.3592 | 62236.1348 | 62377.9041 | 62308.7792 | 62281.0055 | 62339.4356 | 62444.789 | 62301.1532 | 62346.7979 | 62310.1409 | 62338.1568 | 62227.5908 | 62488.1141
Hydro VIC | Hydro | VIC | VO&M Cost | $000 | 22583.4846 | 22425.5273 | 22466.4558 | 22713.6819 | 22722.6361 | 23077.7554 | 23082.0234 | 22691.001 | 22909.4997 | 23009.9822 | 23544.1044 | 23050.5721 | 22747.9807 | 22523.8978 | 22653.3067
Large Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar QLD | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar SA | Solar | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar VIC | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0.5345 | 0 | 0 | 0 | 1.069 | 0 | 0.22932 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | VO&M Cost | $000 | 0 | 0 | 0 | 170.8082 | 84.762 | 1.3034 | 0.042556 | 0 | 4.199 | 0 | 0.30554 | 0 | 0 | 0 | 0
Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 155.2022 | 282.9831 | 2420.4469 | 5012.6545 | 4188.7193 | 5732.3229 | 6861.0691 | 3159.2162 | 3446.0186 | 10516.5392 | 10071.828 | 8977.0276 | 11235.2672 | 17700.7214 | 13936.7756
Natural Gas QLD | Gas | QLD | VO&M Cost | $000 | 16856.7871 | 16881.3562 | 14241.1364 | 12493.2667 | 12273.3184 | 13230.713 | 18686.1437 | 15483.8862 | 14540.0236 | 14856.4596 | 20811.0412 | 24666.9248 | 27206.9801 | 33418.9861 | 28662.9794
Natural Gas SA | Gas | SA | VO&M Cost | $000 | 35087.9157 | 34790.5048 | 35664.1154 | 34360.3213 | 20397.7238 | 17239.3548 | 16248.3014 | 15183.3953 | 15457.2167 | 14651.5804 | 14262.9228 | 10191.3154 | 10450.8856 | 8628.1204 | 8335.738
Natural Gas TAS | Gas | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 618.4659 | 438.7021 | 983.1957 | 733.6098 | 151.8657 | 113.9673 | 230.7795 | 32.1429 | 108.8337 | 262.6669 | 100.2902 | 108.2495 | 159.6976 | 1160.7963 | 850.9303
New Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 1114.3379 | 873.6532 | 1768.2079 | 1782.0846 | 835.6489 | 1031.2725 | 3184.924 | 2335.7601 | 5912.9583 | 8719.6744 | 20250.5878 | 11288.2419
New Natural Gas SA | Gas | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 10620.5906 | 6559.7228 | 6301.1954 | 6419.2012 | 6580.2747 | 6635.293 | 6038.9098 | 13501.441 | 14051.4905 | 10101.6925 | 10134.6952
New Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 412.0829 | 273.7954 | 179.1109 | 475.592 | 293.9382 | 510.8012 | 478.519 | 157.4861 | 221.7586 | 546.9687 | 3543.6377 | 2917.4175
REZ Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Qld | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Vic | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Qld | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Vic | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 9 VIC_Firm Capacity
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Brown Coal | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas | MW | 2495 | 2495 | 2495 | 2815 | 3265 | 3265 | 3265 | 3265 | 3265 | 3265 | 3265 | 3265 | 2755 | 2755 | 2755
Wind | MW | 218.55 | 279.75 | 318 | 318 | 348 | 378 | 378 | 378 | 400.5 | 400.5 | 430.5 | 430.5 | 430.5 | 430.5 | 430.5
Solar | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2647 | 2647
Battery | MW | 120.5741 | 139.1933 | 159.664 | 181.9652 | 205.4807 | 230.6983 | 256.7562 | 283.5289 | 310.3924 | 337.5471 | 365.3066 | 393.6046 | 422.3904 | 451.1144 | 491.7479
Curtailable Load | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Capacity Interchange | MW | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878
Peak Load | MW | 9611.02 | 9519.17 | 9340.28 | 9045.48 | 9245.18 | 9219.72 | 9211.17 | 9329.81 | 9261.36 | 9323.11 | 9263.07 | 9277.7 | 9392.05 | 9332.86 | 9143.54
Peak Load + Min Capacity Reserves | MW | 10109.02 | 10017.17 | 9838.28 | 9543.48 | 9743.18 | 9717.72 | 9709.17 | 9827.81 | 9759.36 | 9821.11 | 9761.07 | 9775.7 | 9890.05 | 9830.86 | 9641.54

## 10 VRET
| Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
% of Renewable Generation in VIC | % | 33.2603 | 37.4183 | 41.1152 | 41.2048 | 43.1202 | 45.7648 | 48.4306 | 46.0578 | 50.1987 | 50.184 | 49.0535 | 49.2042 | 50.9569 | 57.6192 | 57.7954
Wind | GWh | 8448.8787 | 10621.0576 | 11746.686 | 11667.0335 | 13355.1522 | 14375.4709 | 14511.5467 | 14281.8382 | 15281.6152 | 15155.0669 | 15631.3397 | 15700.1908 | 15822.7665 | 16134.9976 | 16179.8249
Solar | GWh | 1801.9949 | 1812.5286 | 1810.18 | 1788.5438 | 2368.3445 | 3318.2339 | 3311.8139 | 3287.6923 | 3552.9388 | 3474.9339 | 3653.8646 | 3617.3842 | 3665.167 | 3753.1264 | 3750.3445
Hydro | GWh | 3109.548 | 3087.7986 | 3093.4341 | 3127.475 | 3128.7079 | 3177.6047 | 3178.1924 | 3124.352 | 3154.4374 | 3168.2729 | 3241.8169 | 3173.8618 | 3132.1976 | 3897.6048 | 3932.2766
Rooftop PV | GWh | 2286.4802 | 2603.6883 | 2913.2601 | 3211.9298 | 3504.5176 | 3798.5476 | 4056.3601 | 4311.8059 | 4581.8446 | 4802.9877 | 4996.7772 | 5181.2241 | 5365.7008 | 5535.3927 | 5689.3255
Total Generation | GWh | 47210.2499 | 48615.8664 | 47755.3642 | 48216.6118 | 51847.3923 | 53905.6895 | 51739.8225 | 54291.9853 | 52931.3402 | 53007.4368 | 56109.8075 | 56240.4763 | 54920.6068 | 50887.7558 | 51131.6787

## 11 Constraint Binding Hours
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Avoid overload of Ararat - Waubra transmission line | Annual hours | 38 | 72 | 421 | 286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Bendigo transmission line | Annual hours | 0 | 4 | 16 | 117 | 401 | 695 | 469 | 713 | 732 | 636 | 916 | 961 | 809 | 344 | 391
Avoid overload of Ballarat - Elaine transmission line | Annual hours | 0 | 11 | 4 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Terang transmission line | Annual hours | 0 | 0 | 589 | 564 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Waubra transmission line | Annual hours | 2283 | 2108 | 2800 | 2551 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Fosterville - Shepparton transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Kerang transmission line | Annual hours | 681 | 692 | 921 | 1101 | 513 | 872 | 988 | 869 | 914 | 1102 | 1277 | 1298 | 1372 | 1690 | 1604
Avoid overload of Bulgana - Horsham transmission line | Annual hours | 0 | 0 | 0 | 0 | 149 | 199 | 274 | 203 | 188 | 210 | 119 | 126 | 141 | 454 | 486
Avoid overload of Elaine - Moorabool transmission line | Annual hours | 0 | 111 | 557 | 508 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Geelong - Keilor transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Geelong - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 96 | 141 | 175 | 146 | 316 | 303 | 182 | 182 | 211 | 396 | 469
Avoid overload of Horsham - Red Cliffs transmission line | Annual hours | 0 | 0 | 5 | 6 | 0 | 1 | 1 | 1 | 2 | 4 | 1 | 1 | 2 | 36 | 50
Avoid overload of Kerang - Wemen - Red Cliffs transmission line | Annual hours | 61 | 74 | 124 | 217 | 605 | 954 | 1124 | 928 | 977 | 1153 | 774 | 773 | 830 | 1400 | 1341
Avoid overload of Moorabool - Terang transmission line | Annual hours | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Victoria to New South Wales export stability constraint | Annual hours | 2302 | 3343 | 3675 | 3701 | 5241 | 4503 | 3390 | 4165 | 3582 | 3505 | 5054 | 5095 | 4442 | 3038 | 2808