## 1 Storage_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Large Scale Storage VIC | Capacity Factor | % | 7.1708 | 9.0911 | 11.0862 | 14.0157 | 11.5037 | 12.4707 | 11.5757 | 11.8901 | 12.4014 | 13.2007 | 15.9827 | 15.706 | 15.3215 | 14.5656 | 14.5364
Large Scale Storage SA | Capacity Factor | % | 6.9176 | 7.0225 | 6.7393 | 6.879 | 5.3338 | 4.5887 | 4.1253 | 4.5476 | 4.7002 | 5.0158 | 6.005 | 6.3256 | 7.0594 | 7.1063 | 7.8906
Large Scale Storage QLD | Capacity Factor | % | 11.9165 | 10.7097 | 10.6022 | 10.6716 | 10.8916 | 10.9897 | 10.9757 | 11.2521 | 11.7337 | 12.2749 | 12.1576 | 12.2565 | 12.915 | 13.3142 | 14.3217

## 2 Generator_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Capacity Factor | % | 53.554 | 52.3081 | 48.6069 | 56.4727 | 55.5202 | 52.844 | 56.5489 | 57.7431 | 57.8775 | 58.922 | 56.4398 | 55.0956 | 53.3064 | 48.2703 | 48.6199
Black Coal QLD | Capacity Factor | % | 45.8699 | 45.4669 | 47.5048 | 50.0993 | 49.0863 | 50.1452 | 47.6508 | 52.1063 | 50.2892 | 51.9001 | 58.5402 | 54.5081 | 51.2575 | 51.5022 | 49.2039
Brown Coal VIC | Capacity Factor | % | 71.7055 | 68.0728 | 59.9514 | 57.7714 | 62.2455 | 61.1552 | 57.6547 | 60.9491 | 55.2943 | 53.3102 | 55.9701 | 55.6993 | 50.7436 | 65.8856 | 65.3169
Natural Gas NSW | Capacity Factor | % | 0.022565 | 0.034789 | 0.22582 | 0.61179 | 0.70246 | 1.2402 | 0.97691 | 0.66892 | 0.72765 | 0.95504 | 1.0527 | 0.86341 | 0.53304 | 0.66518 | 0.17757
Natural Gas QLD | Capacity Factor | % | 6.8429 | 6.8301 | 5.882 | 4.9644 | 4.9661 | 5.0054 | 5.315 | 5.5454 | 5.5937 | 5.4349 | 6.3239 | 6.4492 | 5.7463 | 5.5456 | 5.0056
Natural Gas VIC | Capacity Factor | % | 0.056567 | 0.036227 | 0.050901 | 0.016069 | 0.022756 | 0.036728 | 0.043066 | 0.011219 | 0.021607 | 0.035402 | 0.018975 | 0.014423 | 0.010795 | 0.042649 | 0.006066
Natural Gas SA | Capacity Factor | % | 11.2981 | 11.1697 | 11.8422 | 8.8893 | 0.50285 | 0.30742 | 0.18816 | 0.11961 | 0.15111 | 0.1332 | 0.13049 | 0.11276 | 0.092282 | 0.13381 | 0.031593
Natural Gas TAS | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Capacity Factor | % | 32.5265 | 32.4065 | 32.1246 | 32.8608 | 32.5543 | 31.9798 | 32.4129 | 32.3373 | 32.0569 | 31.8956 | 31.4541 | 31.6348 | 31.5668 | 30.875 | 31.1219
Wind QLD | Capacity Factor | % | 33.1676 | 33.1745 | 32.8656 | 33.7326 | 33.3433 | 32.6535 | 33.1169 | 33.0492 | 32.4482 | 31.9576 | 32.0544 | 32.455 | 32.0719 | 31.5001 | 31.35
Wind VIC | Capacity Factor | % | 33.4178 | 32.7527 | 31.6441 | 30.0554 | 31.1342 | 30.3867 | 31.0854 | 30.4753 | 30.3921 | 29.5918 | 27.9406 | 28.1228 | 28.1867 | 28.6229 | 28.3254
Wind SA | Capacity Factor | % | 31.5941 | 31.4792 | 30.9298 | 30.7193 | 31.7393 | 31.2284 | 31.6163 | 31.4969 | 31.2661 | 31.7948 | 31.2098 | 31.2472 | 31.0858 | 30.4576 | 30.4707
Wind TAS | Capacity Factor | % | 36.3422 | 36.0987 | 36.2807 | 36.419 | 35.4426 | 35.9763 | 36.0834 | 36.056 | 36.4113 | 34.8038 | 35.624 | 35.8348 | 35.9163 | 35.8326 | 36.2126
Solar NSW | Capacity Factor | % | 28.3728 | 28.2158 | 28.3809 | 28.1633 | 28.1517 | 28.2768 | 28.2481 | 27.8788 | 27.7743 | 27.7025 | 27.2391 | 26.728 | 26.2341 | 25.9795 | 24.9188
Solar QLD | Capacity Factor | % | 30.4446 | 30.4269 | 30.4915 | 30.3678 | 30.4945 | 30.4576 | 30.418 | 30.2545 | 29.3765 | 28.1905 | 29.2092 | 29.1426 | 28.0319 | 27.7962 | 25.5035
Solar VIC | Capacity Factor | % | 28.9381 | 29.1182 | 29.0433 | 28.0199 | 29.0523 | 28.2848 | 28.5064 | 28.1429 | 28.2401 | 27.8165 | 25.8958 | 25.711 | 25.5248 | 25.9798 | 25.3526
Solar SA | Capacity Factor | % | 30.3864 | 29.8621 | 29.8335 | 29.3377 | 29.67 | 30.3539 | 30.5301 | 30.558 | 30.6471 | 30.6543 | 29.968 | 29.564 | 29.6667 | 29.36 | 28.7791
REZ Solar NSW | Capacity Factor | % | 30.5836 | 30.493 | 30.6618 | 30.5022 | 30.3252 | 30.4121 | 30.2539 | 29.9984 | 29.6348 | 29.3394 | 28.9668 | 28.4838 | 27.9138 | 27.4809 | 26.2955
REZ Wind NSW | Capacity Factor | % | 40.5478 | 40.6734 | 40.6029 | 41.2598 | 40.0959 | 39.9033 | 40.4132 | 40.4715 | 40.4479 | 39.1486 | 39.0517 | 39.3826 | 39.5075 | 38.9317 | 39.1246
REZ Solar QLD | Capacity Factor | % | 30.6549 | 30.6581 | 30.7868 | 30.4513 | 30.8149 | 30.7144 | 30.6097 | 30.5831 | 30.5119 | 30.1109 | 30.2638 | 30.0497 | 29.5596 | 29.4207 | 27.5544
REZ Wind QLD | Capacity Factor | % | 2027: 44.4422; 2028: 44.2716; 2029: 43.6446; 2030: 44.2267; 2031: 44.1823; 2032: 43.7244; 2033: 43.1841; 2034: 42.4601
REZ Solar SA | Capacity Factor | % | 30.4577 | 30.2543 | 30.1458 | 29.8949 | 30.563 | 30.7949 | 30.9374 | 30.8683 | 30.9635 | 30.9673 | 30.4661 | 30.356 | 30.3908 | 30.0595 | 29.7646
REZ Wind TAS | Capacity Factor | % | 51.6813 | 51.6441 | 51.5326 | 51.727 | 50.5567 | 51.0763 | 51.3501 | 51.6441 | 51.6416 | 49.9247 | 50.9968 | 51.5014 | 51.7702 | 51.5326 | 51.9386
Hydro NSW | Capacity Factor | % | 19.4623 | 19.56 | 19.9747 | 20.3515 | 20.6024 | 20.4825 | 20.5322 | 20.8456 | 21.5225 | 22.2354 | 22.8717 | 23.2896 | 23.8643 | 23.9934 | 24.1283
Hydro QLD | Capacity Factor | % | 37.9849 | 38.0714 | 38.2638 | 38.5175 | 38.8562 | 38.9263 | 39.0883 | 39.9074 | 40.5464 | 40.7105 | 41.062 | 41.7603 | 41.7791 | 41.2368 | 41.4342
Hydro VIC | Capacity Factor | % | 15.3739 | 15.3047 | 15.3142 | 15.1482 | 15.3898 | 15.3004 | 15.2915 | 15.3093 | 15.4351 | 15.3852 | 15.4025 | 15.3705 | 15.3607 | 15.3241 | 15.3098
Hydro TAS | Capacity Factor | % | 52.8415 | 50.8901 | 51.7158 | 51.3868 | 51.9299 | 51.9329 | 52.438 | 52.3716 | 52.5437 | 46.8902 | 42.7822 | 41.6096 | 40.8397 | 40.6907 | 37.2567
Large Scale Storage SA | Capacity Factor | % | 6.9176 | 7.0225 | 6.7393 | 6.879 | 5.3338 | 4.5887 | 4.1253 | 4.5476 | 4.7002 | 5.0158 | 6.005 | 6.3256 | 7.0594 | 7.1063 | 7.8906
Large Scale Storage QLD | Capacity Factor | % | 11.9165 | 10.7097 | 10.6022 | 10.6716 | 10.8916 | 10.9897 | 10.9757 | 11.2521 | 11.7337 | 12.2749 | 12.1576 | 12.2565 | 12.915 | 13.3142 | 14.3217
Large Scale Storage VIC | Capacity Factor | % | 7.1708 | 9.0911 | 11.0862 | 14.0157 | 11.5037 | 12.4707 | 11.5757 | 11.8901 | 12.4014 | 13.2007 | 15.9827 | 15.706 | 15.3215 | 14.5656 | 14.5364
Distributed Storage NSW | Capacity Factor | % | 0.21391 | 0.38222 | 0.53371 | 0.37832 | 0.13892 | 0.49091 | 0.25045 | 0.21857 | 0.10352 | 1.9229 | 1.2088 | 1.1845 | 1.1714 | 1.0678 | 1.4185
Distributed Storage QLD | Capacity Factor | % | 10.6582 | 10.4717 | 10.1475 | 9.8272 | 10.0023 | 9.5777 | 9.3443 | 9.5236 | 9.9633 | 10.6181 | 10.3001 | 10.1677 | 11.164 | 11.2903 | 12.8014
Distributed Storage SA | Capacity Factor | % | 16.3556 | 16.2252 | 15.4729 | 15.0071 | 14.7278 | 12.8851 | 11.5707 | 11.7185 | 11.2995 | 11.4954 | 12.1624 | 12.2019 | 12.4864 | 12.2682 | 11.9349
Distributed Storage TAS | Capacity Factor | % | 0.2226 | 0.4183 | 0.68251 | 0.61511 | 0.34096 | 0.88218 | 0.54154 | 0.44499 | 0.31749 | 2.987 | 2.4921 | 2.3097 | 2.5227 | 2.4433 | 2.9709
Distributed Storage VIC | Capacity Factor | % | 14.6949 | 14.3407 | 13.8139 | 18.3662 | 18.4045 | 18.521 | 16.7709 | 17.3553 | 17.8067 | 18.3545 | 21.3351 | 20.7107 | 20.1533 | 19.2107 | 19.224
New Natural Gas NSW | Capacity Factor | % |  |  |  | 0.46599 | 0.40779 | 1.0096 | 0.36328 | 0.41749 | 0.56038 | 0.64672 | 0.46545 | 0.58733 | 0.46428 | 0.35443 | 0.0020675
New Natural Gas VIC | Capacity Factor | % |  |  |  | 0.31798 | 0.24157 | 0.34325 | 0.41286 | 0.23661 | 0.3029 | 0.35994 | 0.21313 | 0.20364 | 0.15822 | 0.58272 | 0.083211
New Natural Gas SA | Capacity Factor | %
Pumped Hydro SA | Capacity Factor | % | [5 empty] | 16.9619 | 15.6415 | 16.5516 | 17.8553 | 20.08 | 20.5164 | 20.744 | 21.2261 | 22.0853 | 21.798
Pumped Hydro NSW | Capacity Factor | %
Pumped Hydro QLD | Capacity Factor | % | 2030: 22.8561; 2031: 23.2013; 2032: 23.4017; 2033: 23.2483; 2034: 23.462
Pumped Hydro VIC | Capacity Factor | % | 2033: 16.1724; 2034: 15.3522

## 3 Generator_GenerationCost
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation Cost | $000 | 955942.5211 | 920907.2227 | 898983.9803 | 900618.6144 | 868816.6042 | 860719.8477 | 933005.4219 | 918247.3857 | 928297.3255 | 798547.9458 | 766667.4596 | 747975.9948 | 717662.0043 | 649121.9613 | 639361.5037
Black Coal QLD | Black Coal | QLD | Generation Cost | $000 | 809889.1222 | 795262.4327 | 830838.4609 | 876182.516 | 858208.3382 | 873798.9118 | 818283.2435 | 724627.5894 | 710703.7454 | 728553.2695 | 587040.7842 | 548010.1819 | 536009.136 | 525043.6404 | 505420.4601
Brown Coal VIC | Brown Coal | VIC | Generation Cost | $000 | 309344.0245 | 295568.1211 | 264329.0761 | 255290.8075 | 276338.0763 | 271672.9029 | 253027.9528 | 272139.2078 | 246474.1718 | 237162.4274 | 254494.0991 | 255824.4752 | 237046.2315 | 196894.838 | 195205.9261
Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 371.9867 | 376.8746 | 3504.2048 | 10439.962 | 12018.4077 | 19929.3119 | 14633.6272 | 10507.2582 | 11160.0077 | 15176.7456 | 18095.9588 | 13945.5014 | 8581.9866 | 9649.3785 | 3270.7302
Natural Gas QLD | Natural Gas | QLD | Generation Cost | $000 | 193104.7521 | 192783.9385 | 158362.4989 | 115409.333 | 105884.8908 | 97208.0974 | 92602.0691 | 96552.3383 | 97556.7729 | 95020.9323 | 137400.3968 | 139723.7707 | 127253.1595 | 123797.8737 | 114762.897
Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 2375.6763 | 1262.7241 | 2162.3645 | 514.8201 | 604.1961 | 1048.4518 | 1128.7548 | 283.3559 | 536.7876 | 1353.5253 | 640.8311 | 309.5234 | 239.8713 | 886.2123 | 157.2963
Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 379846.7828 | 375858.4336 | 375714.8501 | 276731.5312 | 8400.9411 | 5922.129 | 4168.1676 | 2619.4769 | 3612.0271 | 3495.5218 | 3258.9653 | 2678.4763 | 2123.7784 | 3630.794 | 1015.3194
Natural Gas TAS | Natural Gas | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | Generation Cost | $000 | 23464.3969 | 24135.1081 | 25940.5213 | 27691.6364 | 30607.2601 | 29548.7565 | 29222.9431 | 32172.1359 | 37500.7646 | 43494.4483 | 47726.7718 | 52317.5318 | 56671.267 | 58971.507 | 60207.5279
Hydro QLD | Hydro | QLD | Generation Cost | $000 | 6335.4059 | 6659.1916 | 7375.7415 | 8067.7614 | 8915.1018 | 9383.0394 | 9848.5547 | 12327.5425 | 14125.0589 | 14865.3389 | 16065.9354 | 18230.8914 | 18063.8911 | 16597.9525 | 16903.9887
Hydro VIC | Hydro | VIC | Generation Cost | $000 | 22631.2657 | 22476.4505 | 22391.701 | 22162.2945 | 22546.9598 | 22534.474 | 22465.3909 | 22472.0407 | 22616.3233 | 22613.1606 | 22699.7272 | 22722.1082 | 22580.6993 | 22406.061 | 22353.0142
Hydro TAS | Hydro | TAS | Generation Cost | $000 | 62332.8487 | 62269.8043 | 62029.3676 | 61926.95 | 62208.1712 | 62268.0241 | 62249.1771 | 62246.2601 | 62413.2302 | 58422.8218 | 55929.9982 | 54661.6732 | 53221.011 | 52919.5227 | 47174.1699
Large Scale Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 0 | 0 | 0 | 1203.5149 | 1387.4857 | 3344.4031 | 1171.9627 | 1310.7578 | 1759.3985 | 2030.469 | 1461.3442 | 1844.0236 | 1457.6752 | 1112.8009 | 6.4912
New Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 0 | 0 | 0 | 225.951 | 167.8386 | 233.0611 | 273.8 | 153.1713 | 196.0862 | 233.2736 | 138.1252 | 131.9733 | 102.5394 | 377.6546 | 53.928
New Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pumped Hydro SA | Hydro | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 5978.1169 | 9297.448 | 9839.7601 | 10616.5841 | 11942.2629 | 12202.2756 | 12342.3485 | 12625.1422 | 13137.1249 | 12965.9751
Pumped Hydro NSW | Hydro | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pumped Hydro QLD | Hydro | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3868.3558 | 3928.3473 | 4828.0129 | 10523.9532 | 10620.8567
Pumped Hydro VIC | Hydro | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8124.7598 | 7711.7223

## 4 Installed Capacity
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Installed Capacity | MW | 10040 | 10040 | 10040 | 8240 | 8240 | 8240 | 8240 | 8240 | 8240 | 6920 | 6920 | 6920 | 6920 | 6920 | 6920
Black Coal QLD | Black Coal | QLD | Installed Capacity | MW | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 6719 | 6719 | 6719 | 5039 | 5039 | 5039 | 5039 | 5039
Brown Coal VIC | Brown Coal | VIC | Installed Capacity | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006
Natural Gas QLD | Natural Gas | QLD | Installed Capacity | MW | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039
Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 1985 | 1985 | 1985
Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 2665.1 | 2665.1 | 2425.1 | 2425.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1
Natural Gas TAS | Natural Gas | TAS | Installed Capacity | MW | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163
Liquid Fuel NSW | Liquid Fuel | NSW | Installed Capacity | MW | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Liquid Fuel QLD | Liquid Fuel | QLD | Installed Capacity | MW | 457.5 | 457.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5
Liquid Fuel SA | Liquid Fuel | SA | Installed Capacity | MW | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2
Wind NSW | Wind | NSW | Installed Capacity | MW | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500
Wind QLD | Wind | QLD | Installed Capacity | MW | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676
Wind VIC | Wind | VIC | Installed Capacity | MW | 2914 | 3730 | 4240 | 4690 | 5190 | 5280 | 5280 | 5280 | 5580 | 5580 | 5980 | 5980 | 5980 | 5980 | 5980
Wind SA | Wind | SA | Installed Capacity | MW | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052
Wind TAS | Wind | TAS | Installed Capacity | MW | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420
Solar NSW | Solar | NSW | Installed Capacity | MW | 446 | 446 | 446 | 446 | 446 | 446 | 443 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446
Solar QLD | Solar | QLD | Installed Capacity | MW | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5
Solar VIC | Solar | VIC | Installed Capacity | MW | 702 | 702 | 702 | 702 | 997 | 1407 | 1407 | 1407 | 1507 | 1507 | 1707 | 1707 | 1707 | 1707 | 1707
Solar SA | Solar | SA | Installed Capacity | MW | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320
REZ Solar NSW | Solar | NSW | Installed Capacity | MW | 1232 | 1232 | 1232 | 1232 | 1318 | 1318 | 1318 | 1318 | 1418 | 1418 | 1418 | 1418 | 1418 | 1418 | 1418
REZ Wind NSW | Wind | NSW | Installed Capacity | MW | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 696 | 696
REZ Solar QLD | Solar | QLD | Installed Capacity | MW | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 1179 | 1840 | 1840 | 1840 | 1840 | 1840 | 1840 | 1840
REZ Wind QLD | Wind | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 109 | 109 | 571 | 1123 | 1123 | 1123 | 1123 | 1123
REZ Solar SA | Solar | SA | Installed Capacity | MW | 166 | 166 | 166 | 391 | 391 | 391 | 391 | 391 | 391 | 391 | 391 | 391 | 391 | 391 | 391
REZ Wind TAS | Wind | TAS | Installed Capacity | MW | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 704 | 704 | 704 | 704 | 704 | 704
Hydro NSW | Hydro | NSW | Installed Capacity | MW | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862
Hydro QLD | Hydro | QLD | Installed Capacity | MW | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4
Hydro VIC | Hydro | VIC | Installed Capacity | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219
Hydro TAS | Hydro | TAS | Installed Capacity | MW | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7
Large Scale Storage SA | Battery | SA | Installed Capacity | MW | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
Large Scale Storage QLD | Battery | QLD | Installed Capacity | MW | 3.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4
Large Scale Storage VIC | Battery | VIC | Installed Capacity | MW | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
Distributed Storage NSW | Battery | NSW | Installed Capacity | MW | 50.31 | 112.14 | 191.76 | 285.63 | 392.11 | 507.96 | 629.21 | 755.21 | 884.1 | 1014.56 | 1146.74 | 1268.08 | 1374.69 | 1478.13 | 1602.842
Distributed Storage QLD | Battery | QLD | Installed Capacity | MW | 27.3846 | 61.869 | 103.6833 | 150.7139 | 200.5457 | 252.5092 | 305.4067 | 359.7307 | 415.478 | 472.3329 | 530.0762 | 588.5222 | 647.51 | 706.0588 | 776.6681
Distributed Storage SA | Battery | SA | Installed Capacity | MW | 9.3972 | 21.2282 | 36.5418 | 54.7233 | 75.2934 | 98.4033 | 123.269 | 149.5928 | 177.1413 | 205.7433 | 235.245 | 264.7586 | 293.3206 | 320.712 | 366.2419
Distributed Storage TAS | Battery | TAS | Installed Capacity | MW | 2.2148 | 4.8034 | 7.9288 | 11.7855 | 14.8346 | 17.4601 | 19.4244 | 21.3119 | 22.9989 | 24.4779 | 25.9328 | 27.3307 | 28.6784 | 29.9799 | 31.4826
Distributed Storage VIC | Battery | VIC | Installed Capacity | MW | 31.1482 | 68.3866 | 109.328 | 153.9304 | 200.9614 | 251.3966 | 303.5124 | 357.0578 | 410.7848 | 465.0942 | 520.6132 | 577.2093 | 634.7808 | 692.2289 | 757.7243
New Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 0 | 0 | 0 | 285 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385
New Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 0 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80
New Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pumped Hydro SA | Hydro | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 352 | 594 | 594 | 594 | 594 | 594 | 594 | 594 | 594 | 594
Pumped Hydro NSW | Hydro | NSW | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pumped Hydro QLD | Hydro | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 169 | 169 | 206 | 452 | 452
Pumped Hydro VIC | Hydro | VIC | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 502 | 502

## 5 Generator_SRMC
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | SRMC | $/MWh | 19.7947 | 19.4115 | 19.3783 | 20.4562 | 20.3911 | 20.5803 | 20.5967 | 20.4549 | 20.5488 | 20.5724 | 20.7234 | 20.7612 | 20.7052 | 20.6118 | 20.3473
Black Coal QLD | Black Coal | QLD | SRMC | $/MWh | 21.5781 | 21.3651 | 21.3632 | 21.36 | 21.3651 | 21.3315 | 21.381 | 21.2455 | 21.1619 | 21.1934 | 20.2835 | 20.2835 | 20.5604 | 20.8219 | 20.8219
Brown Coal VIC | Brown Coal | VIC | SRMC | $/MWh | 8.2968 | 8.3525 | 8.3525 | 8.4082 | 8.4819 | 8.4819 | 8.4819 | 8.5376 | 8.6112 | 8.6112 | 8.6669 | 8.7405 | 8.7405 | 8.4674 | 8.4674
Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh | 78.3474 | 81.8931 | 89.7911 | 88.2366 | 85.6671 | 83.0494 | 80.5057 | 80.5057 | 80.5399 | 80.5399 | 80.5057 | 80.5057 | 80.5057 | 80.5057 | 76.1781
Natural Gas QLD | Natural Gas | QLD | SRMC | $/MWh | 88.0776 | 88.0776 | 76.6882 | 62.8261 | 59.0668 | 55.246 | 58.5664 | 60.1652 | 60.1652 | 58.4652 | 67.0675 | 70.3042 | 70.3042 | 62.337 | 54.5542
Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh | 105.2046 | 108.936 | 104.5285 | 98.587 | 96.2236 | 93.6633 | 88.8439 | 89.5502 | 89.5502 | 88.8439 | 89.7005 | 89.7005 | 90.415 | 90.415 | 90.415
Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | 102.9472 | 83.0718 | 78.4268 | 96.9983 | 110.3737 | 95.2976 | 98.5406 | 86.8558 | 84.4571 | 81.4945 | 86.8641 | 81.4945 | 84.4571 | 81.4945 | 59.4397
Natural Gas TAS | Natural Gas | TAS | SRMC | $/MWh
Liquid Fuel NSW | Liquid Fuel | NSW | SRMC | $/MWh
Liquid Fuel QLD | Liquid Fuel | QLD | SRMC | $/MWh
Liquid Fuel SA | Liquid Fuel | SA | SRMC | $/MWh
Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | SRMC | $/MWh | 2027: 0; 2028: 0; 2029: 0; 2030: 0; 2031: 0; 2032: 0; 2033: 0; 2034: 0
REZ Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | SRMC | $/MWh | 0.009233 | 0.0093682 | 0.0095974 | 0.0098216 | 0.010218 | 0.010126 | 0.010034 | 0.010327 | 0.010621 | 0.010893 | 0.011017 | 0.011125 | 0.011173 | 0.011226 | 0.011216
Hydro QLD | Hydro | QLD | SRMC | $/MWh | 0.0098472 | 0.0098435 | 0.0098622 | 0.0098495 | 0.0098717 | 0.0098589 | 0.0098555 | 0.0098558 | 0.0098639 | 0.0098551 | 0.0098555 | 0.0098605 | 0.0098561 | 0.0098525 | 0.0098567
Hydro VIC | Hydro | VIC | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Hydro TAS | Hydro | TAS | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Large Scale Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh |  |  |  | 92.2738 | 89.7363 | 87.0973 | 84.5598 | 82.0223 | 82.0223 | 82.0223 | 82.0223 | 82.0223 | 82.0223 | 82.0223 | 82.0223
New Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh |  |  |  | 90.2438 | 88.0108 | 85.7778 | 83.5448 | 81.3118 | 81.3118 | 81.4133 | 81.4133 | 81.4133 | 81.4133 | 81.4133 | 81.4133
New Natural Gas SA | Natural Gas | SA | SRMC | $/MWh
Pumped Hydro SA | Hydro | SA | SRMC | $/MWh | [5 empty] | 0.01143 | 0.011423 | 0.011425 | 0.011427 | 0.01143 | 0.01143 | 0.011434 | 0.011431 | 0.011432 | 0.011431
Pumped Hydro NSW | Hydro | NSW | SRMC | $/MWh
Pumped Hydro QLD | Hydro | QLD | SRMC | $/MWh | 2030: 0.011432; 2031: 0.011437; 2032: 0.011433; 2033: 0.011433; 2034: 0.011433
Pumped Hydro VIC | Hydro | VIC | SRMC | $/MWh | 2033: 0.011424; 2034: 0.011423

## 6 Generator_Generation
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation | GWh | 45692.9355 | 44725.0394 | 43050.0862 | 40519.7606 | 39727.7038 | 38016.3092 | 40817.7045 | 41473.1049 | 41590.518 | 35479.9237 | 33945.9344 | 33117.9707 | 32010.8335 | 28959.4678 | 29159.5381
Black Coal QLD | Black Coal | QLD | Generation | GWh | 35419.2091 | 34908.3843 | 36245.096 | 37958.0658 | 37090.1948 | 37765.4063 | 36007.4567 | 32304.0144 | 31173.6411 | 32072.2561 | 26568.2258 | 24542.3944 | 23322.1171 | 23498.5534 | 22640.7188
Brown Coal VIC | Brown Coal | VIC | Generation | GWh | 30425.6683 | 28963.3683 | 26076.5484 | 25078.3041 | 26813.1615 | 26368.3845 | 24449.1913 | 26327.6469 | 23469.0889 | 22596.2535 | 24353.4248 | 24245.8093 | 22630.1467 | 18946.8068 | 18784.602
Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 4.9875 | 4.8825 | 43.1038 | 123.6087 | 137.209 | 239.3369 | 182.891 | 132.5256 | 146.7167 | 206.8071 | 236.3199 | 172.8754 | 107.6706 | 127.961 | 45.5813
Natural Gas QLD | Natural Gas | QLD | Generation | GWh | 2015.672 | 2011.3346 | 1725.8101 | 1449.9746 | 1445.5899 | 1456.8905 | 1541.9848 | 1606.3582 | 1621.7295 | 1581.4797 | 1834.0337 | 1869.9318 | 1662.0458 | 1606.3585 | 1452.2794
Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 20.0561 | 10.3148 | 18.3842 | 4.5497 | 5.5197 | 9.8448 | 11.0263 | 2.7707 | 5.2502 | 13.1481 | 6.1839 | 3.0087 | 2.3291 | 8.6158 | 1.5234
Natural Gas SA | Natural Gas | SA | Generation | GWh | 5255.1252 | 5194.5153 | 5193.0926 | 3877.7383 | 96.7616 | 72.4588 | 53.7564 | 33.8232 | 47.601 | 46.5879 | 43.0158 | 35.1071 | 27.9154 | 48.826 | 13.9482
Natural Gas TAS | Natural Gas | TAS | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation | GWh | 4263.8195 | 4249.2062 | 4209.572 | 4304.1365 | 4270.2717 | 4194.1075 | 4248.8364 | 4241.0498 | 4204.4605 | 4193.8989 | 4137.2239 | 4163.5608 | 4153.623 | 4067.6268 | 4104.2794
Wind QLD | Wind | QLD | Generation | GWh | 1964.1524 | 1964.513 | 1946.5868 | 1997.7778 | 1975.2872 | 1934.6127 | 1961.2548 | 1958.4561 | 1929.4329 | 1905.6004 | 1906.0012 | 1930.4364 | 1909.9901 | 1875.0228 | 1870.7675
Wind VIC | Wind | VIC | Generation | GWh | 8418.3603 | 10528.0213 | 11538.9864 | 12330.2485 | 14239.396 | 14213.2081 | 14481.072 | 14156.4475 | 14859.8362 | 14389.9921 | 14513.521 | 14674.588 | 14701.5497 | 14912.0162 | 14714.7887
Wind SA | Wind | SA | Generation | GWh | 5783.5017 | 5756.6032 | 5652.5118 | 5618.8492 | 5800.9923 | 5696.7101 | 5776.8877 | 5751.8028 | 5709.2092 | 5804.8394 | 5694.4073 | 5706.8756 | 5679.5794 | 5563.4407 | 5574.0525
Wind TAS | Wind | TAS | Generation | GWh | 1336.9399 | 1327.8316 | 1334.5017 | 1339.2939 | 1303.2161 | 1322.9384 | 1327.0258 | 1325.9446 | 1338.9931 | 1278.9953 | 1308.0188 | 1315.6461 | 1318.4723 | 1314.7193 | 1328.7876
Solar NSW | Solar | NSW | Generation | GWh | 1093.2397 | 1086.5503 | 1093.159 | 1084.5889 | 1083.4356 | 1089.1133 | 1078.5163 | 1072.3524 | 1066.066 | 1062.5311 | 1045.2371 | 1022.3927 | 1001.8031 | 990.9339 | 947.5829
Solar QLD | Solar | QLD | Generation | GWh | 3242.6655 | 3241.5002 | 3248.052 | 3236.4978 | 3248.6038 | 3245.6363 | 3239.918 | 3224.485 | 3140.0776 | 3026.6133 | 3123.3395 | 3116.4867 | 3003.5456 | 2981.2432 | 2742.4489
Solar VIC | Solar | VIC | Generation | GWh | 1793.455 | 1797.396 | 1778.5248 | 1695.0857 | 2515.4501 | 3450.1631 | 3483.5201 | 3428.8633 | 3662.4688 | 3594.1019 | 3749.1192 | 3730.652 | 3700.4378 | 3803.4834 | 3716.1914
Solar SA | Solar | SA | Generation | GWh | 851.1289 | 838.1155 | 835.1654 | 819.126 | 834.1952 | 852.3276 | 856.4129 | 857.5462 | 859.5549 | 860.2271 | 841.9681 | 831.9341 | 835.0853 | 825.5783 | 811.2789
REZ Solar NSW | Solar | NSW | Generation | GWh | 3306.1307 | 3300.2477 | 3315.9621 | 3305.8821 | 3515.5696 | 3523.7168 | 3509.0252 | 3481.3095 | 3732.6445 | 3705.3725 | 3646.0904 | 3595.8387 | 3531.6086 | 3483.6756 | 3367.3802
REZ Wind NSW | Wind | NSW | Generation | GWh | 479.518 | 481.0031 | 480.1699 | 487.9387 | 474.1737 | 471.8967 | 477.9265 | 478.6157 | 478.3365 | 462.9709 | 461.8252 | 465.7389 | 467.216 | 2373.6526 | 2385.4142
REZ Solar QLD | Solar | QLD | Generation | GWh | 1797.4255 | 1797.9831 | 1804.313 | 1785.883 | 1806.4788 | 1800.5328 | 1795.2382 | 3162.6281 | 4954.7638 | 4913.768 | 4909.2705 | 4870.9754 | 4813.8885 | 4800.1633 | 4498.0658
REZ Wind QLD | Wind | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 424.3524 | 422.7229 | 2184.6619 | 4352.9568 | 4345.3606 | 4302.2591 | 4254.2279 | 4179.8738
REZ Solar SA | Solar | SA | Generation | GWh | 441.1476 | 438.3862 | 437.1175 | 1029.0591 | 1053.1657 | 1064.2687 | 1068.9755 | 1067.3909 | 1071.0477 | 1071.405 | 1052.7946 | 1047.3568 | 1049.3715 | 1037.6915 | 1027.2102
REZ Wind TAS | Wind | TAS | Generation | GWh | 651.9291 | 651.4599 | 650.0528 | 652.5051 | 637.7429 | 644.297 | 647.7505 | 651.4599 | 651.4275 | 3078.8781 | 3144.9913 | 3176.115 | 3192.6913 | 3178.0358 | 3203.0758
Hydro NSW | Hydro | NSW | Generation | GWh | 3134.873 | 3169.5154 | 3276.8206 | 3376.7722 | 3534.1742 | 3472.0712 | 3456.022 | 3618.4258 | 3924.1406 | 4261.2368 | 4496.7489 | 4751.7192 | 5001.7632 | 5125.1264 | 5193.439
Hydro QLD | Hydro | QLD | Generation | GWh | 733.3337 | 751.7768 | 791.4388 | 831.5417 | 879.7879 | 905.2184 | 932.4519 | 1073.1947 | 1175.2453 | 1216.8525 | 1284.2923 | 1406.2063 | 1398.655 | 1314.767 | 1333.239
Hydro VIC | Hydro | VIC | Generation | GWh | 3116.127 | 3094.8103 | 3083.141 | 3051.5538 | 3104.5188 | 3102.7996 | 3093.2875 | 3094.2031 | 3114.0695 | 3113.6341 | 3125.5535 | 3128.6352 | 3109.1644 | 3085.1183 | 3077.8142
Hydro TAS | Hydro | TAS | Generation | GWh | 8582.6871 | 8574.0064 | 8540.9004 | 8526.7984 | 8565.5201 | 8573.7613 | 8571.1663 | 8570.7646 | 8593.7549 | 8044.3107 | 7701.0707 | 7526.4334 | 7328.0669 | 7286.5546 | 6495.4699
Large Scale Storage SA | Battery | SA | Generation | GWh | 94.6286 | 95.5423 | 91.8829 | 94.0532 | 75.0974 | 66.3804 | 60.8867 | 64.8454 | 66.2756 | 69.5212 | 80.0862 | 83.4478 | 92.109 | 91.9763 | 100.1001
Large Scale Storage QLD | Battery | QLD | Generation | GWh | 3.3714 | 77.4693 | 76.1375 | 76.6718 | 77.9734 | 78.6928 | 79.065 | 81.4294 | 86.4151 | 93.1296 | 91.3023 | 92.1433 | 99.2086 | 103.9265 | 114.7489
Large Scale Storage VIC | Battery | VIC | Generation | GWh | 63.7849 | 77.2795 | 93.7385 | 122.5817 | 102.0689 | 110.8646 | 102.1566 | 105.5947 | 110.2972 | 118.1539 | 144.2987 | 141.5584 | 137.7729 | 130.9667 | 130.8453
Distributed Storage NSW | Battery | NSW | Generation | GWh | 0.94274 | 3.7547 | 8.9653 | 9.4661 | 4.7716 | 21.844 | 13.8043 | 14.4596 | 8.0174 | 170.8988 | 121.4339 | 131.5816 | 141.0588 | 138.2688 | 199.1663
Distributed Storage QLD | Battery | QLD | Generation | GWh | 25.5679 | 56.7537 | 92.166 | 129.7443 | 175.7179 | 211.8566 | 249.9943 | 300.1128 | 362.6247 | 439.3402 | 478.284 | 524.1931 | 633.2446 | 698.3163 | 870.9549
Distributed Storage SA | Battery | SA | Generation | GWh | 13.4639 | 30.1722 | 49.5295 | 71.9404 | 97.1404 | 111.0709 | 124.9448 | 153.5635 | 175.3408 | 207.1828 | 250.6359 | 282.9969 | 320.8373 | 344.668 | 382.9034
Distributed Storage TAS | Battery | TAS | Generation | GWh | 0.043188 | 0.17601 | 0.47405 | 0.63504 | 0.44308 | 1.3493 | 0.92147 | 0.83077 | 0.63966 | 6.4049 | 5.6614 | 5.5298 | 6.3376 | 6.4167 | 8.1933
Distributed Storage VIC | Battery | VIC | Generation | GWh | 40.0962 | 85.9106 | 132.2978 | 247.6553 | 323.9968 | 407.8753 | 445.9003 | 542.8426 | 640.7713 | 747.8045 | 973.0003 | 1047.2068 | 1120.6579 | 1164.9218 | 1276.0247
New Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 0 | 0 | 0 | 11.634 | 13.7532 | 34.0504 | 12.2518 | 14.0801 | 18.8994 | 21.8112 | 15.6977 | 19.8084 | 15.6583 | 11.9537 | 0.069729
New Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 0 | 0 | 0 | 2.2284 | 1.6929 | 2.4055 | 2.8933 | 1.6581 | 2.1227 | 2.5225 | 1.4936 | 1.4271 | 1.1088 | 4.0837 | 0.58315
New Natural Gas SA | Natural Gas | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pumped Hydro SA | Hydro | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 523.0221 | 813.8977 | 861.2545 | 929.0899 | 1044.8512 | 1067.5587 | 1079.4014 | 1104.4851 | 1149.1934 | 1134.248
Pumped Hydro NSW | Hydro | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pumped Hydro QLD | Hydro | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 338.3714 | 343.4807 | 422.2975 | 920.521 | 928.983
Pumped Hydro VIC | Hydro | VIC | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 711.183 | 675.1149

## 7 REZ_CapacityBuilt
REZ | Category | Property | Units | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
REZ Solar NSW | Solar | Capacity Change | MW | 0 | 0 | 0 | 86 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 561 | 0
REZ Solar QLD | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 509 | 661 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 109 | 0 | 353 | 202 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | Capacity Change | MW | 0 | 0 | 225 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 560 | 0 | 0 | 0 | 0 | 0
REZ Wind VIC | Wind | Capacity Change | MW | 816 | 510 | 450 | 500 | 90 | 0 | 0 | 300 | 0 | 400 | 0 | 0 | 0 | 0
REZ Solar VIC | Solar | Capacity Change | MW | 0 | 0 | 0 | 295 | 410 | 0 | 0 | 100 | 0 | 200 | 0 | 0 | 0 | 0

## 8 Generator_VOM
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Biomass NSW | Biomass | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Black Coal NSW | Black Coal | NSW | VO&M Cost | $000 | 49814.4157 | 48760.9898 | 46973.6311 | 44280.2824 | 43369.6486 | 41487.2882 | 44556.0723 | 45287.3456 | 45415.6991 | 38785.579 | 37107.8723 | 36201.9987 | 34991.012 | 31687.8267 | 31873.4386
Black Coal QLD | Black Coal | QLD | VO&M Cost | $000 | 71318.3594 | 68996.0373 | 71624.0491 | 74908.3984 | 73360.5221 | 74570.6507 | 66944.4231 | 54823.4594 | 55477.8139 | 56181.8005 | 51139.3404 | 49561.0957 | 41172.6928 | 45950.4879 | 43539.732
Brown Coal VIC | Brown Coal | VIC | VO&M Cost | $000 | 34469.8114 | 32810.5402 | 29517.7633 | 28391.4458 | 30362.1351 | 29857.9812 | 27727.7512 | 29808.8134 | 26577.3692 | 25587.4998 | 27567.9428 | 27445.8154 | 25593.9973 | 21374.044 | 21191.2837
Hydro NSW | Hydro | NSW | VO&M Cost | $000 | 23464.3969 | 24135.1081 | 25940.5213 | 27691.6364 | 30607.2601 | 29548.7565 | 29222.9431 | 32172.1359 | 37500.7646 | 43494.4483 | 47726.7718 | 52317.5318 | 56671.267 | 58971.507 | 60207.5279
Hydro QLD | Hydro | QLD | VO&M Cost | $000 | 6335.4059 | 6659.1916 | 7375.7415 | 8067.7614 | 8915.1018 | 9383.0394 | 9848.5547 | 12327.5425 | 14125.0589 | 14865.3389 | 16065.9354 | 18230.8914 | 18063.8911 | 16597.9525 | 16903.9887
Hydro TAS | Hydro | TAS | VO&M Cost | $000 | 62332.8487 | 62269.8043 | 62029.3676 | 61926.95 | 62208.1712 | 62268.0241 | 62249.1771 | 62246.2601 | 62413.2302 | 58422.8218 | 55929.9982 | 54661.6732 | 53221.011 | 52919.5227 | 47174.1699
Hydro VIC | Hydro | VIC | VO&M Cost | $000 | 22631.2657 | 22476.4505 | 22391.701 | 22162.2945 | 22546.9598 | 22534.474 | 22465.3909 | 22472.0407 | 22616.3233 | 22613.1606 | 22699.7272 | 22722.1082 | 22580.6993 | 22406.061 | 22353.0142
Large Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar QLD | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar SA | Solar | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar VIC | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 37.1635 | 36.6246 | 331.1186 | 1014.9351 | 1201.554 | 2023.7126 | 1549.6068 | 1119.0441 | 1201.135 | 1651.6261 | 1944.3979 | 1473.0595 | 914.0604 | 1032.7869 | 359.6127
Natural Gas QLD | Gas | QLD | VO&M Cost | $000 | 16871.9949 | 16843.4925 | 13721.9818 | 10677.7917 | 10644.6112 | 10728.9002 | 11361.7099 | 11849.8033 | 11966.5697 | 11655.806 | 13560.0996 | 13855.97 | 12273.5647 | 11850.2819 | 10693.9287
Natural Gas SA | Gas | SA | VO&M Cost | $000 | 33782.8433 | 33423.9215 | 33467.5455 | 25087.2163 | 1101.8242 | 828.8415 | 616.6205 | 387.9618 | 547.2251 | 535.9747 | 494.4069 | 403.473 | 320.8745 | 562.0329 | 160.7642
Natural Gas TAS | Gas | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 244.6436 | 129.2184 | 232.7674 | 58.0789 | 68.8636 | 111.8054 | 121.6535 | 29.9177 | 56.6916 | 149.841 | 68.8519 | 33.2343 | 25.1498 | 93.0337 | 16.4492
New Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 119.278 | 141.0046 | 349.1026 | 125.6123 | 144.3566 | 193.7664 | 223.6199 | 160.941 | 203.0863 | 160.5369 | 122.5552 | 0.71489
New Natural Gas SA | Gas | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 22.8464 | 17.3566 | 24.6626 | 29.6641 | 17.0001 | 21.7632 | 25.8618 | 15.3132 | 14.6312 | 11.368 | 41.8686 | 5.9787
REZ Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Qld | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Vic | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Qld | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Vic | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 9 VIC_Firm Capacity
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Brown Coal | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas | MW | 2495 | 2495 | 2495 | 2575 | 2575 | 2575 | 2575 | 2575 | 2575 | 2575 | 2575 | 2575 | 2065 | 2065 | 2065
Wind | MW | 218.55 | 279.75 | 318 | 351.75 | 389.25 | 396 | 396 | 396 | 418.5 | 418.5 | 448.5 | 448.5 | 448.5 | 448.5 | 448.5
Solar | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2721 | 2721
Battery | MW | 136.1482 | 173.3866 | 214.328 | 258.9304 | 305.9614 | 356.3966 | 408.5124 | 462.0578 | 515.7848 | 570.0942 | 625.6132 | 682.2093 | 739.7808 | 797.2289 | 862.7243
Curtailable Load | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Capacity Interchange | MW | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878
Peak Load | MW | 8993.2859 | 8923.6992 | 8621.9724 | 8262.8657 | 8451.5772 | 8505.1453 | 8586.1721 | 8652.7299 | 8609.5263 | 8685.1516 | 8733.0712 | 8699.9998 | 8659.4423 | 8548.4421 | 8249.9372
Peak Load + Min Capacity Reserves | MW | 9491.2859 | 9421.6992 | 9119.9724 | 8760.8657 | 8949.5772 | 9003.1453 | 9084.1721 | 9150.7299 | 9107.5263 | 9183.1516 | 9231.0712 | 9197.9998 | 9157.4423 | 9046.4421 | 8747.9372

## 10 VRET
| Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
% of Renewable Generation in VIC | % | 33.8238 | 38.218 | 42.3227 | 44.3528 | 46.1643 | 47.7318 | 50.1028 | 48.0863 | 51.9731 | 52.4533 | 50.874 | 51.2234 | 52.9396 | 58.0656 | 57.9885
Wind | GWh | 8418.3603 | 10528.0213 | 11538.9864 | 12330.2485 | 14239.396 | 14213.2081 | 14481.072 | 14156.4475 | 14859.8362 | 14389.9921 | 14513.521 | 14674.588 | 14701.5497 | 14912.0162 | 14714.7887
Solar | GWh | 1793.455 | 1797.396 | 1778.5248 | 1695.0857 | 2515.4501 | 3450.1631 | 3483.5201 | 3428.8633 | 3662.4688 | 3594.1019 | 3749.1192 | 3730.652 | 3700.4378 | 3803.4834 | 3716.1914
Hydro | GWh | 3116.127 | 3094.8103 | 3083.141 | 3051.5538 | 3104.5188 | 3102.7996 | 3093.2875 | 3094.2031 | 3114.0695 | 3113.6341 | 3125.5535 | 3128.6352 | 3109.1644 | 3796.3012 | 3752.9291
Rooftop PV | GWh | 2286.4802 | 2603.6883 | 2913.2601 | 3211.9298 | 3504.5176 | 3798.5476 | 4056.3601 | 4311.8059 | 4581.8446 | 4802.9877 | 4996.7772 | 5181.2241 | 5365.7008 | 5535.3927 | 5689.3255
Total Generation | GWh | 46164.028 | 47160.7892 | 45634.8813 | 45744.137 | 50610.3223 | 51464.0931 | 50125.4074 | 51971.8329 | 50445.7495 | 49378.5984 | 51863.3723 | 52154.1095 | 50768.8683 | 48302.5884 | 48066.8131

## 11 Constraint Binding Hours
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Avoid overload of Ararat - Crowlands transmission line | Annual hours | 0 | 0 | 0 | 8 | 45 | 34 | 42 | 27 | 38 | 16 | 12 | 15 | 13 | 16 | 25
Avoid overload of Ararat - Waubra transmission line | Annual hours | 69 | 85 | 436 | 284 | 418 | 407 | 514 | 424 | 393 | 343 | 230 | 236 | 267 | 280 | 300
Avoid overload of Ballarat - Bendigo transmission line | Annual hours | 0 | 11 | 35 | 25 | 29 | 19 | 15 | 16 | 8 | 12 | 13 | 14 | 6 | 1 | 1
Avoid overload of Ballarat - Elaine transmission line | Annual hours | 0 | 6 | 3 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0
Avoid overload of Ballarat - Terang transmission line | Annual hours | 0 | 0 | 526 | 54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Waubra transmission line | Annual hours | 2271 | 2050 | 2646 | 1451 | 948 | 898 | 1021 | 898 | 859 | 743 | 534 | 565 | 609 | 618 | 653
Avoid overload of Balranald - Darlington Point transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Fosterville - Shepparton transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Kerang transmission line | Annual hours | 731 | 700 | 864 | 603 | 9 | 29 | 42 | 38 | 42 | 36 | 96 | 100 | 107 | 131 | 129
Avoid overload of Bulgana - Crowlands transmission line | Annual hours | 0 | 0 | 0 | 1 | 18 | 20 | 21 | 12 | 25 | 9 | 0 | 1 | 1 | 6 | 12
Avoid overload of Bulgana - Horsham transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Buronga - Balranald transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Elaine - Moorabool transmission line | Annual hours | 0 | 117 | 563 | 94 | 88 | 80 | 106 | 87 | 82 | 55 | 34 | 42 | 41 | 38 | 33
Avoid overload of Geelong - Keilor transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Geelong - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0
Avoid overload of Horsham - Bulgana transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Horsham - Red Cliffs transmission line | Annual hours | 0 | 0 | 9 | 49 | 170 | 164 | 172 | 162 | 135 | 114 | 58 | 63 | 67 | 52 | 63
Avoid overload of Kerang - Wemen - Red Cliffs transmission line | Annual hours | 68 | 85 | 163 | 304 | 169 | 569 | 623 | 536 | 474 | 421 | 633 | 639 | 573 | 660 | 552
Avoid overload of Moorabool - Terang transmission line | Annual hours | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Victoria to New South Wales export stability constraint | Annual hours | 3754 | 4735 | 6204 | 7656 | 7594 | 8292 | 6818 | 7868 | 7132 | 6752 | 7860 | 7388 | 6717 | 4389 | 4246