## QLD Load
Queensland (regional reference node is South Pine 275 kV)
Queensland Loads
Location | Voltage [kV] | TNI code | 2022-23 MLF | 2021-22 MLF
Abermain | 33 | QABM | 0.9992 | 1.0001
Abermain - Dual MLF (Generation) | 110 | QABR | 0.9995 | 1.001
Abermain - Dual MLF (Load) | 110 | QABR | 0.998 | 1.001
Alan Sherriff | 132 | QASF | 1.0027 | 1.0039
Algester | 33 | QALG | 1.0142 | 1.0134
Alligator Creek | 132 | QALH | 0.9885 | 0.9883
Alligator Creek | 33 | QALC | 0.9972 | 0.9961
Ashgrove West | 33 | QAGW | 1.0137 | 1.0154
Ashgrove West | 110 | QCBW | 1.0113 | 1.0135
Belmont | 110 | QBMH | 1.0108 | 1.0083
Belmont Wecker Road | 33 | QBBS | 1.0119 | 1.0097
Biloela | 66/11 | QBIL | 0.9473 | 0.9348
Blackstone | 110 | QBKS | 0.9973 | 0.9975
Blackwater | 66/11 | QBWL | 0.989 | 0.9791
Blackwater | 132 | QBWH | 0.9844 | 0.9745
Bluff | 132 | QBLF | 0.9859 | 0.9759
Bolingbroke | 132 | QBNB | 0.9775 | 0.9751
Bowen North | 66 | QBNN | 0.9807 | 0.9776
Boyne Island | 275 | QBOH | 0.9794 | 0.9696
Boyne Island | 132 | QBOL | 0.9756 | 0.9663
Braemar – Kumbarilla Park | 275 | QBRE | 0.9753 | 0.9739
Bulli Creek (Essential Energy) | 132 | QBK2 | 0.9748 | 0.9731
Bulli Creek (Waggamba) | 132 | QBLK | 0.9748 | 0.9731
Bundamba | 110 | QBDA | 0.9992 | 0.9997
Burton Downs | 132 | QBUR | 0.9851 | 0.9812
Cairns | 22 | QCRN | 0.9954 | 1.009
Cairns City | 132 | QCNS | 0.986 | 0.9995
Callemondah (Rail) | 132 | QCMD | 0.9676 | 0.958
Calliope River | 132 | QCAR | 0.9672 | 0.9558
Cardwell | 22 | QCDW | 1.0017 | 1.0052
Chinchilla | 132 | QCHA | 0.9781 | 0.9863
Clare | 66 | QCLR | 1.0003 | 1.0101
Collinsville Load | 33 | QCOL | 0.9719 | 0.9706
Columboola | 132 | QCBL | 0.9828 | 0.9849
Columboola 132 (Bellevue LNG load) | 132 | QCBB | 0.9841 | 0.9857
Coppabella (Rail) | 132 | QCOP | 0.9917 | 0.9865
Dan Gleeson | 66 | QDGL | 1.0031 | 1.0031
Duaringa | 132 | QDRG | 0.966 | 0.9567
Dysart (effective prior to 21/09/2022) | 66/22 | QDYS | 0.9939 | 0.9849
Dysart (effective from 21/09/2022) | 132 | QDYS | 0.9939 | 0.9849
Eagle Downs Mine | 132 | QEGD | 0.9898 | 0.9816
Edmonton | 22 | QEMT | 1.0039 | 1.0189
Egans Hill | 66 | QEGN | 0.9524 | 0.9453
El Arish | 22 | QELA | 1.0085 | 1.0146
Garbutt | 66 | QGAR | 1.0064 | 1.009
Gin Gin | 132 | QGNG | 0.9855 | 0.9792
Gladstone South | 66/11 | QGST | 0.9713 | 0.9602
Goodna | 33 | QGDA | 1.0031 | 1.003
Goonyella Riverside Mine | 132 | QGYR | 1.0015 | 0.9979
Grantleigh (Rail) | 132 | QGRN | 0.9574 | 0.9572
Gregory (Rail) | 132 | QGRE | 0.9677 | 0.9591
Ingham | 66 | QING | 1.0113 | 1.0664
Innisfail | 22 | QINF | 1.0053 | 1.0199
Invicta Load | 132 | QINV | 0.9501 | 0.9272
Kamerunga | 22 | QKAM | 1.0065 | 1.0208
Kemmis | 66 | QEMS | 0.9826 | 0.982
King Creek | 132 | QKCK | 0.9806 | 0.9781
Lilyvale | 66 | QLIL | 0.9716 | 0.9585
Lilyvale (Barcaldine) | 132 | QLCM | 0.9786 | 0.9515
Loganlea | 33 | QLGL | 1.012 | 1.0117
Loganlea | 110 | QLGH | 1.0087 | 1.0083
Mackay | 33 | QMKA | 0.9896 | 0.9866
Middle Ridge (Energex) | 110 | QMRX | 0.9823 | 0.9796
Middle Ridge (Ergon) | 110 | QMRG | 0.9823 | 0.9796
Mindi (Rail) | 132 | QMND | 0.9726 | 0.968
Molendinar | 110 | QMAR | 1.0086 | 1.0087
Molendinar | 33 | QMAL | 1.0084 | 1.0082
Moranbah (Mine) | 66 | QMRN | 1.0014 | 0.9949
Moranbah (Town) - Dual MLF (Generation) | 11 | QMRL | 1.0026 | 0.9877
Moranbah (Town) - Dual MLF (Load) | 11 | QMRL | 1.0026 | 0.9852
Moranbah Substation | 132 | QMRH | 0.9926 | 0.987
Moura | 66/11 | QMRA | 0.9537 | 0.9527
Mt McLaren (Rail) | 132 | QMTM | 0.9785 | 0.9773
Mudgeeraba | 33 | QMGL | 1.0083 | 1.0088
Mudgeeraba | 110 | QMGB | 1.0078 | 1.0079
Murarrie (Belmont) | 110 | QMRE | 1.0101 | 1.009
Nebo | 11 | QNEB | 0.9718 | 0.9675
Newlands | 66 | QNLD | 1.0056 | 1.0042
North Goonyella | 132 | QNGY | 1.003 | 0.9937
Norwich Park (Rail) | 132 | QNOR | 0.9856 | 0.9754
Oakey | 110 | QOKT | 0.9804 | 0.9765
Oonooie (Rail) | 132 | QOON | 0.9891 | 0.9902
Orana LNG | 275 | QORH | 0.9764 | 0.9767
Palmwoods | 132 | QPWD | 1.0095 | 1.0091
Pandoin | 132 | QPAN | 0.9539 | 0.9479
Pandoin | 66 | QPAL | 0.9639 | 0.9484
Peak Downs (Rail) | 132 | QPKD | 0.9996 | 0.9925
Pioneer Valley | 66 | QPIV | 1.0008 | 0.9953
Proserpine | 66 | QPRO | 1.0112 | 1.0061
Queensland Alumina Ltd (Gladstone South) | 132 | QQAH | 0.9754 | 0.9652
Queensland Nickel (Yabulu) | 132 | QQNH | 0.9899 | 0.9887
Raglan | 275 | QRGL | 0.9571 | 0.9492
Redbank Plains | 11 | QRPN | 1.0034 | 1.0035
Richlands | 33 | QRLD | 1.013 | 1.0127
Rockhampton | 66 | QROC | 0.9575 | 0.9506
Rocklea (Archerfield) | 110 | QRLE | 1.004 | 1.0044
Ross | 132 | QROS | 0.9906 | 0.9929
Runcorn | 33 | QRBS | 1.0151 | 1.0142
South Pine | 110 | QSPN | 1.0046 | 1.0052
Stony Creek | 132 | QSYC | 0.9859 | 0.983
Sumner | 110 | QSUM | 1.005 | 1.0052
Tangkem (Dalby) - Dual MLF (Generation) | 110 | QTKM | 0.9792 | 0.9774
Tangkem (Dalby) - Dual MLF (Load) | 110 | QTKM | 0.9827 | 0.9774
Tarong | 66 | QTRL | 0.9734 | 0.9725
Teebar Creek | 132 | QTBC | 0.9956 | 0.9918
Tennyson | 33 | QTNS | 1.0077 | 1.0083
Tennyson (Rail) | 110 | QTNN | 1.0062 | 1.0065
Townsville East | 66 | QTVE | 0.9975 | 1.0026
Townsville South | 66 | QTVS | 1.0025 | 1.0043
Townsville South (KZ) | 132 | QTZS | 1.0029 | 1.0019
Tully | 22 | QTLL | 1.0223 | 1.0521
Turkinje | 66 | QTUL | 1.0201 | 1.0291
Turkinje (Craiglie) | 132 | QTUH | 1.0235 | 1.0376
Wandoan South | 132 | QWSH | 0.9953 | 0.9982
Wandoan South (NW Surat) | 275 | QWST | 0.9946 | 0.997
Wandoo (Rail) | 132 | QWAN | 0.976 | 0.973
Wivenhoe Pump | 275 | QWIP | 0.9994 | 0.9974
Woolooga (Energex) | 132 | QWLG | 0.9942 | 0.9928
Woolooga (Ergon) | 132 | QWLN | 0.9942 | 0.9928
Woree | 132 | QWRE | 0.9938 | 1.0075
Wotonga (Rail) | 132 | QWOT | 0.9938 | 0.9864
Wycarbah | 132 | QWCB | 0.9525 | 0.948
Yarwun – Boat Creek (Ergon) | 132 | QYAE | 0.9659 | 0.9579
Yarwun – Rio Tinto | 132 | QYAR | 0.9632 | 0.9545

## QLD Gen
Queensland (regional reference node is South Pine 275 kV)
Queensland Generators
Generator | Voltage [kV] | DUID | Connection Point ID | TNI code | 2022-23 MLF | 2021-22 MLF
Baking Board Solar Farm (Chinchilla Solar Farm) | 132 | BAKING1 | QCHS1C | QCHS | 0.9664 | 0.9886
Barcaldine PS – Lilyvale | 132 | BARCALDN | QBCG | QBCG | 0.935 | 0.9064
Barcaldine Solar at Lilyvale (132) | 132 | BARCSF1 | QLLV1B | QLLV | 0.9334 | 0.9267
Barron Gorge Power Station (PS) Unit 1 | 132 | BARRON-1 | QBGH1 | QBGH | 0.9623 | 0.9832
Barron Gorge PS Unit 2 | 132 | BARRON-2 | QBGH2 | QBGH | 0.9623 | 0.9832
Bluegrass Solar Farm | 132 | BLUEGSF1 | QCBS1B | QCBS | 0.96 | 0.9549
Braemar PS Unit 1 | 275 | BRAEMAR1 | QBRA1 | QBRA | 0.963 | 0.9629
Braemar PS Unit 2 | 275 | BRAEMAR2 | QBRA2 | QBRA | 0.963 | 0.9629
Braemar PS Unit 3 | 275 | BRAEMAR3 | QBRA3 | QBRA | 0.963 | 0.9629
Braemar Stage 2 PS Unit 5 | 275 | BRAEMAR5 | QBRA5B | QBRA | 0.963 | 0.9629
Braemar Stage 2 PS Unit 6 | 275 | BRAEMAR6 | QBRA6B | QBRA | 0.963 | 0.9629
Braemar Stage 2 PS Unit 7 | 275 | BRAEMAR7 | QBRA7B | QBRA | 0.963 | 0.9629
Browns Plains Landfill Gas PS | 110 | BPLANDF1 | QLGH3B | QLGH | 1.0087 | 1.0083
Callide A PS Unit 4 | 132 | CALL_A_4 | QCAA4 | QCAA | 0.9392 | 0.9266
Callide A PS Unit 4 Load | 132 | CALLNL4 | QCAA2 | QCAA | 0.9392 | 0.9266
Callide B PS Unit 1 | 275 | CALL_B_1 | QCAB1 | QCAB | 0.9404 | 0.9251
Callide B PS Unit 2 | 275 | CALL_B_2 | QCAB2 | QCAB | 0.9404 | 0.9251
Callide C PS Unit 3 | 275 | CPP_3 | QCAC3 | QCAC | 0.9361 | 0.9274
Callide C PS Unit 4 | 275 | CPP_4 | QCAC4 | QCAC | 0.9361 | 0.9274
Callide PS Load | 132 | CALLNL1 | QCAX | QCAX | 0.9351 | 0.9257
Childers Solar Farm | 132 | CHILDSF1 | QTBS1C | QTBS | 0.9823 | 0.9797
Clare Solar Farm | 132 | CLARESF1 | QCLA1C | QCLA | 0.9177 | 0.9197
Clermont Solar Farm | 132 | CLERMSF1 | QLLV3C | QLLV | 0.9334 | 0.9267
Collinsville Solar Farm | 33 | CSPVPS1 | QCOS1C | QCOS | 0.9268 | 0.9247
Columboola – Condamine PS | 132 | CPSA | QCND1C | QCND | 0.9744 | 0.9825
Columboola Solar Farm | 132 | COLUMSF1 | QCBR1C | QCBR | 0.9812 | 0.9846
Coopers Gap Wind Farm | 275 | COOPGWF1 | QCPG1C | QCPG | 0.9685 | 0.9683
Daandine PS - Dual MLF (Generation) – (Inactive from 18/04/2022) | 110 | DAANDINE | QTKM1 | QTKM | 0.9792 | 0.9774
Daandine PS - Dual MLF (Load) – (Inactive from 18/04/2022) | 110 | DAANDINE | QTKM1 | QTKM | 0.9827 | 0.9774
Darling Downs PS | 275 | DDPS1 | QBRA8D | QBRA | 0.963 | 0.9629
Darling Downs Solar Farm | 275 | DDSF1 | QBRS1D | QBRS | 0.9796 | 0.9762
Daydream Solar Farm | 33 | DAYDSF1 | QCCK1D | QCCK | 0.9296 | 0.9268
Dulacca Wind Farm | 132 | DULAWF1 | QCBF1D | QCBF | 0.9541
Emerald Solar Farm | 66 | EMERASF1 | QLIS1E | QLIS | 0.9333 | 0.9237
Edeanvale Solar Park | 275 | EDENVSF1 | QORS1E | QORS | 0.9753
Gangarri Solar Farm | 132 | GANGARR1 | QWSS1G | QWSS | 0.9921 | 0.9959
German Creek Generator | 66 | GERMCRK | QLIL2 | QLIL | 0.9716 | 0.9585
Gladstone PS (132 kV) Unit 3 | 132 | GSTONE3 | QGLD3 | QGLL | 0.9581 | 0.947
Gladstone PS (132 kV) Unit 4 | 132 | GSTONE4 | QGLD4 | QGLL | 0.9581 | 0.947
Gladstone PS (132kV) Load | 132 | GLADNL1 | QGLL | QGLL | 0.9581 | 0.947
Gladstone PS (275 kV) Unit 1 | 275 | GSTONE1 | QGLD1 | QGLH | 0.9623 | 0.9519
Gladstone PS (275 kV) Unit 2 | 275 | GSTONE2 | QGLD2 | QGLH | 0.9623 | 0.9519
Gladstone PS (275 kV) Unit 5 | 275 | GSTONE5 | QGLD5 | QGLH | 0.9623 | 0.9519
Gladstone PS (275 kV) Unit 6 | 275 | GSTONE6 | QGLD6 | QGLH | 0.9623 | 0.9519
Grosvenor PS At Moranbah 66 No 1 | 66 | GROSV1 | QMRN2G | QMRV | 0.9923 | 0.9844
Grosvenor PS At Moranbah 66 No 2 | 66 | GROSV2 | QMRV1G | QMRV | 0.9923 | 0.9844
Hamilton Solar Farm | 33 | HAMISF1 | QSLD1H | QSLD | 0.9238 | 0.9239
Haughton Solar Farm | 275 | HAUGHT11 | QHAR1H | QHAR | 0.93 | 0.9356
Hayman Solar Farm | 33 | HAYMSF1 | QCCK2H | QCCK | 0.9296 | 0.9268
Hughenden Solar Farm | 132 | HUGSF1 | QROG2H | QROG | 0.9369 | 0.9395
Invicta Sugar Mill | 132 | INVICTA | QINV1I | QINV | 0.9501 | 0.9272
Isis CSM | 132 | ICSM | QGNG1I | QTBC | 0.9956 | 0.9918
Kaban Wind Farm | 275 | KABANWF1 | QTMW1K | QTMW | 0.9513
Kareeya PS Unit 1 | 132 | KAREEYA1 | QKAH1 | QKYH | 0.9702 | 0.9656
Kareeya PS Unit 2 | 132 | KAREEYA2 | QKAH2 | QKYH | 0.9702 | 0.9656
Kareeya PS Unit 3 | 132 | KAREEYA3 | QKAH3 | QKYH | 0.9702 | 0.9656
Kareeya PS Unit 4 | 132 | KAREEYA4 | QKAH4 | QKYH | 0.9702 | 0.9656
Kennedy Energy Park Battery (Generation) | 132 | KEPBG1 | QROW3K | QROW | 0.9808 | 0.9912
Kennedy Energy Park Battery (Load) | 132 | KEPBL1 | QROW4K | QROW | 0.9808 | 0.9912
Kennedy Energy Park Solar Farm | 132 | KEPSF1 | QROW2K | QROW | 0.9808 | 0.9912
Kennedy Energy Park Wind Farm | 132 | KEPWF1 | QROW1K | QROW | 0.9808 | 0.9912
Kidston Solar Farm | 132 | KSP1 | QROG1K | QROG | 0.9369 | 0.9395
Kogan Creek PS | 275 | KPP_1 | QBRA4K | QWDN | 0.9698 | 0.9694
Koombooloomba | 132 | KAREEYA5 | QKYH5 | QKYH | 0.9702 | 0.9656
Lilyvale Solar Farm | 33 | LILYSF1 | QBDR1L | QBDR | 0.9323 | 0.9276
Longreach Solar Farm | 132 | LRSF1 | QLLV2L | QLLV | 0.9334 | 0.9267
Mackay GT | 33 | MACKAYGT | QMKG | QMKG | 0.9871 | 0.9549
Maryorough Solar Farm (Brigalow Solar Farm) | 110 | MARYRSF1 | QMRY2M | QMRY | 0.9861 | 0.9789
Middlemount Sun Farm | 66 | MIDDLSF1 | QLIS2M | QLIS | 0.9333 | 0.9237
Millmerran PS Unit 1 | 330 | MPP_1 | QBCK1 | QMLN | 0.9762 | 0.9733
Millmerran PS Unit 2 | 330 | MPP_2 | QBCK2 | QMLN | 0.9762 | 0.9733
Moranbah Generation - Dual MLF (Generation) | 11 | MORANBAH | QMRL1M | QMRL | 1.0026 | 0.9877
Moranbah Generation - Dual MLF (Load) | 11 | MORANBAH | QMRL1M | QMRL | 1.0026 | 0.9852
Moranbah North PS | 66 | MBAHNTH | QMRN1P | QMRN | 1.0014 | 0.9949
Mount Emerald Wind farm | 275 | MEWF1 | QWKM1M | QWKM | 0.9575 | 0.9835
Moura Solar Farm | 132 | MOUSF1 | QMRR1M | QMRR | 0.9224
Mt Stuart PS Unit 1 | 132 | MSTUART1 | QMSP1 | QMSP | 0.916 | 0.9286
Mt Stuart PS Unit 2 | 132 | MSTUART2 | QMSP2 | QMSP | 0.916 | 0.9286
Mt Stuart PS Unit 3 | 132 | MSTUART3 | QMSP3M | QMSP | 0.916 | 0.9286
Oakey 1 Solar Farm | 110 | OAKEY1SF | QTKS1O | QTKS | 0.98 | 0.9711
Oakey 2 Solar Farm | 110 | OAKEY2SF | QTKS2O | QTKS | 0.98 | 0.9711
Oakey PS Unit 1 | 110 | OAKEY1 | QOKY1 | QOKY | 0.953 | 0.9536
Oakey PS Unit 2 | 110 | OAKEY2 | QOKY2 | QOKY | 0.953 | 0.9536
Oaky Creek 2 | 66 | OAKY2 | QLIL3O | QLIL | 0.9716 | 0.9585
Oaky Creek Generator | 66 | OAKYCREK | QLIL1 | QLIL | 0.9716 | 0.9585
Rocky Point Gen (Loganlea 110kV) | 110 | RPCG | QLGH2 | QLGH | 1.0087 | 1.0083
Roma PS Unit 7 – Columboola | 132 | ROMA_7 | QRMA7 | QRMA | 0.9761 | 0.9679
Roma PS Unit 8 – Columboola | 132 | ROMA_8 | QRMA8 | QRMA | 0.9761 | 0.9679
Ross River Solar Farm | 132 | RRSF1 | QROG3R | QROG | 0.9369 | 0.9395
Rugby Run Solar Farm | 132 | RUGBYR1 | QMPL1R | QMPL | 0.9224 | 0.9156
Stanwell PS Load | 132 | STANNL1 | QSTX | QSTX | 0.9527 | 0.9463
Stanwell PS Unit 1 | 275 | STAN-1 | QSTN1 | QSTN | 0.9409 | 0.9338
Stanwell PS Unit 2 | 275 | STAN-2 | QSTN2 | QSTN | 0.9409 | 0.9338
Stanwell PS Unit 3 | 275 | STAN-3 | QSTN3 | QSTN | 0.9409 | 0.9338
Stanwell PS Unit 4 | 275 | STAN-4 | QSTN4 | QSTN | 0.9409 | 0.9338
Stapylton | 110 | STAPYLTON1 | QLGH4S | QLGH | 1.0087 | 1.0083
Sun Metals Solar Farm | 132 | SMCSF1 | QTZS1S | QTZS | 1.0029 | 1.0019
Sunshine Coast Solar Farm | 132 | VALDORA1 | QPWD1S | QPWD | 1.0095 | 1.0091
Susan River Solar Farm | 132 | SRSF1 | QTBS2S | QTBS | 0.9823 | 0.9797
Swanbank E GT | 275 | SWAN_E | QSWE | QSWE | 0.9976 | 0.9971
Tarong North PS | 275 | TNPS1 | QTNT | QTNT | 0.9737 | 0.9723
Tarong PS Unit 1 | 275 | TARONG#1 | QTRN1 | QTRN | 0.9729 | 0.9719
Tarong PS Unit 2 | 275 | TARONG#2 | QTRN2 | QTRN | 0.9729 | 0.9719
Tarong PS Unit 3 | 275 | TARONG#3 | QTRN3 | QTRN | 0.9729 | 0.9719
Tarong PS Unit 4 | 275 | TARONG#4 | QTRN4 | QTRN | 0.9729 | 0.9719
Ti Tree BioReactor | 33 | TITREE | QABM1T | QABM | 0.9992 | 1.0001
Wandoan BESS (Generation) | 132 | WANDBG1 | QWSB1W | QWSB | 0.9767 | 0.9764
Wandoan BESS (Load) | 132 | WANDBL1 | QWSB2W | QWSB | 1.0007 | 1.0054
Wandoan South Solar Farm 1 | 275 | WANDSF1 | QWSR1W | QWSR | 0.9884
Warwick Solar Farm 1 | 110 | WARWSF1 | QMRY3W | QMRY | 0.9861 | 0.9789
Warwick Solar Farm 2 | 110 | WARWSF2 | QMRY4W | QMRY | 0.9861 | 0.9789
Western Downs Green Power Hub | 275 | WDGPH1 | QWDR1W | QWDR | 0.9757 | 0.9704
Whitsunday Solar Farm | 33 | WHITSF1 | QSLS1W | QSLS | 0.9218 | 0.9231
Windy Hill Wind Farm | 66 | WHILL1 | QTUL | QTUL | 1.0201 | 1.0291
Wivenhoe Generation Unit 1 | 275 | W/HOE#1 | QWIV1 | QWIV | 0.9913 | 0.9903
Wivenhoe Generation Unit 2 | 275 | W/HOE#2 | QWIV2 | QWIV | 0.9913 | 0.9903
Wivenhoe Pump 1 | 275 | PUMP1 | QWIP1 | QWIP | 0.9994 | 0.9974
Wivenhoe Pump 2 | 275 | PUMP2 | QWIP2 | QWIP | 0.9994 | 0.9974
Wivenhoe Small Hydro - Dual MLF (Generation) | 110 | WIVENSH | QABR1 | QABR | 0.9995 | 1.001
Wivenhoe Small Hydro - Dual MLF (Load) | 110 | WIVENSH | QABR1 | QABR | 0.998 | 1.001
Woolooga Solar Farm | 132 | WOOLGSF1 | QWLS1W | QWLS | 0.9832 | 0.9951
Yabulu PS | 132 | YABULU | QTYP | QTYP | 0.9572 | 0.9661
Yabulu Steam Turbine (Garbutt 66kV) | 66 | YABULU2 | QGAR1 | QYST | 0.9237 | 0.9755
Yarranlea Solar Farm | 110 | YARANSF1 | QMRY1Y | QMRY | 0.9861 | 0.9789
Yarwun PS | 132 | YARWUN_1 | QYAG1R | QYAG | 0.9627 | 0.9544

## NSW Load
New South Wales (regional reference node is Sydney West 330 kV)
New South Wales Loads
Location | Voltage [kV] | TNI code | 2022-23 MLF | 2021-22 MLF
Alexandria | 33 | NALX | 1.0039 | 1.0048
Albury | 132 | NALB | 0.9551 | 0.9591
Armidale | 66 | NAR1 | 0.9429 | 0.9474
Australian Newsprint Mill | 132 | NANM | 0.9426 | 0.9456
Balranald | 22 | NBAL | 0.8998 | 0.8921
Beaconsfield North | 132 | NBFN | 1.0036 | 1.0044
Beaconsfield South | 132 | NBFS | 1.0036 | 1.0044
Belmore Park | 132 | NBM1 | 1.0039 | 1.0045
Belmore Park 11 | 11 | NBMP | 1.0063
Beryl | 66 | NBER | 0.9813 | 0.9723
BHP (Waratah) | 132 | NWR1 | 0.9949 | 0.9921
Boambee South | 132 | NWST | 0.983 | 0.9833
Boggabri East | 132 | NBGE | 0.9611 | 0.9956
Boggabri North | 132 | NBGN | 0.963 | 0.999
Brandy Hill | 11 | NBHL | 0.9988 | 0.9963
Brandy Hill (Essential Energy) | 11 | NBHX | 0.9988 | 0.9963
Broken Hill | 22 | NBKG | 0.8685 | 0.858
Broken Hill | 220 | NBKH | 0.86 | 0.8423
Bunnerong - Dual MLF (Generation) | 132 | NBG1 | 1.0039 | 1.004
Bunnerong - Dual MLF (Load) | 132 | NBG1 | 1.0039 | 1.0045
Bunnerong | 33 | NBG3 | 1.0055 | 1.0066
Buronga | 220 | NBRG | 0.8866 | 0.7477
Burrinjuck | 132 | NBU2 | 0.9601 | 0.9698
Campbell Street | 11 | NCBS | 1.006 | 1.0057
Campbell Street | 132 | NCS1 | 1.0038 | 1.0047
Canterbury | 33 | NCTB | 1.0175 | 1.0168
Carlingford | 132 | NCAR | 1.001 | 1.001
Casino | 132 | NCSN | 0.9864 | 0.9912
Charmhaven | 11 | NCHM | 0.9967 | 0.9952
Coffs Harbour | 66 | NCH1 | 0.9747 | 0.9789
Coleambally | 132 | NCLY | 0.9268 | 0.9258
Cooma | 66 | NCMA | 0.9625 | 0.9673
Cooma (AusNet Services) | 66 | NCM2 | 0.9625 | 0.9673
Croydon (Inactive from 16/09/2022) | 11 | NCRD | 1.0131 | 1.0135
Cowra | 66 | NCW8 | 0.9746 | 0.9721
Dapto (Endeavour Energy) | 132 | NDT1 | 0.9934 | 0.9929
Dapto (Essential Energy) | 132 | NDT2 | 0.9934 | 0.9929
Darlington Point | 132 | NDNT | 0.9397 | 0.9397
Deniliquin | 66 | NDN7 | 0.9733 | 0.9704
Dorrigo | 132 | NDOR | 0.9692 | 0.9684
Drummoyne (Inactive from 16/09/2022) | 11 | NDRM | 1.0131 | 1.0136
Dunoon | 132 | NDUN | 0.9991 | 0.9883
Far North VTN |  | NEV1 | 0.9781 | 0.9755
Finley - Dual MLF (Generation) | 132 | NFN2 | 0.9815 | 0.9904
Finley - Dual MLF (Load) | 132 | NFN2 | 0.907 | 0.8465
Finley | 66 | NFNY | 0.9708 | 0.9686
Forbes | 66 | NFB2 | 1.0018 | 0.9986
Gadara | 132 | NGAD | 0.9693 | 0.9795
Glen Innes | 66 | NGLN | 0.9346 | 0.9365
Gosford | 66 | NGF3 | 1.0048 | 1.0037
Gosford | 33 | NGSF | 1.0053 | 1.0043
Grafton East 132 | 132 | NGFT | 0.9709 | 0.9832
Green Square | 11 | NGSQ | 1.0063 | 1.0073
Griffith | 33 | NGRF | 0.9473 | 0.9688
Gunnedah | 66 | NGN2 | 0.9833 | 0.9972
Haymarket | 132 | NHYM | 1.0038 | 1.0046
Heron's Creek | 132 | NHNC | 1.035 | 1.0396
Holroyd | 132 | NHLD | 1.002 | 1.0022
Holroyd (Ausgrid) | 132 | NHLX | 1.002 | 1.0022
Hurstville North | 11 | NHVN | 1.0048 | 1.0057
Homebush Bay | 11 | NHBB | 1.0161 | 1.0166
Ilford | 132 | NLFD | 0.9639 | 0.961
Ingleburn | 66 | NING | 0.9976 | 0.9987
Inverell | 66 | NNVL | 0.9461 | 0.9482
Kemps Creek | 330 | NKCK | 0.9959 | 0.9955
Kempsey | 66 | NKS2 | 1.0008 | 1.0101
Kempsey | 33 | NKS3 | 1.0107 | 1.0158
Koolkhan | 66 | NKL6 | 1.0008 | 0.9969
Kurnell | 132 | NKN1 | 1.0023 | 1.003
Kogarah | 11 | NKOG | 1.0066 | 1.0077
Lake Munmorah | 132 | NMUN | 0.989 | 0.9821
Lane Cove | 132 | NLCV | 1.013 | 1.0136
Leichhardt (Inactive from 16/09/2022) | 11 | NLDT | 1.013 | 1.0135
Liddell | 33 | NLD3 | 0.9678 | 0.9652
Lismore | 132 | NLS2 | 1.0079 | 1.008
Liverpool | 132 | NLP1 | 1.0011 | 1.0015
Macarthur | 132 | NMC1 | 0.9954 | 0.9951
Macarthur | 66 | NMC2 | 0.9972 | 0.9973
Macksville | 132 | NMCV | 0.9966 | 0.9981
Macquarie Park | 11 | NMQP | 1.0188 | 1.0183
Macquarie Park | 33 | NMQS | 1.0128 | 1.0122
Manildra | 132 | NMLD | 1.0025 | 1.0083
Marrickville | 11 | NMKV | 1.0089 | 1.0097
Marulan (Endeavour Energy) | 132 | NMR1 | 1.0118 | 1.0122
Marulan (Essential Energy) | 132 | NMR2 | 1.0118 | 1.0122
Mason Park | 132 | NMPK | 1.0135 | 1.014
Meadowbank | 11 | NMBK | 1.0167 | 1.0173
Molong | 132 | NMOL | 1.0258 | 1.0292
Moree | 66 | NMRE | 0.9761 | 0.9847
Morven | 132 | NMVN | 0.9431 | 0.9514
Mt Piper | 66 | NMP6 | 0.9744 | 0.9757
Mudgee | 132 | NMDG | 0.9797 | 0.9699
Mullumbimby | 11 | NML1 | 0.9987 | 0.9898
Mullumbimby | 132 | NMLB | 0.9899 | 0.9805
Munmorah STS 33 | 33 | NMU3 | 0.9937 | 0.9917
Munyang | 11 | NMY1 | 0.9633 | 0.9762
Munyang | 33 | NMYG | 0.9633 | 0.9762
Murrumbateman | 132 | NMBM | 0.9645 | 0.9681
Murrumburrah | 66 | NMRU | 0.9719 | 0.9723
Muswellbrook | 132 | NMRK | 0.9788 | 0.9764
Nambucca Heads | 132 | NNAM | 0.9905 | 0.9923
Narrabri | 66 | NNB2 | 0.9926 | 1.005
Newcastle | 132 | NNEW | 0.9942 | 0.9917
Newcastle (Essential Energy) | 132 | NNEX | 0.9942 | 0.9917
North of Broken Bay VTN |  | NEV2 | 0.997 | 0.9949
Orange | 66 | NRGE | 1.0427 | 1.0478
Orange North | 132 | NONO | 1.0348 | 1.0454
Ourimbah | 33 | NORB | 1.0017 | 1.001
Ourimbah | 132 | NOR1 | 1.0007 | 0.9994
Ourimbah | 66 | NOR6 | 1.0013 | 1
Panorama | 66 | NPMA | 1.0252 | 1.0291
Parkes | 66 | NPK6 | 1.0026 | 1.0007
Parkes | 132 | NPKS | 0.9865 | 0.9909
Peakhurst | 33 | NPHT | 1.0037 | 1.0045
Potts Hill 11 | 11 | NPHL | 1.0072 | 1.0081
Potts Hill 132 | 132 | NPO1 | 1.0044 | 1.0049
Pt Macquarie | 33 | NPMQ | 1.0312 | 1.0344
Pyrmont (Inactive from 16/09/2022) | 33 | NPT3 | 1.0056 | 1.0065
Pyrmont (Inactive from 16/09/2022) | 132 | NPT1 | 1.0037 | 1.0045
Queanbeyan 132 | 132 | NQBY | 0.9941 | 0.9953
Raleigh | 132 | NRAL | 0.9847 | 0.9857
Ravine | 330 | NRVN | 0.9495 | 0.9483
Regentville | 132 | NRGV | 0.9984 | 0.9983
Riverina 415V | 0.42 | NRVA | 0.9331
Rockdale (Ausgrid) | 11 | NRKD | 1.006 | 1.0069
Rookwood Road | 132 | NRWR | 1.0043 | 1.0049
Rose Bay | 11 | NRSB | 1.0069 | 1.0061
Rozelle (Inactive from 16/09/2022) | 132 | NRZH | 1.013 | 1.0135
Rozelle (Inactive from 16/09/2022) | 33 | NRZL | 1.013 | 1.0135
Snowy Adit | 132 | NSAD | 0.955 | 0.9623
Somersby | 11 | NSMB | 1.0057 | 1.0049
South of Broken Bay VTN |  | NEV3 | 1.0057 | 1.0056
St Peters | 11 | NSPT | 1.0069 | 1.0081
Strathfield South | 11 | NSFS | 1.0091 | 1.0106
Stroud | 132 | NSRD | 1.0119 | 1.0109
Sydney East | 132 | NSE2 | 1.0061 | 1.0068
Sydney North (Ausgrid) | 132 | NSN1 | 1.0042 | 1.0042
Sydney North (Endeavour Energy) | 132 | NSN2 | 1.0042 | 1.0042
Sydney South | 132 | NSYS | 1.0009 | 1.0015
Sydney West (Ausgrid) | 132 | NSW1 | 1.001 | 1.001
Sydney West (Endeavour Energy) | 132 | NSW2 | 1.001 | 1.001
Tamworth | 66 | NTA2 | 0.966 | 0.9703
Taree (Essential Energy) | 132 | NTR2 | 1.0411 | 1.0453
Tenterfield | 132 | NTTF | 0.96 | 0.9603
Terranora | 110 | NTNR | 0.9771 | 0.9947
Tomago | 330 | NTMG | 0.9953 | 0.9926
Tomago (Ausgrid) | 132 | NTME | 0.998 | 0.9952
Tomago (Essential Energy) | 132 | NTMC | 0.998 | 0.9952
Top Ryde | 11 | NTPR | 1.0157 | 1.0163
Tuggerah | 132 | NTG3 | 0.9974 | 0.9956
Tumut | 66 | NTU2 | 0.9735 | 0.9838
Tumut 66 (AusNet DNSP) | 66 | NTUX | 0.9735 | 0.9838
Upper Tumut 11kV (Essential Energy) – (effective from 09/11/2022) | 11 | NUT4 | 0.9493
Vales Pt. | 132 | NVP1 | 0.9924 | 0.9893
Vineyard | 132 | NVYD | 1.0001 | 1
Wagga | 66 | NWG2 | 0.9529 | 0.9492
Wagga North | 132 | NWGN | 0.9487 | 0.9491
Wagga North | 66 | NWG6 | 0.95 | 0.9485
Wallerawang (Endeavour Energy) | 132 | NWW6 | 0.9747 | 0.9765
Wallerawang (Essential Energy) | 132 | NWW5 | 0.9747 | 0.9765
Wallerawang 66 (Essential Energy) | 66 | NWW4 | 0.9752 | 0.9772
Wallerawang 66 | 66 | NWW7 | 0.9752 | 0.9772
Wallerawang 330 PS Load | 330 | NWWP | 0.9737 | 0.9759
Waverley | 11 | NWAV | 1.0066 | 1.0058
Wellington | 132 | NWL8 | 0.9862 | 0.9903
West Gosford | 11 | NGWF | 1.0063 | 1.0054
Williamsdale (Essential Energy) (Bogong) | 132 | NWD1 | 0.9682 | 0.9379
Wyong | 11 | NWYG | 0.9992 | 0.9979
Yanco | 33 | NYA3 | 0.9502 | 0.9473
Yass | 66 | NYS6 | 0.9643 | 0.9677
Yass | 132 | NYS1 | 0.9485 | 0.9082

## NSW Gen
New South Wales (regional reference node is Sydney West 330 kV)
New South Wales Generators
Generator | Voltage [kV] | DUID | Connection Point ID | TNI code | 2022-23 MLF | 2021-22 MLF
AGL Sita Landfill 1 (Inactive from 10/06/2022) | 132 | AGLSITA1 | NLP13K | NLP1 | 1.0011 | 1.0015
Appin Power Station | 66 | APPIN | NAPP1A | NAPP | 0.9973 | 0.9975
Avonlie Solar Farm | 132 | AVLSF1 | NNRN1A | NNRN | 0.9011
Bango 973 Wind Farm | 132 | BANGOWF1 | NBA21B | NBA2 | 0.9107 | 0.9134
Bango 999 Wind Farm | 132 | BANGOWF2 | NBB21B | NBB2 | 0.9283 | 0.9294
Bayswater PS Unit 1 | 330 | BW01 | NBAY1 | NBAY | 0.9653 | 0.9622
Bayswater PS Unit 2 | 330 | BW02 | NBAY2 | NBAY | 0.9653 | 0.9622
Bayswater PS Unit 3 | 500 | BW03 | NBAY3 | NBYW | 0.9653 | 0.962
Bayswater PS Unit 4 | 500 | BW04 | NBAY4 | NBYW | 0.9653 | 0.962
Beryl Solar Farm | 66 | BERYLSF1 | NBES1B | NBES | 0.9289 | 0.9184
Blowering | 132 | BLOWERNG | NBLW8 | NBLW | 0.9064 | 0.9444
Boco Rock Wind Farm | 132 | BOCORWF1 | NCMA3B | NBCO | 0.9355 | 0.9359
Bodangora Wind Farm | 132 | BODWF1 | NBOD1B | NBOD | 0.9595 | 0.9581
Bomen Solar Farm | 132 | BOMENSF1 | NWGS1B | NWGS | 0.9089 | 0.8875
Broadwater PS | 132 | BWTR1 | NLS21B | NLS2 | 1.0079 | 1.008
Broken Hill GT 1 | 22 | GB01 | NBKG1 | NBKG | 0.8685 | 0.858
Broken Hill Solar Farm | 22 | BROKENH1 | NBK11B | NBK1 | 0.8381 | 0.7953
Brown Mountain | 66 | BROWNMT | NCMA1 | NCMA | 0.9625 | 0.9673
Burrendong Hydro PS | 132 | BDONGHYD | NWL81B | NWL8 | 0.9862 | 0.9903
Burrinjuck PS | 132 | BURRIN | NBUK | NBUK | 0.9459 | 0.9653
Campbelltown WSLC | 66 | WESTCBT1 | NING1C | NING | 0.9976 | 0.9987
Capital Wind Farm | 330 | CAPTL_WF | NCWF1R | NCWF | 0.9558 | 0.9563
Coleambally Solar Farm | 132 | COLEASF1 | NCLS1C | NCLS | 0.877 | 0.8478
Collector Wind Farm | 330 | COLWF01 | NCLW1C | NCLW | 0.9581 | 0.9588
Colongra PS Unit 1 | 330 | CG1 | NCLG1D | NCLG | 0.9864 | 0.9851
Colongra PS Unit 2 | 330 | CG2 | NCLG2D | NCLG | 0.9864 | 0.9851
Colongra PS Unit 3 | 330 | CG3 | NCLG3D | NCLG | 0.9864 | 0.9851
Colongra PS Unit 4 | 330 | CG4 | NCLG4D | NCLG | 0.9864 | 0.9851
Condong PS | 110 | CONDONG1 | NTNR1C | NTNR | 0.9771 | 0.9947
Copeton Hydro PS | 66 | COPTNHYD | NNVL1C | NNVL | 0.9461 | 0.9482
Corowa Solar Farm | 132 | CRWASF1 | NAL11C | NAL1 | 0.9242 | 0.8813
Crookwell 2 Wind Farm | 330 | CROOKWF2 | NCKW1C | NCKW | 0.9611 | 0.9616
Crudine Ridge Wind Farm | 132 | CRURWF1 | NCDS1C | NCDS | 0.9381 | 0.9246
Cullerin Range Wind Farm | 132 | CULLRGWF | NYS11C | NYS1 | 0.9485 | 0.9082
Darlington Point Solar Farm | 132 | DARLSF1 | NDNS1D | NDNS | 0.888 | 0.8587
Darlington Point BESS (Generation) | 33 | DPNTBG1 | NRDP1D | NRDP | 0.9402
Darlington Point BESS (Load) | 33 | DPNTBL1 | NRDP2D | NRDP | 0.9476
Eastern Creek | 132 | EASTCRK | NSW21 | NSW2 | 1.001 | 1.001
Eastern Creek 2 | 132 | EASTCRK2 | NSW23L | NSW2 | 1.001 | 1.001
Eraring 330 BS UN (GT) | 330 | ERGT01 | NEP35B | NEP3 | 0.9865 | 0.9849
Eraring 330 PS Unit 1 | 330 | ER01 | NEPS1 | NEP3 | 0.9865 | 0.9849
Eraring 330 PS Unit 2 | 330 | ER02 | NEPS2 | NEP3 | 0.9865 | 0.9849
Eraring 500 PS Unit 3 | 500 | ER03 | NEPS3 | NEPS | 0.9877 | 0.9858
Eraring 500 PS Unit 4 | 500 | ER04 | NEPS4 | NEPS | 0.9877 | 0.9858
Eraring PS Load | 132 | ERNL1 | NEPSL | NNEW | 0.9942 | 0.9917
Finley Solar Farm | 132 | FINLYSF1 | NFNS1F | NFNS | 0.9036 | 0.8432
Glenbawn Hydro PS | 132 | GLBWNHYD | NMRK2G | NMRK | 0.9788 | 0.9764
Glenn Innes (Pindari PS) | 66 | PINDARI | NGLN1 | NGLN | 0.9346 | 0.9365
Glennies Creek PS | 132 | GLENNCRK | NMRK3T | NMRK | 0.9788 | 0.9764
Goonumbla Solar Farm | 66 | GOONSF1 | NPG12G | NPG1 | 0.8818 | 0.8918
Grange Avenue | 132 | GRANGEAV | NVYD1 | NVYD | 1.0001 | 1
Griffith Solar Farm | 33 | GRIFSF1 | NGG11G | NGG1 | 0.8862 | 0.8547
Gullen Range Solar Farm | 330 | GULLRSF1 | NGUR2G | NGUR | 0.9592 | 0.9595
Gullen Range 1 Wind Farm | 330 | GULLRWF1 | NGUR1G | NGUR | 0.9592 | 0.9595
Gullen Range 2 Wind Farm | 330 | GULLRWF2 | NGUR3G | NGUR | 0.9592 | 0.9595
Gunnedah Solar Farm | 132 | GNNDHSF1 | NGNE1G | NGNE | 0.8353 | 0.896
Gunning Wind Farm | 132 | GUNNING1 | NYS12A | NYS1 | 0.9485 | 0.9082
Guthega | 132 | GUTHEGA | NGUT8 | NGUT | 0.887 | 0.9006
Guthega Auxiliary Supply | 11 | GUTHNL1 | NMY11 | NMY1 | 0.9633 | 0.9762
Hillston Solar Farm | 132 | HILLSTN1 | NDNH1H | NDNH | 0.8906 | 0.8593
Hume (New South Wales Share) | 132 | HUMENSW | NHUM | NHUM | 0.9118 | 0.8989
Hunter Economic Zone | 132 | HEZ1 | NNEE1H | NNEE | 0.992 | 0.9897
Jemalong Solar Farm | 66 | JEMALNG1 | NFBS1J | NFBS | 0.8833 | 0.8956
Jindabyne Generator | 66 | JNDABNE1 | NCMA2 | NCMA | 0.9625 | 0.9673
Jounama PS | 66 | JOUNAMA1 | NTU21J | NTU2 | 0.9735 | 0.9838
Junee Solar Farm (effective prior to 27/09/2022) | 132 | JUNEESF1 | NWGJ1J | NWGJ | 0.9129 | 0.8799
Junee Solar Farm (effective from 27/09/2022) | 132 | JUNEESF1 | NWGJ1J | NWGJ | 0.9059 | 0.8799
Kangaroo Valley – Bendeela (Shoalhaven) Generation – Dual MLF | 330 | SHGEN | NSHL | NSHN | 0.9733 | 0.9763
Kangaroo Valley (Shoalhaven) Pumps – Dual MLF | 330 | SHPUMP | NSHP1 | NSHN | 0.9896 | 0.9919
Keepit | 66 | KEEPIT | NKPT | NKPT | 0.9833 | 0.9972
Liddell 330 PS Load | 330 | LIDDNL1 | NLDPL | NLDP | 0.9659 | 0.9628
Liddell 330 PS Unit 1 | 330 | LD01 | NLDP1 | NLDP | 0.9659 | 0.9628
Liddell 330 PS Unit 2 | 330 | LD02 | NLDP2 | NLDP | 0.9659 | 0.9628
Liddell 330 PS Unit 3 | 330 | LD03 | NLDP3 | NLDP | 0.9659 | 0.9628
Liddell 330 PS Unit 4 | 330 | LD04 | NLDP4 | NLDP | 0.9659 | 0.9628
Limondale Solar Farm 1 | 220 | LIMOSF11 | NBSF1L | NBSF | 0.8314 | 0.807
Limondale Solar Farm 2 | 22 | LIMOSF21 | NBL21L | NBL2 | 0.8309 | 0.7985
Liverpool 132 (Jacks Gully) - (effective prior to 7/09/2022) | 132 | JACKSGUL | NLP11 | NSW2 | 1.001
Liverpool 132 (Jacks Gully) - (effective from 7/09/2022) | 132 | JACKSGUL | NLP11 | NMC1 | 0.9954 | 1.001
Lower Tumut Generation – dual MLF | 330 | TUMUT3 | NLTS8 | NLTS | 0.9092 | 0.9195
Lower Tumut Pumps – dual MLF | 330 | SNOWYP | NLTS3 | NLTS | 0.9895 | 0.9525
Lower Tumut Pipeline Auxiliary | 66 | TUMT3NL3 | NTU2L3 | NTU2 | 0.9735 | 0.9838
Lower Tumut T2 Auxiliary | 66 | TUMT3NL1 | NTU2L1 | NTU2 | 0.9735 | 0.9838
Lower Tumut T4 Auxiliary | 66 | TUMT3NL2 | NTU2L2 | NTU2 | 0.9735 | 0.9838
Lucas Heights II Power Plant | 132 | LUCASHGT | NSYS2G | NSYS | 1.0009 | 1.0015
Lucas Heights Stage 2 Power Station | 132 | LUCAS2S2 | NSYS1 | NSYS | 1.0009 | 1.0015
Manildra Solar Farm | 132 | MANSLR1 | NMLS1M | NMLS | 0.9287 | 0.9333
Metz Solar Farm | 132 | METZSF1 | NMTZ1M | NMTZ | 0.8831 | 0.9208
Molong Solar Farm | 66 | MOLNGSF1 | NMOS1M | NMOS | 0.9433 | 0.9541
Moree Solar Farm | 66 | MOREESF1 | NMR41M | NMR4 | 0.8275 | 0.8931
Mt Piper PS Load | 330 | MPNL1 | NMPPL | NMTP | 0.972 | 0.9726
Mt Piper PS Unit 1 | 330 | MP1 | NMTP1 | NMTP | 0.972 | 0.9726
Mt Piper PS Unit 2 | 330 | MP2 | NMTP2 | NMTP | 0.972 | 0.9726
Narromine Solar Farm | 132 | NASF1 | NWLS1N | NWLS | 0.9352 | 0.9444
Nevertire Solar Farm | 132 | NEVERSF1 | NWLS3N | NWLS | 0.9352 | 0.9444
New England Solar Farm 1 | 330 | NEWENSF1 | NURR1N | NURR | 0.9007
New England Solar Farm 2 | 330 | NEWENSF2 | NURR2N | NURR | 0.9007
Nine Willoughby (Inactive from 29/03/2021) | 132 | NINEWIL1 | NSE21R | NSE2 | 1.0061 | 1.0068
Nyngan Solar Farm | 132 | NYNGAN1 | NWL82N | NWL8 | 0.9862 | 0.9903
Parkes Solar Farm | 66 | PARSF1 | NPG11P | NPG1 | 0.8818 | 0.8918
Queanbeyan BESS - Dual MLF (Generation) | 66 | QBYNBG1 | NQBB1Q | NQBB | 0.9752
Queanbeyan BESS - Dual MLF (Load) | 66 | QBYNBL1 | NQBB2Q | NQBB | 0.9917
Riverina BESS 1 (Generation) | 33 | RESS1G | NRBB1R | NRBB | 0.9286
Riverina BESS 1 (Load) | 33 | RESS1L | NRBB2R | NRBB | 0.9311
Riverina BESS 2 (Generation) | 33 | RIVNBG2 | NRB21R | NRB2 | 0.9058
Riverina BESS 2 (Load) | 33 | RIVNBL2 | NRB22R | NRB2 | 0.9185
Sapphire Wind Farm | 330 | SAPHWF1 | NSAP1S | NSAP | 0.947 | 0.9426
Sebastopol Solar Farm - (effective prior to 27/09/2022) | 132 | SEBSF1 | NWGJ2S | NWGJ | 0.9129 | 0.8799
Sebastopol Solar Farm - (effective prior to 27/09/2022) | 132 | SEBSF1 | NWGJ2S | NWGJ | 0.9059 | 0.8799
Silverton Wind Farm | 220 | STWF1 | NBKW1S | NBKW | 0.7973 | 0.8456
Sithe (Holroyd Generation) | 132 | SITHE01 | NSYW1 | NHD2 | 1.0018 | 1.0017
South Keswick Solar Farm | 132 | SKSF1 | NWLS2S | NWLS | 0.9352 | 0.9444
St George Leagues Club | 33 | STGEORG1 | NPHT1E | NPHT | 1.0037 | 1.0045
Sunraysia Solar Farm | 220 | SUNRSF1 | NBSF2S | NBSF | 0.8314 | 0.807
Suntop Solar Farm | 132 | SUNTPSF1 | NWLW1S | NWLW | 0.9128 | 0.9159
Tahmoor PS | 132 | TAHMOOR1 | NLP12T | NLP1 | 1.0011 | 1.0015
Tallawarra PS | 132 | TALWA1 | NDT13T | NTWA | 0.9901 | 0.9912
Taralga Wind Farm | 132 | TARALGA1 | NMR22T | NMR2 | 1.0118 | 1.0122
The Drop Power Station | 66 | THEDROP1 | NFNY1D | NFNY | 0.9708 | 0.9686
Tower Power Plant | 132 | TOWER | NLP11T | NLP1 | 1.0011 | 1.0015
Upper Tumut | 330 | UPPTUMUT | NUTS8 | NUTS | 0.9347 | 0.9335
Uranquinty PS Unit 11 | 132 | URANQ11 | NURQ1U | NURQ | 0.8673 | 0.8625
Uranquinty PS Unit 12 | 132 | URANQ12 | NURQ2U | NURQ | 0.8673 | 0.8625
Uranquinty PS Unit 13 | 132 | URANQ13 | NURQ3U | NURQ | 0.8673 | 0.8625
Uranquinty PS Unit 14 | 132 | URANQ14 | NURQ4U | NURQ | 0.8673 | 0.8625
Vales Point 330 PS Load | 330 | VPNL1 | NVPPL | NVPP | 0.9892 | 0.9872
Vales Point 330 PS Unit 5 | 330 | VP5 | NVPP5 | NVPP | 0.9892 | 0.9872
Vales Point 330 PS Unit 6 | 330 | VP6 | NVPP6 | NVPP | 0.9892 | 0.9872
Wagga North Solar Farm | 66 | WAGGNSF1 | NWGG1W | NWGG | 0.9064 | 0.8869
Wallgrove BESS (Generation) | 132 | WALGRVG1 | NSWB1W | NSWG | 1.001 | 1.0011
Wallgrove BESS (Load) | 132 | WALGRVL1 | NSWB2W | NSWB | 1.0009 | 1.001
Wellington Solar Farm | 132 | WELLSF1 | NWLS4W | NWLS | 0.9352 | 0.9444
Wests Illawara Leagues Club | 132 | WESTILL1 | NDT14E | NDT1 | 0.9934 | 0.9929
West Wyalong Solar Farm | 132 | WSTWYSF1 | NWGJ3W | NWGJ | 0.9059
White Rock Solar Farm | 132 | WRSF1 | NWRK2W | NWRK | 0.8697 | 0.8708
White Rock Wind Farm | 132 | WRWF1 | NWRK1W | NWRK | 0.8697 | 0.8708
Wilga Park A | 66 | WILGAPK | NNB21W | NNB2 | 0.9926 | 1.005
Wilga Park B | 66 | WILGB01 | NNB22W | NNB2 | 0.9926 | 1.005
Woodlawn Bioreactor | 132 | WDLNGN01 | NMR21W | NMR2 | 1.0118 | 1.0122
Woodlawn Wind Farm | 330 | WOODLWN1 | NCWF2W | NCWF | 0.9558 | 0.9563
Wyalong Solar Farm | 132 | WYASF1 | NWGJ4W | NWGJ | 0.9059
Wyangala A PS | 66 | WYANGALA | NCW81A | NCW8 | 0.9746 | 0.9721
Wyangala B PS | 66 | WYANGALB | NCW82B | NCW8 | 0.9746 | 0.9721

## ACT Load
Australian Capital Territory (regional reference node is Sydney West 330 kV)
Australian Capital Territory Loads
Location | Voltage [kV] | TNI code | 2022-23 MLF | 2021-22 MLF
Angle Crossing | 132 | AAXG | 0.9549 | 0.9397
Belconnen | 132 | ABCN | 0.9675 | 0.9673
City East | 132 | ACTE | 0.9695 | 0.9684
Civic | 132 | ACVC | 0.9672 | 0.9663
East lake | 132 | AELK | 0.9681 | 0.9669
Gilmore | 132 | AGLM | 0.9678 | 0.9682
Gold Creek | 132 | AGCK | 0.9693 | 0.9708
Latham | 132 | ALTM | 0.9688 | 0.9696
Telopea Park | 132 | ATLP | 0.9687 | 0.9681
Theodore | 132 | ATDR | 0.9691 | 0.9716
Wanniassa | 132 | AWSA | 0.9693 | 0.9695
Woden | 132 | AWDN | 0.9685 | 0.968
ACT VTN | 132 | AAVT | 0.9687 | 0.9683
Queanbeyan (ACTEW) | 66 | AQB1 | 0.9866 | 0.9882
Queanbeyan (Essential Energy) | 66 | AQB2 | 0.9866 | 0.9882

## ACT Gen
Australian Capital Territory (regional reference node is Sydney West 330 kV)
Australian Capital Territory Generators
Generator | Voltage [kV] | DUID | Connection Point ID | TNI code | 2022-23 MLF | 2021-22 MLF
Capital East Solar Farm | 66 | CESF1 | AQB21C | AQB2 | 0.9866 | 0.9882
Mugga Lane Solar Farm | 132 | MLSP1 | ACA12M | AMS1 | 0.9606 | 0.944
Mugga Lane landfill | 132 | MLLFGEF1 | AGLM1M | AAVT | 0.9687 | 0.9683
Royalla Solar Farm | 132 | ROYALLA1 | ACA11R | ARS1 | 0.9596 | 0.9436

## VIC Load
Victoria (regional reference node is Thomastown 66 kV)
Victoria Loads
Location | Voltage [kV] | TNI code | 2022-23 MLF | 2021-22 MLF
Altona | 66 | VATS | 1.0108 | 1.0086
Altona | 220 | VAT2 | 0.9949 | 0.9936
Ballarat | 66 | VBAT | 0.9699 | 0.9699
Bendigo | 66 | VBE6 | 1.0084 | 1.0101
Bendigo | 22 | VBE2 | 1.0072 | 1.0101
BHP Western Port | 220 | VJLA | 0.9926 | 0.9915
Brooklyn (Jemena) | 22 | VBL2 | 1.0014 | 1.0005
Brooklyn (Jemena) | 66 | VBL6 | 1.0066 | 1.0062
Brooklyn (POWERCOR) | 22 | VBL3 | 1.0014 | 1.0005
Brooklyn (POWERCOR) | 66 | VBL7 | 1.0066 | 1.0062
Brunswick (CitiPower) | 22 | VBT2 | 0.998 | 0.9977
Brunswick (Jemena) | 22 | VBTS | 0.998 | 0.9977
Brunswick 66 (CitiPower) | 66 | VBT6 | 0.9971 | 0.9971
Cranbourne | 220 | VCB2 | 0.9916 | 0.9905
Cranbourne (AusNet Services) | 66 | VCBT | 0.9935 | 0.9921
Cranbourne (United Energy) | 66 | VCB5 | 0.9935 | 0.9921
Deer Park | 66 | VDPT | 0.9994 | 0.9992
East Rowville (AusNet Services) | 66 | VER2 | 0.9962 | 0.9944
East Rowville (United Energy) | 66 | VERT | 0.9962 | 0.9944
Fishermans Bend (CITIPOWER) | 66 | VFBT | 0.9997 | 0.9995
Fishermans Bend (POWERCOR) | 66 | VFB2 | 0.9997 | 0.9995
Fosterville | 220 | VFVT | 1.0034 | 1.0057
Geelong | 66 | VGT6 | 0.9933 | 0.9918
Glenrowan | 66 | VGNT | 1.0182 | 1.0299
Heatherton | 66 | VHTS | 0.9981 | 0.9965
Heywood | 22 | VHY2 | 0.9923 | 0.9862
Horsham | 66 | VHOT | 0.9092 | 0.9328
Keilor (Jemena) | 66 | VKT2 | 0.9991 | 0.9977
Keilor (POWERCOR) | 66 | VKTS | 0.9991 | 0.9977
Kerang | 22 | VKG2 | 1.0092 | 1.0156
Kerang | 66 | VKG6 | 1.0136 | 1.0234
Khancoban | 330 | NKHN | 1.0239 | 1.0422
Loy Yang Substation | 66 | VLY6 | 0.9791 | 0.9764
Malvern | 22 | VMT2 | 0.996 | 0.9947
Malvern | 66 | VMT6 | 0.995 | 0.9938
Malvern (CitiPower) | 66 | VMT7 | 0.995 | 0.9938
Morwell Power Station Units 1 to 3 | 66 | VMWG | 0.9756 | 0.9736
Morwell PS (G4&5) | 11 | VMWP | 0.9801 | 0.9777
Morwell TS | 66 | VMWT | 0.9977 | 0.9936
Mt Beauty | 66 | VMBT | 1.019 | 1.0292
Portland | 500 | VAPD | 0.9945 | 0.9908
Red Cliffs | 22 | VRC2 | 0.9732 | 0.9721
Red Cliffs | 66 | VRC6 | 0.9744 | 0.973
Red Cliffs (Essential Energy) | 66 | VRCA | 0.9744 | 0.973
Richmond | 22 | VRT2 | 0.997 | 0.9978
Richmond (CITIPOWER) | 66 | VRT7 | 0.9973 | 0.9978
Richmond (United Energy) | 66 | VRT6 | 0.9973 | 0.9978
Ringwood (AusNet Services) | 22 | VRW3 | 0.9978 | 0.9968
Ringwood (AusNet Services) | 66 | VRW7 | 1.0002 | 0.9988
Ringwood (United Energy) | 22 | VRW2 | 0.9978 | 0.9968
Ringwood (United Energy) | 66 | VRW6 | 1.0002 | 0.9988
Shepparton | 66 | VSHT | 1.0313 | 1.0346
South Morang (Jemena) | 66 | VSM6 | 0.9951 | 0.9956
South Morang (AusNet Services) | 66 | VSMT | 0.9951 | 0.9956
Springvale (CITIPOWER) | 66 | VSVT | 0.9972 | 0.9957
Springvale (United Energy) | 66 | VSV2 | 0.9972 | 0.9957
Templestowe (CITIPOWER) | 66 | VTS2 | 0.9996 | 0.9987
Templestowe (Jemena) | 66 | VTST | 0.9996 | 0.9987
Templestowe (AusNet Services) | 66 | VTS3 | 0.9996 | 0.9987
Templestowe (United Energy) | 66 | VTS4 | 0.9996 | 0.9987
Terang | 66 | VTGT | 0.9972 | 1.0035
Thomastown (Jemena) | 66 | VTTS | 1 | 1
Thomastown (AusNet Services) | 66 | VTT2 | 1 | 1
Tyabb | 66 | VTBT | 0.9938 | 0.993
Wemen 66 (Essential Energy) | 66 | VWEA | 0.9622 | 0.9472
Wemen TS | 66 | VWET | 0.9622 | 0.9472
West Melbourne | 22 | VWM2 | 0.9995 | 0.9984
West Melbourne (CITIPOWER) | 66 | VWM7 | 0.9985 | 0.9982
West Melbourne (Jemena) | 66 | VWM6 | 0.9985 | 0.9982
Wodonga | 22 | VWO2 | 1.026 | 1.0411
Wodonga | 66 | VWO6 | 1.0198 | 1.0393
Yallourn | 11 | VYP1 | 0.9638 | 0.9639

## VIC Gen
Victoria (regional reference node is Thomastown 66 kV)
Victoria Generators
Generator | Voltage [kV] | DUID | Connection Point ID | TNI code | 2022-23 MLF | 2021-22 MLF
Ararat Wind Farm | 220 | ARWF1 | VART1A | VART | 0.8894 | 0.8987
Bairnsdale Power Station | 66 | BDL01 | VMWT2 | VBDL | 0.9913 | 0.9874
Bairnsdale Power Station Generator Unit 2 | 66 | BDL02 | VMWT3 | VBDL | 0.9913 | 0.9874
Bald Hills Wind Farm | 66 | BALDHWF1 | VMWT9B | VMWT | 0.9977 | 0.9936
Ballarat BESS (Generation) | 22 | BALBG1 | VBA21B | VBA2 | 0.9663 | 0.9573
Ballarat BESS (Load) | 22 | BALBL1 | VBA22B | VBA2 | 0.9629 | 0.9573
Ballarat Health Services | 66 | BBASEHOS | VBAT1H | VBAT | 0.9699 | 0.9699
Banimboola | 220 | BAPS | VDPS2 | VDPS | 0.9542 | 0.9861
Bannerton Solar Farm | 66 | BANN1 | VWES1B | VWES | 0.8928 | 0.8633
Basslink (Loy Yang Power Station Switchyard) Tasmania to Victoria | 500 | BLNKVIC | VLYP13 | VTBL | 0.9749 | 0.9735
Basslink (Loy Yang Power Station Switchyard) Victoria to Tasmania | 500 | BLNKVIC | VLYP13 | VTBL | 0.9821 | 0.9803
Berrybank Wind Farm | 220 | BRYB1WF1 | VBBT1B | VBBT | 0.9496 | 0.9431
Berrybank 2 Wind Farm | 220 | BRYB2WF2 | VBBT2B | VBBT | 0.9496
Broadmeadows Power Plant | 66 | BROADMDW | VTTS2B | VTTS | 1 | 1
Brooklyn Landfill & Recycling Facility | 66 | BROOKLYN | VBL61 | VBL6 | 1.0066 | 1.0062
Bulgana BESS (Generation) | 220 | BULBESG1 | VBGT2B | VBGT | 0.8839 | 0.8949
Bulgana BESS (Load) | 220 | BULBESL1 | VBGT3B | VBGT | 0.8839 | 0.8949
Bulgana Green Power Hub | 220 | BULGANA1 | VBGT1B | VBGT | 0.8839 | 0.8949
Challicum Hills Wind Farm | 66 | CHALLHWF | VHOT1 | VBAT | 0.9699 | 0.9699
Chepstowe Wind Farm | 66 | CHPSTWF1 | VBAT3C | VBAT | 0.9699 | 0.9699
Cherry Tree Wind Farm | 66 | CHYTWF1 | VSM71C | VSM7 | 0.9955 | 0.9959
Clayton Landfill Gas Power Station | 66 | CLAYTON | VSV21B | VSV2 | 0.9972 | 0.9957
Clover PS | 66 | CLOVER | VMBT1 | VMBT | 1.019 | 1.0292
Codrington Wind Farm | 66 | CODRNGTON | VTGT2C | VTGT | 0.9972 | 1.0035
Cohuna Solar Farm | 66 | COHUNSF1 | VKGS2C | VKGS | 0.9336 | 0.9127
Coonooer Bridge Wind Farm | 66 | CBWF1 | VBE61C | VBE6 | 1.0084 | 1.0101
Corio LFG PS (Inactive from 9/05/2023) | 66 | CORIO1 | VGT61C | VGT6 | 0.9933 | 0.9918
Crowlands Wind Farm | 220 | CROWLWF1 | VCWL1C | VCWL | 0.8877 | 0.8985
Dartmouth PS | 220 | DARTM1 | VDPS | VDPS | 0.9542 | 0.9861
Diapur Wind Farm | 66 | DIAPURWF1 | VHOG2D | VHOG | 0.8788 | 0.9005
Dundonnell Wind Farm 1 | 500 | DUNDWF1 | VM051D | VM05 | 0.9824 | 0.9789
Dundonnell Wind Farm 2 | 500 | DUNDWF2 | VM052D | VM05 | 0.9824 | 0.9789
Dundonnell Wind Farm 3 | 500 | DUNDWF3 | VM053D | VM05 | 0.9824 | 0.9789
Eildon Hydro PS | 66 | EILDON3 | VTT22E | VSMT | 0.9951 | 0.9956
Eildon PS Unit 1 | 220 | EILDON1 | VEPS1 | VEPS | 0.9887 | 0.9995
Eildon PS Unit 2 | 220 | EILDON2 | VEPS2 | VEPS | 0.9887 | 0.9995
Elaine Wind Farm | 220 | ELAINWF1 | VELT3E | VELT | 0.948 | 0.9459
Ferguson North Wind Farm | 66 | FNWF1 | VTGT6F | VTGT | 0.9972 | 1.0035
Ferguson South Wind Farm | 66 | FSWF1 | VTGT7F | VTGT | 0.9972 | 1.0035
Gannawarra BESS (Generation) | 66 | GANNBG1 | VKGB1G | VKGB | 1.0026 | 0.9773
Gannawarra BESS (Load) | 66 | GANNBL1 | VKGB2G | VKGL | 0.9846 | 0.9933
Gannawarra Solar Farm | 66 | GANNSF1 | VKGS1G | VKGS | 0.9336 | 0.9127
Glenmaggie Hydro PS | 66 | GLENMAG1 | VMWT8G | VMWT | 0.9977 | 0.9936
Glenrowan West Sun Farm | 66 | GLRWNSF1 | VGNS1G | VGNS | 0.9671 | 0.9976
Hallam Mini Hydro | 66 | HLMSEW01 | VER21H | VCBT | 0.9935 | 0.9921
Hallam Road Renewable Energy Facility | 66 | HALAMRD1 | VER22L | VER2 | 0.9962 | 0.9944
Hazelwood BESS (Generation) | 220 | HBESSG1 | VHW21H | VHW2 | 0.9785
Hazelwood BESS (Load) | 220 | HBESSL1 | VHW22H | VHW2 | 0.9825
Hepburn Community Wind Farm | 66 | HEPWIND1 | VBAT2L | VBAT | 0.9699 | 0.9699
Hume (Victorian Share) | 66 | HUMEV | VHUM | VHUM | 0.9535 | 0.9933
Jeeralang A PS Unit 1 | 220 | JLA01 | VJLGA1 | VJLG | 0.9727 | 0.9755
Jeeralang A PS Unit 2 | 220 | JLA02 | VJLGA2 | VJLG | 0.9727 | 0.9755
Jeeralang A PS Unit 3 | 220 | JLA03 | VJLGA3 | VJLG | 0.9727 | 0.9755
Jeeralang A PS Unit 4 | 220 | JLA04 | VJLGA4 | VJLG | 0.9727 | 0.9755
Jeeralang B PS Unit 1 | 220 | JLB01 | VJLGB1 | VJLG | 0.9727 | 0.9755
Jeeralang B PS Unit 2 | 220 | JLB02 | VJLGB2 | VJLG | 0.9727 | 0.9755
Jeeralang B PS Unit 3 | 220 | JLB03 | VJLGB3 | VJLG | 0.9727 | 0.9755
Jindabyne pump at Guthega | 132 | SNOWYGJP | NGJP | NGJP | 1.0914 | 1.135
Karadoc Solar Farm | 66 | KARSF1 | VRCS1K | VRCS | 0.8886 | 0.8673
Kiamal Solar Farm | 220 | KIAMSF1 | VKMT1K | VKMT | 0.8775 | 0.8504
Kiata Wind Farm | 66 | KIATAWF1 | VHOG1K | VHOG | 0.8788 | 0.9005
Laverton PS (LNGS1) | 220 | LNGS1 | VAT21L | VAT2 | 0.9949 | 0.9936
Laverton PS (LNGS2) | 220 | LNGS2 | VAT22L | VAT2 | 0.9949 | 0.9936
Longford | 66 | LONGFORD | VMWT6 | VMWT | 0.9977 | 0.9936
Loy Yang A PS Load | 500 | LYNL1 | VLYPL | VLYP | 0.9783 | 0.9759
Loy Yang A PS Unit 1 | 500 | LYA1 | VLYP1 | VLYP | 0.9783 | 0.9759
Loy Yang A PS Unit 2 | 500 | LYA2 | VLYP2 | VLYP | 0.9783 | 0.9759
Loy Yang A PS Unit 3 | 500 | LYA3 | VLYP3 | VLYP | 0.9783 | 0.9759
Loy Yang A PS Unit 4 | 500 | LYA4 | VLYP4 | VLYP | 0.9783 | 0.9759
Loy Yang B PS Unit 1 | 500 | LOYYB1 | VLYP5 | VLYP | 0.9783 | 0.9759
Loy Yang B PS Unit 2 | 500 | LOYYB2 | VLYP6 | VLYP | 0.9783 | 0.9759
MacArthur Wind Farm | 500 | MACARTH1 | VTRT1M | VTRT | 0.9807 | 0.9753
Maroona Wind Farm | 66 | MAROOWF1 | VBAT5M | VBAT | 0.9699 | 0.9699
McKay Creek / Bogong PS | 220 | MCKAY1 | VMKP1 | VT14 | 0.9665 | 0.9726
Moorabool Wind Farm | 220 | MOORAWF1 | VELT2M | VELT | 0.948 | 0.9459
Mortlake Unit 1 | 500 | MORTLK11 | VM0P1O | VM0P | 0.9901 | 0.9865
Mortlake Unit 2 | 500 | MORTLK12 | VM0P2O | VM0P | 0.9901 | 0.9865
Mortlake South Wind Farm | 220 | MRTLSWF1 | VTG21M | VTG2 | 0.9573 | 0.9768
Mortons Lane Wind Farm | 66 | MLWF1 | VTGT4M | VTGT | 0.9972 | 1.0035
Mt Gellibrand Windfarm | 66 | MTGELWF1 | VGTW1M | VGTW | 0.9879 | 0.9862
Mt Mercer Windfarm | 220 | MERCER01 | VELT1M | VELT | 0.948 | 0.9459
Murra Warra Wind Farm | 220 | MUWAWF1 | VMRT1M | VMRT | 0.8661 | 0.8883
Murra Warra Wind Farm - stage 2 | 220 | MUWAWF2 | VMRT2M | VMRT | 0.8661 | 0.8883
Murray | 330 | MURRAY | NMUR8 | NMUR | 0.9719 | 0.9966
Murray (Geehi Tee off Auxiliary) | 330 | MURAYNL3 | NMURL3 | NMUR | 0.9719 | 0.9966
Murray Power Station M1 Auxiliary | 330 | MURAYNL1 | NMURL1 | NMUR | 0.9719 | 0.9966
Murray Power Station M2 Auxiliary | 330 | MURAYNL2 | NMURL2 | NMUR | 0.9719 | 0.9966
Newport PS | 220 | NPS | VNPS | VNPS | 0.9919 | 0.9926
Numurkah Solar Farm | 66 | NUMURSF1 | VSHS1N | VSHS | 0.9715 | 0.9963
Oaklands Hill Wind Farm | 66 | OAKLAND1 | VTGT3A | VTGT | 0.9972 | 1.0035
Phillip Island BESS (Generation) | 66 | PIBESSG1 | VMWT10 | VMWT | 0.9977
Phillip Island BESS (Load) | 66 | PIBESSL1 | VMWT11 | VMWT | 0.9977
Rubicon Mountain Streams Station | 66 | RUBICON | VTT21R | VSMT | 0.9951 | 0.9956
Salt Creek Wind Farm | 66 | SALTCRK1 | VTG61S | VTG6 | 0.9584 | 0.9515
Shepparton Waste Gas | 66 | SHEP1 | VSHT2S | VSHT | 1.0313 | 1.0346
Somerton Power Station | 66 | AGLSOM | VTTS1 | VSOM | 0.9924 | 0.9932
Springvale Power Plant | 66 | SVALE1 | VSV22S | VSV2 | 0.9972 | 0.9957
Stockyard Hill Wind Farm | 500 | STOCKYD1 | VHGT1S | VHGT | 0.9799 | 0.9782
Tatura | 66 | TATURA01 | VSHT1 | VSHT | 1.0313 | 1.0346
Timboon West Wind Farm | 66 | TIMWEST | VTGT5T | VTGT | 0.9972 | 1.0035
Toora Wind Farm | 66 | TOORAWF | VMWT5 | VMWT | 0.9977 | 0.9936
Traralgon NSS | 66 | TGNSS1 | VMWT1T | VMWT | 0.9977 | 0.9936
Valley Power Unit 1 | 500 | VPGS1 | VLYP07 | VLYP | 0.9783 | 0.9759
Valley Power Unit 2 | 500 | VPGS2 | VLYP08 | VLYP | 0.9783 | 0.9759
Valley Power Unit 3 | 500 | VPGS3 | VLYP09 | VLYP | 0.9783 | 0.9759
Valley Power Unit 4 | 500 | VPGS4 | VLYP010 | VLYP | 0.9783 | 0.9759
Valley Power Unit 5 | 500 | VPGS5 | VLYP011 | VLYP | 0.9783 | 0.9759
Valley Power Unit 6 | 500 | VPGS6 | VLYP012 | VLYP | 0.9783 | 0.9759
Victorian Big Battery (Generation) | 220 | VBBG1 | VMLB1V | VMLB | 0.9848 | 0.982
Victorian Big Battery (Load) | 220 | VBBL1 | VMLB2V | VMLB | 0.987 | 0.9864
Waubra Wind Farm | 220 | WAUBRAWF | VWBT1A | VWBT | 0.9233 | 0.9221
Wemen Solar Farm | 66 | WEMENSF1 | VWES2W | VWES | 0.8928 | 0.8633
West Kiewa PS Unit 1 | 220 | WKIEWA1 | VWKP1 | VWKP | 1.0049 | 1.0096
West Kiewa PS Unit 2 | 220 | WKIEWA2 | VWKP2 | VWKP | 1.0049 | 1.0096
William Hovell Hydro PS | 66 | WILLHOV1 | VW061W | VGNT | 1.0182 | 1.0299
Winton Solar Farm | 66 | WINTSF1 | VGNS2W | VGNS | 0.9671 | 0.9976
Wollert Renewable Energy Facility | 66 | WOLLERT1 | VSMT1W | VSMT | 0.9951 | 0.9956
Wonthaggi Wind Farm | 66 | WONWP | VMWT7 | VMWT | 0.9977 | 0.9936
Yallourn W PS 220 Load | 220 | YWNL1 | VYP2L | VYP2 | 0.9602 | 0.9596
Yallourn W PS 220 Unit 1 | 220 | YWPS1 | VYP21 | VYP3 | 0.969 | 0.9663
Yallourn W PS 220 Unit 2 | 220 | YWPS2 | VYP22 | VYP2 | 0.9602 | 0.9596
Yallourn W PS 220 Unit 3 | 220 | YWPS3 | VYP23 | VYP2 | 0.9602 | 0.9596
Yallourn W PS 220 Unit 4 | 220 | YWPS4 | VYP24 | VYP2 | 0.9602 | 0.9596
Yaloak South Wind Farm | 66 | YSWF1 | VBAT4Y | VBAT | 0.9699 | 0.9699
Yambuk Wind Farm | 66 | YAMBUKWF | VTGT1 | VTGT | 0.9972 | 1.0035
Yarrawonga Hydro PS | 66 | YWNGAHYD | VSHT3Y | VSHT | 1.0313 | 1.0346
Yatpool Solar Farm | 66 | YATSF1 | VRCS2Y | VRCS | 0.8886 | 0.8673
Yawong Wind Farm | 66 | YAWWF1 | VBE62Y | VBE6 | 1.0084 | 1.0101
Yendon Wind Farm | 66 | YENDWF1 | VBAW1Y | VBAW | 0.9497 | 0.9422

## SA Load
South Australia (regional reference node is Torrens Island PS 66 kV)
South Australia Loads
Location | Voltage [kV] | TNI code | 2022-23 MLF | 2021-22 MLF
Angas Creek | 33 | SANC | 1.0096 | 1.0113
Ardrossan West | 33 | SARW | 0.9472 | 0.9485
Back Callington | 11 | SBAC | 1.0063 | 1.0099
Baroota - Dual MLF (Generation) | 33 | SBAR | 0.968 | 0.967
Baroota - Dual MLF (Load) | 33 | SBAR | 0.9893 | 0.9946
Berri | 66 | SBER | 0.9875 | 1.0072
Berri (POWERCOR) | 66 | SBE1 | 0.9875 | 1.0072
Blanche | 33 | SBLA | 1.0038 | 1.0333
Blanche (POWERCOR) | 33 | SBL1 | 1.0038 | 1.0333
Brinkworth | 33 | SBRK | 0.9876 | 0.9918
Bungama Industrial | 33 | SBUN | 0.9817 | 0.9868
Bungama Rural | 33 | SBUR | 0.9905 | 0.9958
City West | 66 | SACR | 1.0068 | 1.0067
Clare North | 33 | SCLN | 0.9846 | 0.9884
Dalrymple | 33 | SDAL | 0.9127 | 0.9128
Davenport | 275 | SDAV | 0.9788 | 0.9841
Davenport | 33 | SDAW | 0.9812 | 0.9874
Dorrien | 33 | SDRN | 1.0036 | 1.0051
East Terrace | 66 | SETC | 1.0009 | 1.0021
Happy Valley | 66 | SHVA | 1.003 | 1.0052
Hummocks | 33 | SHUM | 0.9587 | 0.964
Kadina East | 33 | SKAD | 0.9864 | 0.9745
Kanmantoo | 11 | SKAN | 1.0108 | 1.0128
Keith | 33 | SKET | 1.0119 | 1.0263
Kilburn | 66 | SKLB | 1.001 | 1.0008
Kincraig | 33 | SKNC | 1.0053 | 1.0258
Lefevre | 66 | SLFE | 1.0003 | 1.0003
Leigh Creek South | 33 | SLCS | 1.0033 | 1.0579
Magill | 66 | SMAG | 1.0026 | 1.0041
Mannum | 33 | SMAN | 1.0185 | 1.0169
Mannum – Adelaide Pipeline 1 | 3.3 | SMA1 | 1.0141 | 1.0206
Mannum – Adelaide Pipeline 2 - Dual MLF (Generation) | 3.3 | SMA2 | 0.9944 | 1.0016
Mannum – Adelaide Pipeline 2 - Dual MLF (Load) | 3.3 | SMA2 | 1.0143 | 1.0182
Mannum – Adelaide Pipeline 3 - Dual MLF (Generation) | 3.3 | SMA3 | 0.9934 | 1.0012
Mannum – Adelaide Pipeline 3 - Dual MLF (Load) | 3.3 | SMA3 | 1.0141 | 1.0178
Middleback | 33 | SMDL | 0.9923 | 0.9997
Middleback | 132 | SMBK | 0.9955 | 1.0003
Millbrook | 132 | SMLB | 1.0019 | 1.0041
Mobilong | 33 | SMBL | 1.0091 | 1.014
Morgan Whyalla Pump Station 1 PV | 3.3 | SMW1 | 1.0018 | 1.0271
Morgan Whyalla Pump Station 2 PV - Dual MLF (Generation) | 3.3 | SMW2 | 0.9999 | 0.9664
Morgan Whyalla Pump Station 2 PV - Dual MLF (Load) | 3.3 | SMW2 | 0.9999 | 0.9994
Morgan Whyalla Pump Station 3 PV - Dual MLF (Generation) | 3.3 | SMW3 | 0.9717 | 0.9719
Morgan Whyalla Pump Station 3 PV - Dual MLF (Load) | 3.3 | SMW3 | 0.9864 | 0.9927
Morgan Whyalla Pump Station 4 PV - Dual MLF (Generation) | 3.3 | SMW4 | 0.9889 | 0.9751
Morgan Whyalla Pump Station 4 PV - Dual MLF (Load) | 3.3 | SMW4 | 0.9889 | 0.9874
Morphett Vale East | 66 | SMVE | 1.0036 | 1.0055
Mount Barker South | 66 | SMBS | 1.0038 | 1.0063
Mt Barker | 66 | SMBA | 1.0024 | 1.0049
Mt Gambier | 33 | SMGA | 1.006 | 1.0356
Mt Gunson South | 132 | SMGS | 0.9895 | 0.9947
Mt Gunson | 33 | SMGU | 0.9883 | 0.9939
Munno Para | 66 | SMUP | 0.998 | 0.9992
Murray Bridge – Hahndorf Pipeline 1 | 11 | SMH1 | 1.0115 | 1.0198
Murray Bridge - Hahndorf Pipeline 2 – Dual MLF (Generation) | 11 | SMH2 | 1.019 | 1.0058
Murray Bridge - Hahndorf Pipeline 2 – Dual MLF (Load) | 11 | SMH2 | 1.019 | 1.0205
Murray Bridge – Hahndorf Pipeline 3 | 11 | SMH3 | 1.0104 | 1.0169
Neuroodla | 33 | SNEU | 0.9952 | 1.019
New Osborne | 66 | SNBN | 1.0008 | 1.0005
North West Bend | 66 | SNWB | 0.9892 | 0.9982
Northfield | 66 | SNFD | 1.0023 | 1.0027
Para | 66 | SPAR | 1 | 1.0012
Parafield Gardens West | 66 | SPGW | 1.0002 | 1.0011
Penola West 33 | 33 | SPEN | 1.0009 | 1.0236
Pimba | 132 | SPMB | 0.9952 | 1.0015
Playford | 132 | SPAA | 0.9773 | 0.9828
Port Lincoln | 33 | SPLN | 0.9786 | 0.9813
Port Pirie | 33 | SPPR | 0.9867 | 0.9912
Roseworthy | 11 | SRSW | 1.0067 | 1.0082
Snuggery Industrial | 33 | SSNN | 1.0029 | 1.0358
Snuggery Rural | 33 | SSNR | 0.9797 | 1.003
South Australian VTN |  | SJP1 | 0.9962 | 1.0003
Stony Point | 11 | SSPN | 0.9843 | 0.9904
Tailem Bend | 33 | STAL | 1.011 | 1.0173
Templers | 33 | STEM | 1.0011 | 1.0029
Torrens Island | 66 | STSY | 1 | 1
Waterloo | 33 | SWAT | 0.9786 | 0.9821
Whyalla Central Substation | 33 | SWYC | 0.9845 | 0.9909
Whyalla Terminal BHP | 33 | SBHP | 0.9847 | 0.9902
Woomera | 132 | SWMA | 0.9902 | 0.9956
Wudina | 66 | SWUD | 0.9945 | 1.0001
Yadnarie | 66 | SYAD | 0.9792 | 0.9864

## SA Gen
South Australia (regional reference node is Torrens Island PS 66 kV)
South Australia Generators
Generator | Voltage [kV] | DUID | Connection Point ID | TNI code | 2022-23 MLF | 2021-22 MLF
Adelaide Desalination Plant Battery (Generation) | 66 | ADPBA1G | SMVE4D | SMVE | 1.0036 | 1.0055
Adelaide Desalination Plant Battery (Load) | 66 | ADPBA1L | SMVE5D | SMVE | 1.0036 | 1.0055
Adelaide Desalination Plant Hydro | 66 | ADPMH1 | SMVE9D | SMVE | 1.0036 | 1.0055
Adelaide Desalination Plant PV1 | 66 | ADPPV1 | SMVE6D | SMVE | 1.0036 | 1.0055
Adelaide Desalination Plant PV2 | 66 | ADPPV2 | SMVE7D | SMVE | 1.0036 | 1.0055
Adelaide Desalination Plant PV3 | 66 | ADPPV3 | SMVE8D | SMVE | 1.0036 | 1.0055
Angaston Power Station | 33 | ANGAST1 | SDRN1 | SANG | 1.0027 | 1.002
Barker Inlet PS | 275 | BARKIPS1 | SBPS1B | SBPS | 0.9996 | 0.9997
Bolivar Power Station | 66 | BOLIVPS1 | SPGG1B | SPGG | 0.9946
Bolivar WWT Plant | 66 | BOLIVAR1 | SPGW1B | SPGW | 1.0002 | 1.0011
Bolivar Wastewater Treatment Plant PV | 66 | BOWWPV1 | SPGW2B | SPGW | 1.0002 | 1.0011
Bolivar Wastewater Treatment Plant Reserve Diesel | 66 | BOWWDG1 | SPGW5B | SPGW | 1.0002 | 1.0011
Bolivar Wastewater Treatment Plant Reserve BESS (Generation) | 66 | BOWWBA1G | SPGW3B | SPGW | 1.0002 | 1.0011
Bolivar Wastewater Treatment Plant Reserve BESS (Load) | 66 | BOWWBA1L | SPGW4B | SPGW | 1.0002 | 1.0011
Bungala One Solar Farm | 132 | BNGSF1 | SBEM1B | SBEM | 0.9567 | 0.9597
Bungala Two Solar Farm | 132 | BNGSF2 | SBEM2B | SBEM | 0.9567 | 0.9597
Canunda Wind Farm | 33 | CNUNDAWF | SSNN1 | SCND | 0.9742 | 0.9944
Cathedral Rocks Wind Farm | 132 | CATHROCK | SCRK | SCRK | 0.9281 | 0.9166
Christies Beach BESS Gen | 66 | CBWWBA1G | SMVE7C | SMVE | 1.0036
Christies Beach BESS Load | 66 | CBWWBA1L | SMVE8C | SMVE | 1.0036
Christies Beach Biogas | 66 | CBWWBG1 | SMVE11 | SMVE | 1.0036
Christies Beach Diesel 1 | 66 | CBWWDG1 | SMVE12 | SMVE | 1.0036
Christies Beach Diesel 2 | 66 | CBWWDG2 | SMVE13 | SMVE | 1.0036
Christies Beach Solar 1 | 66 | CBWWPV1 | SMVE9C | SMVE | 1.0036
Christies Beach Solar 2 | 66 | CBWWPV2 | SMVE10 | SMVE | 1.0036
Clements Gap Wind Farm | 132 | CLEMGPWF | SCGW1P | SCGW | 0.953 | 0.9564
Cummins Lonsdale PS | 66 | LONSDALE | SMVE1 | SMVE | 1.0036 | 1.0055
Dalrymple North BESS (Generation) | 33 | DALNTH01 | SDAN1D | SDAM | 0.9432 | 0.9212
Dalrymple North BESS (Load) | 33 | DALNTHL1 | SDAN2D | SDAN | 0.9113 | 0.9073
Dry Creek PS Unit 1 | 66 | DRYCGT1 | SDCA1 | SDPS | 0.9991 | 1.0002
Dry Creek PS Unit 2 | 66 | DRYCGT2 | SDCA2 | SDPS | 0.9991 | 1.0002
Dry Creek PS Unit 3 | 66 | DRYCGT3 | SDCA3 | SDPS | 0.9991 | 1.0002
Hallet 2 Wind Farm | 275 | HALLWF2 | SMOK1H | SMOK | 0.9572 | 0.9606
Hallett 1 Wind Farm | 275 | HALLWF1 | SHPS2W | SHPS | 0.9599 | 0.963
Hallett PS | 275 | AGLHAL | SHPS1 | SHPS | 0.9599 | 0.963
Happy Valley BESS (Generation) | 66 | HVWWBA1G | SHVA1H | SHVA | 1.003 | 1.0052
Happy Valley BESS (Load) | 66 | HVWWBA1L | SHVA2H | SHVA | 1.003 | 1.0052
Happy Valley Solar | 66 | HVWWPV1 | SHVA3H | SHVA | 1.003 | 1.0052
Hornsdale Battery (Generation) | 275 | HPRG1 | SMTL1H | SMTL | 0.9652 | 0.9772
Hornsdale Battery (Load) | 275 | HPRL1 | SMTL2H | SMTL | 0.9681 | 0.9693
Hornsdale Wind Farm Stage 1 | 275 | HDWF1 | SHDW1H | SHDW | 0.9479 | 0.9518
Hornsdale Wind Farm Stage 2 | 275 | HDWF2 | SHDW2H | SHDW | 0.9479 | 0.9518
Hornsdale Wind Farm Stage 3 | 275 | HDWF3 | SHDW3H | SHDW | 0.9479 | 0.9518
Ladbroke Grove PS Unit 1 | 132 | LADBROK1 | SPEW1 | SPEW | 0.9553 | 0.9883
Ladbroke Grove PS Unit 2 | 132 | LADBROK2 | SPEW2 | SPEW | 0.9553 | 0.9883
Lake Bonney BESS (Generation) | 33 | LBBG1 | SLBB1L | SLBB | 0.9851 | 1.0022
Lake Bonney BESS (Load) | 33 | LBBL1 | SLBB2L | SLBB | 1.023 | 1.0094
Lake Bonney Wind Farm | 33 | LKBONNY1 | SMAY1 | SMAY | 0.9585 | 0.9803
Lake Bonney Wind Farm Stage 2 | 33 | LKBONNY2 | SMAY2 | SMAY | 0.9585 | 0.9803
Lake Bonney Wind Farm Stage 3 | 33 | LKBONNY3 | SMAY3W | SMAY | 0.9585 | 0.9803
Lincoln Gap Wind Farm | 275 | LGAPWF1 | SLGW1L | SLGW | 0.9628 | 0.9644
Lincoln Gap Wind Farm (Stage 2) | 275 | LGAPWF2 | SLGW4L | SLGW | 0.9628 | 0.9644
Mannum-Adelaide Pipeline Pumping Station No 2 Solar Farm – dual MLF (Generation) | 3.3 | MAPS2PV1 | SMA21M | SMA2 | 0.9944 | 1.0016
Mannum-Adelaide Pipeline Pumping Station No 2 Solar Farm – dual MLF (Load) | 3.3 | MAPS2PV1 | SMA21M | SMA2 | 1.0143 | 1.0182
Mannum-Adelaide Pipeline Pumping Station No 3 Solar Farm – dual MLF (Generation) | 3.3 | MAPS3PV1 | SMA31M | SMA3 | 0.9934 | 1.0012
Mannum-Adelaide Pipeline Pumping Station No 3 Solar Farm – dual MLF (Load) | 3.3 | MAPS3PV1 | SMA31M | SMA3 | 1.0141 | 1.0178
Mintaro PS | 132 | MINTARO | SMPS | SMPS | 0.9793 | 0.9865
Morgan Whyalla Pump Station 1 PV | 3.3 | MWPS1PV1 | SMW11M | SMW1 | 1.0018 | 1.0271
Morgan Whyalla Pump Station 2 PV – Dual MLF (Generation) | 3.3 | MWPS2PV1 | SMW21M | SMW2 | 0.9999 | 0.9664
Morgan Whyalla Pump Station 2 PV – Dual MLF (Load) | 3.3 | MWPS2PV1 | SMW21M | SMW2 | 0.9999 | 0.9994
Morgan Whyalla Pump Station 3 PV – Dual MLF (Generation) | 3.3 | MWPS3PV1 | SMW31M | SMW3 | 0.9717 | 0.9719
Morgan Whyalla Pump Station 3 PV – Dual MLF (Load) | 3.3 | MWPS3PV1 | SMW31M | SMW3 | 0.9864 | 0.9927
Morgan Whyalla Pump Station 4 PV – Dual MLF (Generation) | 3.3 | MWPS4PV1 | SMW41M | SMW4 | 0.9889 | 0.9751
Morgan Whyalla Pump Station 4 PV – Dual MLF (Load) | 3.3 | MWPS4PV1 | SMW41M | SMW4 | 0.9889 | 0.9874
Morphett Vale East 66 | 66 | SATGS1 | SMVG1L | SMVG | 1.0015 | 1.0021
Mt Millar Wind Farm | 33 | MTMILLAR | SMTM1 | SMTM | 0.9245 | 0.9287
Murray Bridge - Hahndorf Pipeline 2 – Dual MLF (Generation) | 11 | MBPS2PV1 | SMH21M | SMH2 | 1.019 | 1.0058
Murray Bridge - Hahndorf Pipeline 2 – Dual MLF (Load) | 11 | MBPS2PV1 | SMH21M | SMH2 | 1.019 | 1.0205
North Brown Hill Wind Farm | 275 | NBHWF1 | SBEL1A | SBEL | 0.9539 | 0.9571
O.C.P.L. Unit 1 | 66 | OSB-AG | SNBN1 | SOCP | 0.9999 | 0.9999
Temporary Generation North | 66 | SATGN1 | SPAG1E | SPAG | 0.9996 | 1.0018
PAREP Solar Farm | 275 | PAREPS1 | SDAP2P | SDAP | 0.9641
Pelican Point PS | 275 | PPCCGT | SPPT | SPPT | 0.9983 | 0.9987
Port Augusta Renewable Energy Park - Wind | 275 | PAREPW1 | SDAP1P | SDAP | 0.9641 | 0.9728
Port Lincoln 3 | 33 | POR03 | SPL31P | SPL3 | 0.9945 | 0.9467
Port Lincoln PS | 132 | POR01 | SPLN1 | SPTL | 0.9899 | 0.9505
Pt Stanvac PS | 66 | PTSTAN1 | SMVE3P | SMVE | 1.0036 | 1.0055
Quarantine PS Unit 1 | 66 | QPS1 | SQPS1 | SQPS | 0.9871 | 0.9858
Quarantine PS Unit 2 | 66 | QPS2 | SQPS2 | SQPS | 0.9871 | 0.9858
Quarantine PS Unit 3 | 66 | QPS3 | SQPS3 | SQPS | 0.9871 | 0.9858
Quarantine PS Unit 4 | 66 | QPS4 | SQPS4 | SQPS | 0.9871 | 0.9858
Quarantine PS Unit 5 | 66 | QPS5 | SQPS5Q | SQPS | 0.9871 | 0.9858
Snapper Point PS | 275 | SNAPPER1 | SNPT1S | SNPT | 0.999 | 0.999
Snowtown Wind Farm | 33 | SNOWTWN1 | SNWF1T | SNWF | 0.9162 | 0.9134
Snowtown Wind Farm Stage 2 – North | 275 | SNOWNTH1 | SBLWS1 | SBLW | 0.9666 | 0.9678
Snowtown Wind Farm Stage 2 – South | 275 | SNOWSTH1 | SBLWS2 | SBLW | 0.9666 | 0.9678
Snuggery PS Units 1 to 3 | 132 | SNUG1 | SSGA1 | SSPS | 0.9388 | 0.9533
Starfish Hill Wind Farm | 66 | STARHLWF | SMVE2 | SMVE | 1.0036 | 1.0055
Tailem Bend Solar Farm | 132 | TBSF1 | STBS1T | STBS | 1.0029 | 1.0113
Tailem Bend 2 Solar Farm | 132 | TB2SF1 | STBB1T | STBB | 0.9966
Tailem Bend 2 BESS (Generation) | 132 | TB2BG1 | STBB2T | STBB | 0.9966
Tailem Bend 2 BESS (Load) | 132 | TB2BL1 | STBB3T | STBB | 0.9966
Tatiara Meat Co | 33 | TATIARA1 | SKET1E | SKET | 1.0119 | 1.0263
The Bluff wind Farm | 275 | BLUFF1 | SBEL2P | SBEL | 0.9539 | 0.9571
Torrens Island BESS (Generation) | 275 | TIBG1 | STPB1T | STPB | 1.0001
Torrens Island BESS (Load) | 275 | TIBL1 | STPB2T | STPB | 0.999
Torrens Island PS A Unit 3 (Inactive from 30/09/2022) | 275 | TORRA3 | STSA3 | STPS | 0.9994 | 0.9999
Torrens Island PS B Unit 1 | 275 | TORRB1 | STSB1 | STPS | 0.9994 | 0.9999
Torrens Island PS B Unit 2 | 275 | TORRB2 | STSB2 | STPS | 0.9994 | 0.9999
Torrens Island PS B Unit 3 | 275 | TORRB3 | STSB3 | STPS | 0.9994 | 0.9999
Torrens Island PS B Unit 4 | 275 | TORRB4 | STSB4 | STPS | 0.9994 | 0.9999
Torrens Island PS Load | 66 | TORNL1 | STSYL | STSY | 1 | 1
Waterloo Wind Farm | 132 | WATERLWF | SWLE1R | SWLE | 0.9582 | 0.9594
Wattle Point Wind Farm | 132 | WPWF | SSYP1 | SSYP | 0.8174 | 0.811
Willogoleche Wind Farm | 275 | WGWF1 | SWGL1W | SWGL | 0.9549 | 0.9583
Wingfield 1 LFG PS | 66 | WINGF1_1 | SKLB1W | SKLB | 1.001 | 1.0008
Wingfield 2 LFG PS | 66 | WINGF2_1 | SNBN2W | SNBN | 1.0008 | 1.0005

## TAS Load
Tasmania (regional reference node is George Town 220 kV)
Tasmania Loads
Location | Voltage (kV) | TNI code | 2022-23 MLF | 2021-22 MLF | e
Arthurs Lake | 6.6 | TAL2 | 0.9774 | 0.9815
Avoca | 22 | TAV2 | 1.0104 | 1.0023
Boyer SWA | 6.6 | TBYA | 1.0144 | 1.0003
Boyer SWB | 6.6 | TBYB | 1.0248 | 1.0092
Bridgewater | 11 | TBW2 | 1.0206 | 1.0154
Burnie | 22 | TBU3 | 0.9872 | 0.9781
Chapel St. | 11 | TCS3 | 1.0051 | 1.0001
Comalco | 220 | TCO1 | 1.0006 | 1.0006
Creek Road | 33 | TCR2 | 1.0069 | 1.0009
Derby | 22 | TDE2 | 0.9614 | 0.9483
Derwent Bridge | 22 | TDB2 | 0.9177 | 0.9117
Devonport | 22 | TDP2 | 0.988 | 0.9785
Electrona | 11 | TEL2 | 1.0218 | 1.0157
Emu Bay | 11 | TEB2 | 0.985 | 0.9746
Emu Bay | 22 | TEB3 | 0.985
Fisher (Rowallan) | 220 | TFI1 | 0.9655 | 0.9561
Fisher 220 DNSP | 220 | TFI2 | 0.9655 | 0.9561
George Town | 22 | TGT3 | 1.0013 | 1.002
George Town (Basslink) | 220 | TGT1 | 1 | 1
Gordon | 22 | TGO2 | 0.9879 | 0.971
Greater Hobart Area VTN |  | TVN1 | 1.0092 | 1.0027
Hadspen | 22 | THA3 | 0.9931 | 0.9902
Hampshire | 110 | THM2 | 0.9834 | 0.9736
Huon River | 11 | THR2 | 1.0299 | 1.0189
Kermandie | 11 | TKE2 | 1.0288 | 1.0203
Kingston | 33 | TK13 | 1.0119 | 1.0067
Kingston | 11 | TKI2 | 1.0165 | 1.0114
Knights Road | 11 | TKR2 | 1.0267 | 1.0176
Lindisfarne | 33 | TLF2 | 1.0101 | 1.0039
Meadowbank | 22 | TMB2 | 0.9972 | 0.9829
Mornington | 33 | TMT2 | 1.0104 | 1.0051
Mowbray | 22 | TMY2 | 0.9924 | 0.9896
New Norfolk | 22 | TNN2 | 1.0054 | 0.9954
Newton | 22 | TNT2 | 0.9709 | 0.9524
Newton | 11 | TNT3 | 0.9582 | 0.9369
North Hobart | 11 | TNH2 | 1.0066 | 0.9996
Norwood | 22 | TNW2 | 0.9921 | 0.9882
Palmerston | 22 | TPM3 | 0.9759 | 0.9728
Port Latta | 22 | TPL2 | 0.9644 | 0.948
Que | 22 | TQU2 | 0.9805 | 0.9612
Queenstown | 11 | TQT3 | 0.9623 | 0.9437
Queenstown | 22 | TQT2 | 0.9617 | 0.9434
Railton | 22 | TRA2 | 0.9876 | 0.9783
Risdon | 33 | TRI4 | 1.0133 | 1.0042
Risdon | 11 | TRI3 | 1.0184 | 1.0046
Rokeby | 11 | TRK2 | 1.0138 | 1.0094
Rosebery | 44 | TRB2 | 0.9694 | 0.9505
Savage River | 22 | TSR2 | 1.0054 | 0.9876
Scottsdale | 22 | TSD2 | 0.9734 | 0.9639
Sheffield | 22 | TSH3 | 0.9813 | 0.9713
Smithton | 22 | TST2 | 0.9507 | 0.933
Sorell | 22 | TSO2 | 1.03 | 1.0264
St Leonard | 22 | TSL2 | 0.9935 | 0.9882
St. Marys | 22 | TSM2 | 1.0271 | 1.0153
Starwood | 110 | TSW1 | 1.0001 | 1.0006
Tamar Region VTN |  | TVN2 | 0.9937 | 0.9908
Temco | 110 | TTE1 | 1.003 | 1.0032
Trevallyn | 22 | TTR2 | 0.9932 | 0.9901
Triabunna | 22 | TTB2 | 1.0395 | 1.03
Tungatinah | 22 | TTU2 | 0.9176 | 0.9142
Ulverstone | 22 | TUL2 | 0.9864 | 0.9772
Waddamana | 22 | TWA2 | 0.9298 | 0.9395
Wayatinah | 11 | TWY2 | 0.991 | 0.9802
Wesley Vale | 22 | TWV2 | 0.9847 | 0.9753

## TAS Gen
Tasmania (regional reference node is George Town 220 kV)
Tasmania Generators
Generator description | Voltage [kV] | DUID | Connection Point ID | TNI code | 2022-23 MLF | 2021-22 MLF
Basslink (George Town) | 220 | BLNKTAS | TGT11 | TGT1 | 1 | 1
Bastyan | 220 | BASTYAN | TFA11 | TFA1 | 0.9334 | 0.9286
Bell Bay No.3 | 110 | BBTHREE1 | TBB11 | TBB1 | 0.9975 | 0.9982
Bell Bay No.3 | 110 | BBTHREE2 | TBB12 | TBB1 | 0.9975 | 0.9982
Bell Bay No.3 | 110 | BBTHREE3 | TBB13 | TBB1 | 0.9975 | 0.9982
Bluff Point and Studland Bay Wind Farms | 110 | WOOLNTH1 | TST11 | TST1 | 0.8951 | 0.8794
Butlers Gorge | 110 | BUTLERSG | TBG11 | TBG1 | 0.914 | 0.9049
Catagunya | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9845 | 0.9789
Cethana | 220 | CETHANA | TCE11 | TCE1 | 0.9544 | 0.9512
Cluny | 220 | CLUNY | TCL11 | TCL1 | 0.985 | 0.9798
Devils gate | 110 | DEVILS_G | TDG11 | TDG1 | 0.9594 | 0.9566
Fisher | 220 | FISHER | TFI11 | TFI1 | 0.9655 | 0.9561
Gordon | 220 | GORDON | TGO11 | TGO1 | 0.94 | 0.928
Granville Harbour Wind Farm | 220 | GRANWF1 | TGH11G | TGH1 | 0.9543 | 0.9314
John Butters | 220 | JBUTTERS | TJB11 | TJB1 | 0.9395 | 0.9258
Lake Echo | 110 | LK_ECHO | TLE11 | TLE1 | 0.9142 | 0.9133
Lemonthyme | 220 | LEM_WIL | TSH11 | TSH1 | 0.9672 | 0.9608
Liapootah | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9845 | 0.9789
Mackintosh | 110 | MACKNTSH | TMA11 | TMA1 | 0.9186 | 0.9158
Meadowbank | 110 | MEADOWBK | TMB11 | TMB1 | 0.9824 | 0.983
Midlands PS | 22 | MIDLDPS1 | TAV21M | TAV2 | 1.0104 | 1.0023
Musselroe | 110 | MUSSELR1 | TDE11M | TDE1 | 0.9168 | 0.8999
Paloona | 110 | PALOONA | TPA11 | TPA1 | 0.9642 | 0.9587
Poatina | 220 | POAT220 | TPM11 | TPM1 | 0.9771 | 0.9691
Poatina | 110 | POAT110 | TPM21 | TPM2 | 0.9625 | 0.9512
Reece No.1 | 220 | REECE1 | TRCA1 | TRCA | 0.9229 | 0.9193
Reece No.2 | 220 | REECE2 | TRCB1 | TRCB | 0.9195 | 0.9147
Repulse | 220 | REPULSE | TCL12 | TCL1 | 0.985 | 0.9798
Rowallan | 220 | ROWALLAN | TFI12 | TFI1 | 0.9655 | 0.9561
St Leonards Scheduled Load | 22 | SLDCBLK1 | TSL3SL1S | TSL3 | 0.9945 | 0.9888
Tamar Valley CCGT | 220 | TVCC201 | TTV11A | TTV1 | 1 | 1
Tamar Valley OCGT | 110 | TVPP104 | TBB14A | TBB1 | 0.9975 | 0.9982
Tarraleah | 110 | TARRALEA | TTA11 | TTA1 | 0.9216 | 0.9106
Trevallyn | 110 | TREVALLN | TTR11 | TTR1 | 0.9891 | 0.9848
Tribute | 220 | TRIBUTE | TTI11 | TTI1 | 0.9263 | 0.9133
Tungatinah | 110 | TUNGATIN | TTU11 | TTU1 | 0.8795 | 0.8859
Wayatinah | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9845 | 0.9789
Wild Cattle Hill Wind Farm | 220 | CTHLWF1 | TWC11C | TWC1 | 0.9888 | 0.9809
Wilmot | 220 | LEM_WIL | TSH11 | TSH1 | 0.9672 | 0.9608