## Summary
Region | Generator | TNI | 2022/23 Historical Generator Energy (GWh) at Station | 2024/25 Forecast Generator Energy (GWh) at Station | 2024/25 Forecast Generator Energy (GWh) at TNI
QLD | Barcaldine PS | QBCG | 4.65 | 3.9 | 3.9 | Note 1
QLD | Barron Gorge PS | QBGH | 333.82 | 325.53 | 325.53 | Monthly Generator Energy for 2022/23 Historical and 2024/25 Forecast are in 'Detailed' sheet
QLD | Darling Downs PS (Note 2) | QBRA | 1361.25 | 1157.48 | 1882.67
QLD | Braemar PS Units 1, 2 and 3 (Note 2) | QBRA | 316.31 | 273.16 | 1882.67 | Note 2
QLD | Braemar PS Units 5, 6 and 7 (Note 2) | QBRA | 540.91 | 452.03 | 1882.67 | Reference year data is adjusted to reflect past and future outages.
QLD | Callide B PS (Note 2) | QCAB | 3858.85 | 3175.98 | 3175.98
QLD | Callide C PS (Note 2) | QCAC | 5688.52 | 4701.04 | 4701.04
QLD | Condamine PS | QCND | 94.82 | 78.92 | 78.92
QLD | Gladstone PS Units 1, 2, 5 and 6 (275 kV) (Note 2) | QGLH | 4338.48 | 3587.48 | 3587.48
QLD | Gladstone PS Units 3 and 4 (132 kV) (Note 2) | QGLL | 2305.65 | 1918.25 | 1918.25
QLD | Kareeya PS | QKYH | 381.58 | 381.78 | 381.78
QLD | Millmerran PS (Note 2) | QMLN | 5541.39 | 4454.98 | 4454.98
QLD | Mt Stuart PS unit 1 and 2 | QMSP | 4.75 | 4.09 | 10.64
QLD | Mt Stuart PS unit 3 | QMSP | 7.83 | 6.55 | 10.64
QLD | Oakey PS | QOKY | 106.88 | 92.76 | 92.76
QLD | Roma PS | QRMA | 20.43 | 15.85 | 15.85
QLD | Stanwell PS (Note 2) | QSTN | 8706 | 7204.39 | 7204.39
QLD | Swanbank E GT (Note 2) | QSWE | 922.4 | 923.13 | 923.13
QLD | Tarong North PS (Note 2) | QTNT | 2191.56 | 1803.49 | 1803.49
QLD | Tarong PS (Note 2) | QTRN | 8849.42 | 7283.03 | 7283.03
QLD | Yabulu PS (Townsville) | QTYP | 117.89 | 102.39 | 102.39
QLD | Kogan Creek PS (Note 2) | QWDN | 5532.63 | 4523.64 | 4523.64
QLD | Wivenhoe Pump | QWIP | -763.15 | -763.87 | -763.87
QLD | Wivenhoe PS | QWIV | 500.08 | 499.5 | 499.5
QLD | Yabulu Steam Turbine (Note 2) | QYST | 2.25 | 1.97 | 1.97
NSW | Bayswater PS Units 1 and 2 (330 kV) (Note 2) | NBAY | 6311.15 | 5303.78 | 5303.78
NSW | Blowering PS | NBLW | 284.34 | 282.25 | 282.25
NSW | Bayswater PS Units 3 and 4 (500 kV) (Note 2) | NBYW | 7154.56 | 6036.92 | 6036.92
NSW | Colongra PS | NCLG | 203.32 | 175.09 | 175.09
NSW | Eraring PS Units 1 and 2 (330 kV) (Note 2) | NEP3 | 6842.08 | 5776.9 | 5776.9
NSW | Eraring PS Units 3 and 4 (500 kV) (Note 2) | NEPS | 6223.56 | 5211.54 | 5211.54
NSW | Guthega PS | NGUT | 203.6 | 204.04 | 204.04
NSW | Smithfield Energy Facility | NHD2 | 32.42 | 27.71 | 27.71
NSW | Hume PS (NSW Share) | NHUM | 274.2 | 275.02 | 275.02
NSW | Lower Tumut PS | NLTS | 488.18 | 489.78 | 489.78
NSW | Mount Piper PS (Note 2) | NMTP | 5796.26 | 4948.36 | 4948.36
NSW | Hunter Economic Zone | NNEE | 0.03 | 0.03 | 0.03
NSW | Kangaroo Valley - Bendeela (Shoalhaven) | NSHN | -55.6 | -56.1 | -56.1
NSW | Tallawarra PS | NTWA | 1186.45 | 1013.06 | 1013.06
NSW | Uranquinty PS | NURQ | 146.62 | 126.2 | 126.2
NSW | Upper Tumut PS | NUTS | 1559.05 | 1560.72 | 1560.72
NSW | Vales Point PS (Note 2) | NVPP | 6477.68 | 5518.39 | 5518.39
VIC | Guthega - Jindabyne Pump | NGJP | -264.01 | -264.06 | -264.06
VIC | Murray PS | NMUR | 1815.27 | 1819.46 | 1819.46
VIC | Laverton PS (Note 2) | VAT2 | 100.19 | 85.89 | 85.89
VIC | Bairnsdale PS | VBDL | 63.63 | 57.37 | 57.37
VIC | Dartmouth PS (Note 2) | VDPS | 388.08 | 361.16 | 361.16
VIC | Eildon PS | VEPS | 287.29 | 286.4 | 286.4
VIC | Hume PS (Victorian Share) | VHUM | 20.08 | 20.08 | 20.08
VIC | Jeeralang PS A and B | VJLG | 45.67 | 40.74 | 40.74
VIC | Loy Yang PS A (Note 2) | VLYP | 13770.96 | 11719.25 | 18606.18
VIC | Loy Yang PS B | VLYP | 8090.15 | 6863.53 | 18606.18
VIC | Valley Power PS Units 1-6 | VLYP | 27.03 | 23.4 | 18606.18
VIC | Mortlake PS | VM0P | 431.5 | 384.98 | 384.98
VIC | Newport PS | VNPS | 373.58 | 334.7 | 334.7
VIC | Somerton PS | VSOM | 78.68 | 78.67 | 78.67
VIC | Bogong PS And McKay PS | VT14 | 234.16 | 234.95 | 234.95
VIC | West Kiewa PS | VWKP | 230.49 | 228.98 | 228.98
VIC | Yallourn PS Units 2, 3 and 4 (Note 2) | VYP2 | 5910.63 | 4984.78 | 4984.78
VIC | Yallourn PS Unit 1 220 kV | VYP3 | 955.18 | 822.51 | 1466.36
VIC | Yallourn PS Unit 1 500 kV | VYP3 | 755.25 | 643.85 | 1466.36
SA | Angaston PS | SANG | 5.27 | 4.65 | 4.65
SA | Barker Inlet PS | SBPS | 282.23 | 245.18 | 245.18
SA | Dry Creek PS Unit 3 | SDPS | 13.49 | 11.16 | 22.32
SA | Dry Creek PS Units 1 and 2 | SDPS | 13.49 | 11.16 | 22.32
SA | Hallett PS | SHPS | 66.94 | 58.96 | 58.96
SA | Mintaro PS | SMPS | 50.17 | 37.5 | 37.5
SA | Cummins Lonsdale PS | SMVE | 4.57 | 4.06 | 6.98
SA | Port Stanvac PS | SMVE | 3.41 | 2.92 | 6.98
SA | Snapper Point PS | SNPT | 17.88 | 15.58 | 15.58
SA | OCPL PS | SOCP | 417.36 | 346.49 | 346.49
SA | Ladbroke Grove PS | SPEW | 124.88 | 106.45 | 106.45
SA | Port Lincoln PS Unit 3 (33 kV) | SPL3 | -1.06 | -0.37 | -0.37
SA | Pelican Point PS | SPPT | 1672.98 | 1416.11 | 1416.11
SA | Port Lincoln PS Units 1 and 2 (132 kV) | SPTL | 4.04 | 3.32 | 3.32
SA | Quarantine PS | SQPS | 195.01 | 148.1 | 148.1
SA | Snuggery PS | SSPS | 4.22 | 3.69 | 3.69
SA | Torrens Island PS B (Note 2) | STPS | 846.28 | 670.64 | 670.64
TAS | Bell Bay and Tamar Valley OCGT | TBB1 | 75.64 | 102.22 | 102.22
TAS | Cethana (Note 2) | TCE1 | 148.53 | 156.2 | 156.2
TAS | Devils Gate | TDG1 | 274.2 | 288.5 | 288.5
TAS | Bastyan | TFA1 | 320.67 | 333.94 | 333.94
TAS | Gordon | TGO1 | 554.35 | 554.43 | 554.43
TAS | John Butters | TJB1 | 430.39 | 470.72 | 470.72
TAS | Lake Echo | TLE1 | 45.93 | 49.06 | 49.06
TAS | Liapootah, Wayatinah and Catagunya | TLI1 | 766.32 | 974.31 | 974.31
TAS | Mackintosh | TMA1 | 311.05 | 317.92 | 317.92
TAS | Meadowbank | TMB1 | 147.17 | 198.01 | 198.01
TAS | Poatina 3, 4, 5 and 6 (220 kV) | TPM1 | 927.2 | 945.9 | 945.9
TAS | Poatina 1 and 2 (110 kV) | TPM2 | 499.23 | 577.37 | 577.37
TAS | Reece 1 (Note 2) | TRCA | 457.7 | 480.77 | 480.77
TAS | Reece 2 | TRCB | 436.6 | 458.85 | 458.85
TAS | Lemonthyme / Wilmot | TSH1 | 376.22 | 376 | 376
TAS | Tarraleah | TTA1 | 467.97 | 507.67 | 507.67
TAS | Tribute | TTI1 | 242.36 | 266.33 | 266.33
TAS | Trevallyn (Note 2) | TTR1 | 519.92 | 572.07 | 572.07
TAS | Tungatinah | TTU1 | 425.31 | 549.27 | 549.27
TAS | Tamar Valley CCGT (Note 2) | TTV1 | -4.86 | -3.29 | -3.29

## Detailed
|  |  | 2022/23 Historical Monthly Generator Energy (GWh) | [12 empty] | 2024/25 Forecast Monthly Generator Energy (GWh) | [12 empty] | Difference in monthly energy (GWh) - if negative, energy has reduced in forecast | [12 empty] | Difference in monthly energy (%) (Note 3)
Region | Generator | TNI | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | Grand Total | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-02-28 | 2025-03-31 | 2025-04-30 | 2025-05-31 | Grand Total | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-02-28 | 2025-03-31 | 2025-04-30 | 2025-05-31 | Grand Total | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-02-28 | 2025-03-31 | 2025-04-30 | 2025-05-31 | Grand Total
QLD | Barcaldine PS | QBCG | 0.62 | 0.23 | 0.12 | -0.02 | 0.13 | 0.05 | 0.29 | 0.46 | 1.01 | 0.54 | 0.7 | 0.53 | 4.65 | 0.54 | 0.2 | 0.09 | -0.02 | 0.1 | 0.06 | 0.24 | 0.4 | 0.84 | 0.44 | 0.58 | 0.44 | 3.9 | -0.08 | -0.03 | -0.03 | 0 | -0.03 | 0.01 | -0.05 | -0.06 | -0.17 | -0.1 | -0.12 | -0.09 | -0.75 | -8% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | -17% | -10% | -12% | -9% | -15%
QLD | Barron Gorge PS | QBGH | 31.74 | 22.33 | 19.96 | 16.25 | 11.67 | 6.5 | 44.4 | 40.28 | 45.66 | 43.98 | 26.26 | 24.79 | 333.82 | 31.12 | 22.29 | 19.59 | 16.01 | 11.61 | 6.61 | 42.77 | 38.67 | 43.86 | 42.22 | 26.04 | 24.74 | 325.53 | -0.62 | -0.04 | -0.37 | -0.24 | -0.06 | 0.11 | -1.63 | -1.61 | -1.8 | -1.76 | -0.22 | -0.05 | -8.29 | -1.937% | -0.1818% | -1.85% | -1.5% | -0.5% | 1.571% | -3.705% | -4.025% | -3.913% | -4% | -0.8462% | -0.2% | -2.482%
QLD | Darling Downs PS (Note 2) | QBRA | 258.77 | 181.5 | 97.06 | 33.09 | 22.34 | 23.3 | 60.79 | 86.05 | 157.1 | 140.51 | 169.24 | 131.5 | 1361.25 | 219.29 | 162.3 | 91.56 | 28.39 | 17 | 17.63 | 53.57 | 76.34 | 130.56 | 112.88 | 140.39 | 107.58 | 1157.48 | -39.48 | -19.2 | -5.5 | -4.7 | -5.34 | -5.67 | -7.22 | -9.71 | -26.54 | -27.63 | -28.85 | -23.92 | -203.77 | -15.24% | -10.55% | -5.67% | -14.24% | -24.27% | -24.65% | -11.84% | -11.29% | -16.9% | -19.6% | -17.07% | -18.12% | -14.97%
QLD | Braemar PS Units 1, 2 and 3 (Note 2) | QBRA | 58.03 | 35.26 | 24.52 | 21.43 | 26.54 | 16.5 | 15.81 | 9.71 | 20.01 | 26.49 | 33.7 | 28.31 | 316.31 | 50.31 | 32.47 | 23.42 | 18.3 | 21.73 | 13.12 | 14 | 8.89 | 17.06 | 21.79 | 28.43 | 23.65 | 273.16 | -7.72 | -2.79 | -1.1 | -3.13 | -4.81 | -3.38 | -1.81 | -0.82 | -2.95 | -4.7 | -5.27 | -4.66 | -43.15 | -13.31% | -7.971% | -4.4% | -14.9% | -17.81% | -19.88% | -11.31% | -8.2% | -14.75% | -18.08% | -15.5% | -16.64% | -13.66%
QLD | Braemar PS Units 5, 6 and 7 (Note 2) | QBRA | 73.78 | 52.06 | 34.3 | 56.17 | 51.26 | 43.22 | 36.49 | 19.24 | 50.38 | 46.15 | 38.97 | 38.89 | 540.91 | 50.81 | 46.35 | 32.93 | 50.23 | 42.15 | 33.96 | 32.14 | 17.49 | 42.99 | 37.96 | 32.61 | 32.42 | 452.03 | -22.97 | -5.71 | -1.37 | -5.94 | -9.11 | -9.26 | -4.35 | -1.75 | -7.39 | -8.19 | -6.36 | -6.47 | -88.88 | -31.04% | -10.98% | -4.029% | -10.61% | -17.86% | -21.53% | -12.08% | -9.211% | -14.78% | -17.8% | -16.31% | -16.59% | -16.43%
QLD | Callide B PS (Note 2) | QCAB | 263.67 | 194.94 | 371.51 | 408.47 | 281.56 | 403.85 | 274.54 | 282.43 | 416.78 | 250.19 | 319.19 | 391.72 | 3858.85 | 218.42 | 171.79 | 333.15 | 340.64 | 205.71 | 301.31 | 232.86 | 247.35 | 346.65 | 202.67 | 261.33 | 314.11 | 3175.98 | -45.25 | -23.15 | -38.36 | -67.83 | -75.85 | -102.54 | -41.68 | -35.08 | -70.13 | -47.52 | -57.86 | -77.61 | -682.87 | -17.14% | -11.87% | -10.31% | -16.63% | -26.9% | -25.38% | -15.16% | -12.44% | -16.82% | -19.01% | -18.14% | -19.8% | -17.7%
QLD | Callide C PS (Note 2) | QCAC | 531.82 | 497.92 | 471.58 | 490.42 | 497.85 | 494.63 | 504.84 | 462.09 | 535.02 | 278.88 | 393.46 | 530.01 | 5688.52 | 442.1 | 440.15 | 420.37 | 408.45 | 367.4 | 368.25 | 433.27 | 404.1 | 446.29 | 226.86 | 320.35 | 423.45 | 4701.04 | -89.72 | -57.77 | -51.21 | -81.97 | -130.45 | -126.38 | -71.57 | -57.99 | -88.73 | -52.02 | -73.11 | -106.56 | -987.48 | -16.86% | -11.6% | -10.85% | -16.73% | -26.19% | -25.53% | -14.17% | -12.55% | -16.59% | -18.65% | -18.6% | -20.11% | -17.36%
QLD | Condamine PS | QCND | 40.81 | -0.64 | -0.5 | -0.39 | -0.32 | -0.45 | 0.38 | 0.82 | -0.09 | 1.65 | 26.27 | 27.26 | 94.82 | 34.24 | -0.57 | -0.44 | -0.32 | -0.27 | -0.35 | 0.36 | 0.74 | -0.07 | 1.35 | 21.91 | 22.34 | 78.92 | -6.57 | 0.07 | 0.06 | 0.07 | 0.05 | 0.1 | -0.02 | -0.08 | 0.02 | -0.3 | -4.36 | -4.92 | -15.9 | -16.02% | -7% | -6% | 0% | 0% | 0% | 0% | -8% | 0% | -15% | -16.77% | -18.22% | -16.74%
QLD | Gladstone PS Units 1, 2, 5 and 6 (275 kV) (Note 2) | QGLH | 466.76 | 244.56 | 287.86 | 338.95 | 444.31 | 404.53 | 440.13 | 417.52 | 417.15 | 245.73 | 343.24 | 287.73 | 4338.48 | 390.22 | 213.93 | 259.64 | 282.64 | 332.48 | 298.7 | 381.26 | 369.29 | 349.34 | 200.15 | 279.95 | 229.87 | 3587.48 | -76.54 | -30.63 | -28.22 | -56.31 | -111.83 | -105.83 | -58.87 | -48.23 | -67.81 | -45.58 | -63.29 | -57.86 | -751 | -16.39% | -12.5% | -9.799% | -16.61% | -25.19% | -26.13% | -13.38% | -11.54% | -16.26% | -18.53% | -18.45% | -20.09% | -17.31%
QLD | Gladstone PS Units 3 and 4 (132 kV) (Note 2) | QGLL | 233.76 | 186.18 | 180.76 | 178.73 | 167.64 | 228.82 | 203.1 | 183.89 | 165 | 204.33 | 220.18 | 153.25 | 2305.65 | 194.96 | 163.99 | 162.91 | 151.19 | 126.01 | 170.95 | 176.44 | 163.18 | 138.4 | 166 | 180.32 | 123.9 | 1918.25 | -38.8 | -22.19 | -17.85 | -27.54 | -41.63 | -57.87 | -26.66 | -20.71 | -26.6 | -38.33 | -39.86 | -29.35 | -387.4 | -16.58% | -11.93% | -9.862% | -15.39% | -24.78% | -25.27% | -13.13% | -11.26% | -16.12% | -18.79% | -18.12% | -19.18% | -16.8%
QLD | Kareeya PS | QKYH | 52.06 | 21.48 | 32.32 | 15.1 | 7.01 | 8.68 | 44.63 | 36.52 | 51.83 | 47.7 | 43.83 | 20.41 | 381.58 | 52.05 | 21.47 | 32.32 | 15.1 | 7.06 | 8.9 | 44.62 | 36.52 | 51.82 | 47.66 | 43.83 | 20.41 | 381.78 | -0.01 | -0.01 | 0 | 0 | 0.05 | 0.22 | -0.01 | 0 | -0.01 | -0.04 | 0 | 0 | 0.2 | -0.01923% | -0.04762% | 0% | 0% | 0.7143% | 2.444% | -0.02222% | 0% | -0.01923% | -0.08333% | 0% | 0% | 0.05236%
QLD | Millmerran PS (Note 2) | QMLN | 513.23 | 575.3 | 397.86 | 456.23 | 510.92 | 533.78 | 425.23 | 517.58 | 521.76 | 272.99 | 331.59 | 484.92 | 5541.39 | 417.37 | 497.67 | 350.66 | 373.65 | 369.5 | 381.38 | 350.53 | 435.05 | 416.76 | 217.57 | 262.34 | 382.49 | 4454.98 | -95.86 | -77.63 | -47.2 | -82.58 | -141.42 | -152.4 | -74.7 | -82.53 | -105 | -55.42 | -69.25 | -102.43 | -1086.41 | -18.69% | -13.5% | -11.86% | -18.11% | -27.68% | -28.54% | -17.58% | -15.93% | -20.11% | -20.3% | -20.86% | -21.12% | -19.61%
QLD | Mt Stuart PS unit 1 and 2 | QMSP | 1.7 | -0.26 | 0.11 | -0.19 | -0.26 | -0.15 | -0.27 | 1.2 | 1.05 | 0.67 | 0.42 | 0.73 | 4.75 | 1.45 | -0.23 | 0.12 | -0.18 | -0.19 | -0.11 | -0.23 | 1.06 | 0.88 | 0.57 | 0.36 | 0.59 | 4.09 | -0.25 | 0.03 | 0.01 | 0.01 | 0.07 | 0.04 | 0.04 | -0.14 | -0.17 | -0.1 | -0.06 | -0.14 | -0.66 | -12.5% | 0% | 0% | 0% | 0% | 0% | 0% | -14% | -17% | -10% | 0% | -14% | -13.2%
QLD | Mt Stuart PS unit 3 | QMSP | -0.05 | -0.06 | -0.05 | -0.08 | 0 | 0.23 | -0.19 | 1.06 | 1.04 | 1.98 | 2.63 | 1.33 | 7.83 | -0.04 | -0.06 | -0.05 | -0.07 | 0 | 0.13 | -0.16 | 0.95 | 0.89 | 1.63 | 2.25 | 1.07 | 6.55 | 0.01 | 0 | 0 | 0.01 | 0 | -0.1 | 0.03 | -0.11 | -0.15 | -0.35 | -0.38 | -0.26 | -1.28 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | -11% | -15% | -17.5% | -12.67% | -26% | -16%
QLD | Oakey PS | QOKY | 11.84 | 12.68 | 11.74 | 4.58 | 4.5 | 5.34 | 9.58 | 4.1 | 9.47 | 20.6 | 8.19 | 4.26 | 106.88 | 10.24 | 11.77 | 11.17 | 4.06 | 3.6 | 4.2 | 8.34 | 3.72 | 8.09 | 16.9 | 7.05 | 3.64 | 92.76 | -1.6 | -0.91 | -0.57 | -0.52 | -0.9 | -1.14 | -1.24 | -0.38 | -1.38 | -3.7 | -1.14 | -0.62 | -14.12 | -13.33% | -7% | -4.75% | -10.4% | -18% | -22.8% | -12.4% | -9.5% | -15.33% | -17.62% | -14.25% | -15.5% | -13.2%
QLD | Roma PS | QRMA | 2.98 | 4.53 | 0.29 | 0.17 | 0.37 | 0.42 | 0.89 | 1.32 | 2.06 | 2.63 | 1.5 | 3.28 | 20.43 | 2.22 | 3.64 | 0.23 | 0.15 | 0.27 | 0.31 | 0.67 | 1.05 | 1.57 | 2.08 | 1.08 | 2.57 | 15.85 | -0.76 | -0.89 | -0.06 | -0.02 | -0.1 | -0.11 | -0.22 | -0.27 | -0.49 | -0.55 | -0.42 | -0.71 | -4.58 | -25.33% | -17.8% | 0% | 0% | 0% | 0% | -22% | -27% | -24.5% | -18.33% | -21% | -23.67% | -22.9%
QLD | Stanwell PS (Note 2) | QSTN | 690.23 | 637.46 | 686.02 | 865.64 | 799.97 | 627.23 | 705.31 | 690.55 | 770.02 | 766 | 757.63 | 709.95 | 8706 | 574.15 | 565.25 | 613.11 | 724.57 | 592.47 | 468.01 | 607.9 | 606.61 | 642.41 | 621.62 | 618.21 | 570.07 | 7204.39 | -116.08 | -72.21 | -72.91 | -141.07 | -207.5 | -159.22 | -97.41 | -83.94 | -127.61 | -144.38 | -139.42 | -139.88 | -1501.61 | -16.82% | -11.34% | -10.63% | -16.29% | -25.94% | -25.39% | -13.82% | -12.15% | -16.57% | -18.85% | -18.39% | -19.7% | -17.25%
QLD | Swanbank E GT (Note 2) | QSWE | 91.18 | 2.64 | 15.48 | 89.69 | 88.34 | 70.19 | 115.14 | 87.61 | 94.13 | 68.3 | 108.73 | 90.96 | 922.4 | 91 | 2.64 | 15.16 | 89.56 | 88.64 | 71.41 | 115.09 | 87.54 | 94.12 | 68.3 | 108.72 | 90.96 | 923.13 | -0.18 | 0 | -0.32 | -0.13 | 0.3 | 1.22 | -0.05 | -0.07 | -0.01 | 0 | -0.01 | 0 | 0.73 | -0.1978% | 0% | -2.133% | -0.1444% | 0.3409% | 1.743% | -0.04348% | -0.07955% | -0.01064% | 0% | -0.009174% | 0% | 0.07918%
QLD | Tarong North PS (Note 2) | QTNT | 250.19 | 248.44 | 263.55 | 251.01 | 244.6 | 225.55 | 191.35 | 130.71 | 114.76 | 15.66 | 0 | 255.73 | 2191.56 | 206.8 | 218.52 | 232.19 | 208.12 | 179.3 | 169.03 | 163.27 | 113.9 | 95.18 | 12.86 | 0 | 204.32 | 1803.49 | -43.39 | -29.92 | -31.36 | -42.89 | -65.3 | -56.52 | -28.08 | -16.81 | -19.58 | -2.8 | 0 | -51.41 | -388.07 | -17.36% | -12.06% | -11.88% | -17.09% | -26.65% | -25.01% | -14.7% | -12.83% | -17.03% | -17.5% | 0% | -20.08% | -17.7%
QLD | Tarong PS (Note 2) | QTRN | 754.71 | 601.31 | 578.97 | 552.39 | 754.93 | 757.97 | 825.19 | 783.11 | 891.44 | 817.01 | 860.44 | 671.94 | 8849.42 | 627.04 | 529.59 | 516.7 | 457.97 | 554.64 | 566.38 | 710.73 | 686.72 | 742.37 | 658.81 | 697.43 | 534.66 | 7283.03 | -127.67 | -71.72 | -62.27 | -94.42 | -200.29 | -191.59 | -114.46 | -96.39 | -149.07 | -158.2 | -163.01 | -137.28 | -1566.39 | -16.91% | -11.93% | -10.75% | -17.11% | -26.53% | -25.28% | -13.87% | -12.31% | -16.73% | -19.36% | -18.95% | -20.43% | -17.7%
QLD | Yabulu PS (Townsville) | QTYP | 8.01 | 11.31 | 8.05 | 0.71 | 2.87 | 15.89 | 11.59 | 15.01 | 18.74 | 8.34 | 11.89 | 5.49 | 117.89 | 7 | 10.62 | 7.89 | 0.68 | 2.21 | 12.4 | 10.24 | 13.51 | 16.11 | 6.91 | 10.16 | 4.63 | 102.39 | -1.01 | -0.69 | -0.16 | -0.03 | -0.66 | -3.49 | -1.35 | -1.5 | -2.63 | -1.43 | -1.73 | -0.86 | -15.5 | -12.62% | -6.273% | -2% | -3% | -22% | -21.81% | -11.25% | -10% | -13.84% | -17.87% | -14.42% | -17.2% | -13.14%
QLD | Kogan Creek PS (Note 2) | QWDN | 469.78 | 440.33 | 453.14 | 481.77 | 433.13 | 477.59 | 477.96 | 404.35 | 490.11 | 470.89 | 472.62 | 460.97 | 5532.63 | 388.97 | 388.03 | 401.76 | 398.03 | 313.46 | 348.05 | 409.3 | 350.15 | 401.05 | 380.48 | 379.56 | 364.8 | 4523.64 | -80.81 | -52.3 | -51.38 | -83.74 | -119.67 | -129.54 | -68.66 | -54.2 | -89.06 | -90.41 | -93.06 | -96.17 | -1008.99 | -17.19% | -11.89% | -11.34% | -17.37% | -27.64% | -27.1% | -14.36% | -13.42% | -18.18% | -19.2% | -19.67% | -20.86% | -18.24%
QLD | Wivenhoe Pump | QWIP | -86.83 | -81.95 | -78.29 | -54.23 | -66.44 | -75.18 | -68.52 | -60.42 | -49.25 | -57.92 | -46.09 | -38.05 | -763.15 | -86.83 | -81.95 | -78.29 | -54.23 | -66.91 | -75.42 | -68.52 | -60.42 | -49.25 | -57.92 | -46.09 | -38.05 | -763.87 | 0 | 0 | 0 | 0 | -0.47 | -0.24 | 0 | 0 | 0 | 0 | 0 | 0 | -0.72 | 0% | 0% | 0% | 0% | 0.7121% | 0.32% | 0% | 0% | 0% | 0% | 0% | 0% | 0.09436%
QLD | Wivenhoe PS | QWIV | 57.03 | 54.06 | 50.3 | 35.42 | 44.2 | 50.08 | 46.1 | 38.51 | 30.77 | 39.16 | 28.84 | 25.6 | 500.08 | 56.9 | 53.94 | 50.21 | 35.34 | 44.12 | 50.59 | 46.03 | 38.45 | 30.67 | 39.03 | 28.72 | 25.49 | 499.5 | -0.13 | -0.12 | -0.09 | -0.08 | -0.08 | 0.51 | -0.07 | -0.06 | -0.1 | -0.13 | -0.12 | -0.11 | -0.58 | -0.2281% | -0.2222% | -0.18% | -0.2286% | -0.1818% | 1.02% | -0.1522% | -0.1538% | -0.3226% | -0.3333% | -0.4138% | -0.4231% | -0.116%
QLD | Yabulu Steam Turbine (Note 2) | QYST | -0.08 | -0.08 | -0.06 | -0.14 | -0.1 | 0.78 | -0.11 | 2.62 | -0.15 | -0.14 | -0.14 | -0.14 | 2.25 | -0.07 | -0.07 | -0.06 | -0.12 | -0.07 | 0.59 | -0.09 | 2.33 | -0.12 | -0.12 | -0.12 | -0.11 | 1.97 | 0.01 | 0.01 | 0 | 0.02 | 0.03 | -0.19 | 0.02 | -0.29 | 0.03 | 0.02 | 0.02 | 0.03 | -0.28 | 0% | 0% | 0% | 0% | 0% | -19% | 0% | -9.667% | 0% | 0% | 0% | 0% | -14%
Region | Generator | TNI | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | Grand Total | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-02-28 | 2025-03-31 | 2025-04-30 | 2025-05-31 | Grand Total | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-02-28 | 2025-03-31 | 2025-04-30 | 2025-05-31 | Grand Total | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-02-28 | 2025-03-31 | 2025-04-30 | 2025-05-31 | Grand Total
NSW | Bayswater PS Units 1 and 2 (330 kV) (Note 2) | NBAY | 710.66 | 644.26 | 131.43 | 356.95 | 361.19 | 562.66 | 526.33 | 529.51 | 666.37 | 483.13 | 631.93 | 706.73 | 6311.15 | 603.16 | 580.14 | 126.48 | 310.24 | 280.87 | 428.6 | 459.71 | 478.48 | 558.57 | 391.19 | 516.06 | 570.28 | 5303.78 | -107.5 | -64.12 | -4.95 | -46.71 | -80.32 | -134.06 | -66.62 | -51.03 | -107.8 | -91.94 | -115.87 | -136.45 | -1007.37 | -15.12% | -9.957% | -3.779% | -13.08% | -22.25% | -23.81% | -12.67% | -9.628% | -16.19% | -19.04% | -18.33% | -19.3% | -15.96%
NSW | Blowering PS | NBLW | 52.05 | 8.85 | 0.81 | 19.46 | 0.18 | 45.38 | 50.76 | 41.49 | 19.05 | 0 | 24.31 | 22 | 284.34 | 50.66 | 8.85 | 0.81 | 19.46 | 0.18 | 45.87 | 50 | 41.39 | 19.05 | 0 | 24.04 | 21.95 | 282.25 | -1.39 | 0 | 0 | 0 | 0 | 0.49 | -0.76 | -0.1 | 0 | 0 | -0.27 | -0.05 | -2.09 | -2.673% | 0% | 0% | 0% | 0% | 1.089% | -1.49% | -0.2439% | 0% | 0% | -1.125% | -0.2273% | -0.7359%
NSW | Bayswater PS Units 3 and 4 (500 kV) (Note 2) | NBYW | 493.23 | 679.95 | 670.14 | 687.27 | 535 | 644.84 | 414.87 | 509.48 | 351.04 | 677.25 | 813.29 | 678.21 | 7154.56 | 424.93 | 608.44 | 623.43 | 598.01 | 417.22 | 487.45 | 360.63 | 459.47 | 295.54 | 552.72 | 662.09 | 546.97 | 6036.92 | -68.3 | -71.51 | -46.71 | -89.26 | -117.78 | -157.39 | -54.24 | -50.01 | -55.5 | -124.53 | -151.2 | -131.24 | -1117.64 | -13.85% | -10.52% | -6.972% | -12.99% | -22.01% | -24.4% | -13.07% | -9.825% | -15.81% | -18.39% | -18.6% | -19.36% | -15.62%
NSW | Colongra PS | NCLG | 138.01 | 0.74 | 1.38 | 5.86 | 4.5 | 2.14 | 5.9 | 6.42 | 13.87 | 6.25 | 17.66 | 0.57 | 203.32 | 119.54 | 0.69 | 1.35 | 4.95 | 3.71 | 1.81 | 5.21 | 5.5 | 11.73 | 5.15 | 14.94 | 0.52 | 175.09 | -18.47 | -0.05 | -0.03 | -0.91 | -0.79 | -0.33 | -0.69 | -0.92 | -2.14 | -1.1 | -2.72 | -0.05 | -28.23 | -13.38% | -5% | -3% | -15.17% | -15.8% | -16.5% | -11.5% | -15.33% | -15.29% | -18.33% | -15.11% | -5% | -13.91%
NSW | Eraring PS Units 1 and 2 (330 kV) (Note 2) | NEP3 | 555.36 | 495.29 | 523.51 | 642.78 | 637.46 | 554.89 | 517.13 | 459.71 | 591.28 | 421.48 | 683.52 | 759.69 | 6842.08 | 476.68 | 446.55 | 492.43 | 562.36 | 495.24 | 421.35 | 457.87 | 414.7 | 494.97 | 344.92 | 556.87 | 612.95 | 5776.9 | -78.68 | -48.74 | -31.08 | -80.42 | -142.22 | -133.54 | -59.26 | -45.01 | -96.31 | -76.56 | -126.65 | -146.74 | -1065.18 | -14.18% | -9.846% | -5.931% | -12.51% | -22.33% | -24.06% | -11.46% | -9.785% | -16.3% | -18.19% | -18.52% | -19.31% | -15.57%
NSW | Eraring PS Units 3 and 4 (500 kV) (Note 2) | NEPS | 672.85 | 512.08 | 239.35 | 382.96 | 488.14 | 462.73 | 405.67 | 404.32 | 610.96 | 677.65 | 590.42 | 776.42 | 6223.56 | 576.83 | 461.49 | 223.71 | 323.83 | 385.17 | 351.94 | 351.54 | 364.57 | 511.54 | 552.38 | 482.18 | 626.36 | 5211.54 | -96.02 | -50.59 | -15.64 | -59.13 | -102.97 | -110.79 | -54.13 | -39.75 | -99.42 | -125.27 | -108.24 | -150.06 | -1012.02 | -14.27% | -9.881% | -6.544% | -15.44% | -21.1% | -23.93% | -13.33% | -9.839% | -16.27% | -18.48% | -18.35% | -19.34% | -16.26%
NSW | Guthega PS | NGUT | 5.46 | 16.78 | 24.1 | 46.07 | 39.71 | 18.27 | 8.2 | 8.01 | 5.13 | 8.22 | 9.54 | 14.1 | 203.6 | 5.46 | 16.77 | 24.09 | 46 | 39.89 | 18.64 | 8.2 | 8 | 5.13 | 8.22 | 9.54 | 14.1 | 204.04 | 0 | -0.01 | -0.01 | -0.07 | 0.18 | 0.37 | 0 | -0.01 | 0 | 0 | 0 | 0 | 0.44 | 0% | -0.05882% | -0.04167% | -0.1522% | 0.45% | 2.056% | 0% | -0.125% | 0% | 0% | 0% | 0% | 0.2157%
NSW | Smithfield Energy Facility | NHD2 | 2.85 | 2.9 | 1.88 | 0.83 | 0.62 | -0.04 | 1.31 | 0.29 | 2.43 | 5.03 | 9.52 | 4.81 | 32.42 | 2.5 | 2.65 | 1.77 | 0.74 | 0.53 | -0.03 | 1.08 | 0.26 | 2.04 | 4.14 | 8.03 | 4.01 | 27.71 | -0.35 | -0.25 | -0.11 | -0.09 | -0.09 | 0.01 | -0.23 | -0.03 | -0.39 | -0.89 | -1.49 | -0.8 | -4.71 | -11.67% | -8.333% | -5.5% | -9% | -9% | 0% | -23% | 0% | -19.5% | -17.8% | -14.9% | -16% | -14.72%
NSW | Hume PS (NSW Share) | NHUM | 34.35 | 28.85 | 39.23 | 41.46 | 39.7 | 34.58 | 14.41 | 5.32 | 12.12 | 2.35 | 7.83 | 13.99 | 274.2 | 34.35 | 28.85 | 39.23 | 41.46 | 39.96 | 35.15 | 14.41 | 5.32 | 12.12 | 2.35 | 7.83 | 13.99 | 275.02 | 0 | 0 | 0 | 0 | 0.26 | 0.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82 | 0% | 0% | 0% | 0% | 0.65% | 1.629% | 0% | 0% | 0% | 0% | 0% | 0% | 0.2993%
NSW | Lower Tumut PS | NLTS | 31.04 | 50.78 | 26.91 | 45.03 | 71.57 | 28.59 | 60.93 | 5.52 | 42.03 | 24.61 | 45.65 | 55.52 | 488.18 | 31.01 | 50.73 | 26.86 | 44.99 | 71.53 | 30.71 | 60.89 | 5.45 | 41.98 | 24.58 | 45.58 | 55.47 | 489.78 | -0.03 | -0.05 | -0.05 | -0.04 | -0.04 | 2.12 | -0.04 | -0.07 | -0.05 | -0.03 | -0.07 | -0.05 | 1.6 | -0.09677% | -0.09804% | -0.1852% | -0.08889% | -0.05556% | 7.31% | -0.06557% | -1.167% | -0.119% | -0.12% | -0.1522% | -0.08929% | 0.3279%
NSW | Mount Piper PS (Note 2) | NMTP | 895.88 | 666.13 | 556.33 | 327.53 | 281.16 | 436.59 | 491.03 | 414.7 | 266.21 | 301.56 | 591.17 | 567.96 | 5796.26 | 767.79 | 602.1 | 523.83 | 286.47 | 220.64 | 334.7 | 427.25 | 372.58 | 222.89 | 246.62 | 484.11 | 459.38 | 4948.36 | -128.09 | -64.03 | -32.5 | -41.06 | -60.52 | -101.89 | -63.78 | -42.12 | -43.32 | -54.94 | -107.06 | -108.58 | -847.9 | -14.3% | -9.614% | -5.845% | -12.52% | -21.54% | -23.32% | -12.99% | -10.15% | -16.29% | -18.19% | -18.12% | -19.12% | -14.63%
NSW | Hunter Economic Zone | NNEE | -0.05 | -0.03 | -0.06 | -0.03 | -0.01 | -0.05 | 0 | -0.01 | 0.03 | -0.03 | 0.22 | 0.05 | 0.03 | -0.05 | -0.03 | -0.06 | -0.03 | -0.01 | -0.05 | 0 | -0.01 | 0.03 | -0.03 | 0.22 | 0.05 | 0.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
NSW | Kangaroo Valley - Bendeela (Shoalhaven) | NSHN | 8.42 | -9.24 | -6.5 | -2.19 | -3.96 | -12.43 | -4.12 | -4.15 | -0.03 | -7.92 | -7.2 | -6.28 | -55.6 | 8.35 | -9.33 | -6.64 | -2.19 | -4.16 | -12.18 | -4.21 | -4.15 | -0.04 | -7.99 | -7.22 | -6.33 | -56.1 | -0.07 | -0.09 | -0.14 | 0 | -0.2 | 0.25 | -0.09 | 0 | -0.01 | -0.07 | -0.02 | -0.05 | -0.5 | -0.875% | 1% | 2% | 0% | 5% | -2.083% | 2.25% | 0% | 0% | 0.875% | 0.2857% | 0.8333% | 0.8929%
NSW | Tallawarra PS | NTWA | 155.92 | 104.55 | 99.16 | 95.11 | 45.47 | 26.47 | 49.9 | 1.42 | 213.8 | 153.82 | 138.54 | 102.29 | 1186.45 | 132.76 | 95.62 | 94.82 | 86.78 | 36.99 | 21.58 | 42.61 | 1.29 | 177.22 | 125.96 | 113.6 | 83.83 | 1013.06 | -23.16 | -8.93 | -4.34 | -8.33 | -8.48 | -4.89 | -7.29 | -0.13 | -36.58 | -27.86 | -24.94 | -18.46 | -173.39 | -14.85% | -8.505% | -4.384% | -8.768% | -18.84% | -18.81% | -14.58% | -13% | -17.09% | -18.09% | -17.94% | -18.1% | -14.62%
NSW | Uranquinty PS | NURQ | 20.98 | 7.7 | 7.22 | 6.2 | 0.96 | -0.4 | 7.66 | 5.73 | 7.31 | 16.38 | 54.51 | 12.39 | 146.62 | 18.43 | 7.07 | 6.82 | 5.62 | 0.74 | -0.31 | 6.81 | 4.92 | 6.13 | 13.49 | 45.88 | 10.59 | 126.2 | -2.55 | -0.63 | -0.4 | -0.58 | -0.22 | 0.09 | -0.85 | -0.81 | -1.18 | -2.89 | -8.63 | -1.8 | -20.42 | -12.14% | -7.875% | -5.714% | -9.667% | -22% | 0% | -10.63% | -13.5% | -16.86% | -18.06% | -15.69% | -15% | -13.89%
NSW | Upper Tumut PS | NUTS | 156.57 | 63.89 | 68.89 | 68.05 | 146.09 | 112.35 | 182.79 | 73.89 | 148.62 | 112 | 220.81 | 205.1 | 1559.05 | 156.56 | 63.89 | 68.87 | 68.04 | 146.25 | 113.96 | 182.78 | 73.88 | 148.61 | 111.99 | 220.8 | 205.09 | 1560.72 | -0.01 | 0 | -0.02 | -0.01 | 0.16 | 1.61 | -0.01 | -0.01 | -0.01 | -0.01 | -0.01 | -0.01 | 1.67 | -0.006369% | 0% | -0.02899% | -0.01471% | 0.1096% | 1.437% | -0.005464% | -0.01351% | -0.006711% | -0.008929% | -0.004525% | -0.004878% | 0.1071%
NSW | Vales Point PS (Note 2) | NVPP | 695.93 | 677.32 | 471.75 | 288.04 | 350.11 | 527.08 | 531.82 | 518.16 | 654.36 | 631.45 | 589.45 | 542.23 | 6477.68 | 597.68 | 611.89 | 445.2 | 257.62 | 275.01 | 403.97 | 471.36 | 468.6 | 548.16 | 515.53 | 483.79 | 439.58 | 5518.39 | -98.25 | -65.43 | -26.55 | -30.42 | -75.1 | -123.11 | -60.46 | -49.56 | -106.2 | -115.92 | -105.66 | -102.65 | -959.29 | -14.12% | -9.665% | -5.625% | -10.56% | -21.46% | -23.36% | -11.36% | -9.568% | -16.24% | -18.37% | -17.94% | -18.94% | -14.81%
Region | Generator | TNI | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | Grand Total | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-02-28 | 2025-03-31 | 2025-04-30 | 2025-05-31 | Grand Total | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-02-28 | 2025-03-31 | 2025-04-30 | 2025-05-31 | Grand Total | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-02-28 | 2025-03-31 | 2025-04-30 | 2025-05-31 | Grand Total
VIC | Guthega - Jindabyne Pump | NGJP | -43.45 | -45.27 | -21.84 | -0.01 | -2.33 | -9.73 | -26.02 | -22.78 | -33.57 | -16.61 | -20.59 | -21.81 | -264.01 | -43.45 | -45.27 | -21.84 | -0.01 | -2.33 | -9.78 | -26.02 | -22.78 | -33.57 | -16.61 | -20.59 | -21.81 | -264.06 | 0 | 0 | 0 | 0 | 0 | -0.05 | 0 | 0 | 0 | 0 | 0 | 0 | -0.05 | 0% | 0% | 0% | 0% | 0% | 0.5% | 0% | 0% | 0% | 0% | 0% | 0% | 0.01894%
VIC | Murray PS | NMUR | 271.25 | 249.08 | 195.77 | 156.41 | 101.51 | 93.34 | 91.82 | 97.38 | 138.64 | 91.83 | 169.85 | 158.38 | 1815.27 | 271.64 | 249.22 | 195.93 | 156.5 | 102.09 | 95.78 | 92.08 | 97.48 | 138.7 | 91.96 | 169.94 | 158.15 | 1819.46 | 0.39 | 0.14 | 0.16 | 0.09 | 0.58 | 2.44 | 0.26 | 0.1 | 0.06 | 0.13 | 0.09 | -0.23 | 4.19 | 0.1439% | 0.05622% | 0.08163% | 0.05769% | 0.5686% | 2.624% | 0.2826% | 0.1031% | 0.04317% | 0.1413% | 0.05294% | -0.1456% | 0.2309%
VIC | Laverton PS (Note 2) | VAT2 | 64.56 | 6.01 | 0.08 | 0.36 | 2.29 | 2.31 | 0 | 1.18 | 7.56 | 4.92 | 7.44 | 3.48 | 100.19 | 55.54 | 5.73 | 0.1 | 0.34 | 1.67 | 1.62 | 0 | 1.03 | 6.35 | 4.13 | 6.38 | 3.03 | 85.89 | -9.02 | -0.28 | 0.02 | -0.02 | -0.62 | -0.69 | 0 | -0.15 | -1.21 | -0.79 | -1.06 | -0.45 | -14.3 | -13.88% | -4.667% | 0% | 0% | -31% | -34.5% | 0% | -15% | -15.12% | -15.8% | -15.14% | -15% | -14.3%
VIC | Bairnsdale PS | VBDL | 7.31 | 9.62 | 4.53 | 2.81 | 2.42 | 1.42 | 2.7 | 0.95 | 5.55 | 8.3 | 10.6 | 7.42 | 63.63 | 6.47 | 8.75 | 4.1 | 2.67 | 2.03 | 1.26 | 2.38 | 0.87 | 4.73 | 7.65 | 9.69 | 6.78 | 57.37 | -0.84 | -0.87 | -0.43 | -0.14 | -0.39 | -0.16 | -0.32 | -0.08 | -0.82 | -0.65 | -0.91 | -0.64 | -6.26 | -12% | -8.7% | -8.6% | -4.667% | -19.5% | -16% | -10.67% | -8% | -13.67% | -8.125% | -8.273% | -9.143% | -9.781%
VIC | Dartmouth PS (Note 2) | VDPS | 13.83 | 63.03 | 75.03 | 22.05 | 41.32 | 28.82 | 22.87 | 44.58 | 19.23 | 18.68 | 4.02 | 34.63 | 388.08 | 13.08 | 56.07 | 70.93 | 22.01 | 39.69 | 28.48 | 21.82 | 39.42 | 18.21 | 17.13 | 3.82 | 30.51 | 361.16 | -0.75 | -6.96 | -4.1 | -0.04 | -1.63 | -0.34 | -1.05 | -5.16 | -1.02 | -1.55 | -0.2 | -4.12 | -26.92 | -5.357% | -11.05% | -5.467% | -0.1818% | -3.976% | -1.172% | -4.565% | -11.47% | -5.368% | -8.158% | -5% | -11.77% | -6.938%
VIC | Eildon PS | VEPS | 13.76 | 5.6 | 33.14 | 69.23 | 61.81 | 13.81 | 11.18 | 10.62 | 15.87 | 12.42 | 1.92 | 37.93 | 287.29 | 13.76 | 5.58 | 32.94 | 68.88 | 61.88 | 13.9 | 11.13 | 10.58 | 15.79 | 12.35 | 1.91 | 37.7 | 286.4 | 0 | -0.02 | -0.2 | -0.35 | 0.07 | 0.09 | -0.05 | -0.04 | -0.08 | -0.07 | -0.01 | -0.23 | -0.89 | 0% | -0.3333% | -0.6061% | -0.5072% | 0.1129% | 0.6429% | -0.4545% | -0.3636% | -0.5% | -0.5833% | -0.5% | -0.6053% | -0.3101%
VIC | Hume PS (Victorian Share) | VHUM | 0 | 12.29 | 2.11 | 0.22 | 0.1 | 0 | 0 | 1.03 | 0 | -0.03 | 4.35 | 0 | 20.08 | 0 | 12.29 | 2.11 | 0.22 | 0.1 | 0 | 0 | 1.03 | 0 | -0.03 | 4.35 | 0 | 20.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
VIC | Jeeralang PS A and B | VJLG | 12.83 | 12.75 | 3.22 | 0.27 | 3.31 | 0.66 | 0.57 | 3.03 | 4.74 | 1.67 | 0.75 | 1.86 | 45.67 | 11.36 | 11.79 | 3.16 | 0.27 | 2.79 | 0.52 | 0.46 | 2.75 | 4.04 | 1.41 | 0.61 | 1.59 | 40.74 | -1.47 | -0.96 | -0.06 | 0 | -0.52 | -0.14 | -0.11 | -0.28 | -0.7 | -0.26 | -0.14 | -0.27 | -4.93 | -11.31% | -7.385% | -2% | 0% | -17.33% | -14% | -11% | -9.333% | -14% | -13% | -14% | -13.5% | -10.72%
VIC | Loy Yang PS A (Note 2) | VLYP | 1356.24 | 1349.87 | 1040.39 | 932.24 | 767.3 | 1192.17 | 1208.41 | 1028.6 | 1284.38 | 1272.49 | 1290.08 | 1048.8 | 13770.96 | 1169.2 | 1223.57 | 976.87 | 817.54 | 596.77 | 922.39 | 1060.15 | 933.92 | 1077.41 | 1043.76 | 1049.33 | 848.33 | 11719.25 | -187.04 | -126.3 | -63.52 | -114.7 | -170.53 | -269.78 | -148.26 | -94.68 | -206.97 | -228.73 | -240.75 | -200.47 | -2051.71 | -13.79% | -9.356% | -6.108% | -12.31% | -22.23% | -22.63% | -12.27% | -9.201% | -16.12% | -17.98% | -18.66% | -19.11% | -14.9%
VIC | Loy Yang PS B | VLYP | 770.43 | 607.29 | 682.31 | 700.43 | 634.27 | 621.14 | 649.06 | 619.95 | 694.67 | 684.88 | 746.41 | 679.3 | 8090.15 | 663.58 | 551.35 | 643.54 | 619.75 | 497.23 | 477.75 | 561.53 | 554.31 | 575.48 | 561.53 | 607.71 | 549.76 | 6863.53 | -106.85 | -55.94 | -38.77 | -80.68 | -137.04 | -143.39 | -87.53 | -65.64 | -119.19 | -123.35 | -138.7 | -129.54 | -1226.62 | -13.88% | -9.216% | -5.685% | -11.53% | -21.62% | -23.09% | -13.49% | -10.59% | -17.15% | -18.01% | -18.59% | -19.08% | -15.16%
VIC | Valley Power PS Units 1-6 | VLYP | 21.74 | 0.21 | -0.15 | -0.09 | 0.03 | 0.15 | -0.09 | -0.19 | 3.14 | 0.06 | 0.82 | 1.4 | 27.03 | 18.92 | 0.17 | -0.1 | -0.07 | 0.02 | 0.08 | -0.08 | -0.17 | 2.71 | 0.05 | 0.67 | 1.2 | 23.4 | -2.82 | -0.04 | 0.05 | 0.02 | -0.01 | -0.07 | 0.01 | 0.02 | -0.43 | -0.01 | -0.15 | -0.2 | -3.63 | -12.82% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | -14.33% | 0% | -15% | -20% | -13.44%
VIC | Mortlake PS | VM0P | 110 | 121.58 | 45.86 | 23.57 | 5.84 | 0.7 | 13.54 | 12.56 | 5.68 | 23.41 | 56.07 | 12.69 | 431.5 | 95.54 | 113.16 | 44.38 | 21.32 | 4.8 | 0.57 | 11.92 | 11.22 | 4.97 | 19.41 | 46.92 | 10.77 | 384.98 | -14.46 | -8.42 | -1.48 | -2.25 | -1.04 | -0.13 | -1.62 | -1.34 | -0.71 | -4 | -9.15 | -1.92 | -46.52 | -13.15% | -6.902% | -3.217% | -9.375% | -17.33% | -13% | -11.57% | -10.31% | -11.83% | -17.39% | -16.34% | -14.77% | -10.77%
VIC | Newport PS | VNPS | 83.72 | 66.32 | 38.38 | 26.29 | 4.65 | 11.35 | 20.56 | 23.04 | 34.31 | 30.22 | 14.46 | 20.28 | 373.58 | 73.53 | 62.01 | 38.35 | 23.39 | 3.97 | 10.16 | 17.75 | 20.96 | 29.59 | 25.11 | 12.54 | 17.33 | 334.7 | -10.19 | -4.31 | -0.03 | -2.9 | -0.68 | -1.19 | -2.81 | -2.08 | -4.72 | -5.11 | -1.92 | -2.95 | -38.88 | -12.13% | -6.53% | -0.07895% | -11.15% | -13.6% | -10.82% | -13.38% | -9.043% | -13.88% | -17.03% | -13.71% | -14.75% | -10.4%
VIC | Somerton PS | VSOM | 22.01 | 15.4 | 9.8 | 3.99 | 4.77 | -0.04 | -0.09 | 1.59 | 0.64 | 3.61 | 9.07 | 7.92 | 78.68 | 22.01 | 15.4 | 9.8 | 3.99 | 4.78 | -0.04 | -0.09 | 1.59 | 0.64 | 3.61 | 9.07 | 7.92 | 78.67 | 0 | 0 | 0 | 0 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.01 | 0% | 0% | 0% | 0% | 0.2% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | -0.01266%
VIC | Bogong PS And McKay PS | VT14 | 16.65 | 26.11 | 43.54 | 42.74 | 60.53 | 13.77 | 14.66 | 16.56 | 0.12 | -0.13 | -0.21 | -0.19 | 234.16 | 16.65 | 26.11 | 43.54 | 42.74 | 61.02 | 14.07 | 14.66 | 16.56 | 0.12 | -0.13 | -0.21 | -0.19 | 234.95 | 0 | 0 | 0 | 0 | 0.49 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79 | 0% | 0% | 0% | 0% | 0.8033% | 2.143% | 0% | 0% | 0% | 0% | 0% | 0% | 0.3376%
VIC | West Kiewa PS | VWKP | 12.2 | 30.15 | 31.72 | 39.37 | 38.97 | 13.86 | 9.51 | 8.73 | 5.93 | 9.6 | 9.06 | 21.39 | 230.49 | 12.05 | 29.98 | 31.45 | 38.87 | 38.7 | 14.05 | 9.43 | 8.67 | 5.9 | 9.57 | 9.03 | 21.28 | 228.98 | -0.15 | -0.17 | -0.27 | -0.5 | -0.27 | 0.19 | -0.08 | -0.06 | -0.03 | -0.03 | -0.03 | -0.11 | -1.51 | -1.25% | -0.5667% | -0.8437% | -1.282% | -0.6923% | 1.357% | -0.8% | -0.6667% | -0.5% | -0.3% | -0.3333% | -0.5238% | -0.6565%
VIC | Yallourn PS Units 2, 3 and 4 (Note 2) | VYP2 | 430.03 | 208.08 | 432.18 | 473.32 | 462.12 | 518.79 | 566.51 | 437.49 | 663.17 | 575.61 | 614.26 | 529.06 | 5910.63 | 371.96 | 187.49 | 405.98 | 419.92 | 358.37 | 394.77 | 496.42 | 393.86 | 555.51 | 470.67 | 501.04 | 428.78 | 4984.78 | -58.07 | -20.59 | -26.2 | -53.4 | -103.75 | -124.02 | -70.09 | -43.63 | -107.66 | -104.94 | -113.22 | -100.28 | -925.85 | -13.5% | -9.899% | -6.065% | -11.29% | -22.46% | -23.9% | -12.36% | -9.984% | -16.24% | -18.22% | -18.44% | -18.96% | -15.66%
VIC | Yallourn PS Unit 1 220 kV | VYP3 | 14.59 | 90.24 | 88.91 | 110.05 | 74.38 | 52.18 | 197.77 | 104.52 | 16.95 | 73.22 | 132.37 | 0 | 955.18 | 11.99 | 81.06 | 84.94 | 97.57 | 56.54 | 40.57 | 173.49 | 93.88 | 15.26 | 60.05 | 107.15 | 0 | 822.51 | -2.6 | -9.18 | -3.97 | -12.48 | -17.84 | -11.61 | -24.28 | -10.64 | -1.69 | -13.17 | -25.22 | 0 | -132.67 | -17.33% | -10.2% | -4.461% | -11.35% | -24.11% | -22.33% | -12.26% | -10.13% | -9.941% | -18.04% | -19.11% | 0% | -13.89%
VIC | Yallourn PS Unit 1 500 kV | VYP3 | 215.04 | 142.88 | 24.75 | 50.03 | 13.03 | 0 | 0 | 0 | 0 | 0 | 90.72 | 218.79 | 755.25 | 185.63 | 128.66 | 23.51 | 46.22 | 9.28 | 0 | 0 | 0 | 0 | 0 | 74.08 | 176.47 | 643.85 | -29.41 | -14.22 | -1.24 | -3.81 | -3.75 | 0 | 0 | 0 | 0 | 0 | -16.64 | -42.32 | -111.4 | -13.68% | -9.944% | -4.96% | -7.62% | -28.85% | 0% | 0% | 0% | 0% | 0% | -18.29% | -19.32% | -14.75%
Region | Generator | TNI | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | Grand Total | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-02-28 | 2025-03-31 | 2025-04-30 | 2025-05-31 | Grand Total | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-02-28 | 2025-03-31 | 2025-04-30 | 2025-05-31 | Grand Total | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-02-28 | 2025-03-31 | 2025-04-30 | 2025-05-31 | Grand Total
SA | Angaston PS | SANG | 4.39 | 0.25 | 0.03 | 0.02 | -0.06 | -0.11 | 0.07 | 0.18 | -0.11 | -0.1 | 0.27 | 0.43 | 5.27 | 3.76 | 0.23 | 0.04 | 0.03 | -0.03 | -0.07 | 0.06 | 0.18 | -0.09 | -0.07 | 0.23 | 0.39 | 4.65 | -0.63 | -0.02 | 0.01 | 0.01 | 0.03 | 0.04 | -0.01 | 0 | 0.02 | 0.03 | -0.04 | -0.04 | -0.62 | -15.75% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | -12.4%
SA | Barker Inlet PS | SBPS | 51.53 | 42.96 | 33.59 | 28.46 | 20.82 | 4.38 | 8.1 | 7.14 | 9.08 | 14.78 | 37.29 | 24.1 | 282.23 | 44.28 | 38.11 | 32.2 | 25.38 | 17.38 | 3.55 | 7.15 | 6.51 | 7.78 | 12.04 | 31.14 | 19.65 | 245.18 | -7.25 | -4.85 | -1.39 | -3.08 | -3.44 | -0.83 | -0.95 | -0.63 | -1.3 | -2.74 | -6.15 | -4.45 | -37.05 | -13.94% | -11.28% | -4.088% | -11% | -16.38% | -20.75% | -11.87% | -9% | -14.44% | -18.27% | -16.62% | -18.54% | -13.14%
SA | Dry Creek PS Unit 3 | SDPS | 0.27 | 2.06 | 2.25 | 0 | 1.21 | 0.14 | 0.46 | 2.07 | 0.13 | 2.51 | 0.71 | 1.69 | 13.49 | 0.24 | 1.88 | 2.06 | 0 | 0.82 | 0.09 | 0.42 | 1.84 | 0.09 | 2.11 | 0.6 | 1 | 11.16 | -0.03 | -0.18 | -0.19 | 0 | -0.39 | -0.05 | -0.04 | -0.23 | -0.04 | -0.4 | -0.11 | -0.69 | -2.33 | 0% | -9% | -9.5% | 0% | -39% | 0% | 0% | -11.5% | 0% | -13.33% | -11% | -34.5% | -17.92%
SA | Dry Creek PS Units 1 and 2 | SDPS | 0.27 | 2.06 | 2.25 | 0 | 1.21 | 0.14 | 0.46 | 2.07 | 0.13 | 2.51 | 0.71 | 1.69 | 13.49 | 0.24 | 1.88 | 2.06 | 0 | 0.82 | 0.09 | 0.42 | 1.84 | 0.09 | 2.11 | 0.6 | 1 | 11.16 | -0.03 | -0.18 | -0.19 | 0 | -0.39 | -0.05 | -0.04 | -0.23 | -0.04 | -0.4 | -0.11 | -0.69 | -2.33 | 0% | -9% | -9.5% | 0% | -39% | 0% | 0% | -11.5% | 0% | -13.33% | -11% | -34.5% | -17.92%
SA | Hallett PS | SHPS | 11.35 | 7.19 | 8.45 | 4.36 | 4.61 | 2.46 | 4.79 | 5.78 | 2.23 | 1.46 | 8.5 | 5.76 | 66.94 | 9.75 | 6.59 | 8.45 | 3.9 | 3.77 | 2.13 | 4.19 | 5.21 | 1.93 | 1.21 | 7.01 | 4.84 | 58.96 | -1.6 | -0.6 | 0 | -0.46 | -0.84 | -0.33 | -0.6 | -0.57 | -0.3 | -0.25 | -1.49 | -0.92 | -7.98 | -14.55% | -8.571% | 0% | -11.5% | -16.8% | -16.5% | -12% | -9.5% | -15% | -25% | -16.56% | -15.33% | -11.91%
SA | Mintaro PS | SMPS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.43 | 14.42 | 16.94 | 16.37 | 50.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.81 | 10.26 | 13.36 | 12.07 | 37.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.62 | -4.16 | -3.58 | -4.3 | -12.67 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | -31% | -29.71% | -21.06% | -26.88% | -25.34%
SA | Cummins Lonsdale PS | SMVE | 4.08 | 0.47 | 0.11 | -0.05 | -0.05 | -0.06 | -0.06 | 0.03 | -0.06 | -0.06 | 0.04 | 0.16 | 4.57 | 3.53 | 0.44 | 0.11 | -0.03 | -0.03 | -0.04 | -0.05 | 0.04 | -0.05 | -0.04 | 0.04 | 0.14 | 4.06 | -0.55 | -0.03 | 0 | 0.02 | 0.02 | 0.02 | 0.01 | 0.01 | 0.01 | 0.02 | 0 | -0.02 | -0.51 | -13.75% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | -10.2%
SA | Port Stanvac PS | SMVE | 0.48 | 0 | 0.14 | 0.06 | 0.23 | 0 | 0.35 | 0.54 | 0.03 | 0.24 | 0.87 | 0.46 | 3.41 | 0.44 | 0 | 0.13 | 0.05 | 0.18 | 0 | 0.3 | 0.49 | 0.03 | 0.2 | 0.71 | 0.39 | 2.92 | -0.04 | 0 | -0.01 | -0.01 | -0.05 | 0 | -0.05 | -0.05 | 0 | -0.04 | -0.16 | -0.07 | -0.49 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | -5% | 0% | 0% | -16% | 0% | -16.33%
SA | Snapper Point PS | SNPT | 9.84 | 1.39 | 0.21 | -0.18 | -0.21 | -0.11 | 0.27 | 1.69 | -0.19 | 0.12 | 3.19 | 1.86 | 17.88 | 8.46 | 1.27 | 0.21 | -0.12 | -0.14 | -0.05 | 0.24 | 1.53 | -0.15 | 0.1 | 2.65 | 1.59 | 15.58 | -1.38 | -0.12 | 0 | 0.06 | 0.07 | 0.06 | -0.03 | -0.16 | 0.04 | -0.02 | -0.54 | -0.27 | -2.3 | -13.8% | -12% | 0% | 0% | 0% | 0% | 0% | -8% | 0% | 0% | -18% | -13.5% | -12.78%
SA | OCPL PS | SOCP | 93.59 | 51.66 | 51.51 | 23.76 | -1.06 | 3.31 | 15.07 | 3.03 | 20.66 | 70.48 | 54.71 | 30.64 | 417.36 | 77.71 | 45.11 | 45.75 | 20.2 | -0.73 | 2.79 | 13.35 | 2.82 | 16.69 | 52.05 | 45.33 | 25.42 | 346.49 | -15.88 | -6.55 | -5.76 | -3.56 | 0.33 | -0.52 | -1.72 | -0.21 | -3.97 | -18.43 | -9.38 | -5.22 | -70.87 | -16.89% | -12.6% | -11.08% | -14.83% | -33% | -17.33% | -11.47% | -7% | -18.9% | -26.33% | -17.05% | -16.84% | -17%
SA | Ladbroke Grove PS | SPEW | 9.38 | 30.22 | 21.12 | 6.14 | 2.6 | 1.24 | 0.88 | 0.54 | 1.8 | 8.42 | 29.4 | 13.16 | 124.88 | 7.82 | 26.66 | 19.54 | 5.52 | 2.1 | 0.98 | 0.7 | 0.48 | 1.34 | 6.8 | 23.86 | 10.64 | 106.45 | -1.56 | -3.56 | -1.58 | -0.62 | -0.5 | -0.26 | -0.18 | -0.06 | -0.46 | -1.62 | -5.54 | -2.52 | -18.43 | -17.33% | -11.87% | -7.524% | -10.33% | -16.67% | -26% | -18% | -6% | -23% | -20.25% | -19.1% | -19.38% | -14.74%
SA | Port Lincoln PS Unit 3 (33 kV) | SPL3 | -0.1 | -0.16 | -0.11 | -0.32 | -0.06 | -0.13 | -0.15 | 0 | -0.01 | 0 | -0.01 | -0.01 | -1.06 | -0.06 | -0.02 | 0.05 | -0.14 | -0.02 | -0.03 | -0.12 | 0 | -0.01 | 0 | -0.01 | 0 | -0.37 | 0.04 | 0.14 | 0.16 | 0.18 | 0.04 | 0.1 | 0.03 | 0 | 0 | 0 | 0 | 0.01 | 0.69 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | -69%
SA | Pelican Point PS | SPPT | 236.37 | 93.12 | 88.77 | 90.5 | 124.56 | 82.13 | 128.92 | 127.58 | 183.67 | 146.37 | 231.82 | 139.18 | 1672.98 | 196.68 | 82.4 | 82.76 | 79.27 | 99.78 | 68.65 | 114.19 | 115.85 | 154.72 | 118.83 | 190.4 | 112.57 | 1416.11 | -39.69 | -10.72 | -6.01 | -11.23 | -24.78 | -13.48 | -14.73 | -11.73 | -28.95 | -27.54 | -41.42 | -26.61 | -256.87 | -16.82% | -11.53% | -6.753% | -12.34% | -19.82% | -16.44% | -11.42% | -9.164% | -15.73% | -18.86% | -17.85% | -19.14% | -15.35%
SA | Port Lincoln PS Units 1 and 2 (132 kV) | SPTL | 0.06 | 0.19 | 0.34 | 0.03 | 1.37 | -0.02 | 2.03 | 0.09 | -0.02 | -0.01 | -0.02 | -0.02 | 4.04 | 0.06 | 0.17 | 0.33 | 0.02 | 0.95 | -0.01 | 1.77 | 0.09 | -0.01 | -0.01 | -0.01 | -0.01 | 3.32 | 0 | -0.02 | -0.01 | -0.01 | -0.42 | 0.01 | -0.26 | 0 | 0.01 | 0 | 0.01 | 0.01 | -0.72 | 0% | 0% | 0% | 0% | -42% | 0% | -13% | 0% | 0% | 0% | 0% | 0% | -18%
SA | Quarantine PS | SQPS | 22 | 43.01 | 19.14 | 25.5 | 14.39 | 10.3 | 4.6 | 5.96 | 10.15 | 8.53 | 19.82 | 11.62 | 195.01 | 16.92 | 36 | 16.71 | 18.77 | 9.97 | 5.8 | 3.31 | 4.75 | 7.04 | 5.71 | 14.55 | 8.55 | 148.1 | -5.08 | -7.01 | -2.43 | -6.73 | -4.42 | -4.5 | -1.29 | -1.21 | -3.11 | -2.82 | -5.27 | -3.07 | -46.91 | -23.09% | -16.3% | -12.79% | -25.88% | -31.57% | -45% | -25.8% | -20.17% | -31.1% | -31.33% | -26.35% | -25.58% | -24.06%
SA | Snuggery PS | SSPS | 0.32 | 0.2 | 1.14 | 0.07 | 0.04 | -0.08 | 0.04 | 0.46 | -0.08 | 0.83 | -0.08 | 1.36 | 4.22 | 0.27 | 0.19 | 1.09 | 0.04 | 0.03 | -0.05 | 0.05 | 0.42 | -0.06 | 0.7 | -0.07 | 1.08 | 3.69 | -0.05 | -0.01 | -0.05 | -0.03 | -0.01 | 0.03 | 0.01 | -0.04 | 0.02 | -0.13 | 0.01 | -0.28 | -0.53 | 0% | 0% | -5% | 0% | 0% | 0% | 0% | 0% | 0% | -13% | 0% | -28% | -13.25%
SA | Torrens Island PS B (Note 2) | STPS | 142.56 | 106.64 | 97.63 | 98.42 | 71.63 | 45.73 | 41.13 | 43.78 | 46.45 | 30.57 | 58.85 | 62.89 | 846.28 | 118.67 | 89.56 | 82.53 | 77.67 | 51.7 | 29.95 | 33.08 | 35.47 | 35.16 | 21.56 | 47.64 | 47.65 | 670.64 | -23.89 | -17.08 | -15.1 | -20.75 | -19.93 | -15.78 | -8.05 | -8.31 | -11.29 | -9.01 | -11.21 | -15.24 | -175.64 | -16.71% | -15.96% | -15.41% | -21.17% | -27.68% | -34.3% | -19.63% | -18.89% | -24.54% | -29.06% | -19% | -24.19% | -20.76%
Region | Generator | TNI | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | Grand Total | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-02-28 | 2025-03-31 | 2025-04-30 | 2025-05-31 | Grand Total | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-02-28 | 2025-03-31 | 2025-04-30 | 2025-05-31 | Grand Total | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-02-28 | 2025-03-31 | 2025-04-30 | 2025-05-31 | Grand Total
TAS | Bell Bay and Tamar Valley OCGT | TBB1 | 2.1 | 12.98 | 7.68 | 16.52 | 1.28 | 1.65 | 6.37 | 1.89 | 7.46 | 6.43 | 5.78 | 5.5 | 75.64 | 2.72 | 13.52 | 8.06 | 17.42 | 1.7 | 1.85 | 6.68 | 2.14 | 10.23 | 7.79 | 15.39 | 14.73 | 102.22 | 0.62 | 0.54 | 0.38 | 0.9 | 0.42 | 0.2 | 0.31 | 0.25 | 2.77 | 1.36 | 9.61 | 9.23 | 26.58 | 31% | 4.154% | 4.75% | 5.294% | 42% | 10% | 5.167% | 12.5% | 39.57% | 22.67% | 160.2% | 153.8% | 34.97%
TAS | Cethana (Note 2) | TCE1 | 41.15 | 60.12 | 41.54 | 3.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.99 | 148.53 | 44.46 | 60.95 | 43.51 | 3.93 | 0 | 0 | 0 | 0 | 0.31 | 0.01 | 0.64 | 2.38 | 156.2 | 3.31 | 0.83 | 1.97 | 0.2 | 0 | 0 | 0 | 0 | 0.31 | 0.01 | 0.64 | 0.39 | 7.67 | 8.073% | 1.383% | 4.69% | 5% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 19.5% | 5.148%
TAS | Devils Gate | TDG1 | 29.85 | 44.9 | 29.41 | 33.61 | 27.86 | 12.18 | 2.06 | 0.63 | 11.54 | 22.38 | 21.71 | 38.06 | 274.2 | 31.45 | 45.1 | 30.3 | 35.22 | 28.36 | 12.77 | 2.26 | 0.83 | 13.13 | 25.31 | 24.94 | 38.83 | 288.5 | 1.6 | 0.2 | 0.89 | 1.61 | 0.5 | 0.59 | 0.2 | 0.2 | 1.59 | 2.93 | 3.23 | 0.77 | 14.3 | 5.333% | 0.4444% | 3.069% | 4.735% | 1.786% | 4.917% | 10% | 20% | 13.25% | 13.32% | 14.68% | 2.026% | 5.219%
TAS | Bastyan | TFA1 | 36.03 | 35.31 | 41.13 | 18.33 | 19.97 | 16.07 | 9.6 | 6.45 | 15.07 | 36.11 | 36.51 | 50.08 | 320.67 | 36.97 | 36.13 | 41.85 | 19.78 | 20.37 | 16.55 | 10.14 | 6.92 | 16.94 | 37.24 | 38.96 | 52.11 | 333.94 | 0.94 | 0.82 | 0.72 | 1.45 | 0.4 | 0.48 | 0.54 | 0.47 | 1.87 | 1.13 | 2.45 | 2.03 | 13.27 | 2.611% | 2.343% | 1.756% | 8.056% | 2% | 3% | 5.4% | 7.833% | 12.47% | 3.139% | 6.622% | 4.06% | 4.134%
TAS | Gordon | TGO1 | 89.22 | 16.68 | 17.86 | 69.15 | 85.16 | 72.13 | 27.64 | 28.98 | 15.95 | 22.59 | 84.16 | 24.83 | 554.35 | 89.22 | 16.68 | 17.86 | 69.15 | 85.16 | 72.12 | 27.64 | 28.98 | 15.95 | 22.59 | 84.16 | 24.92 | 554.43 | 0 | 0 | 0 | 0 | 0 | -0.01 | 0 | 0 | 0 | 0 | 0 | 0.09 | 0.08 | 0% | 0% | 0% | 0% | 0% | -0.01389% | 0% | 0% | 0% | 0% | 0% | 0.36% | 0.01444%
TAS | John Butters | TJB1 | 30.29 | 12.78 | 57.22 | 24.05 | 33.93 | 14.5 | 13.85 | 4.79 | 60.23 | 76.14 | 35.21 | 67.4 | 430.39 | 35.13 | 14.76 | 61.92 | 29.81 | 38.43 | 16.51 | 16.38 | 6.04 | 63.48 | 79.29 | 36.73 | 72.23 | 470.72 | 4.84 | 1.98 | 4.7 | 5.76 | 4.5 | 2.01 | 2.53 | 1.25 | 3.25 | 3.15 | 1.52 | 4.83 | 40.33 | 16.13% | 15.23% | 8.246% | 24% | 13.24% | 13.4% | 18.07% | 25% | 5.417% | 4.145% | 4.343% | 7.209% | 9.379%
TAS | Lake Echo | TLE1 | 1.77 | 0.15 | 1.7 | 4.07 | 0 | 0 | 3.97 | 17.25 | 7.64 | 1.54 | 7.83 | 0 | 45.93 | 2.11 | 0.18 | 1.74 | 4.15 | 0 | 0 | 4.05 | 17.68 | 8.13 | 1.7 | 8.57 | 0.75 | 49.06 | 0.34 | 0.03 | 0.04 | 0.08 | 0 | 0 | 0.08 | 0.43 | 0.49 | 0.16 | 0.74 | 0.75 | 3.13 | 17% | 0% | 2% | 2% | 0% | 0% | 2% | 2.529% | 6.125% | 8% | 9.25% | 0% | 6.804%
TAS | Liapootah, Wayatinah and Catagunya | TLI1 | 74.6 | 98.75 | 79.1 | 71.05 | 68.77 | 40.54 | 52.57 | 44.2 | 51.2 | 46.13 | 67.99 | 71.41 | 766.32 | 91.41 | 104.54 | 88.36 | 88.3 | 74.33 | 54.43 | 68.74 | 62.6 | 82.42 | 75.88 | 94.3 | 89 | 974.31 | 16.81 | 5.79 | 9.26 | 17.25 | 5.56 | 13.89 | 16.17 | 18.4 | 31.22 | 29.75 | 26.31 | 17.59 | 207.99 | 22.41% | 5.848% | 11.72% | 24.3% | 8.058% | 33.88% | 30.51% | 41.82% | 61.22% | 64.67% | 38.69% | 24.77% | 27.15%
TAS | Mackintosh | TMA1 | 34.35 | 36.88 | 40.85 | 16.68 | 19.39 | 16.72 | 9.95 | 6.58 | 14.88 | 36.12 | 30.92 | 47.72 | 311.05 | 35.41 | 36.5 | 40.84 | 18.08 | 18.74 | 16.46 | 10.39 | 7.1 | 16.06 | 36.53 | 34.83 | 46.99 | 317.92 | 1.06 | -0.38 | -0.01 | 1.4 | -0.65 | -0.26 | 0.44 | 0.52 | 1.18 | 0.41 | 3.91 | -0.73 | 6.87 | 3.118% | -1.027% | -0.02439% | 8.235% | -3.421% | -1.529% | 4.4% | 7.429% | 7.867% | 1.139% | 12.61% | -1.521% | 2.209%
TAS | Meadowbank | TMB1 | 12.98 | 22.81 | 15.45 | 17.38 | 16.61 | 8.55 | 7.82 | 5.81 | 7.49 | 7 | 11.27 | 14.01 | 147.17 | 19.15 | 24.68 | 18.83 | 21.56 | 18.15 | 9.13 | 9.11 | 7.71 | 10.38 | 16.86 | 21.45 | 21.01 | 198.01 | 6.17 | 1.87 | 3.38 | 4.18 | 1.54 | 0.58 | 1.29 | 1.9 | 2.89 | 9.86 | 10.18 | 7 | 50.84 | 47.46% | 8.13% | 22.53% | 24.59% | 9.059% | 6.444% | 16.12% | 31.67% | 41.29% | 140.9% | 92.55% | 50% | 34.59%
TAS | Poatina 3, 4, 5 and 6 (220 kV) | TPM1 | 112.24 | 1.15 | 14.22 | 17.43 | 26.78 | 87.2 | 138.75 | 130.48 | 118.13 | 106.87 | 128.45 | 45.51 | 927.2 | 95.69 | 3.73 | 16.72 | 31.17 | 39.68 | 95.98 | 141.28 | 132.64 | 128.41 | 93.36 | 104.59 | 62.66 | 945.9 | -16.55 | 2.58 | 2.5 | 13.74 | 12.9 | 8.78 | 2.53 | 2.16 | 10.28 | -13.51 | -23.86 | 17.15 | 18.7 | -14.78% | 258% | 17.86% | 80.82% | 47.78% | 10.09% | 1.82% | 1.662% | 8.712% | -12.63% | -18.64% | 37.28% | 2.017%
TAS | Poatina 1 and 2 (110 kV) | TPM2 | 52.17 | 6.06 | 4.66 | 8.91 | 13.31 | 51.91 | 75.25 | 70.18 | 61.32 | 59.06 | 66.32 | 30.08 | 499.23 | 58.01 | 22.63 | 8.9 | 19.61 | 16.61 | 55.27 | 76.61 | 71.45 | 67.83 | 63.5 | 72.11 | 44.86 | 577.37 | 5.84 | 16.57 | 4.24 | 10.7 | 3.3 | 3.36 | 1.36 | 1.27 | 6.51 | 4.44 | 5.79 | 14.78 | 78.14 | 11.23% | 276.2% | 84.8% | 118.9% | 25.38% | 6.462% | 1.813% | 1.814% | 10.67% | 7.525% | 8.773% | 49.27% | 15.66%
TAS | Reece 1 (Note 2) | TRCA | 44.32 | 56.92 | 47.67 | 26 | 48.56 | 18.98 | 9.73 | 8.13 | 27.57 | 42.5 | 53.99 | 73.33 | 457.7 | 47.79 | 58.6 | 49.13 | 28.37 | 50.79 | 23.3 | 10.36 | 8.85 | 29.25 | 44.57 | 56.77 | 72.98 | 480.77 | 3.47 | 1.68 | 1.46 | 2.37 | 2.23 | 4.32 | 0.63 | 0.72 | 1.68 | 2.07 | 2.78 | -0.35 | 23.07 | 7.886% | 2.947% | 3.042% | 9.115% | 4.551% | 22.74% | 6.3% | 9% | 6% | 4.814% | 5.148% | -0.4795% | 5.037%
TAS | Reece 2 | TRCB | 46.74 | 52.62 | 43.93 | 24.48 | 50.27 | 35.84 | 6.49 | 6.13 | 11.6 | 40.11 | 51.01 | 67.37 | 436.6 | 50.2 | 54.57 | 45.96 | 27.17 | 51.45 | 36.23 | 7.42 | 7.14 | 13.92 | 42.16 | 54.47 | 68.17 | 458.85 | 3.46 | 1.95 | 2.03 | 2.69 | 1.18 | 0.39 | 0.93 | 1.01 | 2.32 | 2.05 | 3.46 | 0.8 | 22.25 | 7.362% | 3.679% | 4.614% | 11.21% | 2.36% | 1.083% | 15.5% | 16.83% | 19.33% | 5.125% | 6.784% | 1.194% | 5.092%
TAS | Lemonthyme / Wilmot | TSH1 | 47.01 | 59.34 | 46.52 | 45.54 | 37.31 | 18.25 | 2.51 | -0.02 | 10.41 | 22.66 | 35.98 | 50.71 | 376.22 | 47 | 59.34 | 46.5 | 45.51 | 37.31 | 18.21 | 2.49 | -0.02 | 10.37 | 22.64 | 35.94 | 50.72 | 376 | -0.01 | 0 | -0.02 | -0.03 | 0 | -0.04 | -0.02 | 0 | -0.04 | -0.02 | -0.04 | 0.01 | -0.22 | -0.02128% | 0% | -0.04255% | -0.06522% | 0% | -0.2222% | -0.6667% | 0% | -0.4% | -0.08696% | -0.1111% | 0.01961% | -0.05851%
TAS | Tarraleah | TTA1 | 53.89 | 28.33 | 40.03 | 41.38 | 41.08 | 31.86 | 44.43 | 36.67 | 47.7 | 45.66 | 32.48 | 24.46 | 467.97 | 52.57 | 33.69 | 42.7 | 45.11 | 41.97 | 34.67 | 46.08 | 39.47 | 49.44 | 48.2 | 39.61 | 34.15 | 507.67 | -1.32 | 5.36 | 2.67 | 3.73 | 0.89 | 2.81 | 1.65 | 2.8 | 1.74 | 2.54 | 7.13 | 9.69 | 39.7 | -2.444% | 19.14% | 6.675% | 9.098% | 2.171% | 8.781% | 3.75% | 7.568% | 3.625% | 5.522% | 22.28% | 40.37% | 8.483%
TAS | Tribute | TTI1 | 19.85 | 31.53 | 22.35 | 13.67 | 25.96 | 10.25 | 5.69 | 3.79 | 20.79 | 18.56 | 32.2 | 37.71 | 242.36 | 22.65 | 34.15 | 24.07 | 15.83 | 26.57 | 10.73 | 6.22 | 4.12 | 22.32 | 22.07 | 36.28 | 41.32 | 266.33 | 2.8 | 2.62 | 1.72 | 2.16 | 0.61 | 0.48 | 0.53 | 0.33 | 1.53 | 3.51 | 4.08 | 3.61 | 23.97 | 14% | 8.187% | 7.818% | 15.43% | 2.346% | 4.8% | 8.833% | 8.25% | 7.286% | 18.47% | 12.75% | 9.5% | 9.905%
TAS | Trevallyn (Note 2) | TTR1 | 49.64 | 53.59 | 55.19 | 65.47 | 49.4 | 41.73 | 35.07 | 26.28 | 5.48 | 43.05 | 40.77 | 54.26 | 519.92 | 57.6 | 57.97 | 59.04 | 68.04 | 50.63 | 39.91 | 38.19 | 28.63 | 5.13 | 53.24 | 53.73 | 59.95 | 572.07 | 7.96 | 4.38 | 3.85 | 2.57 | 1.23 | -1.82 | 3.12 | 2.35 | -0.35 | 10.19 | 12.96 | 5.69 | 52.15 | 15.92% | 8.111% | 7% | 3.954% | 2.51% | -4.333% | 8.914% | 9.038% | -7% | 23.7% | 31.61% | 10.54% | 10.03%
TAS | Tungatinah | TTU1 | 37.18 | 69.02 | 56.71 | 43.13 | 35.97 | 15.02 | 21.11 | 19.37 | 13.57 | 12.27 | 50.31 | 51.65 | 425.31 | 50.45 | 74.01 | 63.45 | 58.26 | 41.71 | 25.84 | 32.24 | 27 | 29.62 | 19.92 | 65.6 | 61.16 | 549.27 | 13.27 | 4.99 | 6.74 | 15.13 | 5.74 | 10.82 | 11.13 | 7.63 | 16.05 | 7.65 | 15.29 | 9.51 | 123.96 | 35.86% | 7.232% | 11.82% | 35.19% | 15.94% | 72.13% | 53% | 40.16% | 114.6% | 63.75% | 30.58% | 18.29% | 29.17%
TAS | Tamar Valley CCGT (Note 2) | TTV1 | -0.41 | -0.42 | -0.41 | -0.34 | -0.4 | -0.4 | -0.41 | -0.36 | -0.42 | -0.41 | -0.44 | -0.44 | -4.86 | -0.27 | -0.33 | -0.31 | -0.22 | -0.34 | -0.33 | -0.32 | -0.27 | -0.24 | -0.24 | -0.19 | -0.23 | -3.29 | 0.14 | 0.09 | 0.1 | 0.12 | 0.06 | 0.07 | 0.09 | 0.09 | 0.18 | 0.17 | 0.25 | 0.21 | 1.57 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | -31.4%
Fisher/Rowallan (Note 1)
Note 1
Fisher, a Scheduled generator, and Rowallan, a Non-Scheduled generator, are connected at the same TNI (TFI1).
For simplicity Fisher and Rowallan are combined and defined as a Non-Scheduled generator during MLF calculations. Therefore, these units are not dispatched and their monthly energy not included above.
Note 2
Reference year data is adjusted to reflect past and future outages.
Note 3
Negative values indicate decrease, positive values indicate increase. Where underlying GWh between > -1 and < 1 value is set to 0%.