## Quarter 1
| FUM Values for reporting period 16 Jan 2018 to 31 Mar 2018 | [5 empty] | Number of LOR Declarations for reporting period 16 Jan 2018 to 31 Mar 2018
Region | Forecasting Horizon (Hrs ahead) | FUM Values (MW) | 2018 | 2019 | 2020 | 2021 | Region | Type of LOR | Cause | 2017 | 2018 | 2019 | 2020 | 2021 |  | Major factor determining LOR level
NSW | 2 | Min | 621 |  |  |  | NSW | LOR 1 | D | n/a | 0 |  |  |  | D | Demand Forecasting Uncertainity
|  | Average | 732 | [5 empty] | I | n/a | 0 |  |  |  | I | Intermittent Generation Forecasting uncertainty
|  | Max | 1179 | [5 empty] | A | n/a | 0 |  |  |  | A | Generator Availability Forecasting uncertainty
| 6 | Min | 851.2 | [5 empty] | LCR | n/a | 0 |  |  |  | LCR | Largest credible risk(s)
|  | Average | 1133.1983 | [5 empty] | Multiple | n/a | 0
|  | Max | 1595.5 | [5 empty] | Total | n/a | 0
| 12 | Min | 1088.7 |  |  |  |  | LOR 2 | D | n/a | 0
|  | Average | 1351.6382 | [5 empty] | I | n/a | 0
|  | Max | 1778.83 | [5 empty] | A | n/a | 0
| 24 | Min | 1149 | [5 empty] | LCR | n/a | 0
|  | Average | 1286.863 | [5 empty] | Multiple | n/a | 0
|  | Max | 1789.3 | [5 empty] | Total | n/a | 0
| 48 | Min | 1432.7 |  |  |  |  | LOR 3 | Total | n/a | 0
|  | Average | 1585.6907 |  |  |  | Qld | LOR 1 | D | n/a | 0
|  | Max | 1728.5 | [5 empty] | I | n/a | 0
| 60 | Min | 1521.6 | [5 empty] | A | n/a | 0
|  | Average | 1662.9945 | [5 empty] | LCR | n/a | 3
|  | Max | 1818.6 | [5 empty] | Multiple | n/a | 0
Qld | 2 | Min | 475.7 | [5 empty] | Total | n/a | 3
|  | Average | 505.0908 |  |  |  |  | LOR 2 | D | n/a | 0
|  | Max | 674.44 | [5 empty] | I | n/a | 0
| 6 | Min | 638.8 | [5 empty] | A | n/a | 0
|  | Average | 739.0292 | [5 empty] | LCR | n/a | 0
|  | Max | 1029.9 | [5 empty] | Multiple | n/a | 0
| 12 | Min | 782.8 | [5 empty] | Total | n/a | 0
|  | Average | 873.8208 |  |  |  |  | LOR 3 | Total | n/a | 0
|  | Max | 1062.6 |  |  |  | SA | LOR 1 | D | n/a | 0
| 24 | Min | 753.4 | [5 empty] | I | n/a | 0
|  | Average | 840.0426 | [5 empty] | A | n/a | 0
|  | Max | 1068 | [5 empty] | LCR | n/a | 3
| 48 | Min | 860.6 | [5 empty] | Multiple | n/a | 0
|  | Average | 898.9018 | [5 empty] | Total | n/a | 3
|  | Max | 977.6 |  |  |  |  | LOR 2 | D | n/a | 0
| 60 | Min | 905.6 | [5 empty] | I | n/a | 0
|  | Average | 944.4586 | [5 empty] | A | n/a | 0
|  | Max | 1232.5 | [5 empty] | LCR | n/a | 1
SA | 2 | Min | 218.1 | [5 empty] | Multiple | n/a | 0
|  | Average | 244.2297 | [5 empty] | Total | n/a | 1
|  | Max | 417.2 |  |  |  |  | LOR 3 | Total | n/a | 0
| 6 | Min | 257 |  |  |  | Tas | LOR 1 | D | n/a | 0
|  | Average | 342.2424 | [5 empty] | I | n/a | 0
|  | Max | 530.27 | [5 empty] | A | n/a | 0
| 12 | Min | 322.8 | [5 empty] | LCR | n/a | 0
|  | Average | 388.8921 | [5 empty] | Multiple | n/a | 0
|  | Max | 567.2 | [5 empty] | Total | n/a | 0
| 24 | Min | 341.7 |  |  |  |  | LOR 2 | D | n/a | 0
|  | Average | 409.0598 | [5 empty] | I | n/a | 0
|  | Max | 572.4 | [5 empty] | A | n/a | 0
| 48 | Min | 433.4 | [5 empty] | LCR | n/a | 0
|  | Average | 524.5504 | [5 empty] | Multiple | n/a | 0
|  | Max | 704.6 | [5 empty] | Total | n/a | 0
| 60 | Min | 454.3 |  |  |  |  | LOR 3 | Total | n/a | 0
|  | Average | 552.1125 |  |  |  | Vic | LOR 1 | D | n/a | 0
|  | Max | 774 | [5 empty] | I | n/a | 0
Tas | 2 | Min | 114.4 | [5 empty] | A | n/a | 0
|  | Average | 145.7638 | [5 empty] | LCR | n/a | 7
|  | Max | 252.89 | [5 empty] | Multiple | n/a | 0
| 6 | Min | 124.1 | [5 empty] | Total | n/a | 7
|  | Average | 180.252 |  |  |  |  | LOR 2 | D | n/a | 0
|  | Max | 283.09 | [5 empty] | I | n/a | 0
| 12 | Min | 157 | [5 empty] | A | n/a | 0
|  | Average | 198.7235 | [5 empty] | LCR | n/a | 2
|  | Max | 296.27 | [5 empty] | Multiple | n/a | 0
| 24 | Min | 144.3 | [5 empty] | Total | n/a | 2
|  | Average | 175.0345 |  |  |  |  | LOR 3 | Total | n/a | 0
|  | Max | 326.02
| 48 | Min | 165.7
|  | Average | 199.1061
|  | Max | 357.6
| 60 | Min | 177
|  | Average | 208.9611
|  | Max | 380.19
Vic | 2 | Min | 464.2
|  | Average | 536.9326
|  | Max | 874.65
| 6 | Min | 652.4
|  | Average | 760.6518
|  | Max | 1236.73
| 12 | Min | 777.4
|  | Average | 881.0239
|  | Max | 1370.77
| 24 | Min | 807.8
|  | Average | 889.9001
|  | Max | 1252.2
| 48 | Min | 1006.4
|  | Average | 1093.2759
|  | Max | 1345.4
| 60 | Min | 1068
|  | Average | 1170.3637
|  | Max | 1426.7
Note
The count of LOR declarations is based on a count of all market notice declarations of all forecast or actual LORs but does not include any market notice declarations which were updates to previously declared forecast or actual LORs. Any forecast LORs which were subsequently updated to actual LORs are only counted once for a given effective date.
Note on M22: Jack Fox: 3 declared prior to 15 Feb 2018 and hence declared under previous declaration guidelines. These have been flagged as "LCR" for the cause.
Note on M35: Jack Fox: 3 declared prior to 15 Feb 2018 and hence declared under previous declaration guidelines. These have been flagged as "LCR" for the cause.
Note on M41: Jack Fox: 1 declared prior to 15 Feb 2018 and hence declared under previous declaration guidelines. This has been flagged as "LCR" for the cause.
Note on M61: Jack Fox: 7 declared prior to 15 Feb 2018 and hence declared under previous declaration guidelines. These have been flagged as "LCR" for the cause.
Note on M67: Jack Fox: 2 declared prior to 15 Feb 2018 and hence declared under previous declaration guidelines. These have been flagged as "LCR" for the cause.

## Quarter 2
|  | FUM Values for reporting period 1 April to 30 June |  |  |  |  | Number of LOR Declarations for reporting period 1 April to 30 June
Region | Forecasting Horizon (Hrs ahead) | FUM Values (MW) | 2018 | 2019 | 2020 | 2021 | Region | Type of LOR | Cause | 2017 | 2018 | 2019 | 2020 | 2021 |  | Major factor determining LOR level
NSW | 2 | Min | 621 |  |  |  | NSW | LOR 1 | D | n/a | 0 |  |  |  | D | Demand Forecasting Uncertainity
|  | Average | 705 | [5 empty] | I | n/a | 0 |  |  |  | I | Intermittent Generation Forecasting uncertainty
|  | Max | 1179 | [5 empty] | A | n/a | 0 |  |  |  | A | Generator Availability Forecasting uncertainty
| 6 | Min | 842 | [5 empty] | LCR | n/a | 7 |  |  |  | LCR | Largest credible risk(s)
|  | Average | 1054 | [5 empty] | Multiple | n/a | 0
|  | Max | 1596 | [5 empty] | Total | n/a | 7
| 12 | Min | 1065 |  |  |  |  | LOR 2 | D | n/a | 0
|  | Average | 1258 | [5 empty] | I | n/a | 0
|  | Max | 1779 | [5 empty] | A | n/a | 0
| 24 | Min | 1258 | [5 empty] | LCR | n/a | 0
|  | Average | 1149 | [5 empty] | Multiple | n/a | 3
|  | Max | 1654 | [5 empty] | Total | n/a | 3
| 48 | Min | 1433 |  |  |  |  | LOR 3 | Total | n/a | 0
|  | Average | 1579 |  |  |  | Qld | LOR 1 | D | n/a | 0
|  | Max | 1895 | [5 empty] | I | n/a | 0
| 60 | Min | 1522 | [5 empty] | A | n/a | 0
|  | Average | 1681 | [5 empty] | LCR | n/a | 1
|  | Max | 2087 | [5 empty] | Multiple | n/a | 0
Qld | 2 | Min | 465 | [5 empty] | Total | n/a | 1
|  | Average | 484 |  |  |  |  | LOR 2 | D | n/a | 0
|  | Max | 621 | [5 empty] | I | n/a | 0
| 6 | Min | 618 | [5 empty] | A | n/a | 0
|  | Average | 682 | [5 empty] | LCR | n/a | 0
|  | Max | 850 | [5 empty] | Multiple | n/a | 0
| 12 | Min | 783 | [5 empty] | Total | n/a | 0
|  | Average | 826 |  |  |  |  | LOR 3 | Total | n/a | 0
|  | Max | 974 |  |  |  | SA | LOR 1 | D | n/a | 0
| 24 | Min | 753 | [5 empty] | I | n/a | 0
|  | Average | 782 | [5 empty] | A | n/a | 0
|  | Max | 998 | [5 empty] | LCR | n/a | 4
| 48 | Min | 854 | [5 empty] | Multiple | n/a | 0
|  | Average | 884 | [5 empty] | Total | n/a | 4
|  | Max | 957 |  |  |  |  | LOR 2 | D | n/a | 0
| 60 | Min | 880 | [5 empty] | I | n/a | 0
|  | Average | 915 | [5 empty] | A | n/a | 0
|  | Max | 1008 | [5 empty] | LCR | n/a | 3
SA | 2 | Min | 215 | [5 empty] | Multiple | n/a | 1
|  | Average | 247 | [5 empty] | Total | n/a | 4
|  | Max | 423 |  |  |  |  | LOR 3 | Total | n/a | 0
| 6 | Min | 247 |  |  |  | Tas | LOR 1 | D | n/a | 0
|  | Average | 340 | [5 empty] | I | n/a | 0
|  | Max | 530 | [5 empty] | A | n/a | 0
| 12 | Min | 299 | [5 empty] | LCR | n/a | 0
|  | Average | 385 | [5 empty] | Multiple | n/a | 0
|  | Max | 561 | [5 empty] | Total | n/a | 0
| 24 | Min | 342 |  |  |  |  | LOR 2 | D | n/a | 0
|  | Average | 402 | [5 empty] | I | n/a | 0
|  | Max | 628 | [5 empty] | A | n/a | 0
| 48 | Min | 433 | [5 empty] | LCR | n/a | 0
|  | Average | 518 | [5 empty] | Multiple | n/a | 0
|  | Max | 777 | [5 empty] | Total | n/a | 0
| 60 | Min | 454 |  |  |  |  | LOR 3 | Total | n/a | 0
|  | Average | 544 |  |  |  | Vic | LOR 1 | D | n/a | 0
|  | Max | 774 | [5 empty] | I | n/a | 0
Tas | 2 | Min | 114 | [5 empty] | A | n/a | 0
|  | Average | 144 | [5 empty] | LCR | n/a | 1
|  | Max | 253 | [5 empty] | Multiple | n/a | 0
| 6 | Min | 124 | [5 empty] | Total | n/a | 1
|  | Average | 175 |  |  |  |  | LOR 2 | D | n/a | 0
|  | Max | 283 | [5 empty] | I | n/a | 0
| 12 | Min | 151 | [5 empty] | A | n/a | 0
|  | Average | 196 | [5 empty] | LCR | n/a | 0
|  | Max | 296 | [5 empty] | Multiple | n/a | 0
| 24 | Min | 144 | [5 empty] | Total | n/a | 0
|  | Average | 176 |  |  |  |  | LOR 3 | Total | n/a | 0
|  | Max | 334
| 48 | Min | 166
|  | Average | 203
|  | Max | 375
| 60 | Min | 177
|  | Average | 210
|  | Max | 380
Vic | 2 | Min | 477
|  | Average | 525
|  | Max | 794
| 6 | Min | 622
|  | Average | 738
|  | Max | 996
| 12 | Min | 754
|  | Average | 865
|  | Max | 1077
| 24 | Min | 808
|  | Average | 854
|  | Max | 1079
| 48 | Min | 1006
|  | Average | 1061
|  | Max | 1223
| 60 | Min | 1068
|  | Average | 1128
|  | Max | 1450
Note
The count of LOR declarations is based on a count of all market notice declarations of all forecast or actual LORs but does not include any market notice declarations which were updates to previously declared forecast or actual LORs. Any forecast LORs which were subsequently updated to actual LORs are only counted once for a given effective date.

## Quarter 3
|  | FUM Values for Quarter 3 |  |  |  |  | Number of LOR Declarations for Quarter 3
Region | Forecasting Horizon (Hrs ahead) | FUM Values (MW) | 2018 | 2019 | 2020 | 2021 | Region | Type of LOR | Cause | 2017 | 2018 | 2019 | 2020 | 2021 |  | Major factor determining LOR level
NSW | 2 | Min |  |  |  |  | NSW | LOR 1 | D | [5 empty] | D | Demand Forecasting Uncertainity
|  | Average | [6 empty] | I | [5 empty] | I | Intermittent Generation Forecasting uncertainty
|  | Max | [6 empty] | A | [5 empty] | A | Generator Availability Forecasting uncertainty
| 6 | Min | [6 empty] | LCR | [5 empty] | LCR | Largest credible risk(s)
|  | Average | [6 empty] | Multiple
|  | Max | [6 empty] | Total
| 12 | Min | [5 empty] | LOR 2 | D
|  | Average | [6 empty] | I
|  | Max | [6 empty] | A
| 24 | Min | [6 empty] | LCR
|  | Average | [6 empty] | Multiple
|  | Max | [6 empty] | Total
| 48 | Min | [5 empty] | LOR 3 | Total
|  | Average |  |  |  |  | Qld | LOR 1 | D
|  | Max | [6 empty] | I
| 60 | Min | [6 empty] | A
|  | Average | [6 empty] | LCR
|  | Max | [6 empty] | Multiple
Qld | 2 | Min | [6 empty] | Total
|  | Average | [5 empty] | LOR 2 | D
|  | Max | [6 empty] | I
| 6 | Min | [6 empty] | A
|  | Average | [6 empty] | LCR
|  | Max | [6 empty] | Multiple
| 12 | Min | [6 empty] | Total
|  | Average | [5 empty] | LOR 3 | Total
|  | Max |  |  |  |  | SA | LOR 1 | D
| 24 | Min | [6 empty] | I
|  | Average | [6 empty] | A
|  | Max | [6 empty] | LCR
| 48 | Min | [6 empty] | Multiple
|  | Average | [6 empty] | Total
|  | Max | [5 empty] | LOR 2 | D
| 60 | Min | [6 empty] | I
|  | Average | [6 empty] | A
|  | Max | [6 empty] | LCR
SA | 2 | Min | [6 empty] | Multiple
|  | Average | [6 empty] | Total
|  | Max | [5 empty] | LOR 3 | Total
| 6 | Min |  |  |  |  | Tas | LOR 1 | D
|  | Average | [6 empty] | I
|  | Max | [6 empty] | A
| 12 | Min | [6 empty] | LCR
|  | Average | [6 empty] | Multiple
|  | Max | [6 empty] | Total
| 24 | Min | [5 empty] | LOR 2 | D
|  | Average | [6 empty] | I
|  | Max | [6 empty] | A
| 48 | Min | [6 empty] | LCR
|  | Average | [6 empty] | Multiple
|  | Max | [6 empty] | Total
| 60 | Min | [5 empty] | LOR 3 | Total
|  | Average |  |  |  |  | Vic | LOR 1 | D
|  | Max | [6 empty] | I
Tas | 2 | Min | [6 empty] | A
|  | Average | [6 empty] | LCR
|  | Max | [6 empty] | Multiple
| 6 | Min | [6 empty] | Total
|  | Average | [5 empty] | LOR 2 | D
|  | Max | [6 empty] | I
| 12 | Min | [6 empty] | A
|  | Average | [6 empty] | LCR
|  | Max | [6 empty] | Multiple
| 24 | Min | [6 empty] | Total
|  | Average | [5 empty] | LOR 3 | Total
Max
| 48 | Min
Average
Max
| 60 | Min
Average
Max
Vic | 2 | Min
Average
Max
| 6 | Min
Average
Max
| 12 | Min
Average
Max
| 24 | Min
Average
Max
| 48 | Min
Average
Max
| 60 | Min
Average
Max

## Quarter 4
|  | FUM Values for Quarter 4 |  |  |  |  | Number of LOR Declarations for Quarter 4
Region | Forecasting Horizon (Hrs ahead) | FUM Values (MW) | 2018 | 2019 | 2020 | 2021 | Region | Type of LOR | Cause | 2017 | 2018 | 2019 | 2020 | 2021 |  | Major factor determining LOR level
NSW | 2 | Min |  |  |  |  | NSW | LOR 1 | D | [5 empty] | D | Demand Forecasting Uncertainity
|  | Average | [6 empty] | I | [5 empty] | I | Intermittent Generation Forecasting uncertainty
|  | Max | [6 empty] | A | [5 empty] | A | Generator Availability Forecasting uncertainty
| 6 | Min | [6 empty] | LCR | [5 empty] | LCR | Largest credible risk(s)
|  | Average | [6 empty] | Multiple
|  | Max | [6 empty] | Total
| 12 | Min | [5 empty] | LOR 2 | D
|  | Average | [6 empty] | I
|  | Max | [6 empty] | A
| 24 | Min | [6 empty] | LCR
|  | Average | [6 empty] | Multiple
|  | Max | [6 empty] | Total
| 48 | Min | [5 empty] | LOR 3 | Total
|  | Average |  |  |  |  | Qld | LOR 1 | D
|  | Max | [6 empty] | I
| 60 | Min | [6 empty] | A
|  | Average | [6 empty] | LCR
|  | Max | [6 empty] | Multiple
Qld | 2 | Min | [6 empty] | Total
|  | Average | [5 empty] | LOR 2 | D
|  | Max | [6 empty] | I
| 6 | Min | [6 empty] | A
|  | Average | [6 empty] | LCR
|  | Max | [6 empty] | Multiple
| 12 | Min | [6 empty] | Total
|  | Average | [5 empty] | LOR 3 | Total
|  | Max |  |  |  |  | SA | LOR 1 | D
| 24 | Min | [6 empty] | I
|  | Average | [6 empty] | A
|  | Max | [6 empty] | LCR
| 48 | Min | [6 empty] | Multiple
|  | Average | [6 empty] | Total
|  | Max | [5 empty] | LOR 2 | D
| 60 | Min | [6 empty] | I
|  | Average | [6 empty] | A
|  | Max | [6 empty] | LCR
SA | 2 | Min | [6 empty] | Multiple
|  | Average | [6 empty] | Total
|  | Max | [5 empty] | LOR 3 | Total
| 6 | Min |  |  |  |  | Tas | LOR 1 | D
|  | Average | [6 empty] | I
|  | Max | [6 empty] | A
| 12 | Min | [6 empty] | LCR
|  | Average | [6 empty] | Multiple
|  | Max | [6 empty] | Total
| 24 | Min | [5 empty] | LOR 2 | D
|  | Average | [6 empty] | I
|  | Max | [6 empty] | A
| 48 | Min | [6 empty] | LCR
|  | Average | [6 empty] | Multiple
|  | Max | [6 empty] | Total
| 60 | Min | [5 empty] | LOR 3 | Total
|  | Average |  |  |  |  | Vic | LOR 1 | D
|  | Max | [6 empty] | I
Tas | 2 | Min | [6 empty] | A
|  | Average | [6 empty] | LCR
|  | Max | [6 empty] | Multiple
| 6 | Min | [6 empty] | Total
|  | Average | [5 empty] | LOR 2 | D
|  | Max | [6 empty] | I
| 12 | Min | [6 empty] | A
|  | Average | [6 empty] | LCR
|  | Max | [6 empty] | Multiple
| 24 | Min | [6 empty] | Total
|  | Average | [5 empty] | LOR 3 | Total
Max
| 48 | Min
Average
Max
| 60 | Min
Average
Max
Vic | 2 | Min
Average
Max
| 6 | Min
Average
Max
| 12 | Min
Average
Max
| 24 | Min
Average
Max
| 48 | Min
Average
Max
| 60 | Min
Average
Max