## Slide 1: 5MS Metering Procedures Focus Group
Wednesday, 15 August 2018
AEMO Office, Level 22, 320 Collins St, Melbourne
*This slide pack was developed for the Metering Focus Group meeting. This version of the slides has been annotated with the group’s comments or recommendations on each issue.

## Slide 2: Agenda
Introduction and Overview
Procedure Prioritisation
Metering Procedure Changes
  MDFF Specification NEM12 and NEM13
  MDM Procedures and MDM File Format and Load Process
  Metrology Procedures: Part A
  Metrology Procedures: Part B
  Glossary and Framework
Re-Accreditation
Issues
  Identified issues
  New issues
Next Steps

## Slide 3: Attendees
Attendee | Organisation
Aakash Sembey | Simply Energy
Amit Arya | Momentum Energy
Andy Gillis | SAPN
Ashlei Neos | Alinta
Ty Crowhurst | Intellihub
Mario Iogha | Origin Energy
Jonathon Briggs | Metering Dynamics
Justin Stute | Select Data
Linda Brackenbury | Plus ES
Attendee | Organisation
Louise Webb | Vector AMS
Mark Riley | AGL
Wendy McLeod | Alinta
Mark Pilkington | Powercor
Jeff Roberts | Evoenergy
Shawn Tan | Energy Australia
Suvid Satyawadi | Alinta
Tim Lloyd | Essential Energy
Dino Ou | Endeavour Energy
Attendee | Organisation
Chantal Wright | Momentum
Stephanie Lommi | Red /Lumo
Sean Jennings | Red /Lumo
Tony Bergmeier | Snowy Hydro
David Ripper | AEMO
Craig Shelley | AEMO
Emily Brodie | AEMO
Umesh Dutt | AEMO
Gary Eisner | AEMO

## Slide 4: Introduction and Overview

## Slide 5: Introduction and Overview
AEMC Decision
Final rule change made 28 Nov 2017 with industry go live 1 July 2021.
Key functional metering implications of 5MS include:
AEMO and Participant systems to accept five minute metering data from the market.
AEMO to receive MDFF metering data files for settlements.
Re-configuring interval meters to produce five minute metering data.
Define MDFF interval file records for five minute metering data.
Revise profiling and type 7 calculations for five minute metering data.
Develop conversions for 30 and 15 minute to five minute metering data.
Controlled Load Profile (CLP) and Net System Load Profile (NSLP) change from 30 minute to five minute.

## Slide 6: Procedure Prioritisation

## Slide 7: Procedure Prioritisation
Procedure Title | Consultable Procedure | Impact
MDFF Specification NEM12 and NEM13 | N | High
MSATS Procedure: Metering Data Management (MDM) Procedure | Y | High
MDM File Format and Load Process | N | Medium
Metrology Procedure: Part A | Y | High
Metrology Procedure: Part B | Y | High
Retail Electricity Market Glossary and Framework | Y | High

## Slide 8: Procedure Prioritisation
Procedures identified on previous slide considered by AEMO to have highest impact for Participant system design, build and testing.
Actions from MPFG meeting
MPFG Participants to confirm that these Procedures are to be the subject of Work Package 1 consultation
MPFG Participants to identify and provide reasons why any other Procedures that should be included Work Package 1 consultation.

## Slide 9: Metering Procedure Changes

## Slide 10: Metering procedure changes – MDFF Specification NEM12 and NEM13
Change scope of procedure, add AEMO to list of MDFF recipients.
Interval metering data – add in 5 minute data.
Define 5 minute start and end times.
Remove MDM and net data file references.
Produce example of 5 minute metering data file.
Requirements to change “Required”, “Not Required” to “Mandatory”?
Actions from MPFG meeting
MPFG Participants to identify MDFF data fields that should be made “Mandatory”.

## Slide 11: Metering procedure changes – MDM Procedures and MDM File Format and Load Process
Load data – Reflect MDP Obligations from MDP SLP (current obligation to submit MDMT).
Inclusion of new profile names.
Updated calculation methods for NSLP and CLP.
Reports – changes to reconciliation reports?
Update any references of 30 minute data to 5 minute.
AEMO to accept 5, 15 and 30 minute metering data.
DCTC to replaced by Metering Installation Type Code?
Other MDM file requirements to be replaced by MDFF data?
Actions from MPFG meeting
MPFG Participants to identify other MDM file requirements to be replaced by MDFF data.

## Slide 12: Metering procedure changes – Metrology Procedures: Part A
Section 3.7 – Potential noting of Data Storage assumptions.
Section 3.9 – Amend section based on new definition of a TI and interval energy data.
Section 7 – Reversion of Metering Installations types needs to be updated (removal of ability to replace a device that is capable of producing interval energy data and is already installed in a metering installation with a device that only procedures accumulated energy data).
Section 12.8.2 – Requirements for CLP.
Include meter data storage exemption procedure – propose that this procedure can be included within Metrology Proc: Part A.
Action from MPFG meeting
AEMO will include new meter data storage exemption procedure in Metrology Procedure: Part A.

## Slide 13: Metering procedure changes – Metrology Procedures: Part B
Section 11 – Conversion of accumulated metering data:
  Sample meters and controlled loads
  Update Profile Preparation Service to 5 minute trading interval
New Section for conversion of interval metering data (30-minute data to 5-minute and 15 minute to 5 minute).
Unmetered load (type 7 metering installations) – metering data calculation.
Review linear interpolation substitution method – four trading intervals or two hours?
Action from MPFG meeting
Overwhelming support to retain current linear interpolation substitution method definition – to be applied for up to two hours.

## Slide 14: Metering procedure changes – Glossary and Framework
Addition of new Exemption Procedure - Metering Provider Data Storage Requirements (1.3, 2.2 (figure 2), 2.7.7, 5: Glossary).
Change to description of MDM Procedures (2.6.3) – conversion of meter readings to half-hourly data for settlements.
Change to description of Service Level Procedure – MDP (2.7.2) – refers to MDFF Specification (NEM12) – add a new format (if required).
Change to description of MDFF (4 (figure 3), 4.4.4) – addition of new format to document name (if required) and changes to MDM Data file.
Changes to Glossary (section 5):
  BMP – basic meter profiler (refers to half-hourly)
  Exemption Procedure – defined as existing exemption procedure
  Interval – needs to be updated to reflect new rules definition of interval energy data
  MDFF Specification – addition of new format if required
  MDM Contributory Suffix – definition to be checked against changes to the NMI Procedure
  MDM Data File – removal of MDM data file as standard file for delivery of metering data to AEMO
  Change B2B definitions (if required)

## Slide 15: Re-Accreditation

## Slide 16: Re-Accreditation
Qualification Procedure Metering Providers, Metering Data Providers & Embedded Network Managers
Section 5
Re-accreditation may be necessary for reasons such as:
Change to the NER,
Change to accreditation requirements,
Changes to Participant processes, systems or key personnel, or
Result of action taken under the Default and Deregistration Procedure.
Participants are encouraged to contact AEMO where there is any uncertainty as to whether a re-accreditation is necessary.

## Slide 17: Re-Accreditation
Scenarios
MP or MDP intending to build new system for 5MS or Global Settlements (GS)
Re-accreditation most likely required for system and new internal process documentation.
MP or MDP intending to change existing systems for 5MS or GS
Demonstration of changed system capability to support 5MS or GS required (Readiness).
Demonstration that internal process documentation reflect 5MS or GS capability.
Review at next routine audit.
Action from MPFG meeting
MPs and MDPs to contact AEMO to discuss intended system and internal procedure changes to support 5MS or GS.

## Slide 18: Issues

## Slide 19: Identified issues
Metering data delivery timeframe
  Provide details of this issue for SWG review
  Increase metering data file size
    Required metering data file size?
  Required B2B and B2M communications capacity?
Requirement to differentiate between metering data types?
  Add new format?
  Metering data file to only contain the same metering data type?
Actions from MPFG meeting
AEMO advised SWG that review of metering data file size increase and communications capacities is high priority – impact on metering data delivery timeframes.
MPFG Participants to confirm whether there is a requirement to differentiate between interval metering data types.

## Slide 20: New issues identified in MPFG meeting
Materiality of 20 second time error for 5MS
  The NER allows a 20 second time error for meters:
      1.1% of 30 minute TI
      6.7% of a 5 minute TI
  NER 7.10.6(d) requires MDP to check metering installation clock accuracy each time the metering installation is accessed. Clock accuracy is therefore not related to individual trading intervals. AEMO does not consider this to be an issue.
AEMO will accept Wh metering data but will only supply kWh metering data
  AEMO to develop a convention for resolution of decimals with consideration of rounding of values.
AEMO to consider accepting B2B transactions including PMD/VMD processes.
  AEMO considers an “AEMO initiated” RM11 report will produce the same result as PMD/VMD requests. Therefore AEMO will receive MDFF via B2M as proposed.

## Slide 21: New issues identified in MPFG meeting
AEMO to accept metering data where data streams not registered in MSATS rather than reject the metering data as proposed.
  AEMO to review its system design
Standardise the use of RegisterID and DatastreamID
  MPFG Participants agreed this should be reviewed.
  Proponent to provide a proposed approach to achieve standardisation.

## Slide 22: Next Steps

## Slide 23: Next Steps
MPFG feedback on procedure change impact assessment
MPFG feedback on prioritisation approach
Second metering procedures focus group meeting to be determined.
Outcomes of focus group fed back into procedure development process and to the PWG.
Other comments

## Slide 24: Questions

## Slide 25: Actions - MPFG 15 August
Item | Topic | Action Required | Responsible | By
1 | Metering data delivery timeframe | AEMO advised SWG that review of metering data file size increase and communications capacities is high priority – impact on metering data delivery timeframes. AEMO and SWG Participants to determine increased metering data file size and communications capacities. Consider part-day data delivery once SWG considers data volumes. | AEMO SWG | Completed SWG meeting date TBC
2 | Requirement to differentiate between metering data types | MPFG Participants to confirm whether there is a requirement to differentiate between interval metering data types. | MPFG Participants | 31 Aug
3 | Materiality of 20 second time error for 5MS | NER 7.10.6(d) requires MDP to check metering installation clock accuracy each time the metering installation is accessed. Clock accuracy is therefore not related to individual trading intervals. AEMO does not consider this to be an issue. | AEMO | Completed
4 | Units of measure – AEMO will accept Wh metering data but will only supply kWh metering data | AEMO to develop a convention for resolution of decimals with consideration of rounding of values. | AEMO | 7 Sep
5 | AEMO to consider accepting B2B transactions including PMD/VMD processes | AEMO considers an “AEMO initiated” RM11 report will produce the same result as PMD/VMD requests. Therefore AEMO will receive MDFF via B2M as proposed. | AEMO | 7 Sep

## Slide 26: Actions - MPFG 15 August
Item | Topic | Action Required | Responsible | By
6 | AEMO to accept metering data where data streams not registered in MSATS rather than reject the metering data as proposed | AEMO to review its system design . | AEMO | 14 Sep
7 | Standardise the use of RegisterID and DatastreamID | Proponent to provide a proposed approach to achieve standardisation. | Ty Crowhurst | 31 Aug
8 | 5MS metering data volumes | AEMO to review preliminary data modelling undertaken. | AEMO | 31 Aug
9 | Transition to 5 minute metering data | Develop transition plan to implement provision of 5 minute metering data with PWG/SWG. Joint metering/IT focus group to provide input to transition plan. | AEMO/PWG/SWG | TBC Joint meeting