## 1 Storage_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Large Scale Storage VIC | Capacity Factor | % | 6.7452 | 9.0196 | 10.8889 | 11.2781 | 9.1445 | 8.7807 | 7.6715 | 8.1407 | 8.0921 | 8.4265 | 11.2161 | 11.0603 | 10.482 | 9.0809 | 9.0327
Large Scale Storage SA | Capacity Factor | % | 6.4036 | 6.5545 | 6.5883 | 7.0056 | 4.6799 | 4.1481 | 3.7554 | 4.0802 | 4.0764 | 4.0625 | 4.0526 | 4.1776 | 4.1584 | 3.9222 | 4.1948
Large Scale Storage QLD | Capacity Factor | % | 11.1051 | 9.872 | 10.4859 | 11.0469 | 11.3326 | 11.3155 | 11.1341 | 11.5272 | 12.3286 | 13.5576 | 12.5357 | 12.4216 | 12.8789 | 12.844 | 13.0888

## 2 Generator_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Capacity Factor | % | 61.3571 | 59.9611 | 55.555 | 63.9671 | 63.0822 | 58.5403 | 62.6055 | 63.4589 | 63.8949 | 67.987 | 66.8127 | 67.4843 | 68.6126 | 63.5872 | 68.842
Black Coal QLD | Capacity Factor | % | 51.7514 | 52.0489 | 56.6249 | 61.9153 | 61.7023 | 63.5488 | 60.0021 | 55.8502 | 55.2762 | 58.7694 | 64.9024 | 62.6513 | 62.9485 | 65.0143 | 66.4639
Brown Coal VIC | Capacity Factor | % | 74.2991 | 71.5711 | 64.601 | 65.3809 | 71.6235 | 69.6355 | 63.9145 | 69.3521 | 62.8222 | 62.7578 | 66.8457 | 66.9888 | 61.4813 | 72.2652 | 72.4543
Natural Gas NSW | Capacity Factor | % | 0.1223 | 0.20753 | 1.5722 | 3.4997 | 4.0087 | 4.8167 | 5.6954 | 2.8114 | 3.0588 | 8.1093 | 7.4497 | 8.2614 | 11.4608 | 18.0967 | 13.2665
Natural Gas QLD | Capacity Factor | % | 6.8314 | 6.8298 | 6.0449 | 5.8427 | 6.0585 | 6.7029 | 9.6812 | 7.6747 | 7.2095 | 7.6617 | 10.5755 | 11.9828 | 13.3676 | 15.9726 | 13.8869
Natural Gas VIC | Capacity Factor | % | 0.16313 | 0.10032 | 0.21882 | 0.2157 | 0.20662 | 0.20849 | 0.29553 | 0.099854 | 0.16676 | 0.29826 | 0.14357 | 0.24508 | 0.49232 | 1.5581 | 1.0888
Natural Gas SA | Capacity Factor | % | 11.7326 | 11.6111 | 12.5789 | 9.9198 | 1.8225 | 1.3105 | 1.7423 | 0.80827 | 0.9089 | 1.825 | 1.3801 | 1.2608 | 1.7222 | 3.3534 | 2.4618
Natural Gas TAS | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0.033904 | 0.011301 | 0 | 0 | 0.0332 | 0 | 0 | 0.011301 | 0.011301 | 0
Liquid Fuel QLD | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0030791 | 0
Liquid Fuel SA | Capacity Factor | % | 0 | 0 | 0 | 0 | 0.016176 | 0 | 0.0083261 | 0 | 0 | 0.0025636 | 0 | 0 | 0.002226 | 0 | 0
Wind NSW | Capacity Factor | % | 32.552 | 32.5155 | 32.1858 | 32.9267 | 32.6826 | 32.0671 | 32.4991 | 32.4137 | 32.2406 | 32.2082 | 31.9528 | 32.3202 | 32.502 | 32.1235 | 32.8385
Wind QLD | Capacity Factor | % | 33.1924 | 33.1921 | 32.9173 | 33.7699 | 33.3742 | 32.7044 | 33.1481 | 32.7734 | 31.4877 | 30.3275 | 31.2566 | 31.7435 | 31.7927 | 31.0062 | 31.9889
Wind VIC | Capacity Factor | % | 33.4748 | 32.9887 | 32.1515 | 32.2533 | 33.0599 | 32.9647 | 33.2656 | 32.8055 | 32.765 | 32.4105 | 31.1611 | 31.2647 | 31.6346 | 32.1715 | 32.3041
Wind SA | Capacity Factor | % | 31.9012 | 31.7897 | 31.2022 | 30.8094 | 32.1899 | 30.807 | 30.9065 | 30.8775 | 30.64 | 31.1283 | 30.6452 | 30.7464 | 30.6542 | 29.5971 | 29.8294
Wind TAS | Capacity Factor | % | 36.3601 | 36.1366 | 36.313 | 36.4813 | 35.5095 | 36.0304 | 36.1267 | 36.0966 | 36.4556 | 34.9845 | 35.9225 | 36.1461 | 36.2509 | 36.2214 | 36.5528
Solar NSW | Capacity Factor | % | 28.4026 | 28.3955 | 28.5383 | 28.2997 | 28.409 | 28.4375 | 28.2461 | 28.0813 | 28.1902 | 28.3434 | 28.2738 | 28.0647 | 28.0608 | 28.333 | 28.143
Solar QLD | Capacity Factor | % | 30.4668 | 30.4317 | 30.517 | 30.4061 | 30.5178 | 30.5067 | 30.4097 | 29.7356 | 27.0723 | 23.2301 | 27.4475 | 27.7404 | 26.5839 | 27.6039 | 26.8815
Solar VIC | Capacity Factor | % | 29.0884 | 29.346 | 29.4043 | 28.9821 | 29.6336 | 29.1492 | 29.1165 | 28.883 | 29.132 | 28.975 | 27.2957 | 27.1345 | 27.3235 | 28.0825 | 28.1499
Solar SA | Capacity Factor | % | 30.4986 | 30.1442 | 30.1074 | 29.3531 | 30.2323 | 29.8223 | 29.5281 | 29.3675 | 29.5451 | 28.4817 | 28.0496 | 27.7473 | 28.1155 | 27.6569 | 27.3805
REZ Solar NSW | Capacity Factor | % | 30.6192 | 30.5922 | 30.7762 | 30.6162 | 30.5856 | 30.59 | 30.47 | 30.248 | 30.2885 | 30.3713 | 30.4049 | 30.252 | 30.2679 | 30.0062 | 29.6391
REZ Wind NSW | Capacity Factor | % | 40.5803 | 40.7462 | 40.7147 | 41.3477 | 40.304 | 39.9952 | 40.4841 | 40.558 | 40.645 | 39.64 | 39.7058 | 40.2367 | 40.7084 | 40.5606 | 41.0745
REZ Solar QLD | Capacity Factor | % | 30.6636 | 30.6607 | 30.7957 | 30.4647 | 30.8212 | 30.7249 | 30.6104 | 30.5665 | 29.6735 | 29.521 | 30.0393 | 30.075 | 30.118 | 29.9515 | 29.5595
REZ Wind QLD | Capacity Factor | % | 2027: 44.2587; 2028: 43.6507; 2029: 41.6767; 2030: 44.5388; 2031: 44.4921; 2032: 43.7789; 2033: 43.6998; 2034: 43.603
REZ Solar SA | Capacity Factor | % | 30.7131 | 30.4766 | 30.53 | 30.2249 | 30.82 | 30.4733 | 30.8814 | 30.7331 | 30.9415 | 30.5927 | 30.4378 | 30.2406 | 30.3267 | 26.0236 | 25.9462
REZ Wind TAS | Capacity Factor | % | 51.6813 | 51.6441 | 51.5326 | 51.727 | 50.5567 | 51.0763 | 51.3501 | 51.6441 | 51.6416 | 49.9247 | 50.9968 | 51.5014 | 51.7702 | 51.5326 | 51.9386
Hydro NSW | Capacity Factor | % | 19.6329 | 19.672 | 20.341 | 21.6141 | 22.0978 | 21.1492 | 21.4077 | 21.2297 | 21.7494 | 22.5225 | 21.9642 | 22.6133 | 22.9153 | 23.9633 | 24.0766
Hydro QLD | Capacity Factor | % | 38.1395 | 38.2378 | 38.7026 | 39.5334 | 39.6961 | 39.7184 | 40.7111 | 40.6638 | 41.2355 | 41.7059 | 41.7469 | 42.2063 | 42.028 | 42.3423 | 42.3481
Hydro VIC | Capacity Factor | % | 15.352 | 15.2797 | 15.3329 | 15.4847 | 15.6875 | 15.6154 | 15.6202 | 15.508 | 15.5364 | 15.6525 | 15.7793 | 15.6319 | 15.4777 | 15.3636 | 15.4881
Hydro TAS | Capacity Factor | % | 52.7651 | 51.0487 | 52.3141 | 52.0824 | 52.283 | 51.924 | 52.2511 | 52.4917 | 52.588 | 52.0402 | 52.3506 | 52.3191 | 52.137 | 51.6325 | 51.9443
Large Scale Storage SA | Capacity Factor | % | 6.4036 | 6.5545 | 6.5883 | 7.0056 | 4.6799 | 4.1481 | 3.7554 | 4.0802 | 4.0764 | 4.0625 | 4.0526 | 4.1776 | 4.1584 | 3.9222 | 4.1948
Large Scale Storage QLD | Capacity Factor | % | 11.1051 | 9.872 | 10.4859 | 11.0469 | 11.3326 | 11.3155 | 11.1341 | 11.5272 | 12.3286 | 13.5576 | 12.5357 | 12.4216 | 12.8789 | 12.844 | 13.0888
Large Scale Storage VIC | Capacity Factor | % | 6.7452 | 9.0196 | 10.8889 | 11.2781 | 9.1445 | 8.7807 | 7.6715 | 8.1407 | 8.0921 | 8.4265 | 11.2161 | 11.0603 | 10.482 | 9.0809 | 9.0327
Distributed Storage NSW | Capacity Factor | % | 0.36824 | 0.47745 | 0.5464 | 0.5335 | 0.23219 | 1.0608 | 0.51675 | 0.11456 | 0.083961 | 0.23699 | 0.072665 | 0.057719 | 0.19372 | 0.42011 | 0.56103
Distributed Storage QLD | Capacity Factor | % | 9.7413 | 9.7634 | 9.4991 | 9.6057 | 10.0503 | 9.8094 | 9.5078 | 9.878 | 10.8493 | 12.5364 | 11.3179 | 10.9211 | 11.3372 | 11.2425 | 11.2334
Distributed Storage SA | Capacity Factor | % | 15.6033 | 15.8179 | 15.6736 | 15.6837 | 13.3159 | 11.7568 | 10.7062 | 10.9795 | 10.631 | 10.2807 | 10.1441 | 10.0436 | 9.8073 | 9.1283 | 8.7629
Distributed Storage TAS | Capacity Factor | % | 0.39278 | 0.53244 | 0.61902 | 0.68871 | 0.3281 | 1.3041 | 0.90009 | 0.23354 | 0.18255 | 0.32766 | 0.24304 | 0.36109 | 0.50757 | 1.0601 | 1.3645
Distributed Storage VIC | Capacity Factor | % | 13.7144 | 13.8737 | 13.7912 | 14.0186 | 14.7711 | 15.0193 | 13.185 | 14.149 | 13.8433 | 13.6272 | 16.1866 | 15.9522 | 15.2042 | 12.8171 | 12.4908
New Natural Gas NSW | Capacity Factor | % |  |  |  | 1.8151 | 1.7272 | 2.6199 | 2.3416 | 1.0886 | 1.4306 | 4.5123 | 4.1811 | 8.9559 | 10.4833 | 18.9441 | 11.8993
New Natural Gas VIC | Capacity Factor | % |  |  |  | 1.3611 | 1.1804 | 0.94147 | 1.517 | 1.0441 | 1.5597 | 1.6794 | 1.0036 | 1.4368 | 2.7656 | 9.6351 | 7.0859
New Natural Gas SA | Capacity Factor | % | [5 empty] | 1.69 | 2.4111 | 1.0578 | 1.5963 | 3.0872 | 2.1514 | 4.9875 | 6.5401 | 14.8558 | 11.4364
Pumped Hydro SA | Capacity Factor | % | [5 empty] | 20.0245 | 20.4634 | 20.1753 | 20.8985 | 21.9976 | 21.6146 | 22.2532 | 22.6464 | 22.0363 | 22.3908
Pumped Hydro NSW | Capacity Factor | % | [5 empty] | 18.7085 | 19.8767 | 18.9762 | 19.5636 | 21.616 | 20.6912 | 21.9824 | 22.4175 | 23.4584 | 23.5727
Pumped Hydro QLD | Capacity Factor | % | 2029: 24.0714; 2030: 24.2176; 2031: 24.4216; 2032: 24.4375; 2033: 24.6646; 2034: 24.6352
Pumped Hydro VIC | Capacity Factor | % | 2033: 21.5879; 2034: 21.9843

## 3 Generator_GenerationCost
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation Cost | $000 | 1133195.3931 | 1132965.188 | 1130667.3749 | 1172857.2743 | 1158322.5152 | 1165333.4571 | 1309702.7045 | 1315967.8866 | 1432198.7424 | 1325595.5452 | 1353918.282 | 1410058.7059 | 1456585.3833 | 1373624.4514 | 1509213.0818
Black Coal QLD | Black Coal | QLD | Generation Cost | $000 | 919031.6472 | 941988.3426 | 1034844.2741 | 1151380.6057 | 1160233.9537 | 1210830.8403 | 1151031.1547 | 1086283.3818 | 1123375.6023 | 1206896.3708 | 996624.9188 | 977247.6133 | 1037880.2978 | 1070651.7193 | 1103524.3379
Brown Coal VIC | Brown Coal | VIC | Generation Cost | $000 | 319881.556 | 309951.0556 | 283802.9722 | 288049.5335 | 314571.5884 | 306001.8906 | 278159.5662 | 306150.3391 | 277122.4666 | 275724.6936 | 299204.9453 | 302449.429 | 281722.1088 | 215916.4427 | 216479.9856
Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 1972.4216 | 3339.6931 | 27304.5043 | 60948.5617 | 66955.8385 | 79362.5621 | 91623.8929 | 45501.3691 | 49508.5524 | 126430.8021 | 121788.371 | 138055.7248 | 185899.049 | 293546.1047 | 214028.3228
Natural Gas QLD | Natural Gas | QLD | Generation Cost | $000 | 206170.1656 | 206264.5812 | 176511.2864 | 148359.5346 | 138682.1915 | 134654.4909 | 167582.3953 | 133897.2739 | 125625.5806 | 131917.0955 | 214962.6398 | 260704.866 | 289498.3959 | 347335.2959 | 298317.9632
Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 6833.3884 | 4789.5046 | 10386.0023 | 7609.0659 | 6993.336 | 7366.1158 | 10356.0423 | 3766.626 | 6236.2618 | 9716.3164 | 6099.1342 | 7612.279 | 12754.8628 | 44184.1357 | 28933.2891
Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 436876.7312 | 432944.8748 | 441689.9762 | 337303.1253 | 32373.827 | 25634.9944 | 33135.0896 | 16575.9004 | 17326.0538 | 34537.473 | 28080.8268 | 33069.4475 | 44979.7321 | 73869.4491 | 59451.2511
Natural Gas TAS | Natural Gas | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 64.6955 | 21.2937 | 0 | 0 | 60.6069 | 0 | 0 | 20.0588 | 19.9008 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44.4106 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 155.559 | 0 | 93.5755 | 0 | 0 | 24.2202 | 0 | 0 | 20.4974 | 0 | 0
Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | Generation Cost | $000 | 23968.9039 | 24530.1448 | 27925.5821 | 35795.5628 | 38482.7774 | 32929.2697 | 34633.8207 | 34162.4665 | 38383.3434 | 45058.3897 | 40227.628 | 45180.1943 | 45506.0964 | 55952.9426 | 56414.9171
Hydro QLD | Hydro | QLD | Generation Cost | $000 | 6772.1485 | 7107.0982 | 8574.039 | 11352.2102 | 11492.2122 | 11931.7136 | 14981.1045 | 14723.7648 | 16300.3183 | 17853.6369 | 17954.4678 | 19621.4782 | 18813.6734 | 20004.7035 | 19652.9389
Hydro VIC | Hydro | VIC | Generation Cost | $000 | 22582.7755 | 22427.6578 | 22471.5331 | 22901.0255 | 23201.3351 | 23206.3243 | 23177.1718 | 22936.8455 | 22923.1163 | 23210.7513 | 23355.8161 | 23155.8149 | 22880.2658 | 22570.9065 | 22809.0828
Hydro TAS | Hydro | TAS | Generation Cost | $000 | 62323.7792 | 62349.3189 | 62427.8713 | 62243.4577 | 62388.9493 | 62309.274 | 62288.0394 | 62364.3454 | 62469.7133 | 62315.7894 | 62367.6455 | 62316.6473 | 62353.4847 | 62237.0742 | 62541.3972
Large Scale Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 0 | 0 | 0 | 8974.0188 | 8314.7278 | 12270.7516 | 10672.8402 | 4819.882 | 6334.1895 | 19979.3933 | 18512.807 | 39654.2022 | 48017.8522 | 86771.9344 | 54503.7636
New Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 0 | 0 | 0 | 4541.5683 | 3843.5592 | 2987.1617 | 4691.3301 | 3144.8058 | 4697.591 | 5106.581 | 3051.5988 | 4401.9316 | 8472.8364 | 29518.7568 | 21708.9255
New Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 2391.0858 | 3305.1943 | 1403.5168 | 2118.0081 | 4172.6172 | 2907.7489 | 6741.0926 | 9136.3038 | 20752.9941 | 15976.1233
Pumped Hydro SA | Hydro | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 12450.4712 | 15326.0237 | 15109.8833 | 15652.5589 | 16477.2366 | 17624.0673 | 18139.8406 | 18804.4949 | 29174.2792 | 29654.0894
Pumped Hydro NSW | Hydro | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 2885.2929 | 3064.7303 | 2925.6123 | 3016.3525 | 3571.5279 | 11208.3858 | 11909.1117 | 16073.9884 | 26689.0287 | 26819.2633
Pumped Hydro QLD | Hydro | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6412.9494 | 21490.3403 | 21671.6298 | 21685.7344 | 21887.5788 | 21861.4995
Pumped Hydro VIC | Hydro | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9252.2514 | 9422.453

## 4 Installed Capacity
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Installed Capacity | MW | 10040 | 10040 | 10040 | 8240 | 8240 | 8240 | 8240 | 8240 | 8240 | 6920 | 6920 | 6920 | 6920 | 6920 | 6920
Black Coal QLD | Black Coal | QLD | Installed Capacity | MW | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 6499 | 6499 | 6499 | 6499 | 6499
Brown Coal VIC | Brown Coal | VIC | Installed Capacity | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006
Natural Gas QLD | Natural Gas | QLD | Installed Capacity | MW | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039
Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 1985 | 1985 | 1985
Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 2671.1 | 2671.1 | 2431.1 | 2431.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1
Natural Gas TAS | Natural Gas | TAS | Installed Capacity | MW | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163
Liquid Fuel NSW | Liquid Fuel | NSW | Installed Capacity | MW | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Liquid Fuel QLD | Liquid Fuel | QLD | Installed Capacity | MW | 457.5 | 457.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5
Liquid Fuel SA | Liquid Fuel | SA | Installed Capacity | MW | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2
Wind NSW | Wind | NSW | Installed Capacity | MW | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500
Wind QLD | Wind | QLD | Installed Capacity | MW | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676
Wind VIC | Wind | VIC | Installed Capacity | MW | 2914 | 3730 | 4240 | 4240 | 4640 | 5040 | 5040 | 5040 | 5340 | 5340 | 5740 | 5740 | 5740 | 5740 | 5740
Wind SA | Wind | SA | Installed Capacity | MW | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052
Wind TAS | Wind | TAS | Installed Capacity | MW | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420
Solar NSW | Solar | NSW | Installed Capacity | MW | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446
Solar QLD | Solar | QLD | Installed Capacity | MW | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5
Solar VIC | Solar | VIC | Installed Capacity | MW | 702 | 702 | 702 | 702 | 997 | 1407 | 1407 | 1407 | 1507 | 1507 | 1707 | 1707 | 1707 | 1707 | 1707
Solar SA | Solar | SA | Installed Capacity | MW | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320
REZ Solar NSW | Solar | NSW | Installed Capacity | MW | 1232 | 1232 | 1232 | 1232 | 1314 | 1314 | 1314 | 1314 | 1314 | 1314 | 1414 | 1414 | 1414 | 3033 | 3033
REZ Wind NSW | Wind | NSW | Installed Capacity | MW | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135
REZ Solar QLD | Solar | QLD | Installed Capacity | MW | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 1535.7 | 2270.7 | 2947.7 | 3767.7 | 4452.7 | 4452.7 | 4452.7 | 4452.7 | 4452.7
REZ Wind QLD | Wind | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 276 | 503 | 631 | 631 | 631 | 631 | 631
REZ Solar SA | Solar | SA | Installed Capacity | MW | 166 | 166 | 166 | 490 | 490 | 842 | 970 | 970 | 970 | 1096 | 1096 | 1096 | 1096 | 2056 | 2056
REZ Wind TAS | Wind | TAS | Installed Capacity | MW | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 190 | 190 | 190 | 331 | 331
Hydro NSW | Hydro | NSW | Installed Capacity | MW | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862
Hydro QLD | Hydro | QLD | Installed Capacity | MW | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4
Hydro VIC | Hydro | VIC | Installed Capacity | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219
Hydro TAS | Hydro | TAS | Installed Capacity | MW | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7
Large Scale Storage SA | Battery | SA | Installed Capacity | MW | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
Large Scale Storage QLD | Battery | QLD | Installed Capacity | MW | 3.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4
Large Scale Storage VIC | Battery | VIC | Installed Capacity | MW | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
Distributed Storage NSW | Battery | NSW | Installed Capacity | MW | 25.1568 | 56.0691 | 95.8798 | 142.8159 | 196.0542 | 253.9814 | 314.6069 | 377.6072 | 442.051 | 507.2804 | 573.3688 | 634.0407 | 687.346 | 739.0638 | 803.9992
Distributed Storage QLD | Battery | QLD | Installed Capacity | MW | 13.6923 | 30.9345 | 51.8416 | 75.3569 | 100.2728 | 126.2546 | 152.7033 | 179.8653 | 207.739 | 236.1665 | 265.0381 | 294.2611 | 323.755 | 353.0294 | 397.184
Distributed Storage SA | Battery | SA | Installed Capacity | MW | 4.6986 | 10.6141 | 18.2709 | 27.3616 | 37.6467 | 49.2016 | 61.6345 | 74.7964 | 88.5706 | 102.8717 | 117.6225 | 132.3793 | 146.6603 | 160.356 | 183.121
Distributed Storage TAS | Battery | TAS | Installed Capacity | MW | 1.1074 | 2.4017 | 3.9644 | 5.8927 | 7.4173 | 8.7301 | 9.7122 | 10.6559 | 11.4994 | 12.2389 | 12.9664 | 13.6654 | 14.3392 | 14.99 | 15.7718
Distributed Storage VIC | Battery | VIC | Installed Capacity | MW | 15.5741 | 34.1933 | 54.664 | 76.9652 | 100.4807 | 125.6983 | 151.7562 | 178.5289 | 205.3924 | 232.5471 | 260.3066 | 288.6046 | 317.3904 | 346.1144 | 386.7479
New Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 0 | 0 | 0 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
New Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 0 | 0 | 0 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320
New Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150
Pumped Hydro SA | Hydro | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 621 | 748 | 748 | 748 | 748 | 814 | 814 | 829 | 1322 | 1322
Pumped Hydro NSW | Hydro | NSW | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 154 | 154 | 154 | 154 | 165 | 541 | 541 | 716 | 1136 | 1136
Pumped Hydro QLD | Hydro | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 266 | 886 | 886 | 886 | 886 | 886
Pumped Hydro VIC | Hydro | VIC | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 428 | 428

## 5 Generator_SRMC
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | SRMC | $/MWh | 20.1176 | 20.8684 | 21.2403 | 23.3948 | 24.029 | 25.1858 | 25.9795 | 26.8147 | 28.7876 | 29.5429 | 30.791 | 31.7357 | 32.2089 | 32.7015 | 33.2508
Black Coal QLD | Black Coal | QLD | SRMC | $/MWh | 21.7667 | 22.3234 | 22.5691 | 22.8742 | 23.1876 | 23.6416 | 24.0684 | 24.4436 | 25.2255 | 25.9959 | 23.8432 | 24.2534 | 24.9436 | 25.5992 | 25.8737
Brown Coal VIC | Brown Coal | VIC | SRMC | $/MWh | 8.2968 | 8.3525 | 8.3525 | 8.4082 | 8.4819 | 8.4819 | 8.4819 | 8.5376 | 8.6112 | 8.6112 | 8.6669 | 8.7405 | 8.7405 | 8.4674 | 8.4674
Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh | 99.7281 | 99.7281 | 99.7281 | 96.6123 | 93.4965 | 90.4065 | 87.2564 | 87.2564 | 87.2907 | 87.2907 | 87.2907 | 91.6272 | 91.6272 | 91.6272 | 91.6272
Natural Gas QLD | Natural Gas | QLD | SRMC | $/MWh | 85.8312 | 83.6367 | 90.6957 | 78.5227 | 77.2749 | 78.6239 | 74.2703 | 74.2933 | 66.1618 | 61.1059 | 78.7349 | 81.4521 | 81.4521 | 81.4521 | 80.144
Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh | 145.6956 | 121.7153 | 137.4545 | 113.2925 | 126.442 | 132.2156 | 130.0959 | 102.2083 | 104.519 | 131.331 | 119.2907 | 126.937 | 133.3024 | 129.696 | 127.687
Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | 115.6489 | 113.0091 | 116.0837 | 113.192 | 123.5368 | 120.492 | 117.5568 | 98.7921 | 90.5542 | 117.8069 | 117.8069 | 121.0926 | 121.0926 | 121.0926 | 121.0926
Natural Gas TAS | Natural Gas | TAS | SRMC | $/MWh
Liquid Fuel NSW | Liquid Fuel | NSW | SRMC | $/MWh | 2025: 420.6241; 2026: 415.1948; 2029: 401.9371; 2032: 390.4958; 2033: 387.3371
Liquid Fuel QLD | Liquid Fuel | QLD | SRMC | $/MWh | 2033: 361.4748
Liquid Fuel SA | Liquid Fuel | SA | SRMC | $/MWh | 2024: 434.3103; 2026: 423.5938; 2029: 408.5682; 2032: 398.7786
Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | SRMC | $/MWh | 2027: 0; 2028: 0; 2029: 0; 2030: 0; 2031: 0; 2032: 0; 2033: 0; 2034: 0
REZ Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | SRMC | $/MWh | 0.0093161 | 0.0094227 | 0.0098401 | 0.010487 | 0.010646 | 0.010364 | 0.010436 | 0.010428 | 0.010668 | 0.010935 | 0.010768 | 0.010948 | 0.010927 | 0.011159 | 0.011179
Hydro QLD | Hydro | QLD | SRMC | $/MWh | 0.0098326 | 0.0098481 | 0.0098521 | 0.0098543 | 0.0098553 | 0.009863 | 0.009854 | 0.0098536 | 0.0098549 | 0.0098571 | 0.0098563 | 0.0098589 | 0.0098548 | 0.0098546 | 0.0098562
Hydro VIC | Hydro | VIC | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Hydro TAS | Hydro | TAS | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Large Scale Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh |  |  |  | 101.6118 | 98.6683 | 95.7248 | 92.8828 | 89.9393 | 89.9393 | 89.9393 | 89.9393 | 89.9393 | 93.3903 | 93.3903 | 93.3903
New Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh |  |  |  | 107.7018 | 104.8598 | 101.9163 | 99.0743 | 96.2323 | 96.2323 | 97.2473 | 97.2473 | 98.0593 | 98.0593 | 98.0593 | 98.0593
New Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | [5 empty] | 94.304 | 91.056 | 87.808 | 87.808 | 89.635 | 89.635 | 89.635 | 92.9845 | 92.9845 | 92.9845
Pumped Hydro SA | Hydro | SA | SRMC | $/MWh | [5 empty] | 0.01143 | 0.01143 | 0.01143 | 0.01143 | 0.011432 | 0.011435 | 0.011432 | 0.011434 | 0.011432 | 0.011436
Pumped Hydro NSW | Hydro | NSW | SRMC | $/MWh | [5 empty] | 0.011432 | 0.011429 | 0.011428 | 0.011429 | 0.011431 | 0.01143 | 0.011432 | 0.011432 | 0.011433 | 0.011433
Pumped Hydro QLD | Hydro | QLD | SRMC | $/MWh | 2029: 0.011433; 2030: 0.011433; 2031: 0.011434; 2032: 0.011434; 2033: 0.011434; 2034: 0.011434
Pumped Hydro VIC | Hydro | VIC | SRMC | $/MWh | 2033: 0.011431; 2034: 0.011432

## 6 Generator_Generation
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation | GWh | 52502.599 | 51188.8205 | 49162.2064 | 46002.2489 | 45239.0154 | 42157.7856 | 45244.2845 | 45651.1367 | 45983.0452 | 41085.6973 | 40360.7088 | 40776.1419 | 41473.1332 | 38408.9997 | 41625.7695
Black Coal QLD | Black Coal | QLD | Generation | GWh | 39553.6445 | 39760.621 | 42656.2256 | 46231.266 | 46062.9748 | 47260.1103 | 44552.8123 | 41787.5935 | 41332.3654 | 43254.7723 | 37400.1525 | 35788.4227 | 36044.6877 | 37209.1844 | 38153.8634
Brown Coal VIC | Brown Coal | VIC | Generation | GWh | 31437.5941 | 30337.2044 | 27952.3914 | 28250.4858 | 30377.6751 | 29557.181 | 26775.856 | 29441.9745 | 26265.7002 | 26121.2343 | 28397.8418 | 28447.1156 | 26670.8808 | 20773.9357 | 20827.8413
Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 20.4084 | 36.3003 | 282.5482 | 648.6791 | 734.4391 | 900.1092 | 1072.1126 | 533.8971 | 577.5908 | 1463.3338 | 1431.332 | 1617.7064 | 2125.4828 | 3233.9476 | 2432.7232
Natural Gas QLD | Natural Gas | QLD | Generation | GWh | 2014.1156 | 2016.7495 | 1792.0137 | 1738.208 | 1778.8755 | 1921.9529 | 2687.0322 | 2149.4642 | 2020.8376 | 2136.3358 | 2900.8506 | 3479.4262 | 3895.7724 | 4683.7405 | 4046.9405
Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 51.7831 | 35.6223 | 79.914 | 60.629 | 56.7613 | 60.232 | 87.9325 | 32.3111 | 53.4437 | 82.8032 | 51.4002 | 64.3238 | 106.5812 | 372.4198 | 245.1988
Natural Gas SA | Natural Gas | SA | Generation | GWh | 5453.9765 | 5403.1898 | 5501.9854 | 4255.7839 | 350.1728 | 297.5832 | 398.5698 | 203.2502 | 196.997 | 391.3269 | 320.9219 | 383.0738 | 521.1239 | 825.1115 | 675.543
Natural Gas TAS | Natural Gas | TAS | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0.1485 | 0.0495 | 0 | 0 | 0.14542 | 0 | 0 | 0.0495 | 0.0495 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.11814 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0.33661 | 0 | 0.20616 | 0 | 0 | 0.0557 | 0 | 0 | 0.04875 | 0 | 0
Wind NSW | Wind | NSW | Generation | GWh | 4266.9151 | 4261.8973 | 4216.1713 | 4311.325 | 4284.8181 | 4203.8249 | 4259.6544 | 4249.5746 | 4228.2322 | 4228.0955 | 4192.9712 | 4240.6237 | 4261.4038 | 4208.4214 | 4300.0655
Wind QLD | Wind | QLD | Generation | GWh | 1965.575 | 1965.5408 | 1949.3365 | 1999.7754 | 1976.6194 | 1936.6738 | 1963.0562 | 1948.7858 | 1880.6002 | 1813.0868 | 1842.3421 | 1875.5488 | 1886.3524 | 1833.7216 | 1888.8938
Wind VIC | Wind | VIC | Generation | GWh | 8447.696 | 10618.8945 | 11746.3436 | 11852.5823 | 13476.3191 | 14709.3349 | 14787.02 | 14594.9815 | 15699.2193 | 15497.5711 | 16108.1784 | 16201.4903 | 16319.5234 | 16546.6839 | 16604.4811
Wind SA | Wind | SA | Generation | GWh | 5839.0961 | 5814.5072 | 5703.7147 | 5637.5217 | 5879.2429 | 5623.9396 | 5652.5692 | 5641.4197 | 5599.9386 | 5686.9971 | 5595.6528 | 5616.8435 | 5607.719 | 5407.8979 | 5454.7798
Wind TAS | Wind | TAS | Generation | GWh | 1337.7315 | 1329.5045 | 1335.9306 | 1342.046 | 1306.1706 | 1325.3261 | 1328.9368 | 1327.736 | 1340.9498 | 1286.9226 | 1321.1958 | 1329.3888 | 1333.2443 | 1331.8864 | 1343.7804
Solar NSW | Solar | NSW | Generation | GWh | 1094.6557 | 1094.0869 | 1099.7696 | 1090.6928 | 1094.8302 | 1095.8847 | 1088.3992 | 1081.2356 | 1083.6629 | 1090.8052 | 1088.2769 | 1080.3487 | 1079.4146 | 1090.3689 | 1082.3558
Solar QLD | Solar | QLD | Generation | GWh | 3244.9456 | 3241.8568 | 3250.2465 | 3240.0081 | 3250.5864 | 3249.2542 | 3239.2776 | 3179.1052 | 2912.3419 | 2512.5339 | 2920.83 | 2952.8144 | 2837.8628 | 2939.2382 | 2863.0134
Solar VIC | Solar | VIC | Generation | GWh | 1802.456 | 1812.8677 | 1810.0103 | 1773.2298 | 2579.031 | 3591.086 | 3588.3624 | 3548.5044 | 3816.576 | 3788.3527 | 3990.2311 | 3963.6034 | 3994.9895 | 4161.3428 | 4177.9685
Solar SA | Solar | SA | Generation | GWh | 854.5707 | 845.8054 | 845.1051 | 820.1252 | 846.4925 | 826.3764 | 813.6022 | 808.4499 | 812.7635 | 772.3478 | 758.1908 | 746.8054 | 759.371 | 741.7326 | 730.8121
REZ Solar NSW | Solar | NSW | Generation | GWh | 3309.1182 | 3309.5693 | 3326.4659 | 3315.9627 | 3529.8581 | 3529.9311 | 3520.3507 | 3498.2586 | 3510.9067 | 3518.8937 | 3774.9527 | 3760.9336 | 3763.4393 | 7960.7439 | 7886.966
REZ Wind NSW | Wind | NSW | Generation | GWh | 479.9025 | 481.8647 | 481.4922 | 488.9776 | 476.6345 | 472.9831 | 478.7649 | 479.6391 | 480.668 | 468.7828 | 469.5609 | 475.8396 | 481.4171 | 479.6693 | 485.7469
REZ Solar QLD | Solar | QLD | Generation | GWh | 1797.1432 | 1797.3715 | 1803.9155 | 1785.8335 | 1806.0012 | 1800.4 | 4123.7362 | 6104.1789 | 7898.4743 | 9898.6183 | 11691.8672 | 11716.3018 | 11759.9879 | 11689.6868 | 11501.0915
REZ Wind QLD | Wind | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 352.8124 | 1055.3684 | 1846.6867 | 2469.3516 | 2464.7142 | 2425.7315 | 2431.7968 | 2421.7899
REZ Solar SA | Solar | SA | Generation | GWh | 444.3344 | 441.3689 | 441.7728 | 1309.419 | 1334.9418 | 2292.8541 | 2633.6535 | 2611.7685 | 2642.7533 | 2933.5885 | 2913.7718 | 2891.0685 | 2897.7361 | 4140.8564 | 4116.4229
REZ Wind TAS | Wind | TAS | Generation | GWh | 651.9291 | 651.4599 | 650.0528 | 652.5051 | 637.7429 | 644.297 | 647.7505 | 651.4599 | 651.4275 | 629.7705 | 848.7903 | 857.1901 | 861.6638 | 1494.2186 | 1505.9916
Hydro NSW | Hydro | NSW | Generation | GWh | 3166.2423 | 3195.9695 | 3391.4395 | 3848.4896 | 4001.9193 | 3669.6615 | 3768.7786 | 3741.4288 | 3983.0607 | 4360.7452 | 4082.9078 | 4354.0702 | 4380.1954 | 4973.4705 | 5003.3223
Hydro QLD | Hydro | QLD | Generation | GWh | 758.4069 | 777.4796 | 860.1016 | 1017.3168 | 1026.4289 | 1048.8515 | 1223.0691 | 1208.8479 | 1298.7798 | 1386.454 | 1392.3541 | 1485.2406 | 1441.2234 | 1507.9953 | 1489.2213
Hydro VIC | Hydro | VIC | Generation | GWh | 3109.4503 | 3088.092 | 3094.1332 | 3153.2705 | 3194.6206 | 3195.3075 | 3191.2935 | 3158.2026 | 3156.3123 | 3195.9171 | 3215.8912 | 3188.3528 | 3150.4121 | 3107.8161 | 3140.6108
Hydro TAS | Hydro | TAS | Generation | GWh | 8581.4383 | 8584.9549 | 8595.7709 | 8570.3787 | 8590.4117 | 8579.4411 | 8576.5172 | 8587.0239 | 8601.5321 | 8580.3382 | 8587.4783 | 8580.4563 | 8585.5285 | 8569.4998 | 8611.4024
Large Scale Storage SA | Battery | SA | Generation | GWh | 89.3241 | 91.1743 | 91.6483 | 96.2522 | 69.0567 | 62.4613 | 56.6584 | 60.1451 | 59.5825 | 59.1748 | 59.1665 | 60.344 | 59.4741 | 57.1527 | 59.9446
Large Scale Storage QLD | Battery | QLD | Generation | GWh | 3.1414 | 71.3063 | 75.3976 | 79.8838 | 81.9911 | 81.3715 | 79.8168 | 84.2543 | 94.3346 | 107.1798 | 96.5998 | 95.8812 | 99.7963 | 99.9638 | 102.0581
Large Scale Storage VIC | Battery | VIC | Generation | GWh | 60.0418 | 76.3725 | 91.274 | 95.208 | 78.847 | 78.3164 | 68.1675 | 72.7585 | 72.4942 | 75.5446 | 101.4105 | 100.0099 | 94.7144 | 81.3085 | 80.9543
Distributed Storage NSW | Battery | NSW | Generation | GWh | 0.8115 | 2.3451 | 4.5893 | 6.6744 | 3.9877 | 23.6013 | 14.2414 | 3.7894 | 3.2513 | 10.5311 | 3.6498 | 3.2058 | 11.6641 | 27.1987 | 39.5139
Distributed Storage QLD | Battery | QLD | Generation | GWh | 11.6841 | 26.4574 | 43.1385 | 63.41 | 88.2806 | 108.4905 | 127.1838 | 155.6392 | 197.4352 | 259.3562 | 262.7709 | 281.5173 | 321.534 | 347.6784 | 390.8469
Distributed Storage SA | Battery | SA | Generation | GWh | 6.4223 | 14.7074 | 25.086 | 37.5918 | 43.9138 | 50.6728 | 57.8047 | 71.9393 | 82.4838 | 92.6449 | 104.522 | 116.4695 | 125.9986 | 128.2262 | 140.5696
Distributed Storage TAS | Battery | TAS | Generation | GWh | 0.038102 | 0.11202 | 0.21497 | 0.35551 | 0.21319 | 0.99731 | 0.76579 | 0.218 | 0.1839 | 0.3513 | 0.27606 | 0.43226 | 0.63756 | 1.392 | 1.8852
Distributed Storage VIC | Battery | VIC | Generation | GWh | 18.7105 | 41.5563 | 66.0403 | 94.5154 | 130.017 | 165.3798 | 175.2794 | 221.2775 | 249.0734 | 277.6008 | 369.0997 | 403.3005 | 422.7285 | 388.6101 | 423.1773
New Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 0 | 0 | 0 | 79.5003 | 75.6523 | 114.7509 | 102.5612 | 47.6792 | 62.659 | 197.6399 | 183.1321 | 392.2667 | 459.1681 | 829.7519 | 521.1893
New Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 0 | 0 | 0 | 38.1542 | 33.0882 | 26.3912 | 42.5258 | 29.2686 | 43.7203 | 47.0775 | 28.1327 | 40.2768 | 77.5248 | 270.0909 | 198.6325
New Natural Gas SA | Natural Gas | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 22.2068 | 31.6816 | 13.8994 | 20.9752 | 40.5659 | 28.2689 | 65.5364 | 85.9375 | 195.2058 | 150.2738
Pumped Hydro SA | Hydro | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 1089.3235 | 1340.8573 | 1321.9831 | 1369.3717 | 1441.3858 | 1541.2597 | 1586.7939 | 1644.594 | 2551.9677 | 2593.0115
Pumped Hydro NSW | Hydro | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 252.3853 | 268.1448 | 255.9965 | 263.9203 | 312.4377 | 980.5892 | 1041.7794 | 1406.0644 | 2334.4313 | 2345.8039
Pumped Hydro QLD | Hydro | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 560.9032 | 1879.6162 | 1895.4471 | 1896.6788 | 1914.3046 | 1912.0273
Pumped Hydro VIC | Hydro | VIC | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 809.3898 | 824.2525

## 7 REZ_CapacityBuilt
REZ | Category | Property | Units | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
REZ Solar NSW | Solar | Capacity Change | MW | 0 | 0 | 0 | 82 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 1619 | 0
REZ Wind NSW | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 866 | 735 | 677 | 820 | 685 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 185 | 227 | 128 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | Capacity Change | MW | 0 | 0 | 324 | 0 | 352 | 128 | 0 | 0 | 126 | 0 | 0 | 0 | 960 | 0
REZ Wind TAS | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | 0 | 0 | 141 | 0
REZ Wind VIC | Wind | Capacity Change | MW | 816 | 510 | 0 | 400 | 400 | 0 | 0 | 300 | 0 | 400 | 0 | 0 | 0 | 0
REZ Solar VIC | Solar | Capacity Change | MW | 0 | 0 | 0 | 295 | 410 | 0 | 0 | 100 | 0 | 200 | 0 | 0 | 0 | 0

## 8 Generator_VOM
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Biomass NSW | Biomass | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Black Coal NSW | Black Coal | NSW | VO&M Cost | $000 | 57231.2176 | 55798.5933 | 53638.9114 | 50269.0191 | 49385.7956 | 46006.7877 | 49389.7359 | 49849.6175 | 50211.3665 | 44919.653 | 44126.4219 | 44581.1802 | 45343.8225 | 42032.6243 | 45510.5286
Black Coal QLD | Black Coal | QLD | VO&M Cost | $000 | 79958.0698 | 80844.6414 | 87454.3709 | 97578.1707 | 97456.714 | 100643.0454 | 90004.1036 | 84796.3468 | 89749.7641 | 90073.364 | 86069.6705 | 86146.9485 | 81202.5043 | 88554.0453 | 89210.1924
Brown Coal VIC | Brown Coal | VIC | VO&M Cost | $000 | 35618.5258 | 34370.3957 | 31644.5827 | 31983.9945 | 34415.7968 | 33485.7262 | 30378.3095 | 33354.771 | 29760.6342 | 29598.6596 | 32172.4109 | 32228.5139 | 30191.5417 | 23432.9127 | 23493.4948
Hydro NSW | Hydro | NSW | VO&M Cost | $000 | 23968.9039 | 24530.1448 | 27925.5821 | 35795.5628 | 38482.7774 | 32929.2697 | 34633.8207 | 34162.4665 | 38383.3434 | 45058.3897 | 40227.628 | 45180.1943 | 45506.0964 | 55952.9426 | 56414.9171
Hydro QLD | Hydro | QLD | VO&M Cost | $000 | 6772.1485 | 7107.0982 | 8574.039 | 11352.2102 | 11492.2122 | 11931.7136 | 14981.1045 | 14723.7648 | 16300.3183 | 17853.6369 | 17954.4678 | 19621.4782 | 18813.6734 | 20004.7035 | 19652.9389
Hydro TAS | Hydro | TAS | VO&M Cost | $000 | 62323.7792 | 62349.3189 | 62427.8713 | 62243.4577 | 62388.9493 | 62309.274 | 62288.0394 | 62364.3454 | 62469.7133 | 62315.7894 | 62367.6455 | 62316.6473 | 62353.4847 | 62237.0742 | 62541.3972
Hydro VIC | Hydro | VIC | VO&M Cost | $000 | 22582.7755 | 22427.6578 | 22471.5331 | 22901.0255 | 23201.3351 | 23206.3243 | 23177.1718 | 22936.8455 | 22923.1163 | 23210.7513 | 23355.8161 | 23155.8149 | 22880.2658 | 22570.9065 | 22809.0828
Large Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar QLD | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar SA | Solar | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar VIC | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 1.6035 | 0.5345 | 0 | 0 | 1.5702 | 0 | 0 | 0.5345 | 0.5345 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2757 | 0
Liquid Fuel SA | Liquid Fuel | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 3.8699 | 0 | 2.3684 | 0 | 0 | 0.63976 | 0 | 0 | 0.559 | 0 | 0
Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 170.7976 | 291.298 | 2347.7584 | 5466.3554 | 6203.7837 | 7517.1891 | 9036.5564 | 4481.3534 | 4896.1588 | 12441.0141 | 11998.4874 | 13042.0675 | 17449.7393 | 27137.4731 | 20004.3745
Natural Gas QLD | Gas | QLD | VO&M Cost | $000 | 16856.1025 | 16884.7921 | 14220.4096 | 12839.9289 | 13151.2199 | 14234.1961 | 20055.716 | 15971.2579 | 14969.9086 | 15819.3564 | 21688.1395 | 26098.466 | 29274.3831 | 35451.7554 | 30340.5436
Natural Gas SA | Gas | SA | VO&M Cost | $000 | 35090.692 | 34790.7692 | 35651.4305 | 28080.1574 | 3989.4806 | 3403.3019 | 4560.4619 | 2329.6769 | 2253.8263 | 4475.0578 | 3673.0684 | 4397.058 | 5980.9169 | 9444.4646 | 7743.0668
Natural Gas TAS | Gas | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 620.7219 | 443.613 | 977.6316 | 741.9961 | 682.5926 | 707.6848 | 1000.513 | 365.2291 | 601.3025 | 942.02 | 582.688 | 716.5653 | 1154.5504 | 4033.0105 | 2654.5973
New Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 815.0789 | 775.6276 | 1176.4862 | 1051.5113 | 488.8318 | 642.4127 | 2026.3076 | 1877.5666 | 4021.7244 | 4707.6326 | 8507.0524 | 5343.5062
New Natural Gas SA | Gas | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 232.3699 | 331.514 | 145.4422 | 219.4827 | 424.4778 | 295.8035 | 685.7673 | 899.2425 | 2042.6175 | 1572.4531
New Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 391.1773 | 339.2374 | 270.5762 | 435.9972 | 300.0769 | 448.2434 | 482.6636 | 288.4309 | 412.9392 | 794.8252 | 2769.1141 | 2036.4846
REZ Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Qld | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Vic | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Qld | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Vic | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 9 VIC_Firm Capacity
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Brown Coal | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas | MW | 2495 | 2495 | 2495 | 2815 | 2815 | 2815 | 2815 | 2815 | 2815 | 2815 | 2815 | 2815 | 2305 | 2305 | 2305
Wind | MW | 218.55 | 279.75 | 318 | 318 | 348 | 378 | 378 | 378 | 400.5 | 400.5 | 430.5 | 430.5 | 430.5 | 430.5 | 430.5
Solar | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2647 | 2647
Battery | MW | 120.5741 | 139.1933 | 159.664 | 181.9652 | 205.4807 | 230.6983 | 256.7562 | 283.5289 | 310.3924 | 337.5471 | 365.3066 | 393.6046 | 422.3904 | 451.1144 | 491.7479
Curtailable Load | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Capacity Interchange | MW | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878
Peak Load | MW | 9611.02 | 9519.17 | 9340.28 | 9045.48 | 9245.18 | 9219.72 | 9211.17 | 9329.81 | 9261.36 | 9323.11 | 9263.07 | 9277.7 | 9392.05 | 9332.86 | 9143.54
Peak Load + Min Capacity Reserves | MW | 10109.02 | 10017.17 | 9838.28 | 9543.48 | 9743.18 | 9717.72 | 9709.17 | 9827.81 | 9759.36 | 9821.11 | 9761.07 | 9775.7 | 9890.05 | 9830.86 | 9641.54

## 10 VRET
| Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
% of Renewable Generation in VIC | % | 33.2558 | 37.4164 | 41.1173 | 41.3423 | 42.7292 | 45.8381 | 48.5535 | 46.2245 | 50.5279 | 50.6315 | 49.4439 | 49.5482 | 51.2973 | 57.9488 | 58.2938
Wind | GWh | 8447.696 | 10618.8945 | 11746.3436 | 11852.5823 | 13476.3191 | 14709.3349 | 14787.02 | 14594.9815 | 15699.2193 | 15497.5711 | 16108.1784 | 16201.4903 | 16319.5234 | 16546.6839 | 16604.4811
Solar | GWh | 1802.456 | 1812.8677 | 1810.0103 | 1773.2298 | 2579.031 | 3591.086 | 3588.3624 | 3548.5044 | 3816.576 | 3788.3527 | 3990.2311 | 3963.6034 | 3994.9895 | 4161.3428 | 4177.9685
Hydro | GWh | 3109.4503 | 3088.092 | 3094.1332 | 3153.2705 | 3194.6206 | 3195.3075 | 3191.2935 | 3158.2026 | 3156.3123 | 3195.9171 | 3215.8912 | 3188.3528 | 3150.4121 | 3917.2059 | 3964.8634
Rooftop PV | GWh | 2286.4802 | 2603.6883 | 2913.2601 | 3211.9298 | 3504.5176 | 3798.5476 | 4056.3601 | 4311.8059 | 4581.8446 | 4802.9877 | 4996.7772 | 5181.2241 | 5365.7008 | 5535.3927 | 5689.3255
Total Generation | GWh | 47214.2119 | 48614.2979 | 47753.367 | 48530.0048 | 53430.877 | 55181.7765 | 52772.7972 | 55411.0846 | 53938.3839 | 53889.0891 | 57258.9629 | 57589.697 | 56203.0555 | 52046.9903 | 52212.4427

## 11 Constraint Binding Hours
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Avoid overload of Ararat - Waubra transmission line | Annual hours | 43 | 71 | 423 | 456 | 964 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Elaine transmission line | Annual hours | 0 | 11 | 4 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - North Ballarat transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Terang transmission line | Annual hours | 0 | 0 | 593 | 324 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Waubra transmission line | Annual hours | 2284 | 2098 | 2805 | 2246 | 1609 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Balranald - Darlington Point transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Fosterville - Shepparton transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Kerang transmission line | Annual hours | 681 | 692 | 918 | 948 | 42 | 38 | 72 | 59 | 41 | 58 | 31 | 29 | 45 | 170 | 217
Avoid overload of Bendigo - North Ballarat transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 2 | 2 | 2 | 5 | 10 | 5 | 3 | 7
Avoid overload of Bulgana - Crowlands transmission line | Annual hours | 0 | 0 | 0 | 3 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bulgana - Horsham transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bulgana - Waubra transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Buronga - Balranald transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Crowlands to Ararat transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Elaine - Moorabool transmission line | Annual hours | 0 | 111 | 566 | 406 | 325 | 2 | 1 | 1 | 4 | 4 | 0 | 0 | 0 | 2 | 0
Avoid overload of Geelong - Keilor transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Geelong - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 2 | 1 | 3 | 3 | 3 | 4 | 0
Avoid overload of Horsham - Bulgana transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 0
Avoid overload of Horsham - Red Cliffs transmission line | Annual hours | 0 | 0 | 5 | 85 | 354 | 16 | 31 | 20 | 23 | 12 | 4 | 4 | 2 | 22 | 17
Avoid overload of Kerang - Wemen - Red Cliffs transmission line | Annual hours | 61 | 72 | 124 | 211 | 173 | 636 | 653 | 581 | 548 | 530 | 926 | 910 | 954 | 1133 | 1056
Avoid overload of Moorabool - Terang transmission line | Annual hours | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of North Ballarat - Waubra transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Victoria to New South Wales export stability constraint | Annual hours | 2294 | 3326 | 3658 | 3828 | 3803 | 4179 | 3037 | 3938 | 3366 | 3547 | 5144 | 5070 | 4329 | 3242 | 2936