## 1 Storage_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Large Scale Storage VIC | Capacity Factor | % | 6.7452 | 9.0196 | 10.8889 | 12.1369 | 10.0557 | 11.0873 | 9.7361 | 10.5697 | 10.4233 | 10.5675 | 13.8486 | 13.6934 | 13.1027 | 12.2146 | 12.1916
Large Scale Storage SA | Capacity Factor | % | 6.4036 | 6.5545 | 6.5883 | 6.9212 | 4.7436 | 4.7467 | 4.2406 | 4.4011 | 4.1383 | 4.2088 | 4.4381 | 4.7015 | 4.2632 | 3.8713 | 4.0459
Large Scale Storage QLD | Capacity Factor | % | 11.1051 | 9.872 | 10.4859 | 11.0752 | 11.2932 | 11.3579 | 11.0829 | 11.3251 | 12.2594 | 13.6916 | 13.1355 | 12.9073 | 13.281 | 13.3488 | 13.573

## 2 Generator_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Capacity Factor | % | 61.3571 | 59.9611 | 55.555 | 63.6415 | 62.6925 | 59.711 | 63.8565 | 64.4052 | 64.6458 | 69.1427 | 67.914 | 68.6242 | 69.295 | 64.2199 | 69.5256
Black Coal QLD | Capacity Factor | % | 51.7514 | 52.0489 | 56.6249 | 61.621 | 61.3124 | 64.0588 | 60.4181 | 56.1141 | 55.4367 | 58.8211 | 65.0105 | 62.6364 | 62.8277 | 64.8425 | 66.4909
Brown Coal VIC | Capacity Factor | % | 74.2991 | 71.5711 | 64.601 | 63.9472 | 69.6077 | 68.6378 | 63.2176 | 68.524 | 61.9503 | 62.1976 | 65.9939 | 66.1343 | 60.8005 | 70.9542 | 71.2246
Natural Gas NSW | Capacity Factor | % | 0.1223 | 0.20753 | 1.5722 | 3.4003 | 3.7585 | 4.5494 | 5.5581 | 2.5472 | 2.7346 | 8.3151 | 7.9444 | 8.7648 | 11.2153 | 19.9729 | 14.7029
Natural Gas QLD | Capacity Factor | % | 6.8314 | 6.8298 | 6.0449 | 5.8168 | 6.007 | 6.4573 | 9.3645 | 7.4311 | 6.93 | 7.7349 | 11.2905 | 12.6075 | 13.7408 | 17.1178 | 14.8337
Natural Gas VIC | Capacity Factor | % | 0.16313 | 0.10032 | 0.21882 | 0.19679 | 0.18199 | 0.23064 | 0.35763 | 0.12183 | 0.22761 | 0.41159 | 0.19045 | 0.33747 | 0.61348 | 2.4726 | 1.8576
Natural Gas SA | Capacity Factor | % | 11.7326 | 11.6111 | 12.5789 | 9.8734 | 1.7162 | 1.7744 | 2.3111 | 1.1591 | 1.2141 | 2.3387 | 2.0416 | 2.0189 | 2.544 | 4.616 | 3.4528
Natural Gas TAS | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Capacity Factor | % | 0 | 0 | 0 | 0 | 0.016519 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Capacity Factor | % | 32.552 | 32.5155 | 32.1858 | 32.9345 | 32.667 | 32.0869 | 32.5366 | 32.5275 | 32.3709 | 32.2541 | 32.0005 | 32.3468 | 32.546 | 32.1309 | 32.8482
Wind QLD | Capacity Factor | % | 33.1924 | 33.1921 | 32.9173 | 33.7699 | 33.3914 | 32.7044 | 33.1646 | 32.8728 | 31.5311 | 30.3836 | 30.697 | 31.574 | 31.2658 | 30.8822 | 31.4516
Wind VIC | Capacity Factor | % | 33.4748 | 32.9887 | 32.1515 | 32.0015 | 32.7127 | 32.1062 | 32.4252 | 32.0323 | 32.017 | 31.6085 | 30.3884 | 30.4276 | 30.8311 | 30.9338 | 31.0761
Wind SA | Capacity Factor | % | 31.9012 | 31.7897 | 31.2022 | 30.9092 | 32.1064 | 31.2614 | 31.5423 | 31.3329 | 31.0676 | 31.6762 | 31.1809 | 31.2958 | 31.3053 | 29.3904 | 29.6511
Wind TAS | Capacity Factor | % | 36.3601 | 36.1366 | 36.313 | 36.4727 | 35.5036 | 36.0109 | 36.117 | 36.1001 | 36.4544 | 34.9914 | 35.9359 | 36.1519 | 36.2585 | 36.2229 | 36.5821
Solar NSW | Capacity Factor | % | 28.4026 | 28.3955 | 28.5383 | 28.3033 | 28.3855 | 28.4694 | 28.3102 | 28.3643 | 28.5311 | 28.4715 | 28.3552 | 28.1358 | 28.2203 | 28.3756 | 28.2304
Solar QLD | Capacity Factor | % | 30.4668 | 30.4317 | 30.517 | 30.4061 | 30.5373 | 30.5094 | 30.4222 | 29.87 | 27.2021 | 23.0025 | 26.5089 | 27.1051 | 25.6887 | 26.7065 | 25.8581
Solar VIC | Capacity Factor | % | 29.0884 | 29.346 | 29.4043 | 28.9922 | 29.5298 | 28.9908 | 28.965 | 28.8223 | 29.1324 | 28.8632 | 27.0954 | 27.0197 | 27.2304 | 27.5115 | 27.3988
Solar SA | Capacity Factor | % | 30.4986 | 30.1442 | 30.1074 | 29.5265 | 30.3128 | 30.0083 | 30.2208 | 30.0342 | 30.3846 | 30.1362 | 29.8548 | 29.6449 | 30.1035 | 26.7733 | 26.7543
REZ Solar NSW | Capacity Factor | % | 30.6192 | 30.5922 | 30.7762 | 30.6022 | 30.577 | 30.6012 | 30.5262 | 30.5209 | 30.651 | 30.5431 | 30.2181 | 30.0349 | 29.9562 | 30.0517 | 29.7313
REZ Wind NSW | Capacity Factor | % | 40.5803 | 40.7462 | 40.7147 | 41.3609 | 40.2584 | 40.0249 | 40.5411 | 40.7398 | 40.8148 | 39.7315 | 39.7543 | 40.2518 | 40.8036 | 40.6798 | 41.1941
REZ Solar QLD | Capacity Factor | % | 30.6636 | 30.6607 | 30.7957 | 30.4647 | 30.8296 | 30.7249 | 30.6141 | 30.5912 | 29.7009 | 29.0719 | 29.6115 | 29.5538 | 29.7289 | 29.4393 | 29.0347
REZ Wind QLD | Capacity Factor | % | 2027: 44.2555; 2028: 43.7305; 2029: 41.4055; 2030: 44.5043; 2031: 44.423; 2032: 43.5911; 2033: 43.5829; 2034: 43.2293
REZ Solar SA | Capacity Factor | % | 30.7131 | 30.4766 | 30.53 | 30.1868 | 30.8565 | 30.6195 | 30.714 | 30.6145 | 30.7924 | 30.6384 | 30.4542 | 30.263 | 30.6914 | 25.7228 | 25.6374
REZ Wind TAS | Capacity Factor | % | 51.6813 | 51.6441 | 51.5326 | 51.727 | 50.5567 | 51.0763 | 51.3501 | 51.6441 | 51.6416 | 49.9247 | 50.9968 | 51.5014 | 51.7702 | 51.5326 | 51.9386
Hydro NSW | Capacity Factor | % | 19.6329 | 19.672 | 20.341 | 21.5219 | 21.9517 | 19.5707 | 19.7373 | 19.6158 | 19.894 | 20.2043 | 20.7582 | 21.3569 | 22.2022 | 23.9443 | 24.1105
Hydro QLD | Capacity Factor | % | 38.1395 | 38.2378 | 38.7026 | 39.4925 | 39.7357 | 38.9629 | 39.8611 | 40.0698 | 40.853 | 41.5217 | 41.9657 | 42.5348 | 42.5965 | 42.5828 | 42.6295
Hydro VIC | Capacity Factor | % | 15.352 | 15.2797 | 15.3329 | 15.4434 | 15.601 | 15.5482 | 15.6045 | 15.4774 | 15.5529 | 15.7309 | 15.8083 | 15.6431 | 15.5611 | 15.3625 | 15.5138
Hydro TAS | Capacity Factor | % | 52.7651 | 51.0487 | 52.3141 | 52.0755 | 52.1954 | 51.8798 | 52.1912 | 52.4665 | 52.5769 | 52.0722 | 52.3442 | 52.2459 | 52.1688 | 51.8446 | 52.1365
Large Scale Storage SA | Capacity Factor | % | 6.4036 | 6.5545 | 6.5883 | 6.9212 | 4.7436 | 4.7467 | 4.2406 | 4.4011 | 4.1383 | 4.2088 | 4.4381 | 4.7015 | 4.2632 | 3.8713 | 4.0459
Large Scale Storage QLD | Capacity Factor | % | 11.1051 | 9.872 | 10.4859 | 11.0752 | 11.2932 | 11.3579 | 11.0829 | 11.3251 | 12.2594 | 13.6916 | 13.1355 | 12.9073 | 13.281 | 13.3488 | 13.573
Large Scale Storage VIC | Capacity Factor | % | 6.7452 | 9.0196 | 10.8889 | 12.1369 | 10.0557 | 11.0873 | 9.7361 | 10.5697 | 10.4233 | 10.5675 | 13.8486 | 13.6934 | 13.1027 | 12.2146 | 12.1916
Distributed Storage NSW | Capacity Factor | % | 0.36824 | 0.47745 | 0.5464 | 0.72263 | 0.25944 | 1.0497 | 0.46445 | 0.19787 | 0.1365 | 0.17645 | 0.093656 | 0.056883 | 0.22887 | 0.33173 | 0.33821
Distributed Storage QLD | Capacity Factor | % | 9.7413 | 9.7634 | 9.4991 | 9.5778 | 10.037 | 9.8238 | 9.4745 | 9.6594 | 10.6281 | 12.8216 | 12.2861 | 11.7778 | 12.1591 | 12.2845 | 11.8142
Distributed Storage SA | Capacity Factor | % | 15.6033 | 15.8179 | 15.6736 | 15.7216 | 13.6861 | 12.8918 | 11.6466 | 11.5686 | 10.8537 | 10.6728 | 10.7981 | 10.7255 | 9.9376 | 9.1381 | 8.7677
Distributed Storage TAS | Capacity Factor | % | 0.39278 | 0.53244 | 0.61902 | 0.83284 | 0.34893 | 1.2436 | 0.89424 | 0.30094 | 0.31344 | 0.35149 | 0.24726 | 0.28119 | 0.46989 | 0.95393 | 0.80839
Distributed Storage VIC | Capacity Factor | % | 13.7144 | 13.8737 | 13.7912 | 15.4138 | 15.9329 | 16.4641 | 14.1535 | 15.2 | 14.8837 | 14.6645 | 18.0439 | 17.7824 | 16.6197 | 14.9391 | 14.2892
New Natural Gas NSW | Capacity Factor | % |  |  |  | 1.7211 | 1.5813 | 1.8581 | 2.0148 | 0.9618 | 1.2263 | 4.2556 | 4.1967 | 9.6376 | 10.247 | 20.6185 | 13.8362
New Natural Gas VIC | Capacity Factor | % |  |  |  | 1.2052 | 1.042 | 1.2016 | 1.9564 | 1.2272 | 1.921 | 2.2414 | 1.3318 | 1.9045 | 3.2561 | 14.495 | 12.5608
New Natural Gas SA | Capacity Factor | % | [5 empty] | 2.8444 | 3.7271 | 1.6963 | 2.4593 | 4.4707 | 3.7471 | 7.8001 | 8.7525 | 18.9064 | 14.7626
Pumped Hydro SA | Capacity Factor | % | [5 empty] | 20.8749 | 21.3522 | 20.491 | 21.656 | 22.2223 | 22.5451 | 23.0778 | 23.2493 | 23.2325 | 23.5512
Pumped Hydro NSW | Capacity Factor | % | [5 empty] | 10.7183 | 11.8465 | 10.4164 | 11.4895 | 13.898 | 14.9374 | 16.2189 | 17.1212 | 18.1726 | 18.4843
Pumped Hydro QLD | Capacity Factor | % | 2029: 24.0749; 2030: 24.4881; 2031: 24.6677; 2032: 24.658; 2033: 24.8283; 2034: 24.8323
Pumped Hydro VIC | Capacity Factor | %

## 3 Generator_GenerationCost
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation Cost | $000 | 1133195.3931 | 1132965.188 | 1130667.3749 | 1165634.0787 | 1149516.8955 | 1190855.3502 | 1337375.5476 | 1335284.1848 | 1449787.7481 | 1349288.154 | 1378173.9099 | 1435599.6721 | 1472167.2011 | 1388163.714 | 1525055.4251
Black Coal QLD | Black Coal | QLD | Generation Cost | $000 | 919031.6472 | 941988.3426 | 1034844.2741 | 1145840.4242 | 1152805.1568 | 1220509.2915 | 1158749.4375 | 1090997.6763 | 1126580.7638 | 1208366.8244 | 999611.9387 | 978524.0282 | 1036545.0209 | 1068765.1756 | 1105286.5836
Brown Coal VIC | Brown Coal | VIC | Generation Cost | $000 | 319881.556 | 309951.0556 | 283802.9722 | 281784.3612 | 306101.1482 | 301656.2757 | 275184.2018 | 302545.1178 | 273342.8724 | 273162.3059 | 295372.2817 | 298573.2405 | 278583.6136 | 212007.8738 | 212817.3866
Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 1972.4216 | 3339.6931 | 27304.5043 | 59518.1437 | 62618.4832 | 74421.253 | 90572.6631 | 41704.4873 | 45163.6739 | 129337.3085 | 128661.2188 | 148441.6564 | 184803.5279 | 325732.1481 | 238198.4342
Natural Gas QLD | Natural Gas | QLD | Generation Cost | $000 | 206170.1656 | 206264.5812 | 176511.2864 | 147864.0595 | 137511.0782 | 130650.9916 | 161730.9299 | 129499.4104 | 121394.4373 | 133192.4569 | 227393.5554 | 273535.3433 | 297194.805 | 374752.7193 | 320210.994
Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 6833.3884 | 4789.5046 | 10386.0023 | 7001.7055 | 6374.1433 | 8355.4567 | 13636.5051 | 4824.2302 | 9123.929 | 13230.0867 | 8369.5156 | 10464.6843 | 16047.9692 | 71472.8613 | 47226.7403
Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 436876.7312 | 432944.8748 | 441689.9762 | 335284.9528 | 30670.0548 | 31951.6099 | 41285.1743 | 21144.4093 | 22022.744 | 42940.9681 | 38567.2927 | 45868.9963 | 56162.7826 | 92137.1188 | 74273.8223
Natural Gas TAS | Natural Gas | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 158.8298 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | Generation Cost | $000 | 23968.9039 | 24530.1448 | 27925.5821 | 34295.8241 | 37313.9688 | 23755.9253 | 24431.32 | 24139.4299 | 25513.4377 | 26935.3292 | 30995.8824 | 34541.7537 | 40620.4709 | 55257.477 | 56013.4396
Hydro QLD | Hydro | QLD | Generation Cost | $000 | 6772.1485 | 7107.0982 | 8574.039 | 11225.7719 | 11539.9492 | 9564.2057 | 12318.2474 | 12897.1827 | 15102.5476 | 17312.0231 | 18562.234 | 20635.312 | 20570.4066 | 20674.0939 | 20533.2525
Hydro VIC | Hydro | VIC | Generation Cost | $000 | 22582.7755 | 22427.6578 | 22471.5331 | 22829.0428 | 23061.0145 | 23079.6777 | 23136.1959 | 22879.2588 | 22970.2183 | 23333.3677 | 23428.0016 | 23304.4581 | 23083.9582 | 22534.9482 | 22860.1424
Hydro TAS | Hydro | TAS | Generation Cost | $000 | 62323.7792 | 62349.3189 | 62427.8713 | 62268.1406 | 62381.6666 | 62315.4191 | 62271.5429 | 62363.6378 | 62475.0191 | 62314.2425 | 62384.6388 | 62316.2872 | 62354.5629 | 62293.1803 | 62616.14
Large Scale Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 0 | 0 | 0 | 7658.5069 | 6850.8955 | 7832.5874 | 8264.9767 | 3832.7516 | 4886.8406 | 16958.3308 | 16723.8555 | 38405.4438 | 42241.8957 | 84997.3008 | 57037.9363
New Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 0 | 0 | 0 | 3518.8228 | 2968.7521 | 3336.0944 | 5293.7608 | 3234.1092 | 5062.8109 | 5963.4371 | 3543.2751 | 5105.4539 | 8728.7566 | 38856.8472 | 33671.9498
New Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 1341.447 | 1703.0641 | 750.2478 | 1087.6757 | 2014.1565 | 1688.1676 | 3514.1693 | 4075.6206 | 8803.8047 | 6874.2283
Pumped Hydro SA | Hydro | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 2278.336 | 2330.5267 | 5047.2 | 5334.7015 | 5474.4442 | 5554.2331 | 5685.5682 | 8242.5693 | 21568.7655 | 21870.8381
Pumped Hydro NSW | Hydro | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 22175.586 | 24488.0794 | 21531.9741 | 23750.2444 | 28728.8867 | 30877.42 | 33529.3809 | 35391.556 | 37564.8665 | 38222.4485
Pumped Hydro QLD | Hydro | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3930.3113 | 14250.0646 | 14354.7398 | 14349.0708 | 14448.3662 | 14450.6887
Pumped Hydro VIC | Hydro | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 4 Installed Capacity
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Installed Capacity | MW | 10040 | 10040 | 10040 | 8240 | 8240 | 8240 | 8240 | 8240 | 8240 | 6920 | 6920 | 6920 | 6920 | 6920 | 6920
Black Coal QLD | Black Coal | QLD | Installed Capacity | MW | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 6499 | 6499 | 6499 | 6499 | 6499
Brown Coal VIC | Brown Coal | VIC | Installed Capacity | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006
Natural Gas QLD | Natural Gas | QLD | Installed Capacity | MW | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039
Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 1985 | 1985 | 1985
Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 2671.1 | 2671.1 | 2431.1 | 2431.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1
Natural Gas TAS | Natural Gas | TAS | Installed Capacity | MW | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163
Liquid Fuel NSW | Liquid Fuel | NSW | Installed Capacity | MW | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Liquid Fuel QLD | Liquid Fuel | QLD | Installed Capacity | MW | 457.5 | 457.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5
Liquid Fuel SA | Liquid Fuel | SA | Installed Capacity | MW | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2
Wind NSW | Wind | NSW | Installed Capacity | MW | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500
Wind QLD | Wind | QLD | Installed Capacity | MW | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676
Wind VIC | Wind | VIC | Installed Capacity | MW | 2914 | 3730 | 4240 | 4690 | 5190 | 5280 | 5280 | 5280 | 5580 | 5580 | 5980 | 5980 | 5980 | 5980 | 5980
Wind SA | Wind | SA | Installed Capacity | MW | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052
Wind TAS | Wind | TAS | Installed Capacity | MW | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420
Solar NSW | Solar | NSW | Installed Capacity | MW | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446
Solar QLD | Solar | QLD | Installed Capacity | MW | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5
Solar VIC | Solar | VIC | Installed Capacity | MW | 702 | 702 | 702 | 702 | 997 | 1407 | 1407 | 1407 | 1507 | 1507 | 1707 | 1707 | 1707 | 1707 | 1707
Solar SA | Solar | SA | Installed Capacity | MW | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320
REZ Solar NSW | Solar | NSW | Installed Capacity | MW | 1232 | 1232 | 1232 | 1232 | 1354 | 1354 | 1354 | 1354 | 1522 | 1522 | 1728 | 1728 | 1965 | 3035 | 3035
REZ Wind NSW | Wind | NSW | Installed Capacity | MW | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135
REZ Solar QLD | Solar | QLD | Installed Capacity | MW | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 1535.7 | 2272.7 | 2949.7 | 3793.7 | 4448.7 | 4448.7 | 4448.7 | 4448.7 | 4448.7
REZ Wind QLD | Wind | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 276 | 503 | 631 | 631 | 631 | 631 | 631
REZ Solar SA | Solar | SA | Installed Capacity | MW | 166 | 166 | 166 | 446 | 446 | 446 | 446 | 567 | 567 | 567 | 567 | 567 | 567 | 1949 | 1949
REZ Wind TAS | Wind | TAS | Installed Capacity | MW | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 179 | 179 | 179 | 306 | 306
Hydro NSW | Hydro | NSW | Installed Capacity | MW | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862
Hydro QLD | Hydro | QLD | Installed Capacity | MW | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4
Hydro VIC | Hydro | VIC | Installed Capacity | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219
Hydro TAS | Hydro | TAS | Installed Capacity | MW | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7
Large Scale Storage SA | Battery | SA | Installed Capacity | MW | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
Large Scale Storage QLD | Battery | QLD | Installed Capacity | MW | 3.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4
Large Scale Storage VIC | Battery | VIC | Installed Capacity | MW | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
Distributed Storage NSW | Battery | NSW | Installed Capacity | MW | 25.1568 | 56.0691 | 95.8798 | 142.8159 | 196.0542 | 253.9814 | 314.6069 | 377.6072 | 442.051 | 507.2804 | 573.3688 | 634.0407 | 687.346 | 739.0638 | 803.9992
Distributed Storage QLD | Battery | QLD | Installed Capacity | MW | 13.6923 | 30.9345 | 51.8416 | 75.3569 | 100.2728 | 126.2546 | 152.7033 | 179.8653 | 207.739 | 236.1665 | 265.0381 | 294.2611 | 323.755 | 353.0294 | 397.184
Distributed Storage SA | Battery | SA | Installed Capacity | MW | 4.6986 | 10.6141 | 18.2709 | 27.3616 | 37.6467 | 49.2016 | 61.6345 | 74.7964 | 88.5706 | 102.8717 | 117.6225 | 132.3793 | 146.6603 | 160.356 | 183.121
Distributed Storage TAS | Battery | TAS | Installed Capacity | MW | 1.1074 | 2.4017 | 3.9644 | 5.8927 | 7.4173 | 8.7301 | 9.7122 | 10.6559 | 11.4994 | 12.2389 | 12.9664 | 13.6654 | 14.3392 | 14.99 | 15.7718
Distributed Storage VIC | Battery | VIC | Installed Capacity | MW | 15.5741 | 34.1933 | 54.664 | 76.9652 | 100.4807 | 125.6983 | 151.7562 | 178.5289 | 205.3924 | 232.5471 | 260.3066 | 288.6046 | 317.3904 | 346.1144 | 386.7479
New Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 0 | 0 | 0 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450
New Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 0 | 0 | 0 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280
New Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Pumped Hydro SA | Hydro | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 109 | 109 | 246 | 246 | 246 | 246 | 246 | 354 | 927 | 927
Pumped Hydro NSW | Hydro | NSW | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 2040 | 2040 | 2040 | 2040 | 2040 | 2040 | 2040 | 2040 | 2040 | 2040
Pumped Hydro QLD | Hydro | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 163 | 581 | 581 | 581 | 581 | 581
Pumped Hydro VIC | Hydro | VIC | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 5 Generator_SRMC
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | SRMC | $/MWh | 20.1176 | 20.8684 | 21.2403 | 23.3948 | 24.029 | 25.1858 | 25.9795 | 26.8147 | 28.7876 | 29.5429 | 30.791 | 31.7357 | 32.2089 | 32.7015 | 33.2508
Black Coal QLD | Black Coal | QLD | SRMC | $/MWh | 21.7667 | 22.3234 | 22.5691 | 22.8742 | 23.1876 | 23.6416 | 24.0684 | 24.4436 | 25.2255 | 25.9959 | 23.8432 | 24.2534 | 24.9436 | 25.5992 | 25.8737
Brown Coal VIC | Brown Coal | VIC | SRMC | $/MWh | 8.2968 | 8.3525 | 8.3525 | 8.4082 | 8.4819 | 8.4819 | 8.4819 | 8.5376 | 8.6112 | 8.6112 | 8.6669 | 8.7405 | 8.7405 | 8.4674 | 8.4674
Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh | 99.7281 | 99.7281 | 99.7281 | 96.6123 | 93.4965 | 90.4065 | 87.2564 | 87.2564 | 87.2907 | 87.2907 | 87.2907 | 91.6272 | 91.6272 | 91.6272 | 91.6272
Natural Gas QLD | Natural Gas | QLD | SRMC | $/MWh | 85.8312 | 83.6367 | 90.6957 | 78.5227 | 75.3433 | 75.8248 | 74.2703 | 67.3007 | 66.1618 | 61.1059 | 77.2837 | 81.4521 | 81.4521 | 81.4521 | 80.144
Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh | 145.6956 | 121.7153 | 137.4545 | 113.2925 | 124.5411 | 129.1724 | 116.3644 | 107.8091 | 118.302 | 128.9348 | 121.3297 | 127.9265 | 135.1839 | 135.1839 | 132.5431
Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | 115.6489 | 113.0091 | 116.0837 | 113.1881 | 123.5368 | 120.492 | 117.5568 | 117.563 | 117.8069 | 117.0014 | 117.8069 | 121.0926 | 121.0926 | 121.0926 | 121.0926
Natural Gas TAS | Natural Gas | TAS | SRMC | $/MWh
Liquid Fuel NSW | Liquid Fuel | NSW | SRMC | $/MWh
Liquid Fuel QLD | Liquid Fuel | QLD | SRMC | $/MWh
Liquid Fuel SA | Liquid Fuel | SA | SRMC | $/MWh | 2024: 434.3103
Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | SRMC | $/MWh | 2027: 0; 2028: 0; 2029: 0; 2030: 0; 2031: 0; 2032: 0; 2033: 0; 2034: 0
REZ Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | SRMC | $/MWh | 0.0093161 | 0.0094227 | 0.0098401 | 0.010368 | 0.010583 | 0.00934 | 0.0094279 | 0.009401 | 0.0095867 | 0.0097658 | 0.01023 | 0.010489 | 0.01076 | 0.011165 | 0.011182
Hydro QLD | Hydro | QLD | SRMC | $/MWh | 0.0098326 | 0.0098481 | 0.0098521 | 0.0098518 | 0.0098551 | 0.0098613 | 0.0098525 | 0.0098533 | 0.00986 | 0.0098551 | 0.0098543 | 0.0098604 | 0.0098545 | 0.0098537 | 0.0098538
Hydro VIC | Hydro | VIC | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Hydro TAS | Hydro | TAS | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Large Scale Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh |  |  |  | 101.6118 | 98.6683 | 95.7248 | 92.8828 | 89.9393 | 89.9393 | 89.9393 | 89.9393 | 89.9393 | 93.3903 | 93.3903 | 93.3903
New Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh |  |  |  | 107.7018 | 104.8598 | 101.9163 | 99.0743 | 96.2323 | 96.2323 | 97.2473 | 97.2473 | 98.0593 | 98.0593 | 98.0593 | 98.0593
New Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | [5 empty] | 94.304 | 91.056 | 87.808 | 87.808 | 89.635 | 89.635 | 89.635 | 92.9845 | 92.9845 | 92.9845
Pumped Hydro SA | Hydro | SA | SRMC | $/MWh | [5 empty] | 0.01143 | 0.011431 | 0.01143 | 0.011431 | 0.011432 | 0.011432 | 0.011432 | 0.011433 | 0.011433 | 0.011436
Pumped Hydro NSW | Hydro | NSW | SRMC | $/MWh | [5 empty] | 0.011621 | 0.011586 | 0.011602 | 0.01161 | 0.011595 | 0.011606 | 0.011624 | 0.011578 | 0.01158 | 0.011582
Pumped Hydro QLD | Hydro | QLD | SRMC | $/MWh | 2029: 0.011433; 2030: 0.011434; 2031: 0.011434; 2032: 0.011434; 2033: 0.011434; 2034: 0.011434
Pumped Hydro VIC | Hydro | VIC | SRMC | $/MWh

## 6 Generator_Generation
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation | GWh | 52502.599 | 51188.8205 | 49162.2064 | 45764.8084 | 44955.106 | 43009.0548 | 46156.7971 | 46332.4188 | 46528.2715 | 41791.6566 | 41038.8999 | 41476.4627 | 41893.1923 | 38796.8269 | 42044.1796
Black Coal QLD | Black Coal | QLD | Generation | GWh | 39553.6445 | 39760.621 | 42656.2256 | 46045.4936 | 45824.7025 | 47626.175 | 44852.6969 | 42007.1111 | 41459.878 | 43281.7871 | 37421.6815 | 35742.4288 | 35948.1482 | 37079.5782 | 38132.4983
Brown Coal VIC | Brown Coal | VIC | Generation | GWh | 31437.5941 | 30337.2044 | 27952.3914 | 27638.8949 | 29576.2473 | 29139.4021 | 26492.0675 | 29098.0351 | 25910.3377 | 25874.3138 | 28033.2585 | 28082.0022 | 26373.1613 | 20398.2899 | 20476.0996
Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 20.4084 | 36.3003 | 282.5482 | 632.4681 | 686.8703 | 839.1957 | 1055.3808 | 487.7265 | 527.4418 | 1494.1326 | 1507.6606 | 1729.4192 | 2112.9345 | 3563.8072 | 2687.739
Natural Gas QLD | Natural Gas | QLD | Generation | GWh | 2014.1156 | 2016.7495 | 1792.0137 | 1731.6023 | 1763.0055 | 1862.3514 | 2599.5102 | 2082.29 | 1951.8284 | 2156.3441 | 3100.475 | 3669.5104 | 4002.18 | 5043.6419 | 4352.6947
Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 51.7831 | 35.6223 | 79.914 | 55.773 | 51.717 | 68.9051 | 116.1922 | 41.2907 | 77.9714 | 112.605 | 70.4705 | 88.4583 | 134.1315 | 596.7132 | 397.3091
Natural Gas SA | Natural Gas | SA | Generation | GWh | 5453.9765 | 5403.1898 | 5501.9854 | 4240.4065 | 331.9832 | 360.7694 | 485.2738 | 252.1374 | 246.5229 | 480.0345 | 433.2579 | 513.4926 | 627.418 | 1000.4303 | 822.7518
Natural Gas TAS | Natural Gas | TAS | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0.34375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation | GWh | 4266.9151 | 4261.8973 | 4216.1713 | 4312.1728 | 4283.6657 | 4205.859 | 4263.4961 | 4262.4747 | 4241.8384 | 4233.8713 | 4197.6238 | 4243.2873 | 4266.5665 | 4209.0973 | 4301.8632
Wind QLD | Wind | QLD | Generation | GWh | 1965.575 | 1965.5408 | 1949.3365 | 1999.7754 | 1977.3603 | 1936.6756 | 1964.1548 | 1953.582 | 1880.7536 | 1813.5561 | 1807.5694 | 1862.3143 | 1851.0061 | 1822.5812 | 1861.4907
Wind VIC | Wind | VIC | Generation | GWh | 8447.696 | 10618.8945 | 11746.3436 | 13040.5064 | 14944.4785 | 14942.4925 | 15036.8449 | 14859.9234 | 15688.7777 | 15438.6092 | 15938.1475 | 16015.2525 | 16153.7547 | 16201.2561 | 16261.4287
Wind SA | Wind | SA | Generation | GWh | 5839.0961 | 5814.5072 | 5703.7147 | 5656.0397 | 5867.394 | 5708.0603 | 5766.4761 | 5725.3037 | 5678.6219 | 5788.9669 | 5696.1281 | 5719.8963 | 5726.6416 | 5371.7911 | 5426.4069
Wind TAS | Wind | TAS | Generation | GWh | 1337.7315 | 1329.5045 | 1335.9306 | 1341.6645 | 1305.9104 | 1324.4621 | 1328.5084 | 1327.8919 | 1340.8962 | 1287.2252 | 1321.7891 | 1329.6446 | 1333.5837 | 1331.9506 | 1345.0772
Solar NSW | Solar | NSW | Generation | GWh | 1094.6557 | 1094.0869 | 1099.7696 | 1090.765 | 1093.7361 | 1097.3713 | 1091.3507 | 1092.8876 | 1098.6239 | 1096.3021 | 1092.1804 | 1083.2849 | 1085.9687 | 1092.1694 | 1087.0589
Solar QLD | Solar | QLD | Generation | GWh | 3244.9456 | 3241.8568 | 3250.2465 | 3240.0081 | 3252.5148 | 3249.4527 | 3240.5886 | 3191.4445 | 2929.8074 | 2485.9013 | 2818.8861 | 2883.5487 | 2743.7746 | 2837.4998 | 2759.4877
Solar VIC | Solar | VIC | Generation | GWh | 1802.456 | 1812.8677 | 1810.0103 | 1765.8318 | 2564.479 | 3556.5712 | 3555.5212 | 3526.5387 | 3811.7457 | 3761.0107 | 3948.3993 | 3937.4391 | 3975.4153 | 4035.6588 | 4012.5414
Solar SA | Solar | SA | Generation | GWh | 854.5707 | 845.8054 | 845.1051 | 824.3281 | 849.6222 | 841.46 | 846.7196 | 840.405 | 848.5466 | 840.7315 | 832.8196 | 825.9709 | 840.7227 | 707.473 | 706.096
REZ Solar NSW | Solar | NSW | Generation | GWh | 3309.1182 | 3309.5693 | 3326.4659 | 3314.8911 | 3635.9576 | 3637.0499 | 3631.0494 | 3631.948 | 4096.8534 | 4085.1928 | 4594.3878 | 4570.7468 | 5191.9054 | 7992.3348 | 7931.9699
REZ Wind NSW | Wind | NSW | Generation | GWh | 479.9025 | 481.8647 | 481.4922 | 489.1336 | 476.096 | 473.3341 | 479.4387 | 481.7894 | 482.6754 | 469.8651 | 470.134 | 476.0181 | 482.5436 | 481.0798 | 487.1615
REZ Solar QLD | Solar | QLD | Generation | GWh | 1797.1432 | 1797.3715 | 1803.9155 | 1785.8335 | 1806.5204 | 1800.4 | 4124.0057 | 6111.6157 | 7907.7362 | 9835.6104 | 11500.8442 | 11502.7793 | 11592.5457 | 11460.5545 | 11288.6711
REZ Wind QLD | Wind | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 352.7869 | 1057.2996 | 1838.7515 | 2469.0804 | 2464.176 | 2416.8093 | 2425.6655 | 2404.5908
REZ Solar SA | Solar | SA | Generation | GWh | 444.3344 | 441.3689 | 441.7728 | 1190.4371 | 1217.0005 | 1207.1924 | 1210.0281 | 1538.3975 | 1548.4183 | 1536.9169 | 1529.0132 | 1518.1445 | 1543.1606 | 3918.4301 | 3898.7289
REZ Wind TAS | Wind | TAS | Generation | GWh | 651.9291 | 651.4599 | 650.0528 | 652.5051 | 637.7429 | 644.297 | 647.7505 | 651.4599 | 651.4275 | 629.7705 | 799.6498 | 807.5633 | 811.778 | 1381.3622 | 1392.246
Hydro NSW | Hydro | NSW | Generation | GWh | 3166.2423 | 3195.9695 | 3391.4395 | 3764.6827 | 3935.1298 | 3149.1918 | 3187.6367 | 3169.8357 | 3252.5433 | 3335.2887 | 3560.6083 | 3751.2052 | 4105.3607 | 4934.2696 | 4982.1405
Hydro QLD | Hydro | QLD | Generation | GWh | 758.4069 | 777.4796 | 860.1016 | 1010.1482 | 1029.3109 | 915.1666 | 1072.2135 | 1105.2611 | 1230.5107 | 1355.7219 | 1427.0769 | 1542.4843 | 1540.8238 | 1546.1906 | 1539.1823
Hydro VIC | Hydro | VIC | Generation | GWh | 3109.4503 | 3088.092 | 3094.1332 | 3143.3592 | 3175.2996 | 3177.8694 | 3185.6514 | 3150.2735 | 3162.7978 | 3212.8003 | 3225.8305 | 3208.8197 | 3178.4588 | 3102.8649 | 3147.6413
Hydro TAS | Hydro | TAS | Generation | GWh | 8581.4383 | 8584.9549 | 8595.7709 | 8573.7774 | 8589.4089 | 8580.2872 | 8574.2458 | 8586.9265 | 8602.2627 | 8580.1252 | 8589.8181 | 8580.4067 | 8585.677 | 8577.2251 | 8621.6938
Large Scale Storage SA | Battery | SA | Generation | GWh | 89.3241 | 91.1743 | 91.6483 | 95.4146 | 69.3701 | 69.1023 | 62.0077 | 63.6351 | 60.4221 | 61.2081 | 63.0575 | 65.7352 | 60.9925 | 56.5435 | 58.2304
Large Scale Storage QLD | Battery | QLD | Generation | GWh | 3.1414 | 71.3063 | 75.3976 | 80.4253 | 81.7305 | 81.722 | 79.0918 | 81.9856 | 93.9098 | 110.0849 | 103.7635 | 102.1483 | 105.0125 | 106.1304 | 107.6435
Large Scale Storage VIC | Battery | VIC | Generation | GWh | 60.0418 | 76.3725 | 91.274 | 103.8057 | 87.714 | 96.8515 | 84.3432 | 92.3581 | 91.0247 | 92.6707 | 123.3471 | 122.0733 | 116.5392 | 107.6162 | 107.2583
Distributed Storage NSW | Battery | NSW | Generation | GWh | 0.8115 | 2.3451 | 4.5893 | 9.0406 | 4.4557 | 23.3544 | 12.8002 | 6.5452 | 5.2859 | 7.841 | 4.7041 | 3.1594 | 13.7807 | 21.4768 | 23.8204
Distributed Storage QLD | Battery | QLD | Generation | GWh | 11.6841 | 26.4574 | 43.1385 | 63.2255 | 88.164 | 108.6506 | 126.7389 | 152.1955 | 193.4089 | 265.2555 | 285.2512 | 303.5999 | 344.8425 | 379.9036 | 411.0567
Distributed Storage SA | Battery | SA | Generation | GWh | 6.4223 | 14.7074 | 25.086 | 37.6827 | 45.1349 | 55.5646 | 62.8821 | 75.7993 | 84.2112 | 96.1783 | 111.261 | 124.3771 | 127.6721 | 128.3646 | 140.6463
Distributed Storage TAS | Battery | TAS | Generation | GWh | 0.038102 | 0.11202 | 0.21497 | 0.42992 | 0.22672 | 0.95104 | 0.76081 | 0.28091 | 0.31574 | 0.37685 | 0.28086 | 0.3366 | 0.59023 | 1.2526 | 1.1169
Distributed Storage VIC | Battery | VIC | Generation | GWh | 18.7105 | 41.5563 | 66.0403 | 103.9224 | 140.2435 | 181.2887 | 188.1542 | 237.7143 | 267.793 | 298.7326 | 411.4516 | 449.5702 | 462.084 | 452.9483 | 484.1064
New Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 0 | 0 | 0 | 67.8463 | 62.3335 | 73.247 | 79.4227 | 37.9143 | 48.3415 | 167.7549 | 165.4355 | 379.9138 | 403.9358 | 812.7821 | 545.4222
New Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 0 | 0 | 0 | 29.562 | 25.5572 | 29.474 | 47.9867 | 30.0997 | 47.1194 | 54.9769 | 32.6654 | 46.7139 | 79.8664 | 355.5327 | 308.0919
New Natural Gas SA | Natural Gas | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 12.4584 | 16.3246 | 7.4299 | 10.7715 | 19.5815 | 16.4122 | 34.1645 | 38.3359 | 82.8099 | 64.66
Pumped Hydro SA | Hydro | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 199.3217 | 203.8792 | 441.573 | 466.6787 | 478.8816 | 485.8381 | 497.3178 | 720.9703 | 1886.6032 | 1912.4836
Pumped Hydro NSW | Hydro | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 1915.4024 | 2117.0117 | 1861.4543 | 2053.2254 | 2483.6325 | 2669.3747 | 2898.3779 | 3059.6249 | 3247.5092 | 3303.2176
Pumped Hydro QLD | Hydro | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 343.7613 | 1246.3358 | 1255.4764 | 1254.9814 | 1263.6523 | 1263.8551
Pumped Hydro VIC | Hydro | VIC | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 7 REZ_CapacityBuilt
REZ | Category | Property | Units | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
REZ Solar NSW | Solar | Capacity Change | MW | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 168 | 0 | 206 | 0 | 237 | 1070 | 0
REZ Wind NSW | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 866 | 737 | 677 | 844 | 655 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 185 | 227 | 128 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | Capacity Change | MW | 0 | 0 | 280 | 0 | 0 | 0 | 121 | 0 | 0 | 0 | 0 | 0 | 1382 | 0
REZ Wind TAS | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 0 | 0 | 127 | 0
REZ Wind VIC | Wind | Capacity Change | MW | 816 | 510 | 450 | 500 | 90 | 0 | 0 | 300 | 0 | 400 | 0 | 0 | 0 | 0
REZ Solar VIC | Solar | Capacity Change | MW | 0 | 0 | 0 | 295 | 410 | 0 | 0 | 100 | 0 | 200 | 0 | 0 | 0 | 0

## 8 Generator_VOM
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Biomass NSW | Biomass | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Black Coal NSW | Black Coal | NSW | VO&M Cost | $000 | 57231.2176 | 55798.5933 | 53638.9114 | 50009.8683 | 49076.0802 | 46935.9155 | 50386.5656 | 50594.2529 | 50807.3017 | 45691.9983 | 44868.4701 | 45347.3267 | 45803.0759 | 42457.2773 | 45968.4563
Black Coal QLD | Black Coal | QLD | VO&M Cost | $000 | 79958.0698 | 80844.6414 | 87454.3709 | 97139.953 | 96905.8668 | 101437.1683 | 90607.574 | 85203.2806 | 90031.0523 | 90198.505 | 86392.6318 | 86245.3598 | 81136.7475 | 88395.0035 | 89344.2154
Brown Coal VIC | Brown Coal | VIC | VO&M Cost | $000 | 35618.5258 | 34370.3957 | 31644.5827 | 31291.7589 | 33506.0796 | 33012.7293 | 30056.2283 | 32965.2383 | 29357.8878 | 29319.8691 | 31759.9538 | 31815.4033 | 29854.976 | 23009.4759 | 23097.191
Hydro NSW | Hydro | NSW | VO&M Cost | $000 | 23968.9039 | 24530.1448 | 27925.5821 | 34295.8241 | 37313.9688 | 23755.9253 | 24431.32 | 24139.4299 | 25513.4377 | 26935.3292 | 30995.8824 | 34541.7537 | 40620.4709 | 55257.477 | 56013.4396
Hydro QLD | Hydro | QLD | VO&M Cost | $000 | 6772.1485 | 7107.0982 | 8574.039 | 11225.7719 | 11539.9492 | 9564.2057 | 12318.2474 | 12897.1827 | 15102.5476 | 17312.0231 | 18562.234 | 20635.312 | 20570.4066 | 20674.0939 | 20533.2525
Hydro TAS | Hydro | TAS | VO&M Cost | $000 | 62323.7792 | 62349.3189 | 62427.8713 | 62268.1406 | 62381.6666 | 62315.4191 | 62271.5429 | 62363.6378 | 62475.0191 | 62314.2425 | 62384.6388 | 62316.2872 | 62354.5629 | 62293.1803 | 62616.14
Hydro VIC | Hydro | VIC | VO&M Cost | $000 | 22582.7755 | 22427.6578 | 22471.5331 | 22829.0428 | 23061.0145 | 23079.6777 | 23136.1959 | 22879.2588 | 22970.2183 | 23333.3677 | 23428.0016 | 23304.4581 | 23083.9582 | 22534.9482 | 22860.1424
Large Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar QLD | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar SA | Solar | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar VIC | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 3.9518 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 170.7976 | 291.298 | 2347.7584 | 5329.8252 | 5801.5901 | 7064.9271 | 8943.7493 | 4122.0651 | 4496.8779 | 12754.0469 | 12692.633 | 14026.9241 | 17360.7803 | 30061.9869 | 22221.601
Natural Gas QLD | Gas | QLD | VO&M Cost | $000 | 16856.1025 | 16884.7921 | 14220.4096 | 12792.1686 | 13031.2621 | 13777.952 | 19376.7474 | 15454.829 | 14446.0148 | 15970.4936 | 23222.2185 | 27580.5068 | 30173.1059 | 38377.441 | 32733.6114
Natural Gas SA | Gas | SA | VO&M Cost | $000 | 35090.692 | 34790.7692 | 35651.4305 | 27962.0496 | 3782.377 | 4114.9517 | 5539.2606 | 2882.3267 | 2814.5162 | 5479.4118 | 4947.8942 | 5878.0793 | 7180.3928 | 11424.6308 | 9411.4853
Natural Gas TAS | Gas | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 620.7219 | 443.613 | 977.6316 | 682.2332 | 622.6295 | 817.7593 | 1331.0952 | 468.348 | 887.6295 | 1271.8625 | 806.2172 | 995.1948 | 1452.8512 | 6461.4167 | 4302.5329
New Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 695.5955 | 639.0761 | 750.9671 | 814.2834 | 388.7172 | 495.6228 | 1719.9118 | 1696.1314 | 3895.0754 | 4141.3623 | 8333.0687 | 5591.9545
New Natural Gas SA | Gas | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 130.3641 | 170.8189 | 77.7459 | 112.7125 | 204.8989 | 171.7363 | 357.4943 | 401.1438 | 866.5162 | 676.5973
New Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 303.0855 | 262.0258 | 302.1825 | 491.9852 | 308.5982 | 483.0926 | 563.6519 | 334.9031 | 478.9356 | 818.8327 | 3645.1076 | 3158.7195
REZ Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Qld | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Vic | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Qld | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Vic | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 9 VIC_Firm Capacity
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Brown Coal | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas | MW | 2495 | 2495 | 2495 | 2775 | 2775 | 2775 | 2775 | 2775 | 2775 | 2775 | 2775 | 2775 | 2265 | 2265 | 2265
Wind | MW | 218.55 | 279.75 | 318 | 351.75 | 389.25 | 396 | 396 | 396 | 418.5 | 418.5 | 448.5 | 448.5 | 448.5 | 448.5 | 448.5
Solar | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219
Battery | MW | 120.5741 | 139.1933 | 159.664 | 181.9652 | 205.4807 | 230.6983 | 256.7562 | 283.5289 | 310.3924 | 337.5471 | 365.3066 | 393.6046 | 422.3904 | 451.1144 | 491.7479
Curtailable Load | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Capacity Interchange | MW | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878
Peak Load | MW | 9611.02 | 9519.17 | 9340.28 | 9045.48 | 9245.18 | 9219.72 | 9211.17 | 9329.81 | 9261.36 | 9323.11 | 9263.07 | 9277.7 | 9392.05 | 9332.86 | 9143.54
Peak Load + Min Capacity Reserves | MW | 10109.02 | 10017.17 | 9838.28 | 9543.48 | 9743.18 | 9717.72 | 9709.17 | 9827.81 | 9759.36 | 9821.11 | 9761.07 | 9775.7 | 9890.05 | 9830.86 | 9641.54

## 10 VRET
| Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
% of Renewable Generation in VIC | % | 33.1385 | 37.2803 | 40.9683 | 43.1047 | 44.7358 | 46.3263 | 48.9629 | 46.7018 | 50.7932 | 50.7289 | 49.5051 | 49.6096 | 51.3499 | 56.8563 | 57.2106
Wind | GWh | 8447.696 | 10618.8945 | 11746.3436 | 13040.5064 | 14944.4785 | 14942.4925 | 15036.8449 | 14859.9234 | 15688.7777 | 15438.6092 | 15938.1475 | 16015.2525 | 16153.7547 | 16201.2561 | 16261.4287
Solar | GWh | 1802.456 | 1812.8677 | 1810.0103 | 1765.8318 | 2564.479 | 3556.5712 | 3555.5212 | 3526.5387 | 3811.7457 | 3761.0107 | 3948.3993 | 3937.4391 | 3975.4153 | 4035.6588 | 4012.5414
Hydro | GWh | 3109.4503 | 3088.092 | 3094.1332 | 3143.3592 | 3175.2996 | 3177.8694 | 3185.6514 | 3150.2735 | 3162.7978 | 3212.8003 | 3225.8305 | 3208.8197 | 3178.4588 | 3102.8649 | 3147.6413
Rooftop PV | GWh | 2286.4802 | 2603.6883 | 2913.2601 | 3211.9298 | 3504.5176 | 3798.5476 | 4056.3601 | 4311.8059 | 4581.8446 | 4802.9877 | 4996.7772 | 5181.2241 | 5365.7008 | 5535.3927 | 5689.3255
Total Generation | GWh | 47214.2119 | 48614.2979 | 47753.367 | 49093.5851 | 54070.2537 | 54991.4021 | 52763.1215 | 55348.0393 | 53639.412 | 53648.7069 | 56780.3477 | 57131.5533 | 55839.112 | 50786.2729 | 50883.8021

## 11 Constraint Binding Hours
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Avoid overload of Ararat - Crowlands transmission line | Annual hours | 0 | 0 | 0 | 6 | 49 | 31 | 51 | 37 | 31 | 37 | 4 | 8 | 9 | 26 | 33
Avoid overload of Ararat - Waubra transmission line | Annual hours | 43 | 71 | 423 | 354 | 777 | 717 | 859 | 708 | 780 | 757 | 423 | 448 | 489 | 740 | 725
Avoid overload of Ballarat - Bendigo transmission line | Annual hours | 0 | 4 | 16 | 32 | 70 | 49 | 36 | 75 | 34 | 30 | 26 | 30 | 24 | 12 | 8
Avoid overload of Ballarat - Elaine transmission line | Annual hours | 0 | 11 | 4 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Terang transmission line | Annual hours | 0 | 0 | 593 | 191 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Waubra transmission line | Annual hours | 2284 | 2098 | 2805 | 2032 | 1386 | 1282 | 1449 | 1266 | 1262 | 1267 | 860 | 892 | 956 | 1325 | 1372
Avoid overload of Balranald - Darlington Point transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Fosterville - Shepparton transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Kerang transmission line | Annual hours | 681 | 692 | 918 | 869 | 34 | 69 | 99 | 84 | 98 | 101 | 151 | 162 | 177 | 435 | 474
Avoid overload of Bulgana - Crowlands transmission line | Annual hours | 0 | 0 | 0 | 3 | 18 | 10 | 14 | 6 | 11 | 7 | 2 | 3 | 2 | 13 | 18
Avoid overload of Bulgana - Horsham transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Buronga - Balranald transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Elaine - Moorabool transmission line | Annual hours | 0 | 111 | 566 | 261 | 207 | 197 | 249 | 172 | 215 | 196 | 89 | 67 | 85 | 122 | 102
Avoid overload of Geelong - Keilor transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Geelong - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 3 | 3 | 2 | 3 | 4 | 3 | 5 | 2
Avoid overload of Horsham - Bulgana transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Horsham - Red Cliffs transmission line | Annual hours | 0 | 0 | 5 | 75 | 320 | 312 | 276 | 234 | 255 | 243 | 153 | 180 | 163 | 167 | 157
Avoid overload of Kerang - Wemen - Red Cliffs transmission line | Annual hours | 61 | 72 | 124 | 191 | 155 | 581 | 610 | 523 | 531 | 484 | 776 | 775 | 816 | 847 | 784
Avoid overload of Moorabool - Terang transmission line | Annual hours | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Victoria to New South Wales export stability constraint | Annual hours | 2294 | 3326 | 3658 | 4603 | 4760 | 5231 | 3677 | 5058 | 4291 | 4349 | 6123 | 6007 | 5154 | 4090 | 3784