## README
IMO Calculation Spreadsheet for Maximum Reserve Capacity Price
Draft report for 2017/18
This spreadsheet performs the calculation of the Maximum Reserve Capacity Price (MRCP). It has been published to improve the transparency of the MRCP determination for Market Participants.
Throughout this spreadsheet, the following conventions apply:
* The green cells are input values. These cells are editable to allow Market Participants to test the sensitivity of the various input values.
The following worksheets contain input parameters:
* The ANNUALISED_FIXED_O&M sheet calculates the annualised fixed O&M cost from the costs provided by SKM, Western Power and the IMO.
* The WACC sheet calculates the Weighted Average Cost of Capital from the DRP provided by Pricewaterhouse Coopers (PwC) and other WACC parameters calculated by the IMO.
* The PC sheet calculates the annualised power station capital cost from the costs provided by SKM.
* The M sheet contains the margin M for legal, financing and approval costs as provided by SKM.
* The TC sheet calculates the transmission connection cost from the parameters provided by Western Power.
* The FFC sheet calculates the fixed fuel cost from the costs provided by SKM.
* The LC sheet calculates the land cost from the costs provided by Landgate.
* The ESCALATION_FACTORS sheet contains the various cost escalation factors provided by SKM and Western Power.
The following worksheets perform or display the calculations that lead to the MRCP:
* The ANNUALISED_CAP_COST sheet determines the annualised capital cost for the power station.
* The MRCP_Calculation sheet displays the final MRCP equation and the various input values.

## MRCP_Calculation
MAXIMUM RESERVE CAPACITY PRICE
MRCP =(ANNUALISED_FIXED_O&M + ANNUALISED_CAP_COST / CC) | 167648.8899 | $AUD/MW/Year
Where
MRCP
The Maximum Reserve Capacity Price to apply in a reserve Capacity Auction
ANNUALISED_FIXED_O&M | 32338.5232 | $AUD/MW/Year
Is the annualised fixed operating and maintenance costs for a typical open cycle gas turbine power station and any associated electricity transmission facilities determined in cluase 1.9 and expressed in Australian dollars in year t, per MW per year
ANNUALISED_CAP_COST | 20364210.1833 | $AUD/Year
Is the CAPCOST, expressed in Australia dollars, annualised over a 15 year period, using a Weighted Average Cost of Capital (WACC) as determined in clause 1.13
CC | 150.5 | MW
is the expected Capacity Credit allocation determined @ 41DegC including inlet cooling

## ANNUALISED_CAP_COST
ANNUALISED_CAP_COST
PC | 865835.5707 | $AUD/MW
Capital cost of an open cycle gas turbine power station, expressed in Australian dollars per MW as determined in step 1.7 for that location
M | 19.97% | %
Margin to cover legal, approval, financing and other costs and contingencies as determined in step 1.12
CC | 150.5 | MW
is the expected Capacity Credit allocation determined in conjunction with Power Station costs in step 1.7.1 (b)
TC | 161194 | $AUD
is the Transmission Connection Cost Estimate, expressed in Australian dollars per MW, as determined in step 1.8
FFC | 7406466.1875 | $AUD
is the Fixed Fuel Cost as determined in step 1.10
LC | 2755953.3392 | $AUD
is the Land Cost as determined in step 1.11
WACC | 6.101% | %
Is the Weighted Average Cost of Capital as determined in step 1.13
CAP_COST | 196485557.9977 | $AUD
WACC | 6.101% | %
Term of Finance (Years) | 15 | Years
ANNUALISED_CAP_COST | 20364210.1833 | $AUD/Year
where ANNUALISED_CAP_COST = -PMT(WACC,TERM,CAPCOST)
= -PMT(WACC,15,(PCx (1+M) x CC + TC x CC + FFC + LC) x (1+ WACC)^1/2)
=
Note on A30: MT : PMT= calculate payment for a loan with constant payments and interest rate

## ANNUALISED_FIXED_O&M
ANNUALISED_FIXED_O&M
Generation
Generation O&M Costs (SKM Power Station Elements - Table 3-2)
1 to 5 years |  | 10775000
6 to 10 years |  | 10775000
11 to 15 years |  | 10775000
16 to 20 years |  | 10775000
21 to 25 years |  | 10775000
26 to 30 years |  | 10775000
31 to 35 years
36 to 40 years
41 to 45 years
46 to 50 years
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 10775000 | 10775000 | 10775000 | 10775000 | 10775000 | 10775000 | 10775000 | 10775000 | 10775000 | 10775000 | 10775000 | 10775000 | 10775000 | 10775000 | 10775000
Yearly Cost |  | 2155000 | 2155000 | 2155000 | 2155000 | 2155000 | 2155000 | 2155000 | 2155000 | 2155000 | 2155000 | 2155000 | 2155000 | 2155000 | 2155000 | 2155000
WACC |  | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101%
Present Value |  | 2031086.5575 | 1914298.1922 | 1804225.209 | 1700481.4704 | 1602703.0421 | 1510546.9163 | 1423689.808 | 1341827.0214 | 1264671.3808 | 1191952.2233 | 1123414.4492 | 1058817.6271 | 997935.1505 | 940553.4429 | 886471.2086
Total PV (Sum) |  | 1: 20792673.6993
Anuity |  | 1: 2155000
Escalation Type |  | 1: Generation_O&M
Prices as at |  | 1: 2014-06-30
To be escalated to |  | 1: 2017-10-01
Escalation (Financial Year ending) | 2015-06-30 | 1: 3.54%
| 2016-06-30 | 1: 3.82%
| 2017-06-30 | 1: 3.69%
| 2018-06-30 | 1: 3.65%
Cost Per MW Per Year |  | 1: 16106.5976; 2: Per MW Per Year
Transmission | bar: 1
Switchyard O&M Costs (SKM Non Power Station Elements - Table 4-1) | bar: 1
1 to 5 years |  | 1: 315000
6 to 10 years |  | 1: 315000
11 to 15 years |  | 1: 315000
16 to 20 years |  | 1: 315000
21 to 25 years |  | 1: 315000
26 to 30 years |  | 1: 315000
31 to 35 years |  | 1: 315000
36 to 40 years |  | 1: 315000
41 to 45 years |  | 1: 315000
46 to 50 years |  | 1: 315000
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 315000 | 315000 | 315000 | 315000 | 315000 | 315000 | 315000 | 315000 | 315000 | 315000 | 315000 | 315000 | 315000 | 315000 | 315000
Yearly Cost |  | 63000 | 63000 | 63000 | 63000 | 63000 | 63000 | 63000 | 63000 | 63000 | 63000 | 63000 | 63000 | 63000 | 63000 | 63000
WACC |  | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101%
Present Value |  | 59377.4724 | 55963.2418 | 52745.3309 | 49712.4513 | 46853.9636 | 44159.8402 | 41620.6301 | 39227.4257 | 36971.8316 | 34845.9351 | 32842.2786 | 30953.8332 | 29173.9742 | 27496.458 | 25915.3996
Total PV (Sum) |  | 315000 1: 607860.0664
Anuity |  | 315000 1: 63000
Escalation Type |  | 315000 1: Connection_O&M
Prices as at |  | 315000 1: 2014-06-30
To be escalated to |  | 315000 1: 2017-10-01
Escalation (Financial Year ending) | 2015-06-30 | 315000 1: 4.25%
| 2016-06-30 | 315000 1: 4.25%
| 2017-06-30 | 315000 1: 4.25%
| 2018-06-30 | 315000 1: 4.25%
Cost Per MW Per Year |  | 315000 1: 479.3337; 315000 2: Per MW Per Year
Transmission Line O&M Costs (SKM Non Power Station Elements - Table 4-2) | bar: 315000 1
1 to 5 years |  | 315000 1: 6100
6 to 10 years |  | 315000 1: 6100
11 to 15 years |  | 315000 1: 6100
16 to 20 years |  | 315000 1: 6100
21 to 25 years |  | 315000 1: 6100
26 to 30 years |  | 315000 1: 6100
31 to 35 years |  | 315000 1: 6100
36 to 40 years |  | 315000 1: 6100
41 to 45 years |  | 315000 1: 6100
46 to 50 years |  | 315000 1: 6100
51 to 55 years |  | 315000 1: 6100
56 to 60 years |  | 315000 1: 6100
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100
Yearly Cost |  | 1220 | 1220 | 1220 | 1220 | 1220 | 1220 | 1220 | 1220 | 1220 | 1220 | 1220 | 1220 | 1220 | 1220 | 1220
WACC |  | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101% | 6.101%
Present Value |  | 1149.8495 | 1083.7326 | 1021.4175 | 962.6856 | 907.3307 | 855.1588 | 805.9868 | 759.6422 | 715.9625 | 674.7943 | 635.9933 | 599.4234 | 564.9563 | 532.4711 | 501.8538
Total PV (Sum) |  | 6100 1: 11771.2584
Anuity |  | 6100 1: 1220
Escalation Type |  | 6100 1: Connection_O&M
Prices as at |  | 6100 1: 2014-06-30
To be escalated to |  | 6100 1: 2017-10-01
Escalation (Financial Year ending) | 2015-06-30 | 6100 1: 4.25%
| 2016-06-30 | 6100 1: 4.25%
| 2017-06-30 | 6100 1: 4.25%
| 2018-06-30 | 6100 1: 4.25%
Cost Per MW Per Year |  | 6100 1: 9.2823; 6100 2: Per MW Per Year
Asset Insurance Costs | bar: 6100 1
Total cost of Power Stn build | 156330811.5862
Fixed Fuel Costs | 7406466.1875
Asset Replacement Insurance Percentage | 0.24%
Terrorism Levy Mark up | 1.02
Stamp Duty Mark up (also applies to Terrorism levy) | 1.1 | 6100 2: Actual MRCP; 6100 3: Chk if Same to nearest $100?
Asset replacement insurance |  | 6100 1: 440911.7416
Estimated MRCP | 167600 | 6100 2: 167648.8899; 6100 3: TRUE
Business interruption insurance |  | 6100 1: 135845.2973
Public and products liability insurance | 100800
Annual insurance site survey | 20000 | 6100 1: 129736.3971
Yearly cost |  | 6100 1: 706493.436
Escalation Type |  | 6100 1: CPI
Prices as at |  | 6100 1: 2017-04-01
To be escalated to |  | 6100 1: 2017-10-01
Escalation (Financial Year ending) | 2015-06-30 | 6100 1: 2.25%
2016-06-30 | bar: 6100 1
| 2017-06-30 | 6100 1: 2.63%
| 2018-06-30 | 6100 1: 2.5%
Cost per MW Per Year |  | 6100 1: 4754.2716; 6100 2: Per MW Per Year
Fixed Network Access/ ongoing charges | bar: 6100 1
Western Power Charges | values from the WP website
Control system service charge (unit price is $/kW/day) | 0.00163 | 6100 1: 89539.975
Transmission Metering (unit price is $/meter/day) | 42.3314 | 6100 1: 15450.95
Use of system Charge (unit price is $/kW/day) | 0.02577 | 6100 1: 1415610.525
Total WP Charges |  | 6100 1: 1520601.4501
Escalation Type |  | 6100 1: CPI
Prices as at |  | 6100 1: 2014-07-01
To be escalated to |  | 6100 1: 2017-10-01
Escalation (Financial Year ending) | 2015-06-30 | 6100 1: 2.25%
2016-06-30 | bar: 6100 1
| 2017-06-30 | 6100 1: 2.63%
| 2018-06-30 | 6100 1: 2.5%
Cost Per MW Per year |  | 6100 1: 10989.0381; 6100 2: Per MW Per Year
ANNUALISED_FIXED_O&M |  | 6100 1: 32338.5232
Note on B108: Neetika Kapani: Asset replacement insurance percentage as at 30 Jun 2013
Note on B114: As at 30 June 2013
Note on B115: As at 30 June 2013
Note on B133: Neetika Kapani: Follow the erawa link to the right iof this table- Section 5 of report
Note on B134: Neetika Kapani: Follow the erawa link to the right iof this table- Section 5 of report
Note on B135: Neetika Kapani: Muja Price- the max rate for power stations located in the regions listed in the Market Procedure- section 5 of the report in the erawa link contains this.

## WACC
Weighted Average Cost of Capital (WACC)
CAPM Parameter | Review Frequency | Value | Value (For Calculation)
Nominal Risk Free Rate of Return (%) | Annual | 3.63 | 0.0363
Expected Inflation (%) | Annual | 2.54 | 0.0254
Real risk free rate of return (%) | Annual | 1.063 | 0.01063
Market Risk Premium (%) | 5- yearly | 6 | 0.06
Asset beta | 5- yearly | 0.5 | 0.5
Equity beta | 5- yearly | 0.83 | 0.83
Debt risk premium (%) , DRP (%) | Annual | 1.57 | 0.0157
Debt Issuance Costs (%) | 5-yearly | 0.125 | 0.00125
Corporate tax rate (%) | Annual | 30 | 0.3
Franking credit value | 5- yearly | 0.25 | 0.25
Debt to total assets ratio (%) | 5- yearly | 40 | 0.4
Equity to total assets ratio (%) | 5- yearly | 60 | 0.6
Nominal pre-tax Cost of Debt (Nominal return on debt) | 5.325%
Nominal post-tax Cost of Equity (Nominal return on equity) | 8.61%
WACC (Nominal) | 8.796%
WACC (Real) | 6.101%

## PC
PC
SKM Total EPC Cost ($) |  | 118915500
Capacity (MW) |  | 150.5
Total Cost Per MW |  | 790136.2126
Escalation Type |  | Power_Station_Capital
Prices as at |  | 2014-06-30
To be escalated to |  | 2017-04-01
Escalation (Financial Year ending) | 2015-06-30 | 2.97%
| 2016-06-30 | 4%
| 2017-06-30 | 3.1%
PC |  | 865835.5707

## M
M
Total M as a percentage of CAPEX | 19.97%

## TC
TC (Western Power Costing)
Total Transmission Costs | 161194
Escalation type | Transmission_Connection
Prices as at | 2017-04-01
To be escalated to | 2017-04-01
Escalation | -1.68%
TC | 161194

## FFC
FFC
Fixed Fuel Costs
ITEM A - Sub total for facility installation |  | 6048700
ITEM B - Fuel sufficient for 14 hours of operation at maximum capacity (litres * fuel price per litre) |  | 847600
Total |  | 6896300
Escalation Type |  | CPI
Prices as at |  | 2014-06-30
To be escalated to |  | 2017-04-01
Escalation (Financial Year ending) | 2015-06-30 | 2.25%
| 2016-06-30 | 3%
| 2017-06-30 | 2.63%
FFC |  | 7406466.1875

## LC
LC
Region | Land Area (Hectares) | Price Per Hectare | Stamp Duty on Land Parcel | Assessed Value | Stamp duty calculator:
https://rol.osr.wa.gov.au/Calculators/faces/Calculators?_afrLoop=482854060468439&_afrWindowMode=0&_adf.ctrl-state=1bjwmmsfw6_4
Pinjar | 3 | 1750000 | 264290 | 5514290
Kwinana | 3 | 2500000 | 380165 | 7880165
Kemerton | 5 | 250000 | 58290 | 1308290
Collie | 3 | 100000 | 10165 | 310165
Geraldton | 3 | 150000 | 17290 | 467290
Eneabba | 3 | 40000 | 2850 | 122850
Kalgoorlie | 3 | 750000 | 109790 | 2359790
Average Cost |  |  |  | 2566120
Escalation Type |  |  |  | CPI
Prices as at |  |  |  | 2014-06-30
To be escalated to |  |  |  | 2017-04-01
Escalation |  | Financial year ending | 2015-06-30 | 2.25%
|  |  | 2016-06-30 | 3%
|  |  | 2017-06-30 | 2.63%
LC |  |  |  | 2755953.3392
Average Land Parcel Cost | 2566120
Average Land Cost | 855373.3333
Total easement cost as at 30 June 2014 | 5132240
Total easement cost as at 30 June 2015 | 5247715.4
Note on C3: Neetika Kapani: Based on Landgate report
Note on B30: Neetika Kapani: Divides average land parcel size by 3 hectares to give an average price per hectare
Note on B31: Neetika Kapani: Multiplies average price per hectare by 12 hectares (area of easement) and 50% (assumes that easement cost is 50% of purchase cost of land)

## ESCALATION_FACTORS
ESCALATION FACTORS
Financial Year ending
| 2015-06-30 | 2016-06-30 | 2017-06-30 | 2018-06-30
Power_Station_Capital | 2.97% | 4% | 3.1% | 3%
Generation_O&M | 3.54% | 3.82% | 3.69% | 3.65%
Connection_O&M | 4.25% | 4.25% | 4.25% | 4.25%
CPI | 2.25% | 3% | 2.63% | 2.5%
Transmission_Connection | -1.68% | -1.68% | -1.68% | -1.68%