## README
AEMO Calculation Spreadsheet for Benchmark Reserve Capacity Price
Draft report for 2020-21
This spreadsheet performs the calculation of the Benchmark Reserve Capacity Price (BRCP). It has been published to improve the transparency of the BRCP determination for Market Participants.
Throughout this spreadsheet, the following conventions apply:
* The green cells are input values. These cells are editable to allow Market Participants to test the sensitivity of the various input values.
The following worksheets contain input parameters:
* The ANNUALISED_FIXED_O&M sheet calculates the annualised fixed O&M cost from the costs provided by GHD, Western Power and AEMO.
* The WACC sheet calculates the Weighted Average Cost of Capital from the DRP provided by Pricewaterhouse Coopers (PwC) and other WACC parameters calculated by AEMO.
* The PC sheet calculates the annualised power station capital cost from the costs provided by GHD.
* The M sheet contains the margin M for legal, financing and approval costs as provided by GHD.
* The TC sheet calculates the transmission connection cost from the parameters provided by Western Power.
* The FFC sheet calculates the fixed fuel cost from the costs provided by GHD.
* The LC sheet calculates the land cost from the costs provided by Landgate.
* The ESCALATION_FACTORS sheet contains the various cost escalation factors provided by GHD and Western Power.
The following worksheets perform or display the calculations that lead to the BRCP:
* The ANNUALISED_CAP_COST sheet determines the annualised capital cost for the power station.
* The BRCP_Calculation sheet displays the final BRCP equation and the various input values.

## BRCP_Calculation
BENCHMARK RESERVE CAPACITY PRICE
BRCP =(ANNUALISED_FIXED_O&M + ANNUALISED_CAP_COST / CC) | 153582.871 | $AUD/MW/Year
Where
BRCP
The Benchmark Reserve Capacity Price to apply in a reserve Capacity Auction
ANNUALISED_FIXED_O&M | 30436.9982 | $AUD/MW/Year
Is the annualised fixed operating and maintenance costs for a typical open cycle gas turbine power station and any associated electricity transmission facilities determined in cluase 1.9 and expressed in Australian dollars in year t, per MW per year
ANNUALISED_CAP_COST | 18644285.136 | $AUD/Year
Is the CAPCOST, expressed in Australia dollars, annualised over a 15 year period, using a Weighted Average Cost of Capital (WACC) as determined in clause 1.13
CC | 151.4 | MW
is the expected Capacity Credit allocation determined @ 41DegC including inlet cooling

## ANNUALISED_CAP_COST
ANNUALISED_CAP_COST
PC | 846751.1463 | $AUD/MW
Capital cost of an open cycle gas turbine power station, expressed in Australian dollars per MW as determined in step 1.7 for that location
M | 17.12% | %
Margin to cover legal, approval, financing and other costs and contingencies as determined in step 1.12
CC | 151.4 | MW
is the expected Capacity Credit allocation determined in conjunction with Power Station costs in step 1.7.1 (b)
TC | 174749 | $AUD
is the Transmission Connection Cost Estimate, expressed in Australian dollars per MW, as determined in step 1.8
FFC | 6969444.026 | $AUD
is the Fixed Fuel Cost as determined in step 1.10
LC | 2394087.9383 | $AUD
is the Land Cost as determined in step 1.11
WACC | 5.214% | %
Is the Weighted Average Cost of Capital as determined in step 1.13
CAP_COST | 190747132.838 | $AUD
WACC | 5.214% | %
Term of Finance (Years) | 15 | Years
ANNUALISED_CAP_COST | 18644285.136 | $AUD/Year
where ANNUALISED_CAP_COST = -PMT(WACC,TERM,CAPCOST)
= -PMT(WACC,15,(PCx (1+M) x CC + TC x CC + FFC + LC) x (1+ WACC)^1/2)
=
Note on A30: MT : PMT= calculate payment for a loan with constant payments and interest rate

## ANNUALISED_FIXED_O&M
ANNUALISED_FIXED_O&M
Generation
Generation O&M Costs (SKM Power Station Elements - Table 3-2)
1 to 5 years |  | 9937540
6 to 10 years |  | 9937540
11 to 15 years |  | 9937540
16 to 20 years |  | 9937540
21 to 25 years |  | 9937540
26 to 30 years |  | 9937540
31 to 35 years |  | 9937540
36 to 40 years |  | 9937540
41 to 45 years |  | 9937540
46 to 50 years |  | 9937540
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 9937540 | 9937540 | 9937540 | 9937540 | 9937540 | 9937540 | 9937540 | 9937540 | 9937540 | 9937540 | 9937540 | 9937540 | 9937540 | 9937540 | 9937540
Yearly Cost |  | 1987508 | 1987508 | 1987508 | 1987508 | 1987508 | 1987508 | 1987508 | 1987508 | 1987508 | 1987508 | 1987508 | 1987508 | 1987508 | 1987508 | 1987508
WACC |  | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214%
Present Value |  | 1889007.7257 | 1795389.0941 | 1706410.1726 | 1621841.0186 | 1541463.0854 | 1465068.6574 | 1392460.3133 | 1323450.4161 | 1257860.6277 | 1195521.4487 | 1136271.78 | 1079958.5062 | 1026436.1007 | 975566.2489 | 927217.4909
Total PV (Sum) |  | 9937540 1: 20333922.6861
Anuity |  | 9937540 1: 1987508
Escalation Type |  | 9937540 1: Generation_O&M
Prices as at |  | 9937540 1: 2017-06-30
To be escalated to |  | 9937540 1: 2020-10-01
Escalation (Financial Year ending) | 2018-06-30 | 9937540 1: 2.7%
| 2019-06-30 | 9937540 1: 2.8%
| 2020-06-30 | 9937540 1: 1.8%
| 2021-06-30 | 9937540 1: 3.8%
Cost Per MW Per Year |  | 9937540 1: 14243.6516; 9937540 2: Per MW Per Year
Transmission | bar: 9937540 1
Switchyard O&M Costs (SKM Non Power Station Elements - Table 4-1) | bar: 9937540 1
1 to 5 years |  | 9937540 1: 376340
6 to 10 years |  | 9937540 1: 376340
11 to 15 years |  | 9937540 1: 376340
16 to 20 years |  | 9937540 1: 376340
21 to 25 years |  | 9937540 1: 376340
26 to 30 years |  | 9937540 1: 376340
31 to 35 years |  | 9937540 1: 376340
36 to 40 years |  | 9937540 1: 376340
41 to 45 years |  | 9937540 1: 376340
46 to 50 years |  | 9937540 1: 376340
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 376340 | 376340 | 376340 | 376340 | 376340 | 376340 | 376340 | 376340 | 376340 | 376340 | 376340 | 376340 | 376340 | 376340 | 376340
Yearly Cost |  | 75268 | 75268 | 75268 | 75268 | 75268 | 75268 | 75268 | 75268 | 75268 | 75268 | 75268 | 75268 | 75268 | 75268 | 75268
WACC |  | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214%
Present Value |  | 71537.7415 | 67992.3534 | 64622.6737 | 61419.9942 | 58376.0385 | 55482.9403 | 52733.2231 | 50119.7811 | 47635.8604 | 45275.0421 | 43031.2252 | 40898.6111 | 38871.6888 | 36945.2201 | 35114.2265
Total PV (Sum) |  | 376340 1: 770056.62
Anuity |  | 376340 1: 75268
Escalation Type |  | 376340 1: Connection_O&M
Prices as at |  | 376340 1: 2017-06-30
To be escalated to |  | 376340 1: 2020-10-01
Escalation (Financial Year ending) | 2018-06-30 | 376340 1: 1.42%
| 2019-06-30 | 376340 1: 1.71%
| 2020-06-30 | 376340 1: 1.85%
| 2021-06-30 | 376340 1: 1.88%
Cost Per MW Per Year |  | 376340 1: 524.8; 376340 2: Per MW Per Year
Transmission Line O&M Costs (SKM Non Power Station Elements - Table 4-2) | bar: 376340 1
1 to 5 years |  | 376340 1: 23330
6 to 10 years |  | 376340 1: 23330
11 to 15 years |  | 376340 1: 23330
16 to 20 years |  | 376340 1: 23330
21 to 25 years |  | 376340 1: 23330
26 to 30 years |  | 376340 1: 23330
31 to 35 years |  | 376340 1: 23330
36 to 40 years |  | 376340 1: 23330
41 to 45 years |  | 376340 1: 23330
46 to 50 years |  | 376340 1: 23330
51 to 55 years |  | 376340 1: 23330
56 to 60 years |  | 376340 1: 23330
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 23330 | 23330 | 23330 | 23330 | 23330 | 23330 | 23330 | 23330 | 23330 | 23330 | 23330 | 23330 | 23330 | 23330 | 23330
Yearly Cost |  | 4666 | 4666 | 4666 | 4666 | 4666 | 4666 | 4666 | 4666 | 4666 | 4666 | 4666 | 4666 | 4666 | 4666 | 4666
WACC |  | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214% | 5.214%
Present Value |  | 4434.7545 | 4214.9695 | 4006.0769 | 3807.537 | 3618.8366 | 3439.4882 | 3269.0283 | 3107.0162 | 2953.0335 | 2806.6821 | 2667.5838 | 2535.3792 | 2409.7266 | 2290.3013 | 2176.7947
Total PV (Sum) |  | 23330 1: 47737.2082
Anuity |  | 23330 1: 4666
Escalation Type |  | 23330 1: Connection_O&M
Prices as at |  | 23330 1: 2017-06-30
To be escalated to |  | 23330 1: 2020-10-01
Escalation (Financial Year ending) | 2018-06-30 | 23330 1: 1.42%
| 2019-06-30 | 23330 1: 1.71%
| 2020-06-30 | 23330 1: 1.85%
| 2021-06-30 | 23330 1: 1.88%
Cost Per MW Per Year |  | 23330 1: 32.5333; 23330 2: Per MW Per Year
Asset Insurance Costs | bar: 23330 1
Total cost of Power Stn build | 150139857.1719
Fixed Fuel Costs | 6969444.026
Asset Replacement Insurance Percentage | 0.2795%
Terrorism Levy Mark up | 1.026
Stamp Duty Mark up (also applies to Terrorism levy) | 1.1 | 23330 2: Actual MRCP; 23330 3: Chk if Same to nearest $100?
Asset replacement insurance |  | 23330 1: 495591.3927
Estimated BRCP | 153600 | 23330 2: 153582.871; 23330 3: TRUE
Business interruption insurance |  | 23330 1: 146713.1172
Public and products liability insurance | 130554.6457
Annual insurance site survey | 22663.7065 | 23330 1: 162652.78
Yearly cost |  | 23330 1: 804957.2899
Escalation Type |  | 23330 1: CPI
Prices as at |  | 23330 1: 2020-04-01
To be escalated to |  | 23330 1: 2020-10-01
Escalation (Financial Year ending) | 2018-06-30 | bar: 23330 1
| 2019-06-30 | 23330 1: 2.25%
| 2020-06-30 | 23330 1: 2.375%
| 2021-06-30 | 23330 1: 2.5%
Cost per MW Per Year |  | 23330 1: 5381.2856; 23330 2: Per MW Per Year
Fixed Network Access/ ongoing charges | bar: 23330 1
Western Power Charges | values from the WP website
Control system service charge (unit price is $/kW/day) | 0.00199 | 23330 1: 109969.39
Transmission Metering (unit price is $/meter/day) | 42.3314 | 23330 1: 15450.95
Use of system Charge (unit price is $/kW/day) | 0.02388 | 23330 1: 1319632.68
Total WP Charges |  | 23330 1: 1445053.02
Escalation Type |  | 23330 1: CPI
Prices as at |  | 23330 1: 2017-07-01
To be escalated to |  | 23330 1: 2020-10-01
Escalation (Financial Year ending) | 2018-06-30 | bar: 23330 1
| 2019-06-30 | 23330 1: 2.25%
| 2020-06-30 | 23330 1: 2.375%
| 2021-06-30 | 23330 1: 2.5%
Cost Per MW Per year |  | 23330 1: 10254.7276; 23330 2: Per MW Per Year
ANNUALISED_FIXED_O&M |  | 23330 1: 30436.9982
Note on B106: Luke Dowling: Costs escalated to 1/04/2020
Note on B108: Asset replacement insurance percentage as at 30 June 2016 - then increased by 7.5% for the June 2017 value (as per insurance advice)
Note on B109: Consistant with last year as per insurance advice
Note on B110: https://www.finance.wa.gov.au/cms/State_Revenue/Duties/Insurance_Duty.aspx
Note on B114: Calculated as 2016 Premium + 10% stamp duty + 7.5% increase as per 2017 insurance advice. Esculated using CPI to April 2020 to align with asset replacement value
Note on B115: As at 30 June 2017 escalated to April 2020 using CPI (based on insurance advice)
Note on B133: WP price list 2016-17 section 6.3.3 Control system services Table 16
Note on B134: WP price list 2016-17 metering prices table 18
Note on B135: WP price access Table 14 - Muja PWS highest price of power stations located in the regions listed in the Market Procedure.

## WACC
Weighted Average Cost of Capital (WACC)
CAPM Parameter | Review Frequency | Value | Value (For Calculation)
Nominal Risk Free Rate of Return (%) | Annual | 2.67 | 0.0267
Expected Inflation (%) | Annual | 2.42 | 0.0242
Real risk free rate of return (%) | Annual | 0.24409 | 0.0024409
Market Risk Premium (%) | 5- yearly | 6 | 0.06
Asset beta | 5- yearly | 0.5 | 0.5
Equity beta | 5- yearly | 0.83 | 0.83
Debt risk premium (%) , DRP (%) | Annual | 1.8 | 0.018
Debt Issuance Costs (%) | 5-yearly | 0.125 | 0.00125
Corporate tax rate (%) | Annual | 30 | 0.3
Franking credit value | 5- yearly | 0.25 | 0.25
Debt to total assets ratio (%) | 5- yearly | 40 | 0.4
Equity to total assets ratio (%) | 5- yearly | 60 | 0.6
Nominal pre-tax Cost of Debt (Nominal return on debt) | 4.595%
Nominal post-tax Cost of Equity (Nominal return on equity) | 7.65%
WACC (Nominal) | 7.761%
WACC (Real) | 5.214%

## PC
PC
GHD Total EPC Cost ($) |  | 119805160
Capacity (MW) |  | 151.4
Total Cost Per MW |  | 791315.4557
Escalation Type |  | Power_Station_Capital
Prices as at |  | 2017-06-30
To be escalated to |  | 2020-04-01
Escalation (Financial Year ending) | 2018-06-30 | 2.7%
| 2019-06-30 | 2.8%
| 2020-06-30 | 1.8%
PC |  | 846751.1463

## M
M
Total M as a percentage of CAPEX | 17.12%

## TC
TC (Western Power Costing)
Total Transmission Costs | 174749
Escalation type | Transmission_Connection
Prices as at | 2020-04-01
To be escalated to | 2020-04-01
Escalation | 0.4%
TC | 174749

## FFC
FFC
Fixed Fuel Costs
ITEM A - Sub total for facility installation |  | 6108000
ITEM B - Fuel sufficient for 14 hours of operation at maximum capacity (litres * fuel price per litre) |  | 457192
Total |  | 6565192
Escalation Type |  | CPI
Prices as at |  | 2017-06-30
To be escalated to |  | 2020-04-01
Escalation (Financial Year ending) | 2018-06-30 | 2%
| 2019-06-30 | 2.25%
| 2020-06-30 | 2.375%
FFC |  | 6969444.026

## LC
LC
Region | Land Area (Hectares) | Price Per Hectare | Stamp Duty on Land Parcel | Assessed Value | Stamp duty calculator:
https://rol.osr.wa.gov.au/Calculators/faces/Calculators?_afrLoop=482854060468439&_afrWindowMode=0&_adf.ctrl-state=1bjwmmsfw6_4
Pinjar | 3 | 1500000 | 225665 | 4725665
Kwinana | 3 | 2100000 | 318365 | 6618365
Kemerton | 5 | 325000 | 77602.5 | 1702602.5
Collie | 3 | 110000 | 11590 | 341590
Geraldton | 3 | 130000 | 14440 | 404440
Eneabba | 3 | 35000 | 2280 | 107280
Kalgoorlie | 3 | 600000 | 86615 | 1886615
Average Cost |  |  |  | 2255222.5
Escalation Type |  |  |  | CPI
Prices as at |  |  |  | 2017-06-30
To be escalated to |  |  |  | 2020-04-01
Escalation |  | Financial year ending | 2018-06-30 | 2%
|  |  | 2019-06-30 | 2.25%
|  |  | 2020-06-30 | 2.375%
LC |  |  |  | 2394087.9383
Average Land Parcel Cost | 2255222.5
Average Land Cost | 751740.8333
Total easement cost as at 30 June 2017 | 4510445
Total easement cost as at 30 June 2018 | 4600653.9
Note on C3: Neetika Kapani: Based on Landgate report
Note on D3: Use Transfer duty Calculator Rate Type: General Rate
Note on B30: Neetika Kapani: Divides average land parcel size by 3 hectares to give an average price per hectare
Note on B31: Neetika Kapani: Multiplies average price per hectare by 12 hectares (area of easement) and 50% (assumes that easement cost is 50% of purchase cost of land)

## ESCALATION_FACTORS
ESCALATION FACTORS
Financial Year ending
| 2018-06-30 | 2019-06-30 | 2020-06-30 | 2021-06-30
Power_Station_Capital | 2.7% | 2.8% | 1.8% | 3.8%
Generation_O&M | 2.7% | 2.8% | 1.8% | 3.8%
Connection_O&M | 1.42% | 1.71% | 1.85% | 1.88%
CPI | 2% | 2.25% | 2.375% | 2.5%
Transmission_Connection | 0.4% | 0.4% | 0.4% | 0.4%