## TOC
NEFR 2015 - Supplementary information for residential and commercial rooftop PV
This workbook provides supplementary information to AEMO's 2015 rooftop PV forecasts for the regions of the National Electricity Market (NEM).
The 2015 NEFR forecasts refer to a 20-year outlook period from 2014–15 to 2034–35.
Forecast | Abbreviation
Residential and commercial rooftop PV saturation limit and installed capacity for the NEM | NEM
Residential and commercial rooftop PV saturation limit and installed capacity for NSW | NSW
Residential and commercial rooftop PV saturation limit and installed capacity for QLD | QLD
Residential and commercial rooftop PV saturation limit and installed capacity for SA | SA
Residential and commercial rooftop PV saturation limit and installed capacity for TAS | TAS
Residential and commercial rooftop PV saturation limit and installed capacity for VIC | VIC

## NEM
2015 NEFR rooftop PV installed capacity & saturation limit - NEM
Residential (< 10 kW)
| Saturation limit1 (MW) |  |  | Cumulative installed capacity2 (MW)
FY | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH | Actual | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH
2005-06 | 16847.5355 | 16847.5355 | 16847.5355 | 5.026
2006-07 | 17721.5044 | 17721.5044 | 17721.5044 | 6.8472
2007-08 | 18060.3471 | 18060.3471 | 18060.3471 | 16.7944
2008-09 | 18417.2272 | 18417.2272 | 18417.2272 | 50.262
2009-10 | 18692.8938 | 18692.8938 | 18692.8938 | 218.4167
2010-11 | 18928.9737 | 18928.9737 | 18928.9737 | 950.5029
2011-12 | 19218.6804 | 19218.6804 | 19218.6804 | 1681.0428
2012-13 | 19516.135 | 19516.135 | 19516.135 | 2482.9588
2013-14 | 19809.8048 | 19809.8048 | 19809.8048 | 3083.1329
2014-15 | 20109.3905 | 20149.8416 | 20115.7493 |  | 3699.5891 | 3699.5891 | 3699.5891
2015-16 | 20418.5565 | 20474.9841 | 20434.6065 |  | 4392.739 | 4299.3939 | 4242.478
2016-17 | 20725.6081 | 20801.373 | 20754.7718 |  | 5090.2809 | 4920.0121 | 4792.9744
2017-18 | 21040.1055 | 21126.4942 | 21085.926 |  | 5809.4518 | 5549.5603 | 5336.4933
2018-19 | 21343.47 | 21450.0131 | 21426.5153 |  | 6551.7818 | 6186.3371 | 5867.9585
2019-20 | 21635.4157 | 21772.3092 | 21776.5695 |  | 7323.7269 | 6835.799 | 6363.7517
2020-21 | 21914.2724 | 22092.1806 | 22134.6273 |  | 8122.7421 | 7488.1829 | 6835.1151
2021-22 | 22190.6982 | 22411.0509 | 22495.1546 |  | 8944.7723 | 8135.1332 | 7292.1493
2022-23 | 22466.2759 | 22728.5321 | 22859.7813 |  | 9741.1222 | 8752.2463 | 7734.6832
2023-24 | 22740.9885 | 23044.2672 | 23228.5637 |  | 10490.1257 | 9343.24 | 8165.0424
2024-25 | 23011.1782 | 23357.9336 | 23597.7776 |  | 11205.5282 | 9919.0612 | 8591.1512
2025-26 | 23277.2414 | 23669.23 | 23967.8447 |  | 11896.4654 | 10482.2659 | 9014.1305
2026-27 | 23539.4046 | 23977.9816 | 24338.8989 |  | 12565.1147 | 11033.209 | 9435.6087
2027-28 | 23797.7462 | 24284.6081 | 24710.8776 |  | 13213.1541 | 11574.2894 | 9858.3294
2028-29 | 24052.0877 | 24588.897 | 25083.515 |  | 13845.4023 | 12108.7157 | 10283.8384
2029-30 | 24302.2712 | 24890.7289 | 25456.5421 |  | 14460.0657 | 12633.0264 | 10701.3827
2030-31 | 24548.6881 | 25190.0525 | 25830.2388 |  | 15063.6443 | 13136.1547 | 11118.1565
2031-32 | 24791.8211 | 25486.5042 | 26205.0226 |  | 15655.9621 | 13627.0386 | 11530.2365
2032-33 | 25031.9163 | 25780.1152 | 26581.0439 |  | 16221.5703 | 14119.921 | 11945.3886
2033-34 | 25268.5132 | 26070.9865 | 26957.7282 |  | 16760.6361 | 14606.7081 | 12360.7174
2034-35 | 25501.5375 | 26359.2767 | 27334.9226 |  | 17276.8432 | 15082.8796 | 12777.813
1 Residential saturation limits are driven by the number of dwellings and population growth. Further detail can be found in Section 2.2.3 of the 2015 NEFR Forecasting Methodology Information Paper.
2 Residential installed capacity forecasts are based on a payback analysis. Further detail can be found in Section 2.2 of the 2015 NEFR Forecasting Methodology Information Paper.
Commercial (>= 10 kW, excluding solar farms)
| Saturation limit3 (MW) |  |  | Cumulative installed capacity4 (MW)
FY | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH | Actual | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH
2007-08 | 10793.5244 | 10793.5244 | 10793.5244 | 1.0094
2008-09 | 11020.3017 | 11020.3017 | 11020.3017 | 2.1404
2009-10 | 11196.5133 | 11196.5133 | 11196.5133 | 7.2728
2010-11 | 11347.149 | 11347.149 | 11347.149 | 41.5713
2011-12 | 11531.672 | 11531.672 | 11531.672 | 77.784
2012-13 | 11722.8897 | 11722.8897 | 11722.8897 | 153.1439
2013-14 | 11912.8796 | 11912.8796 | 11912.8796 | 307.3354
2014-15 | 12104.7515 | 12104.7515 | 12104.7515 |  | 496.8124 | 496.8124 | 496.8124
2015-16 | 12304.1511 | 12304.1511 | 12304.1511 |  | 798.57 | 702.187 | 622.7877
2016-17 | 12503.5877 | 12503.5877 | 12503.5877 |  | 1083.0247 | 920.9523 | 778.2711
2017-18 | 12709.0342 | 12709.0342 | 12709.0342 |  | 1380.5324 | 1148.5207 | 937.2683
2018-19 | 12912.2224 | 12912.2224 | 12912.2224 |  | 1691.6477 | 1384.1057 | 1101.4566
2019-20 | 13113.0289 | 13113.0289 | 13113.0289 |  | 2016.6396 | 1627.683 | 1272.3335
2020-21 | 13310.1146 | 13310.1146 | 13310.1146 |  | 2355.6928 | 1879.5555 | 1450.4067
2021-22 | 13506.935 | 13506.935 | 13506.935 |  | 2708.5449 | 2139.3406 | 1635.638
2022-23 | 13704.5884 | 13704.5884 | 13704.5884 |  | 3069.8847 | 2406.529 | 1827.9232
2023-24 | 13902.8897 | 13902.8897 | 13902.8897 |  | 3427.9861 | 2674.6746 | 2027.0454
2024-25 | 14099.2597 | 14099.2597 | 14099.2597 |  | 3787.1155 | 2942.0979 | 2228.7216
2025-26 | 14294.3772 | 14294.3772 | 14294.3772 |  | 4150.3027 | 3210.6377 | 2432.982
2026-27 | 14488.3222 | 14488.3222 | 14488.3222 |  | 4519.5328 | 3481.4648 | 2640.4628
2027-28 | 14681.0702 | 14681.0702 | 14681.0702 |  | 4896.1829 | 3755.2127 | 2851.3805
2028-29 | 14872.4299 | 14872.4299 | 14872.4299 |  | 5281.1191 | 4031.9742 | 3065.5098
2029-30 | 15062.2594 | 15062.2594 | 15062.2594 |  | 5674.8681 | 4311.9101 | 3283.0209
2030-31 | 15250.7438 | 15250.7438 | 15250.7438 |  | 6078.1737 | 4595.5405 | 3504.189
2031-32 | 15438.1977 | 15438.1977 | 15438.1977 |  | 6493.5939 | 4885.5996 | 3731.2401
2032-33 | 15624.7322 | 15624.7322 | 15624.7322 |  | 6923.3207 | 5184.1462 | 3966.1955
2033-34 | 15810.0141 | 15810.0141 | 15810.0141 |  | 7367.8363 | 5491.405 | 4209.2006
2034-35 | 15993.988 | 15993.988 | 15993.988 |  | 7827.5126 | 5807.508 | 4460.953
3 Commercial saturation limits are driven by the number and type of businesses as well as population growth. Further detail can be found in Section 2.2.4 of the 2015 NEFR Forecasting Methodology Information Paper.
4 Commercial installed capacity forecasts are based on a net present value analysis. Further detail can be found in Section 2.2.4 of the 2015 NEFR Forecasting Methodology Information Paper.

## NSW
2015 NEFR rooftop PV installed capacity & saturation limit - NSW
Residential (< 10 kW)
| Saturation limit1 (MW) |  |  | Cumulative installed capacity2 (MW)
FY | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH | Actual | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH
2005-06 | 5686.822 | 5686.822 | 5686.822 | 0.90122
2006-07 | 5766.2847 | 5766.2847 | 5766.2847 | 1.3677
2007-08 | 5858.6691 | 5858.6691 | 5858.6691 | 4.0951
2008-09 | 5952.4045 | 5952.4045 | 5952.4045 | 13.3481
2009-10 | 6030.7251 | 6030.7251 | 6030.7251 | 72.5267
2010-11 | 6095.3426 | 6095.3426 | 6095.3426 | 366.9601
2011-12 | 6172.3252 | 6172.3252 | 6172.3252 | 473.2964
2012-13 | 6259.2748 | 6259.2748 | 6259.2748 | 596.8349
2013-14 | 6350.7043 | 6350.7043 | 6350.7043 | 713.8458
2014-15 | 6428.0749 | 6420.1438 | 6429.1784 |  | 855.2935 | 855.2935 | 855.2935
2015-16 | 6509.9606 | 6507.5087 | 6513.0961 |  | 982.5212 | 969.8984 | 964.6669
2016-17 | 6592.8407 | 6595.0494 | 6598.947 |  | 1110.2209 | 1086.0795 | 1075.2182
2017-18 | 6678.6274 | 6682.0231 | 6688.6594 |  | 1239.5908 | 1202.8954 | 1185.1614
2018-19 | 6761.1525 | 6768.3366 | 6781.4342 |  | 1371.1548 | 1320.2289 | 1294.4349
2019-20 | 6840.8802 | 6854.1192 | 6877.7805 |  | 1505.3624 | 1438.7166 | 1403.6728
2020-21 | 6916.0831 | 6939.0368 | 6975.9749 |  | 1641.5472 | 1557.8358 | 1512.8727
2021-22 | 6990.2218 | 7023.5184 | 7074.321 |  | 1779.8406 | 1679.4837 | 1622.9993
2022-23 | 7064.3589 | 7107.453 | 7173.8639 |  | 1919.1703 | 1801.539 | 1733.2997
2023-24 | 7137.6511 | 7190.7563 | 7273.736 |  | 2059.7168 | 1923.9465 | 1843.6781
2024-25 | 7208.2182 | 7273.3144 | 7371.9786 |  | 2201.197 | 2046.9261 | 1954.6142
2025-26 | 7277.8866 | 7355.0411 | 7470.5215 |  | 2343.8569 | 2170.5958 | 2066.3572
2026-27 | 7346.5993 | 7435.9182 | 7569.2628 |  | 2487.3592 | 2294.7587 | 2178.973
2027-28 | 7414.2165 | 7516.1037 | 7667.9961 |  | 2631.9054 | 2419.8739 | 2292.9069
2028-29 | 7480.6266 | 7595.5126 | 7766.5655 |  | 2777.2011 | 2545.7942 | 2407.954
2029-30 | 7545.75 | 7674.108 | 7864.8386 |  | 2922.7913 | 2672.0364 | 2522.4774
2030-31 | 7609.6126 | 7751.8704 | 7962.7856 |  | 3069.0186 | 2796.7099 | 2637.1806
2031-32 | 7672.4013 | 7828.6764 | 8060.5591 |  | 3215.9743 | 2920.7772 | 2751.2875
2032-33 | 7734.219 | 7904.5362 | 8158.2185 |  | 3364.5176 | 3046.1997 | 2866.6191
2033-34 | 7794.8898 | 7979.4708 | 8255.5415 |  | 3514.5596 | 3172.5605 | 2982.7341
2034-35 | 7854.4459 | 8053.5204 | 8352.532 |  | 3666.0109 | 3300.2896 | 3100.0931
1 Residential saturation limits are driven by the number of dwellings and population growth. Further detail can be found in Section 2.2.3 of the 2015 NEFR Forecasting Methodology Information Paper.
2 Residential installed capacity forecasts are based on a payback analysis. Further detail can be found in Section 2.2 of the 2015 NEFR Forecasting Methodology Information Paper.
Commercial (>= 10 kW, excluding solar farms)
| Saturation limit3 (MW) |  |  | Cumulative installed capacity4 (MW)
FY | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH | Actual | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH
2007-08 | 4331.1697 | 4331.1697 | 4331.1697 | 0.55884
2008-09 | 4403.1833 | 4403.1833 | 4403.1833 | 0.95485
2009-10 | 4463.3562 | 4463.3562 | 4463.3562 | 3.4829
2010-11 | 4512.9963 | 4512.9963 | 4512.9963 | 24.423
2011-12 | 4572.1448 | 4572.1448 | 4572.1448 | 36.815
2012-13 | 4638.9446 | 4638.9446 | 4638.9446 | 63.5664
2013-14 | 4709.1873 | 4709.1873 | 4709.1873 | 120.2066
2014-15 | 4769.027 | 4769.027 | 4769.027 |  | 192.7395 | 192.7395 | 192.7395
2015-16 | 4832.6922 | 4832.6922 | 4832.6922 |  | 303.4524 | 265.4536 | 245.775
2016-17 | 4897.4804 | 4897.4804 | 4897.4804 |  | 405.8073 | 342.2883 | 305.9777
2017-18 | 4964.8601 | 4964.8601 | 4964.8601 |  | 511.9595 | 421.6144 | 367.0496
2018-19 | 5031.5118 | 5031.5118 | 5031.5118 |  | 622.0771 | 503.1645 | 429.5687
2019-20 | 5097.7685 | 5097.7685 | 5097.7685 |  | 736.234 | 586.926 | 494.0572
2020-21 | 5162.2606 | 5162.2606 | 5162.2606 |  | 854.4973 | 672.9966 | 560.6929
2021-22 | 5226.3515 | 5226.3515 | 5226.3515 |  | 976.7663 | 761.237 | 629.4444
2022-23 | 5290.8498 | 5290.8498 | 5290.8498 |  | 1102.9802 | 851.498 | 700.2487
2023-24 | 5355.095 | 5355.095 | 5355.095 |  | 1233.3265 | 943.9376 | 773.2671
2024-25 | 5417.6125 | 5417.6125 | 5417.6125 |  | 1367.9636 | 1038.6589 | 848.6115
2025-26 | 5479.8462 | 5479.8462 | 5479.8462 |  | 1506.9843 | 1135.6787 | 926.2946
2026-27 | 5541.7282 | 5541.7282 | 5541.7282 |  | 1650.4845 | 1235.0115 | 1006.3038
2027-28 | 5603.1289 | 5603.1289 | 5603.1289 |  | 1798.5378 | 1336.6042 | 1088.5462
2028-29 | 5663.9435 | 5663.9435 | 5663.9435 |  | 1951.1333 | 1440.27 | 1172.803
2029-30 | 5724.0916 | 5724.0916 | 5724.0916 |  | 2108.4707 | 1545.9356 | 1259.0674
2030-31 | 5783.5672 | 5783.5672 | 5783.5672 |  | 2270.8842 | 1653.8762 | 1347.5154
2031-32 | 5842.5183 | 5842.5183 | 5842.5183 |  | 2439.2538 | 1765.1178 | 1439.0027
2032-33 | 5901.0005 | 5901.0005 | 5901.0005 |  | 2614.3727 | 1880.436 | 1534.311
2033-34 | 5958.8656 | 5958.8656 | 5958.8656 |  | 2796.3208 | 1999.8677 | 1633.4754
2034-35 | 6016.1322 | 6016.1322 | 6016.1322 |  | 2985.1595 | 2123.4237 | 1736.7588
3 Commercial saturation limits are driven by the number and type of businesses as well as population growth. Further detail can be found in Section 2.2.4 of the 2015 NEFR Forecasting Methodology Information Paper.
4 Commercial installed capacity forecasts are based on a net present value analysis. Further detail can be found in Section 2.2.4 of the 2015 NEFR Forecasting Methodology Information Paper.

## QLD
2015 NEFR rooftop PV installed capacity & saturation limit - QLD
Residential (< 10 kW)
| Saturation limit1 (MW) |  |  | Cumulative installed capacity2 (MW)
FY | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH | Actual | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH
2005-06 | 4290.6422 | 4290.6422 | 4290.6422 | 1.3088
2006-07 | 4400.9282 | 4400.9282 | 4400.9282 | 1.4904
2007-08 | 4517.0601 | 4517.0601 | 4517.0601 | 3.2213
2008-09 | 4634.0258 | 4634.0258 | 4634.0258 | 13.9544
2009-10 | 4715.3524 | 4715.3524 | 4715.3524 | 64.8029
2010-11 | 4792.4625 | 4792.4625 | 4792.4625 | 272.098
2011-12 | 4890.3322 | 4890.3322 | 4890.3322 | 556.0057
2012-13 | 4979.9378 | 4979.9378 | 4979.9378 | 948.2105
2013-14 | 5055.4433 | 5055.4433 | 5055.4433 | 1163.0891
2014-15 | 5158.2435 | 5202.6968 | 5161.8178 |  | 1415.4277 | 1415.4277 | 1415.4277
2015-16 | 5261.6014 | 5309.2276 | 5269.8986 |  | 1698.7836 | 1684.2808 | 1659.5576
2016-17 | 5362.7831 | 5416.3761 | 5377.016 |  | 1984.1605 | 1958.3508 | 1909.0844
2017-18 | 5464.6338 | 5523.4592 | 5486.0935 |  | 2272.4156 | 2232.9379 | 2156.0631
2018-19 | 5562.4253 | 5630.4022 | 5596.8901 |  | 2564.7231 | 2508.4694 | 2391.7019
2019-20 | 5656.3996 | 5737.3151 | 5709.8277 |  | 2861.7664 | 2786.1915 | 2600.3192
2020-21 | 5747.8271 | 5843.8781 | 5826.3438 |  | 3162.1757 | 3058.474 | 2788.4062
2021-22 | 5838.8865 | 5950.4966 | 5944.4581 |  | 3466.3213 | 3302.4673 | 2962.7414
2022-23 | 5929.174 | 6057.0842 | 6063.842 |  | 3756.8136 | 3520.0757 | 3124.8767
2023-24 | 6019.8587 | 6163.5508 | 6185.7854 |  | 4008.3027 | 3717.6424 | 3277.2025
2024-25 | 6111.6085 | 6269.8311 | 6311.0676 |  | 4230.156 | 3899.6627 | 3422.1936
2025-26 | 6201.6969 | 6375.8341 | 6436.7727 |  | 4429.6711 | 4069.3236 | 3561.4327
2026-27 | 6290.3519 | 6481.4454 | 6563.1457 |  | 4611.1974 | 4228.6252 | 3695.9173
2027-28 | 6377.7514 | 6586.7184 | 6690.3718 |  | 4778.3362 | 4379.6777 | 3826.9034
2028-29 | 6463.9743 | 6691.6093 | 6818.5518 |  | 4933.3721 | 4523.6792 | 3954.8622
2029-30 | 6549.1108 | 6796.0934 | 6947.7915 |  | 5077.8938 | 4661.1944 | 4078.2264
2030-31 | 6633.3683 | 6900.1653 | 7078.3168 |  | 5213.8243 | 4791.858 | 4198.5445
2031-32 | 6716.7952 | 7003.7341 | 7210.192 |  | 5342.4957 | 4917.2023 | 4315.3055
2032-33 | 6799.4354 | 7106.8137 | 7343.4717 |  | 5465.4645 | 5039.2998 | 4430.9837
2033-34 | 6881.2319 | 7209.4309 | 7478.1012 |  | 5583.3772 | 5158.2109 | 4545.2119
2034-35 | 6962.1047 | 7311.6338 | 7613.9992 |  | 5696.7732 | 5274.526 | 4658.6962
1 Residential saturation limits are driven by the number of dwellings and population growth. Further detail can be found in Section 2.2.3 of the 2015 NEFR Forecasting Methodology Information Paper.
2 Residential installed capacity forecasts are based on a payback analysis. Further detail can be found in Section 2.2 of the 2015 NEFR Forecasting Methodology Information Paper.
Commercial (>= 10 kW, excluding solar farms)
| Saturation limit3 (MW) |  |  | Cumulative installed capacity4 (MW)
FY | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH | Actual | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH
2007-08 | 2435.4542 | 2435.4542 | 2435.4542 | 0.21344
2008-09 | 2502.871 | 2502.871 | 2502.871 | 0.32358
2009-10 | 2549.7468 | 2549.7468 | 2549.7468 | 1.2819
2010-11 | 2594.1977 | 2594.1977 | 2594.1977 | 10.7373
2011-12 | 2650.6128 | 2650.6128 | 2650.6128 | 24.3859
2012-13 | 2702.2583 | 2702.2583 | 2702.2583 | 40.3651
2013-14 | 2745.7836 | 2745.7836 | 2745.7836 | 64.4305
2014-15 | 2805.9071 | 2805.9071 | 2805.9071 |  | 101.7446 | 101.7446 | 101.7446
2015-16 | 2866.6599 | 2866.6599 | 2866.6599 |  | 165.6343 | 144.8984 | 118.9433
2016-17 | 2926.481 | 2926.481 | 2926.481 |  | 226.6359 | 191.6142 | 145.8395
2017-18 | 2987.0241 | 2987.0241 | 2987.0241 |  | 291.0772 | 240.7228 | 173.6699
2018-19 | 3046.4626 | 3046.4626 | 3046.4626 |  | 359.0955 | 292.0531 | 202.8896
2019-20 | 3104.9386 | 3104.9386 | 3104.9386 |  | 430.7283 | 345.6027 | 233.8826
2020-21 | 3163.2048 | 3163.2048 | 3163.2048 |  | 506.025 | 401.4511 | 266.7705
2021-22 | 3221.724 | 3221.724 | 3221.724 |  | 584.9446 | 459.4941 | 301.5341
2022-23 | 3280.2864 | 3280.2864 | 3280.2864 |  | 667.4756 | 519.6244 | 338.1369
2023-24 | 3339.5892 | 3339.5892 | 3339.5892 |  | 753.7654 | 581.9715 | 376.7005
2024-25 | 3400.0335 | 3400.0335 | 3400.0335 |  | 843.9411 | 646.6201 | 417.305
2025-26 | 3460.0089 | 3460.0089 | 3460.0089 |  | 938.0847 | 713.5899 | 459.9576
2026-27 | 3519.6387 | 3519.6387 | 3519.6387 |  | 1036.2715 | 782.8962 | 504.6421
2027-28 | 3579.0341 | 3579.0341 | 3579.0341 |  | 1138.5598 | 854.5 | 551.2769
2028-29 | 3638.232 | 3638.232 | 3638.232 |  | 1244.9627 | 928.2625 | 599.687
2029-30 | 3697.288 | 3697.288 | 3697.288 |  | 1355.6831 | 1004.1326 | 649.8742
2030-31 | 3756.3193 | 3756.3193 | 3756.3193 |  | 1471.0198 | 1082.3554 | 701.9772
2031-32 | 3815.3568 | 3815.3568 | 3815.3568 |  | 1591.5993 | 1163.7101 | 756.6023
2032-33 | 3874.4251 | 3874.4251 | 3874.4251 |  | 1717.9774 | 1248.7529 | 814.3048
2033-34 | 3933.4873 | 3933.4873 | 3933.4873 |  | 1850.2143 | 1337.5165 | 875.1147
2034-35 | 3992.4939 | 3992.4939 | 3992.4939 |  | 1988.35 | 1430.0128 | 939.2336
3 Commercial saturation limits are driven by the number and type of businesses as well as population growth. Further detail can be found in Section 2.2.4 of the 2015 NEFR Forecasting Methodology Information Paper.
4 Commercial installed capacity forecasts are based on a net present value analysis. Further detail can be found in Section 2.2.4 of the 2015 NEFR Forecasting Methodology Information Paper.

## SA
2015 NEFR rooftop PV installed capacity & saturation limit - SA
Residential (< 10 kW)
| Saturation limit1 (MW) |  |  | Cumulative installed capacity2 (MW)
FY | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH | Actual | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH
2005-06 | 1767.2449 | 1767.2449 | 1767.2449 | 2.0264
2006-07 | 1787.823 | 1787.823 | 1787.823 | 2.7765
2007-08 | 1808.3511 | 1808.3511 | 1808.3511 | 5.9817
2008-09 | 1831.3716 | 1831.3716 | 1831.3716 | 14.0216
2009-10 | 1852.3251 | 1852.3251 | 1852.3251 | 33.2385
2010-11 | 1866.3077 | 1866.3077 | 1866.3077 | 134.447
2011-12 | 1884.9873 | 1884.9873 | 1884.9873 | 302.9377
2012-13 | 1901.4396 | 1901.4396 | 1901.4396 | 405.1418
2013-14 | 1918.7484 | 1918.7484 | 1918.7484 | 514.8056
2014-15 | 1937.1709 | 1944.8516 | 1937.4109 |  | 574.651 | 574.651 | 574.651
2015-16 | 1956.2475 | 1965.3296 | 1956.9937 |  | 661.4495 | 631.6429 | 631.6429
2016-17 | 1974.6757 | 1985.7974 | 1976.1909 |  | 748.79 | 693.8428 | 693.8428
2017-18 | 1993.6362 | 2006.0525 | 1996.1855 |  | 845.1275 | 760.994 | 760.994
2018-19 | 2011.6981 | 2026.0584 | 2017.1378 |  | 947.7396 | 829.9355 | 829.9355
2019-20 | 2028.784 | 2045.8448 | 2038.9627 |  | 1060.474 | 903.1168 | 890.1109
2020-21 | 2044.0794 | 2065.3139 | 2060.8263 |  | 1181.5853 | 978.2651 | 944.1288
2021-22 | 2058.8765 | 2084.5679 | 2082.4782 |  | 1307.079 | 1063.0332 | 993.0346
2022-23 | 2073.3688 | 2103.5717 | 2104.1018 |  | 1412.9393 | 1141.2629 | 1038.5351
2023-24 | 2087.8554 | 2122.299 | 2125.9881 |  | 1503.3472 | 1211.6221 | 1081.1649
2024-25 | 2101.8631 | 2140.7238 | 2147.6378 |  | 1581.3673 | 1276.3356 | 1121.0125
2025-26 | 2115.3748 | 2158.8187 | 2169.0611 |  | 1650.1203 | 1336.7909 | 1158.2783
2026-27 | 2128.4258 | 2176.5643 | 2190.2774 |  | 1710.737 | 1392.9436 | 1193.3377
2027-28 | 2141.0605 | 2193.9847 | 2211.306 |  | 1764.9517 | 1446.4635 | 1226.2417
2028-29 | 2153.272 | 2211.0637 | 2232.1253 |  | 1813.4188 | 1497.3134 | 1257.264
2029-30 | 2165.0194 | 2227.7901 | 2252.675 |  | 1856.5971 | 1544.9851 | 1287.5301
2030-31 | 2176.3175 | 2244.1594 | 2272.9505 |  | 1895.6015 | 1586.8409 | 1316.7495
2031-32 | 2187.2572 | 2260.1395 | 2293.0316 |  | 1931.1053 | 1625.0319 | 1345.4813
2032-33 | 2197.883 | 2275.7341 | 2312.9476 |  | 1964.1945 | 1663.1479 | 1372.7583
2033-34 | 2208.1744 | 2290.9544 | 2332.6624 |  | 1994.984 | 1700.6239 | 1398.8642
2034-35 | 2218.1119 | 2305.8187 | 2352.1473 |  | 2023.5923 | 1737.8442 | 1423.6891
1 Residential saturation limits are driven by the number of dwellings and population growth. Further detail can be found in Section 2.2.3 of the 2015 NEFR Forecasting Methodology Information Paper.
2 Residential installed capacity forecasts are based on a payback analysis. Further detail can be found in Section 2.2 of the 2015 NEFR Forecasting Methodology Information Paper.
Commercial (>= 10 kW, excluding solar farms)
| Saturation limit3 (MW) |  |  | Cumulative installed capacity4 (MW)
FY | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH | Actual | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH
2007-08 | 812.1454 | 812.1454 | 812.1454 | 0.0108
2008-09 | 824.6279 | 824.6279 | 824.6279 | 0.61553
2009-10 | 835.9936 | 835.9936 | 835.9936 | 2.0917
2010-11 | 843.5769 | 843.5769 | 843.5769 | 3.9946
2011-12 | 853.7148 | 853.7148 | 853.7148 | 8.6971
2012-13 | 862.637 | 862.637 | 862.637 | 23.1802
2013-14 | 872.0221 | 872.0221 | 872.0221 | 64.1001
2014-15 | 882.0673 | 882.0673 | 882.0673 |  | 96.2656 | 96.2656 | 96.2656
2015-16 | 892.5383 | 892.5383 | 892.5383 |  | 156.7889 | 137.4929 | 120.4057
2016-17 | 902.7255 | 902.7255 | 902.7255 |  | 214.4532 | 181.8206 | 151.2131
2017-18 | 913.2767 | 913.2767 | 913.2767 |  | 275.3567 | 228.3475 | 183.066
2018-19 | 923.6984 | 923.6984 | 923.6984 |  | 339.6241 | 276.8944 | 216.2755
2019-20 | 933.9472 | 933.9472 | 933.9472 |  | 407.3292 | 327.4599 | 251.1311
2020-21 | 943.5729 | 943.5729 | 943.5729 |  | 478.4879 | 380.1153 | 287.7434
2021-22 | 952.995 | 952.995 | 952.995 |  | 553.0396 | 434.7878 | 326.1262
2022-23 | 962.3121 | 962.3121 | 962.3121 |  | 625.7695 | 491.2877 | 366.2883
2023-24 | 971.6972 | 971.6972 | 971.6972 |  | 684.4961 | 542.788 | 407.6408
2024-25 | 980.8724 | 980.8724 | 980.8724 |  | 733.1113 | 587.3774 | 445.6652
2025-26 | 989.8379 | 989.8379 | 989.8379 |  | 774.4098 | 626.8608 | 480.3849
2026-27 | 998.6182 | 998.6182 | 998.6182 |  | 810.1317 | 662.3759 | 512.4868
2027-28 | 1007.2258 | 1007.2258 | 1007.2258 |  | 841.4566 | 694.6864 | 542.4299
2028-29 | 1015.6483 | 1015.6483 | 1015.6483 |  | 869.2173 | 724.3114 | 570.5145
2029-30 | 1023.8609 | 1023.8609 | 1023.8609 |  | 894.0535 | 751.6515 | 597.0255
2030-31 | 1031.8638 | 1031.8638 | 1031.8638 |  | 916.4392 | 777.0784 | 622.1916
2031-32 | 1039.7125 | 1039.7125 | 1039.7125 |  | 936.7784 | 800.9952 | 646.3228
2032-33 | 1047.4253 | 1047.4253 | 1047.4253 |  | 955.3908 | 823.6622 | 669.6679
2033-34 | 1054.984 | 1054.984 | 1054.984 |  | 972.4829 | 845.1749 | 692.2711
2034-35 | 1062.376 | 1062.376 | 1062.376 |  | 988.2313 | 865.616 | 714.2167
3 Commercial saturation limits are driven by the number and type of businesses as well as population growth. Further detail can be found in Section 2.2.4 of the 2015 NEFR Forecasting Methodology Information Paper.
4 Commercial installed capacity forecasts are based on a net present value analysis. Further detail can be found in Section 2.2.4 of the 2015 NEFR Forecasting Methodology Information Paper.

## TAS
2015 NEFR rooftop PV installed capacity & saturation limit - TAS
Residential (< 10 kW)
| Saturation limit1 (MW) |  |  | Cumulative installed capacity2 (MW)
FY | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH | Actual | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH
2005-06 | - | - | - | 0.038885
2006-07 | 570.6543 | 570.6543 | 570.6543 | 0.045745
2007-08 | 576.7839 | 576.7839 | 576.7839 | 0.15649
2008-09 | 583.4669 | 583.4669 | 583.4669 | 0.6157
2009-10 | 588.6585 | 588.6585 | 588.6585 | 3.9315
2010-11 | 591.7037 | 591.7037 | 591.7037 | 8.7807
2011-12 | 592.4234 | 592.4234 | 592.4234 | 18.8282
2012-13 | 593.5717 | 593.5717 | 593.5717 | 42.9445
2013-14 | 595.4917 | 595.4917 | 595.4917 | 70.2823
2014-15 | 598.8256 | 600.2223 | 599.5338 |  | 83.7329 | 83.7329 | 83.7329
2015-16 | 602.1273 | 603.9941 | 603.6972 |  | 102.784 | 98.7471 | 92.2218
2016-17 | 605.0823 | 607.707 | 607.6735 |  | 121.7858 | 115.4898 | 103.2705
2017-18 | 608.1056 | 611.3379 | 611.8831 |  | 142.1187 | 132.9464 | 109.0148
2018-19 | 610.5789 | 614.8786 | 616.2014 |  | 164.2965 | 151.3729 | 114.2512
2019-20 | 612.4827 | 618.3247 | 620.6074 |  | 188.4154 | 171.2062 | 120.1146
2020-21 | 613.6379 | 621.6587 | 624.9141 |  | 214.7176 | 192.3629 | 126.8588
2021-22 | 614.4108 | 624.8771 | 629.029 |  | 242.9109 | 215.5877 | 134.2898
2022-23 | 615.2345 | 627.9743 | 633.4015 |  | 271.9614 | 239.1198 | 141.4124
2023-24 | 616.0939 | 630.9386 | 638.0282 |  | 301.9428 | 263.1997 | 149.004
2024-25 | 616.8009 | 633.7608 | 642.7265 |  | 333.2395 | 288.6243 | 158.4478
2025-26 | 617.2388 | 636.4386 | 647.3347 |  | 365.5562 | 314.9219 | 169.5095
2026-27 | 617.4328 | 638.9535 | 651.8736 |  | 396.3103 | 340.4598 | 181.5992
2027-28 | 617.3982 | 641.3113 | 656.357 |  | 422.1563 | 362.9765 | 195.3063
2028-29 | 617.1348 | 643.5109 | 660.7804 |  | 444.2805 | 383.2262 | 210.3593
2029-30 | 616.6473 | 645.5441 | 665.146 |  | 463.1815 | 401.5844 | 225.1465
2030-31 | 615.9611 | 647.4121 | 669.4746 |  | 479.6364 | 418.1777 | 242.2944
2031-32 | 615.1155 | 649.1045 | 673.8067 |  | 494.0686 | 433.8607 | 261.4271
2032-33 | 614.1405 | 650.6248 | 678.1711 |  | 506.8744 | 448.3944 | 280.9172
2033-34 | 613.013 | 651.9787 | 682.5379 |  | 518.228 | 462.0447 | 299.6686
2034-35 | 611.7203 | 653.1709 | 686.8838 |  | 528.2694 | 474.5522 | 316.6068
1 Residential saturation limits are driven by the number of dwellings and population growth. Further detail can be found in Section 2.2.3 of the 2015 NEFR Forecasting Methodology Information Paper.
2 Residential installed capacity forecasts are based on a payback analysis. Further detail can be found in Section 2.2 of the 2015 NEFR Forecasting Methodology Information Paper.
Commercial (>= 10 kW, excluding solar farms)
| Saturation limit3 (MW) |  |  | Cumulative installed capacity4 (MW)
FY | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH | Actual | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH
2007-08 | 139.5203 | 139.5203 | 139.5203 | 0
2008-09 | 143.0868 | 143.0868 | 143.0868 | 0
2009-10 | 145.8634 | 145.8634 | 145.8634 | 0
2010-11 | 147.4862 | 147.4862 | 147.4862 | 0.41021
2011-12 | 147.8749 | 147.8749 | 147.8749 | 1.2494
2012-13 | 148.4858 | 148.4858 | 148.4858 | 3.733
2013-14 | 149.5101 | 149.5101 | 149.5101 | 7.2159
2014-15 | 151.4167 | 151.4167 | 151.4167 |  | 10.8581 | 10.8581 | 10.8581
2015-16 | 153.3357 | 153.3357 | 153.3357 |  | 16.2961 | 14.9748 | 13.9435
2016-17 | 155.1004 | 155.1004 | 155.1004 |  | 21.5553 | 19.34 | 17.3604
2017-18 | 156.9391 | 156.9391 | 156.9391 |  | 27.0085 | 23.8466 | 20.8067
2018-19 | 158.6051 | 158.6051 | 158.6051 |  | 32.6667 | 28.4748 | 24.3262
2019-20 | 160.0921 | 160.0921 | 160.0921 |  | 38.5403 | 33.2234 | 27.9532
2020-21 | 161.2953 | 161.2953 | 161.2953 |  | 44.6374 | 38.0981 | 31.6979
2021-22 | 162.3258 | 162.3258 | 162.3258 |  | 50.9518 | 43.0918 | 35.558
2022-23 | 163.4241 | 163.4241 | 163.4241 |  | 57.4806 | 48.1993 | 39.5321
2023-24 | 164.5841 | 164.5841 | 164.5841 |  | 64.2368 | 53.4313 | 43.6317
2024-25 | 165.6948 | 165.6948 | 165.6948 |  | 71.2265 | 58.7913 | 47.861
2025-26 | 166.6944 | 166.6944 | 166.6944 |  | 78.451 | 64.2789 | 52.2196
2026-27 | 167.5952 | 167.5952 | 167.5952 |  | 85.9154 | 69.8945 | 56.7075
2027-28 | 168.4035 | 168.4035 | 168.4035 |  | 93.622 | 75.6361 | 61.3206
2028-29 | 169.1131 | 169.1131 | 169.1131 |  | 101.5667 | 81.4963 | 66.0488
2029-30 | 169.7302 | 169.7302 | 169.7302 |  | 109.0887 | 87.4057 | 70.7945
2030-31 | 170.267 | 170.267 | 170.267 |  | 115.6258 | 92.8375 | 75.2068
2031-32 | 170.7421 | 170.7421 | 170.7421 |  | 121.4179 | 97.8041 | 79.3415
2032-33 | 171.1678 | 171.1678 | 171.1678 |  | 126.6189 | 102.41 | 83.2694
2033-34 | 171.5319 | 171.5319 | 171.5319 |  | 131.3132 | 106.7036 | 87.0147
2034-35 | 171.8342 | 171.8342 | 171.8342 |  | 135.563 | 110.7215 | 90.6062
3 Commercial saturation limits are driven by the number and type of businesses as well as population growth. Further detail can be found in Section 2.2.4 of the 2015 NEFR Forecasting Methodology Information Paper.
4 Commercial installed capacity forecasts are based on a net present value analysis. Further detail can be found in Section 2.2.4 of the 2015 NEFR Forecasting Methodology Information Paper.

## VIC
2015 NEFR rooftop PV installed capacity & saturation limit - VIC
Residential (< 10 kW)
| Saturation limit1 (MW) |  |  | Cumulative installed capacity2 (MW)
FY | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH | Actual | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH
2005-06 | 5102.8264 | 5102.8264 | 5102.8264 | 0.75066
2006-07 | 5195.8141 | 5195.8141 | 5195.8141 | 1.1669
2007-08 | 5299.4829 | 5299.4829 | 5299.4829 | 3.3398
2008-09 | 5415.9584 | 5415.9584 | 5415.9584 | 8.3222
2009-10 | 5505.8327 | 5505.8327 | 5505.8327 | 43.9172
2010-11 | 5583.1571 | 5583.1571 | 5583.1571 | 168.217
2011-12 | 5678.6123 | 5678.6123 | 5678.6123 | 329.9749
2012-13 | 5781.9112 | 5781.9112 | 5781.9112 | 489.8271
2013-14 | 5889.4171 | 5889.4171 | 5889.4171 | 621.1101
2014-15 | 5987.0756 | 5981.9271 | 5987.8084 |  | 770.484 | 770.484 | 770.484
2015-16 | 6088.6197 | 6088.9241 | 6090.9208 |  | 947.2007 | 914.8247 | 894.3888
2016-17 | 6190.2262 | 6196.4432 | 6194.9444 |  | 1125.3238 | 1066.2492 | 1011.5586
2017-18 | 6295.1025 | 6303.6216 | 6303.1045 |  | 1310.1991 | 1219.7865 | 1125.26
2018-19 | 6397.6152 | 6410.3373 | 6414.8518 |  | 1503.8678 | 1376.3304 | 1237.635
2019-20 | 6496.8692 | 6516.7053 | 6529.3912 |  | 1707.7087 | 1536.5679 | 1349.5341
2020-21 | 6592.6449 | 6622.2932 | 6646.5682 |  | 1922.7164 | 1701.2451 | 1462.8486
2021-22 | 6688.3027 | 6727.5908 | 6764.8682 |  | 2148.6205 | 1874.5614 | 1579.0841
2022-23 | 6784.1398 | 6832.449 | 6884.5721 |  | 2380.2377 | 2050.2488 | 1696.5593
2023-24 | 6879.5294 | 6936.7225 | 7005.026 |  | 2616.8161 | 2226.8293 | 1813.9929
2024-25 | 6972.6875 | 7040.3036 | 7124.3671 |  | 2859.5683 | 2407.5125 | 1934.8831
2025-26 | 7065.0443 | 7143.0975 | 7244.1547 |  | 3107.2609 | 2590.6336 | 2058.5529
2026-27 | 7156.5947 | 7245.1001 | 7364.3395 |  | 3359.5108 | 2776.4217 | 2185.7815
2027-28 | 7247.3196 | 7346.49 | 7484.8467 |  | 3615.8045 | 2965.2978 | 2316.9711
2028-29 | 7337.0799 | 7447.2005 | 7605.4921 |  | 3877.1298 | 3158.7027 | 2453.3989
2029-30 | 7425.7437 | 7547.1934 | 7726.0911 |  | 4139.6019 | 3353.2261 | 2588.0023
2030-31 | 7513.4287 | 7646.4454 | 7846.7113 |  | 4405.5635 | 3542.5682 | 2723.3875
2031-32 | 7600.2519 | 7744.8497 | 7967.4333 |  | 4672.3183 | 3730.1664 | 2856.7351
2032-33 | 7686.2385 | 7842.4064 | 8088.2349 |  | 4920.5194 | 3922.8792 | 2994.1102
2033-34 | 7771.2041 | 7939.1517 | 8208.8853 |  | 5149.4873 | 4113.2682 | 3134.2387
2034-35 | 7855.1547 | 8035.133 | 8329.3603 |  | 5362.1974 | 4295.6676 | 3278.7279
1 Residential saturation limits are driven by the number of dwellings and population growth. Further detail can be found in Section 2.2.3 of the 2015 NEFR Forecasting Methodology Information Paper.
2 Residential installed capacity forecasts are based on a payback analysis. Further detail can be found in Section 2.2 of the 2015 NEFR Forecasting Methodology Information Paper.
Commercial (>= 10 kW, excluding solar farms)
| Saturation limit3 (MW) |  |  | Cumulative installed capacity4 (MW)
FY | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH | Actual | NEFR scenario = LOW | NEFR scenario = MEDIUM | NEFR scenario = HIGH
2007-08 | 3075.2347 | 3075.2347 | 3075.2347 | 0.22632
2008-09 | 3146.5326 | 3146.5326 | 3146.5326 | 0.24642
2009-10 | 3201.5533 | 3201.5533 | 3201.5533 | 0.41628
2010-11 | 3248.8918 | 3248.8918 | 3248.8918 | 2.0062
2011-12 | 3307.3246 | 3307.3246 | 3307.3246 | 6.6367
2012-13 | 3370.5641 | 3370.5641 | 3370.5641 | 22.2993
2013-14 | 3436.3766 | 3436.3766 | 3436.3766 | 51.3823
2014-15 | 3496.3335 | 3496.3335 | 3496.3335 |  | 95.2047 | 95.2047 | 95.2047
2015-16 | 3558.925 | 3558.925 | 3558.925 |  | 156.3983 | 139.3673 | 123.7203
2016-17 | 3621.8005 | 3621.8005 | 3621.8005 |  | 214.5731 | 185.8891 | 157.8804
2017-18 | 3686.9342 | 3686.9342 | 3686.9342 |  | 275.1305 | 233.9893 | 192.6762
2018-19 | 3751.9446 | 3751.9446 | 3751.9446 |  | 338.1844 | 283.5189 | 228.3966
2019-20 | 3816.2823 | 3816.2823 | 3816.2823 |  | 403.8078 | 334.4709 | 265.3093
2020-21 | 3879.781 | 3879.781 | 3879.781 |  | 472.0452 | 386.8945 | 303.5021
2021-22 | 3943.5387 | 3943.5387 | 3943.5387 |  | 542.8426 | 440.7299 | 342.9752
2022-23 | 4007.7161 | 4007.7161 | 4007.7161 |  | 616.1787 | 495.9196 | 383.7173
2023-24 | 4071.9243 | 4071.9243 | 4071.9243 |  | 692.1613 | 552.5462 | 425.8054
2024-25 | 4135.0465 | 4135.0465 | 4135.0465 |  | 770.873 | 610.6501 | 469.2787
2025-26 | 4197.9898 | 4197.9898 | 4197.9898 |  | 852.3729 | 670.2294 | 514.1253
2026-27 | 4260.7418 | 4260.7418 | 4260.7418 |  | 936.7298 | 731.2866 | 560.3226
2027-28 | 4323.2779 | 4323.2779 | 4323.2779 |  | 1024.0067 | 793.786 | 607.8068
2028-29 | 4385.4931 | 4385.4931 | 4385.4931 |  | 1114.2391 | 857.634 | 656.4564
2029-30 | 4447.2887 | 4447.2887 | 4447.2887 |  | 1207.5722 | 922.7848 | 706.2593
2030-31 | 4508.7264 | 4508.7264 | 4508.7264 |  | 1304.2047 | 989.393 | 757.298
2031-32 | 4569.868 | 4569.868 | 4569.868 |  | 1404.5446 | 1057.9724 | 809.9707
2032-33 | 4630.7134 | 4630.7134 | 4630.7134 |  | 1508.961 | 1128.8851 | 864.6424
2033-34 | 4691.1454 | 4691.1454 | 4691.1454 |  | 1617.5051 | 1202.1423 | 921.3248
2034-35 | 4751.1516 | 4751.1516 | 4751.1516 |  | 1730.2086 | 1277.7339 | 980.1378
3 Commercial saturation limits are driven by the number and type of businesses as well as population growth. Further detail can be found in Section 2.2.4 of the 2015 NEFR Forecasting Methodology Information Paper.
4 Commercial installed capacity forecasts are based on a net present value analysis. Further detail can be found in Section 2.2.4 of the 2015 NEFR Forecasting Methodology Information Paper.