## All Regions Summary
All Regions Summary
There are currently over 600 MW of committed projects across the NEM, including the Mortons Lane wind farm (20.3 MW), the Macarthur Wind Farm (420 MW) and the Qenos Cogeneration Facility (21 MW) in Victoria, the Eraring Power Station Upgrade (60 MW) in New South Wales, and Musselroe Wind Farm (168 MW) in Tasmania.
Gas projects represent the highest technology interest (by capacity), with nearly 15,000 MW proposed across the NEM that AEMO is aware of, with more than half of the gas projects proposed from Queensland. Wind powered generation developments represent the second highest investment interest with over 14,000 MW across the NEM. Publicly announced proposals totalled over 34,500 MW spread across all regions.
For all regions except Tasmania references to winter indicate the period 1 June–31 August, and references to summer indicate the period 1 November–31 March. In Tasmania the summer period covers 1 December–28 February.
The table below summarises the projected available scheduled and semi-scheduled generation capacity in each region to meet the projected maximum demand in summer 2012–13 and winter 2013.
Available capacities for 2012–13
Region | Summer (MW) | Winter (MW)
| 2012–13 | 2013
Queensland | 12209 | 12495
New South Wales | 16327 | 16388
Victoria | 11311 | 11738
South Australia | 4091 | 4433.1
Tasmania | 2601 | 2682
NEM Total | 46539 | 47736.1
Generation Projects - completed new developments since 2011
Registered Participant | Power Station | Project Capacity (MW) | Fuel/Technology | Commissioning Date
Victoria
Oaklands Hill Wind Farm Pty Ltd | Oaklands Hill | 67.2 | Wind | 2012-02-01
Origin Energy Power Limited | Mortlake Stage 1 | 566 | Gas - OCGT | 2011-07-01
South Australia
Eurus Energy | Hallett 5 (The Bluff) | 52.5 | Wind | 2011-12-01
Generation Projects - completed upgrades since 2011
Registered Participant | Power Station | Project Capacity (MW) | Fuel/Technology | Commissioning Date
New South Wales
Eraring Energy | Eraring - Upgrade (Unit 1) | 60 | Steam Turbine - Black Coal | 2012
Generation Projects - committed new developments since 2011
Registered Participant | Power Station | Project Capacity (MW) | Fuel/Technology | Commissioning Date
Victoria
Macarthur Wind Farm Unincorporated Joint Venture | Macarthur | 420 | Wind | 2013-01-01
Mortons Lane Wind Farm Pty Ltd | Mortons Lane | 19.5 | Wind | TBA
AGL | Qenos Cogeneration Facility | 21 | Gas - CCGT | 2012-10-01
Tasmania
Hydro Tasmania Wind Operations Pty Ltd | Musselroe | 168 | Wind | 2013-06-01
Generation Projects - committed upgrades since 2011
Registered Participant | Power Station | Project Capacity (MW) | Fuel/Technology | Commissioning Date
New South Wales
Eraring Energy | Eraring - Upgrade (Unit 4) | 60 | Steam Turbine - Black Coal | 2012-10-01

## Tasmania Summary
Tasmania Summary
Committed project developments
Musselroe Wind Farm: Hydro Tasmania Wind Operations Pty Ltd advises that Musselroe (168 MW) is now a committed project. Construction is expected be completed around June 2013.
Plant retirements
AEMO has not been advised of any planned plant retirements in Tasmania within the 10-year planning outlook.
Changes since the 2011 ESOO (existing generation)
Hydro-Electric Corporation advises of a number of changes to power station outage schedules.
Plant limitations
Bastyan Power Station: Hydro-Electric Corporation advises that Bastyan's available capacity will be (zero) 0 MW during summer 2019-20.
Catagunyah/Liapootah/Wayatinah Power Station: Hydro-Electric Corporation advises that Catagunyah/Liapootah/Wayatinah stations will undergo the following outages:
· Liapootah Unit 1 will be unavailable during:
- summer 2017–18
· Liapootah Unit 2 will be unavailable during:
- summer 2018–18
· Liapootah Unit 3 will be unavailable during:
- summer 2017–18
· Wayatinah Unit 1 will be unavailable during:
- summer 2014–14
- summer 2014–15
· Wayatinah Unit 2 will be unavailable during:
- summer 2012–13
- summer 2013–14
· Wayatinah Unit 3 will be unavailable during:
- summer 2013–14
- summer 2015–16
- summer 2018–19
· Catagunya Unit 1 will be unavailable during:
- summer 2017–18
· Catagunya Unit 2 will be unavailable during:
- summer 2018–19
Cethana Power Station: Hydro-Electric Corporation advises that Cethana’s available capacity will be (zero) 0 MW during summer 2014-15.
Devils Gate Power Station: Hydro-Electric Corporation advises that Devils Gate’s available capacity will be (zero) 0 MW during summer 2017-18.
Fisher Power Station: Hydro-Electric Corporation advises that Fisher’s available capacity will be (zero) 0 MW during summer 2016-17.
Gordon Power Station: Hydro-Electric Corporation advises that Gordon's available capacity will be limited to 288 MW, due to an outage to unit 3 during summer 2016-17.
Lake Echo Power Station: Hydro-Electric Corporation advises that Lake Echo's available capacity will be (zero) 0 MW during summer 2018-19.
Lemonthyme/Wilmot Power Station: Hydro-Electric Corporation advises that Lemonthyme's/Wilmot's available capacity will be:
• 31 MW during summer 2018–19 due to outage of the Lemonthyme Unit.
• 51 MW during summer 2019–20 due to outage of the Wilmot Unit.
Mackintosh Power Station: Hydro-Electric Corporation advises that Mackintosh's available capacity will be (zero) 0 MW during summer 2020-21.
Tarraleah Power Station: Hydro-Electric Corporation advises that Tarraleah’s available capacity will be:
• 75 MW during summer 2012–13 due to outages of Units 1–3.
• 45 MW during summer 2017–18 due to outages of Units 1–4.
Trevallyn Power Station: Hydro-Electric Corporation advises that Trevallyn’s available capacity will be:
• 73 MW during summer 2018–19 due to outages of Unit 1.
• 73 MW during summer 2019–20 due to outages of Unit 2.
Tungatinah Power Station: Hydro-Electric Corporation advises that Tungatinah’s available capacity will be:
• 78 MW during summer 2012–13 due to outages of Units 1-2.
• 81 MW during summer 2013–14 due to outages of Units 4-5.
• 106 MW during summer 2015–16 due to outages of Unit 3.
• 106 MW during summer 2016–17 due to outages of Unit 4.
• 103 MW during winter 2013 due to outages of Unit 2.
• 106 MW during winter 2017 due to outages of Unit 4.

## Background Information
Generation capacity in the NEM
Any person who owns, controls, or operates a generating system connected to a transmission or distribution network must register as a generator. A generating system’s registered capacity is the nominal megawatt (MW) capacity registered with AEMO.
The registered capacity is often the same as a generating system’s nameplate capacity. The nameplate capacity represents the maximum continuous output or consumption in MW, as specified by the manufacturer, or as subsequently modified. The nameplate capacity can change for a number of reasons, such as upgrade projects, age or a review of performance.
Under the National Electricity Rules (NER), generating systems are classified as scheduled, semi-scheduled, or non-scheduled.
Scheduled (S) generation refers to any generating system with an aggregate nameplate capacity of 30 MW or more, unless classified as semi-scheduled, or AEMO is permitted to classify it as non-scheduled.
Semi-scheduled (SS) generation refers to any generating system with intermittent output (such as wind or run-of-river hydro) with an aggregate nameplate capacity of 30 MW or more. A semi-scheduled classification gives AEMO the power to limit generation output that may exceed network capabilities, but reduces the participating generator’s requirement to provide information.
Non-scheduled (NS) generation refers to generating systems with an aggregate nameplate capacity of less than 30 MW and equal to or greater than 5 MW.
Generating systems greater than 30 MW may be classified as non-scheduled if:
· the primary purpose of the generating unit is for local use and the aggregate sent-out generation rarely exceeds 30 MW, or
· it is not practicable for the generating unit to participate in central dispatch.
A generating unit that has a nameplate rating less than 30 MW may also be exempted by AEMO if it exports less than 20 GWh into the grid in a year or extenuating circumstances apply.
Measuring generation capacity
Generation capacity can be measured as either:
· as-generated capacity, representing the output measured at a generating unit’s terminals, or
· sent-out capacity, representing the output after allowing for the consumption of some energy by auxiliary equipment (used to help produce and transmit the electricity).
For more information about the basis for measuring generation.
For the purposes of the ESOO and consistent with market systems, AEMO measures scheduled and semi-scheduled generation capacity on an as-generated basis. Non-scheduled generation is measured as sent-out because it can include co-generation plants, where the bulk of the capacity is consumed by the local process.
Temperature effects on generation
The actual level of generation available at any particular time will depend on the condition of the generating plant, which includes factors such as age, outages, and wear. Another important factor with respect to output is the reduction in thermal efficiency with increasing temperature.
Temperature can affect plant generation capacities in different ways. Basing generation capacities on a region-specific reference temperature facilitates a more effective assessment of the capability of the available generation under weather conditions frequently associated with high demand.
To produce the supply-demand outlook, AEMO in consultation with the Jurisdictional Planning Bodies (JPBs):
· uses historical data to estimate the typical weather conditions, and to determine reference temperatures that are frequently associated with times of 10% probability of exceedence (POE) maximum demand in the major load centres for each region, and
· asks generators to provide generating unit capacities for summer and winter using these common reference temperatures. The table below lists the common reference temperatures AEMO applies for each region. In general, annual maximum demands occur during summer, with the exception of Tasmania, where the maximum demand periods occur during winter. The summer maximum demands in Tasmania occur during colder temperatures, resulting in a relatively low summer reference temperature.
Generation capacity reference temperatures
Region | Summer (°C) | Winter (°C)
Queensland | 37 | 15
New South Wales | 42 | 9
Victoria | 41 | 8
South Australia | 43 | 11
Tasmania | 7.7 | 1.2
Maximum capacity
Some thermal (generation that burns fuel) and non-thermal (renewable generation) generating systems can provide additional, short-term capacity that exceeds the registered capacity. This is known as maximum capacity.
Proposed generation in the NEM
In addition to capacity forecasts, generation plant owners advise AEMO about the status of generation projects currently under development in each region.
Project proposals involve a range of projects at different stages of development.
Generation is categorised as:
· existing generation, representing generation that is commissioned and operating and requires that the operator be a registered market participant
· committed projects, representing generation that is considered to be proceeding, or
· proposed projects, which are further identified as either:
- advanced proposals, representing generation at an intermediate stage of development, or
- publicly announced proposals, representing generation at an early stage of development.
Projects are categorised based on AEMO’s commitment criteria, which cover site acquisition, contracts for major components, planning approval, financing, and the date set for construction. Committed projects meet all five of the commitment criteria, advanced proposals meet at least three, and publicly announced proposals meet less than three.
Generation project commitment criteria
Category | Criteria
Site | The project proponent has purchased/settled/acquired (or commenced legal proceedings to purchase/settle/acquire) land for the construction of the project.
Major components | Contracts for the supply and construction of the major components of plant or equipment (such as generating units, turbines, boilers, transmission towers, conductors, and terminal station equipment) have been finalised and executed, including any provisions for cancellation payments.
Planning consents/construction approvals/EIS | The proponent has obtained all required planning consents, construction approvals, and licences, including completion and acceptance of any necessary environmental impact statements.
Finance | The financing arrangements for the proposal, including any debt plans, must have been concluded and contracts executed.
Final construction date set | Construction of the proposal must either have commenced or a firm commencement date must have been set.

## Existing S & SS Generation
Existing scheduled and semi-scheduled generation
Power Station | Owner | Unit Numbers and Nameplate Capacity (MW) | Installed | Plant Type | Fuel | Dispatch Type
Capacity (MW)
Bastyan | Hydro-Electric Corporation | 1 x 79.9 | 79.9 | Hydro - Gravity | Water | S
Bell Bay Three | Aurora Energy Tamar Valley Pty Ltd | 3 x 40 | 120 | OCGT | Natural Gas Pipeline | S
Catagunya / Liapootah / Wayatinah | Hydro-Electric Corporation | 2 x 24 3 x 27.9 3 x 12.8 | 170.1 | Hydro - Gravity | Water | S
Cethana | Hydro-Electric Corporation | 1 x 85 | 85 | Hydro - Gravity | Water | S
Devils Gate | Hydro-Electric Corporation | 1 x 60 | 60 | Hydro - Gravity | Water | S
Fisher | Hydro-Electric Corporation | 1 x 43.2 | 43.2 | Hydro - Gravity | Water | S
Gordon | Hydro-Electric Corporation | 3 x 144 | 432 | Hydro - Gravity | Water | S
John Butters | Hydro-Electric Corporation | 1 x 144 | 144 | Hydro - Gravity | Water | S
Lake Echo | Hydro-Electric Corporation | 1 x 32.4 | 32.4 | Hydro - Gravity | Water | S
Lemonthyme / Wilmot | Hydro-Electric Corporation | 1 x 51 1 x 30.6 | 81.6 | Hydro - Gravity | Water | S
Mackintosh | Hydro-Electric Corporation | 1 x 79.9 | 79.9 | Hydro - Gravity | Water | S
Meadowbank | Hydro-Electric Corporation | 1 x 40 | 40 | Hydro - Gravity | Water | S
Poatina | Hydro-Electric Corporation | 6 x 50 | 300 | Hydro - Gravity | Water | S
Reece | Hydro-Electric Corporation | 2 x 115.6 | 231.2 | Hydro - Gravity | Water | S
Tamar Valley Combined Cycle | Aurora Energy Tamar Valley Pty Ltd | 1 x 140 1 x 68 | 208 | CCGT | Natural Gas Pipeline | S
Tamar Valley Peaking | Aurora Energy Tamar Valley Pty Ltd | 1 x 58 | 58 | OCGT | Natural Gas Pipeline | S
Tarraleah | Hydro-Electric Corporation | 6 x 15 | 90 | Hydro - Gravity | Water | S
Trevallyn | Hydro-Electric Corporation | 2 x 26.5 | 93 | Hydro - Gravity | Water | S
Tribute | Hydro-Electric Corporation | 1 x 82.8 | 82.8 | Hydro - Gravity | Water | S
Tungatinah | Hydro-Electric Corporation | 5 x 25 | 125 | Hydro - Gravity | Water | S
Total |  |  | 2556.1

## Summer Scheduled Capacities
Summer aggregate available scheduled and semi-scheduled generation – Tasmania (MW)
Power Station | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Dispatch Type
Barcaldine | –13 | –14 | –15 | –16 | –17 | –18 | –19 | –20 | –21 | -22 | S
Bastyan | 79.9 | 79.9 | 79.9 | 79.9 | 79.9 | 79.9 | 79.9 | 0 | 79.9 | 79.9 | S
Bell Bay Three | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | S
Catagunya / Liapootah / Wayatinah | 157.3 | 131.7 | 157.3 | 157.3 | 170.1 | 90.3 | 105.4 | 170.1 | 170.1 | 170.1 | S
Cethana | 85 | 85 | 0 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | S
Devils Gate | 60 | 60 | 60 | 60 | 60 | 0 | 60 | 60 | 60 | 60 | S
Fisher | 0 | 43.2 | 43.2 | 43.2 | 0 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | S
Gordon | 432 | 432 | 432 | 432 | 288 | 432 | 432 | 432 | 432 | 432 | S
John Butters | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | S
Lake Echo | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 0 | 32.4 | 32.4 | 32.4 | S
Lemonthyme / Wilmot | 81.6 | 81.6 | 81.6 | 81.6 | 81.6 | 81.6 | 30.6 | 51 | 81.6 | 81.6 | S
Mackintosh | 79.9 | 79.9 | 79.9 | 79.9 | 79.9 | 79.9 | 79.9 | 79.9 | 0 | 79.9 | S
Meadowbank | 40 | 0 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | S
Poatina | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | S
Reece | 231.2 | 231.2 | 231.2 | 231.2 | 231.2 | 231.2 | 231.2 | 231.2 | 231.2 | 231.2 | S
Tamar Valley Combined Cycle | 208 | 208 | 208 | 208 | 208 | 208 | 208 | 208 | 208 | 208 | S
Tamar Valley Peaking | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | S
Tarraleah | 75 | 90 | 90 | 90 | 90 | 45 | 90 | 90 | 90 | 90 | S
Trevallyn | 93 | 93 | 93 | 93 | 93 | 93 | 73 | 73 | 93 | 93 | S
Tribute | 82.8 | 82.8 | 82.8 | 82.8 | 82.8 | 82.8 | 82.8 | 82.8 | 82.8 | 82.8 | S
Tungatinah | 78 | 81 | 131 | 106 | 106 | 131 | 131 | 131 | 131 | 131 | S
Commited Projects
Musselroe | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | SS
Total | 2601.1 | 2596.7 | 2627.3 | 2687.3 | 2512.9 | 2540.3 | 2557 | 2594.6 | 2645.2 | 2725.1
The table above list the latest summer capacities for Tasmanian generation. Summer conditions relate to statistically predicted contribution under 10% POE maximum conditions.
Due to the intermittent nature of wind, wind generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. AEMO refers to this as the firm contribution from wind generators during peak periods. For 2011-12 these figures have been updated to 3.5% of the installed capacity during summer, and 2.9% during winter.

## Winter Scheduled Capacities
Winter aggregate available scheduled and semi-scheduled generation – Tasmania (MW)
Project Station | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | Dispatch Type
Bastyan | 79.9 | 79.9 | 79.9 | 79.9 | 79.9 | 79.9 | 79.9 | 79.9 | 79.9 | 79.9 | S
Bell Bay Three | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | S
Catagunya / Liapootah / Wayatinah | 170.1 | 170.1 | 170.1 | 170.1 | 170.1 | 170.1 | 170.1 | 170.1 | 170.1 | 170.1 | S
Cethana | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | S
Devils Gate | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | S
Fisher | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | 43.2 | S
Gordon | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | S
John Butters | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | S
Lake Echo | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | S
Lemonthyme / Wilmot | 81.6 | 81.6 | 81.6 | 81.6 | 81.6 | 81.6 | 81.6 | 81.6 | 81.6 | 81.6 | S
Mackintosh | 79.9 | 79.9 | 79.9 | 79.9 | 79.9 | 79.9 | 79.9 | 79.9 | 79.9 | 79.9 | S
Meadowbank | 40 | 0 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | S
Poatina | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | S
Reece | 231.2 | 231.2 | 231.2 | 231.2 | 231.2 | 231.2 | 231.2 | 231.2 | 231.2 | 231.2 | S
Tamar Valley Combined Cycle | 208 | 208 | 208 | 208 | 208 | 208 | 208 | 208 | 208 | 208 | S
Tamar Valley Peaking | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | S
Tarraleah | 75 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | S
Trevallyn | 93 | 93 | 93 | 93 | 93 | 93 | 93 | 93 | 93 | 93 | S
Tribute | 82.8 | 82.8 | 82.8 | 82.8 | 82.8 | 82.8 | 82.8 | 82.8 | 82.8 | 82.8 | S
Tungatinah | 103 | 131 | 131 | 131 | 106 | 131 | 131 | 131 | 131 | 131 | S
Commited Projects
Musselroe | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | SS
Total | 2682.1 | 2685.1 | 2725.1 | 2725.1 | 2700.1 | 2725.1 | 2725.1 | 2725.1 | 2725.1 | 2725.1
The table above list the latest winter capacities for Tasmanian generation. Winter conditions relate to statistically predicted contribution under 10% POE maximum conditions.
Due to the intermittent nature of wind, wind generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. AEMO refers to this as the firm contribution from wind generators during peak periods. For 2011-12 these figures have been updated to 3.5% of the installed capacity during summer, and 2.9% during winter.

## New Developments
Projects under development – Tasmania
Project | Owner | Unit ID | Fuel Type | Generation Type | Land | Equip | Plan | Finance | Date | Unit Status | Nameplate Capacity (MW) | Dispatch Type | Commissioning Start Date
Bell Bay Pulp Mill Project | Southern Star Corporation | 1 | Wood Waste | Steam Subcritical | ü | ü |  |  |  | Pub An | 213 | S | TBA
|  | 2 | Wood Waste | Steam Subcritical | ü |  |  |  |  | Pub An | 60 | S | TBA
Cattle Hill Wind Farm | Cattle Hill Wind Farm Pty Ltd | 1-80 | Wind | Wind | ü |  |  |  |  | Pub An | 240 | SS | TBA
Granville Harbour Windfarm | Westcoast Wind Pty Ltd | 1-30 | Wind | Wind | [5 empty] | Pub An | 90 | S | TBA
Musselroe | Hydro Tasmania Wind Operations Pty Ltd | All Units | Wind | Wind | ü | ü | ü | ü | ü | Com | 168 | SS | 2013-06-30
Tungatinah (Upgrade) | Hydro-Electric Corporation | 1 | Water | Gravity Hydroelectric | ü | ü |  | ü | ü | Adv | 3 | S | 2012-08-05
|  | 2 | Water | Gravity Hydroelectric | ü |  |  |  |  | Pub An | 3 | S | TBA

## Existing NS Generation
Existing non-scheduled generation – Tasmania
Power Station | Owner | Fuel Type | Technology Type | Nameplate Capacity (MW)
Butlers Gorge | Hydro-Electric Corporation | Water | Hydro - Gravity | 14.4
Cluny | Hydro-Electric Corporation | Water | Hydro - Gravity | 17
Glenorchy | AGL | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 1.6
Hobart | AGL | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 1
Lake Margaret | Hydro-Electric Corporation | Water | Hydro - Gravity | 8.4
Lower Lake Margaret | Hydro-Electric Corporation | Water | Hydro - Gravity | 3.2
Paloona | Hydro-Electric Corporation | Water | Hydro - Gravity | 28
Remount | LMS Generation | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 2.2
Repulse | Hydro-Electric Corporation | Water | Hydro - Gravity | 28
Rowallan | Hydro-Electric Corporation | Water | Hydro - Gravity | 10.5
Tods Corner | Hydro-Electric Corporation | Water | Pump Storage | 1.2
Woolnorth Studland Bay / Bluff Point | Roaring 40s Renewable Energy Pty Ltd | Wind | Wind | 140
Total |  |  |  | 255.5