## 1 Storage_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Large Scale Storage VIC | Capacity Factor | % | 6.753 | 9.083 | 10.8947 | 11.5675 | 13.7633 | 8.2366 | 7.376 | 7.947 | 7.62 | 7.6226 | 9.8224 | 9.7487 | 9.4651 | 7.9687 | 7.8382
Large Scale Storage SA | Capacity Factor | % | 6.4046 | 6.5164 | 6.4586 | 7.9586 | 8.8211 | 6.7752 | 7.031 | 7.2923 | 7.1414 | 8.1107 | 8.0957 | 8.0698 | 8.2909 | 11.6046 | 12.108
Large Scale Storage QLD | Capacity Factor | % | 11.1135 | 9.8947 | 10.5135 | 10.8866 | 10.8407 | 11.2617 | 11.1902 | 11.4103 | 12.3954 | 13.4482 | 12.7192 | 12.519 | 12.7327 | 12.9269 | 13.0552

## 2 Generator_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Capacity Factor | % | 61.367 | 59.9489 | 55.5371 | 64.0059 | 63.1839 | 58.5404 | 62.5048 | 62.884 | 63.442 | 68.1184 | 66.8876 | 67.5068 | 68.6615 | 63.724 | 68.9424
Black Coal QLD | Capacity Factor | % | 51.7524 | 52.065 | 56.6208 | 61.523 | 60.8781 | 62.932 | 59.6316 | 55.7522 | 54.8699 | 58.1986 | 64.7577 | 62.6576 | 63.0743 | 64.9852 | 66.4913
Brown Coal VIC | Capacity Factor | % | 74.2816 | 71.5728 | 64.6032 | 65.0894 | 70.8231 | 68.3569 | 62.993 | 68.1354 | 61.8646 | 62.3316 | 66.0707 | 66.049 | 60.7468 | 71.7859 | 71.9442
Natural Gas NSW | Capacity Factor | % | 0.10993 | 0.19454 | 1.6432 | 3.2828 | 2.6314 | 3.7496 | 4.2864 | 1.9623 | 2.1968 | 6.8274 | 6.1169 | 5.8274 | 7.5015 | 12.993 | 9.8334
Natural Gas QLD | Capacity Factor | % | 6.8319 | 6.828 | 6.0511 | 5.6691 | 5.6817 | 6.2387 | 9.0457 | 7.4304 | 7.0123 | 7.2071 | 10.0466 | 11.2388 | 12.338 | 15.0369 | 13.1212
Natural Gas VIC | Capacity Factor | % | 0.16202 | 0.099781 | 0.21935 | 0.22484 | 0.1419 | 0.06473 | 0.1438 | 0.013762 | 0.040708 | 0.12901 | 0.024922 | 0.077596 | 0.16257 | 0.8219 | 0.69857
Natural Gas SA | Capacity Factor | % | 11.7317 | 11.6166 | 12.5829 | 13.4038 | 11.1254 | 8.4745 | 7.9072 | 7.791 | 7.8499 | 7.3557 | 7.2907 | 2.9215 | 3.0684 | 2.3375 | 2.2644
Natural Gas TAS | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0.011301 | 0 | 0 | 0 | 0.022603 | 0 | 0.010084 | 0 | 0 | 0
Liquid Fuel QLD | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Capacity Factor | % | 0 | 0 | 0 | 0.6311 | 0.3342 | 0 | 0 | 0 | 0.015245 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Capacity Factor | % | 32.555 | 32.5114 | 32.1766 | 32.9203 | 32.6968 | 32.064 | 32.4859 | 32.3303 | 32.1507 | 32.1422 | 31.9673 | 32.3421 | 32.5124 | 32.0274 | 32.6096
Wind QLD | Capacity Factor | % | 33.1924 | 33.1945 | 32.9196 | 33.7699 | 33.3891 | 32.7044 | 33.1659 | 32.8174 | 31.4958 | 30.4133 | 31.2617 | 32.3713 | 32.0377 | 31.3014 | 32.2402
Wind VIC | Capacity Factor | % | 33.4836 | 32.9873 | 32.1423 | 31.9935 | 32.2415 | 32.5086 | 32.8326 | 32.3842 | 32.249 | 32.0761 | 30.6379 | 30.7073 | 31.0365 | 31.6066 | 31.7765
Wind SA | Capacity Factor | % | 31.8832 | 31.7993 | 31.1813 | 30.5057 | 30.3956 | 30.943 | 30.994 | 30.844 | 30.5509 | 30.4729 | 30.3678 | 30.3527 | 30.353 | 28.0931 | 28.2589
Wind TAS | Capacity Factor | % | 36.3609 | 36.1338 | 36.313 | 36.4644 | 35.5411 | 36.0604 | 36.1442 | 36.1228 | 36.4835 | 35.004 | 35.9509 | 36.1794 | 36.2963 | 36.2658 | 36.5989
Solar NSW | Capacity Factor | % | 28.4044 | 28.3895 | 28.5404 | 28.304 | 28.4129 | 28.4509 | 28.2447 | 27.9615 | 28.0245 | 28.1888 | 28.2395 | 28.071 | 28.158 | 28.1789 | 27.7141
Solar QLD | Capacity Factor | % | 30.4689 | 30.4381 | 30.5234 | 30.4061 | 30.535 | 30.5094 | 30.4145 | 29.5978 | 26.6765 | 22.8591 | 26.0823 | 27.5769 | 26.2558 | 26.5028 | 25.9386
Solar VIC | Capacity Factor | % | 29.0817 | 29.3426 | 29.3991 | 29.0476 | 25.9345 | 27.4264 | 27.2497 | 27.1576 | 27.2566 | 26.7517 | 24.8899 | 24.6741 | 24.7817 | 24.6523 | 24.5698
Solar SA | Capacity Factor | % | 30.5475 | 30.1327 | 30.231 | 28.657 | 27.5164 | 29.0914 | 28.9762 | 28.6496 | 28.573 | 27.5095 | 27.8927 | 27.4757 | 27.3239 | 22.3714 | 22.0879
REZ Solar NSW | Capacity Factor | % | 30.6171 | 30.5974 | 30.7662 | 30.6133 | 30.6052 | 30.5902 | 30.5032 | 30.2211 | 30.2852 | 30.3999 | 30.3593 | 30.2954 | 30.3613 | 29.9863 | 29.5995
REZ Wind NSW | Capacity Factor | % | 40.5736 | 40.7275 | 40.6946 | 41.3523 | 40.3278 | 39.9966 | 40.4754 | 40.5059 | 40.6153 | 39.5878 | 39.7484 | 40.2938 | 40.815 | 40.5458 | 41.0761
REZ Solar QLD | Capacity Factor | % | 30.6636 | 30.6608 | 30.7959 | 30.4647 | 30.8296 | 30.7249 | 30.6141 | 30.5266 | 29.518 | 29.4274 | 30.1516 | 29.7129 | 30.0417 | 29.9279 | 29.3493
REZ Wind QLD | Capacity Factor | % | 2027: 44.1868; 2028: 43.4998; 2029: 41.5444; 2030: 43.4904; 2031: 43.7901; 2032: 43.261; 2033: 42.8902; 2034: 42.5674
REZ Solar SA | Capacity Factor | % | 30.8143 | 30.4772 | 30.6155 | 29.9648 | 30.2835 | 29.8238 | 28.7187 | 28.5983 | 28.6918 | 28.6898 | 28.6644 | 28.5291 | 28.4021 | 26.0238 | 25.7549
REZ Wind TAS | Capacity Factor | % | 51.6813 | 51.6441 | 51.5326 | 51.727 | 50.5567 | 51.0763 | 51.3501 | 51.6441 | 51.6416 | 49.9247 | 50.9968 | 51.5014 | 51.7702 | 51.5326 | 51.9386
Hydro NSW | Capacity Factor | % | 19.6379 | 19.6826 | 20.3508 | 21.3947 | 21.2242 | 21.1767 | 21.4842 | 21.2665 | 21.6982 | 22.5132 | 21.9529 | 22.583 | 22.8859 | 24.3331 | 24.3988
Hydro QLD | Capacity Factor | % | 38.1428 | 38.2345 | 38.6806 | 39.4722 | 39.5828 | 39.6398 | 40.7714 | 40.828 | 41.2747 | 41.6745 | 41.6877 | 42.3881 | 42.4521 | 42.4258 | 42.2961
Hydro VIC | Capacity Factor | % | 15.3526 | 15.2788 | 15.3308 | 15.3863 | 15.446 | 15.499 | 15.5619 | 15.3708 | 15.5354 | 15.5278 | 15.7573 | 15.4687 | 15.3958 | 15.3529 | 15.4253
Hydro TAS | Capacity Factor | % | 52.7381 | 51.0795 | 52.3117 | 52.1446 | 52.3467 | 52.0242 | 52.2002 | 52.4432 | 52.599 | 52.0415 | 52.2818 | 52.3102 | 52.151 | 51.6902 | 51.9721
Large Scale Storage SA | Capacity Factor | % | 6.4046 | 6.5164 | 6.4586 | 7.9586 | 8.8211 | 6.7752 | 7.031 | 7.2923 | 7.1414 | 8.1107 | 8.0957 | 8.0698 | 8.2909 | 11.6046 | 12.108
Large Scale Storage QLD | Capacity Factor | % | 11.1135 | 9.8947 | 10.5135 | 10.8866 | 10.8407 | 11.2617 | 11.1902 | 11.4103 | 12.3954 | 13.4482 | 12.7192 | 12.519 | 12.7327 | 12.9269 | 13.0552
Large Scale Storage VIC | Capacity Factor | % | 6.753 | 9.083 | 10.8947 | 11.5675 | 13.7633 | 8.2366 | 7.376 | 7.947 | 7.62 | 7.6226 | 9.8224 | 9.7487 | 9.4651 | 7.9687 | 7.8382
Distributed Storage NSW | Capacity Factor | % | 0.38969 | 0.45506 | 0.50183 | 0.44062 | 0.15068 | 0.30117 | 0.27311 | 0.062925 | 0.083356 | 0.053788 | 0.04748 | 0.089494 | 0.077078 | 0.20014 | 0.25846
Distributed Storage QLD | Capacity Factor | % | 9.6817 | 9.735 | 9.4779 | 9.3596 | 9.4705 | 9.5863 | 9.6783 | 9.8412 | 10.9194 | 12.563 | 11.5944 | 11.2138 | 11.4897 | 11.4581 | 11.2585
Distributed Storage SA | Capacity Factor | % | 15.6745 | 15.8303 | 15.8129 | 17.2152 | 16.9248 | 13.694 | 13.5379 | 13.3307 | 13.316 | 14.4861 | 13.6743 | 13.4856 | 13.6919 | 16.2703 | 15.8561
Distributed Storage TAS | Capacity Factor | % | 0.38356 | 0.45508 | 0.6276 | 0.5776 | 0.27382 | 0.46302 | 0.411 | 0.1412 | 0.17276 | 0.13004 | 0.23372 | 0.22291 | 0.26435 | 0.62039 | 0.7543
Distributed Storage VIC | Capacity Factor | % | 13.7679 | 13.8839 | 13.7993 | 14.1683 | 14.837 | 15.5341 | 14.3412 | 14.5685 | 14.6456 | 14.0166 | 16.6869 | 16.4692 | 15.9082 | 13.4646 | 12.9896
New Natural Gas NSW | Capacity Factor | % |  |  |  | 1.4427 | 0.63934 | 0.99556 | 0.97544 | 0.45368 | 0.57197 | 1.8251 | 1.2625 | 3.2881 | 4.7188 | 11.055 | 6.2168
New Natural Gas VIC | Capacity Factor | % |  |  |  | 1.4338 | 0.75811 | 0.2688 | 0.69262 | 0.47276 | 0.75753 | 0.6941 | 0.23454 | 0.33001 | 0.82658 | 5.1592 | 4.3801
New Natural Gas SA | Capacity Factor | % |  |  |  |  | 15.3749 | 8.2122 | 7.773 | 8.0894 | 8.1707 | 8.2652 | 7.7693 | 17.4119 | 17.7862 | 12.3692 | 12.4784
Pumped Hydro SA | Capacity Factor | % | [5 empty] | 17.7582 | 17.951 | 17.503 | 17.9728 | 18.8962 | 18.7413 | 18.889 | 19.1298 | 20.0135 | 20.2533
Pumped Hydro NSW | Capacity Factor | % | [5 empty] | 18.8418 | 19.912 | 18.4701 | 18.9243 | 21.4204 | 20.3603 | 21.7029 | 22.3455 | 23.2947 | 23.5763
Pumped Hydro QLD | Capacity Factor | % | 2029: 23.9083; 2030: 24.2314; 2031: 24.4659; 2032: 24.5036; 2033: 24.6886; 2034: 24.6803
Pumped Hydro VIC | Capacity Factor | % | 2033: 20.849; 2034: 21.1082

## 3 Generator_GenerationCost
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation Cost | $000 | 1133375.1582 | 1132871.3183 | 1130131.3915 | 1173687.3677 | 1158596.2799 | 1165056.1254 | 1307033.2504 | 1300928.4559 | 1419745.5938 | 1328007.7787 | 1355137.3593 | 1410134.0359 | 1457517.5198 | 1376542.4463 | 1511230.9716
Black Coal QLD | Black Coal | QLD | Generation Cost | $000 | 919049.7661 | 942245.9662 | 1034780.7043 | 1144170.2475 | 1144747.0934 | 1198845.6092 | 1144058.1798 | 1084474.3541 | 1115671.3369 | 1194486.2614 | 994470.5818 | 977674.0264 | 1040237.3922 | 1070613.1231 | 1104597.448
Brown Coal VIC | Brown Coal | VIC | Generation Cost | $000 | 319825.9477 | 309951.9328 | 283817.705 | 286793.6646 | 309954.7772 | 300546.6632 | 274315.2341 | 301054.8011 | 273233.6087 | 273948.6905 | 295783.2764 | 298236.352 | 278400.7193 | 214488.3626 | 214963.2413
Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 1788.8472 | 3241.904 | 28156.5126 | 55390.7714 | 43874.2232 | 59476.5129 | 68144.9483 | 30978.2147 | 34441.5441 | 103196.3998 | 100031.5667 | 89731.2778 | 114048.1894 | 184697.4615 | 143877.5255
Natural Gas QLD | Natural Gas | QLD | Generation Cost | $000 | 206182.7024 | 206240.3343 | 176723.8649 | 144768.4512 | 129925.9474 | 125000.3368 | 154638.0065 | 129161.9066 | 121799.2944 | 123610.1813 | 205029.2321 | 242056.5185 | 265093.9027 | 324673.5116 | 280740.1885
Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 6809.1715 | 4738.184 | 10439.458 | 7524.9712 | 3336.5502 | 1239.5555 | 2465.9307 | 340.4463 | 1203.3982 | 2624.7266 | 1029.2848 | 1455.8456 | 2119.297 | 12886.5614 | 9335.6139
Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 436832.6498 | 432957.2984 | 441843.4535 | 401432.9234 | 174716.2367 | 137709.2987 | 124678.3536 | 118733.8641 | 125485.059 | 118632.7632 | 117711.1452 | 78889.0271 | 80486.5013 | 64267.8614 | 62214.6582
Natural Gas TAS | Natural Gas | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 21.5652 | 0 | 0 | 0 | 41.2616 | 0 | 18.052 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation Cost | $000 | 0 | 0 | 0 | 7048.347 | 3620.0782 | 0 | 0 | 0 | 160.8655 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | Generation Cost | $000 | 24056.5387 | 24588.7768 | 27690.654 | 34255.7375 | 32170.7999 | 32689.0808 | 35386.9214 | 33741.7897 | 37338.995 | 44680.7236 | 39567.0982 | 44677.1765 | 45318.7372 | 58834.1242 | 58710.2345
Hydro QLD | Hydro | QLD | Generation Cost | $000 | 6783.0639 | 7107.5446 | 8512.788 | 11163.1252 | 11091.1916 | 11675.0253 | 15047.4942 | 15218.3085 | 16357.8853 | 17685.8874 | 17897.2352 | 20147.6714 | 20063.3361 | 20187.2589 | 19510.6453
Hydro VIC | Hydro | VIC | Generation Cost | $000 | 22583.4846 | 22425.5273 | 22466.4558 | 22713.6819 | 22725.7718 | 23007.962 | 23072.6385 | 22666.2568 | 22904.1259 | 22978.834 | 23439.2059 | 22945.8329 | 22709.8003 | 22518.4276 | 22643.3102
Hydro TAS | Hydro | TAS | Generation Cost | $000 | 62323.9046 | 62348.5947 | 62423.3592 | 62236.1348 | 62367.4423 | 62306.4788 | 62278.0019 | 62338.4512 | 62452.0018 | 62292.9511 | 62338.7869 | 62284.3421 | 62331.9692 | 62212.13 | 62492.7491
Large Scale Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 0 | 0 | 0 | 12268.8607 | 12237.0136 | 18539.6986 | 17677.3899 | 7986.9065 | 10069.3047 | 32130.4838 | 22225.3168 | 57886.588 | 85937.8354 | 201330.9923 | 113218.3675
New Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 0 | 0 | 0 | 4784.2828 | 5940.04 | 2052.2486 | 5153.8672 | 3426.288 | 5490.1611 | 5078.4899 | 1716.0528 | 2432.7981 | 6093.5242 | 38033.4652 | 32289.9088
New Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 112146.7106 | 69713.2835 | 63933.0748 | 64399.7988 | 65047.0024 | 67026.5354 | 63005.3543 | 141201.9924 | 149079.1521 | 103675.2084 | 104590.7837
Pumped Hydro SA | Hydro | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 11058.6229 | 13452.3293 | 13122.8321 | 13465.0419 | 14159.7728 | 15290.3644 | 15418.992 | 15891.3482 | 26490.3217 | 26830.1753
Pumped Hydro NSW | Hydro | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 2906.8398 | 3070.1864 | 2847.4307 | 2917.588 | 3539.1586 | 11028.7817 | 11757.4309 | 16023.2056 | 26509.3025 | 26826.4499
Pumped Hydro QLD | Hydro | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6369.4064 | 21502.5875 | 21710.9821 | 21744.4809 | 21911.0412 | 21901.568
Pumped Hydro VIC | Hydro | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8934.9927 | 9046.2809

## 4 Installed Capacity
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Installed Capacity | MW | 10040 | 10040 | 10040 | 8240 | 8240 | 8240 | 8240 | 8240 | 8240 | 6920 | 6920 | 6920 | 6920 | 6920 | 6920
Black Coal QLD | Black Coal | QLD | Installed Capacity | MW | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 6499 | 6499 | 6499 | 6499 | 6499
Brown Coal VIC | Brown Coal | VIC | Installed Capacity | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006
Natural Gas QLD | Natural Gas | QLD | Installed Capacity | MW | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039
Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 1985 | 1985 | 1985
Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 2671.1 | 2671.1 | 2431.1 | 2431.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1
Natural Gas TAS | Natural Gas | TAS | Installed Capacity | MW | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163
Liquid Fuel NSW | Liquid Fuel | NSW | Installed Capacity | MW | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Liquid Fuel QLD | Liquid Fuel | QLD | Installed Capacity | MW | 457.5 | 457.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5
Liquid Fuel SA | Liquid Fuel | SA | Installed Capacity | MW | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2
Wind NSW | Wind | NSW | Installed Capacity | MW | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500
Wind QLD | Wind | QLD | Installed Capacity | MW | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676
Wind VIC | Wind | VIC | Installed Capacity | MW | 2914 | 3730 | 4240 | 4240 | 4640 | 5040 | 5040 | 5040 | 5340 | 5340 | 5740 | 5740 | 5740 | 5740 | 5740
Wind SA | Wind | SA | Installed Capacity | MW | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052
Wind TAS | Wind | TAS | Installed Capacity | MW | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420
Solar NSW | Solar | NSW | Installed Capacity | MW | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446
Solar QLD | Solar | QLD | Installed Capacity | MW | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5
Solar VIC | Solar | VIC | Installed Capacity | MW | 702 | 702 | 702 | 702 | 997 | 1407 | 1407 | 1407 | 1507 | 1507 | 1707 | 1707 | 1707 | 1707 | 1707
Solar SA | Solar | SA | Installed Capacity | MW | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320
REZ Solar NSW | Solar | NSW | Installed Capacity | MW | 1232 | 1232 | 1232 | 1232 | 1314 | 1314 | 1314 | 1314 | 1314 | 1314 | 1414 | 1414 | 1414 | 3033 | 3033
REZ Wind NSW | Wind | NSW | Installed Capacity | MW | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135
REZ Solar QLD | Solar | QLD | Installed Capacity | MW | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 1535.7 | 2270.7 | 2947.7 | 3767.7 | 4452.7 | 4452.7 | 4452.7 | 4452.7 | 4452.7
REZ Wind QLD | Wind | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 276 | 503 | 631 | 631 | 631 | 631 | 631
REZ Solar SA | Solar | SA | Installed Capacity | MW | 166 | 166 | 166 | 490 | 490 | 842 | 970 | 970 | 970 | 1096 | 1096 | 1096 | 1096 | 2056 | 2056
REZ Wind TAS | Wind | TAS | Installed Capacity | MW | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 190 | 190 | 190 | 331 | 331
Hydro NSW | Hydro | NSW | Installed Capacity | MW | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862
Hydro QLD | Hydro | QLD | Installed Capacity | MW | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4
Hydro VIC | Hydro | VIC | Installed Capacity | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219
Hydro TAS | Hydro | TAS | Installed Capacity | MW | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7
Large Scale Storage SA | Battery | SA | Installed Capacity | MW | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
Large Scale Storage QLD | Battery | QLD | Installed Capacity | MW | 3.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4
Large Scale Storage VIC | Battery | VIC | Installed Capacity | MW | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
Distributed Storage NSW | Battery | NSW | Installed Capacity | MW | 25.1568 | 56.0691 | 95.8798 | 142.8159 | 196.0542 | 253.9814 | 314.6069 | 377.6072 | 442.051 | 507.2804 | 573.3688 | 634.0407 | 687.346 | 739.0638 | 803.9992
Distributed Storage QLD | Battery | QLD | Installed Capacity | MW | 13.6923 | 30.9345 | 51.8416 | 75.3569 | 100.2728 | 126.2546 | 152.7033 | 179.8653 | 207.739 | 236.1665 | 265.0381 | 294.2611 | 323.755 | 353.0294 | 397.184
Distributed Storage SA | Battery | SA | Installed Capacity | MW | 4.6986 | 10.6141 | 18.2709 | 27.3616 | 37.6467 | 49.2016 | 61.6345 | 74.7964 | 88.5706 | 102.8717 | 117.6225 | 132.3793 | 146.6603 | 160.356 | 183.121
Distributed Storage TAS | Battery | TAS | Installed Capacity | MW | 1.1074 | 2.4017 | 3.9644 | 5.8927 | 7.4173 | 8.7301 | 9.7122 | 10.6559 | 11.4994 | 12.2389 | 12.9664 | 13.6654 | 14.3392 | 14.99 | 15.7718
Distributed Storage VIC | Battery | VIC | Installed Capacity | MW | 15.5741 | 34.1933 | 54.664 | 76.9652 | 100.4807 | 125.6983 | 151.7562 | 178.5289 | 205.3924 | 232.5471 | 260.3066 | 288.6046 | 317.3904 | 346.1144 | 386.7479
New Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 0 | 0 | 0 | 860 | 1988 | 1988 | 1988 | 1988 | 1988 | 1988 | 1988 | 1988 | 1988 | 1988 | 1988
New Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 0 | 0 | 0 | 320 | 770 | 770 | 770 | 770 | 770 | 770 | 770 | 770 | 770 | 770 | 770
New Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 750 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900
Pumped Hydro SA | Hydro | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 621 | 748 | 748 | 748 | 748 | 814 | 814 | 829 | 1322 | 1322
Pumped Hydro NSW | Hydro | NSW | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 154 | 154 | 154 | 154 | 165 | 541 | 541 | 716 | 1136 | 1136
Pumped Hydro QLD | Hydro | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 266 | 886 | 886 | 886 | 886 | 886
Pumped Hydro VIC | Hydro | VIC | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 428 | 428

## 5 Generator_SRMC
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | SRMC | $/MWh | 20.1176 | 20.8684 | 21.2403 | 23.3948 | 24.029 | 25.1858 | 25.9795 | 26.8147 | 28.7876 | 29.5429 | 30.791 | 31.7357 | 32.2089 | 32.7015 | 33.2508
Black Coal QLD | Black Coal | QLD | SRMC | $/MWh | 21.7667 | 22.3234 | 22.5691 | 22.8742 | 23.1876 | 23.6416 | 24.0684 | 24.4436 | 25.2255 | 25.9959 | 23.8432 | 24.2534 | 24.9436 | 25.5992 | 25.8737
Brown Coal VIC | Brown Coal | VIC | SRMC | $/MWh | 8.2968 | 8.3525 | 8.3525 | 8.4082 | 8.4819 | 8.4819 | 8.4819 | 8.5376 | 8.6112 | 8.6112 | 8.6669 | 8.7405 | 8.7405 | 8.4674 | 8.4674
Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh | 99.7281 | 99.7281 | 99.7281 | 96.6123 | 93.4965 | 90.4065 | 87.2564 | 87.2564 | 86.0142 | 87.2907 | 87.2907 | 91.6272 | 91.6272 | 91.6272 | 91.6272
Natural Gas QLD | Natural Gas | QLD | SRMC | $/MWh | 85.8312 | 83.2559 | 90.6957 | 68.9617 | 73.1145 | 67.6428 | 62.1571 | 64.9283 | 63.5192 | 53.4295 | 71.0886 | 70.7418 | 79.0123 | 79.0123 | 68.9303
Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh | 145.6956 | 121.7153 | 136.1238 | 113.2925 | 114.4682 | 118.1456 | 104.519 | 103.0627 | 102.2083 | 103.5562 | 105.3938 | 105.3938 | 105.3852 | 106.357 | 106.357
Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | 115.6488 | 113.9409 | 116.0839 | 113.1939 | 123.5368 | 120.492 | 117.5568 | 117.563 | 117.8069 | 117.8069 | 117.8069 | 120.4299 | 121.0926 | 121.0926 | 121.0926
Natural Gas TAS | Natural Gas | TAS | SRMC | $/MWh
Liquid Fuel NSW | Liquid Fuel | NSW | SRMC | $/MWh | 2025: 420.6241; 2029: 401.9371; 2031: 393.9627
Liquid Fuel QLD | Liquid Fuel | QLD | SRMC | $/MWh
Liquid Fuel SA | Liquid Fuel | SA | SRMC | $/MWh | 2023: 444.6359; 2024: 438.1292; 2028: 413.6716
Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | SRMC | $/MWh | 2027: 0; 2028: 0; 2029: 0; 2030: 0; 2031: 0; 2032: 0; 2033: 0; 2034: 0
REZ Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | SRMC | $/MWh | 0.0093315 | 0.009435 | 0.0097983 | 0.010385 | 0.0102 | 0.010267 | 0.010456 | 0.010342 | 0.010569 | 0.010868 | 0.010685 | 0.010882 | 0.010887 | 0.011204 | 0.011208
Hydro QLD | Hydro | QLD | SRMC | $/MWh | 0.0098374 | 0.0098429 | 0.0098527 | 0.00985 | 0.0098593 | 0.0098584 | 0.0098526 | 0.0098573 | 0.0098573 | 0.0098571 | 0.0098572 | 0.0098599 | 0.0098543 | 0.0098538 | 0.0098547
Hydro VIC | Hydro | VIC | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Hydro TAS | Hydro | TAS | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Large Scale Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh |  |  |  | 101.6118 | 98.6683 | 95.7248 | 92.8828 | 89.9393 | 89.9393 | 89.9393 | 89.9393 | 89.9393 | 93.3903 | 93.3903 | 93.3903
New Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh |  |  |  | 107.7018 | 104.8598 | 101.9163 | 99.0743 | 96.2323 | 96.2323 | 97.2473 | 97.2473 | 98.0593 | 98.0593 | 98.0593 | 98.0593
New Natural Gas SA | Natural Gas | SA | SRMC | $/MWh |  |  |  |  | 97.552 | 94.304 | 91.056 | 87.808 | 87.808 | 89.635 | 89.635 | 89.635 | 92.9845 | 92.9845 | 92.9845
Pumped Hydro SA | Hydro | SA | SRMC | $/MWh | [5 empty] | 0.011447 | 0.011437 | 0.011442 | 0.011434 | 0.011436 | 0.011442 | 0.011448 | 0.011439 | 0.01143 | 0.011439
Pumped Hydro NSW | Hydro | NSW | SRMC | $/MWh | [5 empty] | 0.011436 | 0.011429 | 0.011428 | 0.011428 | 0.011431 | 0.01143 | 0.011431 | 0.011433 | 0.011436 | 0.011434
Pumped Hydro QLD | Hydro | QLD | SRMC | $/MWh | 2029: 0.011433; 2030: 0.011433; 2031: 0.011434; 2032: 0.011434; 2033: 0.011435; 2034: 0.011434
Pumped Hydro VIC | Hydro | VIC | SRMC | $/MWh | 2033: 0.01143; 2034: 0.011431

## 6 Generator_Generation
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation | GWh | 52511.0037 | 51183.47 | 49144.2773 | 46033.5353 | 45312.184 | 42167.3826 | 45179.2794 | 45237.4825 | 45654.5803 | 41164.0119 | 40404.2758 | 40787.4203 | 41502.3983 | 38491.3382 | 41685.3236
Black Coal QLD | Black Coal | QLD | Generation | GWh | 39554.8164 | 39769.8037 | 42652.1624 | 45999.9739 | 45615.6255 | 46914.1539 | 44354.8944 | 41742.5941 | 41102.1043 | 42893.3344 | 37311.157 | 35783.2303 | 36109.6781 | 37180.7425 | 38152.0802
Brown Coal VIC | Brown Coal | VIC | Generation | GWh | 31432.8504 | 30337.008 | 27954.0576 | 28128.6085 | 29886.1459 | 29037.7287 | 26413.1316 | 28966.239 | 25911.3188 | 25957.3722 | 28075.8409 | 28052.7093 | 26358.8947 | 20636.8189 | 20682.4742
Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 18.884 | 35.221 | 290.6662 | 597.9372 | 501.5387 | 682.533 | 816.8712 | 374.4047 | 411.8162 | 1214.7161 | 1202.991 | 1141.6051 | 1443.7501 | 2265.9196 | 1797.4249
Natural Gas QLD | Natural Gas | QLD | Generation | GWh | 2014.2099 | 2016.3044 | 1794.8021 | 1692.8122 | 1661.3789 | 1784.6237 | 2501.9402 | 2084.4138 | 1967.5163 | 2007.3442 | 2767.0377 | 3255.0749 | 3598.937 | 4453.0501 | 3835.5482
Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 51.5914 | 35.2424 | 80.3306 | 60.0516 | 27.4457 | 10.3942 | 21.4054 | 2.9398 | 10.3576 | 22.7494 | 8.6737 | 12.4928 | 18.4518 | 111.5195 | 81.2126
Natural Gas SA | Natural Gas | SA | Generation | GWh | 5453.5093 | 5403.1789 | 5503.7494 | 4816.653 | 1830.6921 | 1540.1122 | 1439.2631 | 1358.9145 | 1381.8374 | 1309.7655 | 1301.0147 | 917.9627 | 932.5078 | 755.2086 | 729.4291
Natural Gas TAS | Natural Gas | TAS | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0.0495 | 0 | 0 | 0 | 0.099 | 0 | 0.044166 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation | GWh | 0 | 0 | 0 | 14.9258 | 7.7643 | 0 | 0 | 0 | 0.36532 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation | GWh | 4266.9116 | 4261.3847 | 4215.353 | 4310.8659 | 4286.3588 | 4203.1657 | 4257.7568 | 4239.04 | 4214.7576 | 4220.3631 | 4193.2624 | 4242.8279 | 4261.002 | 4197.8468 | 4276.683
Wind QLD | Wind | QLD | Generation | GWh | 1965.575 | 1965.6988 | 1949.4327 | 1999.7754 | 1977.3336 | 1936.6756 | 1964.0654 | 1949.6162 | 1883.2976 | 1818.2186 | 1860.8481 | 1923.2255 | 1904.9314 | 1857.1216 | 1920.5229
Wind VIC | Wind | VIC | Generation | GWh | 8448.8787 | 10621.0576 | 11746.686 | 11667.0335 | 12832.227 | 14455.3769 | 14606.3216 | 14399.6916 | 15427.5552 | 15285.6608 | 15779.8319 | 15844.9917 | 15969.8025 | 16260.5887 | 16318.0408
Wind SA | Wind | SA | Generation | GWh | 5835.4977 | 5815.3054 | 5699.2827 | 5585.753 | 5557.8929 | 5671.9117 | 5684.1039 | 5656.2342 | 5604.2665 | 5589.0993 | 5569.746 | 5570.8223 | 5568.5745 | 5161.7348 | 5194.0936
Wind TAS | Wind | TAS | Generation | GWh | 1337.7631 | 1329.3809 | 1335.9291 | 1341.2977 | 1307.5682 | 1326.6484 | 1329.7112 | 1328.8924 | 1342.1803 | 1287.7798 | 1322.4502 | 1330.8611 | 1335.2494 | 1333.8463 | 1345.8168
Solar NSW | Solar | NSW | Generation | GWh | 1094.5214 | 1093.82 | 1099.9014 | 1090.7931 | 1094.7569 | 1096.6268 | 1088.5395 | 1076.5059 | 1077.1311 | 1084.609 | 1087.7188 | 1081.2504 | 1085.1308 | 1084.647 | 1066.6556
Solar QLD | Solar | QLD | Generation | GWh | 3245.097 | 3242.2924 | 3250.8227 | 3240.0081 | 3252.2306 | 3249.4527 | 3239.7345 | 3166.6153 | 2875.9742 | 2474.9337 | 2790.6765 | 2935.5759 | 2807.5528 | 2826.6571 | 2773.2294
Solar VIC | Solar | VIC | Generation | GWh | 1801.9949 | 1812.5286 | 1810.18 | 1788.5438 | 2180.1228 | 3303.5255 | 3296.0654 | 3272.0925 | 3539.5456 | 3458.0695 | 3653.3322 | 3621.7834 | 3648.7469 | 3724.3886 | 3722.414
Solar SA | Solar | SA | Generation | GWh | 855.651 | 845.0724 | 848.9139 | 805.2991 | 799.6549 | 817.8181 | 814.9141 | 806.6895 | 805.3428 | 775.9249 | 786.7874 | 775.1023 | 769.2606 | 631.3803 | 624.1475
REZ Solar NSW | Solar | NSW | Generation | GWh | 3308.873 | 3309.2204 | 3326.1999 | 3315.5585 | 3532.7723 | 3529.571 | 3523.5937 | 3499.0956 | 3518.9724 | 3529.2646 | 3770.5068 | 3762.865 | 3772.2602 | 7957.7574 | 7895.3402
REZ Wind NSW | Wind | NSW | Generation | GWh | 479.8232 | 481.6438 | 481.254 | 489.0318 | 476.9161 | 472.9992 | 478.662 | 479.0225 | 480.3166 | 468.1649 | 470.0645 | 476.5149 | 482.6777 | 479.4946 | 485.7665
REZ Solar QLD | Solar | QLD | Generation | GWh | 1797.1432 | 1797.3783 | 1803.9259 | 1785.8335 | 1806.5204 | 1800.4 | 4124.0057 | 6100.5903 | 7881.7316 | 9870.8071 | 11796.2753 | 11649.3368 | 11759.5762 | 11732.0992 | 11515.4686
REZ Wind QLD | Wind | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 352.2391 | 1051.7196 | 1841.8657 | 2416.8456 | 2437.7059 | 2402.6999 | 2390.846 | 2368.8688
REZ Solar SA | Solar | SA | Generation | GWh | 445.8931 | 441.2262 | 442.6742 | 1299.995 | 1327.0753 | 2275.9381 | 2614.2037 | 2616.5555 | 2612.5513 | 2900.2882 | 2878.7264 | 2873.5841 | 2864.0449 | 4877.0935 | 4845.1124
REZ Wind TAS | Wind | TAS | Generation | GWh | 651.9291 | 651.4599 | 650.0528 | 652.5051 | 637.7429 | 644.297 | 647.7505 | 651.4599 | 651.4275 | 629.7705 | 848.7903 | 857.1901 | 861.6638 | 1494.2186 | 1505.9916
Hydro NSW | Hydro | NSW | Generation | GWh | 3171.0456 | 3199.2712 | 3378.1273 | 3757.0145 | 3641.7886 | 3660.1571 | 3815.2348 | 3719.9745 | 3927.0193 | 4340.765 | 4049.9365 | 4333.9711 | 4379.2583 | 5139.1851 | 5137.5469
Hydro QLD | Hydro | QLD | Generation | GWh | 758.9753 | 777.4736 | 856.7209 | 1006.5964 | 1003.4582 | 1034.8919 | 1227.2018 | 1236.9262 | 1302.3693 | 1377.3028 | 1388.1801 | 1514.8362 | 1512.3569 | 1518.5849 | 1481.134
Hydro VIC | Hydro | VIC | Generation | GWh | 3109.548 | 3087.7986 | 3093.4341 | 3127.475 | 3129.1396 | 3167.9948 | 3176.9002 | 3120.945 | 3153.6975 | 3163.9841 | 3227.3733 | 3159.4401 | 3126.9405 | 3100.5902 | 3117.7854
Hydro TAS | Hydro | TAS | Generation | GWh | 8581.4556 | 8584.8552 | 8595.1496 | 8569.3704 | 8587.4503 | 8579.0562 | 8575.1352 | 8583.4585 | 8599.0934 | 8577.1935 | 8583.5047 | 8576.0082 | 8582.566 | 8566.0652 | 8604.704
Large Scale Storage SA | Battery | SA | Generation | GWh | 89.4661 | 91.2472 | 90.5749 | 107.2683 | 116.0754 | 90.669 | 93.4284 | 95.1881 | 93.859 | 105.8009 | 105.1626 | 104.3036 | 107.2398 | 145.0245 | 149.7598
Large Scale Storage QLD | Battery | QLD | Generation | GWh | 3.1438 | 71.4137 | 75.4312 | 78.6674 | 78.0796 | 80.9366 | 80.3211 | 83.1191 | 93.5397 | 106.2634 | 98.8448 | 97.274 | 99.6679 | 100.7319 | 101.7645
Large Scale Storage VIC | Battery | VIC | Generation | GWh | 60.1231 | 76.956 | 91.337 | 97.2514 | 116.5367 | 74.0348 | 66.2471 | 71.5572 | 68.6336 | 68.7599 | 89.1743 | 88.7195 | 85.904 | 72.1298 | 71.0313
Distributed Storage NSW | Battery | NSW | Generation | GWh | 0.85878 | 2.2351 | 4.2149 | 5.5125 | 2.5878 | 6.7006 | 7.5269 | 2.0815 | 3.2279 | 2.3902 | 2.3848 | 4.9707 | 4.641 | 12.9577 | 18.2031
Distributed Storage QLD | Battery | QLD | Generation | GWh | 11.6127 | 26.3805 | 43.0424 | 61.7852 | 83.1882 | 106.0239 | 129.465 | 155.0605 | 198.7104 | 259.9056 | 269.1906 | 289.0619 | 325.8587 | 354.3452 | 391.7213
Distributed Storage SA | Battery | SA | Generation | GWh | 6.4516 | 14.719 | 25.3091 | 41.2628 | 55.8154 | 59.022 | 73.0935 | 87.3452 | 103.3158 | 130.5424 | 140.8962 | 156.3845 | 175.9056 | 228.5524 | 254.3546
Distributed Storage TAS | Battery | TAS | Generation | GWh | 0.037208 | 0.095745 | 0.21795 | 0.29816 | 0.17791 | 0.3541 | 0.34967 | 0.1318 | 0.17403 | 0.13942 | 0.26547 | 0.26684 | 0.33205 | 0.81464 | 1.0422
Distributed Storage VIC | Battery | VIC | Generation | GWh | 18.7833 | 41.5869 | 66.0788 | 95.5248 | 130.5972 | 171.0488 | 190.6502 | 227.8394 | 263.509 | 285.5348 | 380.5098 | 416.3693 | 442.3011 | 408.2417 | 440.0754
New Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 0 | 0 | 0 | 108.6891 | 111.3396 | 173.3754 | 169.8718 | 79.008 | 99.6074 | 317.8407 | 219.8569 | 572.6248 | 821.7759 | 1925.2167 | 1082.6445
New Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 0 | 0 | 0 | 40.1933 | 51.1362 | 18.1313 | 46.7186 | 31.8883 | 51.0967 | 46.8186 | 15.8203 | 22.2596 | 55.7546 | 347.9989 | 295.4464
New Natural Gas SA | Natural Gas | SA | Generation | GWh | 0 | 0 | 0 | 0 | 1010.129 | 647.4494 | 612.8245 | 637.7682 | 644.1777 | 651.6268 | 612.5332 | 1372.7549 | 1402.2611 | 975.1848 | 983.7968
Pumped Hydro SA | Hydro | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 966.0396 | 1176.2324 | 1146.8817 | 1177.6643 | 1238.1721 | 1336.3735 | 1346.9085 | 1389.2169 | 2317.7081 | 2345.478
Pumped Hydro NSW | Hydro | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 254.1838 | 268.6213 | 249.1694 | 255.2958 | 309.611 | 964.9055 | 1028.534 | 1401.5454 | 2318.135 | 2346.1586
Pumped Hydro QLD | Hydro | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 557.1008 | 1880.6857 | 1898.8835 | 1901.8088 | 1916.1749 | 1915.5262
Pumped Hydro VIC | Hydro | VIC | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 781.6856 | 791.4037

## 7 REZ_CapacityBuilt
REZ | Category | Property | Units | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
REZ Solar NSW | Solar | Capacity Change | MW | 0 | 0 | 0 | 82 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 1619 | 0
REZ Wind NSW | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 866 | 735 | 677 | 820 | 685 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 185 | 227 | 128 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | Capacity Change | MW | 0 | 0 | 324 | 0 | 352 | 128 | 0 | 0 | 126 | 0 | 0 | 0 | 960 | 0
REZ Wind TAS | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | 0 | 0 | 141 | 0
REZ Wind VIC | Wind | Capacity Change | MW | 816 | 510 | 0 | 400 | 400 | 0 | 0 | 300 | 0 | 400 | 0 | 0 | 0 | 0
REZ Solar VIC | Solar | Capacity Change | MW | 0 | 0 | 0 | 295 | 410 | 0 | 0 | 100 | 0 | 200 | 0 | 0 | 0 | 0

## 8 Generator_VOM
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Biomass NSW | Biomass | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Black Coal NSW | Black Coal | NSW | VO&M Cost | $000 | 57240.439 | 55793.2652 | 53619.0494 | 50303.5347 | 49466.2683 | 46018.5635 | 49319.7601 | 49399.1715 | 49853.7913 | 45005.2936 | 44173.7609 | 44593.1259 | 45375.4779 | 42122.7621 | 45575.5814
Black Coal QLD | Black Coal | QLD | VO&M Cost | $000 | 79985.582 | 80858.5161 | 87445.5718 | 97052.7495 | 96442.0555 | 99911.2539 | 89752.4415 | 84818.7606 | 89532.0033 | 89310.7525 | 85885.8991 | 86192.6893 | 81435.9793 | 88565.3668 | 89323.9781
Brown Coal VIC | Brown Coal | VIC | VO&M Cost | $000 | 35613.052 | 34370.2003 | 31646.4264 | 31845.5455 | 33867.866 | 32897.0884 | 29966.0245 | 32814.7224 | 29357.2279 | 29412.7364 | 31808.061 | 31782.3589 | 29838.878 | 23278.4462 | 23329.921
Hydro NSW | Hydro | NSW | VO&M Cost | $000 | 24056.5387 | 24588.7768 | 27690.654 | 34255.7375 | 32170.7999 | 32689.0808 | 35386.9214 | 33741.7897 | 37338.995 | 44680.7236 | 39567.0982 | 44677.1765 | 45318.7372 | 58834.1242 | 58710.2345
Hydro QLD | Hydro | QLD | VO&M Cost | $000 | 6783.0639 | 7107.5446 | 8512.788 | 11163.1252 | 11091.1916 | 11675.0253 | 15047.4942 | 15218.3085 | 16357.8853 | 17685.8874 | 17897.2352 | 20147.6714 | 20063.3361 | 20187.2589 | 19510.6453
Hydro TAS | Hydro | TAS | VO&M Cost | $000 | 62323.9046 | 62348.5947 | 62423.3592 | 62236.1348 | 62367.4423 | 62306.4788 | 62278.0019 | 62338.4512 | 62452.0018 | 62292.9511 | 62338.7869 | 62284.3421 | 62331.9692 | 62212.13 | 62492.7491
Hydro VIC | Hydro | VIC | VO&M Cost | $000 | 22583.4846 | 22425.5273 | 22466.4558 | 22713.6819 | 22725.7718 | 23007.962 | 23072.6385 | 22666.2568 | 22904.1259 | 22978.834 | 23439.2059 | 22945.8329 | 22709.8003 | 22518.4276 | 22643.3102
Large Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar QLD | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar SA | Solar | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar VIC | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0.5345 | 0 | 0 | 0 | 1.069 | 0 | 0.47691 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | VO&M Cost | $000 | 0 | 0 | 0 | 170.8082 | 88.7562 | 0 | 0 | 0 | 4.199 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 155.2022 | 282.9831 | 2420.4469 | 5012.6545 | 4133.8784 | 5728.4352 | 6797.4976 | 3093.5341 | 3456.7496 | 10324.5256 | 10003.3179 | 8669.7611 | 10993.1191 | 17629.8881 | 13837.241
Natural Gas QLD | Gas | QLD | VO&M Cost | $000 | 16856.7871 | 16881.3562 | 14241.1364 | 12493.2667 | 12256.9787 | 13181.5568 | 18584.9821 | 15439.5653 | 14552.0477 | 14843.9841 | 20611.733 | 24212.8922 | 26793.3362 | 33243.1593 | 28561.1559
Natural Gas SA | Gas | SA | VO&M Cost | $000 | 35087.9157 | 34790.5048 | 35664.1154 | 34360.3213 | 20819.9689 | 17572.0422 | 16418.2711 | 15493.1861 | 15756.1146 | 14939.0737 | 14842.68 | 10539.7358 | 10701.9543 | 8678.1283 | 8380.0329
Natural Gas TAS | Gas | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 618.4659 | 438.7021 | 983.1957 | 733.6098 | 324.7231 | 117.251 | 233.0093 | 31.7441 | 112.1561 | 255.0163 | 99.4295 | 135.2386 | 199.2954 | 1204.469 | 877.1528
New Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 1114.3379 | 1141.5125 | 1777.5358 | 1741.6148 | 810.0311 | 1021.2277 | 3258.6698 | 2254.0889 | 5870.8507 | 8425.278 | 19738.3326 | 11099.8399
New Natural Gas SA | Gas | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 10569.9067 | 6774.8575 | 6412.5451 | 6673.5543 | 6740.622 | 6818.5692 | 6409.4969 | 14364.3939 | 14673.1449 | 10204.2528 | 10294.3685
New Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 412.0829 | 524.2754 | 185.8921 | 478.9839 | 326.9359 | 523.8703 | 480.0085 | 162.1978 | 228.2175 | 571.6252 | 3567.8673 | 3029.0721
REZ Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Qld | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Vic | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Qld | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Vic | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 9 VIC_Firm Capacity
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Brown Coal | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas | MW | 2495 | 2495 | 2495 | 2815 | 3265 | 3265 | 3265 | 3265 | 3265 | 3265 | 3265 | 3265 | 2755 | 2755 | 2755
Wind | MW | 218.55 | 279.75 | 318 | 318 | 348 | 378 | 378 | 378 | 400.5 | 400.5 | 430.5 | 430.5 | 430.5 | 430.5 | 430.5
Solar | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2647 | 2647
Battery | MW | 120.5741 | 139.1933 | 159.664 | 181.9652 | 205.4807 | 230.6983 | 256.7562 | 283.5289 | 310.3924 | 337.5471 | 365.3066 | 393.6046 | 422.3904 | 451.1144 | 491.7479
Curtailable Load | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Capacity Interchange | MW | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878
Peak Load | MW | 9611.02 | 9519.17 | 9340.28 | 9045.48 | 9245.18 | 9219.72 | 9211.17 | 9329.81 | 9261.36 | 9323.11 | 9263.07 | 9277.7 | 9392.05 | 9332.86 | 9143.54
Peak Load + Min Capacity Reserves | MW | 10109.02 | 10017.17 | 9838.28 | 9543.48 | 9743.18 | 9717.72 | 9709.17 | 9827.81 | 9759.36 | 9821.11 | 9761.07 | 9775.7 | 9890.05 | 9830.86 | 9641.54

## 10 VRET
| Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
% of Renewable Generation in VIC | % | 33.2603 | 37.4183 | 41.1152 | 41.2048 | 41.8899 | 45.7567 | 48.4554 | 46.1438 | 50.3752 | 50.3103 | 49.1884 | 49.304 | 51.044 | 57.6756 | 57.8782
Wind | GWh | 8448.8787 | 10621.0576 | 11746.686 | 11667.0335 | 12832.227 | 14455.3769 | 14606.3216 | 14399.6916 | 15427.5552 | 15285.6608 | 15779.8319 | 15844.9917 | 15969.8025 | 16260.5887 | 16318.0408
Solar | GWh | 1801.9949 | 1812.5286 | 1810.18 | 1788.5438 | 2180.1228 | 3303.5255 | 3296.0654 | 3272.0925 | 3539.5456 | 3458.0695 | 3653.3322 | 3621.7834 | 3648.7469 | 3724.3886 | 3722.414
Hydro | GWh | 3109.548 | 3087.7986 | 3093.4341 | 3127.475 | 3129.1396 | 3167.9948 | 3176.9002 | 3120.945 | 3153.6975 | 3163.9841 | 3227.3733 | 3159.4401 | 3126.9405 | 3882.2757 | 3909.1891
Rooftop PV | GWh | 2286.4802 | 2603.6883 | 2913.2601 | 3211.9298 | 3504.5176 | 3798.5476 | 4056.3601 | 4311.8059 | 4581.8446 | 4802.9877 | 4996.7772 | 5181.2241 | 5365.7008 | 5535.3927 | 5689.3255
Total Generation | GWh | 47210.2499 | 48615.8664 | 47755.3642 | 48216.6118 | 51857.8686 | 54036.7826 | 51873.8002 | 54404.9987 | 53007.5586 | 53091.937 | 56227.3335 | 56399.9899 | 55072.4968 | 50979.3544 | 51209.2093

## 11 Constraint Binding Hours
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Avoid overload of Ararat - Waubra transmission line | Annual hours | 38 | 72 | 421 | 286 | 144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Elaine transmission line | Annual hours | 0 | 11 | 4 | 4 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Terang transmission line | Annual hours | 0 | 0 | 589 | 564 | 398 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Waubra transmission line | Annual hours | 2283 | 2108 | 2800 | 2551 | 2266 | 29 | 23 | 23 | 434 | 506 | 258 | 263 | 294 | 454 | 451
Avoid overload of Bendigo - Fosterville - Shepparton transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Kerang transmission line | Annual hours | 681 | 692 | 921 | 1101 | 1678 | 1029 | 1100 | 985 | 993 | 1231 | 1362 | 1410 | 1497 | 1742 | 1646
Avoid overload of Bendigo - North Ballarat transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 1486 | 867 | 1369 | 1171 | 1027 | 1807 | 1858 | 1475 | 643 | 690
Avoid overload of Bulgana - Horsham transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 154 | 225 | 150 | 108 | 124 | 75 | 72 | 86 | 288 | 303
Avoid overload of Elaine - Moorabool transmission line | Annual hours | 0 | 111 | 557 | 508 | 410 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Geelong - Keilor transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Geelong - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 3 | 2 | 1 | 3 | 3 | 4 | 8 | 0
Avoid overload of Horsham - Red Cliffs transmission line | Annual hours | 0 | 0 | 5 | 6 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 2
Avoid overload of Kerang - Wemen - Red Cliffs transmission line | Annual hours | 61 | 74 | 124 | 217 | 261 | 1026 | 1208 | 981 | 995 | 1210 | 795 | 801 | 874 | 1571 | 1544
Avoid overload of Moorabool - Terang transmission line | Annual hours | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Victoria to New South Wales export stability constraint | Annual hours | 2302 | 3343 | 3675 | 3701 | 4932 | 4123 | 3194 | 3809 | 3317 | 3307 | 4775 | 4843 | 4275 | 2891 | 2686