## 1 Storage_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Large Scale Storage VIC | Capacity Factor | % | 6.7452 | 9.0196 | 10.8889 | 12.1369 | 9.9891 | 10.9665 | 9.5197 | 10.3975 | 10.4091 | 10.6027 | 13.4505 | 13.3131 | 12.9648 | 11.3027 | 11.3831
Large Scale Storage SA | Capacity Factor | % | 6.4036 | 6.5545 | 6.5883 | 6.9212 | 4.7338 | 4.0407 | 3.7393 | 3.9768 | 4.0327 | 3.8384 | 3.8451 | 4.0768 | 4.0007 | 3.8647 | 4.1031
Large Scale Storage QLD | Capacity Factor | % | 11.1051 | 9.872 | 10.4859 | 11.0752 | 11.2748 | 11.3092 | 11.1435 | 11.4538 | 12.2519 | 13.5251 | 12.4176 | 12.3281 | 12.6761 | 12.6904 | 12.9049

## 2 Generator_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Capacity Factor | % | 61.3571 | 59.9611 | 55.555 | 63.6415 | 62.9068 | 58.7055 | 62.7507 | 63.5845 | 64.3306 | 68.4234 | 67.354 | 68.0856 | 69.2078 | 63.9355 | 69.1689
Black Coal QLD | Capacity Factor | % | 51.7514 | 52.0489 | 56.6249 | 61.621 | 61.4708 | 63.5567 | 60.0559 | 55.9385 | 55.4914 | 59.0064 | 65.3123 | 63.0245 | 63.2481 | 65.2766 | 66.7555
Brown Coal VIC | Capacity Factor | % | 74.2991 | 71.5711 | 64.601 | 63.9472 | 69.5989 | 68.7552 | 63.3602 | 68.5609 | 61.8758 | 62.0874 | 65.9993 | 66.1084 | 60.7254 | 71.666 | 71.8059
Natural Gas NSW | Capacity Factor | % | 0.1223 | 0.20753 | 1.5722 | 3.4003 | 3.8686 | 4.6862 | 5.6251 | 2.7642 | 3.1077 | 8.3099 | 7.684 | 8.6416 | 11.8716 | 18.5963 | 13.7673
Natural Gas QLD | Capacity Factor | % | 6.8314 | 6.8298 | 6.0449 | 5.8168 | 6.036 | 6.6241 | 9.616 | 7.6498 | 7.2241 | 7.6756 | 10.8251 | 12.2537 | 13.5592 | 16.194 | 14.0835
Natural Gas VIC | Capacity Factor | % | 0.16313 | 0.10032 | 0.21882 | 0.19679 | 0.18989 | 0.21126 | 0.29467 | 0.10224 | 0.19398 | 0.33788 | 0.16179 | 0.27209 | 0.53711 | 1.7426 | 1.1707
Natural Gas SA | Capacity Factor | % | 11.7326 | 11.6111 | 12.5789 | 9.8734 | 1.77 | 1.2767 | 1.7021 | 0.79822 | 0.91855 | 1.8426 | 1.4266 | 1.3455 | 1.7926 | 3.5962 | 2.6592
Natural Gas TAS | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0.034102 | 0.011301 | 0 | 0 | 0.033904 | 0 | 0.0021993 | 0.011301 | 0.011301 | 0
Liquid Fuel QLD | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0043872 | 0
Liquid Fuel SA | Capacity Factor | % | 0 | 0 | 0 | 0 | 0.016519 | 0 | 0.0083288 | 0 | 0 | 0.0023576 | 0 | 0 | 0.0016935 | 0 | 0
Wind NSW | Capacity Factor | % | 32.552 | 32.5155 | 32.1858 | 32.9345 | 32.68 | 32.0797 | 32.5126 | 32.4576 | 32.2724 | 32.1834 | 31.988 | 32.3364 | 32.5097 | 32.1398 | 32.846
Wind QLD | Capacity Factor | % | 33.1924 | 33.1921 | 32.9173 | 33.7699 | 33.3587 | 32.7044 | 33.1637 | 32.7955 | 31.5227 | 30.7215 | 31.263 | 32.0829 | 32.0194 | 31.301 | 31.8182
Wind VIC | Capacity Factor | % | 33.4748 | 32.9887 | 32.1515 | 32.0015 | 32.726 | 32.2901 | 32.5613 | 32.1684 | 32.0926 | 31.716 | 30.441 | 30.5917 | 30.9248 | 31.3621 | 31.4931
Wind SA | Capacity Factor | % | 31.9012 | 31.7897 | 31.2022 | 30.9092 | 32.1432 | 30.87 | 31.0913 | 31.0393 | 30.7661 | 31.1818 | 30.7604 | 30.8625 | 30.7626 | 29.6301 | 29.8455
Wind TAS | Capacity Factor | % | 36.3601 | 36.1366 | 36.313 | 36.4727 | 35.5008 | 36.0349 | 36.1251 | 36.0969 | 36.4562 | 34.9804 | 35.9419 | 36.162 | 36.2562 | 36.2629 | 36.6053
Solar NSW | Capacity Factor | % | 28.4026 | 28.3955 | 28.5383 | 28.3033 | 28.4061 | 28.4648 | 28.267 | 28.2072 | 28.2643 | 28.298 | 28.3188 | 28.1221 | 28.1517 | 28.3402 | 28.1717
Solar QLD | Capacity Factor | % | 30.4668 | 30.4317 | 30.517 | 30.4061 | 30.5048 | 30.5094 | 30.4239 | 29.801 | 27.1484 | 24.192 | 27.5901 | 28.0609 | 27.1952 | 27.7287 | 26.6997
Solar VIC | Capacity Factor | % | 29.0884 | 29.346 | 29.4043 | 28.9922 | 29.5232 | 29.1389 | 29.0722 | 28.9274 | 29.1006 | 28.924 | 27.3568 | 27.173 | 27.3709 | 27.9717 | 27.9942
Solar SA | Capacity Factor | % | 30.4986 | 30.1442 | 30.1074 | 29.5265 | 30.318 | 30.1709 | 30.1951 | 30.0225 | 30.2887 | 29.5694 | 29.3739 | 29.1211 | 29.2858 | 28.5849 | 28.4786
REZ Solar NSW | Capacity Factor | % | 30.6192 | 30.5922 | 30.7762 | 30.6022 | 30.637 | 30.5936 | 30.5037 | 30.3208 | 30.3452 | 30.3972 | 30.4158 | 30.3069 | 30.3399 | 30.0579 | 29.732
REZ Wind NSW | Capacity Factor | % | 40.5803 | 40.7462 | 40.7147 | 41.3609 | 40.2828 | 40.0249 | 40.4994 | 40.6435 | 40.6212 | 39.5999 | 39.712 | 40.3096 | 40.7568 | 40.6094 | 41.1373
REZ Solar QLD | Capacity Factor | % | 30.6636 | 30.6607 | 30.7957 | 30.4647 | 30.8156 | 30.7249 | 30.6141 | 30.5711 | 29.8683 | 29.3748 | 30.1463 | 30.0951 | 30.1095 | 30.0678 | 29.7937
REZ Wind QLD | Capacity Factor | % | 2027: 44.217; 2028: 43.643; 2029: 42.0309; 2030: 44.6131; 2031: 44.5552; 2032: 44.0301; 2033: 43.7881; 2034: 43.4985
REZ Solar SA | Capacity Factor | % | 30.7131 | 30.4766 | 30.53 | 30.1868 | 30.7788 | 30.5078 | 30.5624 | 30.5287 | 30.6337 | 30.8345 | 30.6807 | 30.5973 | 30.7421 | 26.9358 | 26.8983
REZ Wind TAS | Capacity Factor | % | 51.6813 | 51.6441 | 51.5326 | 51.727 | 50.5567 | 51.0763 | 51.3501 | 51.6441 | 51.6416 | 49.9247 | 50.9968 | 51.5014 | 51.7702 | 51.5326 | 51.9386
Hydro NSW | Capacity Factor | % | 19.6329 | 19.672 | 20.341 | 21.5219 | 21.8743 | 21.0795 | 21.1471 | 21.0696 | 21.6075 | 22.3568 | 21.828 | 22.5038 | 22.8039 | 23.7706 | 23.9049
Hydro QLD | Capacity Factor | % | 38.1395 | 38.2378 | 38.7026 | 39.4925 | 39.7046 | 39.6306 | 40.6278 | 40.623 | 41.2065 | 41.652 | 41.6886 | 42.2657 | 41.9994 | 42.3359 | 42.3115
Hydro VIC | Capacity Factor | % | 15.352 | 15.2797 | 15.3329 | 15.4434 | 15.625 | 15.5949 | 15.6278 | 15.48 | 15.5366 | 15.6801 | 15.8564 | 15.6444 | 15.4842 | 15.3902 | 15.5023
Hydro TAS | Capacity Factor | % | 52.7651 | 51.0487 | 52.3141 | 52.0755 | 52.204 | 51.8895 | 52.2996 | 52.5393 | 52.5362 | 52.0207 | 52.4319 | 52.3053 | 52.1445 | 51.6952 | 51.8844
Large Scale Storage SA | Capacity Factor | % | 6.4036 | 6.5545 | 6.5883 | 6.9212 | 4.7338 | 4.0407 | 3.7393 | 3.9768 | 4.0327 | 3.8384 | 3.8451 | 4.0768 | 4.0007 | 3.8647 | 4.1031
Large Scale Storage QLD | Capacity Factor | % | 11.1051 | 9.872 | 10.4859 | 11.0752 | 11.2748 | 11.3092 | 11.1435 | 11.4538 | 12.2519 | 13.5251 | 12.4176 | 12.3281 | 12.6761 | 12.6904 | 12.9049
Large Scale Storage VIC | Capacity Factor | % | 6.7452 | 9.0196 | 10.8889 | 12.1369 | 9.9891 | 10.9665 | 9.5197 | 10.3975 | 10.4091 | 10.6027 | 13.4505 | 13.3131 | 12.9648 | 11.3027 | 11.3831
Distributed Storage NSW | Capacity Factor | % | 0.36824 | 0.47745 | 0.5464 | 0.72263 | 0.18949 | 1.2312 | 0.50368 | 0.20054 | 0.18326 | 0.33473 | 0.07864 | 0.056343 | 0.18454 | 0.45726 | 0.54961
Distributed Storage QLD | Capacity Factor | % | 9.7413 | 9.7634 | 9.4991 | 9.5778 | 10.0487 | 9.8455 | 9.4585 | 9.7498 | 10.7228 | 12.2615 | 11.1807 | 10.7893 | 11.1354 | 11.1607 | 10.962
Distributed Storage SA | Capacity Factor | % | 15.6033 | 15.8179 | 15.6736 | 15.7216 | 13.5758 | 11.8309 | 10.6401 | 10.9088 | 10.5872 | 10.154 | 10.0425 | 9.989 | 9.4526 | 9.0403 | 8.6496
Distributed Storage TAS | Capacity Factor | % | 0.39278 | 0.53244 | 0.61902 | 0.83284 | 0.31507 | 1.5229 | 0.82183 | 0.37574 | 0.38668 | 0.52004 | 0.35936 | 0.29852 | 0.36956 | 1.2009 | 1.3062
Distributed Storage VIC | Capacity Factor | % | 13.7144 | 13.8737 | 13.7912 | 15.4138 | 15.8628 | 16.1929 | 13.7576 | 14.9238 | 14.8474 | 14.4941 | 17.6917 | 17.3998 | 16.462 | 13.8349 | 13.1497
New Natural Gas NSW | Capacity Factor | % |  |  |  | 1.7211 | 1.6879 | 2.6328 | 2.3059 | 1.0891 | 1.4596 | 4.8015 | 4.2748 | 9.4241 | 10.6366 | 19.6065 | 12.5069
New Natural Gas VIC | Capacity Factor | % |  |  |  | 1.2052 | 1.0615 | 0.94504 | 1.5369 | 1.0478 | 1.6412 | 1.92 | 1.0447 | 1.5863 | 3.1764 | 10.4949 | 7.6196
New Natural Gas SA | Capacity Factor | % | [5 empty] | 1.7061 | 2.3778 | 1.0278 | 1.641 | 3.1678 | 2.3563 | 5.5216 | 7.0634 | 14.5158 | 10.3177
Pumped Hydro SA | Capacity Factor | % | [5 empty] | 19.6578 | 19.8129 | 19.3812 | 20.1822 | 21.5089 | 21.0353 | 21.8638 | 22.3003 | 21.846 | 22.2705
Pumped Hydro NSW | Capacity Factor | % | [5 empty] | 18.4971 | 19.4484 | 18.8807 | 19.4221 | 21.483 | 20.6576 | 21.9446 | 22.3368 | 23.3654 | 23.5498
Pumped Hydro QLD | Capacity Factor | % | 2029: 24.0057; 2030: 24.2019; 2031: 24.4098; 2032: 24.4505; 2033: 24.628; 2034: 24.5985
Pumped Hydro VIC | Capacity Factor | % | 2033: 21.2594; 2034: 21.3431

## 3 Generator_GenerationCost
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation Cost | $000 | 1133195.3931 | 1132965.188 | 1130667.3749 | 1165634.0787 | 1153967.8229 | 1169048.5134 | 1312995.0487 | 1318609.6297 | 1442678.978 | 1334761.6329 | 1365704.7396 | 1423596.1269 | 1470364.045 | 1381934.256 | 1516808.467
Black Coal QLD | Black Coal | QLD | Generation Cost | $000 | 919031.6472 | 941988.3426 | 1034844.2741 | 1145840.4242 | 1155858.601 | 1210909.6504 | 1152076.0609 | 1087978.3016 | 1127840.3707 | 1211868.5977 | 1003293.2608 | 983437.3306 | 1042971.1943 | 1075064.044 | 1108551.7672
Brown Coal VIC | Brown Coal | VIC | Generation Cost | $000 | 319881.556 | 309951.0556 | 283802.9722 | 281784.3612 | 306046.5871 | 302248.2607 | 275818.7574 | 302772.0796 | 273091.1211 | 272775.707 | 295423.106 | 298487.3348 | 278322.2657 | 214132.4352 | 214548.4592
Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 1972.4216 | 3339.6931 | 27304.5043 | 59518.1437 | 64739.168 | 77036.9161 | 90031.8518 | 44939.5704 | 50683.0797 | 129507.5239 | 125254.7362 | 145601.7304 | 194112.8514 | 304181.1031 | 221701.7981
Natural Gas QLD | Natural Gas | QLD | Generation Cost | $000 | 206170.1656 | 206264.5812 | 176511.2864 | 147864.0595 | 138162.7579 | 133180.1012 | 166337.5787 | 133421.7391 | 125754.4657 | 132001.1056 | 219683.4789 | 265487.8067 | 293845.5158 | 352377.1369 | 303420.2555
Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 6833.3884 | 4789.5046 | 10386.0023 | 7001.7055 | 6833.1755 | 7683.7677 | 10693.0469 | 3976.8311 | 7228.2586 | 11181.151 | 7092.5435 | 8705.3628 | 13935.8148 | 49838.0802 | 31803.0116
Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 436876.7312 | 432944.8748 | 441689.9762 | 335284.9528 | 31310.5468 | 25069.5924 | 32153.5132 | 16468.2416 | 17442.6084 | 34929.9601 | 28970.7351 | 33781.0954 | 45897.3529 | 76478.2787 | 61963.0969
Natural Gas TAS | Natural Gas | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 65.0739 | 21.2937 | 0 | 0 | 61.8925 | 0 | 3.9372 | 20.0588 | 19.9008 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62.3153 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 158.8298 | 0 | 93.5984 | 0 | 0 | 22.3049 | 0 | 0 | 16.5748 | 0 | 0
Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | Generation Cost | $000 | 23968.9039 | 24530.1448 | 27925.5821 | 34295.8241 | 36713.5041 | 32436.8837 | 33182.7545 | 32972.3101 | 36201.0551 | 43485.8088 | 39131.5155 | 43732.3986 | 44913.9128 | 54622.2512 | 54920.1873
Hydro QLD | Hydro | QLD | Generation Cost | $000 | 6772.1485 | 7107.0982 | 8574.039 | 11225.7719 | 11457.6771 | 11648.1813 | 14723.6148 | 14589.0169 | 16165.1786 | 17664.2147 | 17702.5096 | 19805.3947 | 18725.0205 | 19985.7077 | 19542.8922
Hydro VIC | Hydro | VIC | Generation Cost | $000 | 22582.7755 | 22427.6578 | 22471.5331 | 22829.0428 | 23147.685 | 23191.4996 | 23206.5956 | 22884.3959 | 22929.6664 | 23278.676 | 23508.6804 | 23280.4037 | 22911.0957 | 22637.1232 | 22860.5942
Hydro TAS | Hydro | TAS | Generation Cost | $000 | 62323.7792 | 62349.3189 | 62427.8713 | 62268.1406 | 62382.5922 | 62311.1254 | 62301.3319 | 62363.8969 | 62473.2023 | 62320.0791 | 62380.0953 | 62319.6752 | 62354.6208 | 62233.7743 | 62521.7658
Large Scale Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 0 | 0 | 0 | 7658.5069 | 7313.055 | 11098.0504 | 9459.1101 | 4339.8733 | 5816.5699 | 19133.7682 | 17035.0173 | 37554.5577 | 43848.1549 | 80825.2237 | 51558.0816
New Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 0 | 0 | 0 | 3518.8228 | 3024.38 | 2623.6747 | 4158.7062 | 2761.5482 | 4325.2219 | 5108.2875 | 2779.504 | 4252.3966 | 8515.0439 | 28133.8362 | 20425.8768
New Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 1609.2219 | 2173.0434 | 909.1196 | 1451.5266 | 2854.3531 | 2123.1692 | 4975.292 | 6578.1594 | 13518.6638 | 9608.8925
Pumped Hydro SA | Hydro | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 12694.4207 | 15889.3098 | 15542.418 | 16186.0799 | 17252.0958 | 18269.3431 | 18982.3131 | 19700.1758 | 30081.8013 | 30679.282
Pumped Hydro NSW | Hydro | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 3296.3025 | 3465.8772 | 3364.5069 | 3461.1651 | 3829.1708 | 11459.0419 | 12176.7705 | 16306.8103 | 26887.2508 | 27099.82
Pumped Hydro QLD | Hydro | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6395.4009 | 21476.3403 | 21661.1193 | 21697.3094 | 21855.1041 | 21830.4056
Pumped Hydro VIC | Hydro | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9111.2341 | 9147.1691

## 4 Installed Capacity
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Installed Capacity | MW | 10040 | 10040 | 10040 | 8240 | 8240 | 8240 | 8240 | 8240 | 8240 | 6920 | 6920 | 6920 | 6920 | 6920 | 6920
Black Coal QLD | Black Coal | QLD | Installed Capacity | MW | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 6499 | 6499 | 6499 | 6499 | 6499
Brown Coal VIC | Brown Coal | VIC | Installed Capacity | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006
Natural Gas QLD | Natural Gas | QLD | Installed Capacity | MW | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039
Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 1985 | 1985 | 1985
Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 2671.1 | 2671.1 | 2431.1 | 2431.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1
Natural Gas TAS | Natural Gas | TAS | Installed Capacity | MW | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163
Liquid Fuel NSW | Liquid Fuel | NSW | Installed Capacity | MW | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Liquid Fuel QLD | Liquid Fuel | QLD | Installed Capacity | MW | 457.5 | 457.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5
Liquid Fuel SA | Liquid Fuel | SA | Installed Capacity | MW | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2
Wind NSW | Wind | NSW | Installed Capacity | MW | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500
Wind QLD | Wind | QLD | Installed Capacity | MW | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676
Wind VIC | Wind | VIC | Installed Capacity | MW | 2914 | 3730 | 4240 | 4690 | 5190 | 5280 | 5280 | 5280 | 5580 | 5580 | 5980 | 5980 | 5980 | 5980 | 5980
Wind SA | Wind | SA | Installed Capacity | MW | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052
Wind TAS | Wind | TAS | Installed Capacity | MW | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420
Solar NSW | Solar | NSW | Installed Capacity | MW | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446
Solar QLD | Solar | QLD | Installed Capacity | MW | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5
Solar VIC | Solar | VIC | Installed Capacity | MW | 702 | 702 | 702 | 702 | 997 | 1407 | 1407 | 1407 | 1507 | 1507 | 1707 | 1707 | 1707 | 1707 | 1707
Solar SA | Solar | SA | Installed Capacity | MW | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320
REZ Solar NSW | Solar | NSW | Installed Capacity | MW | 1232 | 1232 | 1232 | 1232 | 1232 | 1352 | 1352 | 1352 | 1352 | 1352 | 1432 | 1432 | 1432 | 3051 | 3051
REZ Wind NSW | Wind | NSW | Installed Capacity | MW | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135
REZ Solar QLD | Solar | QLD | Installed Capacity | MW | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 1511.7 | 2246.7 | 2913.7 | 3678.7 | 4363.7 | 4363.7 | 4363.7 | 4363.7 | 4363.7
REZ Wind QLD | Wind | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 276 | 503 | 631 | 631 | 631 | 631 | 631
REZ Solar SA | Solar | SA | Installed Capacity | MW | 166 | 166 | 166 | 446 | 446 | 781 | 846 | 846 | 846 | 972 | 972 | 972 | 972 | 1852 | 1852
REZ Wind TAS | Wind | TAS | Installed Capacity | MW | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 190 | 190 | 190 | 331 | 331
Hydro NSW | Hydro | NSW | Installed Capacity | MW | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862
Hydro QLD | Hydro | QLD | Installed Capacity | MW | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4
Hydro VIC | Hydro | VIC | Installed Capacity | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219
Hydro TAS | Hydro | TAS | Installed Capacity | MW | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7
Large Scale Storage SA | Battery | SA | Installed Capacity | MW | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
Large Scale Storage QLD | Battery | QLD | Installed Capacity | MW | 3.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4
Large Scale Storage VIC | Battery | VIC | Installed Capacity | MW | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
Distributed Storage NSW | Battery | NSW | Installed Capacity | MW | 25.1568 | 56.0691 | 95.8798 | 142.8159 | 196.0542 | 253.9814 | 314.6069 | 377.6072 | 442.051 | 507.2804 | 573.3688 | 634.0407 | 687.346 | 739.0638 | 803.9992
Distributed Storage QLD | Battery | QLD | Installed Capacity | MW | 13.6923 | 30.9345 | 51.8416 | 75.3569 | 100.2728 | 126.2546 | 152.7033 | 179.8653 | 207.739 | 236.1665 | 265.0381 | 294.2611 | 323.755 | 353.0294 | 397.184
Distributed Storage SA | Battery | SA | Installed Capacity | MW | 4.6986 | 10.6141 | 18.2709 | 27.3616 | 37.6467 | 49.2016 | 61.6345 | 74.7964 | 88.5706 | 102.8717 | 117.6225 | 132.3793 | 146.6603 | 160.356 | 183.121
Distributed Storage TAS | Battery | TAS | Installed Capacity | MW | 1.1074 | 2.4017 | 3.9644 | 5.8927 | 7.4173 | 8.7301 | 9.7122 | 10.6559 | 11.4994 | 12.2389 | 12.9664 | 13.6654 | 14.3392 | 14.99 | 15.7718
Distributed Storage VIC | Battery | VIC | Installed Capacity | MW | 15.5741 | 34.1933 | 54.664 | 76.9652 | 100.4807 | 125.6983 | 151.7562 | 178.5289 | 205.3924 | 232.5471 | 260.3066 | 288.6046 | 317.3904 | 346.1144 | 386.7479
New Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 0 | 0 | 0 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450
New Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 0 | 0 | 0 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280
New Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Pumped Hydro SA | Hydro | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 645 | 801 | 801 | 801 | 801 | 867 | 867 | 882 | 1375 | 1375
Pumped Hydro NSW | Hydro | NSW | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 178 | 178 | 178 | 178 | 178 | 554 | 554 | 729 | 1149 | 1149
Pumped Hydro QLD | Hydro | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 266 | 886 | 886 | 886 | 886 | 886
Pumped Hydro VIC | Hydro | VIC | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 428 | 428

## 5 Generator_SRMC
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | SRMC | $/MWh | 20.1176 | 20.8684 | 21.2403 | 23.3948 | 24.029 | 25.1858 | 25.9795 | 26.8147 | 28.7876 | 29.5429 | 30.791 | 31.7357 | 32.2089 | 32.7015 | 33.2508
Black Coal QLD | Black Coal | QLD | SRMC | $/MWh | 21.7667 | 22.3234 | 22.5691 | 22.8742 | 23.1876 | 23.6416 | 24.0684 | 24.4436 | 25.2255 | 25.9959 | 23.8432 | 24.2534 | 24.9436 | 25.5992 | 25.8737
Brown Coal VIC | Brown Coal | VIC | SRMC | $/MWh | 8.2968 | 8.3525 | 8.3525 | 8.4082 | 8.4819 | 8.4819 | 8.4819 | 8.5376 | 8.6112 | 8.6112 | 8.6669 | 8.7405 | 8.7405 | 8.4674 | 8.4674
Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh | 99.7281 | 99.7281 | 99.7281 | 96.6123 | 93.4965 | 90.4065 | 87.2564 | 87.2564 | 87.2907 | 87.2907 | 87.2907 | 91.6272 | 91.6272 | 91.6272 | 91.6272
Natural Gas QLD | Natural Gas | QLD | SRMC | $/MWh | 85.8312 | 83.6367 | 90.6957 | 78.5227 | 75.3433 | 78.6239 | 74.2703 | 74.2933 | 70.456 | 61.1059 | 78.7349 | 81.4521 | 81.4521 | 81.4521 | 80.144
Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh | 145.6956 | 121.7153 | 137.4545 | 113.2925 | 124.5411 | 131.3026 | 130.0959 | 104.519 | 104.519 | 130.6084 | 124.5339 | 130.8967 | 132.5431 | 130.7567 | 125.0084
Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | 115.6489 | 113.0091 | 116.0837 | 113.1881 | 123.5368 | 120.492 | 117.5568 | 98.7921 | 90.5542 | 117.8069 | 117.8069 | 121.0926 | 121.0926 | 121.0926 | 121.0926
Natural Gas TAS | Natural Gas | TAS | SRMC | $/MWh
Liquid Fuel NSW | Liquid Fuel | NSW | SRMC | $/MWh | 2025: 420.6241; 2026: 415.1948; 2029: 401.9371; 2031: 393.9627; 2032: 390.4958; 2033: 387.3371
Liquid Fuel QLD | Liquid Fuel | QLD | SRMC | $/MWh | 2033: 361.4748
Liquid Fuel SA | Liquid Fuel | SA | SRMC | $/MWh | 2024: 434.3103; 2026: 423.5938; 2029: 408.5682; 2032: 398.7786
Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | SRMC | $/MWh | 2027: 0; 2028: 0; 2029: 0; 2030: 0; 2031: 0; 2032: 0; 2033: 0; 2034: 0
REZ Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | SRMC | $/MWh | 0.0093161 | 0.0094227 | 0.0098401 | 0.010368 | 0.01055 | 0.010297 | 0.010345 | 0.01035 | 0.010544 | 0.010875 | 0.010712 | 0.010895 | 0.010907 | 0.011136 | 0.011146
Hydro QLD | Hydro | QLD | SRMC | $/MWh | 0.0098326 | 0.0098481 | 0.0098521 | 0.0098518 | 0.0098541 | 0.0098644 | 0.009854 | 0.0098555 | 0.009854 | 0.0098545 | 0.0098556 | 0.0098611 | 0.0098534 | 0.0098535 | 0.0098557
Hydro VIC | Hydro | VIC | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Hydro TAS | Hydro | TAS | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Large Scale Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh |  |  |  | 101.6118 | 98.6683 | 95.7248 | 92.8828 | 89.9393 | 89.9393 | 89.9393 | 89.9393 | 89.9393 | 93.3903 | 93.3903 | 93.3903
New Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh |  |  |  | 107.7018 | 104.8598 | 101.9163 | 99.0743 | 96.2323 | 96.2323 | 97.2473 | 97.2473 | 98.0593 | 98.0593 | 98.0593 | 98.0593
New Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | [5 empty] | 94.304 | 91.056 | 87.808 | 87.808 | 89.635 | 89.635 | 89.635 | 92.9845 | 92.9845 | 92.9845
Pumped Hydro SA | Hydro | SA | SRMC | $/MWh | [5 empty] | 0.011429 | 0.011429 | 0.011429 | 0.01143 | 0.011431 | 0.011435 | 0.011431 | 0.011434 | 0.011432 | 0.011437
Pumped Hydro NSW | Hydro | NSW | SRMC | $/MWh | [5 empty] | 0.011429 | 0.011429 | 0.011428 | 0.011429 | 0.011431 | 0.01143 | 0.011434 | 0.011432 | 0.011433 | 0.011433
Pumped Hydro QLD | Hydro | QLD | SRMC | $/MWh | 2029: 0.011433; 2030: 0.011433; 2031: 0.011434; 2032: 0.011434; 2033: 0.011434; 2034: 0.011434
Pumped Hydro VIC | Hydro | VIC | SRMC | $/MWh | 2033: 0.011431; 2034: 0.011431

## 6 Generator_Generation
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation | GWh | 52502.599 | 51188.8205 | 49162.2064 | 45764.8084 | 45111.6794 | 42279.3594 | 45351.5474 | 45742.1368 | 46300.3623 | 41353.9963 | 40693.3874 | 41146.1576 | 41840.7083 | 38624.5591 | 41826.0393
Black Coal QLD | Black Coal | QLD | Generation | GWh | 39553.6445 | 39760.621 | 42656.2256 | 46045.4936 | 45932.5003 | 47268.6158 | 44596.7122 | 41861.8774 | 41479.663 | 43424.4858 | 37627.8244 | 35996.768 | 36218.431 | 37359.6927 | 38319.2782
Brown Coal VIC | Brown Coal | VIC | Generation | GWh | 31437.5941 | 30337.2044 | 27952.3914 | 27638.8949 | 29570.3148 | 29199.8467 | 26553.6857 | 29123.1198 | 25889.7212 | 25841.93 | 28039.3805 | 28075.2235 | 26351.9004 | 20602.5793 | 20642.3134
Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 20.4084 | 36.3003 | 282.5482 | 632.4681 | 710.676 | 872.124 | 1052.7818 | 527.287 | 587.9376 | 1492.3109 | 1470.3804 | 1697.0891 | 2210.9433 | 3343.0297 | 2519.0959
Natural Gas QLD | Natural Gas | QLD | Generation | GWh | 2014.1156 | 2016.7495 | 1792.0137 | 1731.6023 | 1771.5066 | 1899.9286 | 2667.2659 | 2141.6911 | 2022.3396 | 2139.1956 | 2970.8141 | 3549.0633 | 3953.9301 | 4745.785 | 4111.6708
Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 51.7831 | 35.6223 | 79.914 | 55.773 | 55.3621 | 62.815 | 90.7548 | 34.0918 | 61.9553 | 95.2309 | 59.5957 | 73.1778 | 116.5594 | 418.8139 | 268.896
Natural Gas SA | Natural Gas | SA | Generation | GWh | 5453.9765 | 5403.1898 | 5501.9854 | 4240.4065 | 338.4632 | 290.3731 | 386.2263 | 201.9097 | 198.4415 | 394.8527 | 330.3547 | 388.1032 | 529.9218 | 846.0405 | 698.5503
Natural Gas TAS | Natural Gas | TAS | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0.14937 | 0.0495 | 0 | 0 | 0.1485 | 0 | 0.0096329 | 0.0495 | 0.0495 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16577 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0.34375 | 0 | 0.20621 | 0 | 0 | 0.051459 | 0 | 0 | 0.039421 | 0 | 0
Wind NSW | Wind | NSW | Generation | GWh | 4266.9151 | 4261.8973 | 4216.1713 | 4312.1728 | 4285.2432 | 4205.2224 | 4260.8359 | 4253.9417 | 4231.5002 | 4226.4116 | 4196.4544 | 4241.3524 | 4262.1981 | 4209.843 | 4302.1289
Wind QLD | Wind | QLD | Generation | GWh | 1965.575 | 1965.5408 | 1949.3365 | 1999.7754 | 1975.7167 | 1936.6756 | 1964.1535 | 1948.767 | 1881.3539 | 1834.1466 | 1845.4018 | 1888.4964 | 1895.7444 | 1849.6019 | 1890.5899
Wind VIC | Wind | VIC | Generation | GWh | 8447.696 | 10618.8945 | 11746.3436 | 13040.5064 | 14942.463 | 15022.4947 | 15098.6851 | 14922.7847 | 15735.4566 | 15496.1275 | 15993.6543 | 16079.3567 | 16219.8238 | 16467.2349 | 16513.0696
Wind SA | Wind | SA | Generation | GWh | 5839.0961 | 5814.5072 | 5703.7147 | 5656.0397 | 5874.4368 | 5634.4895 | 5686.0274 | 5671.4662 | 5622.0788 | 5696.976 | 5618.2848 | 5637.3653 | 5626.1322 | 5413.2291 | 5457.5239
Wind TAS | Wind | TAS | Generation | GWh | 1337.7315 | 1329.5045 | 1335.9306 | 1341.6645 | 1305.7879 | 1325.5246 | 1328.868 | 1327.7497 | 1340.9785 | 1286.7381 | 1322.053 | 1330.0893 | 1333.4804 | 1333.7156 | 1346.0987
Solar NSW | Solar | NSW | Generation | GWh | 1094.6557 | 1094.0869 | 1099.7696 | 1090.765 | 1094.5119 | 1097.2153 | 1089.5423 | 1086.136 | 1086.5969 | 1088.7303 | 1090.4158 | 1082.8778 | 1083.4515 | 1090.8015 | 1084.0646
Solar QLD | Solar | QLD | Generation | GWh | 3244.9456 | 3241.8568 | 3250.2465 | 3240.0081 | 3248.8598 | 3249.4527 | 3240.6231 | 3185.5877 | 2920.4554 | 2605.3894 | 2940.9224 | 2984.8301 | 2895.2773 | 2947.4038 | 2852.4788
Solar VIC | Solar | VIC | Generation | GWh | 1802.456 | 1812.8677 | 1810.0103 | 1765.8318 | 2562.8065 | 3570.736 | 3565.1322 | 3534.9459 | 3800.0602 | 3769.3853 | 3995.1764 | 3963.4282 | 3999.5769 | 4136.185 | 4144.7868
Solar SA | Solar | SA | Generation | GWh | 854.5707 | 845.8054 | 845.1051 | 824.3281 | 849.4556 | 839.0924 | 839.2985 | 833.2343 | 842.4901 | 814.2054 | 808.5918 | 799.5355 | 804.2925 | 777.3608 | 772.3065
REZ Solar NSW | Solar | NSW | Generation | GWh | 3309.1182 | 3309.5693 | 3326.4659 | 3314.8911 | 3313.3222 | 3630.9659 | 3623.871 | 3606.7456 | 3615.9261 | 3621.6898 | 3825.4389 | 3812.8219 | 3818.3653 | 8022.7422 | 7958.5846
REZ Wind NSW | Wind | NSW | Generation | GWh | 479.9025 | 481.8647 | 481.4922 | 489.1336 | 476.3841 | 473.3341 | 478.9461 | 480.6505 | 480.3864 | 468.3086 | 469.6337 | 476.7008 | 481.9898 | 480.2463 | 486.4899
REZ Solar QLD | Solar | QLD | Generation | GWh | 1797.1432 | 1797.3715 | 1803.9155 | 1785.8335 | 1805.6695 | 1800.4 | 4059.4539 | 6039.6303 | 7817.9635 | 9625.1917 | 11504.9174 | 11493.3793 | 11518.5732 | 11498.1858 | 11364.0442
REZ Wind QLD | Wind | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 352.4802 | 1055.1839 | 1868.1932 | 2473.3534 | 2468.6793 | 2440.6843 | 2435.1546 | 2413.8186
REZ Solar SA | Solar | SA | Generation | GWh | 444.3344 | 441.3689 | 441.7728 | 1190.4371 | 1213.3641 | 2129.9423 | 2312.6368 | 2308.3576 | 2320.8966 | 2643.2137 | 2627.3266 | 2615.3105 | 2624.871 | 3923.2526 | 3905.8162
REZ Wind TAS | Wind | TAS | Generation | GWh | 651.9291 | 651.4599 | 650.0528 | 652.5051 | 637.7429 | 644.297 | 647.7505 | 651.4599 | 651.4275 | 629.7705 | 848.7903 | 857.1901 | 861.6638 | 1494.2186 | 1505.9916
Hydro NSW | Hydro | NSW | Generation | GWh | 3166.2423 | 3195.9695 | 3391.4395 | 3764.6827 | 3901.28 | 3645.2711 | 3687.3027 | 3676.3451 | 3863.3032 | 4274.7836 | 4025.9109 | 4272.1716 | 4349.1755 | 4898.7964 | 4920.8573
Hydro QLD | Hydro | QLD | Generation | GWh | 758.4069 | 777.4796 | 860.1016 | 1010.1482 | 1024.7601 | 1032.7722 | 1208.4703 | 1201.2348 | 1291.4334 | 1375.8402 | 1378.1838 | 1495.6706 | 1436.1971 | 1506.9119 | 1482.9767
Hydro VIC | Hydro | VIC | Generation | GWh | 3109.4503 | 3088.092 | 3094.1332 | 3143.3592 | 3187.2334 | 3193.2663 | 3195.3449 | 3150.9808 | 3157.2142 | 3205.2697 | 3236.9393 | 3205.5076 | 3154.6571 | 3116.9335 | 3147.7035
Hydro TAS | Hydro | TAS | Generation | GWh | 8581.4383 | 8584.9549 | 8595.7709 | 8573.7774 | 8589.5363 | 8579.696 | 8578.3475 | 8586.9622 | 8602.0126 | 8580.9288 | 8589.1925 | 8580.8732 | 8585.6849 | 8569.0454 | 8608.6993
Large Scale Storage SA | Battery | SA | Generation | GWh | 89.3241 | 91.1743 | 91.6483 | 95.4146 | 69.336 | 61.4857 | 56.6629 | 58.8726 | 59.0899 | 57.1744 | 56.8659 | 59.1236 | 58.0699 | 56.4155 | 58.7141
Large Scale Storage QLD | Battery | QLD | Generation | GWh | 3.1414 | 71.3063 | 75.3976 | 80.4253 | 81.4381 | 81.4331 | 79.6464 | 83.5914 | 93.7832 | 108.4673 | 94.5008 | 94.7967 | 98.4912 | 98.5505 | 99.9242
Large Scale Storage VIC | Battery | VIC | Generation | GWh | 60.0418 | 76.3725 | 91.274 | 103.8057 | 87.111 | 95.5163 | 82.2176 | 90.5286 | 90.849 | 92.6794 | 119.6574 | 118.4258 | 115.0366 | 98.9219 | 99.451
Distributed Storage NSW | Battery | NSW | Generation | GWh | 0.8115 | 2.3451 | 4.5893 | 9.0406 | 3.2544 | 27.3916 | 13.8811 | 6.6336 | 7.0965 | 14.8748 | 3.9499 | 3.1294 | 11.1114 | 29.6036 | 38.7094
Distributed Storage QLD | Battery | QLD | Generation | GWh | 11.6841 | 26.4574 | 43.1385 | 63.2255 | 88.2669 | 108.8902 | 126.5241 | 153.6199 | 195.1333 | 253.668 | 259.5868 | 278.1179 | 315.8109 | 345.1489 | 381.4045
Distributed Storage SA | Battery | SA | Generation | GWh | 6.4223 | 14.7074 | 25.086 | 37.6827 | 44.771 | 50.9918 | 57.448 | 71.4764 | 82.1437 | 91.5032 | 103.475 | 115.8361 | 121.4421 | 126.9903 | 138.7515
Distributed Storage TAS | Battery | TAS | Generation | GWh | 0.038102 | 0.11202 | 0.21497 | 0.42992 | 0.20472 | 1.1647 | 0.6992 | 0.35074 | 0.38952 | 0.55756 | 0.40819 | 0.35736 | 0.46421 | 1.5769 | 1.8047
Distributed Storage VIC | Battery | VIC | Generation | GWh | 18.7105 | 41.5563 | 66.0403 | 103.9224 | 139.626 | 178.3023 | 182.8913 | 233.3956 | 267.1407 | 295.2619 | 403.4221 | 439.897 | 457.7009 | 419.4675 | 445.5008
New Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 0 | 0 | 0 | 67.8463 | 66.5385 | 103.7843 | 90.8978 | 42.9308 | 57.5386 | 189.2748 | 168.5135 | 371.4966 | 419.2956 | 772.8868 | 493.0214
New Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 0 | 0 | 0 | 29.562 | 26.0361 | 23.1798 | 37.6977 | 25.7016 | 40.2547 | 47.0933 | 25.6242 | 38.9086 | 77.911 | 257.4192 | 186.8928
New Natural Gas SA | Natural Gas | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 14.9454 | 20.8295 | 9.0033 | 14.3749 | 27.7498 | 20.6413 | 48.3694 | 61.8752 | 127.1586 | 90.3827
Pumped Hydro SA | Hydro | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 1110.7072 | 1390.2248 | 1359.9328 | 1416.1399 | 1509.2286 | 1597.6136 | 1660.5411 | 1722.9898 | 2631.3519 | 2682.487
Pumped Hydro NSW | Hydro | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 288.421 | 303.2558 | 294.4037 | 302.8443 | 334.98 | 1002.5213 | 1064.9781 | 1426.4391 | 2351.7847 | 2370.347
Pumped Hydro QLD | Hydro | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 559.3708 | 1878.3937 | 1894.5289 | 1897.6896 | 1911.4688 | 1909.1769
Pumped Hydro VIC | Hydro | VIC | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 797.0757 | 800.2136

## 7 REZ_CapacityBuilt
REZ | Category | Property | Units | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
REZ Solar NSW | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 120 | 0 | 0 | 0 | 0 | 80 | 0 | 0 | 1619 | 0
REZ Wind NSW | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 842 | 735 | 667 | 765 | 685 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 185 | 227 | 128 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | Capacity Change | MW | 0 | 0 | 280 | 0 | 335 | 65 | 0 | 0 | 126 | 0 | 0 | 0 | 880 | 0
REZ Wind TAS | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | 0 | 0 | 141 | 0
REZ Wind VIC | Wind | Capacity Change | MW | 816 | 510 | 450 | 500 | 90 | 0 | 0 | 300 | 0 | 400 | 0 | 0 | 0 | 0
REZ Solar VIC | Solar | Capacity Change | MW | 0 | 0 | 0 | 295 | 410 | 0 | 0 | 100 | 0 | 200 | 0 | 0 | 0 | 0

## 8 Generator_VOM
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Biomass NSW | Biomass | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Black Coal NSW | Black Coal | NSW | VO&M Cost | $000 | 57231.2176 | 55798.5933 | 53638.9114 | 50009.8683 | 49247.0207 | 46139.649 | 49507.056 | 49949.0966 | 50558.1625 | 45213.0617 | 44490.2228 | 44985.8692 | 45745.769 | 42268.6542 | 45729.685
Black Coal QLD | Black Coal | QLD | VO&M Cost | $000 | 79958.0698 | 80844.6414 | 87454.3709 | 97139.953 | 97165.0355 | 100645.6073 | 90119.829 | 84966.8153 | 90098.4057 | 90451.4254 | 86696.5638 | 86702.229 | 81618.0451 | 88940.092 | 89648.5703
Brown Coal VIC | Brown Coal | VIC | VO&M Cost | $000 | 35618.5258 | 34370.3957 | 31644.5827 | 31291.7589 | 33499.4867 | 33080.7455 | 30125.9715 | 32993.212 | 29333.9903 | 29282.5699 | 31766.6827 | 31807.5531 | 29830.4942 | 23239.8278 | 23284.4399
Hydro NSW | Hydro | NSW | VO&M Cost | $000 | 23968.9039 | 24530.1448 | 27925.5821 | 34295.8241 | 36713.5041 | 32436.8837 | 33182.7545 | 32972.3101 | 36201.0551 | 43485.8088 | 39131.5155 | 43732.3986 | 44913.9128 | 54622.2512 | 54920.1873
Hydro QLD | Hydro | QLD | VO&M Cost | $000 | 6772.1485 | 7107.0982 | 8574.039 | 11225.7719 | 11457.6771 | 11648.1813 | 14723.6148 | 14589.0169 | 16165.1786 | 17664.2147 | 17702.5096 | 19805.3947 | 18725.0205 | 19985.7077 | 19542.8922
Hydro TAS | Hydro | TAS | VO&M Cost | $000 | 62323.7792 | 62349.3189 | 62427.8713 | 62268.1406 | 62382.5922 | 62311.1254 | 62301.3319 | 62363.8969 | 62473.2023 | 62320.0791 | 62380.0953 | 62319.6752 | 62354.6208 | 62233.7743 | 62521.7658
Hydro VIC | Hydro | VIC | VO&M Cost | $000 | 22582.7755 | 22427.6578 | 22471.5331 | 22829.0428 | 23147.685 | 23191.4996 | 23206.5956 | 22884.3959 | 22929.6664 | 23278.676 | 23508.6804 | 23280.4037 | 22911.0957 | 22637.1232 | 22860.5942
Large Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar QLD | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar SA | Solar | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar VIC | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 1.6129 | 0.5345 | 0 | 0 | 1.6035 | 0 | 0.10402 | 0.5345 | 0.5345 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.79 | 0
Liquid Fuel SA | Liquid Fuel | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 3.9518 | 0 | 2.369 | 0 | 0 | 0.59048 | 0 | 0 | 0.45203 | 0 | 0
Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 170.7976 | 291.298 | 2347.7584 | 5329.8252 | 5995.9074 | 7286.2813 | 8867.7679 | 4421.5985 | 4992.2119 | 12719.5356 | 12338.0348 | 13725.4967 | 18195.2443 | 28114.451 | 20707.8377
Natural Gas QLD | Gas | QLD | VO&M Cost | $000 | 16856.1025 | 16884.7921 | 14220.4096 | 12792.1686 | 13098.2602 | 14068.7093 | 19908.8574 | 15917.4082 | 14985.6558 | 15840.6268 | 22214.9844 | 26630.384 | 29739.7599 | 35967.0662 | 30839.116
Natural Gas SA | Gas | SA | VO&M Cost | $000 | 35090.692 | 34790.7692 | 35651.4305 | 27962.0496 | 3855.759 | 3319.9991 | 4418.6081 | 2313.9955 | 2270.4618 | 4513.9222 | 3779.7675 | 4452.1105 | 6079.7417 | 9675.5342 | 8001.3921
Natural Gas TAS | Gas | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 620.7219 | 443.613 | 977.6316 | 682.2332 | 665.2649 | 740.8351 | 1033.3186 | 385.7642 | 697.3879 | 1084.1374 | 680.378 | 818.7014 | 1262.644 | 4535.4538 | 2911.8932
New Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 695.5955 | 682.188 | 1064.0509 | 931.932 | 440.1494 | 589.9158 | 1940.5444 | 1727.6894 | 3808.7787 | 4298.8387 | 7924.0415 | 5054.7139
New Natural Gas SA | Gas | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 156.387 | 217.9582 | 94.2093 | 150.4173 | 290.3716 | 215.9887 | 506.1335 | 647.4566 | 1330.5771 | 945.7571
New Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 303.0855 | 266.9356 | 237.6517 | 386.4969 | 263.5065 | 412.712 | 482.8249 | 262.713 | 398.9115 | 798.7846 | 2639.1966 | 1916.1235
REZ Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Qld | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Vic | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Qld | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Vic | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 9 VIC_Firm Capacity
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Brown Coal | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas | MW | 2495 | 2495 | 2495 | 2775 | 2775 | 2775 | 2775 | 2775 | 2775 | 2775 | 2775 | 2775 | 2265 | 2265 | 2265
Wind | MW | 218.55 | 279.75 | 318 | 351.75 | 389.25 | 396 | 396 | 396 | 418.5 | 418.5 | 448.5 | 448.5 | 448.5 | 448.5 | 448.5
Solar | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2647 | 2647
Battery | MW | 120.5741 | 139.1933 | 159.664 | 181.9652 | 205.4807 | 230.6983 | 256.7562 | 283.5289 | 310.3924 | 337.5471 | 365.3066 | 393.6046 | 422.3904 | 451.1144 | 491.7479
Curtailable Load | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Capacity Interchange | MW | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878
Peak Load | MW | 9611.02 | 9519.17 | 9340.28 | 9045.48 | 9245.18 | 9219.72 | 9211.17 | 9329.81 | 9261.36 | 9323.11 | 9263.07 | 9277.7 | 9392.05 | 9332.86 | 9143.54
Peak Load + Min Capacity Reserves | MW | 10109.02 | 10017.17 | 9838.28 | 9543.48 | 9743.18 | 9717.72 | 9709.17 | 9827.81 | 9759.36 | 9821.11 | 9761.07 | 9775.7 | 9890.05 | 9830.86 | 9641.54

## 10 VRET
| Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
% of Renewable Generation in VIC | % | 33.1385 | 37.2803 | 40.9683 | 43.1047 | 44.7468 | 46.3962 | 49.0241 | 46.7648 | 50.8622 | 50.8403 | 49.6262 | 49.7236 | 51.4507 | 57.9611 | 58.3292
Wind | GWh | 8447.696 | 10618.8945 | 11746.3436 | 13040.5064 | 14942.463 | 15022.4947 | 15098.6851 | 14922.7847 | 15735.4566 | 15496.1275 | 15993.6543 | 16079.3567 | 16219.8238 | 16467.2349 | 16513.0696
Solar | GWh | 1802.456 | 1812.8677 | 1810.0103 | 1765.8318 | 2562.8065 | 3570.736 | 3565.1322 | 3534.9459 | 3800.0602 | 3769.3853 | 3995.1764 | 3963.4282 | 3999.5769 | 4136.185 | 4144.7868
Hydro | GWh | 3109.4503 | 3088.092 | 3094.1332 | 3143.3592 | 3187.2334 | 3193.2663 | 3195.3449 | 3150.9808 | 3157.2142 | 3205.2697 | 3236.9393 | 3205.5076 | 3154.6571 | 3914.0092 | 3947.9172
Rooftop PV | GWh | 2286.4802 | 2603.6883 | 2913.2601 | 3211.9298 | 3504.5176 | 3798.5476 | 4056.3601 | 4311.8059 | 4581.8446 | 4802.9877 | 4996.7772 | 5181.2241 | 5365.7008 | 5535.3927 | 5689.3255
Total Generation | GWh | 47214.2119 | 48614.2979 | 47753.367 | 49093.5851 | 54075.4705 | 55144.7047 | 52862.7694 | 55427.3548 | 53624.4964 | 53645.9658 | 56870.2272 | 57175.1494 | 55858.8668 | 51850.0235 | 51938.1531

## 11 Constraint Binding Hours
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Avoid overload of Ararat - Crowlands transmission line | Annual hours | 0 | 0 | 0 | 6 | 51 | 51 | 79 | 62 | 37 | 41 | 7 | 12 | 15 | 46 | 45
Avoid overload of Ararat - Waubra transmission line | Annual hours | 43 | 71 | 423 | 354 | 770 | 817 | 986 | 791 | 792 | 815 | 480 | 479 | 542 | 804 | 798
Avoid overload of Ballarat - Bendigo transmission line | Annual hours | 0 | 4 | 16 | 32 | 66 | 39 | 31 | 63 | 25 | 32 | 27 | 27 | 26 | 7 | 4
Avoid overload of Ballarat - Elaine transmission line | Annual hours | 0 | 11 | 4 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Terang transmission line | Annual hours | 0 | 0 | 593 | 191 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Waubra transmission line | Annual hours | 2284 | 2098 | 2805 | 2032 | 1382 | 1336 | 1537 | 1370 | 1300 | 1306 | 908 | 943 | 1018 | 1375 | 1410
Avoid overload of Balranald - Darlington Point transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Fosterville - Shepparton transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Kerang transmission line | Annual hours | 681 | 692 | 918 | 869 | 32 | 92 | 150 | 120 | 126 | 157 | 182 | 186 | 217 | 439 | 482
Avoid overload of Bulgana - Crowlands transmission line | Annual hours | 0 | 0 | 0 | 3 | 19 | 16 | 30 | 13 | 15 | 22 | 3 | 6 | 7 | 13 | 22
Avoid overload of Bulgana - Horsham transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Buronga - Balranald transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Elaine - Moorabool transmission line | Annual hours | 0 | 111 | 566 | 261 | 213 | 217 | 272 | 180 | 211 | 201 | 91 | 83 | 91 | 157 | 148
Avoid overload of Geelong - Keilor transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Geelong - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 3 | 2 | 2 | 3 | 2 | 3 | 3 | 3 | 6 | 4
Avoid overload of Horsham - Bulgana transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Horsham - Red Cliffs transmission line | Annual hours | 0 | 0 | 5 | 75 | 330 | 327 | 339 | 261 | 262 | 256 | 182 | 175 | 172 | 193 | 180
Avoid overload of Kerang - Wemen - Red Cliffs transmission line | Annual hours | 61 | 72 | 124 | 191 | 157 | 641 | 664 | 588 | 548 | 522 | 818 | 793 | 859 | 1015 | 913
Avoid overload of Moorabool - Terang transmission line | Annual hours | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Victoria to New South Wales export stability constraint | Annual hours | 2294 | 3326 | 3658 | 4603 | 4785 | 5514 | 3931 | 5189 | 4273 | 4415 | 6389 | 6177 | 5267 | 3733 | 3358