## Contents and Overview
Contents
1 | Disclaimer | Important notice and disclaimer.
2 | Measures, Acronyms & Glossary | List of measures used in the database.
3 | Pipelines | List of all existing, planned and proposed gas pipelines.
4 | Processing | List of all existing, planned and proposed gas processing facilities.
5 | Storage | List of all existing, planned and proposed gas storage facilities.
6 | LNG Export | List of all existing, planned and proposed LNG export projects.
7 | Field Developments | List of all planned and proposed gas field developments.
Overview
This spreadsheet provides summary information on gas facilities in eastern and south eastern Australia. This information is based on data provided by gas stakeholders for the 2025 GSOO survey. It has been noted where this information was not updated this year.
Disclaimer
Note this document is subject to an important disclaimer which limits and/or excludes AEMO’s liability for reliance on the information in it.
Please read the full disclaimer at the 'Disclaimer' tab of this workbook.

## Disclaimer
Important Notice
Purpose
AEMO has prepared this data file to provide information about the data and assumptions used to produce the 2025 Gas Statement of Opportunities under the National Gas Law and Part 15D of the National Gas Rules.
Disclaimer
This data file contains input from third parties, and conclusions, opinions or assumptions that are based on that input.
AEMO has made reasonable efforts to ensure the quality of the information in this publication but cannot guarantee that information, forecasts and assumptions are accurate, complete or appropriate for your circumstances.
Anyone proposing to use the information in this publication (which includes information and forecasts from third parties) should independently verify its accuracy, completeness and suitability for purpose, and obtain independent and specific advice from appropriate experts.
Accordingly, to the maximum extent permitted by law, AEMO and its officers, employees and consultants involved in the preparation of this document:
* make no representation or warranty, express or implied, as to the currency, accuracy, reliability or completeness of the information in this document; and
* are not liable (whether by reason of negligence or otherwise) for any statements, opinions, information or other matters contained in or derived from this publication, or in respect of a person’s use of the information in this publication.
Acknowledgement
AEMO acknowledges the support, co-operation and contribution of all participants in providing data and information used in this publication.
Copyright
© 2025 Australian Energy Market Operator Limited. The material in this publication may be used in accordance with the copyright permissions on AEMO's website.

## Measures, Acronyms & Glossary
Units of Measure
Abbreviation | Unit of Measure
Bcf | Billion cubic feet
GJ | Gigajoule
km | Kilometres
kPa | Kilopascals
MPa | Megapascals
Mtpa | Million tonnes per annum
MW | Megawatt
PJ | Petajoule
Tcf | Trillion cubic feet
TJ | Terajoule
TJ/d | Terajoules per day
Acronyms
Abbreviation | Expanded name
CSG | Coal seam gas
LNG | Liquefied natural gas
PPL | Petroleum Production Lease
Glossary
Term | Meaning
1C | Low estimate of contingent resources
2C | Best estimate of contingent resources
3C | High estimate of contingent resources
1P reserves | Estimated quantity of gas that is reasonably certain to be recoverable in the future under existing economic and operating conditions. A low-side estimate also known as proved gas reserves.
2P reserves | The sum of proved-plus-probable estimates of gas resources. The best estimate of commercially recoverable reserves. Often used as the basis for reports to share markets, gas contracts, and project economic justification.
3P reserves | The sum of proved, probable, and possible estimates of gas reserves.

## Pipelines
Central and Eastern Australian Natural Gas Pipeline Facilities
This worksheet summarises the key information for each pipeline in central and eastern Australia (including the Northern Territory).
This worksheet is not a comprehensive list of all natural gas pipelines. It only includes non-confidential information on pipelines that has been provided to AEMO from proponents.
Name | Description | Status | Location | Ownership | Operator | First Gas Flow | Start Node | End Node | Length (km) | Maximum Capacity (TJ per day) | Regulations | Compression | Expansion Plans | Source
Braemar Gas Pipeline | Alinta Energy owns approximately 150km of gas pipeline in Queensland between Tipton, Condamine and Braemar, which is used for the supply of gas to Alinta Energy's Braemar Power Station (a fast start, peaking power station dispatching into the NEM). The pipeline is bi-directional allowing for gas to flow from the pipeline onto the Roma to Brisbane Pipeline at the Condamine connection point. | Online | QLD | Alinta Energy | Alinta Energy | 2005 | Condamine, Tipton | Braemar | 150 | 80 | Not regulated | MAOP 9.6MPa | No committed expansion plans at this stage. | Data shown from 2025 GSOO
Berwyndale Wallumbilla Pipeline (“BWP”) | The BWP is a bi-directional pipeline that supplies gas between Berwyndale, east of Miles, Queensland, and the Wallumbilla Gas Hub. The pipeline allows shippers to deliver gas to south-eastern Australia markets via its connection to the South West Queensland Pipeline at the Wallumbilla Hub. | Online | QLD | APA Group | APA Group | 2009 | 8km east of Miles, Qld. | Wallumbilla Gas Hub | 112 | 164 west 276 east | Not covered | Nil | Increased compression on BWP Westernhaul to accommodate additional flows up to 330TJ/d from current 164TJ/d nameplate capacity. | Data shown from 2025 GSOO
Carpentaria Gas Pipeline (“CGP”) | The CGP links Ballera in South-West QLD and Mt Isa in North-West QLD. The pipeline transports gas to mines in the Carpentaria Mt Isa minerals province and power stations at Mica Creek and Mt Isa. The pipeline is owned and operated by APA Group. In 2018 the Northern Gas Pipeline was connected to the CGP just outside of Mt Isa, and allows the transportation of gas from the NT into the CGP which provides access to APA's East Coast Grid. In 2024 the connection to the NT system was augmented for reverse flow enabling gas to flow from the CGP to the NT system via the NGP. | Online | QLD | APA Group | APA Group | 1998 | Ballera | Mt Isa | 840 | 119 North 65 South | Light | Compressor stations at Davenport Downs (1 unit) and Morney Tank (1 unit). | No expansions of capacity (north or south) are currently planned. | Data shown from 2025 GSOO
Moomba to Sydney Pipeline System (“MSP”) | The MSP is a bi-directional pipeline system that links Moomba in north-east SA with Wilton and Culcairn Bomen in NSW. The pipeline is owned and operated by APA Group. The MSP and its laterals supply gas to Queensland (via a connection to SWQP), South Australia (via a connection to MAPS), Victoria (via a connection to NVI), Sydney (via a connection to JGN), Canberra and rural NSW. | Online | SA / QLD / NSW | APA Group | APA Group | 1976 | Moomba | Wilton | Mainline: 1300 Laterals: 642 | 565 South 195 North | Part of the MSP system (Marsden to Young and Young to Wagga Wagga) is covered by Light Access Regulation. | Compressor stations at Bulla Park (2 units), Marsden (1 unit) and Young (4 units) | APA has committed to a multi-stage expansion of the MSP. | Data shown from 2025 GSOO
Victorian Northern Interconnect (“VNI”) | The VNI is a bi-directional pipeline that links the Moomba Sydney Pipeline system with the Victorian Transmission System. The pipeline runs between Bomen, near Wagga Wagga in NSW, and Barnawartha, near Wodonga in Victoria. The pipeline was commissioned in 1998 and is owned, operated and maintained by APA Group. The section between Culcairn and Barnawartha is operated by AEMO. | Online | VIC/NSW | APA Group | APA Group - Bomen to Culcairn section AEMO - Culcairn to Barnawartha section | 1998 | Bomen | Barnawartha | 88 km – Bomen to Culcairn section; 62.5 km – Culcairn to Barnawartha | 195 South 223 North | Bomen to Culcairn section – Not Covered Culcairn to Barnawartha section - Covered | Compressor stations at Wollert (5 units), Springhurst (1 unit), Euroa (1 unit) and Culcairn (3 units). | There are currently no expansion plans. When required by the market, additional compression at Young and Uranquinty could provide an additional 120TJ/d of capacity (south) with an expected construction lead time of between 18 and 24 months. Further expansion options are available including duplicating the pipeline, and these options can be investigated with interested customers. | Data shown from 2025 GSOO
Roma - Brisbane Pipeline (“RBP”) | The RBP is a bi-directional pipeline that links Wallumbilla in south-east QLD and Brisbane. The pipeline is owned and operated by APA Group and is a scheme pipeline under the access regime of the National Gas Law and National Gas Rules. The RBP transports Surat Basin gas to Brisbane and to southern states via the Wallumbilla Hub. | Online | QLD | APA Group | APA Group | 1969 | Wallumbilla | Brisbane | 438 | 167 East 125 West | Covered | Compressor stations at Kogan, Oakey and Dalby | There are currently no expansion plans. | Data shown from 2025 GSOO
South West Pipeline (“SWP”) | The SWP links Iona and Brooklyn and forms part of the Victorian Transmission System. The pipeline connects the Iona underground storage facility with the Brooklyn Corio Pipeline. SWP is owned and maintained by APA Group, and operated by AEMO. The VTS is subject to full regulation by the AER. | Online | VIC | APA Group | AEMO | 1999 | Iona | Brooklyn | 202 | 523 East 341 West | Covered | There is compression at Winchelsea. | Compression and looping expansion from Iona to Brooklyn (forward) that could increase capcacity upto 500 TJ/day. | Data shown from 2025 VGPR
South West Queensland Pipeline (“SWQP”) | The SWQP is a bi-directional and fully looped pipeline that links Wallumbilla in south-east QLD and Moomba in north-east SA. The SWQP allows Bowen-Surat basin producers to supply gas to southern markets via the MSP and MAPS, and Queensland markets via connections to multiple pipelines at the Wallumbilla Hub. | Online | QLD/SA | APA Group | APA Group | 1996 | Wallumbilla | Moomba | 937 | 365 East 512 West | Not Covered | Compressor stations at Cooladdi (2 units), Moomba (3 units) and Wallumbilla (9 units). | APA has committed to a multi-stage expansion of the SWQP. | Data shown from 2025 GSOO
Wallumbilla Gladstone Pipeline (“WGP”) | The WGP transports gas from Surat and Bowen basin fields around Miles and Wandoan in QLD to the QCLNG export facility on Curtis Island, off the coast of Gladstone. | Online | QLD | APA Group | QGC | 2014 | QCLNG Surat and Bowen Basin fields | Gladstone | 543 | 1588 | Not regulated | N/A | There are currently no expansion plans. | Data shown from 2025 GSOO
Longford to Melbourne Gas Pipeline (“LMP”) | The LMP is part of the Victorian Transmission System (VTS) / Declared Transmission System (DTS) and runs from outside Sale in South-East Victoria, to Dandenong, near Melbourne. The pipeline is owned and maintained by APA Group and operated by AEMO. | Online | VIC | APA Group | AEMO | 1970 | Longford | Melbourne | 174 | 1126 forward 307 reverse | Covered | There is compression at Gooding. | No plans. | Data shown from 2025 VGPR
South East Australia Gas (“SEA Gas”) Mortlake Pipeline | The Mortlake pipeline begins at Iona and ends at the Mortlake Power station. It is 83km in length and 500mm in diameter. There is currently no compression installed on the Mortlake pipeline. | Online | VIC | APA Group (50 percent), Retail Employees Superannuation Trust (50 percent) | SEA Gas | 2011 | Port Campbell | Mortlake power station. | 83 | 150 forward 50 reverse | Not Covered | Nil | No plans | Data shown from 2025 GSOO
South East Australia Gas (“SEA Gas”) Port Campbell – Adelaide (“PCA”) Pipeline | The PCA pipeline begins at Port Campbell in VIC and ends at Pelican Point in Adelaide, SA. It is approximately 689km in length, of which approximately half consists of twin 350mm diameter pipelines and the remainder is 450mm in diameter. There are two mid-line compressors, one at Miakite in Victoria and the other at Coomandook in South Australia. | Online | SA / VIC | APA Group (50 percent), Retail Employees Superannuation Trust (50 percent) | SEA Gas | 2004 | Port Campbell | Adelaide | 689 | 250 | Not Covered | There are currently two compressor stations at approximately the ¼ and ¾ point of SEA Gas’ Port Campbell to Adelaide pipeline. The compressor stations became operational in February 2004 and January 2005 respectively. Each compressor station consists of a 4.5MW Solar Centaur compressor driven by a gas turbine which utilises gas from the pipeline as fuel. | No plans. | Data shown from 2025 GSOO
APLNG Pipeline | APLNG's high pressure pipelines begins at the APLNG Surat and Bowen basin fields and connects at Wandoan from where a single pipe connects to APLNG's LNG facility on Curtis Island. APLNG also owns other high pressure pipelines and laterals. Collectively, APLNG Pipelines. | Online | QLD | APLNG | Origin Energy as upstream operator of APLNG | 2013 | APLNG Surat and Bowen basin fields | Curtis Island | 365 | 1630 | All APLNG's pipelines have part 23 exception. A section of APLNGs high pressure pipeline is covered by the 15 year green field no covered exception. | NIL | No expansion plans at present. | Data shown from 2025 GSOO
Braemar 2 Pipeline | The pipeline is a high-pressure buried steel pipeline to transport coal seam gas from the Daandine Central Gas Processing Facility to the Braemar 2 Power Station. It is approximately 107 Km in length. | Online | QLD | Arrow | Energy Infrastructure Management Pty Ltd | 2009 | Daandine Central Gas Processing Facility | Braemar 2 Power Station | 107 | 219 | Non Scheme Pipeline | The Braemar 2 Pipeline has no dedicated inline or boost compression. | None Currently Planned | Data shown from 2025 GSOO
Moomba to Adelaide Pipeline System (“MAPS”) | The Moomba to Adelaide Pipeline (MAPS) was developed by the Pipelines Authority of South Australia (a Government owned utility) and commenced operation on 28 November 1969, delivering gas from Moomba, in the Cooper Basin, for use in South Australian power generation, industrial and domestic applications. The MAPS is now owned and operated by Epic Energy South Australia who are owned by Q-Super. The MAPS supplies gas to regional centres as well as to Adelaide. A pipeline lateral running from the mainline supplies Port Pirie and Whyalla which has a maximum capacity of 24 TJ per day. An additional lateral to Angaston delivers gas to industrial users and into the Envestra-owned Riverland Pipeline that, in turn, supplies gas users in Berri, Murray Bridge and Mildura at a capacity of 22 TJ per day. In addition to delivering gas from the Cooper Basin into the South Australian market, the MAPS can receive gas from southeast Queensland through the APA-owned 'QSN Link' and from Victoria through the SEA Gas pipeline. The nameplate capacity of the complete Moomba to Adelaide Pipeline System is 249 TJ per day. The MAPS provides a critical role supporting the non dispatchable intermittent renewable energy in SA via providing dispatchable, firm gas transport to fast start, low emission gas fired generation. | Online | SA | Epic Energy South Australia | Epic Energy South Australia | 1969 | Moomba | Adelaide | 1185 | 249 South 85 North | Not Covered | The MAPS has 8 mainline compressors (at 4 stations) and 2 lateral inlet compressors (Angaston lateral and Port Pirie lateral). | None planned | Data shown from 2025 GSOO
Comet Ridge to Wallumbilla Pipeline | The Comet Ridge to Wallumbilla Pipeline (CRWP) and Loop are non-scheme transmission pipelines owned and operated by GLNG Operations Pty Limited (GLNG) which is a joint venture between Santos, Petronas, Total and Korea Gas Corporation. The CRWP was constructed in 2007 and is 127km in length. The CRWP is a bi-directional pipeline which connects the Fairview Gas Fields at Comet Ridge to the Wallumbilla Gas Hub near Roma in Queensland. Since GLNGâ€™s LNG export facility commenced operation in 2015, the CRWP has generally transported gas in a northerly direction to GLNGâ€™s Gas Transmission Pipeline (GTP) for transport to its LNG facility at Gladstone. The Comet Ridge to Wallumbilla Loop (CRWP Loop) was constructed in 2014 and is 120 km in length. The CRWP Loop runs parallel to the CRWP and is designed only to transport gas in a northerly direction from Wallumbilla. The CRWP and CRWP Loop can be operated independently and are also connected to GLNGâ€™s Roma Underground Gas Storage Facility via the Roma Compressor Station. | Complete and operational. | QLD | GLNG | GLNG | 2007 | GLNG Surat and Bowen Basin fields | Wallumbilla | CRWP 127km CRWP loop 120km | 950 North 175 South | Not Covered | Not provided. | NA | Data shown from 2025 GSOO
GLNG GTP Pipeline | The Gas Transmission Pipeline (GTP) is a non-scheme transmission pipeline owned and operated by GLNG Operations Pty Limited (GLNG) which is a joint venture between Santos, Petronas, Total and Korea Gas Corporation. The GLNG GTP is a 420 kilometre, 42-inch transmission pipeline, which connects GLNG's gas fields in the Surat and Bowen Basins, Queensland, to the GLNG LNG facility at Curtis Island. Construction of the GTP commenced in 2012 and was completed in 2014. The GLNG GTP is designed only to transport gas in an easterly direction to Curtis Island. | Online | QLD | GLNG | GLNG | 2014 | GLNG Surat and Bowen Basin fields | Gladstone | 420 | 1430 | Not covered and has a no coverage exemption | Compression is provided by GLNG Field Hubs and from Wallumbilla. |  | Data shown from 2025 GSOO
Atlas Gas Pipeline | The Atlas Gas Processing Facility transports gas from Senex's Atlas Gas Field to Jemena’s Darling Downs Pipeline (PPL134). The Atlas Gas Processing Facility is located adjacent to the Atlas Gas Field and once fully commissioned will have capacity to process and deliver up to 32 TJ/d of gas into the Darling Downs Pipeline (PPL134). | Commissioning | QLD | Jemena Ltd - owned by State Grid of China (60%) and Singapore Power International (40%) | Jemena | November 2019 | Senex Atlas Gas Fields | Darling Downs Pipeline PPL 134 | 60 | Commercial in confidence | Not Covered | Start of line compression | Commercial in confidence | Data shown from 2025 GSOO
Darling Downs Pipeline (“DDP”) | The 292 km interconnected bi-directional pipeline provide gas to Darling Downs Power Station, APLNG's export pipeline and also links to the Wallumbilla Gas Hub | Online | QLD | Jemena Ltd - owned by State Grid of China (60%) and Singapore Power International (40%) | Jemena Ltd | 2009 | APLNG Surat and Bowen basin fields | Wallumbilla Gas Hub Darling Downs Power Station APLNG Pipeline | 292 | DDP90 Southern 155 TJ/d DDP133 Western 502 TJ/d DDP133 Eastern 160 TJ/d DDP134 Western 365 TJ/d DDP134 Eastern 268 TJ/d | Not covered | Nil | Refer to Jemena Website: https://www.jemena.com.au/siteassets/asset-folder/documents/pipeline/ddp/ddp-tariffs---1-jan-2024.pdf | Data shown from 2025 GSOO
Eastern Gas Pipeline (“EGP”) | The EGP begins at Longford in VIC and ends at Sydney in NSW. The pipeline was commissioned in 2000 and is owned and operated by Jemena. The 797 km EGP transports gas primarily from Gippsland Basin fields at Longford and Orbost in VIC, to markets in the ACT, Sydney, and regional centres along its route. Jemena EGP includes an important interconnection lateral near Wilton in NSW which will facilitate deliveries on to the MSP. The pipeline also interconnects with Jemena’s VicHub facility, which enables gas to flow between the EGP and the VTS. | Online | VIC / NSW | Jemena Ltd - owned by State Grid of China (60%) and Singapore Power International (40%) | Jemena Ltd | 2000 | Longford | Sydney | 797 | Capacity - From Victoria to NSW 350 (Summer) 362 (Winter) | Not Covered | Seven compressors. | To facilitate the transport of gas associated with the proposed import terminal at Port Kembla, it is proposed that the EGP will be modified, with minimal cost, to allow the transport of gas both in a northerly and southerly direction (to Vic). With such minor modifications, the EGP will be capable of receipting more than the 520TJ/d of gas that could be injected as proposed by AIE. | Data shown from 2025 GSOO
Northern Gas Pipeline (“NGP”) | The 622km Northern Gas Pipeline links Tennant Creek in the Territory to Mount Isa in Queensland, unlocking the next phase of economic growth for the Territory and help build a stronger Northern Australia. | Online | NT / QLD | Jemena Ltd - owned by State Grid of China (60%) and Singapore Power International (40%) | Jemena Ltd | January 2019 | Tennant Creek | Mt Isa | 622 | 106 | Not Covered | The NGP has start and end of line compressors. | The NGP can be expanded by adding mid-line compression and looping. | Data shown from 2025 GSOO
Queensland Gas Pipeline (“QGP”) | The Queensland Gas pipeline links the Wallumbilla Gas hub nin central Qld to large industrial gas uders in Gladstone and Rockhampton | Online | QLD | Jemena Ltd - owned by State Grid of China (60%) and Singapore Power International (40%) | Jemena Ltd | 1990 | Wallumbilla | Gladstone and Rockhampton | 627 | 145 TJ/d North 37.2 TJ/d South | Not Covered | The QGP has two inline compressor stations. One at Rolleston and another at Banana. | NA | Data shown from 2025 GSOO
North Queensland Gas Pipeline (“NQGP”) | The NQGP begins at Moranbah in QLD and ends at Townsville in QLD. The pipeline is wholly owned by the North Queensland Pipeline No. 1 and 2 and operated by Energy Infrastructure Management Pty Ltd. First gas flow along the 392 km pipeline began in 2004 to provide CSG from the Moranbah gas fields in the Bowen Basin to Townsville’s Yabulu 220 MW combined cycle power station, and industrial customers in the Townsville area. Capacity is estimated at 110 TJ per day. The NQGP is a stand-alone pipeline that is not connected to any other pipelines in south east Australia gas network and is currently unregulated. | Online | QLD | North Queensland Pipeline No. 2 | NQGP / Worley Power Services | 2003 | Moranbah | Townsville | 370 | 108 20 (maximum flow from storage to DNM delivery point) | Not Regulated. | None | NA | Data shown from 2025 GSOO
Tasmanian Gas Pipeline (“TGP”) | The Tasmanian Gas Pipeline (TGP) is a subsea and onshore pipeline of approximately 740km in length, which starts at the Longford Compressor Station (Victoria) and finishes in Hobart and Port Latta (NW) Tasmania. The subsea section is approximately 300km in length, 14” internal diameter and has a maximum allowable operating pressure of 15.3MPa. Onshore is an 8” pipeline that runs from Bell Bay (Tamar Valley Power Station) to Hobart, and a 6” pipeline that runs from Rosevale to Port Latta. The onshore pipeline south of Bell Bay has a maximum allowable operating pressure of 10.2MPa. TasHub, connects the TGP into the Longford to Melbourne pipeline and facilitates a flow of up to 120TJ/day into the VTS from gas stored on TGP. Stored gas is up to a maximum of 150TJ/Day | Online | VIC / TAS | Tasmanian Gas Pipeline Pty Ltd (TGPPL) | Tasmanian Gas Pipeline Pty Ltd | 2002 | Longford | Hobart | 740 | 129 | Not Covered | TGP does not own or operate any compressors | N/A | Data shown from 2025 GSOO
Hunter Gas Pipeline | A new build high pressure gas pipeline to connect Santos’ proposed Narrabri Gas Project with the east coast domestic gas market at Newcastle (Hexham) | Proposed | NSW | Santos | Santos | Not available at this stage | Narrabri Gas Plant | Hexham | 413 | TBD but planning for up to 200 TJ/d | N/A | Nil | Reverse flow not under consideration | Data shown from 2025 GSOO
Arrow Bowen Pipeline | The pipeline is a proposed high-pressure buried steel pipeline to transport coal seam gas from Arrow’s proposed Bowen Gas Project in the Bowen Basin to Gladstone. The environmental impact statement for the pipeline was approved by the State in March 2013 and Commonwealth approval was given in October 2014. A petroleum pipeline licence and environmental authority were issued by the State respectively, in November 2016 and April 2017. | Proposed | QLD | Arrow | Not available at this state | Not available at this stage | Arrow’s proposed Bowen Gas Project | Gladstone | 430 | Not available at this stage | Not available at this stage | Not available at this stage | N/A | Data shown from 2025 GSOO
Amadeus Gas Pipeline | The bi-directional Amadeus Gas Pipeline (AGP) is a transmission pipeline that extends from the Amadeus Basin in the south of the Northern Territory to Darwin, in the north. It transports natural gas to Darwin, Alice Springs and regional centres, principally to fuel power generation as well as connects into the Northern Gas Pipeline (NGP) and exports to Queensland. | Online | NT | APA | APA | 1986 | Amadeus Gas Fields | Darwin | 1658 | 166 North 50 South | Not Regulated | Not available | N/A | Data shown from 2025 GSOO
Boneparte Gas Pipeline | The 287 kilometre Bonaparte Gas Pipeline (BGP) is a transmission pipeline that starts at Wadeye, transporting gas from the Blacktip gas field in the Timor Sea to the Amadeus Gas Pipeline at Ban Ban Springs. Gas from the BGP is also delivered via a small lateral to the remote power station near the town of Wadeye. | Online | NT | The APA Group via Energy Infrastructure Investments Marubini Osaka Gas | APA | 2008 | Wadeye | Amadeus Gas Pipeline at Ban Ban Springs | 287 | 108 | Not Regulated | Not available | N/A | Data shown from 2025 GSOO
Tanami Gas Pipeline | The Tanami Gas Pipeline is a 440km transmission pipeline in the Northern Territory that transports gas from the Amadeus basin to gas fired power stations at Granites and Dead Bullock Soak, which power the Tanami gold mine in the Tanami desert. | Online | NT | AGI Tanami Pty Ltd, AGIG | AGI Tanami Pty Ltd, AGIG | 2019 | Inlet at Interconnection with Amadeus Pipeline | Granites Meter Station and Dead Bullock Soak Meter Station | 441 | 13 |  | No compressor | N/A | Data shown from 2025 GSOO
Reedy Creek Wallumbilla Pipeline | The 48.5-kilometre bi-directional Reedy Creek Wallumbilla Pipeline (RCWP) is a transmission pipeline that links Reedy Creek and Wallumbilla. | Online | QLD | APA Group | APA Group | 2018 | Wallumbilla | Reedy Creek | 49 | 300 (Capacity North) 520 (Capacity (Southern) |  | N/A | N/A | Data shown from 2025 GSOO
Pakenham To Lang Lang Pipeline | A buried high-pressure natural gas pipeline that plays a vital role in helping to supply gas to Victorian households and businesses. BPP is a 35 km long, 250 mm diameter welded-steel wall pipeline. The BPP pipeline is buried at a minimum depth of 900 mm. | Online | VIC | Bass Gas Joint Venture | Beach Energy | 2006 | Lang Lang Gas Plant | Dore Road Main Line Valve 9 Station | 35 | 67 |  | N/A | N/A | Data shown from 2025 GSOO
South East Pipeline System (“SEPS”) | The SEPS was constructed by the Pipeline Authority of South Australia (PASA - a Government owned utility) in 1990 to transport natural gas from the Katnook gas fields south of Penola to consumers near Penola, Tantanoola and Mount Gambier. Epic Energy acquired the pipeline from PASA in 1995. Following a gradual decline in the availability of gas from the Katnook gas field, the APA-owned South East South Australia (SESA) Pipeline was commissioned in 2005 to supply gas into the SEPS from the SEAGas pipeline. SESA is currently the only source of gas on to the SEPS. Epic Energy is owned by Q-Super. | Online | SA | Epic Energy South Australia | Epic Energy South Australia | 1990 | Katnook | Snuggery | 83 | 16 |  | N/A | N/A | Data shown from 2025 GSOO
Gas Pipeline Victoria (“GPV”) | Carisbrook to Horsham with lateral to Ararat. | Online | VIC | Gas Pipeline Victoria part of Solstice Energy Holdings | GPV and Tas Gas Networks (part of the Solstice Energy Group) | 1998 | Carisbrook | Horsham and Ararat | 182 |  |  | N/A | N/A | Data shown from 2025 GSOO
Vichub | VicHub is a transmission pipeline located at Longford Victoria that links the Declared Wholesale Gas Market (DWGM) and the Eastern Gas Pipeline (EGP). It provides transportation for shippers who either receive gas at the Patricia Baleen Gas Plant (Orbost Receipt Point) and require access to the DWGM, or seek to store gas on the Eastern Gas Pipeline. | Online | VIC | Jemena Ltd - owned by State Grid of China (60%) and Singapore Power International (40%) | Jemena | 2003 | Longford, DWGM Withdrawal | Longford, DWGM Injection | 2 | 150 |  | N/A | N/A | Data shown from 2025 GSOO
Colongra Lateral Pipeline | The Colongra Gas Transmission and Storage Pipeline was designed and built by Jemena to deliver gas to Snowy Hydro Limited's 667MW gas turbine facility near the existing Munmorah power station on the Central Coast of NSW. The pipeline also stores enough gas to allow the power station to run at full capacity for five hours. | Online | NSW | Jemena Ltd - owned by State Grid of China (60%) and Singapore Power International (40%) | Jemena | 2009 | Munmorah Compressor Station (Plumpton to Hexham Trunkline) | Munmorah Delivery Station | 9 | 43 |  | N/A | N/A | Data shown from 2025 GSOO
Port Campbell to Iona Pipeline | The PCI pipeline begins at Port Campbell in VIC, and ends at Iona in VIC. The PCI pipeline commenced operations in 2004 and is 12 km in length. It transports gas from Otway Basin fields near Port Campbell and Iona in VIC to the PCA pipeline, South West Pipeline and Mortlake Pipeline | Online | VIC | APA Group (50 percent), Retail Employees Superannuation Trust (50 percent) | SEA Gas | 2004 | Port Campbell | Iona | 12 | 400 |  | N/A | N/A | Data shown from 2025 GSOO
EO4 | The EO4 pipeline connects the Windibri Central Processing Plant to the Kenya Central Processing Plant. | Online | QLD | QGC | QGC | 2013 | Windibri Central Processing Plant | Kenya Central Processing Plant | 20 | 148 receipt from Windibri 190 receipt from Kenya |  |  |  | Data shown from 2025 GSOO

## Processing
Central and Eastern Australian Natural Gas Processing Facilities
This worksheet summarises the key information for each proposed and committed gas processing facility in central and eastern Australia (including the Northern Territory).
This worksheet is not a comprehensive list of all natural gas processing facilities. It only includes non-confidential information on processing facilities that has been provided to AEMO from proponents.
Name | Description | Status | Location | Ownership | Operator | Basin | First Production | Type of Gas Processed | Capacity (TJ/day) | Gas Field Connections | Pipeline Connections | Expansions | Source
Wallumbilla (Wungoona) Gas Plant | The Wallumbilla gas plant is located 13 km south of Wallumbilla and is connected via a dedicated (bi-directional) pipeline to the Silver Springs gas project. The plant is wholly-owned and operated by AGL. The plant’s primary function is to process gas for supply into the RBP and recover LPG. The plant’s operation is integrated with the Silver Springs gas project. The plant was off line for some time, during which it underwent modification and refurbishment. The plant was recommissioned and returned into service in 2015. | Online | QLD | AGL | AGL | Surat | 1984 | Conventional and Coal Seam Gas | 20 | Silver Springs plant, Churchie gas Plant | RBP Silver Springs to Wallumbilla pipeline (bi-directional) | N/A | Data shown from 2025 GSOO
Orbost Gas Plant (Patricia-Baleen) | The Orbost gas plant is located near Orbost on the north-east coast of Victoria. The facility was originally used to process gas from the now depleted Patricia-Baleen field. Once commissioned, the facility will process gas from Cooper Energy's Sole gas field for export to the EGP to meet demand on the eastern seaboard. Capacity is estimated to be 68 TJ per day once the facility upgrade is completed. | Online | VIC | Cooper Energy Ltd. | Cooper Energy Ltd. | Gippsland Basin | 2003 | Conventional | 68 | Sole | EGP | Commercial in confidence | Data shown from 2025 GSOO
Condabri Central Gas Plant | The Condabri Central Gas Plant is located near Chinchilla, QLD. | Online | QLD | APLNG | Origin as Upstream Operator on behalf of APLNG | Bowen Surat | 2014 | Coal Seam Gas | 210 | ATP 702, ATP 692 | Condabri Lateral South (PPL163) Condabri Lateral North (PPL163) Talinga Condabri Pipeline (PPL171) | N/A | Data shown from 2025 GSOO
Condabri North Gas Plant | The Condabri North Gas Plant is located near Chinchilla, QLD. | Online | QLD | APLNG | Origin as Upstream Operator on behalf of APLNG | Bowen Surat | 2015 | Coal Seam Gas | 210 | ATP 702, ATP 692 | APLNG Pipeline | N/A | Data shown from 2025 GSOO
Condabri South Gas Plant | The Condabri South Gas Plant is located near Chinchilla, QLD. | Online | QLD | APLNG | Origin as Upstream Operator on behalf of APLNG | Bowen Surat | 2015 | Coal Seam Gas | 210 | ATP 702, ATP 1178, ATP 2018, ATP 788 | APLNG Pipeline | N/A | Data shown from 2025 GSOO
Orana Gas Plant | The Orana plant is owned by APLNG and operated by Origin. | Online | QLD | APLNG | Origin as Upstream Operator on behalf of APLNG | Bowen Surat | 2014 | Coal Seam Gas | 210 | ATP 692 | Darling Downs Pipeline PPL 133 (Owned by Jemena) | N/A | Data shown from 2025 GSOO
Peat Gas Plant | The Peat gas plant is located near Wandoan in central QLD. | Online | QLD | APLNG | Origin Energy as upstream operator of APLNG | Bowen Surat Basin | 2001 | Coal Seam Gas | 12 | ATP 525, PL101 | RBP | N/A | Data shown from 2025 GSOO
Spring Gully Gas Plant | The Spring Gully gas plant is located north of Roma in central QLD. | Online | QLD | APLNG | Origin as Upstream Operator on behalf of APLNG | Bowen Surat Basin | 2005 | Coal Seam Gas | 65 | ATP 592, ATP 701 (PL 204) | Gooimbah Lateral (PPL143) Spring Gully Interconnect Pipeline (PPL180) Strathblane to Spring Gully Pipeline (PL195/204) Durham to ML1A Pipeline (PPL90) Jemena owned Spring Gully Taloona Pipeline (PPL180) via PCF Fairview Spring Gully Pipeline (PPL180) via PCF | N/A | Data shown from 2025 GSOO
Strathblane Gas Plant | The Strathblane gas plant is located north of Roma in central QLD. | Online | QLD | APLNG | Origin Energy as upstream operator of APLNG | Bowen Surat Basin | 2007 | Coal Seam Gas | 78 | ATP 592, ATP 701 (PL 204) | Strathblane to Spring Gully Pipeline (PL195/204) | N/A | Data shown from 2025 GSOO
Talinga Gas Plant | The Talinga gas plant is located near Chinchilla in QLD. | Online | QLD | APLNG | Origin Energy as upstream operator of APLNG | Bowen Surat Basin | 2010 | Coal Seam Gas | 110.86 | ATP 692, ATP 2046 | Talinga Condabri Pipeline (PPL171) via PCF Darling Downs Pipeline (PPL133/134) via PCF Talinga Sales Stage 2 Gas (PL226) | N/A | Data shown from 2025 GSOO
Taloona Gas Plant | The Taloona gas plant is located near Roma in central QLD. | Online | QLD | APLNG | Origin Energy as upstream operator of APLNG | Bowen Surat Basin | 2010 | Coal Seam Gas | 61.3358 | ATP 592, ATP 701 (PL 204) | Spring Gully Taloona Pipeline (PPL180) Taloona Gas Plant Trunkline (PL195) | N/A | Data shown from 2025 GSOO
Eurombah Creek Gas Plant | The Eurombah Creek gas plant commenced production in mid-2015, and is located in the Spring Gully area. | Online | QLD | APLNG | Origin as Upstream Operator on behalf of APLNG | Bowen Surat | 2015 | Coal Seam Gas | 210 | ATP 606, ATP 592, ATP 701 (PL 204) | APLNG pipeline | N/A | Data shown from 2025 GSOO
Daandine Central Gas Processing Facility | The facility is located approximately 40 km west of Dalby. It processes coal seam gas from the Daandine, Stratheden and Kogan North gas fields in the Surat Basin. | Existing | QLD | Arrow | Arrow | Surat | 2009 | Coal Seam Gas | 74.34 | Daandine / Stratheden gas field and Kogan North gas field | Braemar 1 Pipeline, Braemar 2 Pipeline and Roma Brisbane Pipeline | N/A | Data shown from 2025 GSOO
Moranbah Gas Processing Facility | The facility is located approximately 1 km from Moranbah. It processes coal seam gas from the Moranbah Gas Project in the Bowen Basin. | Existing | QLD | Queensland Pacific Metals | GR Production Services | Bowen Basin | 2004 | Coal Seam Gas | 68 | Moranbah Gas Project | North Queensland Gas Pipeline | N/A | Data shown from 2025 GSOO
Combabula Gas Plant | The Combabula Gas Plant is located north east of Roma. | Online | QLD | ATP 606 Joint Venture (APLNG, Santos, Fairview) | Origin Energy as upstream operator of APLNG | Bowen Surat Basin | 2014 | Coal Seam Gas | 305 | ATP 606 | APLNG Pipeline | N/A | Data shown from 2025 GSOO
Reedy Creek Gas Plant | The Reedy Creek Gas Plant is located north east of Roma. | Online | QLD | ATP 606P JV parties (92.7% APLNG) | Origin Energy as upstream operator of APLNG | Bowen Surat Basin | 2014 | Coal Seam Gas | 210 | ATP 606 | Eurombah Lateral to Reedy Hub (PPL180) | N/A | Data shown from 2025 GSOO
Otway Gas Plant (Port Campbell) | The Otway gas plant is located north of Port Campbell in south-west VIC. The plant is operated by Beach Energy and began production in 2007. | Online | VIC | Beach Energy (60%)/ OGOG (40%) | Beach Energy | Otway Basin | 2007 | Conventional | 205 | Thylacine, Geographe, Halladale, Speculant, Black Watch, Enterprise | SeaGas, Iona, Melbourne | N/A | Data shown from 2025 GSOO
Athena Gas Plant | The Athena Gas Plant is located approximately 9 km from Port Campbell, Victoria. The Gas Plant was commissioned as Minerva Gas Pant in 2005. It was purchased by Cooper Energy and recommissioned as the Athena Gas Plant. Since December 2021, the Athena Gas Plant has processed gas from the offshore Casino, Henry, and Netherby fields. | Online | VIC | Cooper Energy Ltd. 50%, Mitsui 50% | Not provided. | Otway Basin | 2021 | Conventional | 70 | Casino Henry Gas Field | PCI, PCA | N/A | Data shown from 2025 GSOO
Rolleston Gas Plant | The Rolleston gas plant is located in the northern part of the Denison Trough in QLD near to the Yellowbank processing facilities. | Offline | QLD | Denison Gas | Denison Gas | Bowen Basin | 1990 | Conventional | 11 | Rolleston Junction | QGP | N/A | Data shown from 2025 GSOO
Yellowbank Gas Plant | The Yellowbank gas plant is located in the Carters Gully in south east QLD near to the Rolleston facilities. | Online | QLD | Denison Gas | Denison Gas | Bowen Basin | 1990 | Conventional | 30 | Westgrove Junction | QGP | N/A | Data shown from 2025 GSOO
Kogan North Gas Plant | The Kogan North gas plant is located west of Dalby, in south-east QLD. The plant processes gas from the Kogan North gas field and exports it to the RBP for delivery into the Brisbane market. | Online | QLD | Energy Infrastructure Investments (EII) | APA Group | Bowen Surat Basin | 2006 | Coal Seam Gas | 13 | Kogan North | RBP | N/A | Data shown from 2025 GSOO
Longford Gas Plant | The Longford gas plant is located at Longford in VIC. The plant is operated by Esso a subsidiary of ExxonMobil. Initial production began in 1969 with a second gas plant being added in 1976 and a third in 1983. The current facility consists of three gas plants, gas conditioning plant and a crude stabilization plant, and is the onshore receiving point for oil and conventional gas from the offshore Gippsland Basin fields. Processed gas is used to meet contracts with wholesale gas customers, including retail suppliers, power generators, industrial and other users. Gas is supplied to TAS via the TGP, VIC via the LMP and NSW via the EGP. Current Longford capacity is approximately 1,175 TJ per day. The facility has a large capacity to handle the large volumes of gas produced by the GBJV as well as the peaking nature of the VIC market. | Online | VIC | Esso Australia (Exxon Mobil subsidiary) (50 percent), Woodside (50 percent) | Esso Australia (ExxonMobil subsidiary) | Gippsland Basin | 1969 | Conventional | 700 | Gippsland / Barracouta, Cobia, Gudgeon, Halibut, Kipper, Marlin, Moonfish, North Turrum, Snapper, Tuna/West Tuna, Turrum, West Kingfish | Victoria Declared Transmission System (DTS) - NGP; Eastern Gas Pipeline | N/A | Data shown from 2025 GSOO
Lang Lang Gas Plant | The Lang Lang gas plant is located 70 km south of Melbourne in VIC. | Online | VIC | Beach Energy | Beach Energy | Bass Basin | 2006 | Conventional | 67 | Yolla | Pakenham, South Gippsland | N/A | Data shown from 2025 GSOO
Kenya Gas Plant | The Kenya gas plant is located at Wambo Downs South in QLD. | Online | QLD | QGC (subsidiary of BG Group) | Shell | Surat Basin | 2009 | Coal Seam Gas | 184 | Not provided. | RBP | N/A | Data shown from 2025 GSOO
Bellevue Gas Plant | The Bellevue gas plant is located east of Condamine in QLD. | Online | QLD | QGC Pty Limited | Shell | Surat | 2014 | Coal Seam Gas | 254 | Not provided. | BWP, WGP | N/A | Data shown from 2025 GSOO
Jordan Gas Plant | The Jordan gas plant is located north-east of Tara in QLD. | Online | QLD | QGC Pty Limited | Shell | Surat | March 2015 | Coal Seam Gas | 507 | Not provided. | WGP | N/A | Data shown from 2025 GSOO
Ruby Jo Gas Plant | The Ruby Jo gas plant is located east of Tara in QLD. | Online | QLD | QGC Pty Limited | Shell | Surat | April 2014 | Coal Seam Gas | 507 | Not provided. | WGP | N/A | Data shown from 2025 GSOO
Woleebee Creek Gas Plant | The Woleebee Creek gas plant is located west of Wandoan in QLD. | Online | QLD | QGC Pty Limited | Shell | Surat | March 2015 | Coal Seam Gas | 761 | Not provided. | WGP | N/A | Data shown from 2025 GSOO
Scotia Gas Plant | The Scotia gas facilities are located north of Miles in central QLD. The facilities are owned by the Scotia equity participants and have been processing gas since 2002. Gas is sourced from the Scotia CSG field in the Bowen-Surat Basin before being compressed and dehydrated. Processed gas is currently exported via one of two routes: the APA connection or the Scotia - APLNG interconnect - which in turn provides a route to the southern and Brisbane markets or APLNG. From 2016 gas has also been exported via the gas transmission pipelines to the LNG facilities in Gladstone for liquefaction and sale into the international LNG market. This capacity expansion is complete with 80 TJ/d gross compression capacity available at Scotia. | Online | QLD | Santos GLNG project (76%). Origin (24%) | Santos Limited | Bowen | 2002 | Coal Seam Gas | 95 | Scotia CSG Field | APA and APLNG connections in Scotia | Expansions complete | Data shown from 2025 GSOO
Moomba Gas Plant | The Moomba gas plant is located approximately 800 km north of Adelaide in SA. The plant is owned and operated by STO and produces gas, LPG, crude oil, condensate and ethane. The Moomba facility also houses 20MW of generation capacity and a reverse osmosis treatment plant for water. The facility sources conventional and unconventional gas from over 100 fields in the Cooper-Eromanga basin and gas production from the facility. Gas sales to Adelaide commenced in 1969 (via the MAP), and to Sydney (via the MSP) in 1976. The Moomba plant also incorporates gas storage facilities with the capability to store up to 70 PJ of sales gas with a maximum withdrawal capacity of 120 TJ/d. | Online | SA | Santos (66.6 percent), Beach (33.4 percent) | Santos Limited | Cooper Eromanga Basin | 1969 | Conventional and Unconventional | 290 | SACB, SWQ JV, PE, PEL106B, SWJV (SACB), 3rd parties | MAP, MSP, SWQP and liquids export line to Port Bonython | There are no plans to expand Moomba Gas Plant processing capacity. | Data shown from 2025 GSOO
Fairview Gas Facilities | The Fairview gas facilities are located north of Roma in central QLD. The facilities are owned by the Fairview equity participants and have been processing gas since 1997. Gas is sourced from the GLNG / APLNG owned Fairview CSG field in the Bowen-Surat Basin before being compressed and dehydrated. Processed gas is currently exported via one of two routes: the Fairview lateral of the QGP or the Comet Ridge to Wallumbilla Pipeline - which in turn provides a route to the southern and Brisbane markets. From 2015 gas has been exported via the gas transmission pipelines to the LNG facilities in Gladstone for liquefaction and sale into the international LNG market. This capacity expansion is complete with 580 TJ/d gross compression capacity available at Fairview. | Online | QLD | Santos GLNG project (76%). Origin (24%) | Santos | Bowen | 1977 | Coal Seam Gas | 580 | Fairview | Fairview lateral of the QGP or the Comet Ridge to Wallumbilla Pipeline | N/A | Data shown from 2025 GSOO
Roma Gas Facilities | The Roma gas facilities are located east of Roma in central QLD. Roma facilities are owned by the GLNG Project Participants and gas is sourced from the GLNG owned Roma CSG field (note that Roma East field is owned by GLNG Project Participants and APLNG). Gas is sourced from the Roma CSG field in the Bowen-Surat Basin before being compressed and dehydrated. Processed gas is exported via the gas transmission pipelines to the LNG facilities in Gladstone for liquefaction and sale into the international LNG market. The Roma field has 282 TJ/d compression capacity. The Roma Underground Gas Storage facility utilises compression in the Roma Gas facility. | Online | QLD | Santos GLNG project (100%) | Santos Limited | Surat | No Entry | Coal Seam Gas | 280 | Roma | GTP pipeline | Roma SD20 - Last well online Q2 2022 | Data shown from 2025 GSOO
Arcadia Gas Facilities | The Arcadia gas facilities are located north of Roma in central QLD. The facilities are owned by the Fairview equity participants and have been processing gas since into the GTP since 2016. Gas is sourced from the GLNG / APLNG owned Arcadia CSG field in the Bowen-Surat Basin before being compressed and dehydrated. Processed gas is currently exported via the Arcadia lateral to the GTP. The original facility had a capacity of 10 TJ/d however this was expanded in 2019 to a capacity of 90 TJ/d (Arcadia Compressor Station 02), then in 2023 to 145 TJ/d with the addition of Arcadia Compressor Station 03. | Online | QLD | Santos GLNG project (76%). Origin (24%) | Santos | Bowen | 2016 | Coal Seam Gas | 105 | Arcadia | Arcadia GTP | Expansions complete | Data shown from 2025 GSOO
Tipton Central Gas Processing Facility | The facility is located approximately 40 km west of Dalby. It processes coal seam gas from the Tipton gas fields in the Surat Basin. | Existing | QLD | Arrow | Arrow | Surat | 2007 | Coal Seam Gas | 39 | Tipton West gas field | No entry | N/A | Data shown from 2025 GSOO
Girrahween Field Compression Station | The facility is located approximately 18 km north of Miles. It processes coal seam gas from the Girrahween gas fields in the Surat Basin. | Proposed | QLD | Arrow | Arrow | Surat | 2027 | Coal Seam Gas | 121 | Girrahween gas field | Pipeline connection to Bellevue CPP inlet. | N/A | Data shown from 2025 GSOO
Lynwood Field Compression Station | The facility is located approximately 9.5 km northwest of Cecil Plains. It processes coal seam gas from the Lynwood gas fields in the Surat Basin. | Proposed | QLD | Arrow | Arrow | Surat | 2028 | Coal Seam Gas | 171 | Lynwood gas field | Pipeline connection to Jordan CPP inlet. | N/A | Data shown from 2025 GSOO
Atlas Gas Processing Facility | Atlas Gas Processing Facility is a gas processing utilised to process raw gas produced by Senex for delivery to the Australian domestic gas market. | Existing | QLD | Jemena Ltd - owned by State Grid of China (60%) and Singapore Power International (40%) | Jemena | Surat | 2019 | Coal Seam Gas | 48 | Atlas Gas Field | Atlas Lateral - DDP | N/A | Data shown from 2025 GSOO
Roma North Gas Processing Facility | The Roma North Gas Processing Facility is dedicated to processing gas produced by Senex and delivered to GLNG for export. | Existing | QLD | Jemena Roma North Pipeline Pty Ltd | Jemena | Surat | 2020 | Coal Seam Gas | 24 | Roma North Gas Field | GLNG Pipeline | N/A | Data shown from 2025 GSOO
Narrabri Gas Plant | The Narrabri CSG project is located in the Gunnedah Basin in north central NSW. The field produces small volumes of coal seam gas, which is used for electricity generation at the local Wilga Park power station. | Existing | NSW | Santos | Santos Limited | Gunnedah | N/A | Coal Seam Gas | Commercial in confidence | Narrabri CSG Field | Wilga Park Power Station | N/A | Data shown from 2025 GSOO
Windibri Central Processing Plant | Not provided | Existing | QLD | Various (Shell, CNOOC, TG and APLNG) | Shell | Surat | N/A | Coal Seam Gas | 147 | Not provided. | Not provided. | N/A | Data shown from 2025 GSOO
Kincora Processing Facility | Gas Processing | Online | Surat, Qld | Armour Energy (Surat Basin) Pty Limited | Armour Energy (Surat Basin) Pty Limited | Surat Basin | 1985 | Wet Gas | 15 | Kincora Gas Fields | PPL3 | N/A | Data shown from 2025 GSOO
Golden Beach | Underground Gas Storage | Anticipated | VIC | GB Energy (Vic) Pty Ltd | GB Energy (Vic) Pty Ltd | Gippsland Basin | 2028 | Conventional | 375 | Golden Beach Gas Field | Proposed connections to Victorian Transmission System and Eastern Gas Pipeline | N/A | Data shown from 2025 GSOO
Atlas Compression Facility | Production & Compression | Pre Commissioning | QLD | Senex Energy Pty Ltd Group Entities | Senex Energy Pty Ltd Group Entities | Surat Basin / Atlas | N/A | Coal Seam Gas | 57 | Atlas (PL1037, PL1127, ATP409, PL209) | Atlas Lateral Export Pipeline | N/A | Data shown from 2025 GSOO
Ballera Gas Plant | The Ballera gas plant is located in south-west QLD. The plant is jointly owned by STO (operator) and BPT. First production began in 1994 with current gas being sourced from approximately 45 conventional gas fields in the Cooper-Eromanga Basin. The Ballera facility recovers natural gas as well as gas liquids. The Ballera facility also houses 45MW of generation capacity and a membrane treatment plant for water. | Online | QLD | Santos (60.06 percent), Beach (39.94 percent) | Santos Limited | Cooper Eromanga Basin | 1994 | Conventional | N/A | SWQ JV | Ballera raw production is processed through Moomba Plant | N/A | Data shown from 2025 GSOO
Meridian SeamGas Gacility | The Meridian SeamGas facility is located 160km west of Gladstone in Queensland. The facility was Australia's first commercial CSG producer in the late 1990s. | Online | QLD | Westside Corporation Pty Ltd [incl. subsidiaries] (51%), Mitsui E&P Australia Pty Ltd (49%) | Westside Corporation Pty Ltd | Bowen Basin | Late 1990s | Coal Seam Gas | 57 | Greater Meridian | QGP at Moura, GLNG GTP at Moura | N/A | Data shown from 2025 GSOO
Mimas - Roma North Facility | Production & Compression | Under Construction | QLD | Senex Energy Pty Ltd Group Entities | Senex Energy Pty Ltd Group Entities | Surat Basin / Roma North | 2025 | Coal Seam Gas | 28.5 | Roma North (PL1022, PL1023, PL1024) | Comet Ridge Wallumbilla Pipeline | N/A | Data shown from 2025 GSOO
LNG Regasification Terminal - Port Kembla | N/A | Proposed | Port Kembla, NSW | Australian Industrial Energy | N/A | N/A | 2026 | N/A | 500 | N/A | The regasification terminal would be connected to the Eastern Gas Pipeline via a 12 km lateral to be built by Jemena. | N/A | Data shown from 2025 GSOO
LNG Regasification Terminal - Vopak Victoria LNG | N/A | Proposed | Offshore Avalon, Port Phillip Bay, Victoria | Vopak LNG (100%) | Vopak LNG (100%) | N/A | 2028 | Liquefied Natural Gas Fixed Assets can be Hydrogen capable | Up to 778 TJ/d | N/A | SWP Pipeline @ Avalon - Little River | N/A | Data shown from 2025 GSOO
LNG Regasification Terminal - Geelong Gas Terminal Project | N/A | Proposed | Geelong Refinery, Geelong, VIC | Viva Energy Australia | Viva Energy Refining | N/A | 2027 | LNG | 620 | N/A | 4 km lateral from PDS at Refinery boundary to Lara City Gate VTS connection | N/A | Data shown from 2025 GSOO
LNG Regasification Terminal - Venice Energy LNG Import Project | N/A | Proposed | Outer Harbour, Adelaide | Private Equity | Venice Energy | N/A | 2026 | Australian and overseas LNG | Up to 446 TJ/d | N/A | Custody transfer point at the current transfer facility south of Pelican Point power station. | N/A | Data shown from 2025 GSOO

## Storage
Central and Eastern Australian Natural Gas Storage Facilities
This worksheet summarises the key information for each proposed and committed gas storage facility in central and eastern Australia (including the Northern Territory).
This worksheet is not a comprehensive list of all natural gas storage facilities. It only includes non-confidential information on storage facilities that has been provided to AEMO from proponents.
Name | Description | Status | Location | Ownership | Operator | Field | First Storage | Injection Rate into Storage (TJ/day) | Withdrawal Rate from Storage (TJ/day) | Storage Capacity (PJ) | Expansions | Source
Newcastle Gas Storage Facility | The Newcastle gas storage facility is located at Tomago, 14 km north west of Newcastle. The facility supports peak winter demand in the Sydney-Newcastle area, allows supply of gas into the Sydney STTM, and provides emergency supply during periods of system interruption. The facility incorporates liquefaction, LNG storage and regasification plant, a truck load-out facility and two high-pressure (bi-directional) gas pipelines. These pipelines connect the facility to the Jemena Sydney network in two locations, directly at site and at the Hexham meter station. | Online | Tomago NSW | AGL | AGL | LNG Tank | 2016 | 11 | 120 | 1.6 | N/A | Data shown from 2025 GSOO
Silver Springs Gas Storage | The Silver Springs gas storage facility is integrated with the Silver Springs plant and located approximately 100 km south of Roma. The facility is wholly-owned and operated by AGL. The facility was commissioned for gas injection in 2011 and utilises the depleted Silver Springs and Renlim gas reservoirs. Commenced active operations of injection and withdrawal in May 2016. | Online | Surat QLD | AGL | AGL | Bowen Basin | 2011 | 5 (Reservoir is currently configured only to withdraw) | 25 (Withdrawal capacity is impacted due to early water ingress. The withdrawal rate is limited to manage water production to 5TJ/d) | 38 | N/A | Data shown from 2025 GSOO
LNG Storage Dandenong | The Dandenong LNG facility is located in VIC and owned by APA Group. It serves the market by providing peak gas supply to the Victorian Transmission System as well as providing a truck loading station for LNG tankers. The facility stores liquefied natural gas at low pressure with a storage capacity of 680 TJ. Liquefaction (injection) capacity is 8.2 TJ per day, while vaporisation (withdrawal) capacity is 87 TJ per day up to 237 TJ per day (maximum). Despite above capacities, APA’s contractual obligation for vapourisation capabilities/rates is set out in the “LNG Storage Facility Agreement” (and any other “LNG Storage Agreements”) between Retailers and holders of LNG in the LNG Storage Facility. In summary, APA whilst capable of injecting at rates up to 180 max contractually only obligated to vaporise LNG up to: (1) 100 tonnes per hour; and (2) the amount of LNG in the LNG Storage Facility that has been allocated to the Retailer. | Online | VIC | APA Group | APA Group | LNG tank | 1980 | 8.2 | 87 | 0.68 | There are currently no expansion plans | Data shown from 2025 GSOO
Iona Underground Gas Storage | The Iona Gas Storage Facility is located near Port Campbell in south-west VIC. The facility is operated by Lochard Energy and makes use of the depleted Iona, North Paaratte and Wallaby Creek gas fields to store up to a maximum of 23.5 PJ of gas. Storage capacity is forecast to increase to 24 PJ once Seamer storage field is online. Gas withdrawn from the reservoirs is processed by the Iona Gas Plant and supplied to VIC via the Mortlake and SWP, and to Adelaide via the SEA Gas Pipeline. Total storage reservoir injection and withdrawal capacities are up to 155 TJ per day and up to 558 TJ per day, respectively. These rates are Lochard’s current best estimate at the date of the data submission, based on modelling done to date and operational experience. | Online | Port Campbell, Victoria | Australian Retirement Trust (ART) and Queensland Investment Corporation (QIC) | Lochard Energy | Iona Gas Field, North Paaratte Gas Field, Wallaby Creek Gas & Seamer Fields | 2000 | 155 | 570 | Up to a maximum of 24.4 PJ. | Lochard Energy has proposed the Heytesbury Underground Gas Storage Project as an upgrade to the Iona UGS storage facility. | Data shown from 2025 GSOO
Heytesbury Underground Gas Storage Project (HUGS) | The HUGS Project is focused on the development of the Mylor Flied and associated pipeline extensions and facility upgrades. | Execute Project Phase | Port Campbell, Victoria | Australian Retirement Trust (ART) and Queensland Investment Corporation (QIC) | Lochard Energy | Mylor field | No Entry | 11.25 | 45 | 1.8 - 3.5 PJ | Second phase of HUGS Project will consider developing additional storage fields that will increase the reservoir injection and storage capacity. The addition of reservoir withdrawal capacity for injection into pipelines will require gas plant augmentations, which is not considered in the concept phase, considering the capacity of SWP. | Data shown from 2025 GSOO
Roma Underground Storage | The RUGS facility is located near Roma where it utilises depleted conventional reservoirs in the Roma area. The facility can receive gas from the Roma field only, and The facility is owned by Santos Limited. The RUGS facility is not used to provide storage capacity into the market. | Online | QLD | Santos | Santos Limited | Roma fields | 2011 | 92 | 75 | 54 | N/A | Data shown from 2025 GSOO
Moomba Underground Gas Storage | The Moomba underground gas storage facility is located approximately 800 km north of Adelaide in SA. The facility is owned and operated by Santos Limited. Depleted reservoirs in the Moomba South field are used to store up to 100 PJ of gas. The facility is currently operating in withdrawal-mode only. Moomba gas plant is used to process gas withdrawn from storage, there is no separate gas processing facility. | Online (withdrawal only) | SA | Santos (66.6 percent), Beach (33.4 percent) | Santos Limited | In South Australia gas is stored in the Moomba field via compression at the Moomba South Central satellite | 1980 | 100 | 10-120 | 70 | No expansions currently approved | Data shown from 2025 GSOO
Golden Beach | Proposed offshore gas development transitioning to underground gas storage | Proposed | Gas Plant 10KM SE of Longford Gas Plant in Victoria. Storage field crest 3 km offshore in Victorian waters, 23 km south and east of the Longford Gas Plant. | GB Energy | GB Energy | Golden Beach Gas Field, Gippsland Basin | 2029 | 187.5 | 375 | 30 | N/A | Data shown from 2025 GSOO

## LNG Export
Queensland Liquefied Natural Gas (LNG) Projects
This worksheet summarises the key information for each LNG export project in Queensland.
This worksheet only includes non-confidential information on LNG export projects that has been provided to AEMO from proponents.
Name | Acronym | Status | Location | Ownership | Online | Gas Field | Gas Source | Trains | Production Capacity (Mtpa) | Expansions | Source
QGC (Curtis Island) | QCLNG | Online | QLD | Shell, CNOOC, MidOcean and Global Infrastructure Partners Australia | Train 1: 2014 Train 2: 2015 | Shell operated Surat Basin PLs | Coal Seam Gas | 2 trains | 8.5 | None | Data shown from 2024 and 2025 GSOO
Australia Pacific LNG | APLNG | Online | QLD | Australia Pacific LNG Pty Ltd through its subsidiaries, Australia Pacific LNG Processing P/L and Australia Pacific LNG (Shared Facilities) P/L | 2016 | Walloons Gas Fields: Carinya, Combabula, Condabri, Dalwogan, Gilbert Gully, Kainama, Orana, Ramyard, Talinga, Woleebee | Coal Seam Gas | 2 trains | 9.5 | None | Data shown from 2025 GSOO
Gladstone LNG | GLNG | Online | QLD | Santos, PETRONAS, Total Energies and KOGAS | 2015 | Fairview, Roma, Arcadia Valley, Scotia | Coal Seam Gas +3rd Party gas from Santos Cooper Basin, Origin portfolio and others | 2 trains | 7.8 | None | Data shown from 2024 GSOO

## Field Developments
Central and Eastern Australian Natural Gas Field Developments
This worksheet summarises the key information for each field development in central and eastern Australia (including the Northern Territory).
This worksheet is not a comprehensive list of all natural gas field developments. It only includes non-confidential information on fields or field developments that has been provided to AEMO from proponents.
Name | Description | Status | Location | Ownership | Operator | Basin | First Production | Gas Source | Production Capacity (TJ per day unless otherwise specified) | Production Facility | Market | Pipeline Connection | Expansion Plans | Source
Camden Gas Project | The Camden Gas Project development area is located south-west of Sydney covering an area of approximately 15 km west-east and 9 km north-south. The project is wholly-owned and operated by AGL. Approximately 3.0 PJ per annum of CSG is supplied to domestic customers via a dedicated pipeline connected to Jemena’s Sydney network. AGL intends to cease production from the Camden Gas field in 2023. | Online | NSW | AGL | AGL | Sydney | Ray Beddoe Treatment Plant - 2001 Rosalind Park Gas Plant - 2004 | Coal Seam Gas | No entry | Rosalind Park Gas Plant | Sydney and NSW domestic | Rosalind Park to Sydney Network | N/A | Data shown from 2025 GSOO
Silver Springs Gas Project | The Silver Springs gas project is a collection of mature gas fields centred around the Silver Springs plant located approximately 100 km south of Roma. The development area is largely wholly-owned and operated by AGL. Petroleum products (gas, LPG, condensate and oil) are supplied to Queensland domestic customers. Gas is supplied via a dedicated (bi-directional) pipeline connecting the Silver Springs plant to Wallumbilla via the Wallumbilla LPG Plant. | Online | QLD | AGL | AGL | Surat | 1984 | Conventional | 20 | Wallumbilla Gas & Liquid Processing plant | Queensland domestic & South Australian Generation | Silver Springs to Wallumbilla pipeline (bi-directional) | N/A | Data shown from 2025 GSOO
APLNG Gas Field Development | The APLNG field development involves the production of coal seam gas from the Surat and Bowen basins in QLD. The APLNG pipeline transports natural gas from the Surat and Bowen basins to the LNG facility, located on Curtis Island, near Gladstone. | Online | QLD | APLNG | APLNG | Surat-Bowen | 2013-2016 | Coal Seam Gas | 330-560 | Alfredson, Angry Jungle, Aarcadia, Bellvue, Carinya, Combabula, Condabri, Dalwogan, Denison, South Deeps, Denison Trough, Fairview, Ironbark, Kainama, Kenya, Kenya East, Lonesome, Luka, Membrance, Murrungama, Peat, Ramyard, Riley, Spring Gully, Talinga and Orana, Taroom East, and Towrie | Various | APLNG pipeline | N/A | Data shown from 2025 GSOO
GLNG Field Development | The Surat basin is a sedimentary basin unconformably overlying the Bowen Basin. The Roma Shelf is a structural feature of the Surat Basin and has a long history of conventional oil and gas exploration dating back to the early 1900’s. More recent petroleum activity has focused on the unconventional (CSG) potential of the region. | Online | QLD | Average GLNG partnership: Santos (30%), Total Energies (27.5%), Petronas (27.5%), Kogas (15%) | Santos Limited | Surat-Bowen | 1977 | Coal Seam Gas | 1000 | Fairview, Roma, Scotia and Arcadia gas facilities | LNG export and domestic | Fairview lateral of the QGP Comet Ridge to Wallumbilla Pipeline Gladstone Gas Transmission Pipeline Scotia APA and APLNG connection | N/A | Data shown from 2025 GSOO
Daandine / Stratheden Gas Field | The gas field is located approximately 40 km west of Dalby. It has been producing coal seam gas since September 2006. | Existing | QLD | Arrow | Arrow | Surat | 2006 | Coal Seam Gas | 76 | Daandine Central Gas Processing Facility | QLD | Braemar 1 Pipeline, Braemar 2 Pipeline, Roma Brisbane Pipeline | N/A | Data shown from 2025 GSOO
Kogan North | The gas field is located approximately 40 km west of Dalby. It has been producing gas since January 2006. | Existing | QLD | Arrow (50%) and CleanCo Queensland Limited (50%) | Arrow | Surat | 2006 | Coal Seam Gas | 12 | Kogan North Central Gas Processing Facility | QLD | Roma Brisbane Pipeline | N/A | Data shown from 2025 GSOO
Surat Gas Project | The project involves the staged expansion of coal seam gas production in the Surat Basin which may involve interests held by other parties. The environmental impact statement for the project was approved by the State in October 2013 and Commonwealth approval was given in December 2013. An environmental authority for the first phase of the project was issued in 2015. In December 2017 Arrow entered into a gas supply agreement for the majority of its coal seam gas reserves in the Surat Basin. A final investment decision for the project's first phase (FID1) was made in April 2020, first gas commenced January 2021. The first phase of development with construction from 2020, includes more than 600 wells which will bring about 260TJ/day (on an annual basis) of gas to market. | Online | QLD | Arrow | Arrow | Surat | 2021 | Coal Seam Gas | 700 (The phased nature of the Surat Gas Project means that the approved first phase will produce about 260TJ/day (on an annual basis) of gas for market. Future phases may increase plateau production to approximately 700TJ/d.) | Daandine Central Gas Processing Facility, Tipton West Central Gas Processing Facility | QLD | Braemar 1 Pipeline, Braemar 2 Pipeline, Roma Brisbane Pipeline | N/A | Data shown from 2025 GSOO
Tipton West Gas Field | The gas field is located approximately 40 km southwest of Dalby. It has been producing gas since September 2006. | Existing | QLD | Arrow | Arrow | Surat | 2006 | Coal Seam Gas | 37 | Tipton West Central Gas Processing Facility | QLD | Braemar 1 Pipeline | N/A | Data shown from 2025 GSOO
Bowen Gas Project | The proposed project involves the staged expansion of coal seam gas production in the Bowen Basin which may involve interests held by other parties. The environmental impact statement for the project was approved by the State in September 2014 and Commonwealth approval was given in October 2014. An environmental authority for the first phase of the project was issued in 2015. | Proposed | QLD | Arrow | Arrow | Bowen | Not Currently Available | Coal Seam Gas | Not Currently Available | Not Currently Available | QLD | Proposed Arrow Bowen Pipeline | N/A | Data shown from 2025 GSOO
Moranbah Gas Project | The project is located approximately 1 km from Moranbah. It has been producing coal seam gas since 2004. | Existing | QLD | QPM Energy (MGP Upstream) Pty Ltd | GR Production Services | Bowen | 2023 | Coal Seam Gas | 68 | Moranbah Gas Processing Facility | QLD | North Queensland Gas Pipeline | N/A | Data shown from 2025 GSOO
Western Flank Gas | Western Flank Gas (previously known as Western Cooper Wet Gas) is located on the western flank of the Cooper Basin in SA. This area includes PRLs 129 and 130, PPLs 239 (Middleton/Brownlow) and 257 (Canunda/Coolawang), covering the majority of the area formerly known as PEL 106, as well as PRL 26 (Udacha), and PRLs 175 to 179 and PPL 212. By end FY18 there is anticipated to be 12 wells producing in the Western Flank Gas area Five exploration/appraisal wells are planned in the remainder of FY18 targeting Patchawarra gas from April to June 2018. An expansion to the production export capacity from 25 MMscfd to 40 MMscfd is expected to be completed within FY18. | Online | Cooper Basin | Beach Energy | Beach Energy | Cooper | 2012 | Gas condensate | 19 | Middleton Gas Plant | Domestic | Connection to Moomba | N/A | Data shown from 2025 GSOO
Dingo | Dingo is located in the Amadeus Basin in the L 7 tenement. In March 2014, Central acquired discovered but undeveloped gas reserves and the contract to supply PWC at Dingo from Magellan. Following this acquisition, Central commenced development of the facilities at Dingo, which was completed in April 2015. This involved the construction of wellhead facilities, gathering pipelines, gas conditioning facilities, a 50km gas pipeline (PL30) to Brewer Estate in Alice Springs, and compression and custody transfer metering facilities. The Dingo wells produce high pressure gas that is transported to Brewer Estate via pipeline. All hydrocarbon condensates and water and then extracted from the gas and the pressure is reduced to meet customer requirements before sale. | Production | NT | 50% Central Petroleum (NT) Pty Ltd 35% Echelon Dingo Pty Ltd 15% Cue Dingo Pty Ltd | Central Petroleum Limited | Amadeus | 2015 | Conventional | Commercial in confidence | Brewer Estate | NT | Currently only supplies to PWC for the Owen Springs Power Plant near Alice Springs | Commercial in confidence | Data shown from 2025 GSOO
Mereenie | Commercial in confidence | Production | NT | 42.5% Echelon Mereenie Pty Ltd (ACN 650 386 360) 25% Central Petroleum Mereenie Pty Ltd (ACN 605 831 025) as trustee for the Central Petroleum Mereenie Unit Trust (ABN 92 760 840 674) 25% Horizon Australia Energy Pty Ltd (ACN 673 423 295) 7.5% Cue Mereenie Pty Ltd (ACN 650 385 336) | Central Petroleum Limited | Amadeus | 1984 | Conventional | Commercial in confidence | Mereenie Oil and Gas Field Production Facility. | NT and NGP into the East Coast | AGP | Commercial in confidence | Data shown from 2025 GSOO
Palm Valley | The Palm Valley gas field was brought back online in late 2018, producing approximately 6TJ/d from 3 wells. The Palm Valley 13 ("PV13) well was drilled in 2018 and brought online in May 2019. With the addition of this well, Palm Valley is now capable of producing 13TJ/d sales gas with processing capacity up to 15TJ/d. | Production | NT | 50% Central Petroleum (NT) Pty Ltd (ACN 009 718 183) 35% Echelon Palm Valley Pty Ltd (ACN 650 386 397) 15% Cue Palm Valley Pty Ltd (ACN 650 385 541) | Central Petroleum Limited | Amadeus | 1987 | Conventional | Commercial in confidence | Palm Valley gas field production facility | NT and NGP into the East Coast | AGP | Commercial in confidence | Data shown from 2025 GSOO
Gunn Project Area and Albany Conventional Structure – ATPs 743P, 744P and 1015P (Galilee Basin) Queensland | Comet's Galilee Basin acreage contains both shallow coal seam gas (CSG) and deeper conventional / sandstone resources. Vintage Energy own 30% of the sandstone acreage. No field activity undertaken over the last 42 months. The Galilee ATPs have been renewed for a 12-year term and six new Potential Commercial Areas (PCAs) awarded for 15 years over the most prospective areas of the permits, retaining a large area. | Galilee tenure cancelled by QLD Govt | Central QLD | Comet Ridge Galilee Pty Ltd (ATP 744, ATP 743 & ATP 1015) - (Conventional & CSG Shallows) Vintage Energy Limited (Conventional) | Comet Ridge Galilee Pty Ltd | Galilee | Unknown at this time. More appraisal work is reqiured for both the conventional and CSG assets. | Coal Seam Gas Sandstone Reservoir Gas | Not yet designed | Not yet designed | N/A | None | N/A | Data shown from 2025 GSOO
Mahalo East CSG Project (ATP 2061) Queensland | The Mahalo East (ATP 2061) project is located in the Denison Trough in the Bowen Basin in central Queensland. It abuts part of PL 1082 (part of the Mahalo project) which is directly south and in which Comet Ridge is a 57.14% owner. The prospective coals in PL 1082 extend into ATP 2061 which should allow for a reasonably early development. With the available coal bore geological data over the area and given the proximity to existing geological data in PL 1082, Sproule Incorporated were engaged to provide an independant resource estimate in December 2022. A booking of 8.4PJ (1C), 31PJ (2C) and 122PJ (3C) was announced. A successful Production test is required to book reserves and further progress this project. Comet Ridge plans to drill a vertical and lateral well pair in Q4 2024 and production test this in early 2025. | Not approved for Development | Central QLD | 15% Cue Palm Valley Pty Ltd (ACN 650 385 541) | Comet Ridge Mahalo East P/L | Bowen | Unknown | Coal Seam Gas | Not yet designed | Not yet designed | The east coast domestic market only | Either to Jemena's QGP or GLNG's GTP, or to both. Option also exists to potentially tie into Denison Gas's 6" pipeline at Arcturus. | N/A | Data shown from 2025 GSOO
Mahalo FarEast CSG Proj (Field) Queensland | The Mahalo Far East project is located in the Denison Trough in the Bowen Basin in central Queensland. It touches a corner of ATP 2061 (Mahalo East) to the south west. The prospective coals in PL 1082 and ATP 2061 are expected to continue up into the south western part of the Mahalo Far East permit area. The area is relatively unexplored from a CSG perspective and will therefore need both seismic and core hole exploration activity to progress. There is some potential for conventional (sandstone) gas targets within the permit area but exploration (in the form of seismic initially) will be required to better assess the prospectivity of any conventional opportunities. The permit was formally awarded to Comet Ridge as ATP 2063 in May 2021. Detailed desk top geological analysis is continuing and a well is being considered in the south west corner of the block but no firm time frame currently exists for a well to be drilled. In addition, Comet Ridge was granted Authority to Prospect (ATP) 2072 over tender block PLR2023-1-1, and covers an area of 66 km2 and is located immediately north of Mahalo East and west of Mahalo Far East. This area is called "Mahalo Far East Extension''. | No entry | Central QLD | Comet Ridge Mahalo Far East P/L | Comet Ridge Mahalo Far East P/L | Bowen | Unknown | Coal Seam Gas | Not yet designed | Not yet designed | ATP 2063 - The east coast domestic market only ATP 2072 - No domestic market only condition | Either to Jemena's QGP or GLNG's GTP, or to both. Option also exists to potentially tie into Denison Gas's 6" pipeline at Arcturus. | N/A | Data shown from 2025 GSOO
Mahalo North CSG Project (ATP 2048) Queensland | The Mahalo North project is located in the Denison Trough in the Bowen Basin in central Queensland. It abuts the Mahalo Project (PL 1083 and PL 1082) in which Comet Ridge is a 57.14% equity holder (see cell to the left). The prospective coals in PL 1083 and PL 1082 extend into ATP 2048 which should allow for a rapid early development. Work was undertaken in respect to environmental studies to underpin a Petroleum Lease (PL) application which was submitted in October 2023.This PLA has been given the designation of PLA 1128 by Qld DoR. A subsequesnt petroleum lease application was submitted in April 2024 and has been given the designation PLA 1132. Comet Ridge plans to develop approximately 10 TJ/d and move that either 14km to the west to an available pipeline or south via a pipeline that could be developed in conjunction with the Mahalo project. Comet drilled a vertical core hole and a dual lateral well (intersecting the lateral well) in late 2021. The well was production tested during the first 8 months of 2022 with a significant flow rate of 1.75 MMcfd in August 2022. This program booked a sizeable area of 2P reserve of 43PJ (2P) and 110 PJ (3P), independantly certified by Sproule Incorporated. In December 2023, an upgraded estimate of 3P Reserves was independently certified by Sproule Incorporated. This resulted in an increase of 39 PJ in the 3P area only. | Not approved for Development | Central QLD | Comet Ridge Mahalo North P/L | Comet Ridge Mahalo North P/L | Bowen | Unknown | Coal Seam Gas | Not yet designed | Not yet designed | The east coast domestic market only | Either to Jemena's QGP or GLNG's GTP, or to both. Option also exists to potentially tie into Denison Gas's 6" pipeline at Arcturus. | N/A | Data shown from 2025 GSOO
Casino Gas Project | The Casino Gas Project is located in the Otway Basin off the south coast of Victoria, approximately 29 km from Port Campbell. The Casino gas field was brought online in January 2006, with the Henry and Netherby wells brought online in 2010. | Online | Otway Basin | Cooper Energy Ltd. 50%, Mitsui 50% | Cooper Energy Ltd. | Otway | 2006 | Conventional | 30 | Athena Gas Plant | Domestic | PCI/PCA | N/A | Data shown from 2025 GSOO
Otway Gas Project | Multiple gas fields that feed into the Otway Gas Plant | Online | Otway Basin | Beach Energy 60% OGOG 40% | Beach Energy | Otway | 2007 | Conventional | 205 | Otway Gas Plant | Domestic | PCI/PCA, SWP | N/A | Data shown from 2025 GSOO
Sole and Manta Gas Project | The Sole Project is located in the Gippsland Basin off the south coast of Victoria. Sole gas began processing through the Orbost Gas Plant in December 2020 | Sole – online; Manta – proposed | Gippsland Basin | Cooper Energy Ltd | Cooper Energy Ltd. | Gippsland | 2019 | Conventional | 68 | Orbost plant | Domestic | EGP | N/A | Data shown from 2025 GSOO
Annie | Tie-back to Casino Henry Netherby off-shore production system | Potential development | Otway Basin | Cooper Energy Ltd. | Cooper Energy Ltd. | Otway | 2028 | Conventional | N/A | Likely Athena Gas Plant | Domestic | N/A | N/A | Data shown from 2025 GSOO
Kipper | The Kipper development is located in the coastal waters of Bass Strait, in offshore south-east VIC. The development is a joint venture between Mitsui (35 %), Exxon Mobil subsidiary Esso Australia (32.5 %) and BHP Billiton (32.5 %) to produce both gas and liquids from the Kipper field. The field was discovered in 1986, and sanctioned by the joint venture in December 2007. The combined Kipper-Turrum project is currently one of the largest domestic gas developments on the eastern seaboard. Gas from Kipper is produced from subsea wells via a local subsea manifold tie-in point. From there, the gas is transported via the existing West Tuna platform for processing at the onshore Longford gas plant. Future opportunities are being evaluated including additional subsea drilling. | Online | Coastal waters of Bass Strait, offshore south-east Victoria. | Mitsui 35 % Esso Australia (Exxon Mobil subsidiary) 32.5 % BHP Billiton 32.5 % | Esso Australia (Exxon Mobil subsidiary) | Gippsland | 2017 | Conventional | Not provided. | Longford | East Coast Market | Longford gas plant | N/A | Data shown from 2025 GSOO
Tuna | The Tuna development is located in the coastal waters of Bass Strait, in offshore south-east VIC. The project will produce conventional gas from the Gippsland basin and is part of the Gippsland Basin Joint Venture, comprising Exxon Mobil subsidiary Esso Australia and Woodside. It has been developed in conjunction with the Kipper and Turrum fields, which when combined, is one of the largest domestic gas developments on the eastern seaboard. The Tuna reservoir, which has been producing oil since 1979, has been further developed to produce additional gas and associated liquids. This has been done by converting existing West Tuna facilities, and also using new pipelines to deliver production into the existing gas system. | Online | Coastal waters of Bass Strait, offshore south-east Victoria. | Esso / Woodside | Esso Australia Resources Pty Ltd | Gippsland | 2013 | Conventional | Not provided. | Longford | East Coast Market | Longford gas plant | N/A | Data shown from 2025 GSOO
Turrum | The Turrum development is located in the coastal waters of Bass Strait, in offshore south-east VIC. The project produces conventional gas and oil from the Gippsland Basin and is part of the Gippsland Basin Joint Venture, comprising ExxonMobil subsidiary Esso Australia and Woodside. Development of the Turrum field was sanctioned in July 2008, with first gas production in 2017. Turrum was developed in conjunction with the Tuna and Kipper fields, which when combined, is one of the largest domestic gas developments on the eastern seaboard. | Online | Coastal waters of Bass Strait, offshore south-east Victoria. | Esso / Woodside | Esso Australia Resources Pty Ltd | Gippsland | 2016 | Conventional | Not provided. | Longford | East Coast Gas Market | Longford gas plant | N/A | Data shown from 2025 GSOO
Surat Bowen Basin | The Surat basin is a sedimentary basin unconformably overlying the Bowen Basin. The Roma Shelf is a structural feature of the Surat Basin and has a long history of conventional oil and gas exploration dating back to the early 1900’s. More recent petroleum activity has focused on the unconventional (CSG) potential of the region. The primary CSG target in the Surat Basin are coal seams contained within the Middle Jurassic Walloon Subgroup which consists of numerous coal seams present over a large interval (typically 150-250m). | Exploration, Appraisal and Development | Queensland | Average GLNG partnership: Santos 30% Total Energies 27.5%, Petronas 27.5% Kogas 15% | Santos | Surat/Bowen | Refer to Roma, Fairview, Scotia, and Arcadia Hubs | Coal Seam Gas | 700 | Fairview, Scotia, Roma, Arcadia Hubs | Domestic, Export (LNG facilities) | Not provided | N/A | Data shown from 2025 GSOO
Mahalo Gas (CSG) Project (PL 1082 & 1083) Queensland | The Mahalo project is located in the Denison Trough in the Bowen Basin in central Queensland. It is one of the larger undeveloped gas projects in eastern Australia with gross 2P reserves of 266 PJ across the block based on the Sproule Revisions to Reserves and Contingent Resources booking of 2P reserves of 152PJ dated 31 July 2021 (COI share grossed up). Petroleum Leases PL 1082 and PL 1083 across the northern part of the Mahalo Gas Project were approved by the Queensland government in June 2020. With this, the Mahalo Asset needs to progress to FID. The project is geographically very close to market with the southern end of the block only 35km north west of Jemena's QGP and GLNG's GTP high capacity pipelines. On 3 August 2021 Comet Ridge announced that it was acquiring the 30% equity of APLNG's share of the Mahalo Gas project. This took Comet Ridge equity initially to 70% in the project and completed on 28 June 2022. Santos exercised an option on 23 September 2022 to buy part of this equity (12.86%) from Comet Ridge which reduced Comet Ridge equity down to 57.14%. | Not approved for Development | Central QLD | Comet Ridge Mahalo Pty Ltd 57.14% Santos QNT Pty Ltd 42.86% | Santos QNT Pty Ltd | Bowen | FID has not been reached. At the present time, we do not have clarity on FID but anticpate 3Q 2025. | Coal Seam Gas | Approx 60 to 80 TJ/d from this block and planning for two other blocks to the north to be included in development to push the total plant rate higher than this. | Not yet designed | The east coast domestic and export markets | Either to Jemena’s QGP or GLNG’s GTP, or to both | N/A | Data shown from 2025 GSOO
Cooper | The Cooper Basin borders of north east South Australia across the south west of Queensland and spans about 127,000 square kilometres. There are over 100 fields in the Cooper-Eromanga basin and gas production that flow to Moomba Gas Plant. Gas sales to Adelaide commenced in 1969 (via the MAP), and to Sydney (via the MSP) in 1976. | Online | SA/QLD | Santos 66.6 % Beach 33.4 % | Santos Limited | Eromanga | 1963 | Conventional and Unconventional | Refer to Moomba Gas Plant | Moomba Gas Production Facility. | Eastern Australia Gas Market and Export | Pipelines into the Moomba Plant: Della to Moomba Big Lake to Moomba Gidgealpa to Moomba Tirrawarra to Moomba Ballera to Moomba Pipelines out of the Moomba Plant: MAP, MSP, SWQP and liquids export line to Port Bonython | N/A | Data shown from 2025 GSOO
Narrabri CSG | The Narrabri CSG project is located in the Gunnedah Basin in north central NSW. The field produces small volumes of coal seam gas, which is used for electricity generation at the local Wilga Park power station. | Producing | North-west slopes and plains, NSW | Santos | Santos Limited | Gunnedah | 2009 | Coal Seam Gas | 5 | New facilities / facility expansion. | Domestic | Wilga Park Power Station, further conenctions under consideration | Significant expansion planned | Data shown from 2025 GSOO
Western Surat Gas Project | The Western Surat Gas Project (the Project) involves the extraction of natural gas from coal seams over approximately 915 square kilometres of Senex permits Area previously referred to as WSGP has been renamed Roma North to reflect combined project nature of acreage | Online | Surat Basin, north east of Roma, Queensland | Senex Energy Ltd | Senex Energy | Surat Basin | 2019 | Coal Seam Gas | 40 | Senex designed, constructed, comissioned and operated the gas processing facility, prior to selling it to Jemena in September 2019. Initial capacity of 16 TJ/d, expanded to 24 TJ/d with a maximum design capacity of 48 TJ/day. Senex put a long-term Gas Processing and Transportation Agreement in place with Jemena, and pays a tariff. | Not provided. | The gas processing facility is tied into the Comet Ridge to Wallumbilla Pipeline. | Ongoing exploration and appraisal activity will be undertaken in the broader WSGP and Don Juan acreage with the drilling of 5 wells | Data shown from 2025 GSOO
Project Atlas | Project Atlas is 58 km2 of development-ready coal seam gas acreage located south-west of Wandoan in Queensland’s Surat Basin. We expect to drill around 100 wells over the life of the project. All gas from the project will be sold to the domestic market. The acreage is capable of sustaining plateau production of >30TJ/day. Project Altas is expected to expand by the addition of ATP2059 adding 18km2 and 47PJ additional 2P reserves to the project. | Online | 20 km south-west of Wandoan in Queensland's Surat Basin | Senex Energy Ltd | Senex Energy | Surat Basin | 2019 | Coal Seam Gas | 48 | Jemena CPF | Domestic | The Atlas gas processing facility is connected via the Atlas export pipeline to the Darling Downs Pipeline, to enable Atlas gas to be transported to the Wallumbilla hub for sale to domestic customers. | N/A | Data shown from 2025 GSOO
QGC Surat Development | The QGC Surat Development involves the phased development of Shell operated Surat Basin tenements to produce CSG to meet domestic and LNG export demands. | Online | QLD | Various (Shell, CNOOC, MidOcean and APLNG) | Shell | Surat | 2005 | Coal Seam Gas | 1728 | Gladstone | Domestic gas contracts Equity liftings Export LNG contracts | RBP, SWQP, QGP APA Wallumbilla to Gladstone pipeline to QGC LNG plant. Connection with APLNG for equity lifting | N/A | Data shown from 2025 GSOO
Greater Meridian Asset (formerly Meridian SeamGas) | The Meridian SeamGas facility is located 160km west of Gladstone in Queensland. The facility was Australia's first commercial CSG producer in the late 1990s. | Online | Moura, QLD | Westside Corporation Pty Ltd [incl. subsidiaries] (51%), Mitsui E&P Australia Pty Ltd (49%) | Westside Corporation Pty Ltd | Bowen Basin | Late 1990s | Coal Seam Gas | 57 | Meridian | Domestic & LNG | QGP at Moura, GLNG GTP at Moura | The Joint Venture continues to contemplate further expansions. | Data shown from 2025 GSOO
Barracouta |  | Producing | Victoria | Esso / Woodside | Esso Australia Resources Pty Ltd | Gippsland | N/A | Gas Condensate | N/A | Longford | Domestic | GNP, EGP (via Longford) | N/A | Data shown from 2025 GSOO
Blackwatch | Tie-back to Casino Henry Netherby off-shore production system | Contingent | Otway Basin | Cooper Energy Ltd. | Cooper Energy Ltd. | Otway Basin | Unclear | Conventional | N/A | Likely Athena Gas Plant | Domestic | N/A | N/A | Data shown from 2025 GSOO
Carpentaria Pilot Project | Shale gas development project | Anticipated | Onshore Northern Territory | 100% Imperial Oil & Gas Pty Limited (wholly owned subsidary of Empire Energy) | Imperial Oil & Gas Pty Limited | Beetaloo Basin | H2 2025 | Shale gas | 9.5 | Carpentaria Gas Plant | Domestic | McArthur River Pipeline | N/A | Data shown from 2025 GSOO
Central | Coal Seam Gas | Appraisal | North Bowen Basin | 100% Blue Energy | Blue Energy Ltd | North Bowen Basin | N/A | Coal Seam Gas | 0 | N/A | N/A | N/A | N/A | Data shown from 2025 GSOO
Cobalt | Coal Seam Gas | Appraisal status - awaiting tenure upgrade | Surat | 100% Blue Energy | Blue Energy Ltd | Surat | N/A | Coal Seam Gas | 0 | N/A | Domestic | N/A | N/A | Data shown from 2025 GSOO
Cobia |  | Producing | Victoria | Esso / Woodside | Esso Australia Resources Pty Ltd | Gippsland | N/A | Oil field with associated gas | N/A | Longford | Domestic | GNP, EGP (via Longford) | N/A | Data shown from 2025 GSOO
Dombey | Tie-back to Casino Henry Netherby off-shore production system | Contingent | Otway Basin | Cooper Energy Ltd. 30%, Beach 70% | Beach Energy | Otway Basin | Unclear | Conventional | N/A | Unclear | Domestic | N/A | N/A | Data shown from 2025 GSOO
Enterprise North | exploration prospect | Exploration prospect | Otway | Lake's 49% interest is in process of being transferred to Armour Energy (Victoria) Pty Ltd | Armour Energy (Victoria) Pty Ltd | Otway Basin / Enterprise North field | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Data shown from 2025 GSOO
Galilee | CSG | Undeveloped | Galilee | 100% Blue Energy | Blue Energy Ltd | Galilee | N/A | Coal Seam Gas | 0 | N/A | Domestic | N/A | N/A | Data shown from 2025 GSOO
Golden Beach Energy Storage | Underground Gas Storage | Anticipated | Longford, Gippsland Basin, Victoria | GB Energy | GB Energy | Gippsland Basin, Golden Beach Gas Field | Mid 2028 | Conventional | 375 | Golden Beach Gas Plant | Domestic | VTS and EGP | N/A | Data shown from 2025 GSOO
Gudgeon |  | Producing | Victoria | Esso / Woodside | Esso Australia Resources Pty Ltd | Gippsland | N/A | Oil field with associated gas | N/A | Longford | Domestic | GNP, EGP (via Longford) | N/A | Data shown from 2025 GSOO
Halibut |  | Producing | Victoria | Esso / Woodside | Esso Australia Resources Pty Ltd | Gippsland | N/A | Oil field with associated gas | N/A | Longford | Domestic | GNP, EGP (via Longford) | N/A | Data shown from 2025 GSOO
Hillalong | CSG | Appraisal | North Bowen Basin | 100% Blue Energy | Blue Energy Ltd | North Bowen Basin | N/A | Coal Seam Gas | 0 | N/A | Domestic | N/A | N/A | Data shown from 2025 GSOO
Judith Gas Field | Exploration Permit VIC/P47 | Exploration Permit, No Development | Offshore Gippsland Basin, Victoria | 100% Emperor Energy | Emperor Energy | Offshore Gippsland Basin, Victoria | Not Developed | N/A | 0 | None | None at present, Future Domestic when developed | None at present | N/A | Data shown from 2025 GSOO
Longtom | Gas-condensate Field | Development On Hold | Gippsland Basin | SGH Energy 100% Operating Interest / 97.0625% Net Revenue Interest Liberty Petroleum 2.9375% Revenue Royalty | SGH Energy | Gippsland Basin/Longtom | 2009 | Conventional Gas | N/A | Orbost Gas Plant | Domestic | VIC/PL38, VIC/PL31 | N/A | Data shown from 2025 GSOO
Marlin |  | Producing | Victoria | Esso / Woodside | Esso Australia Resources Pty Ltd | Gippsland | N/A | Gas condensate | N/A | Longford | Domestic | GNP, EGP (via Longford) | N/A | Data shown from 2025 GSOO
Monslatt | CSG | Appraisal | North Bowen Basin | 100% Blue Energy | Blue Energy Ltd | North Bowen Basin | N/A | Coal Seam Gas | 0 | N/A | Domestic | N/A | N/A | Data shown from 2025 GSOO
Moonfish |  | Producing | Victoria | Esso / Woodside | Esso Australia Resources Pty Ltd | Gippsland | N/A | Oil field with associated gas | N/A | Longford | Domestic | GNP, EGP (via Longford) | N/A | Data shown from 2025 GSOO
Mt St Martin | Gas asset under appraisal | Uncertain project | Bowen Basin | Airlie Energy Pty Ltd | Airlie Energy Pty Ltd | Bowen Basin/Mt St Martin | Expected 2025 | Coal Seam Gas | N/A | Greenfield | Domestic | Greenfield | N/A | Data shown from 2025 GSOO
Beetaloo | Proposed sales gas to be produced from EP98, EP117 and EP76 | Appraisal | NT | Unincorporated Beetaloo Joint Venture = 77.5% Tamboran B2 Pty Ltd, 22.5% Falcon Oil & Gas Australia Limited | Tamboran B2 Pty Ltd = 50/50 Joint Venture between Tamboran (Manager) and Daly Waters Energy, LP | Beetaloo Basin in the Northern Teritory | Pilot Development in 2Q2026, East Coast supply in 3Q2029 | Dry gas | 1000 | Sturt Plateau Compression Facility | Domestic | Pilot: Connection into the AGP, East Coast: New Pipeline to Moomba or Ballera | N/A | Data shown from 2025 GSOO
North Turrum |  | Development pending | Victoria | Esso / Woodside | Esso Australia Resources Pty Ltd | Gippsland | N/A | Gas condensate | N/A | Longford | Domestic | GNP, EGP (via Longford) | N/A | Data shown from 2025 GSOO
Odin | Existing undeveloped conventional gas field | Extended Production Test commenced | South Australia Cooper Basin | JV: Vintage 50%, Metgasco 25%, Bridgeport 25% | Vintage Energy Ltd | Cooper Eromanga Basin / Odin | 2023 | Conventional | 9 | Meter | Domestic | Odin to the Vali-Backler pipeline | N/A | Data shown from 2025 GSOO
Otway-1 | Exploration prospect | Exploration prospect | Otway (adjavent to Iona gas plant) | Lake's 49% interest is in process of being transferred to Armour Energy (Victoria) Pty Ltd | Armour Energy (Victoria) Pty Ltd | Otway Basin / Otway-1 gas well | Expected 2025 | N/A | N/A | potentially processed through Iona gas plant | Domestic | None | N/A | Data shown from 2025 GSOO
Patricia-Baleen | Tie-back to Orbost Gas Plant | Shut-in, control system fault | Gippsland Basin | Cooper Energy Ltd | Cooper Energy Ltd. | Gippsland Basin | 2031 | Conventional | N/A | Likely Orbost Gas Plant | Domestic | N/A | N/A | Data shown from 2025 GSOO
Portland Energy Project | Exploration prospect | Exploration prospect | Otway, PEP 175 | LKO | Lakes Blue Energy (LKO) | Otway Basin | 2028 | N/A | N/A | to be determined | Domestic | None | N/A | Data shown from 2025 GSOO
Sapphire | CSG | Undeveloped - awaiting Production Licence award | North Bowen Basin | Blue Energy | Blue Energy Ltd | North Bowen Basin | N/A | Coal Seam Gas | N/A | N/A | Domestic | N/A | N/A | Data shown from 2025 GSOO
Snapper |  | Producing | Victoria | Esso / Woodside | Esso Australia Resources Pty Ltd | Gippsland | N/A | Gas condensate | N/A | Longford | Domestic | GNP, EGP (via Longford) | N/A | Data shown from 2025 GSOO
South | CSG | Appraisal | North Bowen Basin | Blue Energy | Blue Energy Ltd | North Bowen Basin | N/A | Coal Seam Gas | N/A | N/A | Domestic | N/A | N/A | Data shown from 2025 GSOO
Tilbrook | Gas asset under appraisal | Uncertain project | Bowen Basin | Airlie Energy Pty Ltd | Airlie Energy Pty Ltd | Bowen Basin/Tilbrook | 2027 | Coal Seam Gas | N/A | Greenfield | Domestic | Greenfield | N/A | Data shown from 2025 GSOO
Vali | Existing undeveloped conventional gas field | Extended Production Test commenced | South West Queensland Cooper Basin | JV: Vintage 50% Metgasco 25% Bridgeport 25% | Vintage Energy Ltd | Cooper Eromanga Basin / Vali | 2023 | Conventional | 9 | Vali separator, metering and ponds | Domestic | Vali to Beckler pipeline | N/A | Data shown from 2025 GSOO
Wellesley | Exploration prospect | Exploration prospect | Surat Basin, ATP 1183 | LKO | Lakes Blue Energy (LKO) | Surat Bsin; Wellesley gas field | 2028 | N/A | N/A | potentially tolled through Kincora gas plant | Domestic | None | N/A | Data shown from 2025 GSOO
Western Beetaloo | Shale gas field | Pre-FID | Onshore Northern Territory | Empire Enegry | Empire Energy (Imperial Oil & Gas A Pty Limited) | Beetaloo Sub-basin | N/A | Shale gas | N/A | N/A | N/A | N/A | N/A | Data shown from 2025 GSOO
Wombat and Trifon/Gangell | proposed projects, contingent upon confirmation of commerciality of gas production | Contingent resource | Gippsland | LKO | Lakes Blue Energy (LKO) | Gippsland Basin: Wombat & Trifon/Gangell fields | Expected 2026 earliest | N/A | N/A | Not yet known | Domestic | None | N/A | Data shown from 2025 GSOO
Anya | PL1025 | Online | West of Dalby | Australia Pacific LNG Pty Limited BG International Ltd CNOOC Coal Seam Gas Company Pty Ltd QGC Pty Limited MidOcean QCLNG Pty Ltd | QGC Pty Ltd | Surat | N/A | Coal Seam Gas | N/A | Ruby Jo CPP, Jordan CPP, Field compression stations (FCS): Glendowner, Harry, Broadwater, Ruby Jo, Isabella, David, Celeste, Jammat, Kenya East | N/A | N/A | N/A | Data shown from 2025 GSOO
Bandanna West | CSG | Online | Rolleston QLD | State Gas | State Gas Limited | Bowen Basin | N/A | Coal Seam Gas | N/A | No production | N/A | N/A | N/A | Data shown from 2025 GSOO
Ceres | Conventional Gas | Online | Rolleston QLD | State Gas | State Gas Limited | Bowen Basin | N/A | Conventional Gas | N/A | No production | N/A | N/A | N/A | Data shown from 2025 GSOO
Consuelo | Coal Seam Gas | Online | Rolleston QLD | State Gas | Santos Limited | Bowen Basin | N/A | Coal Seam Gas | N/A | No production | N/A | N/A | N/A | Data shown from 2025 GSOO
Elanora | Tie-back to Casino Henry Netherby off-shore production system | Potential development | Otway Basin SA | Cooper Energy Ltd. | Cooper Energy Ltd. | Otway Basin | 2035 | Conventional | N/A | Likely Athena Gas Plant | Domestic | N/A | N/A | Data shown from 2025 GSOO
Grandis Daydream - 2 Well | Deep Tight Gas | Single Well Appraisal | Bowen Basin QLD | Elixir Energy | Energy Capture | Bowen Basin/Grandis | 2023 | N/A | N/A | N/A | N/A | N/A | N/A | Data shown from 2025 GSOO
Juliet | Tie-back to Casino Henry Netherby off-shore production system | Potential development | Otway Basin SA | Cooper Energy Ltd. | Cooper Energy Ltd. | Otway Basin | 2028 | Conventional | N/A | Likely Athena Gas Plant | Domestic | N/A | N/A | Data shown from 2025 GSOO
Morella (ATP 2068) | Coal Seam Gas | Online | Rolleston QLD | State Gas | Santos Limited | Bowen Basin | N/A | Coal Seam Gas | N/A | No production | N/A | N/A | N/A | Data shown from 2025 GSOO
Nestor | Tie-back to Casino Henry Netherby off-shore production system | Potential development | Otway Basin SA | Cooper Energy Ltd. | Cooper Energy Ltd. | Otway Basin | 2033 | Conventional | N/A | Likely Athena Gas Plant | Domestic | N/A | N/A | Data shown from 2025 GSOO
Rougemont (ATP 2062) | Coal Seam Gas | Online | Rolleston QLD | State Gas | State Gas Limited | Bowen Basin | N/A | Coal Seam Gas | N/A | No production | N/A | N/A | N/A | Data shown from 2025 GSOO
Rougemont Extension (ATP 2068) | Coal Seam Gas | Online | Rolleston QLD | State Gas | Santos Limited | Bowen Basin | N/A | Coal Seam Gas | N/A | No production | N/A | N/A | N/A | Data shown from 2025 GSOO
Wobbegong | Tie-back to Orbost Gas Plant | Potential development | Otway Basin SA | Cooper Energy Ltd. | Cooper Energy Ltd. | Otway Basin | 2037 | Conventional | N/A | Likely Orbost Gas Plant | Domestic | N/A | N/A | Data shown from 2025 GSOO
Reid's Dome (PL 231) | Unconventional Gas / Conventional Gas / Coal Seam Gas | Online | Rolleston QLD | State Gas | State Gas Limited | Bowen Basin | N/A | Unconventional Gas / Conventional Gas / Coal Seam Gas | N/A | No production | N/A | N/A | N/A | Data shown from 2025 GSOO