## Info
A tab has been created for each power station or reservoir subject to this GELF request
Please provide values for all static and variable GELF parameters requested.
Static GELF parameters
Static GELF parameters do not apply to a specific EAAP scenario and are specific to generator type.
Further descriptions of the fields requested are provided below.
Minimum storage | Any minimum storage limits that should not be breached? (if none, submit 0)
Maximum storage | Any maximum storage limits that should not be breached? (if no storage, submit 0; may not vary over time)
Expected inflows | The volume of fuel inflows that are expected. (for example, the P50 budget for fuel)
Expected storage | The volume of fuel expected to be stored on site at the beginning of the month (for example, the P50 budget for fuel storage)
Contracted inflows | The volume of fuel inflows for which firm supply is contracted. This may be higher or lower than the expected inflows.
Limits on continuous operation | The number of hours that units in the station can reasonably run continuously (considering fuel or demineralised water supply chains, and operational limitations)
Limits on unit starts | The count of unit starts that units in the station are limited to (considering contractual and technical limitations)
Expected number of unit starts | The count of unit starts that are expected for units in the station (for example, the P50 budget for starts)
Variable GELF parameters
Variable GELF parameters apply to the following specific EAAP scenarios
Further descriptions of the fields requested are provided below.
Scenarios
Central Scenario | This scenario should reflect the most likely fuel availability fused for generation purposes e.g. gas, coal, diesel, hydrogen and water resources. Fuel availability should be based on the average rainfall recorded over the past 10 years. Hydro schemes should submit monthly average inflows over the past 10 years. Thermal generators should submit energy output limits that reflect most likely fuel availability.
Low Rainfall Scenario | This scenario should reflect the most likely fuel availability from gas, coal, diesel and hydrogen resources but should reflect water availability reflecting rainfall recorded in a specific historical period where drought observed. For power stations in Queensland, Victoria, South Australia and Tasmania, parameters should be based on the rainfall experienced between 1 July 2006 and 30 June 2007. For power stations located in New South Wales, parameters should be based on the rainfall experienced between 1 June 2006 and 31 May 2007. Expected energy output limits for thermal generators should also reflect the impact of these low rainfall conditions on cooling and demineralised water availability.
Low Thermal Fuel Scenario | This scenario should be based on 90% POE energy availability (an estimate that is expected to be exceeded 9 out of 10 years) for thermal generators that should consider applicable limitations for each site, including the potential impacts of wet coal, longwall moves, train and truck deliveries, loader outages and likely market limitations. The scenario is not designed to reflect a disaster situation, but instead to reflect coincident energy shortfall situations that apply to each site from time to time. Hydro generators should submit water inflows consistent with the Central scenario.

## COAL_STATION 1
GELF parameters for Coal
| Station name | Bayswater
|  | DUID1 | DUID2 | DUID3 | DUID4 | DUID5 | DUID6 | DUID7 | DUID8 | DUID9 | DUID10 | DUID11 | DUID12 | DUID13 | DUID14
| DUID fuel applies to | Bayswater DUID1: BW01; Bayswater DUID2: BW02; Bayswater DUID3: BW03; Bayswater DUID4: BW04
Fuel Type
Bayswater | Primary Fuel | Bayswater DUID1: Coal
Static GELF parameters, by month
|  | Note | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01 | 2024-04-01 | 2024-05-01 | 2024-06-01 | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-03-01 | 2025-04-01 | 2025-05-01 | 2025-06-01
Bayswater | Minimum storage (MWh)
Bayswater | Maximum storage (MWh)
Bayswater | Expected inflows (MWh)
Bayswater | Expected storage (MWh)
Bayswater | Contracted inflows (MWh)
Variable GELF parameters, by month
|  | Note | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01 | 2024-04-01 | 2024-05-01 | 2024-06-01 | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-03-01 | 2025-04-01 | 2025-05-01 | 2025-06-01
Bayswater | Energy output limit (MWh) - Central Scenario
Bayswater | Energy output limit (MWh) - Low Rainfall Scenario
Bayswater | Energy output limit (MWh) - Low Thermal Fuel Scenario
Note on B13: Ben Jones: At Beginning of Month

## GLF_STATION 1
GELF parameters for Gas and Liquid Fuels
| Station name | Uranquinty
|  | DUID1 | DUID2 | DUID3 | DUID4 | DUID5 | DUID6 | DUID7 | DUID8 | DUID9 | DUID10 | DUID11 | DUID12 | DUID13 | DUID14
| DUID fuel applies to | Uranquinty DUID1: URANQ11; Uranquinty DUID2: URANQ12; Uranquinty DUID3: URANQ13; Uranquinty DUID4: URANQ14
|  | Fuel Type | Max Capacity (MW)
Uranquinty | Primary Fuel | Uranquinty DUID1: Gas
Uranquinty | Secondary Fuel | Uranquinty DUID1: Diesel
Static GELF parameters, by month
|  | Note | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01 | 2024-04-01 | 2024-05-01 | 2024-06-01 | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-03-01 | 2025-04-01 | 2025-05-01 | 2025-06-01
Uranquinty | Primary Fuel, minimum storage (MWh)
Uranquinty | Primary Fuel, maximum storage (MWh)
Uranquinty | Primary Fuel, expected inflows (MWh)
Uranquinty | Primary Fuel, expected storage (MWh)
Uranquinty | Primary Fuel, contracted inflows (MWh)
Uranquinty | Primary Fuel, limits on continuous operation (h)
Uranquinty | Secondary Fuel, minimum storage (MWh)
Uranquinty | Secondary Fuel, maximum storage (MWh)
Uranquinty | Secondary Fuel, expected inflows (MWh)
Uranquinty | Secondary Fuel, expected storage (MWh)
Uranquinty | Secondary Fuel, contracted inflows (MWh)
Uranquinty | Secondary Fuel, limits on continuous operation (h)
Uranquinty | Limits on unit starts (average count per unit)
Uranquinty | Expected unit starts (average count per unit)
Variable GELF parameters, by month
|  | Note | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01 | 2024-04-01 | 2024-05-01 | 2024-06-01 | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-03-01 | 2025-04-01 | 2025-05-01 | 2025-06-01
Uranquinty | Energy output limit (MWh) - Central Scenario
Uranquinty | Energy output limit (MWh) - Low Rainfall Scenario
Uranquinty | Energy output limit (MWh) - Low Thermal Fuel Scenario
Note on B14: Ben Jones: At Beginning of Month
Note on B16: Ben Jones: Considering any operational or supply chain limits in the ability to continuously operate.
Note on B20: Ben Jones: At Beginning of Month
Note on B22: Ben Jones: Considering any operational or supply chain limits in the ability to continuously operate.

## RESERVOIR 1
GELF parameters for Hydro Reservoirs
| Reservoir name | Murray Pondage
|  | DUID1 | DUID2 | DUID3 | DUID4 | DUID5 | DUID6 | DUID7 | DUID8 | DUID9 | DUID10 | DUID11 | DUID12 | DUID13 | DUID14
| DUID fuel applies to | MURRAY01 | MURRAY02 | MURRAY03 | MURRAY04 | MURRAY05 | MURRAY06 | MURRAY07 | MURRAY08 | MURRAY09 | MURRAY10 | MURRAY11 | MURRAY12 | MURRAY13 | MURRAY14
Fuel Type
Murray Pondage | Primary Fuel | Murray Pondage DUID1 MURRAY01: Water
Static GELF parameters, by month
|  | Note | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01 | 2024-04-01 | 2024-05-01 | 2024-06-01 | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-03-01 | 2025-04-01 | 2025-05-01 | 2025-06-01
Murray Pondage | Minimum storage (ML)
Murray Pondage | Maximum storage (ML)
Murray Pondage | Expected inflows (ML)
Murray Pondage | Expected storage (ML)
Murray Pondage | Limits on continuous operation (h)
Variable GELF parameters, by month
|  | Note | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01 | 2024-04-01 | 2024-05-01 | 2024-06-01 | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-03-01 | 2025-04-01 | 2025-05-01 | 2025-06-01
Murray Pondage | Water Inflow (ML) - Central Scenario
Murray Pondage | Water Inflow (ML) - Low Rainfall Scenario
Murray Pondage | Water Inflow (ML) - Low Thermal Fuel Scenario
Note on B13: Ben Jones: At Beginning of Month
Note on B14: Ben Jones: Considering any operational or supply chain limits in the ability to continuously operate.

## RESERVOIR 2
GELF parameters for Hydro Reservoirs
| Reservoir name | Bogong - Mackay
|  | DUID1 | DUID2 | DUID3 | DUID4 | DUID5 | DUID6 | DUID7 | DUID8 | DUID9 | DUID10 | DUID11 | DUID12 | DUID13 | DUID14
| DUID fuel applies to | BOGONG1 | BOGONG2 | MCKAY11 | MCKAY12 | MCKAY13 | MCKAY14 | MCKAY15 | MCKAY16
Fuel Type
Bogong - Mackay | Primary Fuel | Bogong - Mackay DUID1 BOGONG1: Water
Static GELF parameters, by month
|  | Note | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01 | 2024-04-01 | 2024-05-01 | 2024-06-01 | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-03-01 | 2025-04-01 | 2025-05-01 | 2025-06-01
Bogong - Mackay | Minimum storage (MWh)
Bogong - Mackay | Maximum storage (MWh)
Bogong - Mackay | Expected inflows (MWh)
Bogong - Mackay | Expected storage (MWh)
Bogong - Mackay | Limits on continuous operation (h)
Variable GELF parameters, by month
|  | Note | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01 | 2024-04-01 | 2024-05-01 | 2024-06-01 | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-03-01 | 2025-04-01 | 2025-05-01 | 2025-06-01
Bogong - Mackay | Water Inflow (MWh) - Central Scenario
Bogong - Mackay | Water Inflow (MWh) - Low Rainfall Scenario
Bogong - Mackay | Water Inflow (MWh) - Low Thermal Fuel Scenario
Note on B13: Ben Jones: At Beginning of Month
Note on B14: Ben Jones: Considering any operational or supply chain limits in the ability to continuously operate.

## COAL_EXAMPLE
GELF parameters for Coal
| Station name | Example_coal_unit
|  | DUID1 | DUID2 | DUID3 | DUID4 | DUID5 | DUID6 | DUID7 | DUID8 | DUID9 | DUID10 | DUID11 | DUID12 | DUID13 | DUID14
| DUID fuel applies to | Example_coal_unit DUID1: UNIT1; Example_coal_unit DUID2: UNIT2
Fuel Type
Example_coal_unit | Primary Fuel | Example_coal_unit DUID1: Coal
Static GELF parameters, by month
|  | Note | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01 | 2024-04-01 | 2024-05-01 | 2024-06-01 | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-03-01 | 2025-04-01 | 2025-05-01 | 2025-06-01
Example_coal_unit | Minimum storage (MWh) | Below this level, coal will be challenging to use | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000
Example_coal_unit | Maximum storage (MWh) | Above this limit, the pile will become unsafe | 115200 | 115200 | 115200 | 115200 | 115200 | 115200 | 115200 | 115200 | 115200 | 115200 | 115200 | 115200 | 115200 | 115200 | 115200 | 115200 | 115200 | 115200 | 115200 | 115200 | 115200 | 115200 | 115200 | 115200
Example_coal_unit | Expected inflows (MWh) | Given current rail deliveries, a constant supply is expected | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000
Example_coal_unit | Expected storage (MWh) | Stockpile expected to be built in advance of summer and winter | 50000 | 44000 | 50000 | 59000 | 74000 | 80000 | 65000 | 50000 | 56000 | 80000 | 80000 | 62000 | 44000 | 29000 | 53000 | 68000 | 74000 | 80000 | 65000 | 50000 | 56000 | 74000 | 74000 | 50000
Example_coal_unit | Contracted inflows (MWh) | 100% contracted for first year, 80% for second year | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 24000 | 24000 | 24000 | 24000 | 24000 | 24000 | 24000 | 24000 | 24000 | 24000 | 24000 | 24000
Variable GELF parameters, by month
|  | Note | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01 | 2024-04-01 | 2024-05-01 | 2024-06-01 | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-03-01 | 2025-04-01 | 2025-05-01 | 2025-06-01
Example_coal_unit | Energy output limit (MWh) - Central Scenario | No limits expected, given an expected ability to procure additional coal via rail | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED
Example_coal_unit | Energy output limit (MWh) - Low Rainfall Scenario | Cooling water is expected to remain available even under low rainfall. | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED
Example_coal_unit | Energy output limit (MWh) - Low Thermal Fuel Scenario | A limited number of coal trains are able to reach site. Coal is allocated to high demand periods. | 18000 | 18000 | 12000 | 10500 | 7500 | 12000 | 22500 | 22500 | 12000 | 3000 | 15000 | 24000 | 24000 | 22500 | 3000 | 7500 | 12000 | 12000 | 22500 | 22500 | 12000 | 6000 | 15000 | 27000
Note on B13: Ben Jones: At Beginning of Month

## GLF_EXAMPLE
GELF parameters for Gas and Liquid Fuels
| Station name | Gas_Example
|  | DUID1 | DUID2 | DUID3 | DUID4 | DUID5 | DUID6 | DUID7 | DUID8 | DUID9 | DUID10 | DUID11 | DUID12 | DUID13 | DUID14
| DUID fuel applies to | Gas_Example DUID1: Unit1; Gas_Example DUID2: Unit2; Gas_Example DUID3: Unit3; Gas_Example DUID4: Unit4
|  | Fuel Type | Max Capacity (MW)
Gas_Example | Primary Fuel | Gas_Example DUID1: Gas; Gas_Example DUID2: 100
Gas_Example | Secondary Fuel | Gas_Example DUID1: Diesel; Gas_Example DUID2: 90
Static GELF parameters, by month
|  | Note | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01 | 2024-04-01 | 2024-05-01 | 2024-06-01 | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-03-01 | 2025-04-01 | 2025-05-01 | 2025-06-01
Gas_Example | Primary Fuel, minimum storage (MWh) | No storage on site - only linepack | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gas_Example | Primary Fuel, maximum storage (MWh) | No storage on site - only linepack | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gas_Example | Primary Fuel, expected inflows (MWh) | Inflows based on historic generation | 14400 | 14000 | 0 | 0 | 0 | 3600 | 14400 | 14400 | 3600 | 0 | 0 | 14400 | 14400 | 14000 | 0 | 0 | 0 | 3600 | 14400 | 14400 | 3600 | 0 | 0 | 14400
Gas_Example | Primary Fuel, expected storage (MWh) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gas_Example | Primary Fuel, contracted inflows (MWh) | Contracts are for portfolio and have been allocated per unit based on expected usage. | 10000 | 10000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gas_Example | Primary Fuel, limits on continuous operation (h) | No limit on continous operation | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED
Gas_Example | Secondary Fuel, minimum storage (MWh) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gas_Example | Secondary Fuel, maximum storage (MWh) |  | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160
Gas_Example | Secondary Fuel, expected inflows (MWh) | No inflows expected | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gas_Example | Secondary Fuel, expected storage (MWh) | Storage expected to be replaced if used | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160
Gas_Example | Secondary Fuel, contracted inflows (MWh) | No contracted volumes of secondary fuel | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gas_Example | Secondary Fuel, limits on continuous operation (h) | Limited to 30 hours with at least 8 hour down time between next start | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
Gas_Example | Limits on unit starts (average count per unit) | Limited to 24 starts per year per unit | 2023-07-01: 24; 2024-07-01: 24
Gas_Example | Expected unit starts (average count per unit) | Expected starts based on historical | 4 | 4 | 0 | 0 | 0 | 1 | 4 | 4 | 1 | 0 | 0 | 4 | 4 | 4 | 0 | 0 | 0 | 1 | 4 | 4 | 1 | 0 | 0 | 4
Variable GELF parameters, by month
|  | Note | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01 | 2024-04-01 | 2024-05-01 | 2024-06-01 | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-03-01 | 2025-04-01 | 2025-05-01 | 2025-06-01
Gas_Example | Energy output limit (MWh) - Central Scenario | No limits expected given access to gas | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED
Gas_Example | Energy output limit (MWh) - Low Rainfall Scenario | No limits expected given access to gas | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED | UNLIMITED
Gas_Example | Energy output limit (MWh) - Low Thermal Fuel Scenario | Assuming gas transmission issues, only partial supplies may be available for peak supply | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000
Note on B14: Ben Jones: At Beginning of Month
Note on B16: Ben Jones: Considering any operational or supply chain limits in the ability to continuously operate.
Note on B20: Ben Jones: At Beginning of Month
Note on B22: Ben Jones: Considering any operational or supply chain limits in the ability to continuously operate.

## RESERVOIR_EXAMPLE
GELF parameters for Hydro Reservoirs
| Reservoir name | Example_reservoir
|  | DUID1 | DUID2 | DUID3 | DUID4 | DUID5 | DUID6 | DUID7 | DUID8 | DUID9 | DUID10 | DUID11 | DUID12 | DUID13 | DUID14
| DUID fuel applies to | Unit1 | Unit2 | Unit3 | Unit4 | Unit5 | Unit6
Fuel Type
Example_reservoir | Primary Fuel | Example_reservoir DUID1 Unit1: Water
Static GELF parameters, by month
|  | Note | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01 | 2024-04-01 | 2024-05-01 | 2024-06-01 | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-03-01 | 2025-04-01 | 2025-05-01 | 2025-06-01
Example_reservoir | Minimum storage (ML) | Storage should be kept above this level | 40017.915 | 40017.915 | 40017.915 | 40017.915 | 40017.915 | 40017.915 | 40017.915 | 40017.915 | 40017.915 | 40017.915 | 40017.915 | 40017.915 | 40017.915 | 40017.915 | 40017.915 | 40017.915 | 40017.915 | 40017.915 | 40017.915 | 40017.915 | 40017.915 | 40017.915 | 40017.915 | 40017.915
Example_reservoir | Maximum storage (ML) | Maximum Reservior Limit | 785093.335 | 785093.335 | 785093.335 | 785093.335 | 785093.335 | 785093.335 | 785093.335 | 785093.335 | 785093.335 | 785093.335 | 785093.335 | 785093.335 | 785093.335 | 785093.335 | 785093.335 | 785093.335 | 785093.335 | 785093.335 | 785093.335 | 785093.335 | 785093.335 | 785093.335 | 785093.335 | 785093.335
Example_reservoir | Expected inflows (ML) | Same as central | 58411.8982 | 35410.2545 | 38700.9164 | 42368.5964 | 21388.7127 | 30027.1418 | 25664.3345 | 27802.7345 | 7654.6473 | 25980.0873 | 33632.3782 | 60089.6291 | 58411.8982 | 35410.2545 | 38700.9164 | 42368.5964 | 21388.7127 | 30027.1418 | 25664.3345 | 27802.7345 | 7654.6473 | 25980.0873 | 33632.3782 | 60089.6291
Example_reservoir | Expected storage (ML) | Based on expected inflow and historic generation | 324017.915 | 332888.3677 | 342986.0622 | 363424.757 | 372035.045 | 374511.3939 | 392268.1047 | 384084.5648 | 380370.1952 | 336655.8399 | 326479.0354 | 323422.1155 | 324018.2459 | 324017.915 | 332888.3677 | 342986.0622 | 363424.757 | 372035.045 | 374511.3939 | 392268.1047 | 384084.5648 | 380370.1952 | 336655.8399 | 326479.0354
Example_reservoir | Limits on continuous operation (h) | Risk of flooding or irrigation limits downstream if operating too long | 300 | 300 | 500 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 300 | 300 | 300 | 500 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 300
Variable GELF parameters, by month
|  | Note | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01 | 2024-04-01 | 2024-05-01 | 2024-06-01 | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-03-01 | 2025-04-01 | 2025-05-01 | 2025-06-01
Example_reservoir | Water Inflow (ML) - Central Scenario | Monthly average inflows over the past 10 years | 58411.8982 | 35410.2545 | 38700.9164 | 42368.5964 | 21388.7127 | 30027.1418 | 25664.3345 | 27802.7345 | 7654.6473 | 25980.0873 | 33632.3782 | 60089.6291 | 58411.8982 | 35410.2545 | 38700.9164 | 42368.5964 | 21388.7127 | 30027.1418 | 25664.3345 | 27802.7345 | 7654.6473 | 25980.0873 | 33632.3782 | 60089.6291
Example_reservoir | Water Inflow (ML) - Low Rainfall Scenario | Rainfall experienced between 1 June 2006 and 31 May 2007 | 40888.3287 | 24787.1782 | 23220.5498 | 38131.7367 | 19249.8415 | 24021.7135 | 15398.6007 | 26412.5978 | 7271.9149 | 20784.0698 | 31950.7593 | 57085.1476 | 40888.3287 | 24787.1782 | 23220.5498 | 38131.7367 | 19249.8415 | 24021.7135 | 15398.6007 | 26412.5978 | 7271.9149 | 20784.0698 | 31950.7593 | 57085.1476
Example_reservoir | Water Inflow (ML) - Low Thermal Fuel Scenario | Same as Central | 58411.8982 | 35410.2545 | 38700.9164 | 42368.5964 | 21388.7127 | 30027.1418 | 25664.3345 | 27802.7345 | 7654.6473 | 25980.0873 | 33632.3782 | 60089.6291 | 58411.8982 | 35410.2545 | 38700.9164 | 42368.5964 | 21388.7127 | 30027.1418 | 25664.3345 | 27802.7345 | 7654.6473 | 25980.0873 | 33632.3782 | 60089.6291
Note on B13: Ben Jones: At Beginning of Month
Note on B14: Ben Jones: Considering any operational or supply chain limits in the ability to continuously operate.