## Call for Sub. Clarifications
Last updated: | 31/7/2023
Contact: | WA.FutureSystemDesign@aemo.com.au
VendorPanel: | https://www.vendorpanel.com.au/PublicTenders.aspx?profileGroupId=4011
Item | Publication Date | Clarification | AEMO Response
1 | 2023-07-25 | Indicating compliance | Clause 3.11B.10(a) of the WEM Rules requires AEMO to exclude NCESS Submissions that do not comply with the NCESS Service Specification. AEMO assuesses this requirement using responses in the NCESS Submission Form - and must exclude any submission which indicates that the NCESS Service Specification cannot be complied with. However, several parts of the NCESS Service Secification allow AEMO to agree variations. In the NCESS Submission Form under 'compliance': a) If your project complies with the requirement, indicate 'yes'. b) If your project is unable to comply with the stated requirements, but the requirement allows AEMO to agree a variation (eg clause 3.1.2), indicate 'yes' and provide additional comments.
2 | 2023-07-25 | Indicating sufficient environmental approvals | Clause 3.11B.10(b)ii. of the WEM Rules requires AEMO to exclude NCESS Submissions for new facilities or equipment where sufficient Environmental Approvals have not been granted. For this requirement to apply either the facility or equipment must not yet exist. If your project relates to existing facilities or loads, please indicate, in the NCESS Submission Form under 'compliance', that the requirement is not applicable. If the facility or equipment is new, please indicate, in the NCESS Submission Form under 'compliance', that your project complies with all required environmental approvals - and provide a statement indicating either that: a) approvals are not required; or b) approvals are required and have been granted, with documented evidence in a manner which easily allows AEMO to confirm that statement.
3 | 2023-07-25 | Communications requirements for Unregistered Equipment (paragraph 3.1.2) - what can AEMO agree to? | The communications requirements in paragraph 3.1.2(c) of the NCESS Service Specification for Unregistered Equipment are "visibility, through communication protocols approved by AEMO, of: (i) Injection or Withdrawal; and (ii) Service Quantity availability, at a granularity of no more than 5 minutes (unless AEMO agrees to a different granularity)." AEMO is seeking information to determine whether an Activation will be successful. This is preferably live data, but may be a forecast. AEMO will accept access to this information via a web portal provided by the Service Provider. AEMO will preference projects with a granularity of 5 minutes. If your project is unable to provide visibility at a granularity of 5 minutes: (a) If you have previously discussed a different granularity with AEMO, please document, in the comments, the position discussed. (b) Otherwise, please document, in the comments, the granularity that can be provided.
4 | 2023-07-31 | I have multiple projects. How should I submit? | Please submit a separate NCESS Submission Form for each project. Varying from this could result in your project(s) being rejected as AEMO is unable to verify compliance.
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
43
44
45