## Instructions
Instructions: The Expressions of Interest process for NCESS procurement provides an opportunity for respondents to provide feedback to the draft NCESS Service Specification and include any alternative offers which may represent commercial or technical benefits to the WEM. Respondents are requested to populate the following tabs in this spreadsheet: EOI Response - Respondents to respond to all questions using the green highlighted cells. Italicised text is provided to guide participants as to the expected content where relevant. Service Specification - Respondents to respond using the green highlighted cells. - The Service Specification tab includes all paragraphs included in the provided draft Service Specification, respondents should provide: • Compliance indication (Y/N) to demonstrate where the respondent is able to comply with the Service Specification • Quantity (as relevant) to indicate the quantity offered • Alternatives/Feedback, to indicate any alternatives proposed to the Service Specification where the respondent considers there may be a commercial or technical benefit to the WEM. The respondent may provide alternative pricing corresponding to alternate offers in the Pricing tab where relevant. • Supporting Documents, to reference any supporting documentation provided by the respondent in their response Pricing - Respondents to respond using the green highlighted cells. Italicised text is provided to guide participants as to the expected content.
Responses must be submitted to AEMO by 5:00pm AWST on Friday, 20th January 2023 by email to WA.MarketDevelopment@aemo.com.au, inclusive of: The populated EOI Compliance Form (.xlsx) Any supporting documentation

## EOI Response
Item | Request | EOI Response
1 | The name and type of facility or equipment, and whether it is registered or intending to register under the WEM Rules
2 | The name of the Market Participant, or service provider, as applicable, in respect to the facility or equipment
3 | The quantity of Peak Demand Service the facility or equipment will provide for the NCESS | Respondents should nominate the quantity of service for which they expect to be capable of providing in accordance with the Service Specification
4 | The quantity of Minimum Demand Service the facility or equipment will provide for the NCESS | Respondents should nominate the quantity of service for which they expect to be capable of providing in accordance with the Service Specification
5 | The timing and duration of the service availability for the NCESS | Respondents should identify any limits that may apply to their Facility in complying with the Availability Period specified in the Service Specification.
6 | The location of the facility or equipment on the network
7 | Whether the facility or equipment participates, or will participate, in Central Dispatch or is accredited or will be accredited under these Market Rules to provide an Essential System Service
8 | the proposed availability payment which must be equal to or less than the incremental fixed costs, if any, that, where applicable, are not already covered by any Capacity Credit payments, which would be incurred to make the capability available for the NCESS | Respondents should provide a price per Trading Interval to be available for the Availability Period specified in the Service Specification
9 | The highest price at which the facility or equipment will provide the NCESS when enabled or dispatched | Respondents should provide a price per Trading Interval to be enabled for each service within the Availability Period specified in the Service Specification. AEMO has provided guidance on the number of Trading Intervals it expects to enable the service.
10 | Any other payment that the facility or equipment requires to provide the NCESS | It is expected that respondents include all costs in Items 7 and 8.
11 | if the facility or equipment would ordinarily be capable of being assigned Certified Reserve Capacity, whether the Market Participant, or service provider, would require any reimbursement of any Capacity Cost Refunds it must pay as a direct consequence of the enablement or dispatch of the NCESS
12 | evidence to support NCESS delivery dates | Provide detail for Project delivery and the milestones to achieve commercial operations by 1 October 2024
13 | enhanced participation | The ideal NCESS provider would meet the service requirements whilst offering enhanced system benefits, specifically participation in Frequency Co-optimised Essential System Services and any system supporting capabilities (e.g. Grid-Forming capability for inverter based resources).

## Service Specification
Paragraph | Content | Complies (Y/N) | Quantity | Alternatives/Feedback | Supporting Documents
2 | Service details
2.2. | Maximum quantity of service required
2.2.1. | The maximum quantity of the Peak Demand Service required is 830 MW. |  |  |  | Supporting information to demonstrate an ability to provide the nominated Service Quantity
2.2.2. | The maximum quantity of the Minimum Demand Service required is 269 MW. |  |  |  | Supporting information to demonstrate an ability to provide the nominated Service Quantity
2.2.3. | An expression of interest submitted in response to this draft NCESS Service Specification must specify a maximum Service Quantity for each service (up to, but not exceeding, the maximum quantity for each service as specified in paragraphs 2.2.1 and 2.2.2) that is:
2.3. | Contract term, timing and duration
2.3.1. | The contract term for both services is 1 October 2024 to 1 October 2026. |  |  |  | Supporting information to demonstrate an ability to deliver the service by 1 October 2024
2.3.2. | Subject to paragraphs 4.2 and 2.3.3, the NCESS provider must make the relevant Service Quantity available: (a) for the Peak Demand Service, during the Electric Storage Resource Obligation Intervals on each Trading Day during the contract term; and (b)for the Minimum Demand Service, between 09:00 and 15:00 on each Trading Day during the contract term.
2.3.3. | The duration of each service is: (a) for Registered Facilities, as dispatched in accordance with the Central Dispatch Process during any Dispatch Intervals specified in paragraph 2.3.2; and (b) for Unregistered Equipment, as activated by AEMO for one or more Trading Intervals specified in paragraph 2.3.2, up to a maximum of 8 consecutive Trading Intervals per activation. |  |  |  | Supporting information to demonstrate an ability to provide the service for 8 Trading Intervals within the availability period
3 | Who can provide the services
3.1. | Expected technical capability of facility or equipment that may be able to provide service
3.1.1. | The expected technical capability of a facility or equipment that may be able to provide the services are: (a) one of the following: (i) a Scheduled Facility or Semi-Scheduled Facility that is currently registered; (ii) a facility or equipment that is currently unregistered but, in order to provide one of the services, would be required to register as a Scheduled Facility or Semi-Scheduled; or (iii) Unregistered Equipment that meets the communication and control requirements specified in paragraph 3.1.2; and (b) for both services, an ability to deliver the Service Quantity continuously for 8 consecutive Trading Intervals.
3.1.2. | A NCESS provider must be capable of providing the quantity of service (up to the Service Quantity) as specified: (a) in the case of a Registered Facility, in a Dispatch Instruction; and (b) in the case of Unregistered Equipment, in AEMO’s activation instruction.
3.1.3. | For the purposes of paragraph 3.1.2(a), a Semi-Scheduled Facility must be capable of delivering the quantity specified in a Dispatch Instruction as if it were a Dispatch Target.
3.1.4. | The control and communications requirements for Unregistered Equipment that provides either service include:
3.1.4(a) | a single point of communication for activation;
3.1.4(b) | a process to enable activation in accordance with paragraph 4.1.3; and
3.1.4(c) | visibility, through communication protocols agreed to by AEMO, of Injection or Withdrawal at a granularity of no more than 5 minutes. |  |  |  | Supporting information to demonstrate an ability to meet telemetry requirements
3.2. | Likely network location where service to be provided
3.2.1. | The services may be delivered at any location in the SWIS, excluding areas which are likely to be subject to frequent constrained operation for: (a) Withdrawal at SWIS minimum demand; and (b) Injection at SWIS peak demand.
3.2.2. | AEMO may consider as part of the selection criteria under paragraph 7.1.1 the level of constrained operation that the facility or equipment may be subject to.
3.3. | Eligibility
3.3.1. | The eligibility requirements for all NCESS providers are: (a) for Scheduled Facilities or Semi-Scheduled Facilities: (i) AEMO has not assigned Capacity Credits for either the 2022/23 or 2023/24 Capacity Years with respect to the Service Quantity; (ii) AEMO has not reduced the Capacity Credits of the facility during the 2022/23 Capacity Year at the time of NCESS submission evaluation under clause 3.11B.9(a)(ii) of the WEM Rules; and (b) for a facility intending to register as a Scheduled Facility or Semi-Scheduled Facility, the facility is or is expected to be eligible to receive Capacity Credits for the Service Quantity in the 2025/26 Capacity Year; and (c) for Loads, the Load is not (and has not been) associated with any Demand Side Programme during the 2022/23 Capacity Year; and (d) no other relevant contractual or legal arrangement relating to the Service Quantity is expected to exist at any time during the contract term that may adversely affect service delivery.
3.4. | Registration and certification
3.4.1. | Any equipment other than Unregistered Equipment will be required to register in accordance with the WEM Rules.
3.4.2. | NCESS providers with any Service Quantity capable of receiving Certified Reserve Capacity will be required to apply for certification for each relevant Capacity Year during the contract term in accordance with clause 5.2A.2 of the WEM Rules.
3.5. | Service Quantity
3.5.1. | The Service Quantity is the MW quantity provided for each service and is measured by reference to the relevant Benchmark Quantity for each service, calculated in accordance with paragraph 5.2.
4 | How the service is to be provided
4.1. | Operational requirements and limitations
4.1.1. | The services under paragraphs 2.1.1 and 2.1.2 must be offered for every Trading Interval required by paragraph 2.3.2 for each service that facility or equipment provides:
4.1.2. | The services under paragraph 2.1.2 and 2.1.3 for a Scheduled Facility or Semi-Scheduled Facility do not preclude an NCESS provider from offering a Frequency Co-optimised Essential System Services quantity in its Real-Time Market Submissions that include the Service Quantity.
4.1.3. | Where a NCESS provider offers the services from Unregistered Equipment, AEMO may require the NCESS provider to activate the service for any quantity up to the Service Quantity by giving notice to the NCESS provider up to 12 Dispatch Intervals (corresponding to 1 hour) in advance. The notice will specify the relevant Trading Intervals and the quantity required.
4.1.4. | AEMO will require the NCESS provider of Unregistered Equipment to activate the service when AEMO considers that other actions AEMO may take under the WEM Rules are likely to be insufficient to manage the peak demand or minimum demand conditions.
4.2. | Maintenance and reliability
4.2.1. | The NCESS provider must: (a) maintain the facility or equipment in accordance with good electricity industry practice; and (b) notify AEMO as soon as the NCESS provider becomes aware of any requirement for unplanned maintenance that affects or could reasonably be expected to affect the ability of the facility or equipment to provide the Service Quantity.
4.2.2. | The NCESS provider must plan maintenance in accordance with clause 3.18 of the WEM Rules, unless AEMO determines another process is more appropriate.
4.2.3. | The NCESS provider must notify AEMO promptly after changing or modifying the facility or equipment in a way that reduces or could reasonably be expected to reduce the availability of the service. AEMO may require the NCESS provider (at the NCESS provider’s cost) to conduct a test of the facility or equipment (in its changed or modified configuration) to demonstrate that the service is available.
5 | Measurement, unavailability and payment
5.1. | Measurement
5.1.1. | AEMO will determine historical and actual Injection or Withdrawal from Interval Meter Data provided by the Meter Data Agent or SCADA data.
5.2. | Benchmark Quantity
5.2.1. | The Benchmark Quantity will determine the baseline from which the Service Quantity is measured, calculated in paragraph 5.2.2 for the Peak Demand Service and paragraph 5.2.3 for the Minimum Demand Service.
5.2.2. | The Benchmark Quantity for the Peak Demand Service is determined as:
5.2.3. | The Benchmark Quantity for the Minimum Demand Service will be determined by a method to identify a baseline Injection or Withdrawal proposed by the NCESS provider and agreed by AEMO for:
5.3. | Minimum availability requirement
5.3.1. | A minimum availability requirement will apply for each service.
5.3.2. | For the purposes of determining whether the minimum availability requirement for the service has been met, and the extent of any shortfall, the availability of the service will be measured over a relevant period in accordance with paragraph 5.3.3.
5.3.3. | The availability of the service for a relevant period is calculated as (B-U) ∕ B x 100, expressed as a percentage, where:
5.3.4. | The minimum availability requirement for each service in each relevant period is 90%.
5.4. | Unavailability
5.4.1. | The service will be deemed unavailable in any Trading Interval required by paragraph 2.3.2 where:
5.4.2. | Until remedied, the service will be deemed unavailable from any Trading Interval where:
5.5. | Payment
5.5.1. | The contract amount payable will consist of:
5.5.2. | The availability payment will be payable for all relevant Trading Intervals required by paragraph 2.3.2, excluding Trading Intervals during which the facility or equipment is deemed to be unavailable as specified in paragraph 5.4.
5.5.3. | As required by clause 5.3.1(a) of the WEM Rules, AEMO must vary the payment terms of the NCESS Contract such that the total payment under the NCESS Contract is reduced by the value of the total amount of the expected Capacity Credit payments to be paid to the relevant Market Participant for that Reserve Capacity Cycle.
5.5.4. | The activation payment will be payable for all relevant Trading Intervals required by paragraph 2.3.2 for which AEMO has activated the service in accordance with paragraph 4.1.4, excluding Trading Intervals during which the facility or equipment is deemed to be unavailable as specified in paragraph 5.4.
5.5.5. | Availability payments and activation payments will be made:
6 | General
6.1. | Material contract terms
6.1.1. | All items identified in this NCESS Service Specification are material contract terms.
6.2. | Conditions Precedent
6.2.1. | The NCESS Contract will be subject to the following conditions precedent, which must be satisfied by 1 October 2024 or any later date that AEMO determines in its sole discretion:
6.3. | Security
6.3.1. | For a Facility or equipment that is yet to enter service (or re-enter service after an upgrade), the relevant NCESS provider must ensure that AEMO holds the benefit of a security that is specified in paragraph 6.3.2.
6.3.2. | The security must be an obligation in writing that:
6.3.3. | The amount of security required to be provided is equal to 20% of the contract value.
6.3.4. | If a NCESS provider meets the conditions precedent in paragraph 6.2, then AEMO will return the security to the NCESS provider.
6.3.5. | If a NCESS provider who provides security in respect of a Facility or equipment fails to satisfy the conditions precedent in paragraph 6.2, before the end of the first year of the NCESS Contract then the NCESS provider forfeits the security amount.
6.4. | Extent of liability
6.4.1. | Separate liability caps will apply for AEMO and the NCESS provider.
6.4.2. | For AEMO:
6.4.3. | For the NCESS provider:
6.5. | Termination clauses
6.5.1. | AEMO may terminate the NCESS Contract by giving notice to the NCESS provider if:
7 | Selection Criteria
7.1.1. | In accordance with clauses 3.11B.9 and 3.11B.11 of the WEM Rules, AEMO must apply the selection criteria summarised in the following table for NCESS Submissions:

## Pricing
Item | Compliant Price ($AUD) | Alternative Offers ($AUD)
Peak Demand Service
Availability Payment ($/trading interval/MW) | Payable in all Availability Intervals subject to Facility Availability. | Payable in all Availability Intervals subject to Facility Availability.
Activation Payment ($/trading interval/MW) | For Unregistered Equipment Only: Payable in all Activated Intervals subject to Facility Activation. | For Unregistered Equipment Only: Payable in all Activated Intervals subject to Facility Activation.
Compliance with the draft NCESS Service Specification | NA | Repsondents to list specifics of any alternative offer
Minimum Demand Service
Availability Payment ($/trading interval/MW) | Payable in all Availability Intervals subject to Facility Availability. | Payable in all Availability Intervals subject to Facility Availability.
Enablement Payment ($/trading interval/MW) | For Unregistered Equipment Only: Payable in all Activated Intervals subject to Facility Activation. | For Unregistered Equipment Only: Payable in all Activated Intervals subject to Facility Activation.
Compliance with the draft NCESS Service Specification | NA | Repsondents to list specifics of any alternative offer